## Version
Version | Date | Changes
1.0 | 2017-07-17 | Initial release with SORD validation
1.1 | 2017-07-24 | Updated matrix prior to Validation Module focus group
1.2 | 2017-07-31 | Added other transaction types SORD Cancel - NMI made optional
1.3 | 2017-08-07 | 1. SORD - Allocate NMI - NMI now Not Required (it's schema invalid to have NMI and Address) 2. SORD - Cancel - Address now Optional - check that a NMI or Address has been provided (but not both) 3. OWNX - Notified Party excel tab renamed to NPNX - Notified Party 4. RemoteServiceResponse MeterSerialNumber corrected to mandatory (from optional) 5. NPNX - Notified Party - Added missing SO Intiaitor and Recipient fields
1.4 | 2017-08-10 | 1. Added remaining Xpath's 2. Updated OWNX - NOMW validation text 3. NPNX - RefTransaction corrected to mandatory 4. MRSR - RemoteServiceResponse errorCode now numeric
1.5 | 2017-09-15 | 1. SORD - ProposedTariff - 3 fields are now validated 2. SORD - Updated special instructions dependent fields
1.6 | 2017-10-16 | 1. OWNX - NMI checksum made optional
1.7 | 2017-10-31 | 1. CUST - Notification Email address validation changed to require ContactName or BusinessName (was BusinessContactName)
1.8 | 2017-11-21 | 1. SORD - Allowed co-ordinating contact to be a BusinessName 2. SORD - Documented Customer Contact businessname option

## Notes
For each Service Order request, the EVM will validate conformance with specifications detailed in table below. These validations ensure:
· All mandatory fields for the service order type/service order sub type are provided
· All field values and data format are correct.
· Allowed values are used for enumerated fields.
· Fields with cross dependencies are provided as defined in the “Validations” column.
· Service Order sub type provided is correct for the Service Order type
Note that the EVM will not validate fields that are marked as “N”.

## Events
Application | Event | Severity | Return Code | Message Type | Message | Comment
* | Mandatory field missing | ERROR | 201 | error.mandatoryMissing | The required field is missing | A space is treated as a value
* | Invalid enumeration value | ERROR | 202 | error.invalidValue | The value provided, "{1}", is invalid
* | Invalid field length | ERROR | 202 | error.invalidLength | The length of the field is invalid. Expecting length of {0}, but current length of {1}
* | Invalid number | ERROR | 202 | error.notNumeric | The field contains non-numeric values: "{0}"
* | Invalid date | ERROR | 202 | error.invalidDateTime | The {0} provided is in an invalid format
* | Dependent field does not exist | ERROR | 202 | error.invalidOneWayDependancy | {0} is dependent on {1}
* | Invalid date range | ERROR | 202 | error.invalidDateInPast | The date provided, "{0}", is in the past.
ServiceOrders | Invalid date range | ERROR | 1954 | error.invalidScheduleDate | The date provided, "{0}", is more than {1} days in the future.
ServiceOrders | Invalid role assignment | ERROR | 202 | error.invalidRoleAssignment | The Role Assignments are invalid. Check ordering and values. | Any error with roles/parties returns this
ServiceOrderType | Invalid ServiceOrderType | Schema Invalid | null
ServiceOrderSubType | Invalid ServiceOrderSubType | ERROR | 1910 | error.invalidServiceOrderSubTypeMatch | The Service Order Sub Type, "{0}", does not match the Service Order Type "{1}"

## SORD
Service Order Transactions - Validation Specifications
M | Mandatory
O | Optional
N | Not Required
Service Order Type/Sub Type
No | Field | Xpath | Format | Repeatable Field | Validations | Dependent Field(s) | Validate Enumeration | Validate Length | Validate Numeric | Validate Date | Validation Module Change | Supply Service Works Allocate NMI | Supply Service Works Establish T/TP/P | Supply Service Works Supply Alteration | Supply Service Works Temporary Isolation - All | Supply Service Works Supply Abolishment | Supply Service Works Tariff Change | Re-energisation | De-energisation | Special Read | Metering Service Works Install Meter | Metering Service Works Move Meter | Metering Service Works Exchange Meter | Metering Service Works Remove Meter | Metering Service Works Install Controlled Load | Metering Service Works Meter Reconfiguration | Metering Service Works Meter Investigation - All, Change Time Switch Settings AND Reseal Device | Miscellaneous | Cancel
1 | ActionType | Transaction/ServiceOrderRequest/@actionType | VARCHAR(7) |  | Allowed Values: New Cancel Replace | SpecialInstructions | Y |  |  |  |  | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M
2 | ServiceOrderID | Transaction/ServiceOrderRequest/ServiceOrder/ServiceOrderNumber | VARCHAR(15) |  |  |  |  | Y |  |  |  | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M
3 | InitiatorID | Header/From | VARCHAR(10) |  |  |  |  | Y |  |  |  | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M
4 | RecipientID | Header/To | VARCHAR(10) |  |  |  |  | Y |  |  |  | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M
5 | NotifiedPartyID | Transaction/ServiceOrderRequest/NotifiedParties/NotifiedPartyID[1-3] | VARCHAR(10) | Y |  |  |  | Y |  |  | New fields added, only the first 3 instances are validated | N | O | O | O | O | N | O | O | O | O | O | O | O | O | N | N | O | N
6 | ServiceOrderType | Transaction/ServiceOrderRequest/ServiceOrder/ServiceOrderType/WorkType | VARCHAR(22) |  | An invalid ServiceOrderType is schema invalid and returns null Allowed values • Supply Service Works • Re-energisation • De-energisation • Special Read • Metering Service Works • Miscellaneous |  | Y |  |  |  | ServiceOrderTypes enumeration changed | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | N
7 | ServiceOrderSubType | Transaction/ServiceOrderRequest/ServiceOrder/ServiceOrderType/WorkType/@workSubType | VARCHAR(40) |  | Sub-category of the ServiceOrderType. The codes for each are: Supply Service Works • Allocate NMI • Supply Abolishment • Supply Alteration • Tariff Change • Establish Temporary Supply • Establish Temporary In Permanent • Establish Permanent Supply • Temporary Isolation • Temporary Isolation–Group Supply Re-Energisation • After Disconnection For Non-Payment • Remote • Retrospective Move-in • New Reading Required • Physical Visit • Move-in • Recipient Discretion De-Energisation • Disconnect at Pillar-Box Pit Or Pole-Top • Remove Fuse • Remote • Local Meter Disconnection • Recipient Discretion Metering Service Works • Install Controlled Load • Move Meter • Install Meter • Remove Meter • Exchange Meter • Meter Reconfiguration • Meter Investigation-Inspect • Meter Investigation-Test • Change Timeswitch Settings • Reseal Device Special Read • Check Read • Final Read |  | Y |  |  |  |  | M | M | M | M | M | M | M | M | O | M | M | M | M | M | M | M | N | N
8 | De-EnergisationReason | Transaction/ServiceOrderRequest/RequestData/De-energisationReason | VARCHAR(40) |  | Allowed values indicating the reason for De-Energisation: • Customer Requested • Move Out • Non-Payment (DNP) • Unauthorised Usage (DNI) • Illegal Usage • No Access • Safety • Defect • Site Works • Breach of Contract • Other |  | Y |  |  |  | New field and enumeration added | N | N | N | N | N | N | N | M | N | N | N | N | N | N | N | N | N | N
9 | ConfirmedDe-energisation | Transaction/ServiceOrderRequest/RequestData/ConfirmedDe-energisation | BOOLEAN |  | Allowed Values: true false |  | Y |  |  |  |  | N | N | N | N | N | N | N | M | N | N | N | N | N | N | N | N | N | N
10 | ServiceTime | Transaction/ServiceOrderRequest/RequestData/ServiceTime | VARCHAR(40) |  | Allowed values: • Any Time • Business Hours • Non-Business Hours |  | Y |  |  |  |  | N | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | N
11 | NMI | Transaction/ServiceOrderRequest/ServiceOrder/NMI | CHAR(10) |  | Must be provided for a Cancel if Address is not (but can’t have NMI and Address) |  |  | Y |  |  |  | N | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | O
12 | NMIChecksum | Transaction/ServiceOrderRequest/ServiceOrder/NMI/@checksum | CHAR(1) |  | Checksum validated against NMI | NMI |  | Y | Y |  |  | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O
13 | MeterSerialNumber | Transaction/ServiceOrderRequest/RequestData/NMIStandingData/MeterRegister/Meter/SerialNumber | VARCHAR(12) | Y |  |  |  | Y |  |  | Only the first instance is validated | N | N | N | N | N | O | N | N | N | N | O | O | O | O | O | O | O | N
14 | ServiceOrderAddress | Transaction/ServiceOrderRequest/ServiceOrder/Address | ADDRESS |  | Address validated Must be provided for a Cancel if NMI is not (but can’t have NMI and Address) | [6 empty] | M | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | O
15 | HazardDescription | Transaction/ServiceOrderRequest/ServicePoint/Hazard[1-3]/Description | VARCHAR(80) | Y |  |  |  | Y |  |  | Only the first 3 instances are validated | N | O | O | O | O | N | O | O | O | O | O | O | O | O | O | O | O | N
16 | AccessDetails | Transaction/ServiceOrderRequest/ServicePoint/AccessDetails | VARCHAR(160) |  |  |  |  | Y |  |  |  | N | M | M | M | M | N | M | M | M | M | M | M | M | M | M | M | M | N
17 | LifeSupport | Transaction/ServiceOrderRequest/RequestData/LifeSupport | YES/NO |  | Allowed Values: Yes No |  | Y |  |  |  | New field added | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | N
18 | FormReference | Transaction/ServiceOrderRequest/RequestData/License/DocumentReference/FormReference | VARCHAR(15) |  |  |  |  | Y |  |  |  | O | O | O | N | O | N | N | N | N | O | O | O | O | O | O | O | O | N
19 | FormNumber | Transaction/ServiceOrderRequest/RequestData/License/DocumentReference/FormNumber | VARCHAR(15) |  |  |  |  | Y |  |  |  | O | O | O | N | O | N | N | N | N | O | O | O | O | O | O | O | O | N
20 | SafetyCertificateId | Transaction/ServiceOrderRequest/RequestData/License/SafetyCertificate/ID | VARCHAR(15) |  |  |  |  | Y |  |  |  | O | O | O | N | N | N | O | N | N | O | O | O | O | O | O | O | O | N
21 | SafetyCertificateMethodSent | Transaction/ServiceOrderRequest/RequestData/License/SafetyCertificate/MethodSent | VARCHAR(6) |  | Allowed Values Faxed Email Online OnSite Mandatory if SafetyCertificateId is supplied | SafetyCertificateId | Y |  |  |  |  | O | O | O | N | N | N | O | N | N | O | O | O | O | O | O | O | O | N
22 | MeteringSafetyCertificateID | Transaction/ServiceOrderRequest/RequestData/MeteringLicense/SafetyCertificate/ID | VARCHAR(15) |  |  |  |  | Y |  |  | New field added | N | O | O | N | N | N | N | N | N | N | N | N | N | N | N | N | O | N
23 | MeteringSafetyCertificateMethodSent | Transaction/ServiceOrderRequest/RequestData/MeteringLicense/SafetyCertificate/MethodSent | VARCHAR(6) |  | Allowed Values Faxed Email Online OnSite |  | Y |  |  |  | New field added | N | O | O | N | N | N | N | N | N | N | N | N | N | N | N | N | O | N
24 | SpecialInstructions | Transaction/ServiceOrderRequest/RequestData/SpecialInstructions/CommentLine[1-3] | VARCHAR(240) |  | This field must be filled where: • A value of ‘Yes’ is used in CustomerConsultationRequired. • A value of “Other Multi-phase” is used in SupplyPhases. • A value of “Other” is used in MeteringRequired. • If ActionType = “Replace”. | CustomerConsultationRequired SupplyPhase MeteringRequired ActionType |  | Y |  |  | 3 fields 80 characters long are validated The 1st field is checked against the mandatory requirements. | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | N
25 | ServiceOrderCo-ordinationRequired | Transaction/ServiceOrderRequest/RequestData/Co-ordinationRequired | YES/NO |  | Allowed Values: Yes No |  | Y |  |  |  | New field added | N | M | M | M | M | N | N | N | N | M | M | M | M | M | M | M | N | N
26 | Co-ordinatingContactName | Transaction/ServiceOrderRequest/Co-ordinatingContactDetail/PersonName | PERSON NAME |  | PersonName format validated Either this field or BusinessName must be filled where ServiceOrderCo-ordinationRequired is 'Yes' | Co-ordinatingBusinessName |  |  |  |  | New field added | N | O | O | O | O | N | N | N | N | O | O | O | O | O | O | O | N | N
25 | Co-ordinatingBusinessName | Transaction/ServiceOrderRequest/Co-ordinatingContactDetail/BusinessName | BUSINESS NAME |  | Either this field or Co-ordinatingContactName must be filled where ServiceOrderCo-ordinationRequired is 'Yes' | Co-ordinatingContactName |  | Y |  |  | New field added | N | O | O | O | O | N | N | N | N | O | O | O | O | O | O | O | N | N
26 | Co-ordinatingBusinessContactName | Transaction/ServiceOrderRequest/Co-ordinatingContactDetail/ContactName | PERSON NAME |  | PersonName format validated | [5 empty] | New field added | N | O | O | O | O | N | N | N | N | O | O | O | O | O | O | O | N | N
27 | Co-ordinatingContactTelephoneNumber | Transaction/ServiceOrderRequest/Co-ordinatingContactDetail/PhoneNumber[1-3] | TELEPHONE |  | Telephone format validated A maximum of three telephone numbers may be provided. This field must be filled where ServiceOrderCo-ordinationRequired is 'Yes' | Co-ordinatingContactName Co-ordinatingBusinessName |  |  |  |  | New field added | N | O | O | O | O | N | N | N | N | O | O | O | O | O | O | O | N | N
26 | CustomerConsultationRequired | Transaction/ServiceOrderRequest/RequestData/CustomerConsultationRequired | BOOLEAN |  | When ‘true’ the reason for the need to consult must be provided in SpecialInstructions. | SpecialInstructions | Y |  |  |  |  | N | M | M | M | M | N | M | M | M | M | M | M | M | M | M | M | M | N
27 | CustomerContactName | Transaction/ServiceOrderRequest/CustomerDetail/PersonName | PERSON NAME |  | PersonName format validated This field or CustomerBusinessName must be filled where CustomerConsultationRequired is 'true' | CustomerConsultationRequired |  |  |  |  | NameType is now optional Mandatory when CustomerConsultationRequired='true' | N | O | O | O | O | N | O | O | O | O | O | O | O | O | O | O | O | N
28 | CustomerBusinessName | Transaction/ServiceOrderRequest/CustomerDetail/BusinessName | BUSINESS NAME |  | This field or CustomerContactName must be filled where CustomerConsultationRequired is 'true' | CustomerConsultationRequired | Y |  |  |  |  | N | O | O | O | O | N | O | O | O | O | O | O | O | O | O | O | O | N
27 | CustomerBusinessContactName | Transaction/ServiceOrderRequest/CustomerDetail/ContactName | PERSON NAME |  | PersonName format validated | [6 empty] | N | O | O | O | O | N | O | O | O | O | O | O | O | O | O | O | O | N
28 | CustomerContactTelephoneNumber | Transaction/ServiceOrderRequest/CustomerDetail/PhoneNumber[1-3] | TELEPHONE |  | Telephone format validated A maximum of three telephone numbers may be provided. Mandatory where CustomerConsultationRequired is 'true' | CustomerContactName CustomerBusinessName |  |  |  |  | First number Mandatory when CustomerConsultationRequired='true' | N | O | O | O | O | N | O | O | O | O | O | O | O | O | O | O | O | N
29 | InitiatorContactName | Transaction/ServiceOrderRequest/ContactDetail/PersonName | PERSON NAME |  | PersonName format validated | [5 empty] | NameType is now optional | O | O | O | O | O | N | O | O | O | O | O | O | O | O | O | O | O | N
28 | InitiatorContactTelephoneNumber | Transaction/ServiceOrderRequest/ContactDetail/PhoneNumber[1-3] | TELEPHONE |  | Validate Telephone format A maximum of three telephone numbers may be provided. At least 1 telephone number must be provided where InitiatorContactName is populated. | InitiatorContactName | [5 empty] | O | O | O | O | O | N | O | O | O | O | O | O | O | O | O | O | O | N
29 | ScheduledDate | Transaction/ServiceOrderRequest/AppointmentDetail/ScheduledDate | DATE |  | Validate is date |  |  |  |  | Y | Validate: - Start date < 100 days in the future (1954) - Start date > transaction date (202) | N | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | N
30 | AppointmentReference | Transaction/ServiceOrderRequest/AppointmentDetail/Reference | VARCHAR(15) |  |  |  |  | Y |  |  |  | N | O | O | O | O | N | O | O | O | O | O | O | O | O | O | O | O | N
29 | CustomersPreferredDateAndTime | Transaction/ServiceOrderRequest/AppointmentDetail/Preferred/Date Transaction/ServiceOrderRequest/AppointmentDetail/Preferred/Time | DATETIME |  | Validate is date/time This field must be filled for Re-energisation ServiceOrderRequests if the ServiceOrderSubType is Retrospective Move-In. | Time depends on Date | [5 empty] | N | O | O | O | O | N | O | O | O | O | O | O | O | O | O | O | O | N
30 | RP | Transaction/ServiceOrderRequest/RequestData/NMIStandingData/RoleAssignments/RoleAssignment[1]/Party | VARCHAR(10) |  | Role must be RP Party checked for length |  |  | Y |  |  |  | M | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N
31 | MDP | Transaction/ServiceOrderRequest/RequestData/NMIStandingData/RoleAssignments/RoleAssignment[2]/Party | VARCHAR(10) |  | Role must be MDP Party checked for length |  |  | Y |  |  | Mandatory for Allocate NMI | M | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N
30 | MPB | Transaction/ServiceOrderRequest/RequestData/NMIStandingData/RoleAssignments/RoleAssignment[3]/Party | VARCHAR(10) |  | Role must be MPB Party checked for length |  |  | Y |  |  | Mandatory for Allocate NMI | M | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N
31 | MPC | Transaction/ServiceOrderRequest/RequestData/NMIStandingData/RoleAssignments/RoleAssignment[4]/Party | VARCHAR(10) |  | Role must be MPB Party checked for length |  |  | Y |  |  | Mandatory for Allocate NMI | M | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N
32 | NMIStatusCode | Transaction/ServiceOrderRequest/RequestData/NMIStandingData/MasterData/Status | CHAR(1) |  | Allowed Values: A D X G N |  | Y |  |  |  | Added "N" to enumeration | N | M | M | N | N | N | N | N | N | N | N | N | N | N | N | N | O | N
31 | EmbeddedNetworkParentName | Transaction/ServiceOrderRequest/RequestData/NMIStandingData/MasterData/ParentEmbeddedNetworkIdentifier | VARCHAR(10) |  |  |  |  | Y |  |  |  | O | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N
32 | CustomerType | Transaction/ServiceOrderRequest/RequestData/CustomerType | VARCHAR(60) |  | Allowed values: • Industrial • Commercial • Residential • Farm • Lighting |  | Y |  |  |  |  | M | M | M | N | N | N | N | N | N | O | N | N | N | N | N | N | O | N
33 | AverageDailyLoad | Transaction/ServiceOrderRequest/RequestData/AverageDailyLoad | NUMBER(10) |  | Validate numeric |  |  | Y | Y |  |  | M | M | M | N | N | N | N | N | N | M | N | N | N | N | N | N | O | N
32 | MaximumDemand | Transaction/ServiceOrderRequest/RequestData/MaximumDemand | NUMBER(4) |  | Validate numeric |  |  | Y | Y |  |  | O | O | O | N | N | O | N | N | N | O | N | N | N | N | N | N | O | N
33 | REC-Name | Transaction/ServiceOrderRequest/RequestData/License/Licensee | PERSON NAME |  | PersonName format validated | [5 empty] | NameType is now optional | O | M | M | N | N | N | N | N | N | M | N | N | N | N | N | N | O | N
34 | REC-BusinessName | Transaction/ServiceOrderRequest/RequestData/License/BusinessName | BUSINESS NAME |  |  |  |  | Y |  |  | Is a String | O | M | M | N | N | N | N | N | N | M | N | N | N | N | N | N | O | N
33 | REC-Telephone | Transaction/ServiceOrderRequest/RequestData/License/PhoneNumber[1-3] | TELEPHONE |  | Telephone format validated A maximum of three telephone numbers may be provided. | [6 empty] | O | M | M | N | N | N | N | N | N | M | N | N | N | N | N | N | O | N
34 | REC-ID | Transaction/ServiceOrderRequest/RequestData/License/LicenseNumber | VARCHAR(20) |  |  |  |  | Y |  |  |  | O | M | M | N | N | N | N | N | N | M | N | N | N | N | N | N | O | N
35 | REC-AttendanceRequired | Transaction/ServiceOrderRequest/RequestData/License/AttendanceRequired | BOOLEAN |  | Allowed Values: true false |  | Y |  |  |  | Is a boolean (as per schema) | O | M | M | N | N | N | N | N | N | M | N | N | N | N | N | N | O | N
34 | InstallationType | Transaction/ServiceOrderRequest/RequestData/InstallationType | VARCHAR(30) |  | Allowed values: • Underground • Overhead • Underground To Overhead Mains • Overhead To Underground Mains • Transformer Overhead • Transformer Ground Level |  | Y |  |  |  |  | O | M | M | N | N | N | N | N | N | N | N | N | N | N | N | N | O | N
35 | SupplyPhases | Transaction/ServiceOrderRequest/RequestData/SupplyPhase | VARCHAR(20) |  | Allowed values: • 1-phase • 2-phase • 3-phase • Other Multi-phase • Unknown If “Other Multi-phase” used, further details must be provided as SpecialInstructions. | SpecialInstructions | Y |  |  |  | Added "Unknown" type to enumeration | M | M | M | N | N | N | N | N | N | M | N | M | N | N | N | N | O | N
36 | MeteringRequired | Transaction/ServiceOrderRequest/RequestData/MeteringType | VARCHAR(240) |  |  | SpecialInstructions |  | Y |  |  | No longer Mandatory for Type 5 and 6 for New Connections Enumeration no longer validated | N | N | N | N | N | N | N | N | N | M | N | M | N | O | N | N | O | N
35 | OffPeakRequirements | Transaction/ServiceOrderRequest/RequestData/OffPeakRequirements/CommentLine[1-3] | VARCHAR(240) |  |  |  |  | Y |  |  | 3 fields 80 characters long are validated | O | O | O | N | N | O | N | N | N | O | N | O | N | N | N | N | O | N
36 | MeterInstallCode | Transaction/ServiceOrderRequest/RequestData/NMIStandingData/MeterRegister/Meter/InstallationTypeCode | CHAR(8) |  | Allowed Values: BASIC COMMS1 COMMS2 COMMS3 COMMS4 COMMS4D COMMS4C MRAM VICAMI MRIM UMCP PROF SAMPLE |  | Y |  |  |  | Added COMMS4D, COMMS4C, MRAM, VICAMI | N | N | N | N | N | O | N | N | N | O | N | O | N | N | N | N | O | N
37 | SwitchingServiceRequired | Transaction/ServiceOrderRequest/RequestData/SwitchingServiceRequired | VARCHAR(80) |  |  |  |  | Y |  |  |  | N | O | O | N | N | N | N | N | N | O | N | N | N | O | N | N | O | N
36 | ProposedTariff | Transaction/ServiceOrderRequest/RequestData/NMIStandingData/MeterRegister/Meter/RegisterConfiguration/Register/NetworkTariffCode | VARCHAR(10) | Y |  |  |  | Y |  |  | First 3 instances are validated, where mandatory ponly the first instance is mandatory. | N | N | N | N | N | M | N | N | N | M | N | M | N | N | O | N | O | N
Note on B33: Field not in procedure
Note on B34: Field not in procedure
Note on B38: Field not in procedure
Note on B39: Field not in procedure

## CUST - Request
No | Field | Xpath | Format | Repeatable Field | Validations | Dependent Field(s) | Validate Enumeration | Validate Length | Validate Numeric | Validate Date | Validation Module Change | Mandatory Optional Not Required
1 | InitiatorID | Header/From | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
2 | RecipientID | Header/To | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
3 | NMI | Transaction/CustomerDetailsRequest/NMI | CHAR(10) |  |  |  |  | Y |  |  |  | M
4 | NMIChecksum | Transaction/CustomerDetailsRequest/NMI/@checksum | CHAR(1) |  | Checksum validated against NMI | NMI |  | Y | Y |  |  | O
5 | Reason | Transaction/CustomerDetailsRequest/Reason | VARCHAR(40) |  | Allowed values - Returned Mail - Missing Customer Details - Confirm Life Support - No response to rejected CDN - Transfer Complete, no CDN Received - New Connection, no CDN Received - Data Quality Issue - Other - Rec – confirm no SensitiveLoad (Reconciliation only) |  | Y |  |  |  |  | M
6 | SpecialNotes | Transaction/CustomerDetailsRequest/Comments/CommentLine[1-3] | VARCHAR(240) |  | 3 fields 80 characters long 1 field mandatory if Reason is: - Other - Data Quality Issue |  |  | Y |  |  |  | O

## CUST - Notification
No | Field | Xpath | Format | Repeatable Field | Validations | Dependent Field(s) | Validate Enumeration | Validate Length | Validate Numeric | Validate Date | Validation Module Change | Mandatory Optional Not Required
1 | InitiatorID | Header/From | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
2 | RecipientID | Header/To | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
3 | Initiating Transaction ID | Transaction/@initiatingTransactionID | [9 empty] | O
3 | NMI | Transaction/CustomerDetailsNotification/Customer/NMI | CHAR(10) |  |  |  |  | Y |  |  |  | M
4 | NMIChecksum | Transaction/CustomerDetailsNotification/Customer/NMI/@checksum | CHAR(1) |  | Checksum validated against NMI | NMI |  | Y | Y |  |  | O
5 | CustomerName | Transaction/CustomerDetailsNotification/Customer/CustomerDetail/PersonName | PERSON NAME |  | Valid PersonName Mandatory if BusinessName is blank Not required if MovementType = "Site Vacant" | BusinessName MovementType | Y |  |  |  |  | M
6 | Business Name | Transaction/CustomerDetailsNotification/Customer/CustomerDetail/BusinessName | BUSINESS NAME |  | Mandatory if CustomerName is blank Not required if MovementType = "Site Vacant" | CustomerName MovementType |  | Y |  |  |  | O
7 | BusinessContactName | Transaction/CustomerDetailsNotification/Customer/CustomerDetail/ContactName | PERSONNAME |  | Valid Person Name Not required if MovementType = "Site Vacant" | MovementType | [5 empty] | O
8 | PostalAddress | Transaction/CustomerDetailsNotification/Customer/CustomerDetail/PostalAddress | ADDRESS |  | Valid Address Not required if MovementType = "Site Vacant" | MovementType | [5 empty] | O
9 | PhoneNumber1 | Transaction/CustomerDetailsNotification/Customer/CustomerDetail/PhoneNumber[1] | TELEPHONE |  | Valid Phone number Not required if MovementType = "Site Vacant" | MovementType | [5 empty] | O
10 | PhoneNumber2 | Transaction/CustomerDetailsNotification/Customer/CustomerDetail/PhoneNumber[2] | TELEPHONE |  | Valid Phone number Not required if MovementType = "Site Vacant" | MovementType | [5 empty] | O
11 | PhoneNumber3 | Transaction/CustomerDetailsNotification/Customer/CustomerDetail/PhoneNumber[3] | TELEPHONE |  | Valid Phone number Not required if MovementType = "Site Vacant" | MovementType | [5 empty] | O
12 | EmailAddress | Transaction/CustomerDetailsNotification/Customer/CustomerDetail/EmailAddress | VARCHAR(100) |  | Not required if MovementType = "Site Vacant" CustomerName or BusinessName must exist | CustomerName BusinessName MovementType |  |  |  |  | New field added | O
13 | SensitiveLoad | Transaction/CustomerDetailsNotification/Customer/SensitiveLoad | VARCHAR(20) |  | Allowed Values - Life Support - Sensitive Load - None |  | Y |  |  |  |  | M
14 | MovementType | Transaction/CustomerDetailsNotification/Customer/MovementType | VARCHAR(14) |  | None - allowed when MovementType = "Site Vacant" | MovementType | Y |  |  |  |  | M
15 | LastModifiedDateTime | Transaction/CustomerDetailsNotification/Customer/LastModifiedDateTime | DATETIME | [6 empty] | Y |  | M

## SITE - AccessRequest
No | Field | Xpath | Format | Repeatable Field | Validations | Dependent Field(s) | Validate Enumeration | Validate Length | Validate Numeric | Validate Date | Validation Module Change | Mandatory Optional Not Required
1 | InitiatorID | Header/From | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
2 | RecipientID | Header/To | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
3 | NMI | Transaction/SiteAccessRequest/NMI | CHAR(10) |  |  |  |  | Y |  |  |  | M
4 | NMIChecksum | Transaction/SiteAccessRequest/NMI/@checksum | CHAR(1) |  | Checksum validated against NMI | NMI |  | Y | Y |  |  | O
5 | Reason | Transaction/SiteAccessRequest/Reason | VARCHAR(40) |  | Allowed Values - New Retailer for site - Records old and need to be updated - No Access details on file for NMI - No Hazard Details on file for NMI - Site Visit Required - Other |  | Y |  |  |  |  | M
6 | SpecialNotes | Transaction/SiteAccessRequest/SpecialNotes/CommentLine[1-3] | VARCHAR(240) |  | 3 lines of 80 characters First line mandatory if Reason = "Other" |  |  | Y |  |  |  | O

## SITE - AccessNotification
No | Field | Xpath | Format | Repeatable Field | Validations | Dependent Field(s) | Validate Enumeration | Validate Length | Validate Numeric | Validate Date | Validation Module Change | Mandatory Optional Not Required
1 | InitiatorID | Header/From | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
2 | RecipientID | Header/To | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
3 | NMI | Transaction/AmendMeterRouteDetails/AmendSiteAccessDetails/NMI | CHAR(10) |  |  |  |  | Y |  |  |  | M
4 | NMIChecksum | Transaction/AmendMeterRouteDetails/AmendSiteAccessDetails/NMI/@checksum | CHAR(1) |  | Checksum validated against NMI | NMI |  | Y | Y |  |  | O
5 | AccessDetails | Transaction/AmendMeterRouteDetails/AmendSiteAccessDetails/AccessDetail | VARCHAR(160) |  |  |  |  | Y |  |  |  | M
6 | HazardDescription | Transaction/AmendMeterRouteDetails/AmendSiteAccessDetails/Hazard[1-3]/Description | VARCHAR(80) | Y | Only 3 fields are checked |  |  | Y |  |  |  | M
7 | LastModifiedDateTime | Transaction/AmendMeterRouteDetails/AmendSiteAccessDetails/LastModifiedDateTime | DATETIME | [6 empty] | Y |  | M

## OWNP - One Way
No | Field | Xpath | Format | Repeatable Field | Validations | Dependent Field(s) | Validate Enumeration | Validate Length | Validate Numeric | Validate Date | Validation Module Change | Mandatory Optional Not Required
1 | InitiatorID | Header/From | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
2 | RecipientID | Header/To | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
3 | Name | Transaction/OneWayNotification/CSVNotificationDetail/@Name | VARCHAR(3) |  | Allowed Values: - MXN - NTN |  | Y |  |  |  |  | M
4 | CSVNotificationDetail | Transaction/OneWayNotification/CSVNotificationDetail | DATA |  |  |  |  | Y |  |  |  | M

## OWNX - PIN
No | Field | Xpath | Format | Repeatable Field | Validations | Dependent Field(s) | Validate Enumeration | Validate Length | Validate Numeric | Validate Date | Validation Module Change | Mandatory Optional Not Required
1 | InitiatorID | Header/From | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
2 | RecipientID | Header/To | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
3 | NMI |  | CHAR(10) |  |  |  |  | Y |  |  |  | M
4 | NMIChecksum |  | CHAR(1) |  | Checksum validated against NMI | NMI |  | Y | Y |  |  | O
5 | StartDate |  | DATE |  | yyyy-MM-dd |  |  |  |  | Y |  | M
6 | StartTime |  | TIME |  | hh:mm:ss(.SSS)(+hh:mm) |  |  |  |  | Y |  | M
7 | EndDate |  | DATE |  | yyyy-MM-dd |  |  |  |  | Y |  | O
8 | Duration |  | VARCHAR(5) |  | Allow values: 00:00 to 99:99 | [6 empty] | M
9 | ReasonForInter |  | VARCHAR(50) |  | Allowed values: • Meter Exchange - Individual • Meter Exchange - Rollout • Meter Replacement – Family Maintenance • Meter Test • Meter Fault Investigation • Distribution Works • Other |  | Y |  |  |  |  | O
10 | Notes |  | VARCHAR (240) |  | Mandatory if ReasonForInter = "Other" | ReasonForInter |  | Y |  |  |  | O

## OWNX - MFIN
No | Field | Xpath | Format | Repeatable Field | Validations | Dependent Field(s) | Validate Enumeration | Validate Length | Validate Numeric | Validate Date | Validation Module Change | Mandatory Optional Not Required
1 | InitiatorID | Header/From | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
2 | RecipientID | Header/To | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
3 | NMI | Transaction/MeterFaultAndIssueNotification/NMI | CHAR(10) |  |  |  |  | Y |  |  |  | M
4 | NMIChecksum | Transaction/MeterFaultAndIssueNotification/NMI/@checksum | CHAR(1) |  | Checksum validated against NMI | NMI |  | Y | Y |  |  | O
5 | Date | Transaction/MeterFaultAndIssueNotification/DateIdentified | DATE | [6 empty] | Y |  | M
6 | StartDate | Transaction/MeterFaultAndIssueNotification/StartDate | DATE |  | yyyy-MM-dd |  |  |  |  | Y |  | O
7 | StartTime | Transaction/MeterFaultAndIssueNotification/StartTime | TIME |  | hh:mm:ss(.SSS)(+hh:mm) |  |  |  |  | Y |  | O
8 | EndDate | Transaction/MeterFaultAndIssueNotification/EndDate | DATE |  | yyyy-MM-dd |  |  |  |  | Y |  | O
9 | Duration | Transaction/MeterFaultAndIssueNotification/Duration | VARCHAR(5) |  | Allowed values: 00:00 - 99:99 (HH:MM) | [6 empty] | O
10 | SupplyOn | Transaction/MeterFaultAndIssueNotification/SupplyOn | CHAR(3) |  | Allowed values: - Yes - No |  | Y |  |  |  |  | M
11 | SupplyOff | Transaction/MeterFaultAndIssueNotification/SupplyOff | CHAR (40) |  | Mandatory when SupplyOn = "No" Allowed values: • Remove Fuse • Remote • Local Meter Disconnection • Pillar-Box Pit Or Pole-Top | SupplyOn | Y |  |  |  |  | O
12 | MeterSerial Number | Transaction/MeterFaultAndIssueNotification/Meters/Meter[1-4]/SerialNumber | VARCHAR(12) | Y | The first 4 are validated |  |  | Y |  |  |  | O
13 | ReasonForNotice | Transaction/MeterFaultAndIssueNotification/ReasonForNotice | VARCHAR(50) |  | Allowed values: • Meter Family Failure • Accuracy Failure • Timeswitch/Controlled Load Failure • Contactor Failure • No Display • Communication Failure • Meter Verification • Malfunction • Area Event • Metrology Threshold Breach • Meter Bypassed • Physical Damage • Theft/Tampering • Other |  | Y |  |  |  |  | M
14 | Notes | Transaction/MeterFaultAndIssueNotification/Notes | VARCHAR (240) |  | Mandatory when ReasonForNotice = "Other" | ReasonForNotice |  | Y |  |  |  | O

## OWNX - NOMW
No | Field | Xpath | Format | Repeatable Field | Validations | Dependent Field(s) | Validate Enumeration | Validate Length | Validate Numeric | Validate Date | Validation Module Change | Mandatory Optional Not Required
1 | InitiatorID | Header/From | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
2 | RecipientID | Header/To | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
3 | NomwID | Transaction/NoticeOfMeteringWorks/NoticeOfWorksID | VARCHAR(12) | [8 empty] | M
4 | NMI | Transaction/NoticeOfMeteringWorks/NMIStandingData/NMI | CHAR(10) |  |  |  |  | Y |  |  |  | M
5 | NMIChecksum | Transaction/NoticeOfMeteringWorks/NMIStandingData/NMI/@checksum | CHAR(1) |  | Checksum validated against NMI | NMI |  | Y | Y |  |  | O
6 | WorkType | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/WorkType | VARCHAR(50) |  | Allowed values: • Exchange Equipment • Install Equipment • Remove Equipment • Relocate |  | Y |  |  |  |  | M
7 | FieldWorkDateTime | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/FieldWorkCompleteDateTime | DATETIME | [6 empty] | Y |  | M
8 | CustomerClassificationCode | Transaction/NoticeOfMeteringWorks/NMIStandingData/MasterData/CustomerClassificationCode | VARCHAR(15) |  | Allowed values: • Residential • Business |  | Y |  |  |  |  | M
9 | EnergisationStatus | Transaction/NoticeOfMeteringWorks/NMIStandingData/MasterData/EnergisationStatus | VARCHAR (50) |  | Allowed values: • Active • Not Connected • Deenergised Before Meter • Deenergised At Meter • Deenergised After Meter |  | Y |  |  |  |  | M
10 | PrimaryVoltage | Transaction/NoticeOfMeteringWorks/NMIStandingData/MasterData/PrimaryVoltage | VARCHAR(8) |  | Allowed values: • 230V • 400V • 11KV • 22KV • 33KV • 66KV • 132KV • Other HV |  | Y |  |  |  |  | M
11 | Latitude | Transaction/NoticeOfMeteringWorks/GeographicCoordinate/Latitude | NUMERIC | [5 empty] | Y |  |  | O
12 | Longitude | Transaction/NoticeOfMeteringWorks/GeographicCoordinate/Longitude | NUMERIC | [5 empty] | Y |  |  | O
13 | ParticipantID | Transaction/NoticeOfMeteringWorks/NMIStandingData/RoleAssignments/RoleAssignment/Party | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
14 | Role | Transaction/NoticeOfMeteringWorks/NMIStandingData/RoleAssignments/RoleAssignment/Role | VARCHAR(4) |  | Role must be MPB | [6 empty] | M
15 | TotalInstalledMeters | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/TotalInstalledMeters | NUM(2) |  | Number 0 - 99 |  |  |  | Y |  |  | M
16 | MeterSerialNumber | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/NewMeterEquipment/InstalledMeterEquipment/Meter[1-3]/SerialNumber | VARCHAR(12) | Y | First 3 instances are validated |  |  | Y |  |  |  | O
17 | SupplyPhase | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/NewMeterEquipment/InstalledMeterEquipment/Meter[1-3]/SupplyPhase | VARCHAR(20) | Y | Mandatory for each MeterSerialNumber. First 3 instances are validated Allowed values: • 1-Phase • 2-Phase • 3-Phase • Other Multi-Phase | MeterSerialNumber | Y |  |  |  |  | O
18 | GeneralSupply | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/NewMeterEquipment/InstalledMeterEquipment/Meter[1-3]/GenerationType | VARCHAR(3) | Y | Mandatory for each MeterSerialNumber First 3 instances are validated Allowed values: • Yes • No | MeterSerialNumber | Y |  |  |  |  | O
19 | ControlledLoad | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/NewMeterEquipment/InstalledMeterEquipment/Meter[1-3]/RegisterConfiguration/Register/ControlledLoad | VARCHAR(3) | Y | Mandatory for each MeterSerialNumber Only the first instance for each MeterSerialNumber is validated. Limited to 3 MeterSerialNumbers. Allowed values: • Yes • No | MeterSerialNumber | Y |  |  |  |  | O
20 | GenerationType | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/NewMeterEquipment/InstalledMeterEquipment/Meter[1-3]/GenerationType | VARCHAR(5) | Y | Mandatory for each MeterSerialNumber Allowed values: • Net • Gross • None | MeterSerialNumber | Y |  |  |  |  | O
21 | TotalInstalledNetworkDevices | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/TotalInstalledNetworkDevices | NUM(2) |  | Number 0 - 99 |  |  |  | Y |  |  | M
22 | NetworkDeviceNumber | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/NewMeterEquipment/InstalledNetworkDevices/NetworkDevice[1-3]/NetworkDeviceNumber | VARCHAR(12) | Y | First 3 instances are validated |  |  | Y |  |  |  | O
23 | NetworkDeviceLocation | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/NewMeterEquipment/InstalledNetworkDevices/NetworkDevice[1-3]/NetworkDeviceLocation | VARCHAR(14) | Y | Mandatory for each NetworkDeviceNumber First 3 instances are validated. Allowed values: • Before Meter • After Meter | NetworkDeviceNumber | Y |  |  |  |  | O
24 | ControlEquipmentNumber | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/NewMeterEquipment/InstalledControlEquipment/MasterData/ControlEquipments/ControlEquipment[1-2]/ControlEquipmentNumber | VARCHAR(12) | Y | First 2 instances are validated |  |  | Y |  |  |  | O
25 | ControlEquipmentType | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/NewMeterEquipment/InstalledControlEquipment/MasterData/ControlEquipments/ControlEquipment[1-2]/ControlEquipmentType | VARCHAR(25) | Y | Required for each ControlEquipmentNumber. The first 2 instances are validated. Allowed values: • Internal Relay • External Relay • Internal Time Switch • External Time Switch | ControlEquipmentNumber | Y |  |  |  |  | O
26 | ControlChannel | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/NewMeterEquipment/InstalledControlEquipment/MasterData/ControlEquipments/ControlEquipment[1-2]/ControlChannel | VARCHAR(12) | Y | Required for each ControlEquipmentNumber. The first 2 instances are validated. | ControlEquipmentNumber |  | Y |  |  |  | O
27 | ControlConnectedMeterNumber | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/NewMeterEquipment/InstalledControlEquipment/MasterData/ControlEquipments/ControlEquipment[1-2]/ConnectedMeters/SerialNumber | VARCHAR(12) | Y | Required for each ControlEquipmentNumber. The first 2 instances are validated. | ControlEquipmentNumber |  | Y |  |  |  | O
28 | TransformerNumber | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/NewMeterEquipment/InstalledTransformers/Meter[1-3]/InstrumentTransformers/InstrumentTransformer[1]/TransformerNumber | VARCHAR(12) | Y | Only the first instance for each Installed Transformer is validated. Limited to 3 Installed Transformers. |  |  | Y |  |  |  | O
29 | TransformerType | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/NewMeterEquipment/InstalledTransformers/Meter[1-2]/InstrumentTransformers/InstrumentTransformer[1]/TransformerType | VARCHAR(2) | Y | Mandatory for each TransformerNumber Only the first instance for each Installed Transformer is validated. Limited to 2 Installed Transformers. Allowed values: • CT • VT | TransformerNumber | Y |  |  |  |  | O
30 | TransformerRatio | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/NewMeterEquipment/InstalledTransformers/Meter[1-2]/InstrumentTransformers/InstrumentTransformer[1]/TransformerRatio | VARCHAR(20) | Y | Mandatory for each TransformerNumber Only the first instance for each Installed Transformer is validated. Limited to 2 Installed Transformers. | TransformerNumber |  | Y |  |  |  | O
31 | TransformerConnectedMeterNumber | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/NewMeterEquipment/InstalledTransformers/Meter[1-2]/SerialNumber | VARCHAR(12) | Y | Required for a TransformerNumber, and may repeat Only the first 2 instances are validated | TransformerNumber |  | Y |  |  |  | O
32 | TotalRemovedMeters | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/TotalRemovedMeters | NUM(2) |  | Number 0 - 99 |  |  |  | Y |  |  | O
33 | TotalRemovedOther | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/TotalRemovedOther | NUM(2) |  | Number 0 - 99 |  |  |  | Y |  |  | O
34 | RemovedEquipmentNumber | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/RemovedMeteringEquipments/RemovedMeteringEquipment[1-2]/MeteringEquipment/MeterRegister/Meter[1]/SerialNumber | VARCHAR(12) | Y | Only the first instance for each Removed Metering Equipment is validated. Limited to 2 Removed Metering Equipment. |  |  | Y |  |  |  | O
35 | RemovedEquipmentType | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/RemovedMeteringEquipments/RemovedMeteringEquipment[1-2]/RemovedEquipmentType | VARCHAR(25) | Y | Mandatory for each RemovedEquipmentNumber Only the first 2 instances are validated. Allowed values: • Basic Meter • Interval Meter • Network Device • Control Equipment • Instrument Transformer | RemovedEquipmentNumber | Y |  |  |  |  | O
36 | RemovedRegister | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/RemovedMeteringEquipments/RemovedMeteringEquipment[1-2]/MeteringEquipment/MeterRegister/Meter[1]/RegisterConfiguration/Register[1]/RegisterID | VARCHAR(10) | Y | Mandatory for RemovedEquipmentType="Basic Meter" May repeat more than once for a RemovedEquipmentNumber Only the first instance for each Removed Metering Equipment is validated. Limited to 2 Removed Metering Equipment. | RemovedEquipmentNumber |  | Y |  |  |  | O
37 | RemovedMeterReading | Transaction/NoticeOfMeteringWorks/MeterWorksDetail/RemovedMeteringEquipments/RemovedMeteringEquipment[1-2]/MeteringEquipment/MeterRegister/Meter[1]/RegisterConfiguration/Register[1]/RegisterIndexValue | VARCHAR(15) | Y | Mandatory for RemovedEquipmentType="Basic Meter" Only the first instance for each Removed Metering Equipment is validated. Limited to 3 Removed Metering Equipment. | RemovedMeter |  | Y |  |  |  | O
38 | Notes | Transaction/NoticeOfMeteringWorks/Notes | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
Note on C1: Where [1-3] is used this means the first 3 elements identified in an xpath by [1], [2], [3]

## NPNX - NotifiedParty
No | Field | Xpath | Format | Repeatable Field | Validations | Dependent Field(s) | Validate Enumeration | Validate Length | Validate Numeric | Validate Date | Validation Module Change | Mandatory Optional Not Required
1 | InitiatorID | Header/From | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
2 | RecipientID | Header/To | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
3 | ServiceRequester | Transaction/NotifiedParty/ServiceRequestor | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
4 | ServiceProvider | Transaction/NotifiedParty/ServiceProvider | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
5 | NMI | Transaction/NotifiedParty/ServiceOrder/NMI | CHAR(10) |  |  |  |  | Y |  |  |  | M
6 | NMIChecksum | Transaction/NotifiedParty/ServiceOrder/NMI/@checksum | CHAR(1) |  | Checksum validated against NMI | NMI |  | Y | Y |  |  | O
7 | ServiceOrderID | Transaction/NotifiedParty/ServiceOrder/ServiceOrderNumber | VARCHAR(15) |  |  |  |  | Y |  |  |  | M
8 | ServiceOrderType | Transaction/NotifiedParty/ServiceOrder/ServiceOrderType/WorkType | VARCHAR(22) |  | Allowed values • Supply Service Works • Re-energisation • De-energisation • Special Read • Metering Service Works • Miscellaneous |  | Y |  |  |  |  | M
9 | ServiceOrderSubT ype | Transaction/NotifiedParty/ServiceOrder/ServiceOrderType/WorkType/@workSubType | VARCHAR(40) |  | Validates subtype is a valid subtype for the ServiceOrderType | ServiceOrderType | Y |  |  |  |  | M
10 | ScheduledDate | Transaction/NotifiedParty/ScheduledDate | DATE | [6 empty] | Y |  | M
11 | ActualDateAndTime | Transaction/NotifiedParty/ActualDateTime | DATETIME | [6 empty] | Y |  | O
12 | NotificationStatus | Transaction/NotifiedParty/NotificationStatus | VARCHAR(30) |  | Allowed values: • SO Requested • SO Rejected • SO Completion • Accepted by Notified Party • Rejection by Notified Party • Notified Party Stopped |  | Y |  |  |  |  | M
13 | RefTransaction | Transaction/NotifiedParty/RefTransaction | aseXML |  | None | [6 empty] | M

## MTRD - PMDR
No | Field | Xpath | Format | Repeatable Field | Validations | Dependent Field(s) | Validate Enumeration | Validate Length | Validate Numeric | Validate Date | Validation Module Change | Mandatory Optional Not Required
1 | InitiatorID | Header/From | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
2 | RecipientID | Header/To | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
3 | InitiatorRole | Transaction/MeterDataMissingNotification/MissingMeterData/NMIStandingData/RoleAssignments/RoleAssignment/Role | VARCHAR(4) |  |  |  |  | Y |  |  |  | M
4 | RequestID |  | VARCHAR(15) |  | The Transaction ID provides this. | [6 empty] | M
5 | NMI | Transaction/MeterDataMissingNotification/MissingMeterData/NMI | CHAR(10) |  |  |  |  | Y |  |  |  | M
6 | NMIChecksum | Transaction/MeterDataMissingNotification/MissingMeterData/NMI/@checksum | CHAR(1) |  | Checksum validated against NMI | NMI |  | Y | Y |  |  | O
7 | StartReadDate | Transaction/MeterDataMissingNotification/MissingMeterData/RequestPeriod/BeginDate | DATE | [6 empty] | Y |  | M
8 | EndReadDate | Transaction/MeterDataMissingNotification/MissingMeterData/RequestPeriod/EndDate | DATE | [6 empty] | Y |  | O

## MTRD - VMDR
No | Field | Xpath | Format | Repeatable Field | Validations | Dependent Field(s) | Validate Enumeration | Validate Length | Validate Numeric | Validate Date | Validation Module Change | Mandatory Optional Not Required
1 | InitiatorID | Header/From | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
2 | RecipientID | Header/To | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
3 | InitiatorRole | Transaction/MeterDataVerifyRequest/VerifyRequestData/NMIStandingData/RoleAssignments/RoleAssignment/Role | VARCHAR(4) |  |  |  |  | Y |  |  |  | M
4 | RequestID |  | VARCHAR(15) |  | The Transaction ID provides this. |  |  | Y |  |  |  | M
5 | NMI | Transaction/MeterDataVerifyRequest/VerifyRequestData/NMI | CHAR(10) |  |  |  |  | Y |  |  |  | M
6 | NMIChecksum | Transaction/MeterDataVerifyRequest/VerifyRequestData/NMI/@checksum | CHAR(1) |  | Checksum validated against NMI | NMI |  | Y | Y |  |  | O
7 | NMIConfiguration |  | VarChar(240) |  |  |  |  | Y |  |  |  | O
8 | MeterSerial | Transaction/MeterDataVerifyRequest/VerifyRequestData/NMIStandingData/MeterRegister/Meter/SerialNumber | VarChar(12) |  |  |  |  | Y |  |  |  | O
9 | NMISuffix | Transaction/MeterDataVerifyRequest/VerifyRequestData/NMIStandingData/MeterRegister/Meter/RegisterConfiguration/Register/Suffix | Char(2) |  | Mandatory if CurrentRead populated (either Register suffix or NMISuffix) | CurrentRead |  | Y |  |  |  | O
10 | RegisterID | Transaction/MeterDataVerifyRequest/VerifyRequestData/NMIStandingData/MeterRegister/Meter/RegisterConfiguration/Register/RegisterID | VarChar(10) |  | Mandatory if CurrentRead populated | CurrentRead |  | Y |  |  |  | O
11 | CurrentRead | Transaction/MeterDataVerifyRequest/VerifyRequestData/Current/Read | VarChar(15) |  | Mandatory if CurrentReadDate or CurrentReadConsumption are populated | CurrentReadDate CurrentReadConsumption |  | Y |  |  |  | O
12 | CurrentReadDate | Transaction/MeterDataVerifyRequest/VerifyRequestData/Current/ReadDate | DATE |  | Mandatory if CurrentReadConsumption or CurrentRead are populated |  |  |  |  | Y |  | O
13 | CurrentConsumption | Transaction/MeterDataVerifyRequest/VerifyRequestData/Current/Consumption | Numeric(15,3) |  | Mandatory if CurrentReadDate or CurrentRead are populated |  |  |  | Y |  |  | O
14 | StartReadDate | Transaction/MeterDataVerifyRequest/VerifyRequestData/RequestPeriod/BeginDate | DATE | [6 empty] | Y |  | M
15 | EndReadDate | Transaction/MeterDataVerifyRequest/VerifyRequestData/RequestPeriod/EndDate | DATE | [6 empty] | Y |  | O
16 | InvestigationCode | Transaction/MeterDataVerifyRequest/VerifyRequestData/InvestigationCode | VarChar(40) |  | Allowed values: • Confirm Reading For Vacant Site • Confirm Zero Consumption • Incomplete Data • Invalid MDFF Data • Invalid Standing Data • Missing Datastream • Require Actual Reading or Substitute • Scheduled Reading Required • Require Final Substitute • Service Order Reading Required • Verify High Reading • Verify Low Reading • Verify/Missing Register • Require Estimate Data • Meter Churn • Other |  | Y |  |  |  |  | M
17 | InvestigationDescription | Transaction/MeterDataVerifyRequest/VerifyRequestData/InvestigationDescription/CommentLine[1-3] | Varchar(240) |  | 3 fields 80 characters long The first field is mandatory |  |  | Y |  |  |  | M

## MTRD - MDN
No | Field | Xpath | Format | Repeatable Field | Validations | Dependent Field(s) | Validate Enumeration | Validate Length | Validate Numeric | Validate Date | Validation Module Change | Mandatory Optional Not Required
1 | InitiatorID | Header/From | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
2 | RecipientID | Header/To | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
3 | RecipientRole | Transaction/MeterDataNotification/ParticipantRole/Role | VARCHAR(4) |  |  |  |  | Y |  |  |  | M
4 | RequestID | Transaction/@initiatingTransactionID | VARCHAR(15) |  |  |  |  | Y |  |  |  | O
5 | CSVConsumptionData | Transaction/MeterDataNotification/CSVConsumptionData | CSVDATA |  | Mandatory to provide either CSVConsumptionData or CSVIntervalData | CSVIntervalData | [5 empty] | O
6 | CSVIntervalData | Transaction/MeterDataNotification/CSVIntervalData | CSVDATA |  | Mandatory to provide either CSVConsumptionData or CSVIntervalData | CSVConsumptionData | [5 empty] | O

## MRSR - Request
No | Field | Xpath | Format | Repeatable Field | Validations | Dependent Field(s) | Validate Enumeration | Validate Length | Validate Numeric | Validate Date | Validation Module Change | Mandatory Optional Not Required
1 | InitiatorID | Header/From | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
2 | RecipientID | Header/To | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
3 | RequestID | Transaction/RemoteServiceRequest/RemoteServiceData/RequestID | VARCHAR(15) | [8 empty] | M
4 | NMI | Transaction/RemoteServiceRequest/RemoteServiceData/NMI | CHAR(10) |  |  |  |  | Y |  |  |  | M
5 | NMIChecksum | Transaction/RemoteServiceRequest/RemoteServiceData/NMI/@checksum | CHAR(1) |  | Checksum validated against NMI | NMI |  | Y | Y |  |  | O
6 | MeterSerialNumber | Transaction/RemoteServiceRequest/RemoteServiceData/Meters/MeterSerialNumber[1-3] | VarChar(12) | Y | [7 empty] | O
7 | ServiceType | Transaction/RemoteServiceRequest/RemoteServiceData/ServiceType | VARCHAR(40) |  |  |  |  | Y |  |  |  | M
8 | RequestCode | Transaction/RemoteServiceRequest/RemoteServiceData/RequestCode | VARCHAR(40) |  |  |  |  | Y |  |  |  | M
9 | ResponseFormat | Transaction/RemoteServiceRequest/RemoteServiceData/ResponseFormat | VARCHAR(20) |  |  |  |  | Y |  |  |  | M
10 | FromDateTime | Transaction/RemoteServiceRequest/RemoteServiceData/FromDateTime | DATETIME | [6 empty] | Y |  | O
11 | ToDateTime | Transaction/RemoteServiceRequest/RemoteServiceData/ToDateTime | DATETIME | [6 empty] | Y |  | O
12 | UserDef1 | Transaction/RemoteServiceRequest/RemoteServiceData/UserDef/UserDef1 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
13 | UserDef2 | Transaction/RemoteServiceRequest/RemoteServiceData/UserDef/UserDef2 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
14 | UserDef3 | Transaction/RemoteServiceRequest/RemoteServiceData/UserDef/UserDef3 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
15 | UserDef4 | Transaction/RemoteServiceRequest/RemoteServiceData/UserDef/UserDef4 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
16 | UserDef5 | Transaction/RemoteServiceRequest/RemoteServiceData/UserDef/UserDef5 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
17 | UserDef6 | Transaction/RemoteServiceRequest/RemoteServiceData/UserDef/UserDef6 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
18 | UserDef7 | Transaction/RemoteServiceRequest/RemoteServiceData/UserDef/UserDef7 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
19 | UserDef8 | Transaction/RemoteServiceRequest/RemoteServiceData/UserDef/UserDef8 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
20 | UserDef9 | Transaction/RemoteServiceRequest/RemoteServiceData/UserDef/UserDef9 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
21 | UserDef10 | Transaction/RemoteServiceRequest/RemoteServiceData/UserDef/UserDef10 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O

## MRSR - Response
No | Field | Xpath | Format | Repeatable Field | Validations | Dependent Field(s) | Validate Enumeration | Validate Length | Validate Numeric | Validate Date | Validation Module Change | Mandatory Optional Not Required
1 | InitiatorID | Header/From | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
2 | RecipientID | Header/To | VARCHAR(10) |  |  |  |  | Y |  |  |  | M
4 | RequestID | Transaction/RemoteServiceResponse/RemoteServiceData/RequestID | VARCHAR(15) | [8 empty] | M
5 | NMI | Transaction/RemoteServiceResponse/RemoteServiceData/NMI | CHAR(10) |  |  |  |  | Y |  |  |  | M
6 | NMIChecksum | Transaction/RemoteServiceResponse/RemoteServiceData/NMI/@checksum | CHAR(1) |  | Checksum validated against NMI | NMI |  | Y | Y |  |  | O
7 | MeterSerialNumber | Transaction/RemoteServiceResponse/RemoteServiceData/Meters/MeterSerialNumber[1-3] | VarChar(12) | Y |  |  |  | Y |  |  |  | M
8 | ServiceType | Transaction/RemoteServiceResponse/RemoteServiceData/ServiceType | VARCHAR(40) |  |  |  |  | Y |  |  |  | M
9 | RequestCode | Transaction/RemoteServiceResponse/RemoteServiceData/RequestCode | VARCHAR(40) |  |  |  |  | Y |  |  |  | M
10 | ResponseFormat | Transaction/RemoteServiceResponse/RemoteServiceData/ResponseFormat | VARCHAR(20) |  |  |  |  | Y |  |  |  | M
11 | FromDateTime | Transaction/RemoteServiceResponse/RemoteServiceData/FromDateTime | DATETIME | [6 empty] | Y |  | O
12 | ToDateTime | Transaction/RemoteServiceResponse/RemoteServiceData/ToDateTime | DATETIME | [6 empty] | Y |  | O
13 | UserDef1 | Transaction/RemoteServiceResponse/RemoteServiceData/UserDef/UserDef1 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
14 | UserDef2 | Transaction/RemoteServiceResponse/RemoteServiceData/UserDef/UserDef2 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
15 | UserDef3 | Transaction/RemoteServiceResponse/RemoteServiceData/UserDef/UserDef3 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
16 | UserDef4 | Transaction/RemoteServiceResponse/RemoteServiceData/UserDef/UserDef4 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
17 | UserDef5 | Transaction/RemoteServiceResponse/RemoteServiceData/UserDef/UserDef5 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
18 | UserDef6 | Transaction/RemoteServiceResponse/RemoteServiceData/UserDef/UserDef6 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
19 | UserDef7 | Transaction/RemoteServiceResponse/RemoteServiceData/UserDef/UserDef7 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
20 | UserDef8 | Transaction/RemoteServiceResponse/RemoteServiceData/UserDef/UserDef8 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
21 | UserDef9 | Transaction/RemoteServiceResponse/RemoteServiceData/UserDef/UserDef9 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
22 | UserDef10 | Transaction/RemoteServiceResponse/RemoteServiceData/UserDef/UserDef10 | VARCHAR(240) |  |  |  |  | Y |  |  |  | O
23 | ResponsePayload | Transaction/RemoteServiceResponse/ResponseData/ResponsePayload/PayloadContent | DATA |  | None | [6 empty] | O
24 | ErrorCode | Transaction/RemoteServiceResponse/ResponseData/Event/Code | NUMERIC(4,0) | [5 empty] | Y |  |  | M
25 | ErrorDescription | Transaction/RemoteServiceResponse/ResponseData/Event/Explanation | VARCHAR(240) |  | Mandatory when Error Code != 0 |  |  | Y |  |  |  | O
26 | ProductCode | Transaction/RemoteServiceResponse/ResponseData/Product/Code[1-3] | VARCHAR(10) | Y |  |  |  | Y |  |  |  | O