## Queensland Summary
Disclaimer
This document is subject to an important disclaimer that limits or excludes AEMO's liability.
Please read the full disclaimer at
http://www.aemo.com.au/Electricity/National-Electricity-Market-NEM/Planning-and-forecasting/Generation-information
Data presented is current as at 22 December 2017
Queensland Summary
Changes since last update
Callide C: CS Energy have advised that Callide C capacity has been reduced from 500 MW to 420 MW.
Clare Solar Farm: Clare Asset Co Pty Ltd ATF Clare Asset Trust advises that Clare Solar Farm (150MW) is a committed project.
Collinsville Solar Power Station: Ratch Australia Corporation advises that Collinsville Solar Power Station (42.5 MW) is a committed project.
Coopers Gap Wind Farm: PARF Company Pty Ltd, as a trustee for the Coopers Gap Project Trust advises that Coopers Gap Wind Farm (453 MW) is a committed project.
Darling Downs Solar Farm: APA advises that Darling Downs Solar Farm (110MW) is a committed project.
Daydream Solar Farm: Hayman Solar Farm Pty Ltd advises that Daydream Solar Farm (167.5MW) is a committed project.
Dunblane Solar Farm: YellowDot Energy Pty Ltd advises that Dunblane Solar Farm (7.2MW) is a committed project.
Hamilton Solar Farm: Hamilton Solar Farm Pty Ltd advises that Hamilton Solar Farm (57.5MW) is a committed project.
Hayman Solar Farm: Hayman Solar Farm Pty Ltd advises that Hayman Solar Farm (57.5 MW) is a committed project.
Kennedy Energy Park: Kennedy Energy Park Pty advises that Kennedy Energy Park (Solar (15 MW), Wind (43.2 MW), Storage (2 MW)) is a committed project.
Kidston Solar Project: Genex Power Ltd advises that Kidston Solar Project (50 MW) is a committed project.
Lake Somerset: Seqwater advises that Lake Somerset (4.3MW) is a committed project.
Lakeland Solar and Storage Project: Lakeland Solar & Storage Pty Ltd advises that Lakeland Solar and Storage Project (12.5MW) is a committed project.
Lilyvale Solar Farm: Lilyvale Solar Farm (100 MW) is now reported as committed since FRV Services Australia Pty Ltd advises that it has commenced construction.
Longreach Solar Farm: Longreach HoldCo Pty Ltd advises that Longreach Solar Farm (15 MW) is a committed project.
Mt Emerald Wind Farm: Ratch Australia Corporation advises that Mt Emerald Wind Farm (180.5MW) is a committed project.
Oakey 1 Solar Farm: Oakey 1 AssetCo Pty Ltd advises that Oakey 1 Solar Farm (25MW) is a committed project.
Ross River Solar Farm: Ross River Solar Farm (116MW) is now reported as a committed project since Ross River Operations Pty Ltd advises that it has commenced construction.
Rugby Run Solar Farm: Rugby Run Solar Farm (65MW) is now reported as a committed project since Adani Rugby Run Pty Ltd advises that it has commenced construction.
Sun Metals Solar Farm: Sun Metals Solar Farm (125MW) is now reported as a committed project since it has commenced construction.
Sunshine Coast Solar Farm: Sunshine Coast Regional Council advises that Sunshine Coast Solar Farm (15 MW) is a committed project.
Swanbank E GT: Stanwell Corporation Limited advises that Swanbank E GT (385 MW) has returned to service.
Tableland Mill: MSF Sugar advises Tableland Mill (24 MW) is a committed project.
Whitsunday: Whitsunday Solar Farm Pty Ltd advises that Whitsunday (57.5MW) is a committed project.
Generation withdrawals
Withdrawn
No generators withdrawn.
Announced withdrawals (i.e. Mothballed, Seasonal Shut down etc.)
Daandine Power Station: Energy infrastructure Investments Pty Ltd. advises that Daandine Power Station (30 MW) will be retired in June 2022.
Mackay GT Power Station: Stanwell Corporation advises that Mackay GT (34 MW) will be retired at the end of financial year 2020-21.
Committed projects
Coal, CCGT, OCGT, Gas other, Geo-thermal, Other: None to report.
Biomass: Tableland Mill (24MW)
Solar: Clare Solar Farm (150MW), Collinsville PV (42.5MW), Darling Downs Solar Farm (110MW), Daydream Solar Farm (167.5MW), Dunblane Solar Farm (7.2MW), Hamilton Solar Farm (57.5MW), Hayman Solar Farm (57.5MW), Kennedy Energy Park (15MW), Kidston Solar Project Phase One 50MW (50MW), Lakeland Solar and Storage Project (12.5MW), Lilyvale Solar Farm (100MW), Longreach Solar Farm (15MW), Oakey 1 Solar Farm (25MW), Ross River Solar Farm (116MW), Rugby Run Solar Farm (65MW), Sun Metals Solar Farm (125MW), Sunshine Coast Solar Farm (15MW), Whitsunday (57.5MW)
Storage: Kennedy Energy Park (2MW)
Water: Lake Somerset (4.3MW)
Wind: Coopers Gap Wind Farm (453MW), Kennedy Energy Park (43.2MW), Mt Emerald Wind Farm (180.5MW)
Proposed projects
Please refer to information presented in the worksheet titled 'New Developments'.
Plant limitations
Callide C: CS Energy have advised that Callide C capacity has been reduced from 500 MW to 420 MW.
Queensland existing and potential new developments by generation type (MW)
Status | Coal | CCGT | OCGT | Gas other | Solar* | Wind | Water | Biomass | Storage | Other | Total
Existing | 8126 | 1597.5 | 1894.5 | 208.37 | 45.3291 | 12 | 663.9 | 368.19 | 0 | 1 | 12916.7891
Announced Withdrawal | 0 | 0 | 34 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 64
Existing less Announced Withdrawal | 8126 | 1597.5 | 1860.5 | 178.37 | 45.3291 | 12 | 663.9 | 368.19 | 0 | 1 | 12852.7891
Committed | 0 | 0 | 0 | 0 | 1188.2 | 676.7 | 4.3 | 24 | 2 | 0 | 1895.2
Proposed | 0 | 0 | 1000 | 0 | 7437.2382 | 1816.4 | 250 | 189.6 | 80 | 70 | 9843.2382
Withdrawn | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note: Existing includes Announced Withdrawal
* Excludes rooftop PV installations.

## Change Log
Queensland Change Log
Lists all key updates to new development projects and existing generation information between publication dates since the 2012 ESOO.
Publication date: | 2012-12-20
Solar Dawn Project: Areva and the Solar Dawn Consortium advised it would no longer develop the proposed 250 MW solar thermal power facility in South-West Queensland.
Tarong Power Station: Stanwell Corporation advises that the Tarong plant has revised its available capacity from 1,400 MW to 700 MW (-700 MW) in summer and winter, due to the withdrawal of service of Unit 2 (DUID TARONG#2) in October 2012 and Unit 4 (DUID TARONG#4) in December 2012, both for a period of at least two years or until wholesale electricity demand improves.
Collinsville Power Station: Ratch Australia advises that the Collinsville plant has revised its available capacity from 190 MW to 0 MW (-190 MW) in summer and winter, due to the withdrawal of service of all generation units from 31 December 2012, until wholesale electricity demand improves.
Publication date: | 2013-02-22
Millmerran Power Station: Millmerran Power Partners advises that the Millmerran plant has revised its available capacity from 856 MW to 760 MW (-96 MW) in summer, based on operating experience on higher temperature days.
Braemar Power Station: Alinta Energy advises that Braemar's available capacity has been revised from 435 MW to 480 MW (+45 MW) in summer, due to use of Evaporative Cooling and Peak Firing of the units.
Publication date: | 2013-06-30
Braemar Power Station: Alinta Energy advises that Braemar's available capacity has been revised from 435 MW to 465 MW (+30 MW) in summer (an increase from last years ESOO), due to the regular use of Evaporative Cooling and Peak Firing of the units. These modes of operation result in the units achieving higher levels of output than would be typically expected during periods of high temperature.
Darling Downs Power Station: Origin Energy advises that Darling Downs available capacity has been revised from 605 MW to 580 MW (-25 MW) in summer, reflecting capability at higher temperatures.
Kogan Creek Solar Boost: CS Energy advises that the Kogan Creek Solar Boost project is now a committed project and due to be completed in Jan 2014.
Publication date: | 2013-11-15
Westlink Power Project: Westlink Pty Ltd as trustee for Westlink Industrial Trust advised that Westlink Power Project (Stage 1-3 up to 1000 MW), has revised construction start estimates by 1 year – from 2015 to 2016 for stage 1, from 2017 to 2018 for stage 2 and from 2019 to 2020 for stage 3. This remains a publicly announced project only.
Publication date: | 2014-02-28
Swanbank E Gas Power Station: Stanwell Corporation advises that the existing scheduled Swanbank E Gas Power Station (385 MW combined cycle gas turbine) will withdraw from service for up to three years from 1 October 2014.
Publication date: | 2014-05-30
Collinsville Power Station: Ratch Australia advised that Collinsville Power Station will be retired in June 2016.
Daandine Power Station: Energy infrastructure Investments Pty Ltd advised that Daandine Power Station will be retired in June 2022.
Mt Stuart Power Station: Origin Energy Mt Stuart advised that Mt Stuart Power Station will be retired in July 2023.
Swanbank E Gas Power Station: Stanwell Corporation advises that the existing scheduled Swanbank E Gas Power Station (385 MW combined cycle gas turbine) will be placed in cold storage from October 2014.
Tarong Power Station: Stanwell Corporation advises that the Tarong station will revise its available capacity from 700 MW to 1050 MW (+350 MW) in summer 2014, due to the return of service of Unit 4 (DUID TARONG#4) in July 2014. The avaible capacity will be revised to 1400 MW (+350 MW) in summer 2015, due to the return of service of Unit 2 (DUID TARONG#2) in June 2015.
Kogan Creek Solar Boost: CS Energy advises that the Kogan Creek Solar Boost project (44 MW) is now a committed project and due to be completed in July 2015. Note that the 44 MW capacity is not additional to the 730/744 MW summer/winter capacities of Kogan Creek, rather it is a contribution towards the total generation.
Publication date: | 2014-08-07
Kidston Pumped Storage Hydro Project: Genex Power announces the Kidston Pumped Hydo Storage (200 MW) project in far north Queensland.
Cook Shire Solar Project: Lyon Infrastructure announces the Cook Shire Solar (26 MW) project in far north Queensland. Construction is to commence in December 2014 and commissioning is planned for July 2015.
Publication date: | 2014-12-10
Swanbank E Gas Power Station: Stanwell Corporation advises that the existing scheduled Swanbank E Gas Power Station (385 MW combined cycle gas turbine) will be placed in cold storage from December 2014.
Publication date: | 2015-04-15
Kogan Creek Solar Boost: CS Energy advises that the Kogan Creek Solar Boost project (44 MW) due to be completed in late 2016.
Kidston Pumped Storage Hydro Project: Genex Power announces the Kidston Pumped Hydo Storage capacity is revised to 330 MW.
Publication date: | 2015-08-13
Tarong Power Station: Stanwell Corporation advises that the Tarong station will revise its available capacity revised to 1400 MW (+350 MW) in winter 2016, due to the return of service of Unit 2 (DUID TARONG#2).
Publication date: | 2016-03-03
Mackay GT Power Station: Stanwell Corporation advised that Mackay GT will be retired at the end of financial year 2016-17.
Swanbank E: has been placed into cold storage until 1 July 2017. So at this stage will be available in July 2017, Summer 2018 and beyond.
Barcaldine Power Station: Correction on the 18-MW Steam Turbine being already decommissioned.
New Development: Oakey Solar Farm, Longreach Solar Farm, Baralaba Solar Farm, Kidston Solar Project, Ebenezer Solar Project, North Queensland Solar Farm, Kennedy Energy Park, Darling Downs Solar Farm, Hughenden Sun Farm, Collinsville Solar Power Station, Landfill Gas Industries biogas-fired generators, Barcaldine Remote Community Solar Farm are added to the list.
Kogan Creek Solar Boost: CS Energy stated that the solar boost will not be completed.
Publication date: | 2016-04-15
Mackay GT Power Station: Stanwell Corporation advised that Mackay GT will be retired at the end of financial year 2016-17.
Swanbank E: has been placed into cold storage until 1 July 2017. So at this stage will be available in July 2017, Summer 2018 and beyond.
Barcaldine Power Station: Correction on the 18-MW Steam Turbine being already decommissioned.
New Development: Oakey Solar Farm, Longreach Solar Farm, Baralaba Solar Farm, Kidston Solar Project, Ebenezer Solar Project, North Queensland Solar Farm, Kennedy Energy Park, Darling Downs Solar Farm, Hughenden Sun Farm, Collinsville Solar Power Station, Landfill Gas Industries biogas-fired generators, Barcaldine Remote Community Solar Farm are added to the list.
Kogan Creek Solar Boost: CS Energy stated that the solar boost will not be completed.
Tarong Power Station: Stanwell Corporation advises that Tarong Unit 2 has returned to service.
Publication date: | 2016-08-11
Cook Shire Solar Storage Project: Lyon Infrastrucutre Investments advises that Cook Shire Solar Storage Project (28MW) is a committed project.
Oaky Creek 2: EDL OCI advises that Oaky Creek 2 (15MW) is a committed project.
Mt Stuart Power Station: Origin Energy advised that Mt Stuart Power Station (419 MW) will no longer retire in July 2023.
Mackay GT Power Station: Stanwell Corporation advised that Mackay GT (30 MW) will no longer be retired at the end of financial year 2016-17.
New Developments: Clare Solar Farm, Lilyvale Solar Farm.
Publication date: | 2016-11-18
Swanbank E GT: Stanwell advises that Swanbank E will no longer be returned to service on 01/07/2017 – Expected to return in Summer 2018.
Oaky Creek 2: EDL OCI advises that Oaky Creek 2 (15 MW) is now completed and in full commercial operation since August 2016.
Mackay GT Power Station: Stanwell Corporation advises that Mackay GT (34 MW) will be retired at the end of financial year 2020-21.
Publication date: | 2017-02-27
None to report.
Publication date: | 2017-06-05
Barcaldine Remote Community Solar Farm: Barcaldine Remote Community Solar Farm Pty Ltd advises that Barcaldine Remote Community Solar Farm (20 MW) is now completed with full commercial having commenced in April 2017.
Callide A: Oxyfuel Technologies Pty Ltd advises that Callide A (30 MW) has been permanently decommissioned (withdrawn) since March 2015 and will be demolished and deregistered from the network in the future.
Clare Solar Farm: Clare Asset Co Pty Ltd (the Trustee for Clare Asset Trust) advises that the Clare Solar Farm (total of 150 MW nameplate) is a committed project.
Grosvenor 1: EDL Projects Australia Pty Ltd advises that Grosvenor 1 (21 MW) is now an existing generator with full commercial operation having commenced in April 2017.
Hamilton Solar Farm: Hamilton Solar Farm Pty Ltd advises that Hamilton Solar Farm (57.5 MW) is now a committed project, with full commercial use expected March 2018.
Lakeland Solar and Storage Project: Conergy advises that the committed Cook Shire Solar Storage Project is now called Lakeland Solar and Storage Project, with an updated nameplate capacity of 12.5 MW.
Mount Emerald: Ratch Australia advises that Mount Emerald (180.5 MW) is now a committed project with full commercial use expected September 2018.
Swanbank E GT: Stanwell Corporation Limited advises that Swanbank E GT (385 MW) is currently in cold storage and at this time is scheduled to return to service on 1 December 2018.
Whitsunday Solar Farm: Whitsunday Solar Farm Pty Ltd advises that Whitsunday Solar Farm (57.5 MW) is now a committed project, with full commercial use expected March 2018.
Publication date: | 2017-12-22
Callide C: CS Energy have advised that Callide C capacity has been reduced from 500 MW to 420 MW.
Clare Solar Farm: Clare Asset Co Pty Ltd ATF Clare Asset Trust advises that Clare Solar Farm (150MW) is a committed project.
Collinsville Solar Power Station: Ratch Australia Corporation advises that Collinsville Solar Power Station (42.5 MW) is a committed project.
Coopers Gap Wind Farm: PARF Company Pty Ltd, as a trustee for the Coopers Gap Project Trust advises that Coopers Gap Wind Farm (453 MW) is a committed project.
Darling Downs Solar Farm: APA advises that Darling Downs Solar Farm (110MW) is a committed project.
Daydream Solar Farm: Hayman Solar Farm Pty Ltd advises that Daydream Solar Farm (167.5MW) is a committed project.
Dunblane Solar Farm: YellowDot Energy Pty Ltd advises that Dunblane Solar Farm (7.2MW) is a committed project.
Hamilton Solar Farm: Hamilton Solar Farm Pty Ltd advises that Hamilton Solar Farm (57.5MW) is a committed project.
Hayman Solar Farm: Hayman Solar Farm Pty Ltd advises that Hayman Solar Farm (57.5 MW) is a committed project.
Kennedy Energy Park: Kennedy Energy Park Pty advises that Kennedy Energy Park (Solar (15 MW), Wind (43.2 MW), Storage (2 MW)) is a committed project.
Kidston Solar Project: Genex Power Ltd advises that Kidston Solar Project (50 MW) is a committed project.
Lake Somerset: Seqwater advises that Lake Somerset (4.3MW) is a committed project.
Lakeland Solar and Storage Project: Lakeland Solar & Storage Pty Ltd advises that Lakeland Solar and Storage Project (12.5MW) is a committed project.
Lilyvale Solar Farm: Lilyvale Solar Farm (100 MW) is now reported as committed since FRV Services Australia Pty Ltd advises that it has commenced construction.
Longreach Solar Farm: Longreach HoldCo Pty Ltd advises that Longreach Solar Farm (15 MW) is a committed project.
Mt Emerald Wind Farm: Ratch Australia Corporation advises that Mt Emerald Wind Farm (180.5MW) is a committed project.
Oakey 1 Solar Farm: Oakey 1 AssetCo Pty Ltd advises that Oakey 1 Solar Farm (25MW) is a committed project.
Ross River Solar Farm: Ross River Solar Farm (116MW) is now reported as a committed project since Ross River Operations Pty Ltd advises that it has commenced construction.
Rugby Run Solar Farm: Rugby Run Solar Farm (65MW) is now reported as a committed project since Adani Rugby Run Pty Ltd advises that it has commenced construction.
Sun Metals Solar Farm: Sun Metals Solar Farm (125MW) is now reported as a committed project since it has commenced construction.
Sunshine Coast Solar Farm: Sunshine Coast Regional Council advises that Sunshine Coast Solar Farm (15 MW) is a committed project.
Swanbank E GT: Stanwell Corporation Limited advises that Swanbank E GT (385 MW) has returned to service.
Tableland Mill: MSF Sugar advises Tableland Mill (24 MW) is a committed project.
Whitsunday: Whitsunday Solar Farm Pty Ltd advises that Whitsunday (57.5MW) is a committed project.

## Existing S & SS Generation
Existing scheduled and semi-scheduled generation
Power Station | Owner | Unit Number and Nameplate Capacity (MW) | Installed Capacity (MW) | Technology Type | Fuel Type | Dispatch Type | Service Status
Barcaldine Power Station | Ergon Energy Queensland Pty Ltd | 1 x 37 | 37 | OCGT | Natural Gas Pipeline | S | In Service
Barron Gorge | Stanwell Corporation Limited | 2 x 33 | 66 | Run of River | Water | S | In Service
Braemar | Braemar Power Project Pty Ltd | 3 x 168 | 504 | OCGT | Coal Seam Methane | S | In Service
Braemar 2 | NewGen Braemar 2 Partnership | 3 x 173 | 519 | OCGT | Coal Seam Methane | S | In Service
Callide B | CS Energy | 2 x 350 | 700 | Steam Sub Critical | Black Coal | S | In Service
Callide C | Callide Power Management | 2 x 420 | 840 | Steam Super Critical | Black Coal | S | In Service
Condamine A | QGC | 1 x 57 2 x 43.7 | 144 | CCGT | Coal Seam Methane | S | In Service
Darling Downs | Origin Energy Power Limited | 3 x 121.5 1 x 280 | 644.5 | CCGT | Coal Seam Methane | S | In Service
Gladstone | Gladstone Power Station Participants | 6 x 280 | 1680 | Steam Sub Critical | Black Coal | S | In Service
Kareeya | Stanwell Corporation Limited | 4 x 21.6 | 86.4 | Run of River | Water | S | In Service
Kogan Creek | CS Energy | 1 x 744 | 744 | Steam Super Critical | Black Coal | S | In Service
Mackay GT | Stanwell Corporation Limited | 1 x 34 | 34 | OCGT | Diesel | S | Announced Withdrawal
Millmerran | Millmerran Power Partners | 2 x 426 | 852 | Steam Super Critical | Black Coal | S | In Service
Mt Stuart | Origin Energy Mt Stuart | 2 x 146 1 x 131.5 | 423.5 | OCGT | Kerosene Aviation fuel used for stationary energy - avtur | S | In Service
Oakey Power Station | Oakey Power Holdings | 2 x 141 | 282 | OCGT | Natural Gas Pipeline | S | In Service
Roma | Origin Energy Power Limited | 2 x 40 | 80 | OCGT | Natural Gas Pipeline | S | In Service
Stanwell | Stanwell Corporation Limited | 4 x 365 | 1460 | Steam Sub Critical | Black Coal | S | In Service
Swanbank E GT | Stanwell Corporation Limited | 1 x 385 | 385 | CCGT | Coal Seam Methane | S | Cold Storage
Tarong | Stanwell Corporation Limited | 4 x 350 | 1400 | Steam Sub Critical | Black Coal | S | In Service
Tarong North | Stanwell Corporation Limited | 1 x 450 | 450 | Steam Super Critical | Black Coal | S | In Service
Townsville Power Station | Ratch Australia | 1 x 160 1 x 84 | 244 | CCGT | Coal Seam Methane | S | In Service
Wivenhoe | CS Energy | 2 x 250 | 500 | Pump Storage | Water | S | In Service
Total |  |  | 12075.4

## Summer Scheduled Capacities
Summer aggregate available scheduled and semi-scheduled generation
Power Station | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | Dispatch Type
Barcaldine Power Station | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | S
Barron Gorge | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | S
Braemar | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | S
Braemar 2 | 495 | 495 | 495 | 495 | 495 | 495 | 495 | 495 | 495 | 495 | S
Callide B | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | S
Callide C | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | S
Clare Solar Farm | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | SS
Collinsville PV | 0 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | SS
Condamine A | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | S
Coopers Gap Wind Farm | 0 | 0 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | SS
Darling Downs | 580 | 580 | 580 | 580 | 580 | 580 | 580 | 580 | 580 | 580 | S
Darling Downs Solar Farm | 0 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | SS
Daydream Solar Farm | 0 | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | SS
Gladstone | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | S
Hamilton Solar Farm | 0 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS
Hayman Solar Farm | 0 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS
Kareeya | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | S
Kennedy Energy Park (Solar) | 0 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | SS
Kennedy Energy Park (Storage) | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | SS
Kennedy Energy Park (Wind) | 0 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | SS
Kidston Solar Project Phase One 50MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | SS
Kogan Creek | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | S
Lilyvale Solar Farm | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | SS
Mackay GT | 34 | 34 | 34 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | S
Millmerran | 760 | 760 | 760 | 760 | 760 | 760 | 760 | 760 | 760 | 760 | S
Mt Emerald Wind Farm | 0 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | SS
Mt Stuart | 398 | 398 | 398 | 398 | 398 | 398 | 398 | 398 | 398 | 398 | S
Oakey Power Station | 282 | 282 | 282 | 282 | 282 | 282 | 282 | 282 | 282 | 282 | S
Roma | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | S
Ross River Solar Farm | 0 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | SS
Rugby Run Solar Farm | 0 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | SS
Stanwell | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | S
Sun Metals Solar Farm | 0 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | SS
Swanbank E GT | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | S
Tarong | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | S
Tarong North | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | S
Townsville Power Station | 233 | 233 | 233 | 232 | 232 | 232 | 232 | 231 | 231 | 231 | S
Whitsunday Solar Farm | 0 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS
Wivenhoe | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | S
Total | 11900.9 | 13040.1 | 13493.1 | 13492.1 | 13458.1 | 13458.1 | 13458.1 | 13457.1 | 13457.1 | 13457.1
The table above lists the latest Summer capacities for Queensland generation. Summer conditions relate to statistically predicted contribution under 10% POE maximum demand conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. However, AEMO has not yet calculated contribution factors for wind, due to there being insufficient historical data to analyse for semi-scheduled wind generation in QLD. Thus the Firm Wind Capacity values in the table below are shown as NA, and do not contribute to the total capacity in that table.
Due to the intermittent nature of sunlight, solar generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. However, AEMO has not yet calculated contribution factors for solar, due to there being insufficient historical data to analyse for semi-scheduled solar generation in the NEM. Thus the Firm Solar Capacity values in the table below are shown as NA, and do not contribute to the total capacity in that table.
The two tables below have been included to better represent the supply availability in Queensland, by taking into account the firm contribution by semi-scheduled generation. The Summer aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm semi-scheduled generation. The Summer aggregate available semi-scheduled generation table lists the total available capacity for semi-scheduled generation for the Summer period. The total refers to the maximum amount that can be generated from the semi-scheduled generation at the Summer reference temperatures.
Summer aggregate scheduled and firm semi-scheduled generation
Power Station | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | Dispatch Type
Barcaldine Power Station | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | S
Barron Gorge | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | S
Braemar | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | S
Braemar 2 | 495 | 495 | 495 | 495 | 495 | 495 | 495 | 495 | 495 | 495 | S
Callide B | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | S
Callide C | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | S
Condamine A | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | S
Darling Downs | 580 | 580 | 580 | 580 | 580 | 580 | 580 | 580 | 580 | 580 | S
Gladstone | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | S
Kareeya | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | S
Kogan Creek | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | S
Mackay GT | 34 | 34 | 34 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | S
Millmerran | 760 | 760 | 760 | 760 | 760 | 760 | 760 | 760 | 760 | 760 | S
Mt Stuart | 398 | 398 | 398 | 398 | 398 | 398 | 398 | 398 | 398 | 398 | S
Oakey Power Station | 282 | 282 | 282 | 282 | 282 | 282 | 282 | 282 | 282 | 282 | S
Roma | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | S
Stanwell | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | S
Swanbank E GT | 0 | 0 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | S
Tarong | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | S
Tarong North | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | S
Townsville Power Station | 233 | 233 | 233 | 232 | 232 | 232 | 232 | 231 | 231 | 231 | S
Wivenhoe | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | S
Firm Wind Capacity | [10 empty] | SS | bar: 2017-18 to 2026-27
Firm Solar Capacity | [10 empty] | SS | bar: 2017-18 to 2026-27
Total | 11335.9 | 11335.9 | 11700.9 | 11699.9 | 11665.9 | 11665.9 | 11665.9 | 11664.9 | 11664.9 | 11664.9
Summer aggregate available semi-scheduled generation
Power Station | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | Dispatch Type
Clare Solar Farm | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | SS
Collinsville PV | 0 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | SS
Coopers Gap Wind Farm | 0 | 0 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | SS
Darling Downs Solar Farm | 0 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | SS
Daydream Solar Farm | 0 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | SS
Hamilton Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS
Hayman Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS
Kennedy Energy Park (Solar) | 0 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | SS
Kennedy Energy Park (Storage) | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | SS
Kennedy Energy Park (Wind) | 0 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | SS
Kidston Solar Project Phase One 50MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | SS
Mt Emerald Wind Farm | 0 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | SS
Ross River Solar Farm | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | SS
Rugby Run Solar Farm | 0 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | SS
Whitsunday Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS
Total (Wind) | 0 | 223.7 | 676.7 | 676.7 | 676.7 | 676.7 | 676.7 | 676.7 | 676.7 | 676.7
Total (Solar) | 488.5 | 901 | 901 | 901 | 901 | 901 | 901 | 901 | 901 | 901

## Winter Scheduled Capacities
Winter aggregate available scheduled and semi-scheduled generation
Power Station | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | Dispatch Type
Barcaldine Power Station | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | S
Barron Gorge | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | S
Braemar | 504 | 504 | 504 | 504 | 504 | 504 | 504 | 504 | 504 | 504 | S
Braemar 2 | 519 | 519 | 519 | 519 | 519 | 519 | 519 | 519 | 519 | 519 | S
Callide B | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | S
Callide C | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | S
Clare Solar Farm | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | SS
Collinsville PV | 0 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | SS
Condamine A | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | S
Coopers Gap Wind Farm | 0 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | SS
Darling Downs | 633 | 633 | 633 | 633 | 633 | 633 | 633 | 633 | 633 | 633 | S
Darling Downs Solar Farm | 0 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | SS
Daydream Solar Farm | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | SS
Gladstone | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | S
Hamilton Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS
Hayman Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS
Kareeya | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | S
Kennedy Energy Park (Solar) | 0 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | SS
Kennedy Energy Park (Storage) | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | SS
Kennedy Energy Park (Wind) | 0 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | SS
Kidston Solar Project Phase One 50MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | SS
Kogan Creek | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | S
Lilyvale Solar Farm | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | SS
Mackay GT | 34 | 34 | 34 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | S
Millmerran | 852 | 852 | 852 | 852 | 852 | 852 | 852 | 852 | 852 | 852 | S
Mt Emerald Wind Farm | 0 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | SS
Mt Stuart | 423 | 423 | 423 | 423 | 423 | 423 | 423 | 423 | 423 | 423 | S
Oakey Power Station | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | S
Roma | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S
Ross River Solar Farm | 0 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | SS
Rugby Run Solar Farm | 0 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | SS
Stanwell | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | S
Sun Metals Solar Farm | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | SS
Swanbank E GT | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | S
Tarong | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | S
Tarong North | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | S
Townsville Power Station | 243 | 243 | 243 | 242 | 242 | 242 | 242 | 241 | 240 | 240 | S
Whitsunday Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS
Wivenhoe | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | S
Total | 12708.4 | 13835.6 | 13835.6 | 13834.6 | 13800.6 | 13800.6 | 13800.6 | 13799.6 | 13798.6 | 13798.6
The table above lists the latest Winter capacities for Queensland generation. Winter conditions relate to statistically predicted contribution under 10% POE maximum demand conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. However, AEMO has not yet calculated contribution factors for wind, due to there being insufficient historical data to analyse for semi-scheduled wind generation in QLD. Thus the Firm Wind Capacity values in the table below are shown as NA, and do not contribute to the total capacity in that table.
Due to the intermittent nature of sunlight, solar generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. However, AEMO has not yet calculated contribution factors for solar, due to there being insufficient historical data to analyse for semi-scheduled solar generation in the NEM. Thus the Firm Solar Capacity values in the table below are shown as NA, and do not contribute to the total capacity in that table.
The two tables below have been included to better represent the supply availability in Queensland, by taking into account the firm contribution by semi-scheduled generation. The Winter aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm semi-scheduled generation. The Winter aggregate available semi-scheduled generation table lists the total available capacity for semi-scheduled generation for the Winter period. The total refers to the maximum amount that can be generated from the semi-scheduled generation at the Winter reference temperatures.
Winter aggregate scheduled and firm semi-scheduled generation
Power Station | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | Dispatch Type
Barcaldine Power Station | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | S
Barron Gorge | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | S
Braemar | 504 | 504 | 504 | 504 | 504 | 504 | 504 | 504 | 504 | 504 | S
Braemar 2 | 519 | 519 | 519 | 519 | 519 | 519 | 519 | 519 | 519 | 519 | S
Callide B | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | S
Callide C | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | S
Condamine A | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | S
Darling Downs | 633 | 633 | 633 | 633 | 633 | 633 | 633 | 633 | 633 | 633 | S
Gladstone | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | S
Kareeya | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | S
Kogan Creek | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | S
Mackay GT | 34 | 34 | 34 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | S
Millmerran | 852 | 852 | 852 | 852 | 852 | 852 | 852 | 852 | 852 | 852 | S
Mt Stuart | 423 | 423 | 423 | 423 | 423 | 423 | 423 | 423 | 423 | 423 | S
Oakey Power Station | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | S
Roma | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S
Stanwell | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | S
Swanbank E GT | 0 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | S
Tarong | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | S
Tarong North | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | S
Townsville Power Station | 243 | 243 | 243 | 242 | 242 | 242 | 242 | 241 | 240 | 240 | S
Wivenhoe | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | S
Firm Wind Capacity | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | SS
Firm Solar Capacity | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | SS
Total | 11678.4 | 12043.4 | 12043.4 | 12042.4 | 12008.4 | 12008.4 | 12008.4 | 12007.4 | 12006.4 | 12006.4
Winter aggregate available semi-scheduled generation
Power Station | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | Dispatch Type
Clare Solar Farm | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | SS
Collinsville PV | 0 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | SS
Coopers Gap Wind Farm | 0 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | 453 | SS
Darling Downs Solar Farm | 0 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | SS
Daydream Solar Farm | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | 167.5 | SS
Hamilton Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS
Hayman Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS
Kennedy Energy Park (Solar) | 0 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | SS
Kennedy Energy Park (Storage) | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | SS
Kennedy Energy Park (Wind) | 0 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | SS
Kidston Solar Project Phase One 50MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | SS
Lilyvale Solar Farm | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | SS
Mt Emerald Wind Farm | 0 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | 180.5 | SS
Ross River Solar Farm | 0 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | SS
Rugby Run Solar Farm | 0 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | SS
Sun Metals Solar Farm | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | SS
Whitsunday Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS
Total (Wind) | 0 | 676.7 | 676.7 | 676.7 | 676.7 | 676.7 | 676.7 | 676.7 | 676.7 | 676.7
Total (Solar) | 665 | 1113.5 | 1113.5 | 1113.5 | 1113.5 | 1113.5 | 1113.5 | 1113.5 | 1113.5 | 1113.5

## Existing NS Generation
Existing non-scheduled generation
Power Station | Owner | Nameplate Capacity (MW) | Technology Type | Fuel Type | Service Status
Barcaldine Remote Community Solar Farm | Barcaldine Remote Community Solar Farm Pty Ltd | 20 | PV-Tracking Flat panel | Solar | In service
Birkdale | LMS ENERGY Pty Ltd | 0.789 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service
Browns Plains | EDL LFG Qld Pty Ltd | 2.18 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service
Daandine | Energy Infrastructure Investments Pty Ltd | 30 | Compression Reciprocating Engine | Coal Seam Methane | Announced Withdrawal
FPC Green Energy | FPC 30 Limited as Trustee for FPC Green Fund Trust | 30 | Steam Sub Critical | Green and air dried wood | In service
Fraser Coast Community Solar Farm | Wide Bay Water Corporation | 0.401 | PV panels | Solar | In service
German Creek | EDL CSM Qld Pty Ltd | 45.01 | Spark Ignition Reciprocating Engine | Waste Coal Mine Gas | In service
Grosvenor 1 | EDL Projects Australia Pty Ltd | 21 | Spark Ignition Reciprocating Engine | Waste Coal Mine Gas | In service
Inkerman Mill | Pioneer Sugar Mills P/L | 12.5 | Steam Sub Critical | Bagasse | In service
Invicta Mill | The Haughton Sugar Company P/L | 50.3 | Steam Sub Critical | Bagasse | In service
ISIS Central Sugar Mill Co-generation Plant | AGL Energy | 25 | Steam Sub Critical | Bagasse | In service
Kalamia Mill | Wilmar Sugar P/L | 9 | Steam Sub Critical | Bagasse | In service
Kareeya 5 | Stanwell Corporation Limited | 7 | Hydro - Gravity | Water | In service
Macknade Mill | Wilmar Sugar P/L | 8 | Steam Sub Critical | Bagasse | In service
Maryborough Mill | MSF Sugar | 7.5 | Steam Super Critical | Bagasse | In service
Molendinar | LMS Energy Pty Ltd | 0.48 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service
Moranbah Generation Project | AGL | 12.56 | Compression Reciprocating Engine | Waste Coal Mine Gas | In service
Moranbah North | EDL Projects Australia Pty Ltd | 63.8 | Spark Ignition Reciprocating Engine | Waste Coal Mine Gas | In service
Mulgrave Central Mill | MSF Sugar | 9 | Steam Super Critical | Bagasse | In service
Oaky Creek | EDL OCI Pty Ltd | 21 | Spark Ignition Reciprocating Engine | Waste Coal Mine Gas | In service
Oaky Creek 2 | EDL OCI PTY LTD | 15 | Spark Ignition Reciprocating Engine | Waste Coal Mine Gas | In service
Pioneer Sugar Mill | Pioneer Sugar Mills P/L | 67.8 | Steam Sub Critical | Bagasse | In service
Plane Creek Mill | Wilmar Sugar Plane Creek P/L | 14 | Steam Sub Critical | Bagasse | In service
Proserpine | Wimar Sugar Proserpine Pty Ltd | 17 | Steam Sub Critical | Bagasse | In service
Racecourse Mill | Mackay Sugar Ltd | 48 | Steam Sub Critical | Bagasse | In service
Rochedale Renewable Energy Facility | LMS Energy Pty Ltd | 4.492 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service
Roghan Road | EDL LFG Qld Pty Ltd | 1.15 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service
South Johnstone Mill | MSF Sugar | 19.3 | Steam Super Critical | Bagasse | In service
Southbank Institute of Technology Unit 1 Plant | Southbank Institute of Technology | 1 | Compression Reciprocating Engine | Diesel | In service
Stapylton Renewable Energy Facility | LMS Energy Pty Ltd | 2.1 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service
Suncoast Gold Macadamias | AGL | 0 | Steam Sub Critical | Macadamia Nut Shells | In service
Sunshine Coast Solar Farm | Sunshine Coast Regional Council | 15 | PV Panels | Solar | In service
Suntown Renewable Energy Facility | LMS Energy Pty Ltd | 1.795 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service
Swanbank JV | LMS ENERGY Pty Ltd | 1.487 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service
Tableland Mill | MSF Sugar | 7 | Steam Super Critical | Bagasse | In service
Tarong GT | Stanwell Corporation Limited | 15 | OCGT | Fuel Oil | In service
Ti Tree Bioenergy | Ti Tree Bioenergy | 3.3 | Compression Reciprocating Engine | Landfill Methane / Landfill Gas | In service
Victoria Mill | Wilmar Sugar Herbert P/L | 24 | Steam Sub Critical | Bagasse | In service
Whitwood Road | LMS Energy Pty Ltd | 0.789 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service
Windy Hill | Ratch Australia | 12 | Wind - Onshore | Wind | In service
Wivenhoe Small Hydro | Stanwell Corporation Limited | 4.5 | Hydro - Gravity | Water | In service
Yarwun 1 | RTA Yarwun Pty Ltd | 180 | CCGT | Natural Gas Pipeline | In service
Llewellyn Motors | TBA | 0.3326 | PV Panels | Solar | In service
Moranbah Workers Solar | TBA | 0.2138 | PV Panels | Solar | In service
Mount Sheridan Plaza | TBA | 0.2995 | PV Panels | Solar | In service
Normanton Solar Farm | TBA | 4.96 | PV - single axis tracking | Solar | In service
SIPS Staypylton Industrial Power Station | TBA | 0.15 | PV Panels | Solar | In service
St Ursula's College Yeppoon | TBA | 0.1738 | PV Panels | Solar | In service
Todae Solar - DHP 1MW | TBA | 0.9541 | PV Panels | Solar | In service
Todae Solar SV - Holy Spirit Northside | TBA | 0.3932 | PV Panels | Solar | In service
Todae Solar SV - Mitchelton | TBA | 0.1746 | PV Panels | Solar | In service
Todae Solar SV - Private Brisbane | TBA | 0.1705 | PV Panels | Solar | In service
Todae Solar SV - Toowoomba | TBA | 0.2601 | PV Panels | Solar | In service
Todae Solar SV Lourdes | TBA | 0.2637 | PV Panels | Solar | In service
Tong Park - Agricultural Waste | TBA | 1.228 | TBA | Bagasse | In service
University of Southern Queensland Toowoomba | TBA | 1.09 | PV Panels | Solar | In service
Vulcan Yatala | TBA | 0.1966 | PV Panels | Solar | In service
Woolcock Centre | TBA | 0.2956 | PV Panels | Solar | In service
Total |  | 841.3891

## New Developments
Projects under development
Project | Owner | Unit ID | Technology Type | Fuel Type | Land | Equip | Plan | Finance | Date | Unit Status | Nameplate Capacity (MW) | Dispatch Type | Full Commercial Use Date | Source
Aldi Brendale | TBA |  | PV Panels | Solar | [5 empty] | Pub An | 0.931 | TBA | Nov-2017
Aramara Solar Farm | Eco Energy Group | 130 | PV - single axis tracking | Solar | [5 empty] | Pub An | 140 | SS | TBA
Archer Point Wind Farm | Wind Power Queensland Pty Ltd | Units 1 - 60 | Wind - Onshore | Wind | [5 empty] | Pub An | 120 | SS | TBA
Baking Board Solar Farm | Eco Energy Group |  | TBA | Solar | [5 empty] | Pub An | 20 | NS | TBA
Baralaba Solar Farm | FRV Services Australia Pty Ltd |  | PV Panels | Solar | [5 empty] | Pub An | 90 | SS | TBA
Barcaldine Solar Farm | Elecnor Australia Pty Ltd | 1 | PV Panels | Solar | [5 empty] | Pub An | 25 | NS | TBA
Barcaldine Solar Park | Elecnor Australia Pty Ltd |  | PV - single axis tracking | Solar | [5 empty] | Pub An | 25 | NS | TBA | http://barcaldinesolarfarmproject.com.au/
Beelbee Solar | APA | 1 | PV - single axis tracking | Solar | [5 empty] | Pub An | 150 | SS | TBA
Blackwater Solar Farm | Blackwater Solar Farm Pty Ltd |  | TBA | Solar | [5 empty] | Pub An |  | SS | TBA | http://www.centralhighlands.qld.gov.au/wp-content/uploads/2016/10/Current-Applications-April-2017.pdf
Bluff Solar Farm | Infigen Energy |  | PV Panels | Solar | ü |  |  |  | ü | Pub An | 100 | NS | Jan-2019
Bouldercombe Solar Farm | Eco Energy Group | 250 | PV - single axis tracking | Solar | [5 empty] | Pub An | 250 | SS | TBA
Bowen Solar Farm | Infigen Energy |  | PV - single axis tracking | Solar | ü |  |  |  | ü | Pub An | 40 | NS | TBA
Broadlea Solar Farm | Eco Energy Group | 102 | PV - single axis tracking | Solar | [5 empty] | Pub An |  | SS | TBA
Bulli Creek Solar Farm | Manildra Prop Pty Ltd as trustee for the Manildra Asset Trust | 5 | PV - single axis tracking | Solar | [5 empty] | Pub An | 2000 | SS | TBA | http://www.rpsgroup.com/Australia-Asia-Pacific/Projects/Bulli-Creek-Solar-Farm,-Darling-Downs,-QLD.aspx
Burdekin Falls Hydro Power Station | Stanwell Corporation Limited | 1 | Dam / run of the river | Water | [5 empty] | Pub An | 0 | S | TBA
Cape York Solar Storage | Lyon Solar |  | Battery Storage | Storage | ü |  |  |  |  | Pub An | 80 | SS | TBA | http://lyonbatterystorage.com.au/projects/
Childers Solar Farm | ESCO Pacific |  | PV - single axis tracking | Solar | [5 empty] | Pub An |  | SS | TBA
Chinchilla Solar Farm | Manildra Prop Pty Ltd as trustee for the Manildra Asset Trust | 1 | PV - single axis tracking | Solar | ü |  | ü |  |  | Pub An | 113 | SS | TBA
Chinchilla Solar Farm | Eco Energy World | 19 | PV - single axis tracking | Solar | [5 empty] | Pub An | 19 | NS | TBA
Churchill Abattoir | TBA |  | PV Panels | Solar | [5 empty] | Pub An | 0.9072 | NS | May-2017
Clare Solar Farm | Clare Asset Co Pty Ltd ATF Clare Asset Trust | Units 1-94 | PV - single axis tracking | Solar | ü | ü | ü | ü | ü | Com | 150 | SS | Summer 17-18
Clarke Creek Solar Farm | Energy Pacific Vic Pty Ltd |  | PV Tracking flat panel | Solar | [5 empty] | Pub An | 350 | SS | TBA | http://www.pacifichydro.com.au/english/projects/development/clarke-creek-solar-farm/
Clermont Solar Farm | Epuron Island GP Pty Ltd |  | PV - single axis tracking | Solar | [5 empty] | Pub An | 75 | SS | TBA
Cloncurry Solar Farm | Infigen Energy | Inverters 1-50 | PV Panels | Solar | [5 empty] | Pub An | 50 | NS | Dec-2019
Collinsville North Solar | Equis |  | PV Panels | Solar | ü |  |  |  |  | Pub An | 120 | SS | TBA
Collinsville PV | Ratch Australia Corporation |  | PV Panels | Solar | ü |  | ü |  |  | Com* | 42.5 | SS | Sep-2018
Columboola | Luminous Energy |  | PV Panels | Solar | ü |  |  |  |  | Pub An | 310 | SS | TBA | http://www.luminousenergy.com.au/planning.html
Comet Solar Farm | Comet Solar Farm Pty Ltd |  | TBA | Solar | [5 empty] | Pub An |  | TBA | TBA
Coopers Gap Wind Farm | PARF Company 10 Pty Ltd as trustee for the Coopers Gap Project Trust | 1-123 | Wind - Onshore | Wind | ü | ü | ü | ü | ü | Com | 453 | SS | Jun-2019
Dalby | TBA | unit 1 -19 | PV - single axis tracking | Solar | ü |  |  |  |  | Pub An |  | NS | TBA
Darling Downs Solar Farm | APA | 1 | PV – no tracking (fixed flat plate) | Solar | ü | ü |  | ü | ü | Com* | 110 | SS | Sep-2018 | https://www.apa.com.au/about-apa/our-projects/darling-downs-solar-farm/
Daydream Solar Farm | Hayman Solar Farm Pty Ltd | 36 | PV - single axis tracking | Solar | ü | ü |  | ü | ü | Com | 167.5 | SS | Aug-2018
Dunblane Solar Farm | YellowDot Energy Pty Ltd | 2 | PV – no tracking (fixed flat plate) | Solar | ü | ü | ü | ü | ü | Com | 7.2 | NS | Summer 17-18
Dysart Solar Farm (RED) | Tilt Renewables |  | PV Panels | Solar | [5 empty] | Pub An | 100 | SS | TBA | https://www.tiltrenewables.com/assets-and-projects/Dysart-Solar-Energy-Farm/
Emerald Solar Farm | ESCO Pacific |  | PV - single axis tracking | Solar | [5 empty] | Pub An | 68 | SS | Sep-2018 | http://www.emerald-solar.com.au/about-the-project/timeline/
Forsayth Wind Farm | Infigen Energy | Units 1-30 | Wind - Onshore | Water | [5 empty] | Pub An |  | SS | TBA
Hamilton Solar Farm | Hamilton Solar Farm Pty Ltd | 23 | PV - single axis tracking | Solar | ü | ü | ü | ü | ü | Com | 57.5 | SS | Mar-2018
Hayman Solar Farm | Hayman Solar Farm Pty Ltd | 12 | PV - single axis tracking | Solar | ü | ü |  | ü | ü | Com | 57.5 | SS | May-2018
High Road | Ratch Australia Corporation | 18 | Wind - Onshore | Wind | [5 empty] | Pub An | 62 | SS | TBA
Hughenden Solar Farm | Overland Sun Farming Pty Ltd |  | PV Panels | Solar | ü |  |  | ü | ü | Adv | 18 | NS | Oct-2017
Kelsey Creek Solar Farm | TBA |  | TBA | Solar | [5 empty] | Pub An | 50 | TBA | TBA
Kennedy Energy Park | Kennedy Energy Park Pty | 12 | Wind - Onshore | Wind | ü | ü | ü | ü | ü | Com | 43.2 | SS | Dec-2018
Kennedy Energy Park | Kennedy Energy Park Pty | 12 | PV - single axis tracking | Solar | ü | ü | ü | ü | ü | Com | 15 | SS | Dec-2018
Kennedy Energy Park | Kennedy Energy Park Pty | 12 | Battery Storage | Storage | ü | ü | ü | ü | ü | Com | 2 | SS | Dec-2018
Kennedy Wind Farm | Windlab Developments Pty Ltd | 1 | Wind - Onshore | Wind | [5 empty] | Pub An | 1500 | SS | TBA
Kidston Pumped Storage Hydro Project 250MW | Genex Power Limited | HYD1 and HYD2 | Pump Storage | Water | ü |  |  |  |  | Adv | 250 | S | TBA | http://www.genexpower.com.au/the-kidston-pumped-storage-hydro-project-250mw.html
Kidston Solar Project Phase One 50MW | Genex Power Limited | 1 UNIT | PV Panels | Solar | ü | ü | ü | ü | ü | Com | 50 | SS | Summer 17-18 | http://www.genexpower.com.au/uploads/6/6/1/2/6612684/may_solar_construction_update.pdf
Kidston Solar Project Phase Two 270MW | Genex Power Limited | 3 | PV - single axis tracking | Solar | [5 empty] | Pub An | 270 | SS | TBA
Koberinga Solar Farm | ESCO Pacific |  | PV Panels | Solar | [5 empty] | Pub An | 55 | SS | TBA
Lake Somerset | Seqwater |  | Hydro - Gravity | Water | ü | ü | ü | ü | ü | Com | 4.3 | NS | Jul-2017
Lakeland 2 | Kawa Australia Pty Ltd Trading as Conergy | 1 | PV - single axis tracking | Other | ü |  |  |  |  | Pub An | 20 | NS | TBA
Lakeland Solar and Storage Project | Lakeland Solar & Storage Pty Ltd | 12 | PV Panels | Solar | ü | ü | ü | ü | ü | Com | 12.5 | NS | Dec-2017
Lakeland Wind Farm | Lakeland Wind Farm Pty Ltd | 29 | Wind - Onshore | Wind | [5 empty] | Pub An | 104.4 | SS | TBA
Lilyvale Solar Farm | FRV Services Australia Pty Ltd |  | PV Tracking flat panel | Solar | [5 empty] | Com* | 100 | SS | Sep-2018
Lockyer Valley Energy Project | Quinbrook Infrastructure Partners | 1-6 | OCGT | Natural Gas | [5 empty] | Pub An | 1000 | S | TBA
Longreach Solar Farm | Longreach HoldCo P/L | 1 | PV - single axis tracking | Solar | ü | ü | ü | ü | ü | Com | 15 | NS | Winter 2018 | http://longreachsolarfarm.com.au/
Maryborough Solar | Maryborough Solar Pty Ltd | 1 | PV - single axis tracking | Solar | [5 empty] | Pub An | 29.9 | NS | TBA
Maryborough Solar | Eco Energy Group | 37 | PV - single axis tracking | Solar | [5 empty] | Pub An | 32.5 | SS | TBA
McIntyre | Acciona Energy Oceania Pty Ltd | 1-42 | Wind - Onshore | Wind | [5 empty] | Pub An |  | SS | TBA
Miles | Equis |  | PV - single axis tracking | Solar | ü |  |  |  |  | Pub An | 600 | SS | TBA
Mirani Solar Farm | ESCO Pacific |  | PV Panels | Solar | [5 empty] | Pub An | 60 | SS | TBA
Mt Cotton Biomass Cogeneration Power Station | Darwalla Milling Co Pty Ltd | 1 | Steam Sub Critical | Wood Waste | [5 empty] | Pub An | 7.6 | NS | TBA
Mt Emerald Wind Farm | Ratch Australia Corporation | Units 1-53 | Wind - Onshore | Wind | ü | ü | ü | ü | ü | Com | 180.5 | SS | Sep-2018 | http://mtemeraldwindfarm.com.au/
Normanton SF | TBA |  | PV – no tracking (fixed flat plate) | Solar | [5 empty] | Pub An | 5 | NS | TBA | https://www.solarquotes.com.au/blog/normanton-solar-farm-mb0283/ , http://www.normantonsolarfarm.com.au/project/
North Qld Bio-Energy Plant | North Queensland Bio-Energy Corporation Limited | 1 - 3 | Steam Sub Critical | Bagasse | [5 empty] | Pub An | 150 | S | Jun-2021 | http://www.nqbioenergy.com.au/
North Queensland Solar Farm | KCSF Consortium | 1 | PV Panels | Solar | [5 empty] | Pub An | 50 | SS | TBA | http://www.kcsf.com.au/
Oakey 1 Solar Farm | Oakey 1 AssetCo Pty Ltd | 1 | PV - single axis tracking | Solar | ü | ü | ü | ü | ü | Com | 25 | NS | Aug-2018 | http://oakeysolarfarm.com.au/
Oakey 2 Solar Farm | RE Oakey 2 Pty Ltd |  | PV - single axis tracking | Solar | ü |  |  |  |  | Pub An | 55 | SS | TBA
Raglan Solar | Eco Energy Group | 350 | PV - single axis tracking | Solar | [5 empty] | Pub An | 350 | SS | TBA
Rollingstone Solar Farm | ESCO Pacific |  | PV Panels | Solar | [5 empty] | Pub An | 110 | SS | TBA
Ross River Solar Farm | Ross River Operations Pty Ltd |  | PV - single axis tracking | Solar |  |  | ü |  |  | Com* | 116 | SS | Summer 18-19 | http://rossriversolarfarm.com.au/the-project/
Rugby Run Solar Farm | Adani Rugby Run Pty Ltd |  | PV Panels | Solar | [5 empty] | Com* | 65 | SS | Summer 18-19 | http://www.adanirenewables.com/power-generation.html
South Johnstone Mill (expansion) | MSF Sugar | 2 | Steam Sub Critical | Bagasse | ü |  |  |  |  | Pub An | 32 | SS | TBA
Sun Metals Solar Farm | Sun Metals Corporation Pty Ltd | 1-25 | PV Panels | Solar | ü | ü |  | ü | ü | Com* | 125 | SS | Apr-2018 | http://statements.qld.gov.au/Statement/2017/5/17/210-new-jobs-as-sun-metals-solar-powers-north-queensland-clean-energy-boom
Susan River Solar Farm | ESCO Pacific |  | PV Panels | Solar | [5 empty] | Pub An | 100 | SS | TBA
Tableland Mill | MSF Sugar | 1 | Steam Sub Critical | Bagasse | ü | ü |  | ü | ü | Com | 24 | NS | Jul-2018
Teebar Solar One | Teebar Clean Energy Pty Ltd | 1-21 | PV Panels | Solar | ü |  | ü |  | ü | Adv | 52.5 | SS | Mar-2018
Upper Haughton Solar Farm | Energy Pacific Vic Pty Ltd |  | PV Tracking flat panel | Solar | [5 empty] | Pub An |  | SS | TBA
Wandoan | Equis |  | PV - single axis tracking | Other | ü |  |  |  |  | Pub An | 1000 | SS | TBA
Western Downs Green Power Hub | Neoen |  | PV - single axis tracking | Solar | [5 empty] | Pub An | 500 | SS | TBA
Whitsunday | Whitsunday Solar Farm Pty Ltd | 23 | PV - single axis tracking | Solar | ü | ü | ü | ü | ü | Com | 57.5 | SS | Apr-2018
Windy Hill II | Ratch Australia Corporation |  | Wind - Onshore | Wind | [5 empty] | Pub An | 30 | NS | Sep-2022
Yarranlea Solar | Yarranlea Solar | 1 | PV - single axis tracking | Solar |  |  |  |  | ü | Pub An | 102.5 | SS | TBA
Com* - Identifies projects that are under construction, but AEMO has not been informed that the project meets all 5 commitment criteria

## Background Information
Generation capacity in the NEM
Any person who owns, controls, or operates a generating system connected to a transmission or distribution network must register as a generator. A generating system’s registered capacity is the nominal megawatt (MW) capacity registered with AEMO.
The registered capacity is often the same as a generating system’s nameplate capacity. Nameplate capacity represents the maximum continuous output or consumption in MW, as specified by the manufacturer, or as subsequently modified. Nameplate capacity can change for a number of reasons, such as upgrade projects, age or a review of performance.
Under the National Electricity Rules (NER), generating systems are classified as scheduled, semi-scheduled, or non-scheduled.
Scheduled (S) generation refers to any generating system with an aggregate nameplate capacity of 30 MW or more, unless AEMO approves its classification as semi-scheduled or non-scheduled.
Semi-scheduled (SS) generation refers to any generating system with intermittent output (such as wind or run-of-river hydro) with an aggregate nameplate capacity of 30 MW or more, unless AEMO approves its classification as scheduled or non-scheduled. A semi-scheduled classification gives AEMO the power to limit generation output that may exceed network capabilities, but reduces the participating generator’s requirement to provide information.
Non-scheduled (NS) generation refers to generating systems with an aggregate nameplate capacity of less than 30 MW, unless AEMO approves its classification as scheduled or semi-scheduled.
Generating systems greater than 30 MW must be classified as non-scheduled if:
· the primary purpose of the generating unit is for local use and the aggregate sent-out generation rarely exceeds 30 MW, or
· it is not practicable for the generating unit to participate in central dispatch.
A generating unit with a nameplate rating of less than 5 MW may be exempted by AEMO if its generation is purchased entirely by the local retail or a customer at the generator's connection point or the generator is classified as a market generating unit by a market small generation aggregator. A generating unit with a nameplate rating between 5 MW and 30 MW may also be exempted by AEMO if it exports less than 20 GWh into the grid in a year or extenuating circumstances apply.
Measuring generation capacity
Generation capacity can be measured as either:
· as-generated capacity, representing the output measured at a generating unit’s terminals, or
· sent-out capacity, representing the output after allowing for energy consumption by auxiliary equipment (used to help produce and transmit the electricity).
For the purposes of reliability assessments, and consistent with market systems, AEMO measures scheduled and semi-scheduled generation capacity on an as-generated basis. Non-scheduled generation is measured as sent-out because it can include co-generation plants (that usually produce both heat and electricity), where the bulk of the capacity is consumed locally.
Temperature effects on generation
The actual level of generation available at any particular time will depend on the condition of the generating plant. This includes factors such as age, outages, and wear. Another important factor with respect to output is the reduction in thermal efficiency as the temperature increases.
Because temperature can affect plant generation capacities in different ways, basing generation capacities on region-specific reference temperatures facilitates more effective assessment of available generation capacity under weather conditions frequently associated with high demand.
To produce the supply-demand outlook, AEMO — in consultation with the Jurisdictional Planning Bodies (JPBs) — undertakes the following:
· Uses historical data to estimate typical weather conditions, and to determine reference temperatures frequently associated with times of 10% probability of exceedence (POE) maximum demand in the major load centres for each region.
· Asks generators to provide generating unit capacities for summer and winter using these common reference temperatures. The table below lists the common reference temperatures AEMO applies for each region. In general, annual maximum demands occur during summer; the exception is Tasmania, where maximum demand occurs during winter. Summer maximum demand in Tasmania occurs during colder temperatures, resulting in a relatively low summer reference temperature.
Generation capacity reference temperatures
Region | Summer (°C) | Winter (°C)
Queensland | 37 | 15
New South Wales | 42 | 9
Victoria | 41 | 8
South Australia | 43 | 11
Tasmania | 7.7 | 1.2
Maximum capacity
Some thermal (generation that burns fuel) and non-thermal (renewable generation) generating systems can provide additional, short-term capacity that exceeds the registered capacity. This is known as maximum capacity.
Proposed generation in the NEM
In addition to capacity forecasts, generation plant owners advise AEMO about the status of generation projects currently under development in each region.
Proposed projects can be at different stages of development, and are categorised as follows:
· Committed projects, representing generation and storage for which formal commitment has been made for construction or installation.
· Proposed projects, which are further identified as either:
- Advanced proposals, representing generation at an intermediate stage of development, or
- Publicly announced proposals, representing generation at an early stage of development.
Projects are categorised based on AEMO’s commitment criteria, which cover site acquisition, contracts for major components, planning approval, financing, and the date set for construction. Committed projects are either under construction or meet all five of the commitment criteria, advanced proposals meet at least three, and publicly announced proposals meet less than three.
Generation project commitment criteria
Category | Criteria
Site | The project proponent has purchased/settled/acquired (or commenced legal proceedings to purchase/settle/acquire) land for the construction of the project.
Major components | Contracts for the supply and construction of major plant or equipment components (such as generating units, turbines, boilers, transmission towers, conductors, and terminal station equipment) have been finalised and executed, including any provisions for cancellation payments.
Planning consents/construction and connection approvals/EIS | The proponent has obtained all required planning consents, construction approvals, connection contracts (including Generator Performance Standard agreement from AEMO in the form of the 534A letter), and licences, including completion and acceptance of any necessary environmental impact statements.
Finance | The financing arrangements for the proposal, including any debt plans, must have been concluded and contracts executed.
Final construction date set | Construction of the proposal must either have commenced or a firm commencement date must have been set.