## All Regions Summary
All Regions Summary
There are currently over 600 MW of committed projects across the NEM, including the Mortons Lane wind farm (20.3 MW), the Macarthur Wind Farm (420 MW) and the Qenos Cogeneration Facility (21 MW) in Victoria, the Eraring Power Station Upgrade (60 MW) in New South Wales, and Musselroe Wind Farm (168 MW) in Tasmania.
Gas projects represent the highest technology interest (by capacity), with nearly 15,000 MW proposed across the NEM that AEMO is aware of, with more than half of the gas projects proposed from Queensland. Wind powered generation developments represent the second highest investment interest with over 14,000 MW across the NEM. Publicly announced proposals totalled over 34,500 MW spread across all regions.
In this report, references to winter indicate the period 1 June–31 August, and references to summer indicate the period 1 November–31 March. In Tasmania the summer period covers 1 December–28 February.
The table below summarises the projected available scheduled and semi-scheduled generation capacity in each region to meet the projected maximum demand in summer 2012–13 and winter 2013.
Available capacities for 2012–13
Region | Summer (MW) | Winter (MW)
| 2012–13 | 2013
Queensland | 12209 | 12495
New South Wales | 16327 | 16388
Victoria | 11311 | 11738
South Australia | 4091 | 4433.1
Tasmania | 2601 | 2682
NEM Total | 46539 | 47736.1
Generation Projects - completed new developments since 2011
Registered Participant | Power Station | Project Capacity (MW) | Fuel/Technology | Commissioning Date
Victoria
Oaklands Hill Wind Farm Pty Ltd | Oaklands Hill | 67.2 | Wind | 2012-02-01
Origin Energy Power Limited | Mortlake Stage 1 | 566 | Gas - OCGT | 2011-07-01
South Australia
Eurus Energy | Hallett 5 (The Bluff) | 52.5 | Wind | 2011-12-01
Generation Projects - completed upgrades since 2011
Registered Participant | Power Station | Project Capacity (MW) | Fuel/Technology | Commissioning Date
New South Wales
Eraring Energy | Eraring - Upgrade (Unit 1) | 60 | Steam Turbine - Black Coal | 2012
Generation Projects - committed new developments since 2011
Registered Participant | Power Station | Project Capacity (MW) | Fuel/Technology | Commissioning Date
Victoria
Macarthur Wind Farm Unincorporated Joint Venture | Macarthur | 420 | Wind | 2013-01-01
Mortons Lane Wind Farm Pty Ltd | Mortons Lane | 19.5 | Wind | TBA
AGL | Qenos Cogeneration Facility | 21 | Gas - CCGT | 2012-10-01
Tasmania
Hydro Tasmania Wind Operations Pty Ltd | Musselroe | 168 | Wind | 2013-06-01
Generation Projects - committed upgrades since 2011
Registered Participant | Power Station | Project Capacity (MW) | Fuel/Technology | Commissioning Date
New South Wales
Eraring Energy | Eraring - Upgrade (Unit 4) | 60 | Steam Turbine - Black Coal | 2012-10-01

## South Australia Summary
South Australia Summary
Committed project developments
AEMO has not been advised of any scheduled or semi-scheduled generation projects in South Australia that are currently classified as committed according to AEMO’s commitment criteria.
Plant retirements
AEMO has not been advised of any plant retirements in South Australia within the 10-year planning outlook.
Changes since the 2011 ESOO (existing generation)
Angaston Power Station: Infratil Energy Australia advises that the dispatch status for Angaston has changed from scheduled to non-scheduled.
Lake Bonney 2 Power Station: Infigen Energy advises that Lake Bonney 2's available capacity has been revised from 0 MW to 146 MW (+146 MW) in summer, based on operating experience during high temperature days.
Lake Bonney 3 Power Station: Infigen Energy advises that Lake Bonney 3's available capacity has been revised from 0 MW to 36 MW (+36 MW) in summer, based on operating experience during high temperature days.
Torrens Island A Power Station: AGL advises that Torrens Island A's available capacity has been revised from 504 MW to 480 MW (-24) in winter, due to changes in fuel quality.
Northern Power Station: Alinta Energy advises that Northern will only be available if recalled (with a recall time of up to three weeks) from 1 April 2013 to 30 September 2013 and from 1 April 2014 to 30 September 2014. After 1 October 2014, the power station will return to normal service. Alinta Energy also advises that summer operation will continue as normal.
Playford B Power Station: Alinta Energy advises that Playford B will only be available if recalled, with a recall time of around 70 days for both summer and winter periods. Playford B's available capacity has also been revised from 160 MW to 200 MW (+40 MW) in winter, due to a review of operating conditions.
Plant limitations
Torrens Island B Power Station: AGL advises that Torrens Island B's available capacity in summer may be affected by tides and temperature of the Port River, from which water is used to cool the plant.

## Background Information
Generation capacity in the NEM
Any person who owns, controls, or operates a generating system connected to a transmission or distribution network must register as a generator. A generating system’s registered capacity is the nominal megawatt (MW) capacity registered with AEMO.
The registered capacity is often the same as a generating system’s nameplate capacity. The nameplate capacity represents the maximum continuous output or consumption in MW, as specified by the manufacturer, or as subsequently modified. The nameplate capacity can change for a number of reasons, such as upgrade projects, age or a review of performance.
Under the National Electricity Rules (NER), generating systems are classified as scheduled, semi-scheduled, or non-scheduled.
Scheduled (S) generation refers to any generating system with an aggregate nameplate capacity of 30 MW or more, unless classified as semi-scheduled, or AEMO is permitted to classify it as non-scheduled.
Semi-scheduled (SS) generation refers to any generating system with intermittent output (such as wind or run-of-river hydro) with an aggregate nameplate capacity of 30 MW or more. A semi-scheduled classification gives AEMO the power to limit generation output that may exceed network capabilities, but reduces the participating generator’s requirement to provide information.
Non-scheduled (NS) generation refers to generating systems with an aggregate nameplate capacity of less than 30 MW and equal to or greater than 5 MW.
Generating systems greater than 30 MW may be classified as non-scheduled if:
· the primary purpose of the generating unit is for local use and the aggregate sent-out generation rarely exceeds 30 MW, or
· it is not practicable for the generating unit to participate in central dispatch.
A generating unit that has a nameplate rating less than 30 MW may also be exempted by AEMO if it exports less than 20 GWh into the grid in a year or extenuating circumstances apply.
Measuring generation capacity
Generation capacity can be measured as either:
· as-generated capacity, representing the output measured at a generating unit’s terminals, or
· sent-out capacity, representing the output after allowing for the consumption of some energy by auxiliary equipment (used to help produce and transmit the electricity).
For more information about the basis for measuring generation.
For the purposes of the ESOO and consistent with market systems, AEMO measures scheduled and semi-scheduled generation capacity on an as-generated basis. Non-scheduled generation is measured as sent-out because it can include co-generation plants, where the bulk of the capacity is consumed by the local process.
Temperature effects on generation
The actual level of generation available at any particular time will depend on the condition of the generating plant, which includes factors such as age, outages, and wear. Another important factor with respect to output is the reduction in thermal efficiency with increasing temperature.
Temperature can affect plant generation capacities in different ways. Basing generation capacities on a region-specific reference temperature facilitates a more effective assessment of the capability of the available generation under weather conditions frequently associated with high demand.
To produce the supply-demand outlook, AEMO in consultation with the Jurisdictional Planning Bodies (JPBs):
· uses historical data to estimate the typical weather conditions, and to determine reference temperatures that are frequently associated with times of 10% probability of exceedence (POE) maximum demand in the major load centres for each region, and
· asks generators to provide generating unit capacities for summer and winter using these common reference temperatures. The table below lists the common reference temperatures AEMO applies for each region. In general, annual maximum demands occur during summer, with the exception of Tasmania, where the maximum demand periods occur during winter. The summer maximum demands in Tasmania occur during colder temperatures, resulting in a relatively low summer reference temperature.
Generation capacity reference temperatures
Region | Summer (°C) | Winter (°C)
Queensland | 37 | 15
New South Wales | 42 | 9
Victoria | 41 | 8
South Australia | 43 | 11
Tasmania | 7.7 | 1.2
Maximum capacity
Some thermal (generation that burns fuel) and non-thermal (renewable generation) generating systems can provide additional, short-term capacity that exceeds the registered capacity. This is known as maximum capacity.
Proposed generation in the NEM
In addition to capacity forecasts, generation plant owners advise AEMO about the status of generation projects currently under development in each region.
Project proposals involve a range of projects at different stages of development.
Generation is categorised as:
· existing generation, representing generation that is commissioned and operating and requires that the operator be a registered market participant
· committed projects, representing generation that is considered to be proceeding, or
· proposed projects, which are further identified as either:
- advanced proposals, representing generation at an intermediate stage of development, or
- publicly announced proposals, representing generation at an early stage of development.
Projects are categorised based on AEMO’s commitment criteria, which cover site acquisition, contracts for major components, planning approval, financing, and the date set for construction. Committed projects meet all five of the commitment criteria, advanced proposals meet at least three, and publicly announced proposals meet less than three.
Generation project commitment criteria
Category | Criteria
Site | The project proponent has purchased/settled/acquired (or commenced legal proceedings to purchase/settle/acquire) land for the construction of the project.
Major components | Contracts for the supply and construction of the major components of plant or equipment (such as generating units, turbines, boilers, transmission towers, conductors, and terminal station equipment) have been finalised and executed, including any provisions for cancellation payments.
Planning consents/construction approvals/EIS | The proponent has obtained all required planning consents, construction approvals, and licences, including completion and acceptance of any necessary environmental impact statements.
Finance | The financing arrangements for the proposal, including any debt plans, must have been concluded and contracts executed.
Final construction date set | Construction of the proposal must either have commenced or a firm commencement date must have been set.

## Existing S & SS Generation
Existing scheduled and semi-scheduled generation
Power Station | Owner | Unit Numbers and Nameplate Capacity (MW) | Installed | Plant Type | Fuel | Dispatch Type
Capacity (MW)
Clements Gap | Pacific Hydro Clements Gap Pty Ltd | 27 x 2.1 | 56.7 | Wind | Wind | SS
Dry Creek GT | Synergen Power Pty. Ltd. | 3 x 52 | 156 | OCGT | Natural Gas Pipeline | S
Hallett 1 - Brown Hill | Palisade Investment Partner Limited | 45 x 2.1 | 94.5 | Wind | Wind | SS
Hallett 2 - Hallet Hill | Infrastructure Capital Group Limited | 34 x 2.1 | 71.4 | Wind | Wind | SS
Hallett 4 - Nth Brown Hill | Brown Hill North Pty Ltd | 63 x 2.1 | 132.3 | Wind | Wind | SS
Hallett 5 - The Bluff | Eurus Energy | 25 x 2.1 | 52.5 | Wind | Wind | SS
Hallett GT | TRUenergy | 4 x 16.4 3 x 17 2 x 17.3 2 x 24.8 1 x 27.5 | 228.3 | OCGT | Natural Gas Pipeline | S
Ladbroke Grove | Origin Energy Power Limited | 2 x 40 | 80 | OCGT | Natural Gas Pipeline | S
Lake Bonney 2 | Infigen Energy | 53 x 3 | 159 | Wind | Wind | SS
Lake Bonney 3 | Infigen Energy | 13 x 3 | 39 | Wind | Wind | SS
Mintaro GT | Synergen Power Pty Ltd | 1 x 90 | 90 | OCGT | Natural Gas Pipeline | S
Northern | Flinders Operating Services Pty Ltd | 2 x 265 | 530 | Steam Sub Critical | Brown Coal | S
Osborne | Origin Energy Electricity Limited | 1 x 120 1 x 60 | 180 | CCGT | Natural Gas Pipeline | S
Pelican Point | Pelican Point Power Limited | 1 x 478 | 478 | CCGT | Natural Gas Pipeline | S
Playford B | Flinders Operating Services Pty Ltd | 4 x 60 | 240 | Steam Sub Critical | Brown Coal | S
Port Lincoln GT | Synergen Power Pty Ltd | 2 x 25 1 x 23.5 | 73.5 | OCGT | Diesel | S
Quarantine | Origin Energy Power Limited | 4 x 24 1 x 128 | 224 | OCGT | Natural Gas Pipeline | S
Snowtown | Snowtown Wind Farm Pty Ltd | 47 x 2.1 | 98.7 | Wind | Wind | SS
Snuggery | Synergen Power Pty Ltd | 3 x 21 | 63 | OCGT | Diesel | S
Torrens Island A | AGL Energy | 4 x 120 | 480 | Steam Sub Critical | Natural Gas Pipeline | S
Torrens Island B | AGL Energy | 4 x 200 | 800 | Steam Sub Critical | Natural Gas Pipeline | S
Waterloo | Waterloo Windfarm Pty Ltd | 37 x 3 | 111 | Wind | Wind | SS
Total |  |  | 4437.9

## Existing Wind Generation
Existing wind generation
Power Station | Owner | Unit Numbers and Nameplate Capacity (MW) | Installed | Plant Type | Fuel | Dispatch Type
Capacity (MW)
Clements Gap | Pacific Hydro Clements Gap Pty Ltd | 27 x 2.1 | 56.7 | Wind | Wind | SS
Hallett 1 - Brown Hill | Palisade Investment Partner Limited | 45 x 2.1 | 94.5 | Wind | Wind | SS
Hallett 2 - Hallet Hill | Infrastructure Capital Group Limited | 34 x 2.1 | 71.4 | Wind | Wind | SS
Hallett 4 - Nth Brown Hill | Brown Hill North Pty Ltd | 63 x 2.1 | 132.3 | Wind | Wind | SS
Hallett 5 - The Bluff | Eurus Energy | 25 x 2.1 | 52.5 | Wind | Wind | SS
Lake Bonney 2 | Infigen Energy | 53 x 3 | 159 | Wind | Wind | SS
Lake Bonney 3 | Infigen Energy | 13 x 3 | 39 | Wind | Wind | SS
Snowtown | Snowtown Wind Farm Pty Ltd | 47 x 2.1 | 98.7 | Wind | Wind | SS
Waterloo | Waterloo Windfarm Pty Ltd | 37 x 3 | 111 | Wind | Wind | SS
Canunda | Canunda Power Pty. Ltd. | 23 x 2 | 46 | Wind | Wind | NS
Cathedral Rocks | JV Roaring 40s Renewable Energy Pty Ltd and Acciona Energy Oceania Pty Ltd | 33 x 2 | 66 | Wind | Wind | NS
Lake Bonney 1 Wind Farm | Lake Bonney Wind Power Pty Ltd | 46 x 1.75 | 80.5 | Wind | Wind | NS
Mt Millar | Mount Millar Windfarm Pty Ltd | 35 x 2 | 70 | Wind | Wind | NS
Starfish Hill | Ratch Australia | 23 x 1.5 | 34.5 | Wind | Wind | NS
Wattle Point | Infrastructure Capital Group | 55 x 1.65 | 90.75 | Wind | Wind | NS
Total |  |  | 1202.85

## Summer Scheduled Capacities
Summer aggregate available scheduled and semi-scheduled generation – South Australia (MW)
Power Station | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Dispatch Type
Barcaldine | –13 | –14 | –15 | –16 | –17 | –18 | –19 | –20 | –21 | -22 | S
Angastona | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | NS
Clements Gap | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | SS
Dry Creek GT | 116 | 117 | 117 | 118 | 118 | 118 | 118 | 118 | 118 | 118 | S
Hallett 1 - Brown Hill | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | SS
Hallett 2 - Hallett Hill | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | SS
Hallett 4 - North Brown Hill | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | SS
Hallett 5 - The Bluff | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | SS
Hallett GT | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | S
Ladbroke Grove | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | S
Lake Bonney 2 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | SS
Lake Bonney 3 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | SS
Mintaro GT | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S
Northern | 546 | 546 | 546 | 546 | 546 | 546 | 546 | 546 | 546 | 546 | S
Osborne | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | S
Pelican Point | 448 | 448 | 448 | 448 | 448 | 448 | 448 | 448 | 448 | 448 | S
Playford B | 200b | 200b | 200b | 200b | 200b | 200b | 200b | 200b | 200b | 200b | S
Port Lincoln GT | 57 | 57 | 57 | 57 | 57 | 57 | 57 | 57 | 57 | 57 | S
Quarantine | 186 | 186 | 186 | 186 | 186 | 186 | 186 | 186 | 186 | 186 | S
Snowtown | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | SS
Snuggery | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | S
Torrens Island A | 480 | 480 | 480 | 480 | 480 | 480 | 480 | 480 | 480 | 480 | S
Torrens Island B | 780 | 780 | 780 | 780 | 780 | 780 | 780 | 780 | 780 | 780 | S
Waterloo | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | SS
Total | 4091 | 4092 | 4092 | 4093 | 4093 | 4093 | 4093 | 4093 | 4093 | 4093
a. Includes Angaston, which is now registered as non-scheduled, but is treated as generation rather than a demand offset for some modelling purposes.
b. Alinta Energy advises that Playford B power plant will only be available with a recall time of around 70 days
The table above list the latest summer capacities for South Australian generation. Summer conditions relate to statistically predicted contribution under 10% POE maximum conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. AEMO refers to this as the firm contribution from wind generators during peak periods. For 2011-12 these figures have been updated to 8.3% of the installed capacity during summer, and 7.5% during winter.
The two tables below have been included to better represent the supply availability in South Australia, by taking into account the firm contribution by wind. The Summer aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm wind generation. The Summer total available semi-scheduled capacity by power station table lists the total available capacity for semi-scheduled wind generation for the summer period. The total available refers to the maximum amount that can be generated from the wind farms at the summer reference temperatures.
Summer aggregate scheduled and firm semi-scheduled generation – South Australia (MW)
Power Station | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Dispatch Type
Barcaldine | –13 | –14 | –15 | –16 | –17 | –18 | –19 | –20 | –21 | -22 | S
Angastona | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | NS
Dry Creek GT | 116 | 117 | 117 | 118 | 118 | 118 | 118 | 118 | 118 | 118 | S
Hallett GT | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | S
Ladbroke Grove | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | S
Mintaro GT | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S
Northern | 546 | 546 | 546 | 546 | 546 | 546 | 546 | 546 | 546 | 546 | S
Osborne | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | S
Pelican Point | 448 | 448 | 448 | 448 | 448 | 448 | 448 | 448 | 448 | 448 | S
Playford B | 200b | 200b | 200b | 200b | 200b | 200b | 200b | 200b | 200b | 200b | S
Port Lincoln GT | 57 | 57 | 57 | 57 | 57 | 57 | 57 | 57 | 57 | 57 | S
Quarantine | 186 | 186 | 186 | 186 | 186 | 186 | 186 | 186 | 186 | 186 | S
Snuggery | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | S
Torrens Island A | 480 | 480 | 480 | 480 | 480 | 480 | 480 | 480 | 480 | 480 | S
Torrens Island B | 780 | 780 | 780 | 780 | 780 | 780 | 780 | 780 | 780 | 780 | S
Firm Wind Capacity | 67.6533 | 67.6533 | 67.6533 | 67.6533 | 67.6533 | 67.6533 | 67.6533 | 67.6533 | 67.6533 | 67.6533 | SS
Total | 3492.6533 | 3493.6533 | 3493.6533 | 3494.6533 | 3494.6533 | 3494.6533 | 3494.6533 | 3494.6533 | 3494.6533 | 3494.6533
a. Includes Angaston, which is now registered as non-scheduled, but is treated as generation rather than a demand offset for some modelling purposes.
b. Alinta Energy advises that Playford B power plant will only be available with a recall time of around 70 days
Summer aggregate available semi-scheduled capacity by power station
Power Station | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Dispatch Type
Barcaldine | –13 | –14 | –15 | –16 | –17 | –18 | –19 | –20 | –21 | -22 | S
Clements Gap | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | SS
Hallett 1 - Brown Hill | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | SS
Hallett 2 - Hallett Hill | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | SS
Hallett 4 - North Brown Hill | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | SS
Hallett 5 - The Bluff | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | SS
Lake Bonney 2 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | SS
Lake Bonney 3 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | SS
Snowtown | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | SS
Waterloo | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | SS
Total | 666 | 666 | 666 | 666 | 666 | 666 | 666 | 666 | 666 | 666

## Winter Scheduled Capacities
Winter aggregate scheduled and semi-scheduled generation – South Australia (MW)
Project Station | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Dispatch Type
Angastona | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | NS
Clements Gap | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | SS
Dry Creek GT | 147 | 148 | 148 | 148 | 148 | 148 | 148 | 148 | 148 | 148 | S
Hallett 1 - Brown Hill | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | SS
Hallett 2 - Hallett Hill | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | SS
Hallett 4 - North Brown Hill | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | SS
Hallett 5 - The Bluff | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | SS
Hallett GT | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | S
Ladbroke Grove | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | S
Lake Bonney 2 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | SS
Lake Bonney 3 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | SS
Mintaro GT | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | S
Northern | 546b | 546b | 546 | 546 | 546 | 546 | 546 | 546 | 546 | 546 | S
Osborne | 190 | 190 | 190 | 190 | 190 | 190 | 190 | 190 | 190 | 190 | S
Pelican Point | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | S
Playford B | 200c | 200c | 200c | 200c | 200c | 200c | 200c | 200c | 200c | 200c | S
Port Lincoln GT | 73 | 73 | 73 | 73 | 73 | 73 | 73 | 73 | 73 | 73 | S
Quarantine | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | S
Snowtown | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | SS
Snuggery | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | S
Torrens Island A | 480 | 480 | 480 | 480 | 480 | 480 | 480 | 480 | 480 | 480 | S
Torrens Island B | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | S
Waterloo | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | SS
Total | 4433.1 | 4434.1 | 4434.1 | 4434.1 | 4434.1 | 4434.1 | 4434.1 | 4434.1 | 4434.1 | 4434.1
a. Includes Angaston, which is now registered as non-scheduled, but is treated as generation rather than a demand offset for some modelling purposes.
b. Alinta Energy advises that Northern power plant will only be available from 1 April 2013 to 30 September 2013 and 1 April 2014 to 30 September 2014 with a recall time of up to 3 weeks. After 1 October 2014 Northern power plant will be in service.
c. Alinta Energy advises that Playford B power plant will only be available with a recall time of around 70 days
The table above list the latest winter capacities for South Australian generation.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. AEMO refers to this as the firm contribution from wind generators during peak periods. For 2011-12 these figures have been updated to 8.3% of the installed capacity during summer, and 7.5% during winter.
The two tables below have been included to better represent the supply availability in South Australia, by taking into account the firm contribution by wind. The Winter aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm wind generation. The Winter total available semi-scheduled capacity by power station table lists the total available capacity for semi-scheduled wind generation for the summer period. The total available refers to the maximum amount that can be generated from the wind farms at the summer reference temperatures.
Winter aggregate scheduled and firm semi-scheduled generation
Project Station | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Dispatch Type
Angastona | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | NS
Dry Creek GT | 147 | 148 | 148 | 148 | 148 | 148 | 148 | 148 | 148 | 148 | S
Hallett GT | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | S
Ladbroke Grove | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | S
Mintaro GT | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | S
Northern | 546b | 546b | 546 | 546 | 546 | 546 | 546 | 546 | 546 | 546 | S
Osborne | 190 | 190 | 190 | 190 | 190 | 190 | 190 | 190 | 190 | 190 | S
Pelican Point | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | S
Playford B | 200c | 200c | 200c | 200c | 200c | 200c | 200c | 200c | 200c | 200c | S
Port Lincoln GT | 73 | 73 | 73 | 73 | 73 | 73 | 73 | 73 | 73 | 73 | S
Quarantine | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | S
Snuggery | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | S
Torrens Island A | 480 | 480 | 480 | 480 | 480 | 480 | 480 | 480 | 480 | 480 | S
Torrens Island B | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | S
Firm Wind Capacity | 61.1325 | 61.1325 | 61.1325 | 61.1325 | 61.1325 | 61.1325 | 61.1325 | 61.1325 | 61.1325 | 61.1325 | SS
Total | 3679.1325 | 3680.1325 | 3680.1325 | 3680.1325 | 3680.1325 | 3680.1325 | 3680.1325 | 3680.1325 | 3680.1325 | 3680.1325
a. Includes Angaston, which is now registered as non-scheduled, but is treated as generation rather than a demand offset for some modelling purposes.
b. Alinta Energy advises that Northern power plant will only be available from 1 April 2013 to 30 September 2013 and 1 April 2014 to 30 September 2014 with a recall time of up to 3 weeks. After 1 October 2014 Northern power plant will be in service.
c. Alinta Energy advises that Playford B power plant will only be available with a recall time of around 70 days
Winter total available semi-scheduled capacity by power station
Project Station | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Dispatch Type
Clements Gap | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | SS
Hallett 1 - Brown Hill | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | SS
Hallett 2 - Hallett Hill | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | SS
Hallett 4 - North Brown Hill | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | SS
Hallett 5 - The Bluff | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | SS
Lake Bonney 2 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | SS
Lake Bonney 3 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | SS
Snowtown | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | SS
Waterloo | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | SS
Total | 815.1 | 815.1 | 815.1 | 815.1 | 815.1 | 815.1 | 815.1 | 815.1 | 815.1 | 815.1

## New Developments
Projects under development – South Australia
Project | Owner | Unit ID | Fuel Type | Generation Type | Land | Equip | Plan | Finance | Date | Unit Status | Nameplate Capacity (MW) | Dispatch Type | Commissioning Start Date
Arckaringa | Arckaringa Joint Venture | 1-2 | Black Coal | IGCC | [5 empty] | Pub An | 570 | S | 2018-01-01
Barn Hill | Barn HIll Wind Farm Pty Ltd | 1-62 | Wind | Wind | ü |  |  |  |  | Pub An | 124-186 | SS | TBA
Carmodys Hill | Energy Pacific Vic Pty Ltd | 1-70 | Wind | Wind | [5 empty] | Pub An | TBA | SS | TBA
Ceres Project | RE Power | 1-180 | Wind | Wind | [5 empty] | Pub An | 600 | SS | TBA
Cherokee Power Station | Tungkillo Powerco Pty Ltd | All Units | Natural Gas Pipeline | OCGT | [5 empty] | Pub An | 250 | S | 2014-12-01
Exmoor | Acciona Energy | 1-48 | Wind | Wind | [5 empty] | Pub An | 144 | SS | TBA
Green Point | Wind Prospect CWP Pty Ltd | 1-18 | Wind | Wind | [5 empty] | Pub An | 54 | SS | TBA
Hallett 3 - Mt Bryan | AGL Energy Limited | 1-33 | Wind | Wind | [5 empty] | Pub An | 99 | SS | TBA
Hornsdale Wind Farm | Investec | All Units | Wind | Wind | [5 empty] | Pub An | 270 | SS | TBA
Innamincka | Geodynamics Limited / Origin Energy Geothermal Pty Ltd Joint Venture | 1 | Geological heat | Geoth. HDR-Binary cycle | ü |  |  |  |  | Pub An | 25 | S | 2016-03-31
|  | 2 | Geological heat | Geoth. HDR-Binary cycle | ü |  |  |  |  | Pub An | 50 | S | 2019-03-31
|  | 3 | Geological heat | Geoth. HDR-Binary cycle | ü |  |  |  |  | Pub An | 50 | S | 2019-03-31
|  | 4 | Geological heat | Geoth. HDR-Binary cycle | ü |  |  |  |  | Pub An | 50 | S | 2019-03-31
|  | 5 | Geological heat | Geoth. HDR-Binary cycle | ü |  |  |  |  | Pub An | 50 | S | 2019-03-31
|  | 6 | Geological heat | Geoth. HDR-Binary cycle | ü |  |  |  |  | Pub An | 50 | S | 2019-03-31
|  | 7 | Geological heat | Geoth. HDR-Binary cycle | ü |  |  |  |  | Pub An | 50 | S | 2019-03-31
|  | 8 | Geological heat | Geoth. HDR-Binary cycle | ü |  |  |  |  | Pub An | 50 | S | 2020-03-31
|  | 9 | Geological heat | Geoth. HDR-Binary cycle | ü |  |  |  |  | Pub An | 50 | S | 2020-03-31
|  | 10 | Geological heat | Geoth. HDR-Binary cycle | ü |  |  |  |  | Pub An | 50 | S | 2020-03-31
|  | 11 | Geological heat | Geoth. HDR-Binary cycle | ü |  |  |  |  | Pub An | 50 | S | 2020-03-31
Keyneton | Energy Pacific Vic Pty Ltd | 1-57 | Wind | Wind | [5 empty] | Pub An | 131.1 | SS | TBA
Kongorong | Ratch Australia | 1-57 | Wind | Wind | [5 empty] | Pub An | 100-240 | SS | 2017-03-31
Kulpara | Ratch Australia | 52 | Wind | Wind | [5 empty] | Pub An | 60-150 | SS | 2018-12-31
Lincoln Gap Wind Farm | Lincoln Gap Wind Farm Pty Ltd | 1-59 | Wind | Wind | ü |  |  |  |  | Pub An | 118 | SS | TBA
Mount Hill | Ratch Australia | Station | Wind | Wind | [5 empty] | Pub An | 80-180 | SS | TBA
Paralana project | Petratherm Limited | Paralana 1 | Geological heat | Geoth. HDR-Binary cycle | [5 empty] | Pub An | TBA | S | 2013-12-01
Pelican Point S2 | Pelican Point Power Limited | 1 | Natural Gas Pipeline | OCGT | ü |  |  |  |  | Pub An | 160 | S | TBA
|  | 2 | Natural Gas Pipeline | OCGT | ü |  |  |  |  | Pub An | 160 | S | TBA
Quarantine | Origin Energy Power Limited | 6 | Natural Gas Pipeline | OCGT | [5 empty] | Pub An | 125 | S | TBA
Robertstown | TRUenergy Renewables Pty Ltd | 1-25 | Wind | Wind | ü |  |  |  |  | Pub An | 75 | SS | TBA
Snowtown S2 | Snowtown Wind Farm Pty Ltd | All Units | Wind | Wind | [5 empty] | Pub An | 270 | SS | TBA
Stony Gap | TRUenergy Renewables Pty Ltd | All Units | Wind | Wind | [5 empty] | Pub An | TBA | SS | TBA
Waterloo | TRUenergy Pty Ltd | 38-43 | Wind | Wind | ü |  |  |  |  | Pub An | 18 | SS | TBA
Woakwine Wind Farm | Infigen Energy | All Units | Wind | Wind | [5 empty] | Pub An | TBA | SS | TBA
Willogoleche | Willogoleche Power Pty Ltd | Station | Wind | Wind | [5 empty] | Pub An | 72 | SS | TBA

## Existing NS Generation
Existing non-scheduled generation – South Australia
Power Station | Owner | Fuel Type | Technology Type | Nameplate Capacity (MW)
Amcor Gawler Glass Bottle Plant | Amcor Packaging Australia Pty Ltd | Diesel | Compression Reciprocating Engine | 4.02
Angaston | Infratil Energy Australia Pty Ltd | Diesel | Compression Reciprocating Engine | 50
Blue Lake Milling Power Plant | Vibe Energy Pty Ltd | Diesel | Compression Reciprocating Engine | 0.505
Canunda | Canunda Power Pty. Ltd. | Wind | Wind | 46
Cathedral Rocks | JV Roaring 40s Renewable Energy Pty Ltd and Acciona Energy Oceania Pty Ltd | Wind | Wind | 66
Highbury | EDL LFG SA Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 1.03
Lake Bonney 1 | Lake Bonney Wind Power Pty Ltd | Wind | Wind | 80.5
Lonsdale | Infratil Energy Australia Pty Ltd | Diesel | Compression Reciprocating Engine | 20.7
Mt Millar | Mount Millar Windfarm Pty Ltd | Wind | Wind | 70
Pedler Creek | EDL LFG SA Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 3.09
Pt Stanvac A | Infratil Energy Australia Pty Ltd | Diesel | Compression Reciprocating Engine | 28.8
Pt Stanvac B | Infratil Energy Australia Pty Ltd | Diesel | Compression Reciprocating Engine | 28.8
Starfish Hill | Ratch Australia | Wind | Wind | 34.5
Tatiara Meats | Vibe Energy Pty Ltd | Diesel | Compression Reciprocating Engine | 0.5
Tea Tree Gully | EDL LFG SA Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 1.03
Terminal Storage Mini Hydro | Lofty Ranges Power Pty Ltd | Water | Hydro - Gravity | 2.5
Wattle Point | Infrastructure Capital Group | Wind | Wind | 90.75
Wingfield I and II | EDL LFG SA Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 8.24
Total |  |  |  | 536.965