## Tasmania Summary
TAS
Disclaimer
This document is subject to an important disclaimer that limits or excludes AEMO's liability.
Please read the full disclaimer at
http://www.aemo.com.au/Electricity/National-Electricity-Market-NEM/Planning-and-forecasting/Generation-information
Data presented is current as at 21 January 2019
Tasmania Summary
Changes since last update
None to report
Generation withdrawals
Withdrawn
None to report.
Announced withdrawals (i.e. Mothballed, Seasonal Shut down etc.)
Tamar Valley CCGT: Hydro Tasmania advises that the Tamar Valley CCGT (208 MW) will be withdrawn after April 2018, but is available for operation with less than 3 months' notice.
Committed projects
Coal, CCGT, OCGT, Gas other, Water, Solar, Biomass, Geo-thermal, Other : None to report.
Wind: Granville Harbour Wind Farm (111.6 MW), Wild Cattle Hill Wind Farm (144 MW)
Proposed projects
Please refer to information presented in the worksheet titled 'New Developments'.
Plant limitations
Bastyan Power Station: Hydro-Electric Corporation advises that Bastyan's available capacity will be (zero) 0 MW during summer 2021-22.
Catagunyah/Liapootah/Wayatinah Power Station: Hydro-Electric Corporation advises that Catagunyah/Liapootah/Wayatinah Power Stations will undergo the following outages:
· Liapootah Unit 3 will be unavailable during:
- summer 2018–19
· Wayatinah Unit 3 will be unavailable during:
- summer 2018–19
· Catagunya Unit 1 will be unavailable during:
- summer 2018–19
Devils Gate Power Station: Hydro-Electric Corporation advises that Devils Gate’s available capacity will be (zero) 0 MW during summer 2017-18 and winter 2018.
Gordon Power Station: Hydro-Electric Corporation advises that Gordon's available capacity will reduced to 371 MW (-25) MW during summer and winter due to lower storage levels. Also, the station will undergo the following outages:
· Gordon Unit 1 will be unavailable during:
- summer 2022–23
· Gordon Unit 2 will be unavailable during:
- summer 2021–22
· Gordon Unit 3 will be unavailable during:
- summer 2023–24
John Butters Station: Hydro-Electric Corporation advises that John Butters' available capacity will be (zero) 0 MW during summer 2024-25 and winter 2025.
Lake Echo Power Station: Hydro-Electric Corporation advises that Lake Echo's available capacity will be (zero) 0 MW during winter 2018, 2019, 2020 and 2024.
Lemonthyme/Wilmot Power Station: Hydro-Electric Corporation advises that Lemonthyme/Wilmot's available capacity will be 54 MW during summer 2017-18 and summer 2020-21, and 32 MW during summer 2019-20.
Mackintosh Power Station: Hydro-Electric Corporation advises that Mackintosh's available capacity will be (zero) 0 MW during summer 2022-23.
Reece Power Station: Hydro-Electric Corporation advises that Reece's available capacity will be 116 MW during summer 2023-24 and 2025-26 due to an outage.
Tarraleah Power Station: Hydro-Electric Corporation advises that Tarraleah’s available capacity will be:
• 75 MW from winter 2022 to summer 2024-25 due to outages of Units 1, 2 and 3.
Trevallyn Power Station: Hydro-Electric Corporation advises that Trevallyn’s available capacity will be:
• 81.9 MW during summer 2019–20 due to outages of Unit 1.
• 0 MW during summer 2020–21 due to outages
Tungatinah Power Station: Hydro-Electric Corporation advises that Tungatinah’s available capacity will be:
• 104.4 MW during summer 2019-20 due to outages
• 104.4 MW during summer 2021–22 due to outages
Tribute: Hydro-Electric Corporation advises that Tribute's available capacity will be (zero) 0 MW during summer 2025-26.
Tasmania existing and potential new developments by generation type (MW)
| Status | Coal | CCGT | OCGT | Gas other | Solar* | Wind | Water | Biomass | Battery Storage | Other | Total
| Existing | 0 | 208 | 178 | 0 | 0.2646 | 308 | 2286.8 | 4.936 | 0 | 0 | 2986.0006
| Announced Withdrawal | 0 | 208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 208
| Existing less Announced Withdrawal | 0 | 0 | 178 | 0 | 0.2646 | 308 | 2286.8 | 4.936 | 0 | 0 | 2778.0006
| Committed | 0 | 0 | 0 | 0 | 0 | 255.6 | 0 | 0 | 0 | 0 | 255.6
| Proposed | 0 | 0 | 0 | 0 | 17.5 | 1102 | 2310 | 0 | 0 | 0 | 3429.5
| Withdrawn | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note: Existing includes Announced Withdrawal
* Solar excludes rooftop PV installations

## Change Log
Tasmania Change Log
Lists all key updates to new development projects and existing generation information between publication dates since the 2012 ESOO.
Publication date: | 2012-12-20
Tungatinah (Upgrade): Hydro-Electric Corporation advises the upgrade to Unit 1 is committed and scheduled to return to service in December 2012.
Publication date: | 2013-02-22
Poatina Power Station: Hydro Tasmania advises that the Poatina plant has revised its available capacity from 300 MW to 342 MW (+42 MW) in summer and winter, based on operating experience.
Musselroe Wind Farm: Hydro Tasmania Wind Operations Pty Ltd advises that Musselroe (168 MW) is now a committed project. Construction is expected be completed around June 2013.
Publication date: | 2013-06-30
Tungatinah (Upgrade): Hydro-Electric Corporation advises the upgrade to Unit 1 was completed and returned back to service on February 2013. The upgrade was a revamp of the unit where some efficiency gains are expected.
Tungatinah (Upgrade): Hydro-Electric Corporation advises an upgrade to Unit 2, a revamp of the existing unit where some efficiency gains are expected. The upgrade to be completed in November 2013.
Publication date: | 2013-11-15
Musselroe Wind Farm: Hydro Tasmania Wind Operations Pty Ltd advises that Musselroe (168 MW) project was completed in June 2013.
TasWind (King Island): Hydro Tasmania advises that the TasWind (King Island) project is publicly announced.
Publication date: | 2014-12-10
Tamar Valley OCGT (Bell Bay Three & TVPP104): Hydro-Electric Corporation advises that TVPP104 available capacity will be (zero) 0 MW during summer 2015-16, specifically between 4/9/2015 and 4/3/2016 due to a major outage.
Cethana Power Station: Hydro-Electric Corporation advises that Cethana’s available capacity will be (zero) 0 MW during summer 2014-15, specifically between 5/1/2015 and 21/9/2015 due to a major refurbishment project.
Tamar Valley Combined Cycle: AETV advises that Tamar Valley Combined Cycle's available capacity will be (zero) 0 MW during winter 2015 and winter 2016 due to winter layover (dry storage) specifically between 1/1/2015 and 19/4/2015 and then 24/4/2015 until 18/4/2016 and then again between 22/4/2016 and 31/12/2016.31/12/2015 and then again between 1/4/2016 and 31/12/2016.
Tarraleah Power Station: Hydro-Electric Corporation advises that Tarraleah’s available capacity will be:
• 45 MW during summer 2015-16 due to outages of Units 4,5 and 6, specifically between 7/9/2015 and 4/12/2015 due to a major refurbishment project.
• 45 MW during summer 2015-16 due to outages of Units 1,2 and 3, specifically between 1/2/2016 and 30/4/2016 due to a major refurbishment project.
Tungatinah Power Station: Hydro-Electric Corporation advises that Tungatinah’s available capacity will be:
• 104.4 MW during summer 2019–20 due to outages of Unit 3.
• 78.3 MW during summer 2014-15 due to outages of Unit 4 and Unit 5.
• 104.4 MW during summer 2015-16 due to outages of Unit 4, specifically between 30/11/2015-17/6/2016 due to a major refurbishment project.
Publication date: | 2015-08-13
Tamar Valley CCGT: Hydro Tasmania have advised that Tamar Valley CCGT (208 MW) unit is currently in dry lay up. On 13 August 2015, the Tasmanian Government gave approval for Hydro Tasmania to decommission and sell the combined cycle gas turbine.
Tamar Valley Peaking: Hydro Tasmania have advised that Tamar Valley Peaking (58 MW) unit is currently withdrawn and is to return back to service in June 2016.
Bell Bay Three Power Station: Hydro Tasmania have advised that Bell Bay Three Power Stations available capacity will be 75 MW (-45 MW) for Summer 2015-16, 2016-17 and Winter 2016, 2017. Hydro Tasmania also advised the power station is to be withdrawn from service from 1 January 2018 and onwards.
Publication date: | 2016-03-03
Tamar Valley CCGT: Hydro Tasmania have advised that Tamar Valley CCGT (208 MW) unit has been recommissioned and running since 19 January 2016.
Tamar Valley OCGT: Hydro Tasmania have advised that Tamar Valley Peaking (58 MW) unit is currently withdrawn and is to return back to service in April 2016.
Bell Bay Three Power Station: Hydro Tasmania have advised that Bell Bay Three Power Stations available capacity will be 105 MW (15 MW) for Summer 2015-16, 2016-17 and Winter 2016, 2017. Hydro Tasmania also advised the power station is to be withdrawn from service from 1 January 2018 and onwards.
Publication date: | 2016-04-15
Tamar Valley CCGT: Hydro Tasmania have advised that Tamar Valley CCGT (208 MW) unit has been recommissioned and running since 19 January 2016.
Tamar Valley OCGT: Hydro Tasmania have advised that Tamar Valley Peaking (58 MW) unit is currently withdrawn and is to return back to service in April 2016.
Bell Bay Three Power Station: Hydro Tasmania have advised that Bell Bay Three Power Stations available capacity will be 105 MW (15 MW) for Summer 2015-16, 2016-17 and Winter 2016, 2017. Hydro Tasmania also advised the power station is to be withdrawn from service from 1 January 2018 and onwards.
Publication date: | 2016-08-11
Bell Bay Power Station: Hydro Tasmania advises that Bell Bay Power Station (105 MW) will no longer be withdrawn from service from 1 January 2018 onwards.
Tamar Valley CCGT : Hydro Tasmania advises that Tamar Valley CCGT (208 MW) has been withdrawn from service since May 2016.
Publication date: | 2016-11-18
Tamar Valley CCGT: Hydro Tasmania advises that the Tamar Valley CCGT (208 MW) is available for operation with less than 3 months' notice and will next return to service in summer 2016-17.
Publication date: | 2017-02-27
Tamar Valley CCGT: Hydro Tasmania advises that the Tamar Valley CCGT (208 MW) has returned to service in summer 2016-17. It will be withdrawn after summer 2016-17, but available for operation with less than 3 months' notice.
Publication date: | 2017-06-05
Bastyan Power Station: Hydro-Electric Corporation advises that Bastyan's available capacity will be (zero) 0 MW during summer 2021-22.
Gordon Power Station: Hydro-Electric Corporation advises that Gordon's available capacity will reduced to 371 MW (-25) MW during summer and winter due to lower storage levels. Also, the station will undergo the following outages:
· Gordon Unit 1 will be unavailable during:
- summer 2022–23
· Gordon Unit 2 will be unavailable during:
- summer 2021–22
· Gordon Unit 3 will be unavailable during:
- summer 2023–24
Lake Echo Power Station: Hydro-Electric Corporation advises that Lake Echo's available capacity will be (zero) 0 MW during winter 2018, 2019, 2020 and 2024.
Lemonthyme/Wilmot Power Station: Hydro-Electric Corporation advises that Lemonthyme/Wilmot's available capacity will be 54 MW during summer 2017-18 and summer 2020-21, and 32 MW during summer 2019-20.
Reece Power Station: Hydro-Electric Corporation advises that Reece's available capacity will be 116 MW during summer 2023-24 and 2025-26 due to an outage.
Tamar Valley CCGT: Hydro Tasmania advises that the Tamar Valley CCGT (208 MW) will be withdrawn after May 2017, but is available for operation with less than 3 months' notice.
Publication date: | 2017-12-22
Tamar Valley CCGT: Hydro Tasmania advises that the Tamar Valley CCGT (208 MW) will be withdrawn after April 2018, but is available for operation with less than 3 months' notice.
Publication date: | 2017-03-16
Granville Harbour Wind Farm: Granville Harbour Wind Farm (111.6 MW) is now reported as committed as Palisade Investment Partners Pty Ltd advises construction has commenced.
Publication date: | 2018-07-31
Wild Cattle Hill Wind Farm: Wild Cattle Hill Wind Farm (144 MW) is now reported as committed as Wild Cattle Hill Pty Ltd advises construction has commenced.
Publication date: | 2018-10-31
None to report
Amendment: | 2018-11-09
Bluff Point Wind Farm: Woolnorth Wind Farm Holding Pty Ltd advises that Bluff Point Wind Farm (65 MW) is accounted for within Woolnorth Studland Bay / Bluff Point (140 MW).
AEMO has subsequently removed the entry for "Bluff Point Wind Farm" from the list of Existing Non-Scheduled Generation, and subtracted the related capacity (65 MW) from the chart in the 'Tasmania Summary' worksheet, and on the Generation Information Page website.
Publication date: | 2019-01-21
None to report
Note: Updated “Background Information” with changes to categories of proposed generation in the NEM.

## Existing S & SS Generation
Existing & committed scheduled and semi-scheduled generation
Power Station | Owner | Unit Number and Nameplate Capacity (MW) | Nameplate Capacity (MW) | Technology Type | Fuel Type | Dispatch Type | Service Status | Closure Date | Region | summary_status | summary_bucket
Bastyan | Hydro-Electric Corporation | 1 x 79.9 | 79.9 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
Bell Bay Three | AETV Pty Ltd | 3 x 40 | 120 | OCGT | Natural Gas Pipeline | S | In Service | TBA | TAS | Existing less Announced Withdrawal | OCGT
Catagunya / Liapootah / Wayatinah | Hydro-Electric Corporation | 3 x 12.8 2 x 24 3 x 27.9 | 170.1 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
Cethana | Hydro-Electric Corporation | 1 x 85 | 85 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
Devils Gate | Hydro-Electric Corporation | 1 x 60 | 60 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
Fisher | Hydro-Electric Corporation | 1 x 43.2 | 43.2 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
Gordon | Hydro-Electric Corporation | 3 x 144 | 432 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
John Butters | Hydro-Electric Corporation | 1 x 144 | 144 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
Lake Echo | Hydro-Electric Corporation | 1 x 32.4 | 32.4 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
Lemonthyme / Wilmot | Hydro-Electric Corporation | 1 x 30.6 1 x 51 | 81.6 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
Mackintosh | Hydro-Electric Corporation | 1 x 79.9 | 79.9 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
Meadowbank | Hydro-Electric Corporation | 1 x 40 | 40 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
Musselroe Wind Farm | Woolnorth Wind Farm Holding Pty Ltd | 56 x 3 | 168 | Wind - Onshore | Wind | SS | In Service | TBA | TAS | Existing less Announced Withdrawal | Wind
Poatina | Hydro-Electric Corporation | 6 x 50 | 300 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
Reece | Hydro-Electric Corporation | 2 x 115.6 | 231.2 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
Tamar Valley Combined Cycle | AETV Pty Ltd | 1 x 140 1 x 68 | 208 | CCGT | Natural Gas Pipeline | S | Announced Withdrawal | TBA | TAS | Announced Withdrawal | CCGT
Tamar Valley Peaking | AETV Pty Ltd | 1 x 58 | 58 | OCGT | Natural Gas Pipeline | S | In Service | TBA | TAS | Existing less Announced Withdrawal | OCGT
Tarraleah | Hydro-Electric Corporation | 6 x 15 | 90 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
Trevallyn | Hydro-Electric Corporation | 2 x 20 2 x 26.5 | 93 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
Tribute | Hydro-Electric Corporation | 1 x 82.8 | 82.8 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
Tungatinah | Hydro-Electric Corporation | 5 x 25 | 125 | Hydro - Gravity | Water | S | In Service | TBA | TAS | Existing less Announced Withdrawal | Water
Total |  |  | 2724.1
* In Commissioning includes facilities that have both obtained NEM registration, and have demonstrated the ability to export at least 50% of Nameplate capacity under commissioning conditions, but are not yet operating unrestricted at the time of publication. These projects are included under the "Existing Less Announced Withdrawal" category in the Summary Table.

## Summer Scheduled Capacities
Summer aggregate available scheduled and semi-scheduled generation
PowerStation | 201819 | 201920 | 202021 | 202122 | 202223 | 202324 | 202425 | 202526 | 202627 | 202728 | DispatchType | FuelType | Region | Season
Bastyan | 81 | 81 | 81 | 0 | 81 | 81 | 81 | 81 | 81 | 81 | S | Hydro | TAS | summer
Bell Bay Three | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | S | Fossil | TAS | summer
Catagunya / Liapootah / Wayatinah | 107.8 | 149.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | S | Hydro | TAS | summer
Cethana | 95 | 95 | 95 | 0 | 95 | 95 | 95 | 95 | 95 | 95 | S | Hydro | TAS | summer
Devils Gate | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | S | Hydro | TAS | summer
Fisher | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | S | Hydro | TAS | summer
Gordon | 370.8 | 370.8 | 370.8 | 370.8 | 370.8 | 247.2 | 370.8 | 370.8 | 370.8 | 370.8 | S | Hydro | TAS | summer
Granville Harbour Wind Farm | 0 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | SS | Wind | TAS | summer
John Butters | 140 | 140 | 140 | 140 | 140 | 140 | 0 | 140 | 140 | 140 | S | Hydro | TAS | summer
Lake Echo | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | S | Hydro | TAS | summer
Lemonthyme / Wilmot | 86 | 32 | 54 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | S | Hydro | TAS | summer
Mackintosh | 81 | 81 | 81 | 81 | 0 | 81 | 81 | 81 | 81 | 81 | S | Hydro | TAS | summer
Meadowbank | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | S | Hydro | TAS | summer
Musselroe Wind Farm | 168 | 168 | 168 | 168 | 168 | 168 | 168 | 168 | 168 | 168 | SS | Wind | TAS | summer
Poatina | 342 | 342 | 285 | 285 | 285 | 285 | 285 | 342 | 342 | 342 | S | Hydro | TAS | summer
Reece | 232 | 232 | 232 | 232 | 232 | 116 | 232 | 116 | 232 | 232 | S | Hydro | TAS | summer
Tamar Valley Combined Cycle | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | TAS | summer
Tamar Valley Peaking | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | S | Fossil | TAS | summer
Tarraleah | 90 | 90 | 90 | 90 | 75 | 75 | 75 | 75 | 90 | 90 | S | Hydro | TAS | summer
Trevallyn | 102.8 | 81.9 | 0 | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | S | Hydro | TAS | summer
Tribute | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 0 | 88 | 88 | S | Hydro | TAS | summer
Tungatinah | 130.5 | 104.4 | 130.5 | 104.4 | 130.5 | 130.5 | 130.5 | 130.5 | 130.5 | 130.5 | S | Hydro | TAS | summer
Wild Cattle Hill Wind Farm | 0 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | SS | Wind | TAS | summer
Total | 2460.7 | 2657.2 | 2590.4 | 2523.1 | 2629.2 | 2470.6 | 2570.2 | 2563.2 | 2782.2 | 2782.2
The table above lists the latest Summer capacities for Tasmanian generation. Summer conditions relate to statistically predicted contribution under 10% POE maximum demand conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. AEMO refers to this as the "firm contribution" from wind generators during peak periods. These figures are 10.5% of the installed capacity during summer, and 7.3% during winter, based on AEMO's analysis of historical wind output over summer 2012-13 to 2016-17, and winter 2013 - 2017.
The two tables below have been included to better represent the supply availability in Tasmania, by taking into account the firm contribution by semi-scheduled generation. The Summer aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm semi-scheduled generation. The Summer aggregate available semi-scheduled generation table lists the total available capacity for semi-scheduled generation for the Summer period. The total refers to the maximum amount that can be generated from the semi-scheduled generation at the Summer reference temperatures.
Summer aggregate scheduled and firm semi-scheduled generation
PowerStation | 201819 | 201920 | 202021 | 202122 | 202223 | 202324 | 202425 | 202526 | 202627 | 202728 | DispatchType | FuelType | Region | Season
Bastyan | 81 | 81 | 81 | 0 | 81 | 81 | 81 | 81 | 81 | 81 | S | Hydro | TAS | summer
Bell Bay Three | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | S | Fossil | TAS | summer
Catagunya / Liapootah / Wayatinah | 107.8 | 149.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | S | Hydro | TAS | summer
Cethana | 95 | 95 | 95 | 0 | 95 | 95 | 95 | 95 | 95 | 95 | S | Hydro | TAS | summer
Devils Gate | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | S | Hydro | TAS | summer
Fisher | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | S | Hydro | TAS | summer
Gordon | 370.8 | 370.8 | 370.8 | 370.8 | 370.8 | 247.2 | 370.8 | 370.8 | 370.8 | 370.8 | S | Hydro | TAS | summer
John Butters | 140 | 140 | 140 | 140 | 140 | 140 | 0 | 140 | 140 | 140 | S | Hydro | TAS | summer
Lake Echo | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | S | Hydro | TAS | summer
Lemonthyme / Wilmot | 86 | 32 | 54 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | S | Hydro | TAS | summer
Mackintosh | 81 | 81 | 81 | 81 | 0 | 81 | 81 | 81 | 81 | 81 | S | Hydro | TAS | summer
Meadowbank | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | S | Hydro | TAS | summer
Poatina | 342 | 342 | 285 | 285 | 285 | 285 | 285 | 342 | 342 | 342 | S | Hydro | TAS | summer
Reece | 232 | 232 | 232 | 232 | 232 | 116 | 232 | 116 | 232 | 232 | S | Hydro | TAS | summer
Tamar Valley Combined Cycle | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | TAS | summer
Tamar Valley Peaking | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | S | Fossil | TAS | summer
Tarraleah | 90 | 90 | 90 | 90 | 75 | 75 | 75 | 75 | 90 | 90 | S | Hydro | TAS | summer
Trevallyn | 102.8 | 81.9 | 0 | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | S | Hydro | TAS | summer
Tribute | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 0 | 88 | 88 | S | Hydro | TAS | summer
Tungatinah | 130.5 | 104.4 | 130.5 | 104.4 | 130.5 | 130.5 | 130.5 | 130.5 | 130.5 | 130.5 | S | Hydro | TAS | summer
Firm Wind Capacity | 17.64 | 44.478 | 44.478 | 44.478 | 44.478 | 44.478 | 44.478 | 44.478 | 44.478 | 44.478 | SS
Total | 2310.34 | 2278.078 | 2211.278 | 2143.978 | 2250.078 | 2091.478 | 2191.078 | 2184.078 | 2403.078 | 2403.078
Summer aggregate available semi-scheduled generation
PowerStation | 201819 | 201920 | 202021 | 202122 | 202223 | 202324 | 202425 | 202526 | 202627 | 202728 | DispatchType | FuelType | Region | Season
Granville Harbour Wind Farm | 0 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | SS | Wind | TAS | summer
Musselroe Wind Farm | 168 | 168 | 168 | 168 | 168 | 168 | 168 | 168 | 168 | 168 | SS | Wind | TAS | summer
Wild Cattle Hill Wind Farm | 0 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | SS | Wind | TAS | summer
Total (Wind) | 168 | 423.6 | 423.6 | 423.6 | 423.6 | 423.6 | 423.6 | 423.6 | 423.6 | 423.6

## Winter Scheduled Capacities
Winter aggregate available scheduled and semi-scheduled generation
PowerStation | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | DispatchType | FuelType | Region | Season
Bastyan | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | S | Hydro | TAS | winter
Bell Bay Three | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | S | Fossil | TAS | winter
Catagunya / Liapootah / Wayatinah | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | S | Hydro | TAS | winter
Cethana | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | S | Hydro | TAS | winter
Devils Gate | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | S | Hydro | TAS | winter
Fisher | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | S | Hydro | TAS | winter
Gordon | 370.8 | 370.8 | 370.8 | 370.8 | 370.8 | 370.8 | 370.8 | 370.8 | 370.8 | 370.8 | S | Hydro | TAS | winter
Granville Harbour Wind Farm | 0 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | SS | Wind | TAS | winter
John Butters | 140 | 140 | 140 | 140 | 140 | 140 | 0 | 140 | 140 | 140 | S | Hydro | TAS | winter
Lake Echo | 0 | 0 | 30 | 30 | 30 | 0 | 30 | 30 | 30 | 30 | S | Hydro | TAS | winter
Lemonthyme / Wilmot | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | S | Hydro | TAS | winter
Mackintosh | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | S | Hydro | TAS | winter
Meadowbank | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | S | Hydro | TAS | winter
Musselroe Wind Farm | 168 | 168 | 168 | 168 | 168 | 168 | 168 | 168 | 168 | 168 | SS | Wind | TAS | winter
Poatina | 342 | 342 | 342 | 342 | 285 | 342 | 342 | 342 | 342 | 342 | S | Hydro | TAS | winter
Reece | 232 | 232 | 232 | 232 | 232 | 232 | 232 | 232 | 232 | 232 | S | Hydro | TAS | winter
Tamar Valley Combined Cycle | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | TAS | winter
Tamar Valley Peaking | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | S | Fossil | TAS | winter
Tarraleah | 90 | 90 | 90 | 75 | 75 | 75 | 90 | 90 | 90 | 90 | S | Hydro | TAS | winter
Trevallyn | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | S | Hydro | TAS | winter
Tribute | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | S | Hydro | TAS | winter
Tungatinah | 130.5 | 130.5 | 130.5 | 130.5 | 130.5 | 130.5 | 130.5 | 130.5 | 130.5 | 130.5 | S | Hydro | TAS | winter
Wild Cattle Hill Wind Farm | 0 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | SS | Wind | TAS | winter
Total | 2496.6 | 2752.2 | 2782.2 | 2767.2 | 2710.2 | 2737.2 | 2642.2 | 2782.2 | 2782.2 | 2782.2
The table above lists the latest Winter capacities for Tasmanian generation. Winter conditions relate to statistically predicted contribution under 10% POE maximum demand conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. AEMO refers to this as the "firm contribution" from wind generators during peak periods. These figures are 10.5% of the installed capacity during summer, and 7.3% during winter, based on AEMO's analysis of historical wind output over summer 2012-13 to 2016-17, and winter 2013 - 2017.
The two tables below have been included to better represent the supply availability in Tasmania, by taking into account the firm contribution by semi-scheduled generation. The Winter aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm semi-scheduled generation. The Winter aggregate available semi-scheduled generation table lists the total available capacity for semi-scheduled generation for the Winter period. The total refers to the maximum amount that can be generated from the semi-scheduled generation at the Winter reference temperatures.
Winter aggregate scheduled and firm semi-scheduled generation
PowerStation | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | DispatchType | FuelType | Region | Season
Bastyan | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | S | Hydro | TAS | winter
Bell Bay Three | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | S | Fossil | TAS | winter
Catagunya / Liapootah / Wayatinah | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | 173.7 | S | Hydro | TAS | winter
Cethana | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | S | Hydro | TAS | winter
Devils Gate | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | S | Hydro | TAS | winter
Fisher | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | S | Hydro | TAS | winter
Gordon | 370.8 | 370.8 | 370.8 | 370.8 | 370.8 | 370.8 | 370.8 | 370.8 | 370.8 | 370.8 | S | Hydro | TAS | winter
John Butters | 140 | 140 | 140 | 140 | 140 | 140 | 0 | 140 | 140 | 140 | S | Hydro | TAS | winter
Lake Echo | 0 | 0 | 30 | 30 | 30 | 0 | 30 | 30 | 30 | 30 | S | Hydro | TAS | winter
Lemonthyme / Wilmot | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | S | Hydro | TAS | winter
Mackintosh | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | S | Hydro | TAS | winter
Meadowbank | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | 43.8 | S | Hydro | TAS | winter
Poatina | 342 | 342 | 342 | 342 | 285 | 342 | 342 | 342 | 342 | 342 | S | Hydro | TAS | winter
Reece | 232 | 232 | 232 | 232 | 232 | 232 | 232 | 232 | 232 | 232 | S | Hydro | TAS | winter
Tamar Valley Combined Cycle | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | TAS | winter
Tamar Valley Peaking | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | S | Fossil | TAS | winter
Tarraleah | 90 | 90 | 90 | 75 | 75 | 75 | 90 | 90 | 90 | 90 | S | Hydro | TAS | winter
Trevallyn | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | 102.8 | S | Hydro | TAS | winter
Tribute | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | S | Hydro | TAS | winter
Tungatinah | 130.5 | 130.5 | 130.5 | 130.5 | 130.5 | 130.5 | 130.5 | 130.5 | 130.5 | 130.5 | S | Hydro | TAS | winter
Firm Wind Capacity | 12.264 | 30.9228 | 30.9228 | 30.9228 | 30.9228 | 30.9228 | 30.9228 | 30.9228 | 30.9228 | 30.9228 | SS
Total | 2340.864 | 2359.5228 | 2389.5228 | 2374.5228 | 2317.5228 | 2344.5228 | 2249.5228 | 2389.5228 | 2389.5228 | 2389.5228
Winter aggregate available semi-scheduled generation
PowerStation | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | DispatchType | FuelType | Region | Season
Granville Harbour Wind Farm | 0 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | 111.6 | SS | Wind | TAS | winter
Musselroe Wind Farm | 168 | 168 | 168 | 168 | 168 | 168 | 168 | 168 | 168 | 168 | SS | Wind | TAS | winter
Wild Cattle Hill Wind Farm | 0 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | SS | Wind | TAS | winter
Total (Wind) | 168 | 423.6 | 423.6 | 423.6 | 423.6 | 423.6 | 423.6 | 423.6 | 423.6 | 423.6

## Existing NS Generation
Existing non-scheduled generation
Power Station | Owner | Nameplate Capacity (MW) | Technology Type | Fuel Type | Service Status | Region | summary_bucket | summary_status
Butlers Gorge | Hydro-Electric Corporation | 14.4 | Hydro - Gravity | Water | In service | TAS | Water | Existing less Announced Withdrawal
Cluny | Hydro-Electric Corporation | 17 | Hydro - Gravity | Water | In service | TAS | Water | Existing less Announced Withdrawal
Glenorchy | AGL | 1.69 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | TAS | Biomass | Existing less Announced Withdrawal
Hobart | AGL | 1 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | TAS | Biomass | Existing less Announced Withdrawal
Lake Margaret | Hydro-Electric Corporation | 8.4 | Hydro - Gravity | Water | In service | TAS | Water | Existing less Announced Withdrawal
Lower Lake Margaret | Hydro-Electric Corporation | 3.2 | Hydro - Gravity | Water | In service | TAS | Water | Existing less Announced Withdrawal
Midlands Hydro | TBA | 6 | Hydro - Gravity | Water | In service | TAS | Water | Existing less Announced Withdrawal
Paloona | Hydro-Electric Corporation | 28 | Hydro - Gravity | Water | In service | TAS | Water | Existing less Announced Withdrawal
Remount | LMS Energy Pty Ltd | 2.246 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | TAS | Biomass | Existing less Announced Withdrawal
Repulse | Hydro-Electric Corporation | 28 | Hydro - Gravity | Water | In service | TAS | Water | Existing less Announced Withdrawal
Rowallan | Hydro-Electric Corporation | 10.5 | Hydro - Gravity | Water | In service | TAS | Water | Existing less Announced Withdrawal
St Patrick's College Launceston | TBA | 0.2646 | PV Panels | Solar | In service | TAS | Solar | Existing less Announced Withdrawal
Tods Corner | Hydro-Electric Corporation | 1.2 | Pump Storage | Water | In service | TAS | Water | Existing less Announced Withdrawal
Woolnorth Studland Bay / Bluff Point | Woolnorth Wind Farm Holding Pty Ltd | 140 | Wind - Onshore | Wind | In service | TAS | Wind | Existing less Announced Withdrawal
Total |  | 261.9006

## New Developments
Projects under development
Project | Owner | Unit Id | Technology Type | Fuel Type | Unit Status | Nameplate Capacity (MW) | Dispatch Type | Full Commercial Use Date | Source | summary_status | nameplatecapacity_mw_max | capacity_empty | region | summary_bucket
Battery of the Nation - Stage 1 | Hydro Tasmania | TBD | Pumped Storage | Water | Publicly Announced | 300 | S |  |  | Proposed | 300 | No | TAS | Water
Battery of the Nation - Stage 2 | Hydro Tasmania | TBD | Pumped Storage | Water | Publicly Announced | 600 | S |  |  | Proposed | 600 | No | TAS | Water
Battery of the Nation - Stage 3 | Hydro Tasmania | TBD | Pumped Storage | Water | Publicly Announced | 300 | S |  |  | Proposed | 300 | No | TAS | Water
Battery of the Nation - Stage 4 | Hydro Tasmania | TBD | Pumped Storage | Water | Publicly Announced | 500 | S |  |  | Proposed | 500 | No | TAS | Water
Battery of the Nation - Stage 5 | Hydro Tasmania | TBD | Pumped Storage | Water | Publicly Announced | 600 | S |  |  | Proposed | 600 | No | TAS | Water
G7 Generation | G7 Generation | 1 | Hydro - Gravity | Water | Publicly Announced | 10 | NS |  |  | Proposed | 10 | No | TAS | Water
George Town Solar | Epuron Projects Pty Ltd | 2 | PV-Tracking Flat panel | Solar | Publicly Announced | 5 | NS |  | http://epuron.com.au/solar/george-town-solar/ | Proposed | 5 | No | TAS | Solar
Granville Harbour Wind Farm | Granville Harbour Operations Pty Ltd as trustee for Granville Harbour Operations Trust | 1-31 | Wind - Onshore | Wind | Com* | 111.6 | SS | Summer 2019-20 | http://www.westcoastwind.com.au/ | Committed | 111.6 | No | TAS | Wind
Low Head Wind Farm | Low Head Wind Farm Pty Ltd | Units 1-10 | Wind - Onshore | Wind | Publicly Announced | 42 | NS |  |  | Proposed | 42 | No | TAS | Wind
Robbins Island Wind Farm | UPC Renewables | TBA | Wind - Onshore | Wind | Publicly Announced | 1000 | SS |  | https://www.upcrenewables.com/pf/robbins-island/ | Proposed | 1000 | No | TAS | Wind
Wesley Vale Solar | Epuron Projects Pty Ltd | 5 | PV-Tracking Flat panel | Solar | Publicly Announced | 12.5 | SS |  | http://epuron.com.au/solar/wesley-vale-solar/ | Proposed | 12.5 | No | TAS | Solar
Western Plains Wind Farm | Epuron Projects Pty Ltd | Units 1 - 13 | TBA | Wind | Publicly Announced | 40 - 60 | SS |  | http://epuron.com.au/wind/stanley-wind-farm/ | Proposed | 60 | No | TAS | Wind
Wild Cattle Hill Wind Farm | Wild Cattle Hill Pty Ltd | 1-49 | Wind - Onshore | Wind | Com* | 144 | SS | Dec 2019 |  | Committed | 144 | No | TAS | Wind
Com* - Identifies projects that are under construction, but AEMO has not been informed that the project meets all commitment criteria.

## Background Information
Generation capacity in the NEM
Any person who owns, controls, or operates a generating system connected to a transmission or distribution network must register with AEMO as a generator unless it has the benefit of an exemption from that requirement. A generating system’s registered capacity is the aggregate megawatt (MW) capacity of all its component generation units, as registered with AEMO.
The registered capacity should be the same as a generating system’s nameplate capacity. Nameplate capacity represents the maximum continuous output or consumption in MW, as specified by the manufacturer, or as subsequently modified. Nameplate capacity can change for a number of reasons, such as upgrade projects, age or a review of performance.
Under the National Electricity Rules (NER), generating units are classified as scheduled (S), semi-scheduled (SS), or non-scheduled (NS).
For further information about generation classification guide, please refer to the AEMO Generation Exemption and Classification Guide on the AEMO website: http://aemo.com.au/-/media/Files/Electricity/NEM/Participant_Information/New-Participants/Generator-Exemption-and-Classification-Guide.pdf
For the purposes of reliability assessments, and consistent with market systems, AEMO measures scheduled and semi-scheduled generation capacity on an as-generated basis, noting that for semi-scheduled systems the generating unit terminals are taken to be at the connection point. Non-scheduled generation is measured as sent-out (at the connection point) because it can include co-generation plants (that usually produce both heat and electricity), where the bulk of the capacity is consumed locally.
Temperature effects on generation
The actual level of generation available at any particular time will depend on the condition of the generating plant. This includes factors such as age, outages, and wear. Another important factor with respect to output is the reduction in thermal efficiency as the temperature increases.
Because temperature can affect plant generation capacities in different ways, basing generation capacities on region-specific reference temperatures facilitates more effective assessment of available generation capacity under weather conditions frequently associated with high demand.
To produce the supply-demand outlook, AEMO — in consultation with the Jurisdictional Planning Bodies (JPBs) — undertakes the following:
· Uses historical data to estimate typical weather conditions, and to determine reference temperatures frequently associated with times of 10% probability of exceedance (POE) maximum demand in the major load centres for each region.
· Asks generators to provide generating unit capacities for summer and winter using these common reference temperatures. The table below lists the common reference temperatures AEMO applies for each region. In general, annual maximum demands occur during summer; the exception is Tasmania, where maximum demand occurs during winter. Summer maximum demand in Tasmania occurs during colder temperatures, resulting in a relatively low summer reference temperature.
Generation capacity reference temperatures
Region | Summer (°C) | Winter (°C)
Queensland | 37 | 15
New South Wales | 42 | 9
Victoria | 41 | 8
South Australia | 43 | 11
Tasmania | 7.7 | 1.2
Maximum capacity
Some thermal (generation that burns fuel) and non-thermal (renewable generation) generating systems can provide additional, short-term capacity that exceeds the registered capacity. This is known as maximum capacity.
Proposed generation in the NEM
In addition to capacity forecasts, generation plant owners advise AEMO about the status of generation projects currently under development in each region.
Generation projects can be at different stages of development, which are assessed using AEMO’s five (5) commitment criteria, covering site acquisition, contracts for major components, planning and other approvals, financing, and date (see table below for a description of the criteria).
Projects are categorised as follows:
· Committed projects, representing generation and storage for which formal commitment has been made for construction or installation. These are further identified as:
- Committed proposals, representing projects that have satisfied all five (5) of AEMO's commitment criteria.
- Committed* proposals, representing projects that don't satisfy all five (5) of AEMO's commitment criteria, but construction or installation has commenced.
· Proposed projects, which are further identified as:
- Advanced proposals, representing projects that are highly likely to proceed, satisfying Site and Finance criteria plus either Planning and approvals or Major components criteria, and have notified AEMO of a scheduled commercial operation date. Typically included in sensitivity analysis for MLF.
- Maturing proposals, representing projects that have progressed with site, planning applications, and finance arrangements, but not to the point that they can be classified as advanced. Maturing projects may be explicitly included in scenario analysis to assess future reliability or market impacts and are tested for economic efficiency in capacity outlook modelling.
- Emerging proposals, representing projects where sites have been identified, planning applications lodged and the development is considered financially and technically viable. However, planning approvals/construction is uncertain, and development maybe subject to changes in policy or commercial environment. These projects may be explicitly included in scenario analysis to assess future market impacts, and are tested for economic efficiency in capacity outlook modelling. However, a higher weighted average cost of capital will be assumed to reflect greater development uncertainty compared to maturing projects.
- Publicly Announced proposals, representing projects that have been announced publicly, but may not yet meet all or any of the commitment criteria. Costs and capabilities of these projects are developed using recently-completed projects and projections of cost components such as raw material supply and labour.
Generation project commitment criteria
Category | Criteria
Site | The project proponent has purchased/settled/acquired (or commenced legal proceedings to purchase/settle/acquire) land for the construction of the project.
Major components | Contracts for the supply and construction of major plant or equipment components (such as generating units, turbines, boilers, transmission towers, conductors, and terminal station equipment) have been finalised and executed, including any provisions for cancellation payments.
Planning and Approvals | The proponent has obtained all required planning consents, construction approvals, connection contracts (including approval of proposed negotiated Generator Performance Standards from AEMO under clause 5.3.4A of the National Electricity Rules), and licences, including completion and acceptance of any necessary environmental impact statements.
Finance | The financing arrangements for the proposal, including any debt plans, must have been concluded and contracts executed.
Date | Construction of the proposal must either have commenced or a firm commencement date must have been set. Commercial use date for full operation must have been set.