## Queensland Summary
QLD
Disclaimer
This document is subject to an important disclaimer that limits or excludes AEMO's liability.
Please read the full disclaimer at
http://www.aemo.com.au/Electricity/National-Electricity-Market-NEM/Planning-and-forecasting/Generation-information
Data presented is current as at 1 July 2018
Queensland Summary
Changes since last update
Childers Solar Farm: Childers Solar Farm (56 MW) is now reported as a committed project since ESCO Pacific advises that it has commenced construction.
Clermont Solar Farm : Clermont Asset Co Pty Ltd as Trustee advises that Clermont Solar Farm (92.5 MW) is now a committed project.
Emerald Solar Park: Emerald Solar Park (72 MW) is now reported as a committed project since Lighthouse Infrastructure Management Limited advises that it has commenced construction.
Haughton Solar Farm: Pacific Hydro advises that Haughton Solar Farm (100 MW) is now a committed project.
Susan River Solar Farm: Susan River Solar Farm (100 MW) is now reported as a committed project since ESCO Pacific advises it has commenced construction.
TeeBar Solar Farm: TeeBar Solar Farm (52.5 MW) is now reported as a committed project since TeeBar Clean Energy Pty Ltd advises it has commenced construction.
Yarranlea Solar: Yarranlea Solar (102.5 MW) is now reported as a committed project since Risen Energy Australia advises it has commenced construction.
Generation withdrawals
Withdrawn
No generators withdrawn.
Announced withdrawals (i.e. Mothballed, Seasonal Shut down etc.)
Mackay GT Power Station: Stanwell Corporation advises that Mackay GT (34 MW) will be retired at the end of financial year 2020-21.
Committed projects
Coal, CCGT, OCGT, Gas other, Geo-thermal, Other: None to report.
Biomass: Tableland Mill (24MW)
Solar: Childers Solar Farm (80 MW), Clermont Solar Farm (92.5 MW), Collinsville PV (42.5 MW), Darling Downs Solar Farm (108.5 MW), Daydream Solar Farm (167.5 MW), Emerald Solar Park (72 MW), Hamilton Solar Farm (57.5 MW), Haughton Solar Farm (100 MW), Hayman Solar Farm (50 MW) Kennedy Energy Park - Phase 1 (15MW), Lilyvale Solar Farm (100MW), Oakey 1 Solar Farm (25 MW), Oakey 2 Solar Farm (55 MW), Ross River Solar Farm (128 MW), Rugby Run Solar Farm (65 MW), Susan River Solar Farm (75 MW), Whitsunday (57.5MW), Yarranlea Solar (102.5 MW)
Storage: Kennedy Energy Park - Phase 1 (2 MW)
Water: Lake Somerset (4.3MW)
Wind: Coopers Gap Wind Farm (350 MW), Kennedy Energy Park - Phase 1 (43.2MW), Mt Emerald Wind Farm (180.5MW)
Proposed projects
Please refer to information presented in the worksheet titled 'New Developments'.
Plant limitations
Callide C: CS Energy have advised that Callide C capacity has been reduced from 1,000 MW to 840 MW.
Queensland existing and potential new developments by generation type (MW)
| Status | Coal | CCGT | OCGT | Gas other | Solar* | Wind | Water | Biomass | Storage | Other | Total
| Existing | 8186 | 1595.5 | 1894.5 | 208.37 | 364.9265 | 12 | 738.2 | 419.19 | 0 | 1 | 13419.6865
| Announced Withdrawal | 0 | 0 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34
| Existing less Announced Withdrawal | 8186 | 1595.5 | 1860.5 | 208.37 | 364.9265 | 12 | 738.2 | 419.19 | 0 | 1 | 13385.6865
| Committed | 0 | 0 | 0 | 0 | 1422 | 573.7 | 0 | 24 | 2 | 0 | 2021.7
| Proposed | 0 | 0 | 1000 | 15.205 | 10400.2267 | 1188.4 | 250 | 189.6 | 1120 | 0 | 14163.4317
| Withdrawn | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note: Existing includes Announced Withdrawal
* Solar excludes rooftop PV installations

## Change Log
Queensland Change Log
Lists all key updates to new development projects and existing generation information between publication dates since the 2012 ESOO.
Publication date: | 2012-12-20
Solar Dawn Project: Areva and the Solar Dawn Consortium advised it would no longer develop the proposed 250 MW solar thermal power facility in South-West Queensland.
Tarong Power Station: Stanwell Corporation advises that the Tarong plant has revised its available capacity from 1,400 MW to 700 MW (-700 MW) in summer and winter, due to the withdrawal of service of Unit 2 (DUID TARONG#2) in October 2012 and Unit 4 (DUID TARONG#4) in December 2012, both for a period of at least two years or until wholesale electricity demand improves.
Collinsville Power Station: Ratch Australia advises that the Collinsville plant has revised its available capacity from 190 MW to 0 MW (-190 MW) in summer and winter, due to the withdrawal of service of all generation units from 31 December 2012, until wholesale electricity demand improves.
Publication date: | 2013-02-22
Millmerran Power Station: Millmerran Power Partners advises that the Millmerran plant has revised its available capacity from 856 MW to 760 MW (-96 MW) in summer, based on operating experience on higher temperature days.
Braemar Power Station: Alinta Energy advises that Braemar's available capacity has been revised from 435 MW to 480 MW (+45 MW) in summer, due to use of Evaporative Cooling and Peak Firing of the units.
Publication date: | 2013-06-30
Braemar Power Station: Alinta Energy advises that Braemar's available capacity has been revised from 435 MW to 465 MW (+30 MW) in summer (an increase from last years ESOO), due to the regular use of Evaporative Cooling and Peak Firing of the units. These modes of operation result in the units achieving higher levels of output than would be typically expected during periods of high temperature.
Darling Downs Power Station: Origin Energy advises that Darling Downs available capacity has been revised from 605 MW to 580 MW (-25 MW) in summer, reflecting capability at higher temperatures.
Kogan Creek Solar Boost: CS Energy advises that the Kogan Creek Solar Boost project is now a committed project and due to be completed in Jan 2014.
Publication date: | 2013-11-15
Westlink Power Project: Westlink Pty Ltd as trustee for Westlink Industrial Trust advised that Westlink Power Project (Stage 1-3 up to 1000 MW), has revised construction start estimates by 1 year – from 2015 to 2016 for stage 1, from 2017 to 2018 for stage 2 and from 2019 to 2020 for stage 3. This remains a publicly announced project only.
Publication date: | 2014-02-28
Swanbank E Gas Power Station: Stanwell Corporation advises that the existing scheduled Swanbank E Gas Power Station (385 MW combined cycle gas turbine) will withdraw from service for up to three years from 1 October 2014.
Publication date: | 2014-05-30
Collinsville Power Station: Ratch Australia advised that Collinsville Power Station will be retired in June 2016.
Daandine Power Station: Energy infrastructure Investments Pty Ltd advised that Daandine Power Station will be retired in June 2022.
Mt Stuart Power Station: Origin Energy Mt Stuart advised that Mt Stuart Power Station will be retired in July 2023.
Swanbank E Gas Power Station: Stanwell Corporation advises that the existing scheduled Swanbank E Gas Power Station (385 MW combined cycle gas turbine) will be placed in cold storage from October 2014.
Tarong Power Station: Stanwell Corporation advises that the Tarong station will revise its available capacity from 700 MW to 1050 MW (+350 MW) in summer 2014, due to the return of service of Unit 4 (DUID TARONG#4) in July 2014. The available capacity will be revised to 1400 MW (+350 MW) in summer 2015, due to the return of service of Unit 2 (DUID TARONG#2) in June 2015.
Kogan Creek Solar Boost: CS Energy advises that the Kogan Creek Solar Boost project (44 MW) is now a committed project and due to be completed in July 2015. Note that the 44 MW capacity is not additional to the 730/744 MW summer/winter capacities of Kogan Creek, rather it is a contribution towards the total generation.
Publication date: | 2014-08-07
Kidston Pumped Storage Hydro Project: Genex Power announces the Kidston Pumped Hydro Storage (200 MW) project in far north Queensland.
Cook Shire Solar Project: Lyon Infrastructure announces the Cook Shire Solar (26 MW) project in far north Queensland. Construction is to commence in December 2014 and commissioning is planned for July 2015.
Publication date: | 2014-12-10
Swanbank E Gas Power Station: Stanwell Corporation advises that the existing scheduled Swanbank E Gas Power Station (385 MW combined cycle gas turbine) will be placed in cold storage from December 2014.
Publication date: | 2015-04-15
Kogan Creek Solar Boost: CS Energy advises that the Kogan Creek Solar Boost project (44 MW) due to be completed in late 2016.
Kidston Pumped Storage Hydro Project: Genex Power announces the Kidston Pumped Hydro Storage capacity is revised to 330 MW.
Publication date: | 2015-08-13
Tarong Power Station: Stanwell Corporation advises that the Tarong station will revise its available capacity revised to 1400 MW (+350 MW) in winter 2016, due to the return of service of Unit 2 (DUID TARONG#2).
Publication date: | 2016-03-03
Mackay GT Power Station: Stanwell Corporation advised that Mackay GT will be retired at the end of financial year 2016-17.
Swanbank E: has been placed into cold storage until 1 July 2017. So at this stage will be available in July 2017, Summer 2018 and beyond.
Barcaldine Power Station: Correction on the 18-MW Steam Turbine being already decommissioned.
New Development: Oakey Solar Farm, Longreach Solar Farm, Baralaba Solar Farm, Kidston Solar Project, Ebenezer Solar Project, North Queensland Solar Farm, Kennedy Energy Park, Darling Downs Solar Farm, Hughenden Sun Farm, Collinsville Solar Power Station, Landfill Gas Industries biogas-fired generators, Barcaldine Remote Community Solar Farm are added to the list.
Kogan Creek Solar Boost: CS Energy stated that the solar boost will not be completed.
Publication date: | 2016-04-15
Mackay GT Power Station: Stanwell Corporation advised that Mackay GT will be retired at the end of financial year 2016-17.
Swanbank E: has been placed into cold storage until 1 July 2017. So at this stage will be available in July 2017, Summer 2018 and beyond.
Barcaldine Power Station: Correction on the 18-MW Steam Turbine being already decommissioned.
New Development: Oakey Solar Farm, Longreach Solar Farm, Baralaba Solar Farm, Kidston Solar Project, Ebenezer Solar Project, North Queensland Solar Farm, Kennedy Energy Park, Darling Downs Solar Farm, Hughenden Sun Farm, Collinsville Solar Power Station, Landfill Gas Industries biogas-fired generators, Barcaldine Remote Community Solar Farm are added to the list.
Kogan Creek Solar Boost: CS Energy stated that the solar boost will not be completed.
Tarong Power Station: Stanwell Corporation advises that Tarong Unit 2 has returned to service.
Publication date: | 2016-08-11
Cook Shire Solar Storage Project: Lyon Infrastructure Investments advises that Cook Shire Solar Storage Project (28MW) is a committed project.
Oaky Creek 2: EDL OCI advises that Oaky Creek 2 (15MW) is a committed project.
Mt Stuart Power Station: Origin Energy advised that Mt Stuart Power Station (419 MW) will no longer retire in July 2023.
Mackay GT Power Station: Stanwell Corporation advised that Mackay GT (30 MW) will no longer be retired at the end of financial year 2016-17.
New Developments: Clare Solar Farm, Lilyvale Solar Farm.
Publication date: | 2016-11-18
Swanbank E GT: Stanwell advises that Swanbank E will no longer be returned to service on 01/07/2017 – Expected to return in Summer 2018.
Oaky Creek 2: EDL OCI advises that Oaky Creek 2 (15 MW) is now completed and in full commercial operation since August 2016.
Mackay GT Power Station: Stanwell Corporation advises that Mackay GT (34 MW) will be retired at the end of financial year 2020-21.
Publication date: | 2017-02-27
None to report.
Publication date: | 2017-06-05
Barcaldine Remote Community Solar Farm: Barcaldine Remote Community Solar Farm Pty Ltd advises that Barcaldine Remote Community Solar Farm (20 MW) is now completed with full commercial having commenced in April 2017.
Callide A: Oxyfuel Technologies Pty Ltd advises that Callide A (30 MW) has been permanently decommissioned (withdrawn) since March 2015 and will be demolished and deregistered from the network in the future.
Clare Solar Farm: Clare Asset Co Pty Ltd (the Trustee for Clare Asset Trust) advises that the Clare Solar Farm (total of 150 MW nameplate) is a committed project.
Grosvenor 1: EDL Projects Australia Pty Ltd advises that Grosvenor 1 (21 MW) is now an existing generator with full commercial operation having commenced in April 2017.
Hamilton Solar Farm: Hamilton Solar Farm Pty Ltd advises that Hamilton Solar Farm (57.5 MW) is now a committed project, with full commercial use expected March 2018.
Lakeland Solar and Storage Project: Conergy advises that the committed Cook Shire Solar Storage Project is now called Lakeland Solar and Storage Project, with an updated nameplate capacity of 12.5 MW.
Mount Emerald: Ratch Australia advises that Mount Emerald (180.5 MW) is now a committed project with full commercial use expected September 2018.
Swanbank E GT: Stanwell Corporation Limited advises that Swanbank E GT (385 MW) is currently in cold storage and at this time is scheduled to return to service on 1 December 2018.
Whitsunday Solar Farm: Whitsunday Solar Farm Pty Ltd advises that Whitsunday Solar Farm (57.5 MW) is now a committed project, with full commercial use expected March 2018.
Publication date: | 2017-12-22
Callide C: CS Energy have advised that Callide C capacity has been reduced from 1,000 MW to 840 MW.
Clare Solar Farm: Clare Asset Co Pty Ltd ATF Clare Asset Trust advises that Clare Solar Farm (150MW) is a committed project.
Collinsville Solar Power Station: Ratch Australia Corporation advises that Collinsville Solar Power Station (42.5 MW) is a committed project.
Coopers Gap Wind Farm: PARF Company Pty Ltd, as a trustee for the Coopers Gap Project Trust advises that Coopers Gap Wind Farm (453 MW) is a committed project.
Darling Downs Solar Farm: APA advises that Darling Downs Solar Farm (110MW) is a committed project.
Daydream Solar Farm: Hayman Solar Farm Pty Ltd advises that Daydream Solar Farm (167.5MW) is a committed project.
Dunblane Solar Farm: YellowDot Energy Pty Ltd advises that Dunblane Solar Farm (7.2MW) is a committed project.
Hamilton Solar Farm: Hamilton Solar Farm Pty Ltd advises that Hamilton Solar Farm (57.5MW) is a committed project.
Hayman Solar Farm: Hayman Solar Farm Pty Ltd advises that Hayman Solar Farm (57.5 MW) is a committed project.
Kennedy Energy Park: Kennedy Energy Park Pty advises that Kennedy Energy Park (Solar (15 MW), Wind (43.2 MW), Storage (2 MW)) is a committed project.
Kidston Solar Project: Genex Power Ltd advises that Kidston Solar Project (50 MW) is a committed project.
Lake Somerset: Seqwater advises that Lake Somerset (4.3MW) is a committed project.
Lakeland Solar and Storage Project: Lakeland Solar & Storage Pty Ltd advises that Lakeland Solar and Storage Project (12.5MW) is a committed project.
Lilyvale Solar Farm: Lilyvale Solar Farm (100 MW) is now reported as committed since FRV Services Australia Pty Ltd advises that it has commenced construction.
Longreach Solar Farm: Longreach HoldCo Pty Ltd advises that Longreach Solar Farm (15 MW) is a committed project.
Mt Emerald Wind Farm: Ratch Australia Corporation advises that Mt Emerald Wind Farm (180.5MW) is a committed project.
Oakey 1 Solar Farm: Oakey 1 AssetCo Pty Ltd advises that Oakey 1 Solar Farm (25MW) is a committed project.
Ross River Solar Farm: Ross River Solar Farm (116MW) is now reported as a committed project since Ross River Operations Pty Ltd advises that it has commenced construction.
Rugby Run Solar Farm: Rugby Run Solar Farm (65MW) is now reported as a committed project since Adani Rugby Run Pty Ltd advises that it has commenced construction.
Sun Metals Solar Farm: Sun Metals Solar Farm (124MW) is now reported as a committed project since Sun Metals Corporation Pty Ltd advises that it has commenced construction.
Sunshine Coast Solar Farm: Sunshine Coast Regional Council advises that Sunshine Coast Solar Farm (15 MW) is a committed project.
Swanbank E GT: Stanwell Corporation Limited advises that Swanbank E GT (385 MW) has returned to service.
Tableland Mill: MSF Sugar advises Tableland Mill (24 MW) is a committed project.
Whitsunday: Whitsunday Solar Farm Pty Ltd advises that Whitsunday (57.5MW) is a committed project.
Publication date: | 2018-03-16
Oakey 2 Solar Farm: Oakey 2 Solar Farm (55 MW) is now reported as a committed project since Canadian Solar Pty Ltd advises that it has commenced construction.
Publication date: | 2018-07-31
Childers Solar Farm: Childers Solar Farm (56 MW) is now reported as a committed project since ESCO Pacific advises that it has commenced construction.
Clermont Solar Farm : Clermont Asset Co Pty Ltd as Trustee advises that Clermont Solar Farm (92.5 MW) is now a committed project.
Emerald Solar Park: Emerald Solar Park (72 MW) is now reported as a committed project since Lighthouse Infrastructure Management Limited advises that it has commenced construction.
Haughton Solar Farm: Pacific Hydro advises that Haughton Solar Farm (100 MW) is now a committed project.
Susan River Solar Farm: Susan River Solar Farm (100 MW) is now reported as a committed project since ESCO Pacific advises it has commenced construction.
TeeBar Solar Farm: TeeBar Solar Farm (52.5 MW) is now reported as a committed project since TeeBar Clean Energy Pty Ltd advises it has commenced construction.
Yarranlea Solar: Yarranlea Solar (102.5 MW) is now reported as a committed project since Risen Energy Australia advises it has commenced construction.
Note: Updated “Background Information” with changes to categories of proposed generation in the NEM.

## Existing S & SS Generation
Existing & committed scheduled and semi-scheduled generation
Power Station | Owner | Unit Number and Nameplate Capacity (MW) | Nameplate Capacity (MW) | Technology Type | Fuel Type | Dispatch Type | Service Status | Region | summary_status | summary_bucket
Barcaldine Power Station | Ergon Energy Queensland Pty Ltd | 1 x 37 | 37 | OCGT | Natural Gas Pipeline | S | In Service | QLD | Existing less Announced Withdrawal | OCGT
Barron Gorge | Stanwell Corporation Limited | 2 x 33 | 66 | Run of River | Water | S | In Service | QLD | Existing less Announced Withdrawal | Water
Braemar | Braemar Power Project Pty Ltd | 3 x 168 | 504 | OCGT | Coal Seam Methane | S | In Service | QLD | Existing less Announced Withdrawal | OCGT
Braemar 2 Power Station | Arrow Braemar 2 Pty Ltd and Arrow Southern Generation Pty Ltd trading as NewGen Braemar 2 Partnership | 3 x 173 | 519 | OCGT | Coal Seam Methane | S | In Service | QLD | Existing less Announced Withdrawal | OCGT
Callide B | CS Energy | 2 x 350 | 700 | Steam Sub Critical | Black Coal | S | In Service | QLD | Existing less Announced Withdrawal | Coal
Callide C | Callide Power Management | 2 x 450 | 900 | Steam Super Critical | Black Coal | S | In Service | QLD | Existing less Announced Withdrawal | Coal
Clare Solar Farm | Clare Asset Co Pty Ltd ATF Clare Asset Trust | 69 x 1.6 | 100 | PV-Tracking Flat panel | Solar | SS | In Service | QLD | Existing less Announced Withdrawal | Solar
Condamine A | QGC | 1 x 57.1 2 x 43.7 | 144 | CCGT | Coal Seam Methane | S | In Service | QLD | Existing less Announced Withdrawal | CCGT
Darling Downs | Origin Energy Power Limited | 3 x 121.5 1 x 280 | 644.5 | CCGT | Coal Seam Methane | S | In Service | QLD | Existing less Announced Withdrawal | CCGT
Gladstone | Gladstone Power Station Participants | 6 x 280 | 1680 | Steam Sub Critical | Black Coal | S | In Service | QLD | Existing less Announced Withdrawal | Coal
Kareeya | Stanwell Corporation Limited | 4 x 21.6 | 86.4 | Run of River | Water | S | In Service | QLD | Existing less Announced Withdrawal | Water
Kidston Solar Project Phase One 50MW | Genex Power Limited | 1 x 50 | 50 | PV panels | Solar | SS | In Service | QLD | Existing less Announced Withdrawal | Solar
Kogan Creek | CS Energy | 1 x 744 | 744 | Steam Super Critical | Black Coal | S | In Service | QLD | Existing less Announced Withdrawal | Coal
Mackay GT | Stanwell Corporation Limited | 1 x 34 | 34 | OCGT | Diesel | S | Announced Withdrawal | QLD | Announced Withdrawal | OCGT
Millmerran | Millmerran Power Partners | 2 x 426 | 852 | Steam Super Critical | Black Coal | S | In Service | QLD | Existing less Announced Withdrawal | Coal
Mt Stuart | Origin Energy Mt Stuart | 2 x 146 1 x 131.5 | 423.5 | OCGT | Kerosene Aviation fuel used for stationary energy - avtur | S | In Service | QLD | Existing less Announced Withdrawal | OCGT
Oakey Power Station | Oakey Power Holdings | 2 x 141 | 282 | OCGT | Natural Gas Pipeline | S | In Service | QLD | Existing less Announced Withdrawal | OCGT
Roma | Origin Energy Power Limited | 2 x 40 | 80 | OCGT | Natural Gas Pipeline | S | In Service | QLD | Existing less Announced Withdrawal | OCGT
Stanwell | Stanwell Corporation Limited | 4 x 365 | 1460 | Steam Sub Critical | Black Coal | S | In Service | QLD | Existing less Announced Withdrawal | Coal
Sun Metals Corporation Solar Farm | Sun Metals Corporation Pty Ltd | 25 x 5 | 124 | PV panels | Solar | SS | In Service | QLD | Existing less Announced Withdrawal | Solar
Swanbank E GT | Stanwell Corporation Limited | 1 x 385 | 385 | CCGT | Coal Seam Methane | S | In Service | QLD | Existing less Announced Withdrawal | CCGT
Tarong | Stanwell Corporation Limited | 4 x 350 | 1400 | Steam Sub Critical | Black Coal | S | In Service | QLD | Existing less Announced Withdrawal | Coal
Tarong North | Stanwell Corporation Limited | 1 x 450 | 450 | Steam Super Critical | Black Coal | S | In Service | QLD | Existing less Announced Withdrawal | Coal
Townsville Power Station | Ratch Australia | 1 x 160 1 x 84 | 242 | CCGT | Coal Seam Methane | S | In Service | QLD | Existing less Announced Withdrawal | CCGT
Wivenhoe | CS Energy | 2 x 285 | 570 | Pump Storage | Water | S | In Service | QLD | Existing less Announced Withdrawal | Water
Total |  |  | 12477.4

## Summer Scheduled Capacities
Summer aggregate available scheduled and semi-scheduled generation
Power Station | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | Dispatch Type | FuelType | Region | Season
Barcaldine Power Station | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | S | Fossil | QLD | summer
Barron Gorge | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | S | Hydro | QLD | summer
Braemar | 491 | 491 | 491 | 491 | 501 | 501 | 501 | 501 | 501 | 501 | S | Fossil | QLD | summer
Braemar 2 Power Station | 495 | 495 | 495 | 495 | 495 | 495 | 495 | 495 | 495 | 495 | S | Fossil | QLD | summer
Callide B | 620 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | S | Fossil | QLD | summer
Callide C | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | S | Fossil | QLD | summer
Childers Solar Farm | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | SS | Solar | QLD | summer
Clare Solar Farm | 100 | 99.3 | 98.6 | 97.9 | 97.2 | 96.5 | 95.9 | 95.2 | 94.5 | 93.9 | SS | Solar | QLD | summer
Clermont Solar Farm | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | SS | Solar | QLD | summer
Collinsville PV | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | SS | Solar | QLD | summer
Condamine A | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | S | Fossil | QLD | summer
Coopers Gap | 100 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | SS | Wind | QLD | summer
Darling Downs | 580 | 580 | 580 | 580 | 580 | 580 | 580 | 580 | 580 | 580 | S | Fossil | QLD | summer
Darling Downs Solar Farm | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | SS | Solar | QLD | summer
Daydream Solar Farm | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | SS | Solar | QLD | summer
Emerald Solar Park | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | SS | Solar | QLD | summer
Gladstone | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | S | Fossil | QLD | summer
Hamilton Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS | Solar | QLD | summer
Haughton Solar Farm | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | SS | Solar | QLD | summer
Hayman Solar Farm | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | SS | Solar | QLD | summer
Kareeya | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | S | Hydro | QLD | summer
Kennedy Energy Park - Phase 1 - Solar | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | SS | Solar | QLD | summer
Kennedy Energy Park - Phase 1 - Storage | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | SS | Wind | QLD | summer
Kennedy Energy Park - Phase 1 - Wind | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | SS | Wind | QLD | summer
Kidston Solar Project Phase One 50MW | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | SS | Solar | QLD | summer
Kogan Creek | 713 | 713 | 713 | 713 | 713 | 713 | 713 | 713 | 713 | 713 | S | Fossil | QLD | summer
Lilyvale Solar Farm | 100 | 99.3 | 98.6 | 97.9 | 97.2 | 96.5 | 95.9 | 95.2 | 94.5 | 93.9 | SS | Solar | QLD | summer
Mackay GT | 34 | 34 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | QLD | summer
Millmerran | 612 | 612 | 612 | 612 | 612 | 612 | 612 | 612 | 612 | 612 | S | Fossil | QLD | summer
Mount Emerald | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | SS | Wind | QLD | summer
Mt Stuart | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | S | Fossil | QLD | summer
Oakey 2 Solar Farm | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | SS | Solar | QLD | summer
Oakey Power Station | 282 | 282 | 282 | 282 | 282 | 282 | 282 | 282 | 282 | 282 | S | Fossil | QLD | summer
Oakey Solar Farm | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | SS | Solar | QLD | summer
Roma | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | S | Fossil | QLD | summer
Ross River Solar Farm | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | SS | Solar | QLD | summer
Rugby Run Solar Farm | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | SS | Solar | QLD | summer
Stanwell | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | S | Fossil | QLD | summer
Sun Metals Corporation Solar Farm | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | SS | Solar | QLD | summer
Susan River Solar Farm | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | SS | Solar | QLD | summer
Swanbank E GT | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | S | Fossil | QLD | summer
Tarong | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | S | Fossil | QLD | summer
Tarong North | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | S | Fossil | QLD | summer
Teebar Solar One | 0 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | SS | Solar | QLD | summer
Townsville Power Station | 155 | 155 | 233 | 233 | 232 | 232 | 231 | 231 | 231 | 231 | S | Fossil | QLD | summer
Whitsunday Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS | Solar | QLD | summer
Wivenhoe | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | S | Hydro | QLD | summer
Yarranlea Solar | 0 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | SS | Solar | QLD | summer
Total | 13273.05 | 13756.65 | 13833.25 | 13797.85 | 13805.45 | 13804.05 | 13801.85 | 13800.45 | 13799.05 | 13797.85
The table above lists the latest Summer capacities for Queensland generation. Summer conditions relate to statistically predicted contribution under 10% POE maximum demand conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. However, AEMO has not yet calculated contribution factors for wind, due to there being insufficient historical data to analyse for semi-scheduled wind generation in QLD. Thus the Firm Wind Capacity values in the table below are shown as NA, and do not contribute to the total capacity in that table.
Due to the intermittent nature of sunlight, solar generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. However, AEMO has not yet calculated contribution factors for solar, due to there being insufficient historical data to analyse for semi-scheduled solar generation in the NEM. Thus the Firm Solar Capacity values in the table below are shown as NA, and do not contribute to the total capacity in that table.
The two tables below have been included to better represent the supply availability in Queensland, by taking into account the firm contribution by semi-scheduled generation. The Summer aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm semi-scheduled generation. The Summer aggregate available semi-scheduled generation table lists the total available capacity for semi-scheduled generation for the Summer period. The total refers to the maximum amount that can be generated from the semi-scheduled generation at the Summer reference temperatures.
Summer aggregate scheduled and firm semi-scheduled generation
Power Station | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | Dispatch Type | FuelType | Region | Season
Barcaldine Power Station | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | S | Fossil | QLD | summer
Barron Gorge | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | S | Hydro | QLD | summer
Braemar | 491 | 491 | 491 | 491 | 501 | 501 | 501 | 501 | 501 | 501 | S | Fossil | QLD | summer
Braemar 2 Power Station | 495 | 495 | 495 | 495 | 495 | 495 | 495 | 495 | 495 | 495 | S | Fossil | QLD | summer
Callide B | 620 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | S | Fossil | QLD | summer
Callide C | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | S | Fossil | QLD | summer
Condamine A | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | 89.5 | S | Fossil | QLD | summer
Darling Downs | 580 | 580 | 580 | 580 | 580 | 580 | 580 | 580 | 580 | 580 | S | Fossil | QLD | summer
Gladstone | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | S | Fossil | QLD | summer
Kareeya | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | S | Hydro | QLD | summer
Kogan Creek | 713 | 713 | 713 | 713 | 713 | 713 | 713 | 713 | 713 | 713 | S | Fossil | QLD | summer
Mackay GT | 34 | 34 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | QLD | summer
Millmerran | 612 | 612 | 612 | 612 | 612 | 612 | 612 | 612 | 612 | 612 | S | Fossil | QLD | summer
Mt Stuart | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | S | Fossil | QLD | summer
Oakey Power Station | 282 | 282 | 282 | 282 | 282 | 282 | 282 | 282 | 282 | 282 | S | Fossil | QLD | summer
Roma | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | S | Fossil | QLD | summer
Stanwell | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | S | Fossil | QLD | summer
Swanbank E GT | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | S | Fossil | QLD | summer
Tarong | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | S | Fossil | QLD | summer
Tarong North | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | S | Fossil | QLD | summer
Townsville Power Station | 155 | 155 | 233 | 233 | 232 | 232 | 231 | 231 | 231 | 231 | S | Fossil | QLD | summer
Wivenhoe | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | S | Hydro | QLD | summer
Firm Wind Capacity | [10 empty] | SS | bar: 2018-19 to 2027-28
Firm Solar Capacity | [10 empty] | SS | bar: 2018-19 to 2027-28
Total | 11454.9 | 11534.9 | 11612.9 | 11578.9 | 11587.9 | 11587.9 | 11586.9 | 11586.9 | 11586.9 | 11586.9
Summer aggregate available semi-scheduled generation
Power Station | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | Dispatch Type | FuelType | Region | Season
Childers Solar Farm | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | SS | Solar | QLD | summer
Clare Solar Farm | 100 | 99.3 | 98.6 | 97.9 | 97.2 | 96.5 | 95.9 | 95.2 | 94.5 | 93.9 | SS | Solar | QLD | summer
Clermont Solar Farm | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | SS | Solar | QLD | summer
Collinsville PV | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | SS | Solar | QLD | summer
Coopers Gap | 100 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | SS | Wind | QLD | summer
Darling Downs Solar Farm | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | SS | Solar | QLD | summer
Daydream Solar Farm | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | SS | Solar | QLD | summer
Emerald Solar Park | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | SS | Solar | QLD | summer
Hamilton Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS | Solar | QLD | summer
Haughton Solar Farm | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | SS | Solar | QLD | summer
Hayman Solar Farm | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | SS | Solar | QLD | summer
Kennedy Energy Park - Phase 1 - Solar | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | SS | Solar | QLD | summer
Kennedy Energy Park - Phase 1 - Storage | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | SS | Wind | QLD | summer
Kennedy Energy Park - Phase 1 - Wind | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | SS | Wind | QLD | summer
Kidston Solar Project Phase One 50MW | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | SS | Solar | QLD | summer
Lilyvale Solar Farm | 100 | 99.3 | 98.6 | 97.9 | 97.2 | 96.5 | 95.9 | 95.2 | 94.5 | 93.9 | SS | Solar | QLD | summer
Mount Emerald | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | SS | Wind | QLD | summer
Oakey 2 Solar Farm | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | SS | Solar | QLD | summer
Oakey Solar Farm | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | SS | Solar | QLD | summer
Ross River Solar Farm | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | SS | Solar | QLD | summer
Rugby Run Solar Farm | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | SS | Solar | QLD | summer
Sun Metals Corporation Solar Farm | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | SS | Solar | QLD | summer
Susan River Solar Farm | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | SS | Solar | QLD | summer
Teebar Solar One | 0 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | SS | Solar | QLD | summer
Whitsunday Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS | Solar | QLD | summer
Yarranlea Solar | 0 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | SS | Solar | QLD | summer
Total (Wind) | 325.65 | 575.65 | 575.65 | 575.65 | 575.65 | 575.65 | 575.65 | 575.65 | 575.65 | 575.65
Total (Solar) | 1492.5 | 1646.1 | 1644.7 | 1643.3 | 1641.9 | 1640.5 | 1639.3 | 1637.9 | 1636.5 | 1635.3
Total (Storage) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Winter Scheduled Capacities
Winter aggregate available scheduled and semi-scheduled generation
PowerStation | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | DispatchType | FuelType | Region | Season
Barcaldine Power Station | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | S | Fossil | QLD | winter
Barron Gorge | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | S | Hydro | QLD | winter
Braemar | 530 | 530 | 530 | 530 | 543 | 543 | 543 | 543 | 543 | 543 | S | Fossil | QLD | winter
Braemar 2 Power Station | 519 | 519 | 519 | 519 | 519 | 519 | 519 | 519 | 519 | 519 | S | Fossil | QLD | winter
Callide B | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | S | Fossil | QLD | winter
Callide C | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | S | Fossil | QLD | winter
Childers Solar Farm | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | SS | Solar | QLD | winter
Clare Solar Farm | 80.4 | 79.8 | 79.2 | 78.7 | 78.1 | 77.6 | 77 | 76.5 | 76 | 75.4 | SS | Solar | QLD | winter
Clermont Solar Farm | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | SS | Solar | QLD | winter
Collinsville PV | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | SS | Solar | QLD | winter
Condamine A | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | S | Fossil | QLD | winter
Coopers Gap | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | SS | Wind | QLD | winter
Darling Downs | 633 | 633 | 633 | 633 | 633 | 633 | 633 | 633 | 633 | 633 | S | Fossil | QLD | winter
Darling Downs Solar Farm | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | SS | Solar | QLD | winter
Daydream Solar Farm | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | SS | Solar | QLD | winter
Emerald Solar Park | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | SS | Solar | QLD | winter
Gladstone | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | S | Fossil | QLD | winter
Hamilton Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS | Solar | QLD | winter
Haughton Solar Farm | 97.9 | 97.3 | 96.7 | 96.1 | 95.5 | 95 | 94.4 | 93.8 | 93.2 | 92.6 | SS | Solar | QLD | winter
Hayman Solar Farm | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | SS | Solar | QLD | winter
Kareeya | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | S | Hydro | QLD | winter
Kennedy Energy Park - Phase 1 - Solar | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | SS | Solar | QLD | winter
Kennedy Energy Park - Phase 1 - Storage | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | SS | Wind | QLD | winter
Kennedy Energy Park - Phase 1 - Wind | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | SS | Wind | QLD | winter
Kidston Solar Project Phase One 50MW | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | SS | Solar | QLD | winter
Kogan Creek | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | S | Fossil | QLD | winter
Lilyvale Solar Farm | 80.4 | 79.8 | 79.2 | 78.7 | 78.1 | 77.6 | 77 | 76.5 | 76 | 75.4 | SS | Solar | QLD | winter
Mackay GT | 34 | 34 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | QLD | winter
Millmerran | 852 | 852 | 852 | 852 | 852 | 852 | 852 | 852 | 852 | 852 | S | Fossil | QLD | winter
Mount Emerald | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | SS | Wind | QLD | winter
Mt Stuart | 428 | 428 | 428 | 428 | 428 | 428 | 428 | 428 | 428 | 428 | S | Fossil | QLD | winter
Oakey 2 Solar Farm | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | SS | Solar | QLD | winter
Oakey Power Station | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | S | Fossil | QLD | winter
Oakey Solar Farm | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | SS | Solar | QLD | winter
Roma | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S | Fossil | QLD | winter
Ross River Solar Farm | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | SS | Solar | QLD | winter
Rugby Run Solar Farm | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | SS | Solar | QLD | winter
Stanwell | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | S | Fossil | QLD | winter
Sun Metals Corporation Solar Farm | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | SS | Solar | QLD | winter
Susan River Solar Farm | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | SS | Solar | QLD | winter
Swanbank E GT | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | S | Fossil | QLD | winter
Tarong | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | S | Fossil | QLD | winter
Tarong North | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | S | Fossil | QLD | winter
Teebar Solar One | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | SS | Solar | QLD | winter
Townsville Power Station | 163 | 161 | 243 | 243 | 242 | 242 | 241 | 241 | 241 | 240 | S | Fossil | QLD | winter
Whitsunday Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS | Solar | QLD | winter
Wivenhoe | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | S | Hydro | QLD | winter
Yarranlea Solar | 0 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | SS | Solar | QLD | winter
Total | 14149.75 | 14248.45 | 14328.65 | 14293.05 | 14303.25 | 14301.75 | 14298.95 | 14297.35 | 14295.75 | 14292.95
The table above lists the latest Winter capacities for Queensland generation. Winter conditions relate to statistically predicted contribution under 10% POE maximum demand conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. However, AEMO has not yet calculated contribution factors for wind, due to there being insufficient historical data to analyse for semi-scheduled wind generation in QLD. Thus the Firm Wind Capacity values in the table below are shown as NA, and do not contribute to the total capacity in that table.
Due to the intermittent nature of sunlight, solar generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. However, AEMO has not yet calculated contribution factors for solar, due to there being insufficient historical data to analyse for semi-scheduled solar generation in the NEM. Thus the Firm Solar Capacity values in the table below are shown as NA, and do not contribute to the total capacity in that table.
The two tables below have been included to better represent the supply availability in Queensland, by taking into account the firm contribution by semi-scheduled generation. The Winter aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm semi-scheduled generation. The Winter aggregate available semi-scheduled generation table lists the total available capacity for semi-scheduled generation for the Winter period. The total refers to the maximum amount that can be generated from the semi-scheduled generation at the Winter reference temperatures.
Winter aggregate scheduled and firm semi-scheduled generation
PowerStation | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | DispatchType | FuelType | Region | Season
Barcaldine Power Station | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | S | Fossil | QLD | winter
Barron Gorge | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | S | Hydro | QLD | winter
Braemar | 530 | 530 | 530 | 530 | 543 | 543 | 543 | 543 | 543 | 543 | S | Fossil | QLD | winter
Braemar 2 Power Station | 519 | 519 | 519 | 519 | 519 | 519 | 519 | 519 | 519 | 519 | S | Fossil | QLD | winter
Callide B | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | S | Fossil | QLD | winter
Callide C | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | S | Fossil | QLD | winter
Condamine A | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | S | Fossil | QLD | winter
Darling Downs | 633 | 633 | 633 | 633 | 633 | 633 | 633 | 633 | 633 | 633 | S | Fossil | QLD | winter
Gladstone | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | 1680 | S | Fossil | QLD | winter
Kareeya | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | 86.4 | S | Hydro | QLD | winter
Kogan Creek | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | S | Fossil | QLD | winter
Mackay GT | 34 | 34 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | QLD | winter
Millmerran | 852 | 852 | 852 | 852 | 852 | 852 | 852 | 852 | 852 | 852 | S | Fossil | QLD | winter
Mt Stuart | 428 | 428 | 428 | 428 | 428 | 428 | 428 | 428 | 428 | 428 | S | Fossil | QLD | winter
Oakey Power Station | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | S | Fossil | QLD | winter
Roma | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S | Fossil | QLD | winter
Stanwell | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | S | Fossil | QLD | winter
Swanbank E GT | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | S | Fossil | QLD | winter
Tarong | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | S | Fossil | QLD | winter
Tarong North | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | 443 | S | Fossil | QLD | winter
Townsville Power Station | 163 | 161 | 243 | 243 | 242 | 242 | 241 | 241 | 241 | 240 | S | Fossil | QLD | winter
Wivenhoe | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | S | Hydro | QLD | winter
Firm Wind Capacity | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | SS
Firm Solar Capacity | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | SS
Total | 12070.4 | 12068.4 | 12150.4 | 12116.4 | 12128.4 | 12128.4 | 12127.4 | 12127.4 | 12127.4 | 12126.4
Winter aggregate available semi-scheduled generation
PowerStation | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | DispatchType | FuelType | Region | Season
Childers Solar Farm | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | SS | Solar | QLD | winter
Clare Solar Farm | 80.4 | 79.8 | 79.2 | 78.7 | 78.1 | 77.6 | 77 | 76.5 | 76 | 75.4 | SS | Solar | QLD | winter
Clermont Solar Farm | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | SS | Solar | QLD | winter
Collinsville PV | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | 42.5 | SS | Solar | QLD | winter
Coopers Gap | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | SS | Wind | QLD | winter
Darling Downs Solar Farm | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | 108.5 | SS | Solar | QLD | winter
Daydream Solar Farm | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | SS | Solar | QLD | winter
Emerald Solar Park | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | SS | Solar | QLD | winter
Hamilton Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS | Solar | QLD | winter
Haughton Solar Farm | 97.9 | 97.3 | 96.7 | 96.1 | 95.5 | 95 | 94.4 | 93.8 | 93.2 | 92.6 | SS | Solar | QLD | winter
Hayman Solar Farm | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | SS | Solar | QLD | winter
Kennedy Energy Park - Phase 1 - Solar | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | SS | Solar | QLD | winter
Kennedy Energy Park - Phase 1 - Storage | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | SS | Wind | QLD | winter
Kennedy Energy Park - Phase 1 - Wind | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | SS | Wind | QLD | winter
Kidston Solar Project Phase One 50MW | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | SS | Solar | QLD | winter
Lilyvale Solar Farm | 80.4 | 79.8 | 79.2 | 78.7 | 78.1 | 77.6 | 77 | 76.5 | 76 | 75.4 | SS | Solar | QLD | winter
Mount Emerald | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | 180.45 | SS | Wind | QLD | winter
Oakey 2 Solar Farm | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | SS | Solar | QLD | winter
Oakey Solar Farm | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | SS | Solar | QLD | winter
Ross River Solar Farm | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | SS | Solar | QLD | winter
Rugby Run Solar Farm | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | SS | Solar | QLD | winter
Sun Metals Corporation Solar Farm | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | SS | Solar | QLD | winter
Susan River Solar Farm | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | SS | Solar | QLD | winter
Teebar Solar One | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | SS | Solar | QLD | winter
Whitsunday Solar Farm | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | 57.5 | SS | Solar | QLD | winter
Yarranlea Solar | 0 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | 102.5 | SS | Solar | QLD | winter
Total (Wind) | 575.65 | 575.65 | 575.65 | 575.65 | 575.65 | 575.65 | 575.65 | 575.65 | 575.65 | 575.65
Total (Solar) | 1503.7 | 1604.4 | 1602.6 | 1601 | 1599.2 | 1597.7 | 1595.9 | 1594.3 | 1592.7 | 1590.9
Total (Storage) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Existing NS Generation
Existing non-scheduled generation
Power Station | Owner | Nameplate Capacity (MW) | Technology Type | Fuel Type | Service Status | Region | summary_bucket | summary_status
Aldi Brendale | TBA | 0.931 | PV Panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Barcaldine Remote Community Solar Farm | Barcaldine Remote Community Solar Farm Pty Ltd | 20 | PV-Tracking Flat panel | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Birkdale | LMS ENERGY Pty Ltd | 0.789 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | QLD | Biomass | Existing less Announced Withdrawal
Browns Plains | EDL LFG Qld Pty Ltd | 2.18 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | QLD | Biomass | Existing less Announced Withdrawal
Chillamurra Solar Farm | Chillamurra Solar Pty Ltd | 3.6 | PV panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Churchill Abattoir | TBA | 0.9072 | PV Panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Daandine Power Station | APT Petroleum Pipeline Holdings Pty Ltd | 30 | Compression Reciprocating Engine | Coal Seam Methane | In service | QLD | Gas other | Existing less Announced Withdrawal
Dunblane Solar Farm | Dunblane Solar Pty Ltd | 7.2 | PV panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
FPC Green Energy | FPC 30 Limited as Trustee for FPC Green Fund Trust | 30 | Steam Sub Critical | Green and air dried wood | In service | QLD | Biomass | Existing less Announced Withdrawal
Fraser Coast Community Solar Farm | Wide Bay Water Corporation | 0.401 | PV panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
German Creek | EDL CSM Qld Pty Ltd | 45.01 | Spark Ignition Reciprocating Engine | Waste Coal Mine Gas | In service | QLD | Gas other | Existing less Announced Withdrawal
Grosvenor 1 | EDL Projects Australia Pty Ltd | 21 | Spark Ignition Reciprocating Engine | Waste Coal Mine Gas | In service | QLD | Gas other | Existing less Announced Withdrawal
Inkerman Mill | Pioneer Sugar Mills P/L | 12.5 | Steam Sub Critical | Bagasse | In service | QLD | Biomass | Existing less Announced Withdrawal
Invicta Mill | The Haughton Sugar Company P/L | 50.3 | Steam Sub Critical | Bagasse | In service | QLD | Biomass | Existing less Announced Withdrawal
ISIS Central Sugar Mill Co-generation Plant | AGL Energy | 25 | Steam Sub Critical | Bagasse | In service | QLD | Biomass | Existing less Announced Withdrawal
Kalamia Mill | Wilmar Sugar P/L | 9 | Steam Sub Critical | Bagasse | In service | QLD | Biomass | Existing less Announced Withdrawal
Kareeya 5 | Stanwell Corporation Limited | 7 | Hydro - Gravity | Water | In service | QLD | Water | Existing less Announced Withdrawal
Lake Somerset | Seqwater | 4.3 | Hydro - Gravity | Water | In service | QLD | Water | Existing less Announced Withdrawal
Lakeland Solar and Storage | Lakeland Solar and Storage Pty Limited | 12.5 | PV panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Llewellyn Motors | Llewellyn Land Pty Ltd ATF Llewellyn Land Unit Trust | 0.3326 | PV panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Longreach Solar Farm | Longreach Asset Company | 17 | PV panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Macknade Mill | Wilmar Sugar P/L | 8 | Steam Sub Critical | Bagasse | In service | QLD | Biomass | Existing less Announced Withdrawal
Maryborough Mill | MSF Sugar | 7.5 | Steam Super Critical | Bagasse | In service | QLD | Biomass | Existing less Announced Withdrawal
McNamee Partners | McNamee Partners Pty Ltd | 0.2592 | PV panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Molendinar | LMS Energy Pty Ltd | 0.48 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | QLD | Biomass | Existing less Announced Withdrawal
Moranbah Generation Project | AGL | 12.56 | Compression Reciprocating Engine | Waste Coal Mine Gas | In service | QLD | Gas other | Existing less Announced Withdrawal
Moranbah North | EDL Projects Australia Pty Ltd | 63.8 | Spark Ignition Reciprocating Engine | Waste Coal Mine Gas | In service | QLD | Gas other | Existing less Announced Withdrawal
Moranbah Workers Solar | TBA | 0.2138 | PV Panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Mount Sheridan Plaza | TBA | 0.2995 | PV Panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
MSF Sugar Pty Ltd | MSF Sugar Pty Ltd | 21 | Steam Sub Critical | Bagasse | In service | QLD | Biomass | Existing less Announced Withdrawal
Mulgrave Central Mill | MSF Sugar | 9 | Steam Super Critical | Bagasse | In service | QLD | Biomass | Existing less Announced Withdrawal
Normanton Solar Farm | TBA | 4.96 | PV - single axis tracking | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Oaky Creek | EDL OCI Pty Ltd | 21 | Spark Ignition Reciprocating Engine | Waste Coal Mine Gas | In service | QLD | Gas other | Existing less Announced Withdrawal
Oaky Creek 2 | EDL OCI PTY LTD | 15 | Spark Ignition Reciprocating Engine | Waste Coal Mine Gas | In service | QLD | Gas other | Existing less Announced Withdrawal
Pioneer Sugar Mill | Pioneer Sugar Mills P/L | 67.8 | Steam Sub Critical | Bagasse | In service | QLD | Biomass | Existing less Announced Withdrawal
Plane Creek Mill | Wilmar Sugar Plane Creek P/L | 14 | Steam Sub Critical | Bagasse | In service | QLD | Biomass | Existing less Announced Withdrawal
Proserpine | Wimar Sugar Proserpine Pty Ltd | 17 | Steam Sub Critical | Bagasse | In service | QLD | Biomass | Existing less Announced Withdrawal
Racecourse Mill | Mackay Sugar Ltd | 48 | Steam Sub Critical | Bagasse | In service | QLD | Biomass | Existing less Announced Withdrawal
Renewable Power Australia Limited | Renewable Power Australia Limited as Trustee for FPC Green Fund Trust | 30 | Steam Sub Critical | Green and air dried wood | In service | QLD | Biomass | Existing less Announced Withdrawal
Rochedale Renewable Energy Facility | LMS Energy Pty Ltd | 4.492 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | QLD | Biomass | Existing less Announced Withdrawal
Roghan Road | EDL LFG Qld Pty Ltd | 1.15 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | QLD | Biomass | Existing less Announced Withdrawal
SIPS Staypylton Industrial Power Station | TBA | 0.15 | PV Panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Somerset Dam | Seqwater | 3.2 | PV Panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
South Johnstone Mill | MSF Sugar | 19.3 | Steam Sub Critical | Bagasse | In service | QLD | Biomass | Existing less Announced Withdrawal
Southbank Institute of Technology Unit 1 Plant | Southbank Institute of Technology | 1 | Compression Reciprocating Engine | Diesel | In service | QLD | Other | Existing less Announced Withdrawal
St Ursula's College Yeppoon | TBA | 0.1738 | PV Panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Stapylton Renewable Energy Facility | LMS Energy Pty Ltd | 2.1 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | QLD | Biomass | Existing less Announced Withdrawal
Suncoast Gold Macadamias | AGL | 0 | Steam Sub Critical | Macadamia Nut Shells | In service | QLD | Biomass | Existing less Announced Withdrawal
Sunshine Coast Solar Farm | Sunshine Coast Regional Council | 15 | PV panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Suntown Renewable Energy Facility | LMS Energy Pty Ltd | 1.795 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | QLD | Biomass | Existing less Announced Withdrawal
Swanbank JV | LMS ENERGY Pty Ltd | 1.487 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | QLD | Biomass | Existing less Announced Withdrawal
Tableland Mill | MSF Sugar | 7 | Steam Super Critical | Bagasse | In service | QLD | Biomass | Existing less Announced Withdrawal
Tarong GT | Stanwell Corporation Limited | 15 | OCGT | Fuel Oil | In service | QLD | OCGT | Existing less Announced Withdrawal
Ti Tree Bioenergy | Ti Tree Bioenergy | 3.3 | Compression Reciprocating Engine | Landfill Methane / Landfill Gas | In service | QLD | Biomass | Existing less Announced Withdrawal
Todae Solar - DHP 1MW | TBA | 0.9541 | PV Panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Todae Solar SV - Holy Spirit Northside | TBA | 0.3932 | PV Panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Todae Solar SV - Mitchelton | TBA | 0.1746 | PV Panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Todae Solar SV - Private Brisbane | TBA | 0.1705 | PV Panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Todae Solar SV - Toowoomba | TBA | 0.2601 | PV Panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Todae Solar SV Lourdes | TBA | 0.2637 | PV Panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Tong Park - Agricultural Waste | TBA | 1.228 | TBA | Bagasse | In service | QLD | Biomass | Existing less Announced Withdrawal
University of Southern Queensland Toowoomba | TBA | 1.09 | PV Panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Victoria Mill | Wilmar Sugar Herbert P/L | 24 | Steam Sub Critical | Bagasse | In service | QLD | Biomass | Existing less Announced Withdrawal
Vulcan Yatala | TBA | 0.1966 | PV Panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Whitwood Road | LMS Energy Pty Ltd | 0.789 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | QLD | Biomass | Existing less Announced Withdrawal
Windy Hill | Ratch Australia | 12 | Wind - Onshore | Wind | In service | QLD | Wind | Existing less Announced Withdrawal
Wivenhoe Small Hydro | Stanwell Corporation Limited | 4.5 | Hydro - Gravity | Water | In service | QLD | Water | Existing less Announced Withdrawal
Woolcock Centre | TBA | 0.2956 | PV Panels | Solar | In service | QLD | Solar | Existing less Announced Withdrawal
Yarwun 1 | RTA Yarwun Pty Ltd | 180 | CCGT | Natural Gas Pipeline | In service | QLD | CCGT | Existing less Announced Withdrawal
Total |  | 942.2865

## New Developments
Projects under development
Project | Owner | Unit ID | Technology Type | Fuel Type | Unit Status | Nameplate Capacity (MW) | Dispatch Type | Full Commercial Use Date | Source | summary_status | nameplatecapacity_mw_max | capacity_empty | region | summary_bucket
Aldoga Solar Farm | Acciona Energy Australia Global | 1 | PV panels | Solar | Publicly Announced | 265 | SS |  |  | Proposed | 265 | No | QLD | Solar
Aramara Solar Farm | TBA | Aramara Solar Farm | PV panels | Solar | Publicly Announced | 140 | SS |  |  | Proposed | 140 | No | QLD | Solar
Archer Point Wind Farm | Wind Power Queensland Pty Ltd | Units 1 - 60 | Wind - Onshore | Wind | Publicly Announced | 0 - 120 | SS |  |  | Proposed | 120 | No | QLD | Wind
Baking Board Solar Farm Chinchilla | Chinchilla Solar Pty Ltd | 1 | PV panels | Solar | Maturing | 14.7 | NS |  |  | Proposed | 14.7 | No | QLD | Solar
Baralaba Solar Farm | FRV Services Australia Pty Ltd | Ingeteam Sun Power Max inverter | PV panels | Solar | Publicly Announced | 92.5 | SS |  | www.baralabasolarfarm.com.au | Proposed | 92.5 | No | QLD | Solar
Beelbee Solar Farm | Darling Downs Solar Farm Pty Ltd | BSF CL1 | PV-Tracking Flat panel | Solar | Publicly Announced | 150 | SS |  |  | Proposed | 150 | No | QLD | Solar
Blair Athol Solar Power Station | TerraCom Ltd | TBA | PV panels | Solar | Publicly Announced | 60 | SS |  | http://terracomresources.com/wp-content/uploads/2016/10/2016-10-12-Blair-Athol-60Mw-Solar-Power-Station-Plans.pdf | Proposed | 60 | No | QLD | Solar
Bluff Solar Farm | Infigen Energy | Solar Panels | PV panels | Solar | Publicly Announced | 100 | NS | Jan 2020 | https://www.infigenenergy.com/our-business/development-pipeline/solar-energy-projects/ | Proposed | 100 | No | QLD | Solar
Bouldercombe Solar Farm | EEW Eco Energy World Ltd | 1 | PV panels | Solar | Publicly Announced | 200 | SS |  |  | Proposed | 200 | No | QLD | Solar
Bowen Solar Farm | Infigen Energy | Solar Panels | PV panels | Solar | Publicly Announced | 31 - 40 | NS |  | https://www.infigenenergy.com/our-business/development-pipeline/solar-energy-projects/ | Proposed | 40 | No | QLD | Solar
Broadlea Solar Farm | EEW Eco Energy World | Broadlea Solar | PV-Tracking Flat panel | Solar | Publicly Announced | 90 | NS |  |  | Proposed | 90 | No | QLD | Solar
Bulli Creek Solar Farm | First Solar Australia Pty Ltd | Units 1-240 | PV-Tracking Flat panel | Solar | Publicly Announced | 1200 | SS |  |  | Proposed | 1200 | No | QLD | Solar
Cape York Solar Storage - Solar | Lyon Solar | Solar Panels | PV-Tracking Flat panel | Solar | Publicly Announced | 55 | SS |  |  | Proposed | 55 | No | QLD | Solar
Cape York Solar Storage - Storage | Lyon Solar | TBA | Battery Storage | Storage | Publicly Announced | 20 MW / 80 MWh | S |  | http://www.lyoninfrastructure.com.au/projects/cape-york/ | Proposed | 20 | No | QLD | Storage
Childers Solar Farm | Childers Solar Pty Ltd | 1 | PV-Tracking Flat panel | Solar | Com* | 56 | SS | Feb 2019 |  | Committed | 56 | No | QLD | Solar
Chinchilla Solar Farm - First Solar | First Solar Australia Pty Ltd | Units 1-69 | PV-Tracking Flat panel | Solar | Publicly Announced | 112 | SS |  |  | Proposed | 112 | No | QLD | Solar
Clarke Creek Solar Farm | Energy Pacific Vic Pty Ltd | Units 1-40 | PV-Tracking Flat panel | Solar | Publicly Announced | 100 - 350 | SS |  |  | Proposed | 350 | No | QLD | Solar
Clarke Creek Wind and Solar Farm - Solar | Lacour Energy | TBA | PV panels | Solar | Publicly Announced | 200 | SS |  | http://www.clarkecreekwindandsolar.com.au/ | Proposed | 200 | No | QLD | Solar
Clarke Creek Wind and Solar Farm - Wind | Lacour Energy | TBA | Wind - Onshore | Wind | Publicly Announced | TBA | SS |  | http://www.clarkecreekwindandsolar.com.au/ | Proposed | 0 | Yes | QLD | Wind
Clermont Solar Farm | Clermont Asset Co Pty Ltd as Trustee for Clerrmont Solar Unit Trust | Clermont Solar Farm 1 | PV panels | Solar | Committed | 92.5 | SS | Oct 2018 | https://wirsol.com.au/portfolio/clermont-solar-farm/ | Committed | 92.5 | No | QLD | Solar
Collinsville North Solar | Vena Energy | Solar Panels | PV panels | Solar | Publicly Announced | 120 | SS | Jun 2020 |  | Proposed | 120 | No | QLD | Solar
Collinsville PV | Ratch Australia | All Units | PV panels | Solar | Committed | 42.5 | SS | Aug 2018 |  | Committed | 42.5 | No | QLD | Solar
Columboola | Luminous Energy | PV Panels | PV panels | Solar | Publicly Announced | 324 | SS |  |  | Proposed | 324 | No | QLD | Solar
Comet Solar Farm | Hadstone Energy | 114 | PV panels | Solar | Publicly Announced | 285 | SS |  |  | Proposed | 285 | No | QLD | Solar
Coopers Gap | PARF Company 6 Pty Limited | 1 - 115 | Wind - Onshore | Wind | Com* | 350 | SS | Jun 2019 |  | Committed | 350 | No | QLD | Wind
Dalby | TBA | unit 1 -19 | PV-Tracking Flat panel | Solar | Publicly Announced | 30 | NS |  |  | Proposed | 30 | No | QLD | Solar
Darling Downs Solar Farm | Darling Downs Solar Farm Pty Ltd | DDSF1 | PV panels | Solar | Committed | 108.5 | SS | Aug 2018 |  | Committed | 108.5 | No | QLD | Solar
Daydream Solar Farm | Daydream Solar Farm | 1 | PV panels | Solar | Committed | 167.5 | SS | Winter 2018 |  | Committed | 167.5 | No | QLD | Solar
Delga Solar Farm | Shell Australia | 1 | PV panels | Solar | Publicly Announced | 250 | SS |  |  | Proposed | 250 | No | QLD | Solar
Dysart Solar Farm RED | Tilt Renewables | 100 | PV panels | Solar | Publicly Announced | 100 | SS |  |  | Proposed | 100 | No | QLD | Solar
Emerald Solar Park | Lighthouse Infrastructure Management Limited | 1 - 32 | PV-Tracking Flat panel | Solar | Com* | 72 | SS | Dec 2018 |  | Committed | 72 | No | QLD | Solar
Forsayth Wind Farm | Infigen Energy | Units 1-30 | Wind - Onshore | Wind | Publicly Announced | 75 | SS |  | https://www.infigenenergy.com/our-business/development-pipeline/wind-energy-projects/ | Proposed | 75 | No | QLD | Wind
Grosvenor 2 Waste Coal Mine Gas Power Station | EDL Projects Australia Pty Ltd | 1-5 | Spark Ignition Reciprocating Engine | Coal Seam Methane | Publicly Announced | 15.205 | NS |  |  | Proposed | 15.205 | No | QLD | Gas other
Group Linen - Maryborough | Group Linen | Units 1 - 5 | PV panels | Solar | Publicly Announced | 0.1656 | NS | Sep 2018 |  | Proposed | 0.1656 | No | QLD | Solar
Group Linen - Prince Charles | Group Linen | Units 1 - 10 | PV panels | Solar | Emerging | 0.3312 | NS | Sep 2018 |  | Proposed | 0.3312 | No | QLD | Solar
Group Linen - Princess Alexandra | Group Linen | 1-10 | PV panels | Solar | Emerging | 0.3312 | NS | Sep 2018 |  | Proposed | 0.3312 | No | QLD | Solar
Gympie Regional Energy Hub - Stage 1 | SolarQ Pty Ltd | Unit 1 to 4 | PV panels | Solar | Publicly Announced | 1000 | SS | Nov 2022 | solarq.com.au | Proposed | 1000 | No | QLD | Solar
Gympie Regional Energy Hub - Stage 2 | SolarQ Pty Ltd | 1 | Battery Storage | Storage | Publicly Announced | 1000 | S |  |  | Proposed | 1000 | No | QLD | Storage
Gympie Regional Energy Hub - Stage 3 | SolarQ Pty Ltd | 1 | PV panels | Solar | Publicly Announced | 1050 | SS |  |  | Proposed | 1050 | No | QLD | Solar
Hamilton Solar Farm | Hamilton Solar Farm Pty Ltd | 1 | PV panels | Solar | Committed | 57.5 | SS | Winter 2018 |  | Committed | 57.5 | No | QLD | Solar
Haughton Solar Farm | Pacific Hydro Haughton Solar Farm Pty Ltd | Units 1-81 | PV-Tracking Flat panel | Solar | Committed | 100 | SS | Summer 2018-19 | www.pacifichydro.com.au | Committed | 100 | No | QLD | Solar
Hayman Solar Farm | Hayman Solar Farm | 1 | PV panels | Solar | Committed | 50 | SS | Winter 2018 | http://edifyenergy.com/projects/hayman-solar-farm/ | Committed | 50 | No | QLD | Solar
High Road | Ratch Australia | Station | Wind - Onshore | Wind | Publicly Announced | 59 | SS | Dec 2022 |  | Proposed | 59 | No | QLD | Wind
Hughenden Sun Farm | Overland Sun Farming Company Pty Ltd | Solar Panels | PV panels | Solar | Publicly Announced | 18 | NS |  |  | Proposed | 18 | No | QLD | Solar
Kaban Green Power Hub - BESS | Neoen | 1 | Battery Storage | Storage | Publicly Announced | 100 | S |  | https://kabangreenpowerhub.com.au/ | Proposed | 100 | No | QLD | Storage
Kaban Green Power Hub - Wind Farm | Neoen | 1-29 | Wind - Onshore | Wind | Publicly Announced | TBA | SS |  | https://kabangreenpowerhub.com.au/ | Proposed | 0 | Yes | QLD | Wind
Kelsey Creek Solar Farm | BayWa r.e. Solar Project Pty Ltd | 1 | PV panels | Solar | Publicly Announced | 50 | SS |  |  | Proposed | 50 | No | QLD | Solar
Kennedy Energy Park - Phase 1 - Solar | Windlab / Eurus | 6 | PV panels | Solar | Committed | 15 | SS | Oct 2018 |  | Committed | 15 | No | QLD | Solar
Kennedy Energy Park - Phase 1 - Storage | Windlab/Eurus | 1 | Battery Storage | Storage | Committed | 2 MW / 4 MWh | SS | Oct 2018 |  | Committed | 2 | No | QLD | Storage
Kennedy Energy Park - Phase 1 - Wind | Windlab / Eurus | 12 | Wind - Onshore | Wind | Committed | 43.2 | SS | Oct 2018 |  | Committed | 43.2 | No | QLD | Wind
Kennedy Energy Park - Phase 2 - Solar | Windlab Developments | 1 | PV panels | Solar | Publicly Announced | 650 | SS |  |  | Proposed | 650 | No | QLD | Solar
Kennedy Energy Park - Phase 2 - Wind | Windlab Developments | 1 | Wind - Onshore | Wind | Publicly Announced | 650 | SS |  |  | Proposed | 650 | No | QLD | Wind
Kidston Pumped Storage Hydro Project 250MW | Genex Power Limited | HYD1 and HYD2 | Pump Storage | Water | Publicly Announced | 250 | S |  | http://www.genexpower.com.au/250mw-kidston-pumped-storage-hydro-project.html | Proposed | 250 | No | QLD | Water
Kidston Solar Project Phase Two 270MW | Genex Power Limited | KSP2 - 1 Unit | PV panels | Solar | Publicly Announced | 270 | SS |  | http://www.genexpower.com.au/270mw-kidston-solar-project.html | Proposed | 270 | No | QLD | Solar
Kidston Stage 3 Wind Project | Genex Power Limited | 33 | Wind - Onshore | Wind | Publicly Announced | 150 | SS |  | http://www.genexpower.com.au/150mw-kidston-wind-project.html | Proposed | 150 | No | QLD | Wind
Kingaroy Solar Farm | Kingaroy Operationsco Pty Ltd | Units 1-9 Unit 10 | PV-Tracking Flat panel | Solar | Publicly Announced | TBA | SS |  | https://www.terrainsolar.com/kingaroy | Proposed | 0 | Yes | QLD | Solar
Koberinga Solar Farm | ESCO Pacific | Solar Panels | PV panels | Solar | Publicly Announced | 55 | SS |  |  | Proposed | 55 | No | QLD | Solar
Lakeland 2 | Kawa Australia Pty Ltd Trading as Conergy | 1 | PV panels | Solar | Publicly Announced | 20 | NS |  |  | Proposed | 20 | No | QLD | Solar
Lakeland Wind Farm | Lakeland Wind Farm Pty Ltd | 1 | Wind - Onshore | Wind | Publicly Announced | 104.4 | SS |  |  | Proposed | 104.4 | No | QLD | Wind
Lilyvale Solar Farm | Lilyvale Asset Co Pty Ltd ATF Lilyvale Asset Trust | 1-69 | PV-Tracking Flat panel | Solar | Committed | 100 | SS | Oct 2018 | www.lilyvalesolarfarm.com.au | Committed | 100 | No | QLD | Solar
Lockyer Valley Energy Project | Quinbrook Infrastructure Partners | 1 | OCGT | Natural Gas Pipeline | Publicly Announced | 1000 | S |  |  | Proposed | 1000 | No | QLD | OCGT
Maryborough Solar Farm | Maryborough Solar Pty Ltd | 1 | PV panels | Solar | Publicly Announced | 29.9 | NS |  |  | Proposed | 29.9 | No | QLD | Solar
Matthew Flinders College Senior | Matthew Flinders Anglican College | 1-6 | PV panels | Solar | Emerging | 0.19872 | NS | Sep 2018 |  | Proposed | 0.19872 | No | QLD | Solar
McIntyre | Acciona Energy Australia Global | 1-100 | TBA | TBA | Publicly Announced | TBA | SS |  |  | Proposed | 0 | Yes | QLD | Wind
Middlemount Sun Farm | Overland Sun Farming | Solar Panels | PV-Tracking Flat panel | Solar | Publicly Announced | 26 | SS |  | http://www.overlandsunfarming.com.au/middlemount-sun-farm.html | Proposed | 26 | No | QLD | Solar
Miles Solar Project | Vena Energy | Units 1 to n | PV panels | Solar | Publicly Announced | 350 | SS |  |  | Proposed | 350 | No | QLD | Solar
Mirani Solar Farm | ESCO Pacific | Solar Panels | PV panels | Solar | Publicly Announced | 60 | SS |  |  | Proposed | 60 | No | QLD | Solar
Mount Emerald | Ratch Australia | Units 1-53 | Wind - Onshore | Wind | Committed | 180.5 | SS | Oct 2018 |  | Committed | 180.5 | No | QLD | Wind
Mt Cotton Biomass Cogeneration Power Station | Darwalla Milling Co Pty Ltd | 1 | Steam Sub Critical | Wood Waste | Publicly Announced | 7.6 | S |  |  | Proposed | 7.6 | No | QLD | Biomass
Munna Creek | Renewable Energy System Technologies | TBA | PV panels | Solar | Publicly Announced | 120 | SS |  | http://www.restweb.net/projects.html | Proposed | 120 | No | QLD | Solar
North Qld Bio-Energy Plant | North Queensland Bio-Energy Corporation Limited | 1-3 | Steam Sub Critical | Bagasse | Emerging | 120 - 150 | S | Sep 2020 | www.nqbioenergy.com.au | Proposed | 150 | No | QLD | Biomass
North Queensland Solar Farm | KCSF Consortium | 1 | PV panels | Solar | Publicly Announced | 50 | SS |  |  | Proposed | 50 | No | QLD | Solar
Oakey 2 Solar Farm | RE Oakey Pty Ltd | Oakey 2 | TBA | Solar | Committed | 55 | SS | Oct 2018 |  | Committed | 55 | No | QLD | Solar
Oakey Solar Farm | Canadian Solar Australia Pty Ltd | 1 | PV panels | Solar | Com* | 25 | SS | Aug 2018 |  | Committed | 25 | No | QLD | Solar
Raglan Solar Farm | EEW Eco Energy World Ltd | 96 | TBA | Solar | Publicly Announced | 240 | SS |  |  | Proposed | 240 | No | QLD | Solar
Rodds Bay Solar Farm | Renew Estate | 1 | PV-Tracking Flat panel | Solar | Publicly Announced | 300 | NS |  |  | Proposed | 300 | No | QLD | Solar
Rolleston Solar Farm | RES Australia Pty Ltd | TBA | PV panels | Solar | Publicly Announced | 90 | SS |  | http://www.rolleston-solarfarm.com/ | Proposed | 90 | No | QLD | Solar
Rollingstone Solar Farm | ESCO Pacific | Solar Panels | PV panels | Solar | Publicly Announced | 110 | SS |  |  | Proposed | 110 | No | QLD | Solar
Ross River Solar Farm | Ross River Operations Pty Ltd | Solar PV Inverters | PV-Tracking Flat panel | Solar | Com* | 128 | SS | Summer 2018-19 | http://rossriversolarfarm.com.au/ | Committed | 128 | No | QLD | Solar
Rugby Run Solar Farm | Adani Rugby Run Pty Ltd | 1 | PV panels | Solar | Com* | 65 | SS | Dec 2018 | http://www.adanirenewables.com.au/rugby-run/ | Committed | 65 | No | QLD | Solar
South Johnstone Mill (expansion) | MSF Sugar | Units 4 - 5 | Steam Sub Critical | Bagasse | Publicly Announced | 32 | NS |  |  | Proposed | 32 | No | QLD | Biomass
Susan River Solar Farm | Susan River Solar Pty Ltd | 1 | PV-Tracking Flat panel | Solar | Com* | 75 | SS | Feb 2019 |  | Committed | 75 | No | QLD | Solar
Tableland Mill (expansion) | MSF Sugar | 2 | Steam Sub Critical | Bagasse | Com* | 24 | NS | Oct 2018 | www.msfsugar.com.au | Committed | 24 | No | QLD | Biomass
Teebar Solar One | Teebar Clean Energy Pty Ltd | 1 - 21 | PV panels | Solar | Com* | 52.5 | SS | Jul 2019 | http://teebarcleanenergy.com.au/ | Committed | 52.5 | No | QLD | Solar
Tieri Solar Farm | FRV Services Australia Pty Ltd | 1-50 | PV panels | Solar | Publicly Announced | TBA | SS |  | www.tierisolarfarm.com.au | Proposed | 0 | Yes | QLD | Solar
Wandoan South Solar | Vena Evergy | Solar Panels | PV panels | Solar | Publicly Announced | 650 | SS |  |  | Proposed | 650 | No | QLD | Solar
Warwick Solar Farm 1 | Warwick Operationsco Pty Ltd | Units 1-8 | PV-Tracking Flat panel | Solar | Publicly Announced | TBA | SS |  | https://www.warwicksolarfarm.com.au/ | Proposed | 0 | Yes | QLD | Solar
Warwick Solar Farm 2 | Warwick Operationsco Pty Ltd | Units 1-8 | PV-Tracking Flat panel | Solar | Publicly Announced | 32.1 | SS |  | https://www.warwicksolarfarm.com.au/ | Proposed | 32.1 | No | QLD | Solar
Western Downs Green Power Hub | Neoen | 1 | PV panels | Solar | Publicly Announced | 500 | SS |  |  | Proposed | 500 | No | QLD | Solar
Western Downs Solar Farm | Tilt Renewables | 1-50 | PV-Tracking Flat panel | Solar | Publicly Announced | 250 | SS | Mar 2021 |  | Proposed | 250 | No | QLD | Solar
Whitsunday Solar Farm | Whitsunday Solar Farm Pty Ltd | 1 | PV panels | Solar | Committed | 57.5 | SS | Winter 2018 |  | Committed | 57.5 | No | QLD | Solar
Windy Hill II | Ratch Australia | Station | Wind - Onshore | Wind | Publicly Announced | 10 - 30 | NS | Sep 2023 |  | Proposed | 30 | No | QLD | Wind
Yarranlea Solar | Risen Energy Australia | 1 | PV panels | Solar | Com* | 102.5 | SS | Aug 2019 | http://www.yarranleasolar.com.au/ | Committed | 102.5 | No | QLD | Solar
Yuleba North Solar Project | Vena Energy | Units 1 to n | PV panels | Solar | Publicly Announced | 300 | SS |  |  | Proposed | 300 | No | QLD | Solar

## Background Information
Generation capacity in the NEM
Any person who owns, controls, or operates a generating system connected to a transmission or distribution network must register with AEMO as a generator unless it has the benefit of an exemption from that requirement. A generating system’s registered capacity is the aggregate megawatt (MW) capacity of all its component generation units, as registered with AEMO.
The registered capacity should be the same as a generating system’s nameplate capacity. Nameplate capacity represents the maximum continuous output or consumption in MW, as specified by the manufacturer, or as subsequently modified. Nameplate capacity can change for a number of reasons, such as upgrade projects, age or a review of performance.
Under the National Electricity Rules (NER), generating units are classified as scheduled (S), semi-scheduled (SS), or non-scheduled (NS).
For further information about generation classification guide, please refer to the AEMO Generation Exemption and Classification Guide on the AEMO website: http://aemo.com.au/-/media/Files/Electricity/NEM/Participant_Information/New-Participants/Generator-Exemption-and-Classification-Guide.pdf
For the purposes of reliability assessments, and consistent with market systems, AEMO measures scheduled and semi-scheduled generation capacity on an as-generated basis, noting that for semi-scheduled systems the generating unit terminals are taken to be at the connection point. Non-scheduled generation is measured as sent-out (at the connection point) because it can include co-generation plants (that usually produce both heat and electricity), where the bulk of the capacity is consumed locally.
Temperature effects on generation
The actual level of generation available at any particular time will depend on the condition of the generating plant. This includes factors such as age, outages, and wear. Another important factor with respect to output is the reduction in thermal efficiency as the temperature increases.
Because temperature can affect plant generation capacities in different ways, basing generation capacities on region-specific reference temperatures facilitates more effective assessment of available generation capacity under weather conditions frequently associated with high demand.
To produce the supply-demand outlook, AEMO — in consultation with the Jurisdictional Planning Bodies (JPBs) — undertakes the following:
· Uses historical data to estimate typical weather conditions, and to determine reference temperatures frequently associated with times of 10% probability of exceedance (POE) maximum demand in the major load centres for each region.
· Asks generators to provide generating unit capacities for summer and winter using these common reference temperatures. The table below lists the common reference temperatures AEMO applies for each region. In general, annual maximum demands occur during summer; the exception is Tasmania, where maximum demand occurs during winter. Summer maximum demand in Tasmania occurs during colder temperatures, resulting in a relatively low summer reference temperature.
Generation capacity reference temperatures
Region | Summer (°C) | Winter (°C)
Queensland | 37 | 15
New South Wales | 42 | 9
Victoria | 41 | 8
South Australia | 43 | 11
Tasmania | 7.7 | 1.2
Maximum capacity
Some thermal (generation that burns fuel) and non-thermal (renewable generation) generating systems can provide additional, short-term capacity that exceeds the registered capacity. This is known as maximum capacity.
Proposed generation in the NEM
In addition to capacity forecasts, generation plant owners advise AEMO about the status of generation projects currently under development in each region.
Generation projects can be at different stages of development, which are assessed using AEMO’s five (5) commitment criteria, covering site acquisition, contracts for major components, planning and other approvals, financing, and date (see table below for a description of the criteria).
Projects are categorised as follows:
· Committed projects, representing generation and storage for which formal commitment has been made for construction or installation. These are further identified as:
- Committed proposals, representing projects that have satisfied all five (5) of AEMO's commitment criteria.
- Committed* proposals, representing projects that don't satisfy all five (5) of AEMO's commitment criteria, but construction or installation has commenced.
· Proposed projects, which are further identified as:
- Advanced proposals, representing projects that are highly likely to proceed, satisfying Site and Finance criteria plus either Planning and approvals or Major components criteria, and have notified AEMO of a scheduled commercial operation date. Typically included in sensitivity analysis for MLF.
- Maturing proposals, representing projects that have progressed with site, planning applications, and finance arrangements, but not to the point that they can be classified as advanced. Maturing projects may be explicitly included in scenario analysis to assess future reliability or market impacts and are tested for economic efficiency in capacity outlook modelling.
- Emerging proposals, representing projects where sites have been identified, planning applications lodged and the development is considered financially and technically viable. However, planning approvals/construction is uncertain, and development maybe subject to changes in policy or commercial environment. These projects may be explicitly included in scenario analysis to assess future market impacts, and are tested for economic efficiency in capacity outlook modelling. However, a higher weighted average cost of capital will be assumed to reflect greater development uncertainty compared to maturing projects.
- Publicly Announced proposals, representing projects that have been announced publicly, but may not yet meet all or any of the commitment criteria. Costs and capabilities of these projects are developed using recently-completed projects and projections of cost components such as raw material supply and labour.
Generation project commitment criteria
Category | Criteria
Site | The project proponent has purchased/settled/acquired (or commenced legal proceedings to purchase/settle/acquire) land for the construction of the project.
Major components | Contracts for the supply and construction of major plant or equipment components (such as generating units, turbines, boilers, transmission towers, conductors, and terminal station equipment) have been finalised and executed, including any provisions for cancellation payments.
Planning and Approvals | The proponent has obtained all required planning consents, construction approvals, connection contracts (including approval of proposed negotiated Generator Performance Standards from AEMO under clause 5.3.4A of the National Electricity Rules), and licences, including completion and acceptance of any necessary environmental impact statements.
Finance | The financing arrangements for the proposal, including any debt plans, must have been concluded and contracts executed.
Date | Construction of the proposal must either have commenced or a firm commencement date must have been set. Commercial use date for full operation must have been set.