## Index
Overview
This file contains the unserved energy data results in New South Wales presented in the 2020 NEM Electricity Statement of Opportunities.
Charts
Tab name | Description
USE Chart | New South Wales supply adequacy
USE Sensitivity Chart | Average unserved energy in New South Wales under sensitivity scenarios
Tables
Tab name | Description
USE Data | New South Wales supply adequacy
USE Sensitivity Data | Average unserved energy in New South Wales under sensitivity scenarios

## USE Data
New South Wales supply adequacy
Financial Year | Central | Step Change | Slow Change | Reliability Standard | Interim Reliability Measure
2020-21 | 3.199e-05% | 0.0001567% | 1.429e-06% | 0.002% | 0.0006%
2021-22 | 3.279e-05% | 0.0001451% | 6.006e-07% | 0.002% | 0.0006%
2022-23 | 6.908e-05% | 0.0002832% | 2.51e-06% | 0.002% | 0.0006%
2023-24 | 0.0007828% | 0.001656% | 0.0001022% | 0.002% | 0.0006%
2024-25 | 0.0008973% | 0.001847% | 0.0001167% | 0.002% | 0.0006%
2025-26 | 0.001105% | 0.002088% | 0.0001665% | 0.002% | 0.0006%
2026-27 | 0.001089% | 0.001947% | 0.000143% | 0.002% | 0.0006%
2027-28 | 0.001469% | 0.002864% | 0.0002331% | 0.002% | 0.0006%
2028-29 | 0.001819% | 0.003574% | 0.000283% | 0.002% | 0.0006%
2029-30 | 0.01418% | 0.0214% | 0.0007109% | 0.002% | 0.0006%

## USE Sensitivity Data
New South Wales sensitivity scenarios
Financial Year | Central | Central with Actionable ISP Transmission | Reliability Standard | Interim Reliability Measure
2020-21 | 3.199e-05% | 3.199e-05% | 0.002% | 0.0006%
2021-22 | 3.279e-05% | 3.279e-05% | 0.002% | 0.0006%
2022-23 | 6.908e-05% | 6.769e-05% | 0.002% | 0.0006%
2023-24 | 0.0007828% | 0.0007712% | 0.002% | 0.0006%
2024-25 | 0.0008973% | 0.0008508% | 0.002% | 0.0006%
2025-26 | 0.001105% | 0.0003043% | 0.002% | 0.0006%
2026-27 | 0.001089% | 0.0003178% | 0.002% | 0.0006%
Notes:
ISP = Integrated System Plan