## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 6.7793 | 9.1012 | 11.3268 | 12.0466 | 10.2668 | 10.9139 | 9.5481 | 10.3006 | 9.2316 | 8.3576 | 10.9588 | 10.6337 | 10.5659 | 10.1269 | 10.0083
Large Scale Storage SA | Capacity Factor | % | 6.2878 | 6.3311 | 6.3967 | 6.0585 | 4.7873 | 4.4922 | 4.0971 | 4.0406 | 3.5359 | 3.0838 | 3.2396 | 3.2009 | 3.1819 | 3.1934 | 3.2667
Large Scale Storage QLD | Capacity Factor | % | 10.8501 | 9.5782 | 11.036 | 11.7489 | 11.9171 | 11.7802 | 11.3763 | 11.4463 | 12.3034 | 13.3499 | 12.1704 | 11.9828 | 12.0777 | 11.9883 | 12.2252

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 64.2551 | 63.5966 | 59.4912 | 68.4196 | 67.9237 | 63.5475 | 68.3493 | 72.5006 | 74.2489 | 76.1782 | 76.1457 | 76.2294 | 77.0119 | 69.9816 | 77.3408
Black Coal QLD | Capacity Factor | % | 54.359 | 54.6592 | 62.2493 | 68.2205 | 68.9786 | 71.1253 | 64.4403 | 64.8485 | 65.2903 | 67.1465 | 70.8155 | 66.9616 | 66.9765 | 69.0408 | 71.5974
Brown Coal VIC | Capacity Factor | % | 74.8406 | 72.5442 | 65.6765 | 65.2818 | 71.4097 | 70.4368 | 64.7873 | 70.6614 | 68.0297 | 68.7381 | 71.4869 | 72.0509 | 64.5407 | 75.2415 | 75.6244
Natural Gas NSW | Capacity Factor | % | 0.1647 | 0.34626 | 2.7518 | 7.7239 | 9.5465 | 14.7842 | 15.6535 | 10.6854 | 17.0101 | 30.4575 | 33.8642 | 27.2847 | 31.0558 | 37.1601 | 34.6209
Natural Gas QLD | Capacity Factor | % | 6.6169 | 6.6444 | 6.2914 | 7.6092 | 8.5389 | 11.7373 | 15.7521 | 16.5638 | 18.2133 | 19.1124 | 25.9806 | 27.8418 | 30.8783 | 32.1995 | 31.6838
Natural Gas VIC | Capacity Factor | % | 0.21415 | 0.078147 | 0.2062 | 0.35465 | 0.39316 | 0.36539 | 0.1186 | 0.018501 | 0.10633 | 0.10148 | 0.080437 | 0.13989 | 0.30492 | 1.4317 | 1.4645
Natural Gas SA | Capacity Factor | % | 11.9975 | 11.8306 | 13.0225 | 11.1905 | 3.8651 | 5.3323 | 4.8791 | 3.3531 | 6.4421 | 8.0128 | 7.6807 | 3.7291 | 4.2288 | 5.7082 | 5.3366
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0.046788 | 0.031053 | 0.032548 | 0.011301 | 0.011301 | 0 | 0 | 0 | 0 | 0.022603 | 0.011301 | 0.011301 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0.0011104 | 0 | 0 | 0 | 0.0085117 | 0.014533 | 0 | 0 | 0 | 0.055633 | 0.14214 | 0.076178 | 0.06235
Liquid Fuel SA | Capacity Factor | % | 0.008607 | 0 | 0 | 0.00019062 | 0.10066 | 0.11782 | 0.021411 | 0.0031938 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Capacity Factor | % | 32.5603 | 32.5419 | 32.2037 | 32.9489 | 32.7013 | 32.0869 | 32.5356 | 32.5546 | 32.4208 | 32.302 | 32.0882 | 32.4739 | 32.6528 | 32.2307 | 32.9541
Wind QLD | Capacity Factor | % | 33.1894 | 33.1945 | 32.9209 | 33.7699 | 33.3914 | 32.7044 | 33.1483 | 32.8575 | 31.472 | 31.0923 | 31.4074 | 32.1478 | 32.3344 | 31.4282 | 32.5666
Wind VIC | Capacity Factor | % | 33.4758 | 33.0555 | 32.1898 | 32.2539 | 32.9769 | 32.3987 | 32.6023 | 32.4115 | 32.6122 | 32.5468 | 32.1184 | 32.3619 | 32.4692 | 32.2159 | 32.3009
Wind SA | Capacity Factor | % | 32.0183 | 31.9339 | 31.3258 | 31.5826 | 32.6803 | 31.8932 | 32.15 | 32.132 | 31.9468 | 32.4268 | 30.4777 | 30.8807 | 30.3392 | 29.4426 | 29.7537
Wind TAS | Capacity Factor | % | 36.3637 | 36.1351 | 36.3117 | 36.496 | 35.5396 | 36.0453 | 36.134 | 36.102 | 36.4927 | 35.01 | 35.95 | 36.1974 | 36.31 | 36.3261 | 36.6923
Solar NSW | Capacity Factor | % | 28.4164 | 28.417 | 28.5704 | 28.3275 | 28.4444 | 28.4694 | 28.3086 | 28.3775 | 28.5965 | 28.5383 | 28.5027 | 28.3612 | 28.436 | 28.6164 | 28.4111
Solar QLD | Capacity Factor | % | 30.4689 | 30.4381 | 30.5253 | 30.4061 | 30.5373 | 30.5094 | 30.3962 | 29.8441 | 27.0396 | 24.3913 | 27.5024 | 27.9234 | 27.7235 | 27.889 | 27.5262
Solar VIC | Capacity Factor | % | 29.1219 | 29.3954 | 29.4856 | 29.318 | 29.564 | 29.0929 | 29.0673 | 28.9838 | 29.4038 | 29.5153 | 28.1795 | 28.1767 | 28.1925 | 28.1489 | 28.1664
Solar SA | Capacity Factor | % | 30.6397 | 30.3296 | 30.4079 | 30.4878 | 30.7258 | 30.4772 | 30.692 | 30.6728 | 31.0278 | 31.0389 | 28.852 | 29.5041 | 28.1193 | 19.4051 | 19.3766
REZ Solar NSW | Capacity Factor | % | 30.6192 | 30.6108 | 30.7809 | 30.6236 | 30.6539 | 30.6551 | 30.5786 | 30.5846 | 30.7737 | 30.7205 | 30.641 | 30.2467 | 30.3417 | 30.2345 | 30.0318
REZ Wind NSW | Capacity Factor | % | 40.5916 | 40.7541 | 40.7301 | 41.3904 | 40.3386 | 40.0249 | 40.5411 | 40.7665 | 40.89 | 39.7925 | 39.8707 | 40.4794 | 40.9514 | 40.7463 | 41.3795
REZ Solar QLD | Capacity Factor | % | 30.6636 | 30.6608 | 30.7959 | 30.4647 | 30.8296 | 30.7249 | 30.614 | 30.6069 | 30.3994 | 29.4023 | 30.3022 | 30.2383 | 30.2559 | 30.4179 | 30.0388
REZ Wind QLD | Capacity Factor | % | 2027: 44.3413; 2028: 43.7723; 2029: 42.4106; 2030: 43.8898; 2031: 43.9845; 2032: 43.8013; 2033: 43.3806; 2034: 43.2019
REZ Solar SA | Capacity Factor | % | 30.8623 | 30.6632 | 30.7788 | 30.7305 | 31.1382 | 30.9124 | 31.0243 | 31.0648 | 31.2717 | 35.7256 | 34.7379 | 34.9271 | 33.4082 | 22.9327 | 23.0533
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9968 | 51.5014 | 51.7702 | 47.8704 | 48.195
Hydro NSW | Capacity Factor | % | 19.7608 | 19.8247 | 21.1245 | 22.4589 | 22.8272 | 23.4904 | 23.9781 | 24.6095 | 24.7989 | 22.3604 | 23.6225 | 23.2448 | 22.6746 | 21.4532 | 22.2405
Hydro QLD | Capacity Factor | % | 38.2234 | 38.2561 | 39.1489 | 40.638 | 41.0269 | 42.0088 | 42.5627 | 42.6695 | 43.018 | 43.2344 | 42.7561 | 42.8338 | 42.7402 | 42.4038 | 42.5291
Hydro VIC | Capacity Factor | % | 15.3432 | 15.2343 | 15.7433 | 15.5424 | 15.6609 | 15.3225 | 15.3223 | 15.3582 | 15.5051 | 15.4066 | 15.4343 | 15.297 | 15.3977 | 15.4236 | 15.4875
Hydro TAS | Capacity Factor | % | 52.6769 | 50.9913 | 52.0059 | 51.5415 | 51.658 | 51.7042 | 52.2123 | 52.3728 | 52.7521 | 52.5714 | 52.3159 | 52.4967 | 52.6207 | 52.7777 | 52.862
Large Scale Storage SA | Capacity Factor | % | 6.2878 | 6.3311 | 6.3967 | 6.0585 | 4.7873 | 4.4922 | 4.0971 | 4.0406 | 3.5359 | 3.0838 | 3.2396 | 3.2009 | 3.1819 | 3.1934 | 3.2667
Large Scale Storage QLD | Capacity Factor | % | 10.8501 | 9.5782 | 11.036 | 11.7489 | 11.9171 | 11.7802 | 11.3763 | 11.4463 | 12.3034 | 13.3499 | 12.1704 | 11.9828 | 12.0777 | 11.9883 | 12.2252
Large Scale Storage VIC | Capacity Factor | % | 6.7793 | 9.1012 | 11.3268 | 12.0466 | 10.2668 | 10.9139 | 9.5481 | 10.3006 | 9.2316 | 8.3576 | 10.9588 | 10.6337 | 10.5659 | 10.1269 | 10.0083
Distributed Storage NSW | Capacity Factor | % | 0.61664 | 1.1816 | 1.6333 | 0.89969 | 0.7702 | 1.682 | 1.3507 | 0.68574 | 0.1098 | 0.24595 | 0.9703 | 0.84167 | 0.90702 | 1.797 | 1.9723
Distributed Storage QLD | Capacity Factor | % | 9.4952 | 9.0267 | 10.0498 | 10.2263 | 10.5525 | 10.3292 | 9.8762 | 9.9958 | 11.0393 | 12.479 | 10.6262 | 10.4291 | 10.5676 | 10.3477 | 9.9189
Distributed Storage SA | Capacity Factor | % | 15.6288 | 15.9072 | 16.3171 | 15.8285 | 14.1651 | 13.5639 | 11.9687 | 11.6136 | 10.2479 | 8.7794 | 8.7197 | 8.4277 | 8.4457 | 8.4044 | 7.9472
Distributed Storage TAS | Capacity Factor | % | 0.60913 | 1.2408 | 1.679 | 0.94749 | 0.75992 | 1.7042 | 1.4858 | 0.79571 | 0.15859 | 0.30634 | 1.2649 | 1.0783 | 1.1102 | 1.9684 | 2.1647
Distributed Storage VIC | Capacity Factor | % | 13.7836 | 14.1119 | 14.517 | 15.9061 | 16.0409 | 16.1292 | 13.7727 | 14.6873 | 12.7303 | 10.9828 | 13.1271 | 12.6873 | 11.9289 | 10.5156 | 9.5061
New Natural Gas NSW | Capacity Factor | % |  |  |  | 4.1685 | 4.6052 | 4.3995 | 4.3049 | 3.4673 | 5.4153 | 14.0887 | 20.0366 | 36.3767 | 37.9093 | 46.831 | 42.2982
New Natural Gas VIC | Capacity Factor | % |  | 1.6 | 2.6049 | 4.8165 | 4.6536 | 5.0909 | 3.6196 | 1.9984 | 6.5504 | 8.9738 | 7.9445 | 12.6442 | 15.6186 | 30.008 | 30.7764
New Natural Gas SA | Capacity Factor | % | [6 empty] | 22.5265 | 16.0224 | 34.4899 | 40.8284 | 40.7991 | 42.4572 | 45.1199 | 47.3392 | 47.1423
Pumped Hydro SA | Capacity Factor | % | [5 empty] | 22.1808 | 21.1611 | 21.969 | 19.7933 | 15.6987 | 18.8121 | 18.108 | 17.6496 | 15.9943 | 16.7506
Pumped Hydro NSW | Capacity Factor | % | 2029: 17.6686; 2030: 19.5071; 2031: 19.5047; 2032: 18.6277; 2033: 17.3072; 2034: 18.4898
Pumped Hydro QLD | Capacity Factor | % | 2028: 24.7003; 2029: 24.8189; 2030: 24.4872; 2031: 24.3949; 2032: 24.4875; 2033: 24.5069; 2034: 24.5929
Pumped Hydro VIC | Capacity Factor | % | 2029: 16.1464; 2030: 18.0601; 2031: 17.3339; 2032: 16.545; 2033: 14.9891; 2034: 15.067

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 1189782.509 | 1170331.9466 | 1149092.2292 | 1172829.6621 | 1203793.143 | 1217804.1674 | 1353957.4494 | 1442245.2064 | 1552319.6204 | 1350042.0664 | 1357257.1292 | 1369000.1595 | 1406883.4307 | 1298322.6939 | 1456357.2529
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 963212.0595 | 969214.4397 | 1090737.2993 | 1222863.0055 | 1267895.4154 | 1331573.2983 | 1204667.2864 | 1107742.3706 | 1148023.2481 | 1178144.2512 | 895198.023 | 849113.1433 | 883635.7183 | 894696.8256 | 940210.7504
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 322072.4578 | 313959.9952 | 288339.1724 | 287523.0804 | 313450.8721 | 309086.7393 | 281587.7988 | 311402.3914 | 234410.578 | 236691.326 | 250048.1508 | 253815.0158 | 231045.3356 | 150511.6982 | 151275.0796
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 2948.2301 | 6653.3698 | 53446.226 | 149800.3308 | 173988.6552 | 249517.2575 | 255191.6579 | 179073.3329 | 278846.0643 | 492295.8567 | 552533.9739 | 418224.2624 | 499311.9975 | 639529.0134 | 584097.1671
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 219060.9712 | 219885.558 | 200892.2407 | 209099.3265 | 208752.3202 | 241577.5125 | 292124.6793 | 308176.59 | 342381.3834 | 366103.2343 | 557974.9657 | 682787.1273 | 765677.9024 | 805431.5474 | 789089.741
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 9921.2053 | 4206.969 | 10989.5813 | 17504.7612 | 16506.25 | 15298.2567 | 4802.9913 | 660.6472 | 4350.6046 | 4404.4883 | 3248.8974 | 5361.1087 | 10414.6318 | 54192.9623 | 52130.7789
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 467031.1069 | 462282.8109 | 481108.5361 | 398468.6582 | 76520.4814 | 101818.0642 | 98415.1211 | 71681.2543 | 125451.1854 | 152520.6214 | 146959.9879 | 112375.1994 | 121223.2712 | 143335.5589 | 138418.3424
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 93.2332 | 60.928 | 62.9496 | 21.5652 | 21.2937 | 0 | 0 | 0 | 0 | 40.4642 | 20.0588 | 19.9008 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 16.3194 | 0 | 0 | 0 | 129.6865 | 210.6555 | 0 | 0 | 0 | 795.2362 | 1989.7182 | 1062.6753 | 858.6706
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 91.5884 | 0 | 0 | 2.3282 | 1075.8143 | 1298.1667 | 214.4421 | 30.6979 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 24885.8455 | 25477.1569 | 32094.8728 | 41667.3937 | 44720.3398 | 51291.0802 | 55085.459 | 58396.4861 | 61634.2061 | 42638.5204 | 53113.4709 | 49892.9762 | 45961.6154 | 37039.1669 | 42919.1864
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6985.393 | 7216.2234 | 10101.5941 | 14773.7761 | 15795.7077 | 19078.5764 | 20683.6756 | 21070.5171 | 21773.7421 | 22574.2399 | 21090.3397 | 21379.227 | 20894.9701 | 20126.3831 | 20188.1755
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22566.6855 | 22315.473 | 23262.3337 | 23034.7378 | 23176.9378 | 22585.7928 | 22551.9844 | 22611.2844 | 22795.4207 | 22678.5516 | 22710.5727 | 22529.1623 | 22650.9531 | 22678.0942 | 22783.9291
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62322.7747 | 62358.79 | 62426.7157 | 62283.7573 | 62384.2632 | 62292.2581 | 62288.7293 | 62376.9058 | 62463.1846 | 62355.3504 | 62337.103 | 62334.5847 | 62384.7994 | 62353.6407 | 62619.9229
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 14161.9851 | 15240.9416 | 81665.7034 | 77730.9388 | 60850.3501 | 95040.6204 | 247297.2219 | 434632.3485 | 789040.6778 | 854775.6787 | 1055948.3399 | 953744.0822
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 5227.3006 | 10860.9363 | 20082.3484 | 18977.7066 | 20296.0667 | 59203.445 | 39862.6824 | 177945.2644 | 248859.7022 | 220315.8032 | 350643.9629 | 450303.7131 | 865165.8759 | 887316.4176
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 56093.6052 | 37632.421 | 81034.0909 | 96962.1081 | 96892.3862 | 106028.8387 | 115642.8279 | 121330.926 | 120826.1162
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 377.7167 | 360.2186 | 3079.9609 | 5271.371 | 12193.1128 | 14621.3767 | 19607.6961 | 23591.0085 | 30507.6673 | 31970.0233
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7746.3689 | 8562.6597 | 8553.1319 | 18051.1125 | 32844.8051 | 35101.4697
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 791.6683 | 7034.9922 | 26178.7975 | 26079.5962 | 26170.0732 | 28284.3461 | 28398.2566
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6061.221 | 6780.2087 | 8214.993 | 8248.8642 | 7453.9005 | 7492.7515

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 7449 | 7449 | 7449 | 5769 | 5769 | 5769 | 5769 | 5769
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3718 | 3718 | 3718 | 3718 | 3718 | 2190 | 2190
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2665.1 | 2665.1 | 2425.1 | 2425.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4690 | 5190 | 5280 | 5280 | 5280 | 5580 | 5580 | 5980 | 5980 | 5980 | 5980 | 5980
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1308 | 1445 | 2874 | 2874
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 854.7 | 1858.7 | 2727.7 | 3525.7 | 4449.7 | 5301.7 | 5301.7 | 5301.7 | 5301.7 | 5301.7
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190 | 397 | 695 | 805 | 805 | 805 | 805 | 805
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 406 | 1061 | 1061 | 1500 | 3213 | 3213
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 234 | 395 | 395 | 433 | 766 | 766
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 5.59 | 12.46 | 21.31 | 31.74 | 43.57 | 56.44 | 69.91 | 83.91 | 98.23 | 112.73 | 127.42 | 140.9 | 152.74 | 164.24 | 181.53
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 3.04 | 6.87 | 11.52 | 16.75 | 22.28 | 28.06 | 33.93 | 39.97 | 46.16 | 52.48 | 58.9 | 65.39 | 71.95 | 78.45 | 91.54
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 1.04 | 2.36 | 4.06 | 6.08 | 8.37 | 10.93 | 13.7 | 16.62 | 19.68 | 22.86 | 26.14 | 29.42 | 32.59 | 35.63 | 40.69
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 0.25 | 0.53 | 0.88 | 1.31 | 1.65 | 1.94 | 2.16 | 2.37 | 2.56 | 2.72 | 2.88 | 3.04 | 3.19 | 3.33 | 3.54
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 3.46 | 7.6 | 12.15 | 17.1 | 22.33 | 27.93 | 33.72 | 39.67 | 45.64 | 51.68 | 57.85 | 64.13 | 70.53 | 76.91 | 88.86
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 315 | 315 | 1815 | 1815 | 1815 | 1815 | 1815 | 2243 | 2243 | 2243 | 2243 | 2243
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 315 | 402 | 402 | 402 | 402 | 1688 | 2108 | 2869 | 2869 | 2869 | 2869 | 2869 | 2869 | 2869
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 17 | 17 | 140 | 266 | 776 | 776 | 1080 | 1335 | 1906 | 1906
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 438 | 438 | 438 | 968 | 1896 | 1896
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 283 | 1067 | 1067 | 1067 | 1152 | 1152
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 375 | 375 | 473 | 497 | 497 | 497

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 19.9259 | 19.8302 | 19.6406 | 21.458 | 22.7752 | 23.9165 | 24.2656 | 25.1498 | 26.3792 | 26.496 | 26.6655 | 26.8729 | 27.3276 | 27.7256 | 28.1803
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.6892 | 21.6554 | 21.5595 | 21.9069 | 22.5971 | 23.0252 | 23.289 | 23.6382 | 23.9037 | 24.0965 | 21.8135 | 21.918 | 22.2336 | 22.5359 | 22.7455
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.7303 | 8.7303 | 8.7999 | 8.8616 | 8.8616 | 8.5123 | 8.5123
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 109.7035 | 109.7035 | 109.7035 | 106.2914 | 102.8794 | 99.4673 | 96.0552 | 96.0587 | 96.0791 | 96.0783 | 96.0717 | 101.5411 | 101.5421 | 101.5423 | 101.5428
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 91.4274 | 91.4274 | 103.1727 | 96.4418 | 93.2394 | 88.2728 | 83.3062 | 83.339 | 84.4191 | 82.6223 | 86.8951 | 90.3048 | 90.3048 | 90.3048 | 90.3048
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 160.2259 | 132.6306 | 152.8739 | 150.6004 | 152.9029 | 149.2414 | 136.8531 | 115.7142 | 147.4271 | 116.7922 | 137.3651 | 117.662 | 137.6534 | 146.9777 | 141.1461
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 125.3222 | 118.4226 | 125.6701 | 123.1744 | 135.1883 | 132.6675 | 130.1467 | 130.1565 | 130.4628 | 109.3986 | 130.4617 | 134.5856 | 134.5854 | 134.5852 | 134.5852
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh | 2022: 439.7229; 2023: 432.8041; 2024: 426.4705; 2025: 420.6241; 2026: 415.1948; 2031: 393.9627; 2032: 390.4958; 2033: 387.3371
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh | 2022: 410.3627; 2026: 387.4724; 2027: 383.0341; 2031: 367.658; 2032: 364.4226; 2033: 361.4748; 2034: 358.7272
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh | 2020: 460.748; 2023: 441.9842; 2024: 438.1292; 2025: 432.1229; 2026: 425.2335; 2027: 417.2103
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.0094649 | 0.0095757 | 0.010222 | 0.010755 | 0.010895 | 0.011103 | 0.011163 | 0.01121 | 0.011238 | 0.010834 | 0.011122 | 0.01104 | 0.010935 | 0.010617 | 0.010846
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098565 | 0.0098459 | 0.0098529 | 0.009853 | 0.0098552 | 0.0098539 | 0.0098533 | 0.0098538 | 0.0098543 | 0.0098552 | 0.0098546 | 0.0098604 | 0.0098556 | 0.0098592 | 0.0098532
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 111.7501 | 108.5967 | 105.4434 | 102.29 | 99.1367 | 99.1394 | 99.1555 | 99.1549 | 99.1497 | 103.4681 | 103.4688 | 103.469
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  | 107.0756 | 107.0756 | 107.0756 | 104.5069 | 101.9381 | 99.3694 | 96.8007 | 96.8692 | 99.1001 | 99.0997 | 99.0983 | 103.4303 | 103.4299 | 103.4297
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | [6 empty] | 88.3361 | 82.745 | 82.7754 | 83.7785 | 83.7785 | 88.6207 | 91.2189 | 91.2189 | 91.2189
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | [5 empty] | 0.011435 | 0.011431 | 0.011431 | 0.011429 | 0.011426 | 0.011434 | 0.011445 | 0.011429 | 0.011424 | 0.011431
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh | 2029: 0.011427; 2030: 0.01144; 2031: 0.011429; 2032: 0.011428; 2033: 0.011426; 2034: 0.01143
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2028: 0.011434; 2029: 0.011434; 2030: 0.011438; 2031: 0.011438; 2032: 0.011434; 2033: 0.011437; 2034: 0.011443
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh | 2029: 0.011427; 2030: 0.011428; 2031: 0.011438; 2032: 0.011452; 2033: 0.011422; 2034: 0.011422

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 55147.8726 | 54556.4793 | 52924.2793 | 49262.417 | 48777.2696 | 45807.9061 | 49469.1568 | 52275.5649 | 53548.0952 | 46133.3999 | 46109.7728 | 46161.1788 | 46645.4448 | 42341.436 | 46851.6597
Black Coal QLD | Black Coal | QLD | Generation | GWh | 41273.2338 | 41391.9304 | 45788.6634 | 49918.7903 | 50422.1583 | 51943.0437 | 47206.0555 | 43228.0732 | 43365.5993 | 44303.8835 | 35998.7389 | 33794.219 | 33929.0733 | 34993.7509 | 36386.6361
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 31647.5725 | 30720.5851 | 28391.0348 | 28194.1509 | 30261.6195 | 29836.5054 | 27089.5981 | 29920.2874 | 21939.3603 | 22145.9752 | 23368.4867 | 23538.8137 | 21579.1578 | 14439.4967 | 14512.5837
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 28.3562 | 66.8074 | 501.1114 | 1473.4591 | 1747.3225 | 2588.3652 | 2740.3542 | 1933.191 | 3002.2074 | 5144.4413 | 5700.0239 | 4380.5292 | 5090.3327 | 6290.9515 | 5816.9818
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 1949.067 | 1959.5803 | 1882.8551 | 2292.2812 | 2520.4887 | 3277.4147 | 4391.0971 | 4584.3154 | 5095.2488 | 5441.1957 | 7230.5173 | 8164.3779 | 8923.4901 | 9262.7504 | 9110.5108
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 69.1729 | 28.9348 | 77.7662 | 126.4383 | 119.3223 | 113.0629 | 36.8686 | 5.1271 | 32.599 | 34.013 | 24.7363 | 41.131 | 79.6392 | 412.0617 | 397.1793
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5566.5341 | 5518.2044 | 5708.2599 | 4718.9053 | 763.9928 | 1057.3407 | 1089.9232 | 806.3617 | 1292.8116 | 1563.808 | 1510.0533 | 1200.0933 | 1282.3216 | 1468.0943 | 1429.3771
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0.20493 | 0.13601 | 0.14256 | 0.0495 | 0.0495 | 0 | 0 | 0 | 0 | 0.099 | 0.0495 | 0.0495 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0.038372 | 0 | 0 | 0 | 0.32246 | 0.5297 | 0 | 0 | 0 | 2.0809 | 5.2514 | 2.8269 | 2.3012
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0.18724 | 0 | 0 | 0.0050094 | 2.3158 | 2.8314 | 0.47499 | 0.068673 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4267.7218 | 4264.6331 | 4218.3685 | 4313.5701 | 4286.9172 | 4205.859 | 4263.4298 | 4265.3824 | 4247.9976 | 4239.4974 | 4207.1286 | 4256.4892 | 4277.7589 | 4220.9599 | 4314.5088
Wind QLD | Wind | QLD | Generation | GWh | 1965.5405 | 1965.6988 | 1949.4961 | 1999.7754 | 1977.3603 | 1936.6756 | 1963.6397 | 1954.0617 | 1880.6529 | 1845.8296 | 1858.8575 | 1905.2469 | 1914.1323 | 1867.1985 | 1930.6276
Wind VIC | Wind | VIC | Generation | GWh | 8457.215 | 10652.7821 | 11787.3207 | 13151.114 | 15056.3075 | 15078.6597 | 15130.5529 | 15035.6109 | 16000.8006 | 15920.3233 | 16888.4342 | 17047.8277 | 17106.4518 | 16978.8966 | 17008.492
Wind SA | Wind | SA | Generation | GWh | 5859.5564 | 5839.6993 | 5726.2338 | 5779.9759 | 5970.8009 | 5823.1799 | 5876.44 | 5872.5385 | 5839.701 | 5924.2727 | 5566.5827 | 5641.4322 | 5551.6661 | 5376.3456 | 5437.9597
Wind TAS | Wind | TAS | Generation | GWh | 1337.8904 | 1329.4375 | 1335.8734 | 1342.6971 | 1307.4983 | 1325.9839 | 1329.2593 | 1327.9742 | 1342.5883 | 1288.0444 | 1322.4097 | 1331.6559 | 1335.856 | 1336.5085 | 1349.9414
Solar NSW | Solar | NSW | Generation | GWh | 1095.188 | 1094.8929 | 1101.0413 | 1091.8728 | 1096.3688 | 1097.3713 | 1091.2967 | 1093.5142 | 1101.4004 | 1099.3006 | 1098.5059 | 1093.0318 | 1095.9934 | 1102.7345 | 1094.7776
Solar QLD | Solar | QLD | Generation | GWh | 3245.0966 | 3242.2924 | 3251.0049 | 3240.0081 | 3252.5148 | 3249.4527 | 3238.506 | 3190.7064 | 2906.5935 | 2612.1576 | 2924.8109 | 2969.8559 | 2943.2181 | 2963.6109 | 2927.9959
Solar VIC | Solar | VIC | Generation | GWh | 1803.4176 | 1815.6206 | 1816.7319 | 1786.906 | 2567.3673 | 3567.3629 | 3567.4813 | 3548.3615 | 3859.5171 | 3882.4991 | 4196.2801 | 4198.4279 | 4206.5321 | 4229.72 | 4226.6316
Solar SA | Solar | SA | Generation | GWh | 859.2641 | 850.8955 | 855.2415 | 854.1985 | 862.5865 | 856.1575 | 861.0835 | 861.6333 | 869.9194 | 869.9412 | 787.9078 | 812.7019 | 757.9306 | 422.3328 | 420.0319
REZ Solar NSW | Solar | NSW | Generation | GWh | 3309.1182 | 3310.6654 | 3327.0715 | 3316.4858 | 3314.6586 | 3311.7376 | 3306.1686 | 3307.4197 | 3328.0344 | 3325.0826 | 3310.3467 | 3499.3829 | 3871.2241 | 7602.4601 | 7552.6586
REZ Wind NSW | Wind | NSW | Generation | GWh | 480.0358 | 481.9574 | 481.6741 | 489.4832 | 477.0437 | 473.3341 | 479.4387 | 482.1045 | 483.5648 | 470.5856 | 471.5115 | 478.7092 | 484.2908 | 481.8661 | 489.3537
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.1432 | 1797.3783 | 1803.9259 | 1785.8335 | 1806.5204 | 2300.7987 | 4992.751 | 7338.8004 | 9469.5999 | 11533.9727 | 14065.7064 | 14042.8264 | 14044.1444 | 14141.4657 | 13945.2435
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 738.0162 | 1522.2776 | 2586.6236 | 3112.1804 | 3118.6798 | 3102.7612 | 3078.9694 | 3063.9061
REZ Solar SA | Solar | SA | Generation | GWh | 445.7347 | 443.3152 | 444.5024 | 444.4626 | 449.692 | 446.3535 | 448.0631 | 448.6038 | 451.3703 | 1256.436 | 2993.7658 | 3019.5247 | 3904.3239 | 5538.4203 | 5572.2917
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 1023.3771 | 1764.5903 | 1782.0531 | 1963.6865 | 3333.6885 | 3356.95
Hydro NSW | Hydro | NSW | Generation | GWh | 3218.4876 | 3248.8511 | 3641.5312 | 4173.5574 | 4346.738 | 4704.5598 | 4922.4633 | 5114.2122 | 5305.5803 | 4224.6561 | 4817.5681 | 4634.5776 | 4417.0549 | 3905.5324 | 4247.5193
Hydro QLD | Hydro | QLD | Generation | GWh | 770.4138 | 783.4338 | 946.6399 | 1211.2692 | 1269.9057 | 1455.1752 | 1546.452 | 1568.2036 | 1609.3698 | 1654.2564 | 1569.947 | 1585.0051 | 1559.3814 | 1514.0102 | 1519.7585
Hydro VIC | Hydro | VIC | Generation | GWh | 3107.2349 | 3072.6451 | 3203.0195 | 3171.6816 | 3191.2613 | 3109.8658 | 3105.2106 | 3113.3757 | 3138.7297 | 3122.6378 | 3127.0469 | 3102.0682 | 3118.8378 | 3122.5749 | 3137.1474
Hydro TAS | Hydro | TAS | Generation | GWh | 8581.3 | 8586.259 | 8595.6118 | 8575.9276 | 8589.7664 | 8577.0981 | 8576.6122 | 8588.7534 | 8600.6332 | 8585.7854 | 8583.2729 | 8582.9261 | 8589.8403 | 8585.55 | 8622.2147
Large Scale Storage SA | Battery | SA | Generation | GWh | 88.7369 | 89.1159 | 90.6882 | 87.4325 | 71.7295 | 66.5957 | 61.0241 | 60.1139 | 53.3315 | 47.1781 | 49.4446 | 48.9715 | 48.8539 | 49.1567 | 50.104
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.0712 | 69.3149 | 80.068 | 85.4695 | 86.5771 | 85.4363 | 81.6073 | 83.3893 | 93.3841 | 106.3214 | 93.4018 | 91.1319 | 92.1107 | 91.6181 | 93.368
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 60.3024 | 76.9831 | 95.2518 | 103.1123 | 89.4753 | 95.327 | 82.7384 | 89.9795 | 79.6162 | 71.3844 | 95.3866 | 92.3861 | 91.1806 | 85.8954 | 84.7483
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.30196 | 1.2898 | 3.0491 | 2.5015 | 2.9397 | 8.3162 | 8.272 | 5.0406 | 0.94485 | 2.4288 | 10.8305 | 10.3886 | 12.1359 | 25.8545 | 31.3629
Distributed Storage QLD | Battery | QLD | Generation | GWh | 2.5286 | 5.4324 | 10.1418 | 15.005 | 20.5956 | 25.3898 | 29.3547 | 34.999 | 44.6386 | 57.3689 | 54.8275 | 59.7395 | 66.6059 | 71.1118 | 79.5388
Distributed Storage SA | Battery | SA | Generation | GWh | 1.4238 | 3.2886 | 5.8033 | 8.4304 | 10.386 | 12.987 | 14.3639 | 16.9084 | 17.6671 | 17.581 | 19.9668 | 21.7199 | 24.1114 | 26.2316 | 28.3273
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.01334 | 0.057606 | 0.12943 | 0.10873 | 0.10984 | 0.28962 | 0.28114 | 0.1652 | 0.035564 | 0.072993 | 0.31911 | 0.28716 | 0.31024 | 0.5742 | 0.67127
Distributed Storage VIC | Battery | VIC | Generation | GWh | 4.1778 | 9.3952 | 15.4511 | 23.8268 | 31.3778 | 39.4628 | 40.6828 | 51.0398 | 50.8966 | 49.7209 | 66.5235 | 71.2746 | 73.7019 | 70.847 | 73.9969
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 115.0249 | 127.0758 | 699.4884 | 684.4595 | 551.2794 | 861.0078 | 2240.0263 | 3936.9357 | 7147.5384 | 7448.6765 | 9201.6722 | 8311.0357
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 44.1497 | 91.7314 | 169.6153 | 163.8769 | 179.2781 | 535.2193 | 369.0285 | 1646.2713 | 2255.323 | 1996.6472 | 3177.8067 | 3925.3358 | 7541.7516 | 7734.8583
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 552.5303 | 392.9982 | 845.9676 | 1001.4397 | 1000.7196 | 1041.3901 | 1106.7011 | 1161.1362 | 1156.3052
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 33.0316 | 31.5132 | 269.4276 | 461.2161 | 1067.159 | 1278.8033 | 1713.1663 | 2064.0474 | 2670.4926 | 2796.7784
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 677.924 | 748.4655 | 748.3738 | 1579.5664 | 2874.5469 | 3070.9654
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69.2398 | 615.2799 | 2288.8003 | 2280.168 | 2288.8235 | 2473.1159 | 2481.7948
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 530.4096 | 593.2746 | 718.226 | 720.3234 | 652.584 | 655.9766

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76 | 137 | 1429 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 185 | 1004 | 869 | 798 | 924 | 552 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 190 | 207 | 288 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120 | 655 | 0 | 439 | 1125 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 161 | 0 | 38 | 0 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 450 | 500 | 90 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 60114.3147 | 59470.5746 | 57747.9783 | 53828.3754 | 53247.8877 | 49988.0892 | 54003.0485 | 57084.1966 | 58472.6311 | 50441.0931 | 50415.135 | 50471.5226 | 51000.971 | 46337.0542 | 51226.9512
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 83688.0434 | 83877.7918 | 90966.6593 | 103563.0224 | 105097.6618 | 110448.36 | 94443.0186 | 81636.7312 | 88170.262 | 87893.1868 | 79762.1538 | 78022.0143 | 72287.275 | 79291.7222 | 80725.221
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 35856.9139 | 34805.6331 | 32141.9497 | 31920.4169 | 34285.5234 | 33804.8454 | 30736.2369 | 33899.8877 | 24868.5671 | 25103.6072 | 26486.3086 | 26679.8529 | 24433.7445 | 16258.1184 | 16340.3046
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 24885.8455 | 25477.1569 | 32094.8728 | 41667.3937 | 44720.3398 | 51291.0802 | 55085.459 | 58396.4861 | 61634.2061 | 42638.5204 | 53113.4709 | 49892.9762 | 45961.6154 | 37039.1669 | 42919.1864
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6985.393 | 7216.2234 | 10101.5941 | 14773.7761 | 15795.7077 | 19078.5764 | 20683.6756 | 21070.5171 | 21773.7421 | 22574.2399 | 21090.3397 | 21379.227 | 20894.9701 | 20126.3831 | 20188.1755
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62322.7747 | 62358.79 | 62426.7157 | 62283.7573 | 62384.2632 | 62292.2581 | 62288.7293 | 62376.9058 | 62463.1846 | 62355.3504 | 62337.103 | 62334.5847 | 62384.7994 | 62353.6407 | 62619.9229
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22566.6855 | 22315.473 | 23262.3337 | 23034.7378 | 23176.9378 | 22585.7928 | 22551.9844 | 22611.2844 | 22795.4207 | 22678.5516 | 22710.5727 | 22529.1623 | 22650.9531 | 22678.0942 | 22783.9291
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 2.2128 | 1.4686 | 1.5394 | 0.5345 | 0.5345 | 0 | 0 | 0 | 0 | 1.069 | 0.5345 | 0.5345 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0.41434 | 0 | 0 | 0 | 3.482 | 5.7197 | 0 | 0 | 0 | 22.4696 | 56.7048 | 30.525 | 24.8485
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 2.1522 | 0 | 0 | 0.057441 | 26.4932 | 32.4073 | 5.4421 | 0.79049 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 232.912 | 536.7796 | 4187.7079 | 12265.985 | 14652.8811 | 22085.6591 | 23418.9344 | 16408.2658 | 25562.5486 | 45264.6102 | 50905.0669 | 35589.789 | 42113.4477 | 53319.3814 | 48867.2645
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16374.761 | 16468.2829 | 14916.8715 | 17047.9441 | 18776.9998 | 24487.4139 | 33048.1096 | 34722.6554 | 38351.3522 | 40852.7102 | 55403.4956 | 64053.4032 | 71552.1717 | 75066.7617 | 73614.795
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 35711.8865 | 35472.8405 | 36937.1603 | 31984.6539 | 8703.6889 | 12060.0905 | 12466.3856 | 9236.532 | 14774.7155 | 17861.8333 | 17251.523 | 13786.2177 | 14719.1048 | 16803.6336 | 16374.4853
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 831.1406 | 361.3312 | 948.7357 | 1541.3056 | 1423.2474 | 1354.3376 | 412.8282 | 57.4834 | 373.1403 | 390.7146 | 281.2284 | 463.4741 | 862.0144 | 4464.2017 | 4303.4217
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 1179.2959 | 1302.848 | 7171.5224 | 7017.4388 | 5652.0064 | 8827.5046 | 22965.9257 | 40363.5328 | 73280.3182 | 76367.7443 | 94340.3763 | 85209.1036
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 5781.6314 | 4112.3004 | 8852.1356 | 10478.9827 | 10471.4476 | 10897.0197 | 11580.4292 | 12150.0332 | 12099.4817
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 452.6463 | 940.4783 | 1738.9856 | 1680.1517 | 1838.0528 | 5487.3494 | 3783.4737 | 16878.4383 | 23122.7556 | 20470.6754 | 32580.5431 | 40244.6046 | 77321.9985 | 79301.8305
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3718 | 3718 | 3718 | 3718 | 3718 | 2190 | 2190
Natural Gas | MW | 2495 | 2810 | 2897 | 2897 | 2897 | 2897 | 4183 | 4603 | 5364 | 5364 | 5364 | 5364 | 4854 | 4854 | 4854
Wind | MW | 218.55 | 279.75 | 318 | 351.75 | 389.25 | 396 | 396 | 396 | 418.5 | 418.5 | 448.5 | 448.5 | 448.5 | 448.5 | 448.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2594 | 2594 | 2692 | 2716 | 2716 | 2716
Battery | MW | 108.46 | 112.6 | 117.15 | 122.1 | 127.33 | 132.93 | 138.72 | 144.67 | 150.64 | 156.68 | 162.85 | 169.13 | 175.53 | 181.91 | 193.86
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 9711.135 | 9737.1577 | 9727.5569 | 9567.8624 | 9847.4707 | 9962.2814 | 10047.167 | 10271.591 | 10040.2541 | 10147.5487 | 10313.7856 | 10312.9754 | 10401.7437 | 10406.8475 | 10205.9113
Peak Load + Min Capacity Reserves | MW | 10209.135 | 10235.1577 | 10225.5569 | 10065.8624 | 10345.4707 | 10460.2814 | 10545.167 | 10769.591 | 10538.2541 | 10645.5487 | 10811.7856 | 10810.9754 | 10899.7437 | 10904.8475 | 10703.9113

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.0013 | 37.0114 | 40.7516 | 42.6955 | 44.2292 | 45.7817 | 48.2053 | 46.0791 | 53.7329 | 53.5051 | 53.839 | 52.9092 | 54.2377 | 57.5082 | 57.3936
Wind | GWh | 8457.215 | 10652.7821 | 11787.3207 | 13151.114 | 15056.3075 | 15078.6597 | 15130.5529 | 15035.6109 | 16000.8006 | 15920.3233 | 16888.4342 | 17047.8277 | 17106.4518 | 16978.8966 | 17008.492
Solar | GWh | 1803.4176 | 1815.6206 | 1816.7319 | 1786.906 | 2567.3673 | 3567.3629 | 3567.4813 | 3548.3615 | 3859.5171 | 3882.4991 | 4196.2801 | 4198.4279 | 4206.5321 | 4229.72 | 4226.6316
Hydro | GWh | 3107.2349 | 3072.6451 | 3203.0195 | 3171.6816 | 3191.2613 | 3109.8658 | 3105.2106 | 3113.3757 | 3138.7297 | 3653.0475 | 3720.3214 | 3820.2943 | 3839.1611 | 3775.1588 | 3793.124
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 47435.5732 | 49024.7839 | 48391.5674 | 49938.7749 | 54985.1253 | 55818.0721 | 53644.7123 | 56444.6163 | 51329.6354 | 52815.274 | 55353.5932 | 57169.1859 | 56266.8611 | 53069.2206 | 53520.9396

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 8 | 57 | 45 | 62 | 36 | 67 | 82 | 34 | 49 | 56 | 159 | 159
Avoid overload of Ararat - Waubra transmission line | Annual hours | 63 | 61 | 421 | 416 | 856 | 879 | 1008 | 876 | 1191 | 1242 | 965 | 987 | 1055 | 1288 | 1291
Avoid overload of Ballarat - Bendigo transmission line | Annual hours | 0 | 2 | 18 | 24 | 78 | 73 | 44 | 99 | 12 | 11 | 16 | 11 | 6 | 1 | 0
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 10 | 4 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 583 | 241 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2295 | 2114 | 2905 | 2249 | 1546 | 1431 | 1630 | 1452 | 1734 | 1832 | 1538 | 1608 | 1732 | 2140 | 2205
Avoid overload of Balranald - Darlington Point transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 653 | 673 | 896 | 744 | 15 | 54 | 96 | 60 | 116 | 163 | 467 | 442 | 687 | 1383 | 1395
Avoid overload of Bulgana - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 3 | 13 | 18 | 20 | 13 | 35 | 27 | 20 | 30 | 38 | 90 | 99
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Avoid overload of Buronga - Balranald transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 106 | 567 | 320 | 233 | 241 | 291 | 217 | 400 | 396 | 229 | 222 | 246 | 406 | 433
Avoid overload of Geelong - Keilor transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 1 | 4 | 3 | 3 | 5 | 4 | 9 | 10 | 15 | 71 | 65
Avoid overload of Horsham - Bulgana transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 5 | 59 | 386 | 347 | 355 | 289 | 347 | 367 | 296 | 288 | 295 | 279 | 315
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 62 | 65 | 121 | 113 | 156 | 630 | 638 | 586 | 659 | 710 | 1167 | 1166 | 1094 | 850 | 854
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victoria to New South Wales export stability constraint | Annual hours | 1812 | 2771 | 2967 | 3606 | 3953 | 4169 | 2993 | 3771 | 2371 | 2287 | 3302 | 3344 | 3081 | 3281 | 3005