## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 6.7793 | 9.1012 | 11.3268 | 11.1625 | 9.3522 | 8.3342 | 7.0266 | 7.7555 | 6.3981 | 5.6265 | 7.3983 | 7.109 | 7.2175 | 6.4733 | 6.5102
Large Scale Storage SA | Capacity Factor | % | 6.2878 | 6.3311 | 6.3967 | 5.9632 | 4.6994 | 4.542 | 4.1426 | 4.2211 | 3.567 | 3.1293 | 3.2586 | 3.202 | 3.2243 | 3.2116 | 3.293
Large Scale Storage QLD | Capacity Factor | % | 10.8501 | 9.5782 | 11.036 | 11.7738 | 11.961 | 11.7683 | 11.2763 | 11.4315 | 12.3259 | 13.361 | 12.3209 | 12.0382 | 12.2198 | 12.0351 | 12.2756

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 64.2551 | 63.5966 | 59.4912 | 68.5799 | 68.117 | 63.3721 | 68.2654 | 72.3507 | 73.7722 | 75.9635 | 75.8454 | 76.2532 | 76.6705 | 69.6769 | 76.8552
Black Coal QLD | Capacity Factor | % | 54.359 | 54.6592 | 62.2493 | 68.6389 | 69.3741 | 71.0134 | 64.3617 | 64.8428 | 65.0978 | 67.0415 | 70.709 | 66.9462 | 66.8666 | 69.0057 | 71.4887
Brown Coal VIC | Capacity Factor | % | 74.8406 | 72.5442 | 65.6765 | 66.5362 | 73.1968 | 71.1707 | 65.2579 | 71.344 | 68.5217 | 69.1271 | 71.8538 | 72.3526 | 64.6652 | 75.4359 | 75.7639
Natural Gas NSW | Capacity Factor | % | 0.1647 | 0.34626 | 2.7518 | 8.4419 | 10.6902 | 15.3414 | 15.7815 | 10.9734 | 16.7522 | 29.6631 | 32.8122 | 26.526 | 30.2794 | 35.5678 | 33.2235
Natural Gas QLD | Capacity Factor | % | 6.6169 | 6.6444 | 6.2914 | 7.8198 | 8.9059 | 11.828 | 15.8268 | 16.7462 | 18.1867 | 19.0029 | 25.832 | 27.7391 | 30.6841 | 31.7779 | 31.3264
Natural Gas VIC | Capacity Factor | % | 0.21415 | 0.078147 | 0.2062 | 0.40815 | 0.44286 | 0.38543 | 0.11706 | 0.024592 | 0.1086 | 0.10564 | 0.079832 | 0.12927 | 0.25065 | 1.3663 | 1.3732
Natural Gas SA | Capacity Factor | % | 11.9975 | 11.8306 | 13.0225 | 11.4684 | 4.1554 | 5.6486 | 5.1759 | 3.4053 | 6.2287 | 7.8831 | 7.6066 | 3.5785 | 4.0815 | 5.5547 | 5.2761
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0.046788 | 0.031451 | 0.018396 | 0.011301 | 0.011301 | 0 | 0 | 0 | 0 | 0.022603 | 0.011301 | 0.011301 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0.0011104 | 0 | 0 | 0 | 0.0085571 | 0.014162 | 0 | 0 | 0 | 0.034799 | 0.14648 | 0.068718 | 0.021688
Liquid Fuel SA | Capacity Factor | % | 0.008607 | 0 | 0 | 0.00019062 | 0.089799 | 0.12448 | 0.020654 | 0.0032789 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Capacity Factor | % | 32.5603 | 32.5419 | 32.2037 | 32.9486 | 32.7037 | 32.0869 | 32.5356 | 32.5412 | 32.3975 | 32.3148 | 32.0835 | 32.4678 | 32.6564 | 32.2225 | 32.9495
Wind QLD | Capacity Factor | % | 33.1894 | 33.1945 | 32.9209 | 33.7699 | 33.3914 | 32.7044 | 33.1394 | 32.8612 | 31.4894 | 30.9859 | 31.4008 | 32.1764 | 32.2673 | 31.3971 | 32.5125
Wind VIC | Capacity Factor | % | 33.4758 | 33.0555 | 32.1898 | 32.3963 | 33.2113 | 33.0757 | 33.3167 | 33.036 | 33.3901 | 33.4319 | 32.9622 | 33.2075 | 33.3978 | 33.1987 | 33.2902
Wind SA | Capacity Factor | % | 32.0183 | 31.9339 | 31.3258 | 31.6019 | 32.7371 | 31.8515 | 32.1066 | 32.1031 | 31.7462 | 32.2551 | 30.523 | 30.6928 | 30.2928 | 29.5668 | 29.872
Wind TAS | Capacity Factor | % | 36.3637 | 36.1351 | 36.3117 | 36.4999 | 35.54 | 36.0442 | 36.1355 | 36.1172 | 36.4939 | 35.006 | 35.9469 | 36.1913 | 36.2964 | 36.3255 | 36.689
Solar NSW | Capacity Factor | % | 28.4164 | 28.417 | 28.5704 | 28.3255 | 28.4536 | 28.4694 | 28.3017 | 28.3513 | 28.5549 | 28.5703 | 28.4977 | 28.341 | 28.4259 | 28.6142 | 28.401
Solar QLD | Capacity Factor | % | 30.4689 | 30.4381 | 30.5253 | 30.4061 | 30.5373 | 30.5094 | 30.3924 | 29.8582 | 26.889 | 24.1114 | 27.4838 | 27.9035 | 27.5229 | 27.8077 | 27.4993
Solar VIC | Capacity Factor | % | 29.1219 | 29.3954 | 29.4856 | 29.3619 | 29.6672 | 29.3792 | 29.4459 | 29.2415 | 29.8194 | 29.8835 | 29.1933 | 29.2546 | 29.218 | 29.2405 | 29.3672
Solar SA | Capacity Factor | % | 30.6397 | 30.3296 | 30.4079 | 30.4228 | 30.7445 | 30.3512 | 30.4712 | 30.6555 | 30.8949 | 30.9919 | 28.3381 | 27.8278 | 26.9463 | 19.18 | 19.2693
REZ Solar NSW | Capacity Factor | % | 30.6192 | 30.6108 | 30.7809 | 30.6234 | 30.6539 | 30.6551 | 30.5793 | 30.5825 | 30.7288 | 30.7403 | 30.3495 | 30.2302 | 30.3351 | 30.2374 | 30.0134
REZ Wind NSW | Capacity Factor | % | 40.5916 | 40.7541 | 40.7301 | 41.3889 | 40.3439 | 40.0249 | 40.5405 | 40.7126 | 40.8722 | 39.8022 | 39.8614 | 40.4668 | 40.9507 | 40.7451 | 41.3784
REZ Solar QLD | Capacity Factor | % | 30.6636 | 30.6608 | 30.7959 | 30.4647 | 30.8296 | 30.7249 | 30.6135 | 30.5962 | 30.3305 | 29.4432 | 30.2488 | 30.2426 | 30.2143 | 30.3549 | 30.0631
REZ Wind QLD | Capacity Factor | % | 2027: 44.3451; 2028: 43.7257; 2029: 42.2867; 2030: 43.9215; 2031: 44.0194; 2032: 43.7911; 2033: 43.3713; 2034: 43.2486
REZ Solar SA | Capacity Factor | % | 30.8623 | 30.6632 | 30.7788 | 30.7917 | 31.1619 | 30.9392 | 31.0098 | 31.0462 | 35.6576 | 35.6621 | 34.61 | 31.485 | 29.5995 | 22.6572 | 22.7236
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9966 | 51.5014 | 51.7702 | 47.8696 | 48.1961
Hydro NSW | Capacity Factor | % | 19.7608 | 19.8247 | 21.1245 | 22.6067 | 23.0015 | 23.5552 | 24.0289 | 24.6526 | 24.9072 | 22.5326 | 23.791 | 23.5332 | 22.81 | 21.7977 | 22.5614
Hydro QLD | Capacity Factor | % | 38.2234 | 38.2561 | 39.1489 | 40.7671 | 41.1382 | 42.0666 | 42.6122 | 42.7308 | 43.0118 | 43.2575 | 42.7059 | 42.8921 | 42.7148 | 42.4306 | 42.5775
Hydro VIC | Capacity Factor | % | 15.3432 | 15.2343 | 15.7433 | 15.4039 | 15.6156 | 15.3182 | 15.3223 | 15.3427 | 15.5019 | 15.3932 | 15.4231 | 15.3021 | 15.3703 | 15.4304 | 15.4642
Hydro TAS | Capacity Factor | % | 52.6769 | 50.9913 | 52.0059 | 51.7745 | 51.902 | 51.8216 | 52.2564 | 52.2452 | 52.7648 | 52.6024 | 52.2833 | 52.4723 | 52.5507 | 52.6807 | 52.8483
Large Scale Storage SA | Capacity Factor | % | 6.2878 | 6.3311 | 6.3967 | 5.9632 | 4.6994 | 4.542 | 4.1426 | 4.2211 | 3.567 | 3.1293 | 3.2586 | 3.202 | 3.2243 | 3.2116 | 3.293
Large Scale Storage QLD | Capacity Factor | % | 10.8501 | 9.5782 | 11.036 | 11.7738 | 11.961 | 11.7683 | 11.2763 | 11.4315 | 12.3259 | 13.361 | 12.3209 | 12.0382 | 12.2198 | 12.0351 | 12.2756
Large Scale Storage VIC | Capacity Factor | % | 6.7793 | 9.1012 | 11.3268 | 11.1625 | 9.3522 | 8.3342 | 7.0266 | 7.7555 | 6.3981 | 5.6265 | 7.3983 | 7.109 | 7.2175 | 6.4733 | 6.5102
Distributed Storage NSW | Capacity Factor | % | 0.61664 | 1.1816 | 1.6333 | 0.98937 | 0.80467 | 1.5721 | 0.91139 | 0.65654 | 0.08107 | 0.20793 | 1.1574 | 0.95172 | 0.82494 | 1.8928 | 2.0734
Distributed Storage QLD | Capacity Factor | % | 9.4952 | 9.0267 | 10.0498 | 10.2756 | 10.517 | 10.409 | 9.7914 | 9.8985 | 11.2582 | 12.5949 | 10.8537 | 10.4198 | 10.7128 | 10.4892 | 9.905
Distributed Storage SA | Capacity Factor | % | 15.6288 | 15.9072 | 16.3171 | 15.5377 | 14.1199 | 13.084 | 11.8774 | 11.7979 | 10.3545 | 8.8193 | 8.6317 | 8.4031 | 8.4357 | 8.3958 | 7.9386
Distributed Storage TAS | Capacity Factor | % | 0.60913 | 1.2408 | 1.679 | 0.97114 | 0.75894 | 1.5263 | 1.0003 | 0.73413 | 0.085615 | 0.27819 | 1.4108 | 1.1623 | 1.0794 | 2.0617 | 2.2687
Distributed Storage VIC | Capacity Factor | % | 13.7836 | 14.1119 | 14.517 | 14.6124 | 15.2578 | 15.1511 | 13.1622 | 14.1085 | 12.3412 | 10.5299 | 12.2593 | 11.7898 | 11.2974 | 10.1126 | 9.4229
New Natural Gas NSW | Capacity Factor | % |  |  |  | 4.3637 | 4.689 | 4.4583 | 4.4211 | 3.4817 | 5.1301 | 13.8054 | 19.4143 | 34.5267 | 36.8426 | 44.753 | 40.6672
New Natural Gas VIC | Capacity Factor | % |  | 1.6 | 2.6049 | 5.3706 | 5.366 | 5.8479 | 3.5907 | 2.0633 | 6.102 | 8.4591 | 7.5429 | 12.063 | 15.0757 | 29.5079 | 30.2482
New Natural Gas SA | Capacity Factor | % | [6 empty] | 22.8083 | 16.8556 | 34.2354 | 40.4768 | 40.6016 | 42.9622 | 46.2685 | 49.7846 | 49.2582
Pumped Hydro SA | Capacity Factor | % | 2027: 21.955; 2028: 19.8841; 2029: 15.8263; 2030: 18.8393; 2031: 18.4062; 2032: 17.6423; 2033: 16.0253; 2034: 16.8714
Pumped Hydro NSW | Capacity Factor | % | 2029: 18.0298; 2030: 19.8293; 2031: 19.6697; 2032: 19.0344; 2033: 18.3674; 2034: 19.3516
Pumped Hydro QLD | Capacity Factor | % | 2029: 24.8537; 2030: 24.5076; 2031: 24.4032; 2032: 24.5025; 2033: 24.5533; 2034: 24.6299
Pumped Hydro VIC | Capacity Factor | % | 2029: 16.3329; 2030: 18.5499; 2031: 18.0278; 2032: 17.4994; 2033: 15.308; 2034: 15.4758

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 1189782.509 | 1170331.9466 | 1149092.2292 | 1175937.5757 | 1207655.6441 | 1213917.2739 | 1351869.3009 | 1438648.2788 | 1541745.9547 | 1345743.141 | 1351417.1065 | 1369660.559 | 1400028.8158 | 1292260.5185 | 1446313.5379
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 963212.0595 | 969214.4397 | 1090737.2993 | 1230348.7966 | 1275209.7425 | 1329468.0185 | 1203222.3602 | 1107594.3446 | 1144705.127 | 1176273.7608 | 893799.3629 | 848902.8894 | 882107.7751 | 894173.682 | 938723.3453
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 322072.4578 | 313959.9952 | 288339.1724 | 292966.939 | 321019.42 | 312232.5504 | 283601.4946 | 314355.889 | 236186.2548 | 238073.1123 | 251400.8166 | 254980.8423 | 231624.2605 | 150898.6242 | 151550.9982
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 2948.2301 | 6653.3698 | 53446.226 | 160505.6948 | 191726.8005 | 258336.3963 | 256878.6388 | 182176.6179 | 273999.9535 | 479773.0123 | 535639.6999 | 407151.2194 | 485731.1639 | 607293.4104 | 556741.4728
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 219060.9712 | 219885.558 | 200892.2407 | 214586.6445 | 218204.1364 | 243348.0465 | 293789.3586 | 312398.7748 | 342050.8293 | 363814.6469 | 554041.8625 | 679929.6269 | 760828.5523 | 793490.1525 | 779910.2611
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 9921.2053 | 4206.969 | 10989.5813 | 20001.7721 | 18464.635 | 16196.9631 | 4972.581 | 1020.8506 | 4358.122 | 4643.0924 | 3150.035 | 4743.4188 | 8657.6648 | 49929.6766 | 49390.6041
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 467031.1069 | 462282.8109 | 481108.5361 | 409467.8566 | 82421.07 | 106550.0232 | 102680.8132 | 73492.2486 | 122950.8721 | 150235.6312 | 145384.3896 | 109721.2595 | 118782.4938 | 141894.4225 | 137344.4826
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 93.2332 | 61.7085 | 35.5783 | 21.5652 | 21.2937 | 0 | 0 | 0 | 0 | 40.4642 | 20.0588 | 19.9008 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 16.3194 | 0 | 0 | 0 | 130.3183 | 210.4574 | 0 | 0 | 0 | 491.0093 | 2056.5816 | 967.5147 | 305.008
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 91.5884 | 0 | 0 | 2.3282 | 955.795 | 1381.417 | 216.5383 | 31.501 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 24885.8455 | 25477.1569 | 32094.8728 | 42628.6597 | 46053.6769 | 51069.8136 | 55602.2299 | 58826.2611 | 62170.8632 | 44159.4582 | 54401.5647 | 53103.7029 | 46478.4708 | 39565.7529 | 44346.8006
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6985.393 | 7216.2234 | 10101.5941 | 15167.4897 | 16020.036 | 19257.0602 | 20834.6049 | 21259.9831 | 21819.5902 | 22647.7415 | 20949.2622 | 21579.7241 | 20810.2776 | 20212.0074 | 20342.4693
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22566.6855 | 22315.473 | 23262.3337 | 22791.9385 | 23113.8939 | 22544.9877 | 22553.2975 | 22573.5642 | 22797.0393 | 22653.4525 | 22699.8645 | 22534.0008 | 22617.0297 | 22678.2346 | 22734.4491
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62322.7747 | 62358.79 | 62426.7157 | 62628.8567 | 62591.2126 | 62294.746 | 62286.8855 | 62370.1335 | 62461.4362 | 62358.6418 | 62326.2608 | 62340.0359 | 62363.8764 | 62344.6067 | 62600.3011
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 15672.3203 | 16405.1238 | 83578.4856 | 80619.3474 | 61708.7026 | 90927.8718 | 244726.8197 | 424511.4516 | 754923.6907 | 837390.0669 | 1017192.5655 | 924327.8661
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 5227.3006 | 10860.9363 | 22392.4452 | 21882.9561 | 23313.9241 | 59045.0849 | 41332.001 | 166283.5131 | 235324.2548 | 209834.63 | 335573.8945 | 436014.1596 | 853415.3166 | 874824.2112
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 61866.3658 | 43123.9743 | 87618.0684 | 104709.7292 | 105032.5854 | 116869.4862 | 129174.8955 | 138991.2151 | 137521.6521
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2704.2365 | 5713.6672 | 12577.8004 | 14977.9427 | 19653.457 | 24271.1374 | 29813.1803 | 31407.8511
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8031.3839 | 8840.4501 | 9262.761 | 18484.2007 | 36592.3317 | 38580.9154
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6372.7413 | 25809.3943 | 25701.7523 | 25795.4208 | 27968.3511 | 28069.9159
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6180.4191 | 7019.4115 | 8743.2351 | 8477.747 | 7413.7482 | 7495.2102

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 7449 | 7449 | 7449 | 5769 | 5769 | 5769 | 5769 | 5769
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3718 | 3718 | 3718 | 3718 | 3718 | 2190 | 2190
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2665.1 | 2665.1 | 2425.1 | 2425.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4240 | 4640 | 5040 | 5040 | 5040 | 5340 | 5340 | 5740 | 5740 | 5740 | 5740 | 5740
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1308 | 1308 | 1508 | 3168 | 3168
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 854.7 | 1858.7 | 2727.7 | 3525.7 | 4447.7 | 5300.7 | 5300.7 | 5300.7 | 5300.7 | 5300.7
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190 | 397 | 686 | 796 | 796 | 796 | 796 | 796
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 343 | 553 | 1126 | 1302 | 1741 | 3266 | 3266
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 234 | 395 | 395 | 433 | 766 | 766
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 5.59 | 12.46 | 21.31 | 31.74 | 43.57 | 56.44 | 69.91 | 83.91 | 98.23 | 112.73 | 127.42 | 140.9 | 152.74 | 164.24 | 181.53
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 3.04 | 6.87 | 11.52 | 16.75 | 22.28 | 28.06 | 33.93 | 39.97 | 46.16 | 52.48 | 58.9 | 65.39 | 71.95 | 78.45 | 91.54
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 1.04 | 2.36 | 4.06 | 6.08 | 8.37 | 10.93 | 13.7 | 16.62 | 19.68 | 22.86 | 26.14 | 29.42 | 32.59 | 35.63 | 40.69
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 0.25 | 0.53 | 0.88 | 1.31 | 1.65 | 1.94 | 2.16 | 2.37 | 2.56 | 2.72 | 2.88 | 3.04 | 3.19 | 3.33 | 3.54
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 3.46 | 7.6 | 12.15 | 17.1 | 22.33 | 27.93 | 33.72 | 39.67 | 45.64 | 51.68 | 57.85 | 64.13 | 70.53 | 76.91 | 88.86
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 333 | 333 | 1833 | 1833 | 1833 | 1833 | 1833 | 2261 | 2261 | 2261 | 2261 | 2261
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 315 | 402 | 402 | 402 | 402 | 1697 | 2117 | 2878 | 2878 | 2878 | 2878 | 2878 | 2878 | 2878
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 305 | 305 | 305 | 305 | 305 | 305 | 305 | 305 | 305
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 123 | 287 | 794 | 794 | 1065 | 1374 | 1859 | 1859
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 445 | 445 | 470 | 970 | 1990 | 1990
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 256 | 1051 | 1051 | 1051 | 1137 | 1137
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 378 | 378 | 484 | 484 | 484 | 484

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 19.9259 | 19.8302 | 19.6406 | 21.458 | 22.7752 | 23.9165 | 24.2656 | 25.1498 | 26.3792 | 26.496 | 26.6655 | 26.8729 | 27.3276 | 27.7256 | 28.1803
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.6892 | 21.6554 | 21.5595 | 21.9069 | 22.5971 | 23.0252 | 23.289 | 23.6382 | 23.9037 | 24.0965 | 21.8135 | 21.918 | 22.2336 | 22.5359 | 22.7455
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.7303 | 8.7303 | 8.7999 | 8.8616 | 8.8616 | 8.5123 | 8.5123
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 109.7035 | 109.7035 | 109.7035 | 106.2914 | 102.8794 | 99.4673 | 96.0552 | 96.0587 | 96.0791 | 96.0783 | 96.0717 | 101.5411 | 101.5421 | 101.5423 | 101.5428
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 91.4274 | 91.4274 | 103.1727 | 96.4418 | 91.4448 | 88.2728 | 83.3062 | 83.339 | 84.4191 | 82.6223 | 86.8951 | 90.3048 | 90.3048 | 90.3048 | 90.3048
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 160.2259 | 132.6306 | 152.8739 | 152.986 | 152.9029 | 149.2414 | 135.3641 | 114.2052 | 148.1003 | 116.7922 | 130.4664 | 117.662 | 118.7358 | 146.9777 | 144.7504
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 125.3222 | 118.4226 | 125.6701 | 123.1914 | 135.1883 | 132.6675 | 130.1467 | 130.1565 | 130.4628 | 109.3986 | 130.4617 | 134.5856 | 134.5854 | 134.5852 | 134.5852
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh | 2022: 439.7229; 2023: 432.8041; 2024: 426.4705; 2025: 420.6241; 2026: 415.1948; 2031: 393.9627; 2032: 390.4958; 2033: 387.3371
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh | 2022: 410.3627; 2026: 387.4724; 2027: 383.0341; 2031: 367.658; 2032: 364.4226; 2033: 361.4748; 2034: 358.7272
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh | 2020: 460.748; 2023: 441.9842; 2024: 438.1292; 2025: 432.1229; 2026: 425.2335; 2027: 417.6939
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.0094649 | 0.0095757 | 0.010222 | 0.010798 | 0.010938 | 0.011088 | 0.011178 | 0.011224 | 0.011257 | 0.010887 | 0.011155 | 0.011116 | 0.010958 | 0.010711 | 0.0109
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098565 | 0.0098459 | 0.0098529 | 0.0098516 | 0.009855 | 0.009853 | 0.0098536 | 0.009854 | 0.0098543 | 0.0098548 | 0.0098558 | 0.0098579 | 0.0098535 | 0.0098597 | 0.0098551
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 111.7501 | 108.5967 | 105.4434 | 102.29 | 99.1367 | 99.1394 | 99.1555 | 99.1549 | 99.1497 | 103.4681 | 103.4688 | 103.469
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  | 107.0756 | 107.0756 | 107.0756 | 104.5069 | 101.9381 | 99.3694 | 96.8007 | 96.8692 | 99.1001 | 99.0997 | 99.0983 | 103.4303 | 103.4299 | 103.4297
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | [6 empty] | 88.3361 | 82.745 | 82.7754 | 83.7785 | 83.7785 | 88.6207 | 91.2189 | 91.2189 | 91.2189
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | 2027: 0.011431; 2028: 0.011429; 2029: 0.011426; 2030: 0.01143; 2031: 0.011445; 2032: 0.01143; 2033: 0.011424; 2034: 0.011432
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh | 2029: 0.011427; 2030: 0.011437; 2031: 0.011438; 2032: 0.011428; 2033: 0.011428; 2034: 0.011437
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2029: 0.011434; 2030: 0.011439; 2031: 0.01144; 2032: 0.011435; 2033: 0.011436; 2034: 0.011442
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh | 2029: 0.011428; 2030: 0.011428; 2031: 0.011439; 2032: 0.011426; 2033: 0.011423; 2034: 0.011423

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 55147.8726 | 54556.4793 | 52924.2793 | 49376.7906 | 48917.6231 | 45679.4339 | 49406.7697 | 52164.7552 | 53202.2076 | 45999.5945 | 45924.1351 | 46177.3977 | 46433.7726 | 42153.7463 | 46550.5369
Black Coal QLD | Black Coal | QLD | Generation | GWh | 41273.2338 | 41391.9304 | 45788.6634 | 50182.1442 | 50668.2388 | 51866.8917 | 47160.5934 | 43224.9886 | 43246.9824 | 44239.36 | 35948.2139 | 33786.495 | 33877.0686 | 34977.0957 | 36334.6039
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 31647.5725 | 30720.5851 | 28391.0348 | 28723.5893 | 30980.1895 | 30136.7283 | 27281.946 | 30201.1671 | 22108.8039 | 22276.9545 | 23498.2234 | 23651.1018 | 21638.512 | 14476.5027 | 14538.8773
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 28.3562 | 66.8074 | 501.1114 | 1580.9102 | 1921.3353 | 2677.8034 | 2759.0221 | 1969.0562 | 2954.0925 | 5017.2662 | 5532.2435 | 4277.2308 | 4967.3974 | 6005.8622 | 5569.2028
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 1949.067 | 1959.5803 | 1882.8551 | 2356.3487 | 2638.4131 | 3301.7309 | 4415.1632 | 4640.2998 | 5087.4004 | 5407.1358 | 7177.0446 | 8131.1148 | 8867.2518 | 9147.5542 | 9022.8984
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 69.1729 | 28.9348 | 77.7662 | 144.2489 | 134.0251 | 119.7436 | 38.2519 | 7.9161 | 32.5569 | 35.876 | 24.0333 | 36.4148 | 66.2568 | 379.7903 | 376.434
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5566.5341 | 5518.2044 | 5708.2599 | 4831.126 | 824.1244 | 1103.7701 | 1133.4644 | 828.3786 | 1271.048 | 1541.9941 | 1494.104 | 1176.747 | 1261.8065 | 1459.1071 | 1422.6814
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0.20493 | 0.13775 | 0.080573 | 0.0495 | 0.0495 | 0 | 0 | 0 | 0 | 0.099 | 0.0495 | 0.0495 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0.038372 | 0 | 0 | 0 | 0.32404 | 0.5292 | 0 | 0 | 0 | 1.2848 | 5.4279 | 2.5738 | 0.81741
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0.18724 | 0 | 0 | 0.0050094 | 2.0613 | 3.0117 | 0.4792 | 0.070417 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4267.7218 | 4264.6331 | 4218.3685 | 4313.5455 | 4287.3191 | 4205.859 | 4263.3951 | 4264.1858 | 4245.2222 | 4241.0054 | 4206.7223 | 4255.826 | 4278.0997 | 4220.2103 | 4313.995
Wind QLD | Wind | QLD | Generation | GWh | 1965.5405 | 1965.6988 | 1949.4961 | 1999.7754 | 1977.3603 | 1936.6756 | 1963.1183 | 1952.9951 | 1880.5764 | 1844.3403 | 1860.6725 | 1903.2276 | 1912.9212 | 1866.6801 | 1928.7302
Wind VIC | Wind | VIC | Generation | GWh | 8457.215 | 10652.7821 | 11787.3207 | 11915.8486 | 13548.147 | 14741.1021 | 14797.424 | 14674.7166 | 15935.9926 | 15898.398 | 16925.4017 | 17061.756 | 17159.2589 | 17036.2865 | 17060.1306
Wind SA | Wind | SA | Generation | GWh | 5859.5564 | 5839.6993 | 5726.2338 | 5782.6779 | 5981.1671 | 5816.7613 | 5869.5338 | 5867.7826 | 5803.3389 | 5894.337 | 5575.2369 | 5607.0728 | 5544.0059 | 5400.4317 | 5459.385
Wind TAS | Wind | TAS | Generation | GWh | 1337.8904 | 1329.4375 | 1335.8734 | 1342.8654 | 1307.5182 | 1325.9335 | 1329.3273 | 1328.6446 | 1342.64 | 1287.8717 | 1322.2735 | 1331.3859 | 1335.2551 | 1336.4821 | 1349.7967
Solar NSW | Solar | NSW | Generation | GWh | 1095.188 | 1094.8929 | 1101.0413 | 1091.8308 | 1096.7568 | 1097.3713 | 1090.9548 | 1092.2959 | 1099.7061 | 1100.7833 | 1098.3023 | 1092.1818 | 1095.5782 | 1102.6412 | 1094.3038
Solar QLD | Solar | QLD | Generation | GWh | 3245.0966 | 3242.2924 | 3251.0049 | 3240.0081 | 3252.5148 | 3249.4527 | 3238.4995 | 3193.1103 | 2895.0363 | 2580.3623 | 2920.805 | 2968.3696 | 2924.4488 | 2958.9352 | 2924.6938
Solar VIC | Solar | VIC | Generation | GWh | 1803.4176 | 1815.6206 | 1816.7319 | 1796.9702 | 2581.2742 | 3614.258 | 3622.1746 | 3590.079 | 3920.4417 | 3929.6489 | 4335.4564 | 4351.8976 | 4341.7427 | 4365.8121 | 4390.425
Solar SA | Solar | SA | Generation | GWh | 859.2641 | 850.8955 | 855.2415 | 853.7615 | 863.3976 | 854.3695 | 856.9217 | 861.2811 | 866.8049 | 868.5778 | 768.1186 | 748.1927 | 712.8158 | 413.7112 | 415.8858
REZ Solar NSW | Solar | NSW | Generation | GWh | 3309.1182 | 3310.6654 | 3327.0715 | 3316.4746 | 3314.6586 | 3311.7376 | 3306.3706 | 3307.649 | 3322.9959 | 3326.5903 | 3505.6438 | 3498.0713 | 4036.3535 | 8369.4721 | 8312.0299
REZ Wind NSW | Wind | NSW | Generation | GWh | 480.0358 | 481.9574 | 481.6741 | 489.4654 | 477.1075 | 473.3341 | 479.4325 | 481.4672 | 483.3549 | 470.7012 | 471.4005 | 478.5606 | 484.2827 | 481.8512 | 489.3415
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.1432 | 1797.3783 | 1803.9259 | 1785.8335 | 1806.5204 | 2300.7987 | 4992.7145 | 7337.9379 | 9456.8488 | 11549.5298 | 14051.1894 | 14031.0351 | 14054.857 | 14138.3104 | 13942.6143
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 738.0807 | 1520.6587 | 2541.372 | 3080.6409 | 3088.3059 | 3064.7529 | 3043.7646 | 3032.7159
REZ Solar SA | Solar | SA | Generation | GWh | 445.7347 | 443.3152 | 444.5024 | 445.1901 | 449.8788 | 446.7771 | 447.8481 | 448.3116 | 1141.843 | 1728.3132 | 3211.7808 | 3567.8698 | 4343.478 | 5656.7066 | 5683.5733
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 1023.3771 | 1764.5857 | 1782.0531 | 1963.6865 | 3333.6313 | 3357.0303
Hydro NSW | Hydro | NSW | Generation | GWh | 3218.4876 | 3248.8511 | 3641.5312 | 4226.1249 | 4421.4928 | 4691.3076 | 4950.2417 | 5137.0231 | 5335.4466 | 4310.57 | 4889.4216 | 4815.6663 | 4446.4155 | 4049.1558 | 4329.1372
Hydro QLD | Hydro | QLD | Generation | GWh | 770.4138 | 783.4338 | 946.6399 | 1233.6157 | 1282.96 | 1465.2947 | 1555.0177 | 1578.9456 | 1611.7764 | 1658.413 | 1562.0668 | 1596.9634 | 1554.8682 | 1518.8012 | 1528.2769
Hydro VIC | Hydro | VIC | Generation | GWh | 3107.2349 | 3072.6451 | 3203.0195 | 3138.2502 | 3182.5807 | 3104.2473 | 3105.3915 | 3108.182 | 3138.9526 | 3119.1819 | 3125.5724 | 3102.7345 | 3114.1668 | 3122.5942 | 3130.3344
Hydro TAS | Hydro | TAS | Generation | GWh | 8581.3 | 8586.259 | 8595.6118 | 8623.4448 | 8618.2615 | 8577.4407 | 8576.3584 | 8587.8209 | 8600.3925 | 8586.2386 | 8581.78 | 8583.6767 | 8586.9593 | 8584.3061 | 8619.5129
Large Scale Storage SA | Battery | SA | Generation | GWh | 88.7369 | 89.1159 | 90.6882 | 85.5626 | 70.7301 | 66.9705 | 61.1177 | 61.882 | 53.4727 | 47.8738 | 49.6611 | 49.0023 | 49.3992 | 49.3709 | 50.3861
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.0712 | 69.3149 | 80.068 | 85.8675 | 86.9337 | 85.2538 | 80.6487 | 82.5798 | 93.7054 | 107.2555 | 94.7745 | 91.7833 | 93.4843 | 91.569 | 93.9815
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 60.3024 | 76.9831 | 95.2518 | 94.6254 | 80.714 | 74.6306 | 62.9986 | 69.7267 | 57.2675 | 50.1795 | 66.2708 | 63.6528 | 64.4517 | 57.3796 | 57.7497
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.30196 | 1.2898 | 3.0491 | 2.7509 | 3.0712 | 7.7725 | 5.5815 | 4.8259 | 0.6976 | 2.0533 | 12.9184 | 11.7469 | 11.0378 | 27.2329 | 32.9707
Distributed Storage QLD | Battery | QLD | Generation | GWh | 2.5286 | 5.4324 | 10.1418 | 15.0774 | 20.5263 | 25.5859 | 29.1026 | 34.6585 | 45.5237 | 57.9017 | 56.0014 | 59.6861 | 67.5209 | 72.0839 | 79.4274
Distributed Storage SA | Battery | SA | Generation | GWh | 1.4238 | 3.2886 | 5.8033 | 8.2755 | 10.3529 | 12.5275 | 14.2544 | 17.1767 | 17.8508 | 17.6609 | 19.7654 | 21.6565 | 24.083 | 26.205 | 28.2966
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.01334 | 0.057606 | 0.12943 | 0.11144 | 0.1097 | 0.25938 | 0.18928 | 0.15241 | 0.0192 | 0.066285 | 0.35593 | 0.30951 | 0.30162 | 0.6014 | 0.70352
Distributed Storage VIC | Battery | VIC | Generation | GWh | 4.1778 | 9.3952 | 15.4511 | 21.8888 | 29.846 | 37.0698 | 38.8795 | 49.0284 | 49.3408 | 47.6704 | 62.1259 | 66.2327 | 69.8 | 68.1316 | 73.3494
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 127.292 | 136.7825 | 715.8719 | 709.8934 | 559.0558 | 823.7489 | 2216.7435 | 3845.2598 | 6838.4891 | 7297.175 | 8863.9493 | 8054.6994
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 44.1497 | 91.7314 | 189.1264 | 188.9644 | 205.9352 | 533.7877 | 382.6307 | 1538.3819 | 2132.6562 | 1901.6599 | 3041.2301 | 3800.7726 | 7439.3206 | 7625.9621
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 609.3928 | 450.3469 | 914.7021 | 1081.4584 | 1084.7929 | 1147.8643 | 1236.2029 | 1330.145 | 1316.0813
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 236.5604 | 499.9101 | 1100.7869 | 1310.3559 | 1717.1844 | 2123.4713 | 2609.6884 | 2747.4789
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 702.8363 | 772.9858 | 809.8403 | 1617.3922 | 3201.8844 | 3373.4481
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 557.3583 | 2256.3575 | 2246.7401 | 2255.8852 | 2445.5408 | 2453.1639
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 540.8275 | 614.2404 | 764.3491 | 741.9464 | 649.0338 | 656.1474

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76 | 0 | 200 | 1660 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 185 | 1004 | 869 | 798 | 922 | 553 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 190 | 207 | 279 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210 | 573 | 0 | 439 | 1125 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 161 | 0 | 38 | 0 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 0 | 400 | 400 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 60114.3147 | 59470.5746 | 57747.9783 | 53952.8618 | 53401.0332 | 49847.8617 | 53934.9884 | 56963.2996 | 58095.0979 | 50294.6594 | 50212.0674 | 50489.3327 | 50769.497 | 46131.7136 | 50897.6885
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 83688.0434 | 83877.7918 | 90966.6593 | 104185.1684 | 105664.029 | 110274.1476 | 94353.079 | 81628.9367 | 87943.2218 | 87749.0073 | 79628.099 | 78005.5232 | 72147.1423 | 79249.2672 | 80612.9508
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 35856.9139 | 34805.6331 | 32141.9497 | 32519.7862 | 35100.6371 | 34145.0458 | 30954.5467 | 34218.2425 | 25059.8075 | 25251.5799 | 26632.616 | 26806.2436 | 24499.806 | 16299.704 | 16369.7839
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 24885.8455 | 25477.1569 | 32094.8728 | 42628.6597 | 46053.6769 | 51069.8136 | 55602.2299 | 58826.2611 | 62170.8632 | 44159.4582 | 54401.5647 | 53103.7029 | 46478.4708 | 39565.7529 | 44346.8006
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6985.393 | 7216.2234 | 10101.5941 | 15167.4897 | 16020.036 | 19257.0602 | 20834.6049 | 21259.9831 | 21819.5902 | 22647.7415 | 20949.2622 | 21579.7241 | 20810.2776 | 20212.0074 | 20342.4693
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62322.7747 | 62358.79 | 62426.7157 | 62628.8567 | 62591.2126 | 62294.746 | 62286.8855 | 62370.1335 | 62461.4362 | 62358.6418 | 62326.2608 | 62340.0359 | 62363.8764 | 62344.6067 | 62600.3011
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22566.6855 | 22315.473 | 23262.3337 | 22791.9385 | 23113.8939 | 22544.9877 | 22553.2975 | 22573.5642 | 22797.0393 | 22653.4525 | 22699.8645 | 22534.0008 | 22617.0297 | 22678.2346 | 22734.4491
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 2.2128 | 1.4875 | 0.87003 | 0.5345 | 0.5345 | 0 | 0 | 0 | 0 | 1.069 | 0.5345 | 0.5345 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0.41434 | 0 | 0 | 0 | 3.4989 | 5.7143 | 0 | 0 | 0 | 13.8736 | 58.6104 | 27.7915 | 8.8264
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 2.1522 | 0 | 0 | 0.057441 | 23.6026 | 34.4873 | 5.4921 | 0.81076 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 232.912 | 536.7796 | 4187.7079 | 13147.5579 | 16157.7536 | 22891.5129 | 23589.1535 | 16700.5298 | 25114.3632 | 44117.6712 | 49331.021 | 34692.5739 | 41011.2462 | 50748.5468 | 46706.666
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16374.761 | 16468.2829 | 14916.8715 | 17534.912 | 19669.2436 | 24669.8589 | 33227.6571 | 35150.4402 | 38297.3564 | 40602.0565 | 54999.4551 | 63784.8709 | 71084.2955 | 73980.8966 | 72781.9332
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 35711.8865 | 35472.8405 | 36937.1603 | 32897.1332 | 9390.3323 | 12587.5788 | 12962.1038 | 9490.202 | 14531.2034 | 17615.1867 | 17070.0258 | 13522.8293 | 14489.0957 | 16708.1537 | 16303.2869
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 831.1406 | 361.3312 | 948.7357 | 1750.6337 | 1600.5084 | 1438.2511 | 432.1243 | 89.532 | 371.9834 | 411.0656 | 273.2704 | 408.2296 | 717.1153 | 4114.774 | 4077.6452
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 1305.0645 | 1402.3663 | 7339.4945 | 7278.2002 | 5731.7333 | 8445.5068 | 22727.2184 | 39423.6231 | 70111.7823 | 74814.4714 | 90877.8637 | 82581.0093
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 6376.6363 | 4712.3925 | 9571.3669 | 11316.2911 | 11351.1831 | 12011.1576 | 12935.5254 | 13918.5279 | 13771.3664
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 452.6463 | 940.4783 | 1939.0233 | 1937.3619 | 2111.3561 | 5472.6716 | 3922.9306 | 15772.2996 | 21865.1119 | 19496.8157 | 31180.2879 | 38967.5166 | 76271.8221 | 78185.3687
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3718 | 3718 | 3718 | 3718 | 3718 | 2190 | 2190
Natural Gas | MW | 2495 | 2810 | 2897 | 2897 | 2897 | 2897 | 4192 | 4612 | 5373 | 5373 | 5373 | 5373 | 4863 | 4863 | 4863
Wind | MW | 218.55 | 279.75 | 318 | 318 | 348 | 378 | 378 | 378 | 400.5 | 400.5 | 430.5 | 430.5 | 430.5 | 430.5 | 430.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2597 | 2597 | 2703 | 2703 | 2703 | 2703
Battery | MW | 108.46 | 112.6 | 117.15 | 122.1 | 127.33 | 132.93 | 138.72 | 144.67 | 150.64 | 156.68 | 162.85 | 169.13 | 175.53 | 181.91 | 193.86
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 9711.135 | 9737.1577 | 9727.5569 | 9567.8624 | 9847.4707 | 9962.2814 | 10047.167 | 10271.591 | 10040.2541 | 10147.5487 | 10313.7856 | 10312.9754 | 10401.7437 | 10406.8475 | 10205.9113
Peak Load + Min Capacity Reserves | MW | 10209.135 | 10235.1577 | 10225.5569 | 10065.8624 | 10345.4707 | 10460.2814 | 10545.167 | 10769.591 | 10538.2541 | 10645.5487 | 10811.7856 | 10810.9754 | 10899.7437 | 10904.8475 | 10703.9113

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.1182 | 37.1469 | 40.8991 | 40.8965 | 42.215 | 45.2394 | 47.7824 | 45.5442 | 53.6902 | 53.5467 | 54.001 | 53.1431 | 54.5092 | 57.7997 | 57.6998
Wind | GWh | 8457.215 | 10652.7821 | 11787.3207 | 11915.8486 | 13548.147 | 14741.1021 | 14797.424 | 14674.7166 | 15935.9926 | 15898.398 | 16925.4017 | 17061.756 | 17159.2589 | 17036.2865 | 17060.1306
Solar | GWh | 1803.4176 | 1815.6206 | 1816.7319 | 1796.9702 | 2581.2742 | 3614.258 | 3622.1746 | 3590.079 | 3920.4417 | 3929.6489 | 4335.4564 | 4351.8976 | 4341.7427 | 4365.8121 | 4390.425
Hydro | GWh | 3107.2349 | 3072.6451 | 3203.0195 | 3138.2502 | 3182.5807 | 3104.2473 | 3105.3915 | 3108.182 | 3138.9526 | 3660.0094 | 3739.8129 | 3867.0835 | 3856.1132 | 3771.628 | 3786.4818
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 47435.5732 | 49024.7839 | 48391.5674 | 49236.4775 | 54230.2583 | 55832.2625 | 53537.2139 | 56395.2524 | 51363.5824 | 52834.3806 | 55549.7614 | 57320.5932 | 56362.6087 | 53130.2441 | 53598.7353

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Waubra transmission line | Annual hours | 63 | 61 | 421 | 503 | 1003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 10 | 4 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - North Ballarat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 583 | 351 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2295 | 2114 | 2905 | 2488 | 1780 | 0 | 0 | 0 | 1 | 0 | 3 | 2 | 3 | 3 | 0
Avoid overload of Balranald - Darlington Point transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 653 | 673 | 896 | 776 | 18 | 5 | 6 | 4 | 16 | 28 | 284 | 316 | 563 | 958 | 950
Avoid overload of Bendigo - North Ballarat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 2 | 1 | 2 | 18 | 15 | 26 | 142 | 156
Avoid overload of Bulgana - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 3 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bulgana - Waubra transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Buronga - Balranald transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Crowlands to Ararat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 106 | 567 | 429 | 326 | 2 | 3 | 2 | 5 | 7 | 3 | 3 | 3 | 4 | 0
Avoid overload of Geelong - Keilor transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 4 | 4 | 3 | 4 | 5 | 6 | 19 | 9
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 5 | 60 | 421 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 62 | 65 | 121 | 131 | 172 | 5 | 2 | 4 | 5 | 3 | 167 | 163 | 133 | 87 | 96
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of North Ballarat - Waubra transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victoria to New South Wales export stability constraint | Annual hours | 1812 | 2771 | 2967 | 2892 | 3093 | 3196 | 2345 | 2999 | 1983 | 1905 | 2872 | 2988 | 2777 | 2553 | 2323