## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 6.7452 | 9.0196 | 10.8889 | 11.2781 | 9.1445 | 8.1257 | 6.8747 | 7.5358 | 7.5406 | 7.5832 | 10.1861 | 10.0508 | 9.5328 | 8.0773 | 8.0243
Large Scale Storage SA | Capacity Factor | % | 6.4036 | 6.5545 | 6.5883 | 7.0056 | 4.6799 | 4.1671 | 3.7268 | 3.987 | 4.1369 | 4.0963 | 4.0257 | 4.1938 | 4.2776 | 3.9563 | 4.2931
Large Scale Storage QLD | Capacity Factor | % | 11.1051 | 9.872 | 10.4859 | 11.0469 | 11.3326 | 11.3258 | 11.1312 | 11.486 | 12.4022 | 13.4697 | 12.6413 | 12.3765 | 12.7984 | 12.9118 | 13.0939

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 61.3571 | 59.9611 | 55.555 | 63.9671 | 63.0822 | 58.5666 | 62.6423 | 63.4434 | 63.9207 | 67.9678 | 66.7927 | 67.4592 | 68.5746 | 63.5216 | 68.715
Black Coal QLD | Capacity Factor | % | 51.7514 | 52.0489 | 56.6249 | 61.9153 | 61.7023 | 63.5496 | 60.0048 | 55.8495 | 55.2916 | 58.7788 | 64.9121 | 62.6669 | 62.9489 | 64.9829 | 66.4874
Brown Coal VIC | Capacity Factor | % | 74.2991 | 71.5711 | 64.601 | 65.3809 | 71.6235 | 69.6081 | 63.8813 | 69.307 | 62.8143 | 62.7145 | 66.8222 | 66.8949 | 61.4072 | 72.1776 | 72.3805
Natural Gas NSW | Capacity Factor | % | 0.1223 | 0.20753 | 1.5722 | 3.4997 | 4.0087 | 4.7915 | 5.6591 | 2.7472 | 3.0195 | 8.1047 | 7.4118 | 8.1998 | 11.4015 | 18.1063 | 13.3153
Natural Gas QLD | Capacity Factor | % | 6.8314 | 6.8298 | 6.0449 | 5.8427 | 6.0585 | 6.6831 | 9.6483 | 7.6752 | 7.1677 | 7.6583 | 10.5898 | 12.0046 | 13.3343 | 15.9288 | 13.9165
Natural Gas VIC | Capacity Factor | % | 0.16313 | 0.10032 | 0.21882 | 0.2157 | 0.20662 | 0.20489 | 0.29381 | 0.094599 | 0.16798 | 0.29989 | 0.14277 | 0.24548 | 0.50884 | 1.5542 | 1.0846
Natural Gas SA | Capacity Factor | % | 11.7326 | 11.6111 | 12.5789 | 9.9198 | 1.8225 | 1.2977 | 1.7336 | 0.82152 | 0.91316 | 1.8346 | 1.3749 | 1.2684 | 1.7435 | 3.306 | 2.4829
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0.033904 | 0.011301 | 0 | 0 | 0.0332 | 0 | 0 | 0.011301 | 0.011301 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0034194 | 0
Liquid Fuel SA | Capacity Factor | % | 0 | 0 | 0 | 0 | 0.016176 | 0 | 0.0083261 | 0 | 0 | 0.0025639 | 0 | 0 | 0.002226 | 0 | 0
Wind NSW | Capacity Factor | % | 32.552 | 32.5155 | 32.1858 | 32.9267 | 32.6826 | 32.0783 | 32.4995 | 32.4472 | 32.2045 | 32.1585 | 31.9633 | 32.3482 | 32.499 | 32.1138 | 32.8265
Wind QLD | Capacity Factor | % | 33.1924 | 33.1921 | 32.9173 | 33.7699 | 33.3742 | 32.7044 | 33.1446 | 32.7923 | 31.4873 | 30.3118 | 31.1807 | 31.8026 | 31.9273 | 31.1396 | 32.0587
Wind VIC | Capacity Factor | % | 33.4748 | 32.9887 | 32.1515 | 32.2533 | 33.0599 | 32.9337 | 33.2383 | 32.7579 | 32.7217 | 32.3782 | 31.0939 | 31.2524 | 31.553 | 32.1585 | 32.2594
Wind SA | Capacity Factor | % | 31.9012 | 31.7897 | 31.2022 | 30.8094 | 32.1899 | 30.814 | 30.9264 | 30.8642 | 30.6646 | 31.1089 | 30.6356 | 30.7254 | 30.6307 | 29.5987 | 29.8638
Wind TAS | Capacity Factor | % | 36.3601 | 36.1366 | 36.313 | 36.4813 | 35.5095 | 36.0373 | 36.1261 | 36.1024 | 36.4551 | 34.9837 | 35.9195 | 36.1467 | 36.2367 | 36.21 | 36.5588
Solar NSW | Capacity Factor | % | 28.4026 | 28.3955 | 28.5383 | 28.2997 | 28.409 | 28.4581 | 28.2446 | 28.1251 | 28.123 | 28.2652 | 28.25 | 28.0666 | 28.096 | 28.3229 | 28.1289
Solar QLD | Capacity Factor | % | 30.4668 | 30.4317 | 30.517 | 30.4061 | 30.5178 | 30.5094 | 30.396 | 29.7923 | 27.1243 | 23.2189 | 27.4519 | 27.7773 | 27.0576 | 27.5558 | 26.9498
Solar VIC | Capacity Factor | % | 29.0884 | 29.346 | 29.4043 | 28.9821 | 29.6336 | 29.4228 | 29.418 | 29.1568 | 29.3714 | 29.2347 | 27.8706 | 27.7707 | 28.0089 | 28.8421 | 28.9137
Solar SA | Capacity Factor | % | 30.4986 | 30.1442 | 30.1074 | 29.3531 | 30.2323 | 29.882 | 29.5329 | 29.4461 | 29.4516 | 28.4662 | 27.967 | 27.7715 | 27.9136 | 27.5107 | 27.3604
REZ Solar NSW | Capacity Factor | % | 30.6192 | 30.5922 | 30.7762 | 30.6162 | 30.5856 | 30.5964 | 30.4524 | 30.2454 | 30.2664 | 30.3176 | 30.3806 | 30.2766 | 30.2995 | 30.0202 | 29.6046
REZ Wind NSW | Capacity Factor | % | 40.5803 | 40.7462 | 40.7147 | 41.3477 | 40.304 | 40.0065 | 40.5084 | 40.6153 | 40.5514 | 39.5949 | 39.6953 | 40.2949 | 40.7266 | 40.551 | 41.0164
REZ Solar QLD | Capacity Factor | % | 30.6636 | 30.6607 | 30.7957 | 30.4647 | 30.8212 | 30.7249 | 30.6114 | 30.5576 | 29.64 | 29.5347 | 30.0584 | 30.0433 | 29.9843 | 29.9331 | 29.5301
REZ Wind QLD | Capacity Factor | % | 2027: 44.2506; 2028: 43.5707; 2029: 41.6645; 2030: 44.5774; 2031: 44.5207; 2032: 43.9211; 2033: 43.7042; 2034: 43.5793
REZ Solar SA | Capacity Factor | % | 30.7131 | 30.4766 | 30.53 | 30.2249 | 30.82 | 30.4508 | 30.882 | 30.7621 | 30.9369 | 30.5953 | 30.3649 | 30.2879 | 30.3672 | 26.0195 | 25.9773
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9968 | 51.5014 | 51.7702 | 51.5326 | 51.9386
Hydro NSW | Capacity Factor | % | 19.6329 | 19.672 | 20.341 | 21.6141 | 22.0978 | 21.2327 | 21.4116 | 21.198 | 21.7532 | 22.5328 | 21.9767 | 22.6365 | 22.9168 | 23.9543 | 24.1079
Hydro QLD | Capacity Factor | % | 38.1395 | 38.2378 | 38.7026 | 39.5334 | 39.6961 | 39.6974 | 40.7095 | 40.6388 | 41.2372 | 41.6973 | 41.7648 | 42.324 | 42.0384 | 42.3087 | 42.3177
Hydro VIC | Capacity Factor | % | 15.352 | 15.2797 | 15.3329 | 15.4847 | 15.6875 | 15.6189 | 15.6185 | 15.5015 | 15.5372 | 15.6501 | 15.7821 | 15.6358 | 15.4756 | 15.3686 | 15.4845
Hydro TAS | Capacity Factor | % | 52.7651 | 51.0487 | 52.3141 | 52.0824 | 52.283 | 51.9279 | 52.2812 | 52.4732 | 52.5834 | 52.0882 | 52.367 | 52.2809 | 52.1667 | 51.6533 | 51.9465
Large Scale Storage SA | Capacity Factor | % | 6.4036 | 6.5545 | 6.5883 | 7.0056 | 4.6799 | 4.1671 | 3.7268 | 3.987 | 4.1369 | 4.0963 | 4.0257 | 4.1938 | 4.2776 | 3.9563 | 4.2931
Large Scale Storage QLD | Capacity Factor | % | 11.1051 | 9.872 | 10.4859 | 11.0469 | 11.3326 | 11.3258 | 11.1312 | 11.486 | 12.4022 | 13.4697 | 12.6413 | 12.3765 | 12.7984 | 12.9118 | 13.0939
Large Scale Storage VIC | Capacity Factor | % | 6.7452 | 9.0196 | 10.8889 | 11.2781 | 9.1445 | 8.1257 | 6.8747 | 7.5358 | 7.5406 | 7.5832 | 10.1861 | 10.0508 | 9.5328 | 8.0773 | 8.0243
Distributed Storage NSW | Capacity Factor | % | 0.36824 | 0.47745 | 0.5464 | 0.5335 | 0.23219 | 1.0644 | 0.50975 | 0.11863 | 0.1036 | 0.2421 | 0.085967 | 0.051549 | 0.18192 | 0.43071 | 0.56806
Distributed Storage QLD | Capacity Factor | % | 9.7413 | 9.7634 | 9.4991 | 9.6057 | 10.0503 | 9.8049 | 9.5219 | 9.8666 | 10.7776 | 12.1872 | 11.426 | 10.8279 | 11.3544 | 11.3241 | 11.1578
Distributed Storage SA | Capacity Factor | % | 15.6033 | 15.8179 | 15.6736 | 15.6837 | 13.3159 | 11.7802 | 10.6383 | 10.9169 | 10.6598 | 10.3177 | 10.1343 | 9.9726 | 9.6965 | 9.0947 | 8.8541
Distributed Storage TAS | Capacity Factor | % | 0.39278 | 0.53244 | 0.61902 | 0.68871 | 0.3281 | 1.3533 | 0.8877 | 0.23674 | 0.25276 | 0.29931 | 0.32004 | 0.27958 | 0.38488 | 1.0374 | 1.1999
Distributed Storage VIC | Capacity Factor | % | 13.7144 | 13.8737 | 13.7912 | 14.0186 | 14.7711 | 15.0752 | 13.234 | 14.1222 | 13.9239 | 13.6137 | 16.2811 | 16.2178 | 15.3062 | 12.8998 | 12.6062
New Natural Gas NSW | Capacity Factor | % |  |  |  | 1.8151 | 1.7272 | 2.5897 | 2.328 | 1.0711 | 1.3982 | 4.654 | 4.1016 | 8.9478 | 10.6481 | 19.1473 | 11.9242
New Natural Gas VIC | Capacity Factor | % |  |  |  | 1.3611 | 1.1804 | 0.94348 | 1.505 | 1.0264 | 1.5799 | 1.672 | 1.017 | 1.4609 | 2.7701 | 9.5712 | 7.1825
New Natural Gas SA | Capacity Factor | % | [5 empty] | 1.7013 | 2.372 | 1.0307 | 1.5622 | 3.0898 | 2.1649 | 4.9855 | 6.4544 | 14.9149 | 11.5849
Pumped Hydro SA | Capacity Factor | % | [5 empty] | 20.0498 | 20.4658 | 20.1509 | 20.8494 | 21.9965 | 21.654 | 22.295 | 22.6992 | 22.0644 | 22.4178
Pumped Hydro NSW | Capacity Factor | % | [5 empty] | 18.6987 | 19.8162 | 19.0597 | 19.6238 | 21.6468 | 20.7612 | 21.9979 | 22.3828 | 23.4571 | 23.5242
Pumped Hydro QLD | Capacity Factor | % | 2029: 24.0731; 2030: 24.1997; 2031: 24.4208; 2032: 24.4487; 2033: 24.6502; 2034: 24.6438
Pumped Hydro VIC | Capacity Factor | % | 2033: 21.6853; 2034: 21.9675

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 1133195.3931 | 1132965.188 | 1130667.3749 | 1172857.2743 | 1158322.5152 | 1165984.8873 | 1310562.3913 | 1315559.9235 | 1432723.8666 | 1325342.7753 | 1353407.394 | 1409446.0663 | 1456039.2873 | 1372202.2798 | 1506420.9929
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 919031.6472 | 941988.3426 | 1034844.2741 | 1151380.6057 | 1160233.9537 | 1210846.8314 | 1151093.4363 | 1086283.7119 | 1123731.0064 | 1207099.3968 | 996699.2693 | 977411.3478 | 1037844.3079 | 1070110.0619 | 1103910.4364
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 319881.556 | 309951.0556 | 283802.9722 | 288049.5335 | 314571.5884 | 305886.8271 | 278020.6496 | 305982.5011 | 277066.7386 | 275551.4501 | 299055.544 | 302030.1769 | 281374.0061 | 215654.6189 | 216260.1765
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 1972.4216 | 3339.6931 | 27304.5043 | 60948.5617 | 66955.8385 | 78738.2007 | 90760.8358 | 45001.7279 | 48807.1579 | 126389.1038 | 121124.4609 | 136991.2554 | 185041.9467 | 294390.565 | 213073.6582
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 206170.1656 | 206264.5812 | 176511.2864 | 148359.5346 | 138682.1915 | 134205.3164 | 166926.2737 | 133960.8167 | 124924.8646 | 131848.2423 | 215099.1645 | 260706.9027 | 289512.6097 | 346928.0899 | 299409.2019
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 6833.3884 | 4789.5046 | 10386.0023 | 7609.0659 | 6993.336 | 7373.816 | 10448.5901 | 3440.7487 | 6497.3897 | 9705.5856 | 6045.455 | 7602.4893 | 13106.9975 | 43803.7215 | 28592.8948
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 436876.7312 | 432944.8748 | 441689.9762 | 337303.1253 | 32373.827 | 25333.2743 | 32792.6687 | 16714.7829 | 17248.5909 | 34649.6178 | 27693.4578 | 33263.0127 | 45095.482 | 73637.3857 | 59788.7462
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 64.6955 | 21.2937 | 0 | 0 | 60.6069 | 0 | 0 | 20.0588 | 19.9008 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44.4207 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 155.559 | 0 | 93.5755 | 0 | 0 | 24.2229 | 0 | 0 | 20.4974 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 23968.9039 | 24530.1448 | 27925.5821 | 35795.5628 | 38482.7774 | 33320.1867 | 34981.6259 | 34496.1746 | 38475.1649 | 44927.3032 | 40328.5113 | 45147.265 | 45522.3611 | 55710.9426 | 56559.2599
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6772.1485 | 7107.0982 | 8574.039 | 11352.2102 | 11492.2122 | 11857.4289 | 14976.1168 | 14671.3943 | 16289.2594 | 17846.8668 | 17979.8078 | 19993.678 | 18845.546 | 19903.4321 | 19552.2432
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22582.7755 | 22427.6578 | 22471.5331 | 22901.0255 | 23201.3351 | 23205.0786 | 23174.9829 | 22922.9836 | 22924.3217 | 23206.6674 | 23363.9562 | 23162.2417 | 22876.4458 | 22584.2745 | 22801.5237
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62323.7792 | 62349.3189 | 62427.8713 | 62243.4577 | 62388.9493 | 62279.7353 | 62288.7765 | 62363.38 | 62467.7886 | 62326.7478 | 62366.3291 | 62311.8674 | 62352.1966 | 62234.4492 | 62539.8853
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 8974.0188 | 8314.7278 | 12129.4261 | 10610.7202 | 4742.5136 | 6190.8831 | 20606.7986 | 18160.8179 | 39618.7303 | 48772.7024 | 87702.6489 | 54617.6111
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 0 | 0 | 4541.5683 | 3843.5592 | 2993.5562 | 4654.2036 | 3091.6039 | 4758.4616 | 5083.8895 | 3092.2397 | 4475.7998 | 8486.8084 | 29322.9258 | 22004.7296
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 2407.1172 | 3251.6745 | 1367.5463 | 2072.8181 | 4176.1109 | 2925.9939 | 6738.2709 | 9016.4881 | 20835.5555 | 16183.6092
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 12466.261 | 15327.8568 | 15091.5989 | 15615.689 | 16479.7255 | 17655.0712 | 18173.9671 | 18847.3303 | 29211.491 | 29692.8471
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 2883.5721 | 3055.3749 | 2938.5147 | 3025.6636 | 3576.6313 | 11246.3853 | 11917.5418 | 16049.0061 | 26687.5672 | 26764.0007
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6413.3822 | 21474.438 | 21670.9719 | 21695.7656 | 21874.7834 | 21869.0937
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9294.0878 | 9415.2662

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 6499 | 6499 | 6499 | 6499 | 6499
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2671.1 | 2671.1 | 2431.1 | 2431.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4240 | 4640 | 5040 | 5040 | 5040 | 5340 | 5340 | 5740 | 5740 | 5740 | 5740 | 5740
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1414 | 1414 | 1414 | 3033 | 3033
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 1535.7 | 2270.7 | 2947.7 | 3767.7 | 4452.7 | 4452.7 | 4452.7 | 4452.7 | 4452.7
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 276 | 503 | 631 | 631 | 631 | 631 | 631
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 490 | 490 | 842 | 970 | 970 | 970 | 1096 | 1096 | 1096 | 1096 | 2056 | 2056
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 190 | 190 | 190 | 331 | 331
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 25.1568 | 56.0691 | 95.8798 | 142.8159 | 196.0542 | 253.9814 | 314.6069 | 377.6072 | 442.051 | 507.2804 | 573.3688 | 634.0407 | 687.346 | 739.0638 | 803.9992
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 13.6923 | 30.9345 | 51.8416 | 75.3569 | 100.2728 | 126.2546 | 152.7033 | 179.8653 | 207.739 | 236.1665 | 265.0381 | 294.2611 | 323.755 | 353.0294 | 397.184
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 4.6986 | 10.6141 | 18.2709 | 27.3616 | 37.6467 | 49.2016 | 61.6345 | 74.7964 | 88.5706 | 102.8717 | 117.6225 | 132.3793 | 146.6603 | 160.356 | 183.121
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 1.1074 | 2.4017 | 3.9644 | 5.8927 | 7.4173 | 8.7301 | 9.7122 | 10.6559 | 11.4994 | 12.2389 | 12.9664 | 13.6654 | 14.3392 | 14.99 | 15.7718
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 15.5741 | 34.1933 | 54.664 | 76.9652 | 100.4807 | 125.6983 | 151.7562 | 178.5289 | 205.3924 | 232.5471 | 260.3066 | 288.6046 | 317.3904 | 346.1144 | 386.7479
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 0 | 0 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 621 | 748 | 748 | 748 | 748 | 814 | 814 | 829 | 1322 | 1322
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 154 | 154 | 154 | 154 | 165 | 541 | 541 | 716 | 1136 | 1136
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 266 | 886 | 886 | 886 | 886 | 886
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 428 | 428

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 20.1176 | 20.8684 | 21.2403 | 23.3948 | 24.029 | 25.1858 | 25.9795 | 26.8147 | 28.7876 | 29.5429 | 30.791 | 31.7357 | 32.2089 | 32.7015 | 33.2508
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.7667 | 22.3234 | 22.5691 | 22.8742 | 23.1876 | 23.6416 | 24.0684 | 24.4436 | 25.2255 | 25.9959 | 23.8432 | 24.2534 | 24.9436 | 25.5992 | 25.8737
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.6112 | 8.6112 | 8.6669 | 8.7405 | 8.7405 | 8.4674 | 8.4674
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 99.7281 | 99.7281 | 99.7281 | 96.6123 | 93.4965 | 90.4065 | 87.2564 | 87.2564 | 87.2907 | 87.2907 | 87.2907 | 91.6272 | 91.6272 | 91.6272 | 91.6272
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 85.8312 | 83.6367 | 90.6957 | 78.5227 | 77.2749 | 78.6239 | 74.2703 | 74.2933 | 70.456 | 61.1059 | 78.7349 | 81.4521 | 81.4521 | 81.4521 | 80.144
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 145.6956 | 121.7153 | 137.4545 | 113.2925 | 126.442 | 132.2156 | 130.0959 | 102.2083 | 104.519 | 130.6084 | 119.2907 | 126.937 | 132.5431 | 129.696 | 126.4507
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 115.6489 | 113.0091 | 116.0837 | 113.192 | 123.5368 | 120.492 | 117.5568 | 98.7921 | 90.5542 | 117.8069 | 117.8069 | 121.0926 | 121.0926 | 121.0926 | 121.0926
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh | 2025: 420.6241; 2026: 415.1948; 2029: 401.9371; 2032: 390.4958; 2033: 387.3371
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh | 2033: 361.4748
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh | 2024: 434.3103; 2026: 423.5938; 2029: 408.5682; 2032: 398.7786
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.0093161 | 0.0094227 | 0.0098401 | 0.010487 | 0.010646 | 0.010376 | 0.010484 | 0.010476 | 0.010674 | 0.010924 | 0.01078 | 0.010947 | 0.010927 | 0.011154 | 0.01118
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098326 | 0.0098481 | 0.0098521 | 0.0098543 | 0.0098553 | 0.0098639 | 0.0098529 | 0.0098526 | 0.0098565 | 0.0098551 | 0.009855 | 0.0098616 | 0.0098533 | 0.0098535 | 0.009857
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 101.6118 | 98.6683 | 95.7248 | 92.8828 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 93.3903 | 93.3903 | 93.3903
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  |  |  | 107.7018 | 104.8598 | 101.9163 | 99.0743 | 96.2323 | 96.2323 | 97.2473 | 97.2473 | 98.0593 | 98.0593 | 98.0593 | 98.0593
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | [5 empty] | 94.304 | 91.056 | 87.808 | 87.808 | 89.635 | 89.635 | 89.635 | 92.9845 | 92.9845 | 92.9845
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | [5 empty] | 0.01143 | 0.01143 | 0.01143 | 0.01143 | 0.011434 | 0.011434 | 0.011432 | 0.011434 | 0.011432 | 0.011437
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh | [5 empty] | 0.011431 | 0.011429 | 0.011428 | 0.011429 | 0.011431 | 0.01143 | 0.011432 | 0.011432 | 0.011433 | 0.011433
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2029: 0.011433; 2030: 0.011433; 2031: 0.011434; 2032: 0.011434; 2033: 0.011434; 2034: 0.011434
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh | 2033: 0.011431; 2034: 0.011431

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 52502.599 | 51188.8205 | 49162.2064 | 46002.2489 | 45239.0154 | 42177.2744 | 45271.0601 | 45639.6068 | 46001.1125 | 41075.0036 | 40347.9798 | 40760.5241 | 41451.9377 | 38369.3428 | 41548.5994
Black Coal QLD | Black Coal | QLD | Generation | GWh | 39553.6445 | 39760.621 | 42656.2256 | 46231.266 | 46062.9748 | 47261.0686 | 44553.8702 | 41785.3517 | 41341.5252 | 43259.538 | 37407.3737 | 35796.1954 | 36045.5668 | 37189.4124 | 38169.5064
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 31437.5941 | 30337.2044 | 27952.3914 | 28250.4858 | 30377.6751 | 29546.3085 | 26762.7799 | 29427.4159 | 26259.5344 | 26105.5077 | 28381.4518 | 28407.9189 | 26637.6389 | 20748.7748 | 20806.7038
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 20.4084 | 36.3003 | 282.5482 | 648.6791 | 734.4391 | 892.9467 | 1061.7449 | 530.1031 | 568.318 | 1462.0911 | 1423.3209 | 1606.737 | 2120.0013 | 3242.1402 | 2426.9828
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 2014.1156 | 2016.7495 | 1792.0137 | 1738.208 | 1778.8755 | 1915.6009 | 2677.799 | 2150.7851 | 2009.3491 | 2135.7213 | 2904.2983 | 3480.6267 | 3892.8373 | 4675.4849 | 4059.0854
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 51.7831 | 35.6223 | 79.914 | 60.629 | 56.7613 | 60.3696 | 88.7118 | 29.5284 | 55.6557 | 82.7543 | 50.8946 | 64.245 | 109.6728 | 369.218 | 242.2758
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5453.9765 | 5403.1898 | 5501.9854 | 4255.7839 | 350.1728 | 293.7566 | 394.4471 | 204.5911 | 195.988 | 392.5909 | 316.1376 | 385.4262 | 522.1682 | 823.4232 | 679.7611
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0.1485 | 0.0495 | 0 | 0 | 0.14542 | 0 | 0 | 0.0495 | 0.0495 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11817 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0.33661 | 0 | 0.20616 | 0 | 0 | 0.055706 | 0 | 0 | 0.04875 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4266.9151 | 4261.8973 | 4216.1713 | 4311.325 | 4284.8181 | 4204.9231 | 4259.6435 | 4253.5677 | 4223.9854 | 4223.9292 | 4194.0667 | 4243.0422 | 4260.9955 | 4206.6014 | 4299.7685
Wind QLD | Wind | QLD | Generation | GWh | 1965.575 | 1965.5408 | 1949.3365 | 1999.7754 | 1976.6194 | 1936.6756 | 1963.075 | 1950.0117 | 1879.2946 | 1812.2512 | 1839.574 | 1878.8907 | 1891.0211 | 1840.8802 | 1893.9361
Wind VIC | Wind | VIC | Generation | GWh | 8447.696 | 10618.8945 | 11746.3436 | 11852.5823 | 13476.3191 | 14703.9352 | 14777.5105 | 14587.0094 | 15688.1843 | 15487.8038 | 16079.8729 | 16185.1837 | 16283.9427 | 16535.1604 | 16585.7084
Wind SA | Wind | SA | Generation | GWh | 5839.0961 | 5814.5072 | 5703.7147 | 5637.5217 | 5879.2429 | 5625.0156 | 5656.1256 | 5640.45 | 5604.3757 | 5684.0129 | 5594.7317 | 5612.2892 | 5603.5639 | 5409.5245 | 5462.9113
Wind TAS | Wind | TAS | Generation | GWh | 1337.7315 | 1329.5045 | 1335.9306 | 1342.046 | 1306.1706 | 1325.6304 | 1328.9121 | 1327.9912 | 1340.9271 | 1286.887 | 1321.0632 | 1329.4148 | 1332.6196 | 1331.3833 | 1344.0463
Solar NSW | Solar | NSW | Generation | GWh | 1094.6557 | 1094.0869 | 1099.7696 | 1090.6928 | 1094.8302 | 1096.864 | 1088.3913 | 1082.1759 | 1080.8342 | 1087.04 | 1087.1333 | 1080.3974 | 1081.1728 | 1089.7903 | 1081.7952
Solar QLD | Solar | QLD | Generation | GWh | 3244.9456 | 3241.8568 | 3250.2465 | 3240.0081 | 3250.5864 | 3249.4527 | 3238.1067 | 3182.4687 | 2919.251 | 2508.6987 | 2921.7044 | 2956.8486 | 2884.3367 | 2931.3832 | 2871.6259
Solar VIC | Solar | VIC | Generation | GWh | 1802.456 | 1812.8677 | 1810.0103 | 1773.2298 | 2579.031 | 3618.5912 | 3618.5784 | 3577.9467 | 3840.3268 | 3818.3089 | 4066.8383 | 4054.7446 | 4092.5243 | 4251.9791 | 4270.7331
Solar SA | Solar | SA | Generation | GWh | 854.5707 | 845.8054 | 845.1051 | 820.1252 | 846.4925 | 828.6552 | 813.609 | 811.2702 | 810.4417 | 772.1283 | 755.0022 | 747.2 | 752.5863 | 736.6568 | 729.3829
REZ Solar NSW | Solar | NSW | Generation | GWh | 3309.1182 | 3309.5693 | 3326.4659 | 3315.9627 | 3529.8581 | 3530.2535 | 3517.7491 | 3500.71 | 3513.3725 | 3515.1582 | 3772.9011 | 3761.2398 | 3768.0034 | 7968.0411 | 7877.8357
REZ Wind NSW | Wind | NSW | Generation | GWh | 479.9025 | 481.8647 | 481.4922 | 488.9776 | 476.6345 | 473.1169 | 479.0524 | 480.3162 | 479.5605 | 468.249 | 469.4369 | 476.5279 | 481.6332 | 479.5567 | 485.0601
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.1432 | 1797.3715 | 1803.9155 | 1785.8335 | 1806.0012 | 1800.4 | 4123.8078 | 6101.8636 | 7895.4755 | 9906.5292 | 11700.8622 | 11702.9106 | 11702.3675 | 11683.2512 | 11494.1007
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 352.7481 | 1053.436 | 1845.5268 | 2471.6437 | 2466.7431 | 2435.229 | 2431.867 | 2421.1696
REZ Solar SA | Solar | SA | Generation | GWh | 444.3344 | 441.3689 | 441.7728 | 1309.419 | 1334.9418 | 2288.0875 | 2632.7948 | 2619.0964 | 2635.7415 | 2939.376 | 2906.6867 | 2888.8954 | 2896.9848 | 4137.5307 | 4117.6888
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 629.7705 | 848.7903 | 857.1901 | 861.6638 | 1494.2186 | 1505.9916
Hydro NSW | Hydro | NSW | Generation | GWh | 3166.2423 | 3195.9695 | 3391.4395 | 3848.4896 | 4001.9193 | 3690.6483 | 3787.5312 | 3759.9876 | 3987.8948 | 4352.8986 | 4087.791 | 4349.9824 | 4380.6793 | 4959.9335 | 5012.4202
Hydro QLD | Hydro | QLD | Generation | GWh | 758.4069 | 777.4796 | 860.1016 | 1017.3168 | 1026.4289 | 1044.7775 | 1222.7863 | 1205.8052 | 1298.1982 | 1386.0725 | 1393.9468 | 1505.9867 | 1443.0305 | 1502.2421 | 1483.5831
Hydro VIC | Hydro | VIC | Generation | GWh | 3109.4503 | 3088.092 | 3094.1332 | 3153.2705 | 3194.6206 | 3195.136 | 3190.9921 | 3156.294 | 3156.4782 | 3195.3548 | 3217.0121 | 3189.2377 | 3149.8861 | 3109.6567 | 3139.57
Hydro TAS | Hydro | TAS | Generation | GWh | 8581.4383 | 8584.9549 | 8595.7709 | 8570.3787 | 8590.4117 | 8575.3738 | 8576.6187 | 8586.891 | 8601.2671 | 8581.8471 | 8587.297 | 8579.7982 | 8585.3511 | 8569.1383 | 8611.1942
Large Scale Storage SA | Battery | SA | Generation | GWh | 89.3241 | 91.1743 | 91.6483 | 96.2522 | 69.0567 | 62.5785 | 56.3147 | 59.4337 | 59.9686 | 59.8924 | 58.6699 | 60.2321 | 61.2922 | 57.6182 | 61.1247
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.1414 | 71.3063 | 75.3976 | 79.8838 | 81.9911 | 81.4692 | 79.613 | 83.6982 | 95.6377 | 106.6345 | 96.9707 | 95.1272 | 99.6727 | 100.5266 | 103.0545
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 60.0418 | 76.3725 | 91.274 | 95.208 | 78.847 | 72.8828 | 61.4693 | 67.7763 | 67.8268 | 68.2266 | 92.4058 | 91.1651 | 86.5151 | 72.822 | 72.3932
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.8115 | 2.3451 | 4.5893 | 6.6744 | 3.9877 | 23.6825 | 14.0485 | 3.9242 | 4.0119 | 10.7585 | 4.3179 | 2.8631 | 10.9534 | 27.8849 | 40.0085
Distributed Storage QLD | Battery | QLD | Generation | GWh | 11.6841 | 26.4574 | 43.1385 | 63.41 | 88.2806 | 108.4412 | 127.3721 | 155.4601 | 196.1306 | 252.1317 | 265.2817 | 279.1132 | 322.0225 | 350.2005 | 388.2154
Distributed Storage SA | Battery | SA | Generation | GWh | 6.4223 | 14.7074 | 25.086 | 37.5918 | 43.9138 | 50.7733 | 57.4381 | 71.5292 | 82.7069 | 92.9784 | 104.4213 | 115.6467 | 124.5749 | 127.7544 | 142.0325
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.038102 | 0.11202 | 0.21497 | 0.35551 | 0.21319 | 1.035 | 0.75525 | 0.22099 | 0.25462 | 0.3209 | 0.36352 | 0.33468 | 0.48345 | 1.3622 | 1.6578
Distributed Storage VIC | Battery | VIC | Generation | GWh | 18.7105 | 41.5563 | 66.0403 | 94.5154 | 130.017 | 165.996 | 175.9301 | 220.8586 | 250.5243 | 277.3267 | 371.2548 | 410.0148 | 425.5632 | 391.118 | 427.0874
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 79.5003 | 75.6523 | 113.4293 | 101.9643 | 46.9138 | 61.2414 | 203.8463 | 179.6502 | 391.9158 | 466.3863 | 838.6518 | 522.2779
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 0 | 0 | 38.1542 | 33.0882 | 26.4477 | 42.1893 | 28.7734 | 44.2868 | 46.8683 | 28.5073 | 40.9527 | 77.6527 | 268.2991 | 201.339
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 22.3557 | 31.1686 | 13.5432 | 20.5277 | 40.5998 | 28.4463 | 65.509 | 84.8105 | 195.9824 | 152.2255
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 1090.7023 | 1341.0174 | 1320.3864 | 1366.152 | 1441.3151 | 1544.0723 | 1589.774 | 1648.424 | 2555.2145 | 2596.1457
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 252.2524 | 267.3279 | 257.1232 | 264.7334 | 312.8833 | 983.9075 | 1042.5155 | 1403.8829 | 2334.3037 | 2340.9782
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 560.941 | 1878.2275 | 1895.3897 | 1897.5547 | 1913.1873 | 1912.6904
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 813.0432 | 823.6249

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 1619 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 866 | 735 | 677 | 820 | 685 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 185 | 227 | 128 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 324 | 0 | 352 | 128 | 0 | 0 | 126 | 0 | 0 | 0 | 960 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0 | 0 | 141 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 0 | 400 | 400 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 57231.2176 | 55798.5933 | 53638.9114 | 50269.0191 | 49385.7956 | 46028.0527 | 49418.9635 | 49837.0248 | 50231.1697 | 44907.944 | 44112.4554 | 44563.9438 | 45320.6664 | 41989.2036 | 45426.3748
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 79958.0698 | 80844.6414 | 87454.3709 | 97578.1707 | 97456.714 | 100633.3872 | 89993.7893 | 84795.992 | 89775.8576 | 90086.5614 | 86079.5776 | 86165.404 | 81202.5892 | 88507.227 | 89241.1319
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 35618.5258 | 34370.3957 | 31644.5827 | 31983.9945 | 34415.7968 | 33473.3771 | 30363.466 | 33338.1065 | 29753.8027 | 29580.7213 | 32154.1377 | 32184.1312 | 30153.9982 | 23404.5525 | 23469.6595
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 23968.9039 | 24530.1448 | 27925.5821 | 35795.5628 | 38482.7774 | 33320.1867 | 34981.6259 | 34496.1746 | 38475.1649 | 44927.3032 | 40328.5113 | 45147.265 | 45522.3611 | 55710.9426 | 56559.2599
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6772.1485 | 7107.0982 | 8574.039 | 11352.2102 | 11492.2122 | 11857.4289 | 14976.1168 | 14671.3943 | 16289.2594 | 17846.8668 | 17979.8078 | 19993.678 | 18845.546 | 19903.4321 | 19552.2432
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62323.7792 | 62349.3189 | 62427.8713 | 62243.4577 | 62388.9493 | 62279.7353 | 62288.7765 | 62363.38 | 62467.7886 | 62326.7478 | 62366.3291 | 62311.8674 | 62352.1966 | 62234.4492 | 62539.8853
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22582.7755 | 22427.6578 | 22471.5331 | 22901.0255 | 23201.3351 | 23205.0786 | 23174.9829 | 22922.9836 | 22924.3217 | 23206.6674 | 23363.9562 | 23162.2417 | 22876.4458 | 22584.2745 | 22801.5237
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 1.6035 | 0.5345 | 0 | 0 | 1.5702 | 0 | 0 | 0.5345 | 0.5345 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.276 | 0
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 3.8699 | 0 | 2.3684 | 0 | 0 | 0.63983 | 0 | 0 | 0.559 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 170.7976 | 291.298 | 2347.7584 | 5466.3554 | 6203.7837 | 7456.1828 | 8948.1854 | 4446.9445 | 4819.2108 | 12441.7262 | 11932.6978 | 12929.451 | 17383.8037 | 27210.2037 | 19921.6957
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16856.1025 | 16884.7921 | 14220.4096 | 12839.9289 | 13151.2199 | 14185.8687 | 19984.1961 | 15979.0421 | 14884.5615 | 15814.6557 | 21710.3005 | 26109.3667 | 29264.1106 | 35396.6425 | 30432.1936
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 35090.692 | 34790.7692 | 35651.4305 | 28080.1574 | 3989.4806 | 3359.2458 | 4513.3194 | 2344.8036 | 2242.1167 | 4489.4936 | 3618.0168 | 4424.2103 | 5992.587 | 9425.6999 | 7791.916
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 620.7219 | 443.613 | 977.6316 | 741.9961 | 682.5926 | 710.5383 | 1011.0848 | 331.1999 | 625.7818 | 941.6686 | 576.9834 | 715.8443 | 1187.7302 | 3998.4581 | 2623.1889
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 815.0789 | 775.6276 | 1162.9363 | 1045.3911 | 480.9852 | 627.8786 | 2089.939 | 1841.8679 | 4018.1268 | 4781.6375 | 8598.2989 | 5354.6678
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 233.9278 | 326.1459 | 141.7146 | 214.7998 | 424.8333 | 297.6596 | 685.4803 | 887.4496 | 2050.7437 | 1592.8749
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 391.1773 | 339.2374 | 271.1555 | 432.5468 | 295.0004 | 454.0517 | 480.5189 | 292.2722 | 419.8687 | 796.1359 | 2750.7435 | 2064.2335
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas | MW | 2495 | 2495 | 2495 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2305 | 2305 | 2305
Wind | MW | 218.55 | 279.75 | 318 | 318 | 348 | 378 | 378 | 378 | 400.5 | 400.5 | 430.5 | 430.5 | 430.5 | 430.5 | 430.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2647 | 2647
Battery | MW | 120.5741 | 139.1933 | 159.664 | 181.9652 | 205.4807 | 230.6983 | 256.7562 | 283.5289 | 310.3924 | 337.5471 | 365.3066 | 393.6046 | 422.3904 | 451.1144 | 491.7479
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 9611.02 | 9519.17 | 9340.28 | 9045.48 | 9245.18 | 9219.72 | 9211.17 | 9329.81 | 9261.36 | 9323.11 | 9263.07 | 9277.7 | 9392.05 | 9332.86 | 9143.54
Peak Load + Min Capacity Reserves | MW | 10109.02 | 10017.17 | 9838.28 | 9543.48 | 9743.18 | 9717.72 | 9709.17 | 9827.81 | 9759.36 | 9821.11 | 9761.07 | 9775.7 | 9890.05 | 9830.86 | 9641.54

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.2558 | 37.4164 | 41.1173 | 41.3423 | 42.7292 | 45.8725 | 48.5906 | 46.2629 | 50.5459 | 50.6716 | 49.5077 | 49.6495 | 51.3827 | 58.0573 | 58.3806
Wind | GWh | 8447.696 | 10618.8945 | 11746.3436 | 11852.5823 | 13476.3191 | 14703.9352 | 14777.5105 | 14587.0094 | 15688.1843 | 15487.8038 | 16079.8729 | 16185.1837 | 16283.9427 | 16535.1604 | 16585.7084
Solar | GWh | 1802.456 | 1812.8677 | 1810.0103 | 1773.2298 | 2579.031 | 3618.5912 | 3618.5784 | 3577.9467 | 3840.3268 | 3818.3089 | 4066.8383 | 4054.7446 | 4092.5243 | 4251.9791 | 4270.7331
Hydro | GWh | 3109.4503 | 3088.092 | 3094.1332 | 3153.2705 | 3194.6206 | 3195.136 | 3190.9921 | 3156.294 | 3156.4782 | 3195.3548 | 3217.0121 | 3189.2377 | 3149.8861 | 3922.6999 | 3963.195
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 47214.2119 | 48614.2979 | 47753.367 | 48530.0048 | 53430.877 | 55188.2146 | 52774.5215 | 55407.4086 | 53944.6619 | 53885.1387 | 57285.0147 | 57624.6866 | 56229.0968 | 52095.4641 | 52258.7612

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Waubra transmission line | Annual hours | 43 | 71 | 423 | 456 | 964 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 11 | 4 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - North Ballarat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 593 | 324 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2284 | 2098 | 2805 | 2246 | 1609 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Avoid overload of Balranald - Darlington Point transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 681 | 692 | 918 | 948 | 42 | 16 | 31 | 23 | 21 | 24 | 92 | 74 | 80 | 311 | 318
Avoid overload of Bendigo - North Ballarat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 1 | 2 | 2 | 5 | 8 | 4 | 0 | 1
Avoid overload of Bulgana - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 3 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bulgana - Waubra transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Buronga - Balranald transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Crowlands to Ararat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 111 | 566 | 406 | 325 | 3 | 2 | 3 | 4 | 3 | 0 | 0 | 0 | 1 | 0
Avoid overload of Geelong - Keilor transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 3 | 3 | 2 | 3 | 3 | 3 | 4 | 0
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 5 | 85 | 354 | 0 | 0 | 0 | 4 | 1 | 1 | 1 | 0 | 0 | 0
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 61 | 72 | 124 | 211 | 173 | 4 | 5 | 7 | 5 | 4 | 111 | 109 | 112 | 128 | 127
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of North Ballarat - Waubra transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victoria to New South Wales export stability constraint | Annual hours | 2294 | 3326 | 3658 | 3828 | 3803 | 4153 | 3031 | 3939 | 3349 | 3557 | 5122 | 5064 | 4366 | 3290 | 3025