# Testing of facilities for the purposes of the Reserve Capacity Mechanism

## 01 January 2021 to 31 March 2021

The following Reserve Capacity Tests were undertaken by System Management over the three-month period.

|  |  |
| --- | --- |
| Participant | Facility |
| WPGENER | PINJAR\_GT1 |
| WPGENER | PINJAR\_GT3 |
| WPGENER | PINJAR\_GT5 |
| WPGENER | PINJAR\_GT7 |
| WPGENER | PINJAR\_GT10 |
| WPGENER | MUJA\_G6 |

The following Reserve Capacity Tests were delayed due to Forced Outages.

|  |  |
| --- | --- |
| Participant | Facility |
| WPGENER | MUJA\_GT7 |
| WPGENER | PINJAR\_GT4 |
| LNDFLLGP | KALAMUNDA\_SG |