## 2017
Date | Price Outcome |  |  |  |  | Rebidding Capacity | Demand/ Environmental Factors |  |  |  |  | Constraints |  |  |  | Report Available
| Total # of High Energy Price (>$2,000/MWh) Half Hours | Total # of Negative Energy Price (<-$100/MWh) Half Hours | High FCAS Price (>$300/MWh Mainland) (>$3,000/MWh Tasmania) | Lack of Reserve (LOR) conditions present | Region/s affected |  | High Demand | Low Demand | High Wind | Low Wind | High Temperatures | Generation Constraints | Significant Generation Outages | Network Outages & Constraints | High Gas Price or Other Fuel Constraints
2017-01-07 | 1 | - | - | - | SA | Yes | Yes | - | - | - | Yes | Yes | Yes | - | - | Yes
2017-01-11 | 1 | - | - | - | QLD | Yes | - | - | - | - | - | Yes | Yes | - | - | Yes
2017-01-12 | 7 | - | - | - | QLD | Yes | Yes | - | - | - | Yes | Yes | Yes | Yes | - | Yes
2017-01-13 | 8 | - | - | - | QLD | Yes | Yes | - | - | - | Yes | Yes | Yes | - | - | Yes
2017-01-14 | 14 | - | - | - | QLD | Yes | Yes | - | - | - | - | Yes | Yes | Yes | Yes | Yes
2017-01-15 | 1 | - | - | - | QLD | Yes | Yes | - | - | - | - | Yes | Yes | - | Yes | Yes
2017-01-18 | 1 | - | - | - | QLD | - | Yes | - | - | - | - | - | Yes | Yes | Yes | Yes
2017-01-19 | 1 | - | - | - | SA | - | Yes | - | - | - | Yes | Yes | Yes | - | - | Yes
2017-01-20 | 2 | - | - | - | QLD | Yes | Yes | - | - | - | - | Yes | Yes | Yes | Yes | Yes
2017-01-23 | 1 | - | Yes | LOR2 | SA | - | - | - | - | - | Yes | Yes | Yes | Yes | - | Yes
2017-01-24 | 1 | - | - | - | QLD | - | Yes | - | - | - | - | Yes | Yes | Yes | Yes | Yes
2017-01-26 | 1 | - | - | - | QLD | - | Yes | - | - | - | - | Yes | Yes | Yes | - | Yes
2017-01-27 | 1 | - | - | - | QLD | - | Yes | - | - | - | - | Yes | Yes | Yes | - | Yes
2017-01-29 | 2 | - | - | - | QLD | Yes | Yes | - | - | - | Yes | Yes | Yes | Yes | - | Yes
2017-01-30 | 3 | 1 | - | - | QLD, NSW, TAS | Yes | Yes | - | - | - | Yes | Yes | Yes | Yes | - | Yes
2017-01-31 | 2 | - | - | - | QLD | Yes | Yes | - | - | - | - | Yes | Yes | Yes | - | Yes
2017-02-01 | 5 | - | - | - | QLD | Yes | Yes | - | - | - | - | Yes | Yes | Yes | Yes | Yes
2017-02-02 | 6 | - | - | - | QLD | Yes | Yes | - | - | - | - | Yes | Yes | Yes | Yes | Yes
2017-02-03 | 1 | - | - | - | QLD | Yes | Yes | - | - | - | - | Yes | Yes | Yes | Yes | Yes
2017-02-05 | 1 | - | - | - | QLD | - | Yes | - | - | - | - | - | Yes | - | - | Yes
2017-02-06 | 8 | - | Yes | LOR1 | QLD, NSW, VIC, SA | Yes | Yes | - | - | - | - | Yes | Yes | - | Yes | Yes
2017-02-07 | 1 | - | - | - | QLD | Yes | - | - | - | - | - | Yes | Yes | Yes | Yes | Yes
2017-02-08 | 7 | - | - | LOR3 | SA | - | Yes | - | - | Yes | Yes | - | Yes | - | Yes | Yes
2017-02-09 | 10 | 2 | Yes | LOR1 | QLD, NSW, VIC, SA, TAS | Yes | Yes | - | - | - | Yes | Yes | Yes | Yes | Yes | Yes
2017-02-10 | 9 | - | Yes | LOR3 | QLD, NSW, VIC, SA | - | Yes | - | - | - | Yes | Yes | Yes | - | Yes | Yes
2017-02-11 | 5 | - | - | - | QLD | Yes | Yes | - | - | - | Yes | Yes | Yes | Yes | Yes | Yes
2017-02-12 | 6 | 1 | - | LOR2 | QLD, VIC | Yes | Yes | - | Yes | - | - | Yes | Yes | Yes | Yes | Yes
2017-02-13 | 1 | - | - | - | QLD | - | Yes | - | - | - | - | Yes | Yes | Yes | Yes | Yes
2017-02-27 | 1 | - | Yes | LOR2 | SA | - | - | - | - | - | Yes | Yes | Yes | Yes | - | Yes
2017-03-01 | 1 | - | - | - | SA | Yes | Yes | - | - | - | Yes | Yes | Yes | - | - | Yes
2017-03-03 | 1 | - | Yes | LOR2 | QLD, NSW, VIC, SA | - | Yes | - | - | - | Yes | Yes | Yes | - | - | Yes
2017-03-07 | - | - | Yes | - | SA | - | - | - | - | - | Yes | Yes | Yes | Yes | - | Yes
2017-03-12 | - | 1 | - | - | SA | - | - | - | Yes | - | - | - | Yes | Yes | - | Yes
2017-03-17 | - | - | Yes | - | SA | - | - | - | - | - | - | - | Yes | Yes | - | No
2017-03-18 | - | - | Yes | - | SA | - | - | - | - | - | Yes | Yes | Yes | Yes | - | No
2017-03-19 | - | - | Yes | - | SA | - | Yes | - | - | - | Yes | - | Yes | Yes | - | No
2017-03-20 | 2 | - | Yes | - | SA | Yes | Yes | - | - | - | Yes | Yes | Yes | Yes | - | Yes
2017-03-21 | 1 | - | Yes | - | SA | Yes | - | - | - | - | - | Yes | Yes | Yes | - | Yes
2017-03-26 | - | - | Yes | - | QLD, NSW, VIC, SA | - | - | - | - | - | Yes | Yes | Yes | - | - | Yes
2017-03-29 | - | 1 | Yes | - | QLD, NSW, VIC, SA | - | Yes | - | Yes | - | Yes | Yes | Yes | Yes | - | No
2017-03-30 | 1 | - | Yes | - | QLD, SA | - | - | - | - | - | - | Yes | Yes | Yes | - | No
2017-04-09 | - | 1 | - | - | SA | - | - | - | Yes | - | - | Yes | Yes | Yes | - | No
2017-04-18 | - | - | Yes | - | SA | Yes | - | - | - | - | - | Yes | Yes | Yes | - | Yes
2017-05-16 | 1 | - | - | - | TAS | Yes | - | - | - | - | - | - | - | - | - | Yes
2017-05-18 | 1 | - | - | - | SA | Yes | - | - | - | - | - | Yes | Yes | - | - | No
2017-05-22 | - | - | Yes | - | SA | - | - | - | - | - | - | - | Yes | Yes | - | No
2017-05-30 | - | 1 | - | - | TAS | - | - | - | - | - | - | Yes | - | - | - | No
2017-06-09 | - | 1 | - | - | QLD | Yes | - | - | - | - | - | Yes | Yes | Yes | - | No
2017-06-15 | 1 | - | - | - | TAS | Yes | - | - | - | - | - | Yes | Yes | - | - | Yes
2017-06-16 | 2 | - | - | - | TAS | Yes | - | - | - | - | - | Yes | Yes | - | - | Yes
2017-06-18 | 1 | - | - | - | TAS | Yes | - | - | - | - | - | Yes | Yes | - | - | Yes
2017-07-13 | - | 1 | - | - | QLD | - | - | - | - | - | - | Yes | Yes | - | - | No
2017-07-21 | - | - | Yes | - | QLD, NSW, VIC, SA | Yes | - | - | - | - | - | Yes | Yes | - | - | No
2017-07-31 | - | 1 | Yes | - | SA | - | - | - | Yes | - | - | Yes | Yes | Yes | - | No
2017-08-05 | - | 1 | Yes | - | QLD | - | - | - | - | - | - | Yes | Yes | Yes | - | No
2017-08-10 | - | 2 | - | - | SA | - | - | - | Yes | - | - | - | Yes | - | - | No
2017-08-11 | - | 1 | - | - | SA | Yes | - | - | - | - | - | Yes | Yes | - | - | No
2017-08-13 | - | 3 | - | - | QLD, SA | - | - | Yes | Yes | - | - | Yes | Yes | Yes | - | No
2017-08-16 | - | 1 | - | - | SA | Yes | - | - | Yes | - | - | Yes | Yes | - | - | No
2017-08-28 | 2 | - | Yes | - | SA | Yes | - | - | - | Yes | - | Yes | Yes | Yes | - | Yes
2017-09-01 | - | 2 | - | - | SA | Yes | - | - | Yes | - | - | Yes | Yes | Yes | - | No
2017-09-14 | - | 2 | Yes | - | SA | - | - | - | Yes | - | - | Yes | Yes | Yes | - | Yes
2017-09-18 | - | 1 | - | - | SA | - | - | - | Yes | - | - | Yes | Yes | - | - | No
2017-09-27 | - | 2 | - | - | SA | Yes | - | - | Yes | - | - | Yes | Yes | - | - | Yes
2017-10-07 | - | 1 | - | - | SA | - | - | Yes | Yes | - | - | Yes | Yes | - | - | No
2017-10-13 | - | - | Yes | - | SA | - | - | - | - | - | - | Yes | Yes | Yes | - | Yes
2017-10-14 | - | - | Yes | - | SA | - | - | Yes | - | - | - | - | Yes | Yes | - | Yes
2017-10-23 | - | 1 | - | - | QLD | - | - | - | - | - | - | Yes | Yes | Yes | - | PENDING
2017-10-24 | - | 1 | - | - | QLD | - | - | - | - | - | - | Yes | Yes | Yes | - | PENDING
2017-10-24 | - | 2 | Yes | - | SA | Yes | - | - | - | - | - | Yes | Yes | Yes | - | Yes
2017-10-25 | - | 1 | - | - | QLD | - | - | - | - | - | - | Yes | Yes | Yes | - | PENDING
2017-10-27 | - | 1 | - | - | SA | - | - | - | Yes | - | - | Yes | Yes | - | - | No
2017-10-29 | - | 4 | - | - | SA | Yes | - | Yes | Yes | - | - | Yes | Yes | - | - | No
2017-10-30 | - | 1 | - | - | SA | - | - | Yes | Yes | - | - | Yes | Yes | - | - | No
2017-11-03 | - | 1 | - | - | QLD | - | - | - | - | - | - | Yes | Yes | Yes | - | No
2017-11-04 | - | 5 | - | - | SA | Yes | - | Yes | Yes | - | - | Yes | Yes | - | - | PENDING
2017-11-05 | - | 2 | - | - | SA | Yes | - | Yes | Yes | - | - | Yes | Yes | - | - | PENDING
2017-11-12 | - | 1 | - | - | SA | Yes | - | Yes | - | - | Yes | Yes | Yes | Yes | - | PENDING
2017-11-12 | - | 1 | - | - | VIC | - | - | Yes | - | - | - | Yes | Yes | Yes | - | PENDING
2017-11-28 | - | 2 | - | - | QLD | Yes | - | - | - | - | - | Yes | Yes | Yes | - | No
2017-11-29 | 1 | - | - | Yes | SA | - | Yes | - | - | - | Yes | Yes | Yes | - | - | Yes
2017-11-30 | - | 2 | Yes | - | QLD | Yes | - | - | - | - | - | Yes | Yes | Yes | - | No
2017-12-11 | 1 | - | Yes | - | TAS | Yes | - | - | - | - | - | Yes | - | - | - | No
2017-12-22 | 2 | - | - | - | TAS | Yes | - | - | - | - | - | Yes | - | - | - | No

## 2018
| Price Outcome | [5 empty] | Demand/ Environmental Factors |  |  |  |  | Constraints
Date | Total # of High Energy Price (>$2,000/MWh) Half Hours | Total # of Negative Energy Price (<-$100/MWh) Half Hours | High FCAS Price (>$300/MWh Mainland) (>$3,000/MWh Tasmania) | Lack of Reserve (LOR) conditions present | Region/s affected | Rebidding Capacity | High Demand | Low Demand | High Wind | Low Wind | High Temperatures | Generation Constraints | Significant Generation Outages | Network Outages & Constraints | High Gas Price or Other Fuel Constraints | Report Available
2018-01-12 | - | - | Yes | - | TAS | Yes | - | - | - | - | Yes | Yes | - | - | - | No
2018-01-13 | 1 | - | - | - | QLD | - | Yes | - | - | - | Yes | Yes | Yes | - | - | No
2018-01-14 | - | 2 | - | - | SA | Yes | - | Yes | - | - | - | - | - | - | - | No
2018-01-18 | 13 | 1 | - | Yes | VIC,SA,TAS | Yes | Yes | - | - | - | Yes | Yes | Yes | - | - | PENDING
2018-01-19 | 7 | - | - | Yes | VIC,SA | Yes | Yes | - | Yes | - | Yes | Yes | Yes | - | - | PENDING
2018-01-20 | - | 2 | Yes | - | QLD | Yes | - | Yes | - | - | - | Yes | Yes | - | - | No
2018-01-22 | 2 | - | - | - | TAS | - | - | - | Yes | - | - | Yes | - | - | - | No
2018-01-25 | 2 | - | - | - | VIC,SA | - | Yes | - | - | - | Yes | Yes | - | - | - | PENDING
2018-01-28 | 3 | - | - | - | VIC,SA,TAS | Yes | Yes | - | - | - | Yes | Yes | - | - | - | PENDING
2018-01-30 | - | 1 | - | - | SA | Yes | - | Yes | Yes | - | - | Yes | - | - | - | No
2018-01-31 | - | 5 | - | - | SA | Yes | - | Yes | Yes | - | - | Yes | - | - | - | No
2018-02-07 | 9 | - | - | Yes | VIC,SA | Yes | Yes | - | - | - | Yes | Yes | - | - | - | No
2018-02-08 | - | 1 | - | - | VIC | - | - | - | - | - | - | Yes | - | - | - | No
2018-03-08 | - | - | Yes | - | SA | - | - | - | - | - | - | Yes | - | Yes | - | No
2018-03-18 | - | 1 | - | - | SA | Yes | - | Yes | Yes | - | - | Yes | - | - | - | No
2018-03-25 | - | 1 | - | - | SA | Yes | - | Yes | Yes | - | - | Yes | Yes | - | - | No
2018-04-15 | - | 3 | - | - | SA | Yes | - | Yes | Yes | - | - | Yes | Yes | - | - | No
2018-04-26 | 4 | - | - | - | SA | Yes | - | - | - | Yes | - | Yes | Yes | Yes | - | PENDING
2018-04-27 | 1 | - | - | - | SA | - | - | - | - | Yes | - | Yes | Yes | Yes | - | PENDING
2018-05-03 | - | - | Yes | - | SA | Yes | - | - | Yes | - | - | Yes | Yes | Yes | - | PENDING
2018-05-09 | 2 | - | - | - | VIC,SA | Yes | Yes | - | Yes | - | - | Yes | Yes | Yes | - | PENDING
2018-05-26 | - | - | Yes | - | QLD,NSW,VIC,SA | Yes | - | - | Yes | - | - | Yes | Yes | - | - | No
2018-05-28 | - | 1 | - | - | SA | - | - | Yes | Yes | - | - | Yes | Yes | Yes | - | No
2018-06-05 | 3 | - | - | Yes | QLD,NSW | Yes | Yes | - | - | Yes | - | Yes | Yes | - | - | PENDING
2018-06-07 | 2 | - | Yes | Yes | NSW, QLD, SA, VIC | Yes | Yes | - | Yes | - | - | Yes | Yes | - | - | PENDING
2018-06-08 | 1 | - | - | Yes | NSW | - | Yes | - | - | - | - | Yes | Yes | - | - | PENDING
2018-06-11 | 1 | - | - | - | TAS | Yes | - | - | - | - | - | Yes | Yes | - | - | No

## Definitions 2017
Price Outcome
High Energy Price | Energy Price > $2,000/MWh
Negative Energy Price | Energy Price < -$100/MWh
High FCAS Price | Mainland FCAS Price > $300/MWh and TAS FCAS Price > $3,000/MWh
Lack of Reserve conditions present | Actual Lack of Reserve (LOR1, LOR2 or LOR3) condition declared in one or more regions.
Rebidding Capacity
High Energy/ FCAS Price | Generation capacity is rebid from lower priced bands to higher priced bands.
Low Energy/ FCAS Price | Generation capacity is rebid from higher priced bands to lower priced bands.
Demand/ Environmental Factors |  | QLD | NSW | VIC | SA | TAS
High Demand | Trading interval in the 90th percentile of demand for the Region (based on FY16) | 7149 | 9666 | 6504.3 | 1884 | 1364
Low Demand | Trading interval in the 10th percentile of demand for the Region (based on FY16) | 5002 | 6383 | 4287 | 1187 | 990
High Wind | Trading interval in the 90th percentile of wind generation for the Region (based on FY16) | N/A | 503.831 | 809.411 | 1015.706 | 253.23
Low Wind | Trading interval in the 10th percentile of wind generation for the Region (based on FY16) | N/A | 19.75 | 64.411 | 80.205 | 18.5
High Temperatures | Maximum daily temperature in the 90th percentile of daily maximums for the Region (based on FY16) | 31.7 | 30.06 | 29.53 | 30.6 | 24.1
Constraints
Generators Constraints | Generation capacity is constrained due to ramp rates, synchronisation times, FCAS trapezium, constraint equations, FSIP etc.
Significant Generator Outages | Full unit outage of: NSW (all black coal units, Tallawarra PS), QLD (all black coal units, Darling Downs PS), VIC (all brown coal units), SA (Torrens Island B, PPCCGT, Osborne PS), TAS (Gordon, POAT220, TVCC201) Any additional units that are considered to have an impact on the energy and/ or FCAS markets.
Network Outages and Constraints | Any network outages that are considered to have an impact on the energy and/ or FCAS pricing outcomes.
High Gas Price or Other Fuel Constraints | ADL, BRI or SYD STTM ex ante, DWGM 6AM > $11/GJ Other fuel constraints could include wet coal, rail/ transport constraints etc.

## Definitions 2018
Price Outcome
High Energy Price | Energy Price > $2,000/MWh
Negative Energy Price | Energy Price < -$100/MWh
High FCAS Price | Mainland FCAS Price > $300/MWh and TAS FCAS Price > $3,000/MWh
Lack of Reserve conditions present | Actual Lack of Reserve (LOR1, LOR2 or LOR3) condition declared in one or more regions.
Rebidding Capacity
High Energy/ FCAS Price | Generation capacity is rebid from lower priced bands to higher priced bands.
Low Energy/ FCAS Price | Generation capacity is rebid from higher priced bands to lower priced bands.
Demand/ Environmental Factors |  | QLD | NSW | VIC | SA | TAS
High Demand | Trading interval in the 90th percentile of demand for the Region (based on FY17) | 7438 | 9826 | 6334 | 1841 | 1398
Low Demand | Trading interval in the 10th percentile of demand for the Region (based on FY17) | 5140 | 6519 | 4050 | 1113 | 1011
High Wind | Trading interval in the 90th percentile of wind generation for the Region (based on FY17) | N/A | 515.93 | 871.203 | 1176.975 | 255.22
Low Wind | Trading interval in the 10th percentile of wind generation for the Region (based on FY17) | N/A | 20.479 | 58.796 | 77.247 | 16.52
High Temperatures | Maximum daily temperature in the 90th percentile of daily maximums for the Region (based on FY17) | 32.2 | 32.12 | 30.86 | 31.66 | 25.32
Constraints
Generators Constraints | Generation capacity is constrained due to ramp rates, synchronisation times, FCAS trapezium, constraint equations, FSIP etc.
Significant Generator Outages | Full unit outage of: NSW (all black coal units, Tallawarra PS), QLD (all black coal units, Darling Downs PS), VIC (all brown coal units), SA (Torrens Island B, PPCCGT, Osborne PS), TAS (Gordon, POAT220, TVCC201) Any additional units that are considered to have an impact on the energy and/ or FCAS markets.
Network Outages and Constraints | Any network outages that are considered to have an impact on the energy and/ or FCAS pricing outcomes.
High Gas Price or Other Fuel Constraints | ADL, BRI or SYD STTM ex ante, DWGM 6AM > $11/GJ Other fuel constraints could include wet coal, rail/ transport constraints etc.