## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 6.7793 | 9.1012 | 11.3268 | 11.1625 | 9.3522 | 9.0343 | 7.7401 | 8.3198 | 7.137 | 6.4887 | 8.4973 | 8.2567 | 8.1635 | 7.2492 | 7.3098
Large Scale Storage SA | Capacity Factor | % | 6.2878 | 6.3311 | 6.3967 | 5.9632 | 4.6994 | 4.5653 | 4.1284 | 4.1525 | 3.5778 | 3.1453 | 3.2474 | 3.2342 | 3.1785 | 3.2214 | 3.2865
Large Scale Storage QLD | Capacity Factor | % | 10.8501 | 9.5782 | 11.036 | 11.7738 | 11.961 | 11.8262 | 11.2798 | 11.4182 | 12.2883 | 13.4021 | 12.273 | 12.0341 | 12.2126 | 12.0747 | 12.2764

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 64.2551 | 63.5966 | 59.4912 | 68.5799 | 68.117 | 63.4179 | 68.2518 | 72.3588 | 73.8698 | 75.9604 | 75.9002 | 76.259 | 76.7419 | 69.7164 | 76.9524
Black Coal QLD | Capacity Factor | % | 54.359 | 54.6592 | 62.2493 | 68.6389 | 69.3741 | 71.0507 | 64.3616 | 64.8728 | 65.0954 | 67.0374 | 70.7189 | 66.9251 | 66.8767 | 69.0205 | 71.5038
Brown Coal VIC | Capacity Factor | % | 74.8406 | 72.5442 | 65.6765 | 66.5362 | 73.1968 | 71.1745 | 65.2832 | 71.3572 | 68.5563 | 69.1402 | 71.9586 | 72.471 | 64.7289 | 75.509 | 75.8264
Natural Gas NSW | Capacity Factor | % | 0.1647 | 0.34626 | 2.7518 | 8.4419 | 10.6902 | 15.2603 | 15.8193 | 10.9528 | 16.6441 | 29.7193 | 32.9104 | 26.5351 | 30.384 | 35.4244 | 33.2384
Natural Gas QLD | Capacity Factor | % | 6.6169 | 6.6444 | 6.2914 | 7.8198 | 8.9059 | 11.8093 | 15.8439 | 16.7331 | 18.137 | 19.0196 | 25.8587 | 27.7051 | 30.6699 | 31.7929 | 31.3222
Natural Gas VIC | Capacity Factor | % | 0.21415 | 0.078147 | 0.2062 | 0.40815 | 0.44286 | 0.3853 | 0.12161 | 0.024399 | 0.10983 | 0.10426 | 0.083662 | 0.13054 | 0.25049 | 1.3857 | 1.3565
Natural Gas SA | Capacity Factor | % | 11.9975 | 11.8306 | 13.0225 | 11.4684 | 4.1554 | 5.6289 | 5.1952 | 3.3897 | 6.1597 | 7.8732 | 7.6235 | 3.5946 | 4.0791 | 5.4768 | 5.2328
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0.046788 | 0.031451 | 0.018396 | 0.011301 | 0.011301 | 0 | 0 | 0 | 0 | 0.033904 | 0.011301 | 0 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0.0011104 | 0 | 0 | 0 | 0.0088349 | 0.014529 | 0 | 0 | 0 | 0.066813 | 0.15891 | 0.0909 | 0.056595
Liquid Fuel SA | Capacity Factor | % | 0.008607 | 0 | 0 | 0.00019062 | 0.089799 | 0.12435 | 0.021018 | 0.0032613 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Capacity Factor | % | 32.5603 | 32.5419 | 32.2037 | 32.9486 | 32.7037 | 32.0869 | 32.5269 | 32.5553 | 32.4164 | 32.302 | 32.0857 | 32.4597 | 32.6623 | 32.2268 | 32.945
Wind QLD | Capacity Factor | % | 33.1894 | 33.1945 | 32.9209 | 33.7699 | 33.3914 | 32.7044 | 33.1374 | 32.8356 | 31.4048 | 30.829 | 31.5111 | 32.0951 | 32.2419 | 31.3992 | 32.652
Wind VIC | Capacity Factor | % | 33.4758 | 33.0555 | 32.1898 | 32.3963 | 33.2113 | 33.0983 | 33.342 | 33.0206 | 33.4119 | 33.42 | 32.9837 | 33.2608 | 33.4369 | 33.2256 | 33.292
Wind SA | Capacity Factor | % | 32.0183 | 31.9339 | 31.3258 | 31.6019 | 32.7371 | 31.8536 | 32.1149 | 32.1171 | 31.7425 | 32.2615 | 30.5406 | 30.6978 | 30.3162 | 29.5656 | 29.8674
Wind TAS | Capacity Factor | % | 36.3637 | 36.1351 | 36.3117 | 36.4999 | 35.54 | 36.0505 | 36.1445 | 36.1154 | 36.4905 | 35.0051 | 35.9402 | 36.184 | 36.2944 | 36.3239 | 36.6894
Solar NSW | Capacity Factor | % | 28.4164 | 28.417 | 28.5704 | 28.3255 | 28.4536 | 28.4694 | 28.2975 | 28.3723 | 28.5701 | 28.5376 | 28.5043 | 28.3465 | 28.4269 | 28.6188 | 28.4122
Solar QLD | Capacity Factor | % | 30.4689 | 30.4381 | 30.5253 | 30.4061 | 30.5373 | 30.5094 | 30.3966 | 29.8733 | 26.8113 | 24.056 | 27.5559 | 27.9602 | 27.5645 | 27.8383 | 27.5488
Solar VIC | Capacity Factor | % | 29.1219 | 29.3954 | 29.4856 | 29.3619 | 29.6672 | 29.1119 | 29.1171 | 29.0333 | 29.4953 | 29.6283 | 28.3146 | 28.3491 | 28.3601 | 28.358 | 28.4727
Solar SA | Capacity Factor | % | 30.6397 | 30.3296 | 30.4079 | 30.4228 | 30.7445 | 30.3238 | 30.5716 | 30.6606 | 30.9139 | 30.9981 | 28.3483 | 27.7962 | 27.0126 | 19.1874 | 19.2513
REZ Solar NSW | Capacity Factor | % | 30.6192 | 30.6108 | 30.7809 | 30.6234 | 30.6539 | 30.6551 | 30.5782 | 30.5844 | 30.7689 | 30.7077 | 30.3618 | 30.2204 | 30.3339 | 30.2283 | 30.0196
REZ Wind NSW | Capacity Factor | % | 40.5916 | 40.7541 | 40.7301 | 41.3889 | 40.3439 | 40.0249 | 40.5317 | 40.7715 | 40.8947 | 39.78 | 39.8684 | 40.4716 | 40.961 | 40.7439 | 41.3608
REZ Solar QLD | Capacity Factor | % | 30.6636 | 30.6608 | 30.7959 | 30.4647 | 30.8296 | 30.7249 | 30.6137 | 30.5606 | 30.3879 | 29.4841 | 30.2484 | 30.2411 | 30.2312 | 30.4144 | 30.0423
REZ Wind QLD | Capacity Factor | % | 2027: 44.3334; 2028: 43.7971; 2029: 42.2459; 2030: 43.8686; 2031: 44.026; 2032: 43.787; 2033: 43.3565; 2034: 43.2612
REZ Solar SA | Capacity Factor | % | 30.8623 | 30.6632 | 30.7788 | 30.7917 | 31.1619 | 30.9609 | 31.0035 | 31.0494 | 35.6425 | 35.6682 | 34.6345 | 31.5016 | 29.6359 | 22.6875 | 22.7525
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9968 | 51.5014 | 51.7702 | 47.8635 | 48.1972
Hydro NSW | Capacity Factor | % | 19.7608 | 19.8247 | 21.1245 | 22.6067 | 23.0015 | 23.6017 | 24.0419 | 24.6321 | 24.9588 | 22.545 | 23.8019 | 23.4711 | 22.8436 | 21.7782 | 22.5547
Hydro QLD | Capacity Factor | % | 38.2234 | 38.2561 | 39.1489 | 40.7671 | 41.1382 | 42.0263 | 42.6274 | 42.7322 | 42.9514 | 43.248 | 42.73 | 42.8794 | 42.7134 | 42.4307 | 42.5364
Hydro VIC | Capacity Factor | % | 15.3432 | 15.2343 | 15.7433 | 15.4039 | 15.6156 | 15.3153 | 15.3212 | 15.3407 | 15.5037 | 15.3994 | 15.4243 | 15.3022 | 15.377 | 15.4286 | 15.4711
Hydro TAS | Capacity Factor | % | 52.6769 | 50.9913 | 52.0059 | 51.7745 | 51.902 | 51.7525 | 52.1979 | 52.2052 | 52.7488 | 52.617 | 52.3008 | 52.5001 | 52.5741 | 52.7021 | 52.9288
Large Scale Storage SA | Capacity Factor | % | 6.2878 | 6.3311 | 6.3967 | 5.9632 | 4.6994 | 4.5653 | 4.1284 | 4.1525 | 3.5778 | 3.1453 | 3.2474 | 3.2342 | 3.1785 | 3.2214 | 3.2865
Large Scale Storage QLD | Capacity Factor | % | 10.8501 | 9.5782 | 11.036 | 11.7738 | 11.961 | 11.8262 | 11.2798 | 11.4182 | 12.2883 | 13.4021 | 12.273 | 12.0341 | 12.2126 | 12.0747 | 12.2764
Large Scale Storage VIC | Capacity Factor | % | 6.7793 | 9.1012 | 11.3268 | 11.1625 | 9.3522 | 9.0343 | 7.7401 | 8.3198 | 7.137 | 6.4887 | 8.4973 | 8.2567 | 8.1635 | 7.2492 | 7.3098
Distributed Storage NSW | Capacity Factor | % | 0.61664 | 1.1816 | 1.6333 | 0.98937 | 0.80467 | 1.4755 | 0.92963 | 0.68875 | 0.094522 | 0.20209 | 1.1689 | 0.91573 | 0.84651 | 1.817 | 2.0943
Distributed Storage QLD | Capacity Factor | % | 9.4952 | 9.0267 | 10.0498 | 10.2756 | 10.517 | 10.3983 | 9.7431 | 9.9075 | 11.0693 | 12.6654 | 10.7989 | 10.4916 | 10.6104 | 10.4587 | 9.8844
Distributed Storage SA | Capacity Factor | % | 15.6288 | 15.9072 | 16.3171 | 15.5377 | 14.1199 | 13.2047 | 11.9264 | 11.6539 | 10.306 | 8.7946 | 8.6841 | 8.4431 | 8.3973 | 8.4149 | 7.9694
Distributed Storage TAS | Capacity Factor | % | 0.60913 | 1.2408 | 1.679 | 0.97114 | 0.75894 | 1.4257 | 0.94003 | 0.83687 | 0.09365 | 0.26316 | 1.446 | 1.1756 | 1.1061 | 2.0622 | 2.3057
Distributed Storage VIC | Capacity Factor | % | 13.7836 | 14.1119 | 14.517 | 14.6124 | 15.2578 | 15.1743 | 13.1835 | 14.0092 | 12.2241 | 10.5103 | 12.0956 | 11.7318 | 11.2097 | 10.021 | 9.3294
New Natural Gas NSW | Capacity Factor | % |  |  |  | 4.3637 | 4.689 | 4.4335 | 4.3916 | 3.4181 | 5.1828 | 13.7552 | 19.2942 | 34.6983 | 36.7722 | 44.9075 | 40.6111
New Natural Gas VIC | Capacity Factor | % |  | 1.6 | 2.6049 | 5.3706 | 5.366 | 5.7593 | 3.5917 | 2.0841 | 6.0921 | 8.4764 | 7.5689 | 12.0725 | 15.1022 | 29.6591 | 30.2802
New Natural Gas SA | Capacity Factor | % | [6 empty] | 22.928 | 16.7244 | 33.9491 | 40.5401 | 40.9019 | 43.0236 | 46.1769 | 49.7604 | 49.0994
Pumped Hydro SA | Capacity Factor | % | 2027: 22.0027; 2028: 19.8665; 2029: 15.8419; 2030: 18.7675; 2031: 18.3217; 2032: 17.6611; 2033: 16.0852; 2034: 16.9736
Pumped Hydro NSW | Capacity Factor | % | 2029: 17.9897; 2030: 19.8188; 2031: 19.662; 2032: 18.9685; 2033: 18.2642; 2034: 19.3449
Pumped Hydro QLD | Capacity Factor | % | 2029: 24.8547; 2030: 24.5113; 2031: 24.4237; 2032: 24.5274; 2033: 24.5575; 2034: 24.6464
Pumped Hydro VIC | Capacity Factor | % | 2029: 16.2907; 2030: 18.435; 2031: 18.0365; 2032: 17.3556; 2033: 15.0381; 2034: 15.3534

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 1189782.509 | 1170331.9466 | 1149092.2292 | 1175937.5757 | 1207655.6441 | 1215032.5632 | 1351637.3564 | 1438960.5592 | 1544046.7521 | 1345561.0754 | 1352497.848 | 1369776.0961 | 1401487.8333 | 1293034.0724 | 1448430.4467
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 963212.0595 | 969214.4397 | 1090737.2993 | 1230348.7966 | 1275209.7425 | 1330165.3512 | 1203236.5557 | 1108132.5717 | 1144668.6063 | 1176215.4199 | 893932.7843 | 848598.4656 | 882247.7145 | 894410.5053 | 938944.252
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 322072.4578 | 313959.9952 | 288339.1724 | 292966.939 | 321019.42 | 312239.5568 | 283701.4514 | 314424.4532 | 236290.664 | 238118.6826 | 251759.6823 | 255387.3654 | 231850.8791 | 151043.9526 | 151675.822
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 2948.2301 | 6653.3698 | 53446.226 | 160505.6948 | 191726.8005 | 257433.2985 | 257130.8636 | 182632.1727 | 272138.0811 | 480061.2676 | 537099.9507 | 407374.1128 | 488065.9173 | 604299.0808 | 557158.0373
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 219060.9712 | 219885.558 | 200892.2407 | 214586.6445 | 218204.1364 | 243111.9346 | 294232.9438 | 312427.3853 | 341202.786 | 364196.5931 | 554629.4037 | 679350.4455 | 760682.3135 | 793738.5041 | 779801.2127
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 9921.2053 | 4206.969 | 10989.5813 | 20001.7721 | 18464.635 | 16179.7763 | 5110.1707 | 1018.3445 | 4415.5481 | 4549.4117 | 3272.098 | 4755.6043 | 8523.565 | 49699.7133 | 49423.0202
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 467031.1069 | 462282.8109 | 481108.5361 | 409467.8566 | 82421.07 | 106302.814 | 102928.712 | 73202.3035 | 122021.2205 | 150669.7064 | 145671.0596 | 109917.5403 | 118790.6005 | 140496.1868 | 136838.2578
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 93.2332 | 61.7085 | 35.5783 | 21.5652 | 21.2937 | 0 | 0 | 0 | 0 | 60.6963 | 20.0588 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 16.3194 | 0 | 0 | 0 | 130.4036 | 210.4161 | 0 | 0 | 0 | 951.6062 | 2232.2498 | 1267.0271 | 777.2725
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 91.5884 | 0 | 0 | 2.3282 | 955.795 | 1377.3003 | 216.5383 | 31.3379 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 24885.8455 | 25477.1569 | 32094.8728 | 42628.6597 | 46053.6769 | 51721.1879 | 55330.3387 | 59056.0234 | 63171.8298 | 43936.6673 | 54532.5524 | 52781.403 | 46701.4099 | 39658.3252 | 44669.5253
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6985.393 | 7216.2234 | 10101.5941 | 15167.4897 | 16020.036 | 19132.4558 | 20881.5986 | 21259.3546 | 21636.3198 | 22618.115 | 21031.7797 | 21510.6549 | 20806.1642 | 20191.4421 | 20209.2679
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22566.6855 | 22315.473 | 23262.3337 | 22791.9385 | 23113.8939 | 22538.0102 | 22551.2694 | 22568.6368 | 22801.8718 | 22663.8795 | 22699.1232 | 22536.4249 | 22630.2687 | 22677.5588 | 22749.5232
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62322.7747 | 62358.79 | 62426.7157 | 62628.8567 | 62591.2126 | 62298.9735 | 62286.8855 | 62370.3372 | 62460.0976 | 62355.4144 | 62327.4011 | 62344.5701 | 62362.1069 | 62341.5623 | 62602.9363
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 15672.3203 | 16405.1238 | 83113.9208 | 80081.3541 | 60582.4393 | 91861.4953 | 243837.0272 | 421886.614 | 758675.6672 | 835790.872 | 1020703.3583 | 923051.0424
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 5227.3006 | 10860.9363 | 22392.4452 | 21882.9561 | 22960.6404 | 59061.2411 | 41748.5868 | 166014.3459 | 235803.5483 | 210559.2013 | 335837.7124 | 436782.4779 | 857786.9916 | 875748.7582
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 62190.9357 | 42788.4176 | 86885.2638 | 104873.6326 | 105809.4863 | 117036.4974 | 128919.1524 | 138923.6467 | 137078.3598
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2710.1212 | 5708.6131 | 12590.2249 | 14924.1754 | 19563.1654 | 24296.8754 | 29924.8683 | 31596.7027
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8013.48 | 8830.0258 | 9252.5112 | 18420.0219 | 36383.6073 | 38566.3739
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6373.0116 | 25809.1037 | 25717.2462 | 25822.5649 | 27970.9004 | 28082.8174
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6164.4323 | 6975.8201 | 8744.9711 | 8407.9249 | 7282.706 | 7435.7969

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 7449 | 7449 | 7449 | 5769 | 5769 | 5769 | 5769 | 5769
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3718 | 3718 | 3718 | 3718 | 3718 | 2190 | 2190
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2665.1 | 2665.1 | 2425.1 | 2425.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4240 | 4640 | 5040 | 5040 | 5040 | 5340 | 5340 | 5740 | 5740 | 5740 | 5740 | 5740
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1308 | 1308 | 1508 | 3168 | 3168
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 854.7 | 1858.7 | 2727.7 | 3525.7 | 4447.7 | 5300.7 | 5300.7 | 5300.7 | 5300.7 | 5300.7
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190 | 397 | 686 | 796 | 796 | 796 | 796 | 796
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 343 | 553 | 1126 | 1302 | 1741 | 3266 | 3266
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 234 | 395 | 395 | 433 | 766 | 766
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 5.59 | 12.46 | 21.31 | 31.74 | 43.57 | 56.44 | 69.91 | 83.91 | 98.23 | 112.73 | 127.42 | 140.9 | 152.74 | 164.24 | 181.53
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 3.04 | 6.87 | 11.52 | 16.75 | 22.28 | 28.06 | 33.93 | 39.97 | 46.16 | 52.48 | 58.9 | 65.39 | 71.95 | 78.45 | 91.54
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 1.04 | 2.36 | 4.06 | 6.08 | 8.37 | 10.93 | 13.7 | 16.62 | 19.68 | 22.86 | 26.14 | 29.42 | 32.59 | 35.63 | 40.69
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 0.25 | 0.53 | 0.88 | 1.31 | 1.65 | 1.94 | 2.16 | 2.37 | 2.56 | 2.72 | 2.88 | 3.04 | 3.19 | 3.33 | 3.54
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 3.46 | 7.6 | 12.15 | 17.1 | 22.33 | 27.93 | 33.72 | 39.67 | 45.64 | 51.68 | 57.85 | 64.13 | 70.53 | 76.91 | 88.86
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 333 | 333 | 1833 | 1833 | 1833 | 1833 | 1833 | 2261 | 2261 | 2261 | 2261 | 2261
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 315 | 402 | 402 | 402 | 402 | 1697 | 2117 | 2878 | 2878 | 2878 | 2878 | 2878 | 2878 | 2878
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 305 | 305 | 305 | 305 | 305 | 305 | 305 | 305 | 305
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 123 | 287 | 794 | 794 | 1065 | 1374 | 1859 | 1859
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 445 | 445 | 470 | 970 | 1990 | 1990
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 256 | 1051 | 1051 | 1051 | 1137 | 1137
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 378 | 378 | 484 | 484 | 484 | 484

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 19.9259 | 19.8302 | 19.6406 | 21.458 | 22.7752 | 23.9165 | 24.2656 | 25.1498 | 26.3792 | 26.496 | 26.6655 | 26.8729 | 27.3276 | 27.7256 | 28.1803
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.6892 | 21.6554 | 21.5595 | 21.9069 | 22.5971 | 23.0252 | 23.289 | 23.6382 | 23.9037 | 24.0965 | 21.8135 | 21.918 | 22.2336 | 22.5359 | 22.7455
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.7303 | 8.7303 | 8.7999 | 8.8616 | 8.8616 | 8.5123 | 8.5123
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 109.7035 | 109.7035 | 109.7035 | 106.2914 | 102.8794 | 99.4673 | 96.0552 | 96.0587 | 96.0791 | 96.0783 | 96.0717 | 101.5411 | 101.5421 | 101.5423 | 101.5428
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 91.4274 | 91.4274 | 103.1727 | 96.4418 | 91.4448 | 88.2728 | 83.3062 | 83.339 | 84.4191 | 82.6223 | 86.8951 | 90.3048 | 90.3048 | 90.3048 | 90.3048
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 160.2259 | 132.6306 | 152.8739 | 152.986 | 152.9029 | 149.2414 | 136.8531 | 114.2052 | 148.1003 | 116.7922 | 130.4664 | 117.662 | 118.7358 | 146.9777 | 144.7504
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 125.3222 | 118.4226 | 125.6701 | 123.1914 | 135.1883 | 132.6675 | 130.1467 | 130.1565 | 130.4628 | 109.3986 | 130.4617 | 134.5856 | 134.5854 | 134.5852 | 134.5852
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh | 2022: 439.7229; 2023: 432.8041; 2024: 426.4705; 2025: 420.6241; 2026: 415.1948; 2031: 393.9627; 2032: 390.4958
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh | 2022: 410.3627; 2026: 387.4724; 2027: 383.0341; 2031: 367.658; 2032: 364.4226; 2033: 361.4748; 2034: 358.7272
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh | 2020: 460.748; 2023: 441.9842; 2024: 438.1292; 2025: 432.1229; 2026: 425.2335; 2027: 417.2103
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.0094649 | 0.0095757 | 0.010222 | 0.010798 | 0.010938 | 0.011106 | 0.011176 | 0.011226 | 0.011277 | 0.010867 | 0.011166 | 0.011101 | 0.010957 | 0.010741 | 0.01091
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098565 | 0.0098459 | 0.0098529 | 0.0098516 | 0.009855 | 0.0098537 | 0.009854 | 0.0098541 | 0.0098542 | 0.0098559 | 0.0098577 | 0.0098602 | 0.0098541 | 0.0098592 | 0.0098591
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 111.7501 | 108.5967 | 105.4434 | 102.29 | 99.1367 | 99.1394 | 99.1555 | 99.1549 | 99.1497 | 103.4681 | 103.4688 | 103.469
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  | 107.0756 | 107.0756 | 107.0756 | 104.5069 | 101.9381 | 99.3694 | 96.8007 | 96.8692 | 99.1001 | 99.0997 | 99.0983 | 103.4303 | 103.4299 | 103.4297
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | [6 empty] | 88.3361 | 82.745 | 82.7754 | 83.7785 | 83.7785 | 88.6207 | 91.2189 | 91.2189 | 91.2189
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | 2027: 0.011432; 2028: 0.011429; 2029: 0.011426; 2030: 0.011433; 2031: 0.011445; 2032: 0.01143; 2033: 0.011424; 2034: 0.011431
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh | 2029: 0.011427; 2030: 0.011429; 2031: 0.01143; 2032: 0.011428; 2033: 0.011427; 2034: 0.011436
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2029: 0.011434; 2030: 0.011437; 2031: 0.011437; 2032: 0.011435; 2033: 0.011436; 2034: 0.01144
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh | 2029: 0.011428; 2030: 0.011428; 2031: 0.011436; 2032: 0.011426; 2033: 0.011422; 2034: 0.011423

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 55147.8726 | 54556.4793 | 52924.2793 | 49376.7906 | 48917.6231 | 45713.9475 | 49396.6725 | 52171.843 | 53274.4096 | 45996.6994 | 45958.1281 | 46181.0313 | 46478.2963 | 42178.1306 | 46611.6326
Black Coal QLD | Black Coal | QLD | Generation | GWh | 41273.2338 | 41391.9304 | 45788.6634 | 50182.1442 | 50668.2388 | 51889.8962 | 47156.5409 | 43242.9229 | 43246.778 | 44236.3668 | 35953.35 | 33777.5854 | 33881.8085 | 34984.6657 | 36342.1847
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 31647.5725 | 30720.5851 | 28391.0348 | 28723.5893 | 30980.1895 | 30137.029 | 27291.1213 | 30208.2796 | 22117.96 | 22281.2291 | 23531.3614 | 23688.3398 | 21659.5983 | 14490.4007 | 14550.8334
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 28.3562 | 66.8074 | 501.1114 | 1580.9102 | 1921.3353 | 2667.3837 | 2761.6223 | 1973.5704 | 2933.1919 | 5021.2958 | 5547.4013 | 4280.4338 | 4986.8755 | 5980.0131 | 5574.0725
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 1949.067 | 1959.5803 | 1882.8551 | 2356.3487 | 2638.4131 | 3298.2163 | 4420.1151 | 4641.7432 | 5074.7485 | 5412.3644 | 7185.5758 | 8125.6323 | 8866.7507 | 9150.0818 | 9022.8674
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 69.1729 | 28.9348 | 77.7662 | 144.2489 | 134.0251 | 119.5701 | 39.2102 | 7.8961 | 32.977 | 35.1492 | 24.9742 | 36.51 | 65.2611 | 378.1083 | 376.5537
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5566.5341 | 5518.2044 | 5708.2599 | 4831.126 | 824.1244 | 1101.1307 | 1135.8942 | 825.24 | 1261.3842 | 1546.9437 | 1496.8128 | 1178.7941 | 1261.9452 | 1448.758 | 1419.083
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0.20493 | 0.13775 | 0.080573 | 0.0495 | 0.0495 | 0 | 0 | 0 | 0 | 0.1485 | 0.0495 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0.038372 | 0 | 0 | 0 | 0.32425 | 0.5291 | 0 | 0 | 0 | 2.4901 | 5.8915 | 3.3705 | 2.0831
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0.18724 | 0 | 0 | 0.0050094 | 2.0613 | 3.0026 | 0.4792 | 0.070061 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4267.7218 | 4264.6331 | 4218.3685 | 4313.5455 | 4287.3191 | 4205.859 | 4262.4266 | 4265.6076 | 4247.032 | 4239.3448 | 4207.0233 | 4255.0823 | 4278.7889 | 4220.629 | 4313.4944
Wind QLD | Wind | QLD | Generation | GWh | 1965.5405 | 1965.6988 | 1949.4961 | 1999.7754 | 1977.3603 | 1936.6756 | 1963.3463 | 1953.7141 | 1873.8603 | 1837.341 | 1865.3181 | 1897.5844 | 1907.4796 | 1865.4442 | 1934.4651
Wind VIC | Wind | VIC | Generation | GWh | 8457.215 | 10652.7821 | 11787.3207 | 11915.8486 | 13548.147 | 14750.7928 | 14810.987 | 14671.3574 | 15949.1439 | 15901.6585 | 16940.6256 | 17094.3128 | 17178.9816 | 17048.038 | 17068.7986
Wind SA | Wind | SA | Generation | GWh | 5859.5564 | 5839.6993 | 5726.2338 | 5782.6779 | 5981.1671 | 5816.9333 | 5870.8625 | 5870.2323 | 5802.1988 | 5895.2795 | 5578.0229 | 5608.094 | 5547.7166 | 5398.6949 | 5459.2221
Wind TAS | Wind | TAS | Generation | GWh | 1337.8904 | 1329.4375 | 1335.8734 | 1342.8654 | 1307.5182 | 1326.2122 | 1329.7207 | 1328.5667 | 1342.4904 | 1287.8296 | 1321.9765 | 1331.0631 | 1335.1687 | 1336.4118 | 1349.8138
Solar NSW | Solar | NSW | Generation | GWh | 1095.188 | 1094.8929 | 1101.0413 | 1091.8308 | 1096.7568 | 1097.3713 | 1090.754 | 1093.2431 | 1100.2435 | 1099.3292 | 1098.5547 | 1092.3979 | 1095.6954 | 1102.8912 | 1094.9171
Solar QLD | Solar | QLD | Generation | GWh | 3245.0966 | 3242.2924 | 3251.0049 | 3240.0081 | 3252.5148 | 3249.4527 | 3238.7964 | 3193.5242 | 2888.4016 | 2576.7514 | 2929.593 | 2973.2501 | 2927.8331 | 2961.412 | 2929.336
Solar VIC | Solar | VIC | Generation | GWh | 1803.4176 | 1815.6206 | 1816.7319 | 1796.9702 | 2581.2742 | 3588.8668 | 3588.9886 | 3570.5928 | 3884.5549 | 3906.4293 | 4226.5206 | 4230.726 | 4233.6739 | 4256.5919 | 4280.0011
Solar SA | Solar | SA | Generation | GWh | 859.2641 | 850.8955 | 855.2415 | 853.7615 | 863.3976 | 853.8366 | 858.6515 | 861.1305 | 866.9247 | 868.4984 | 768.4783 | 746.9779 | 715.3155 | 413.9732 | 415.4042
REZ Solar NSW | Solar | NSW | Generation | GWh | 3309.1182 | 3310.6654 | 3327.0715 | 3316.4746 | 3314.6586 | 3311.7376 | 3306.0424 | 3308.0165 | 3327.8431 | 3323.1195 | 3506.6726 | 3497.3192 | 4036.4495 | 8366.6693 | 8313.9524
REZ Wind NSW | Wind | NSW | Generation | GWh | 480.0358 | 481.9574 | 481.6741 | 489.4654 | 477.1075 | 473.3341 | 479.3277 | 482.1633 | 483.6206 | 470.4381 | 471.4842 | 478.6173 | 484.4053 | 481.8369 | 489.1331
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.1432 | 1797.3783 | 1803.9259 | 1785.8335 | 1806.5204 | 2300.7987 | 4992.7371 | 7335.3574 | 9467.6603 | 11566.1672 | 14040.5858 | 14032.3593 | 14055.1655 | 14141.1239 | 13930.1966
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 737.8851 | 1523.1416 | 2534.7493 | 3076.4446 | 3089.1385 | 3065.5695 | 3041.4748 | 3034.3807
REZ Solar SA | Solar | SA | Generation | GWh | 445.7347 | 443.3152 | 444.5024 | 445.1901 | 449.8788 | 447.1611 | 447.8731 | 448.44 | 1141.3303 | 1728.7794 | 3216.2019 | 3573.2438 | 4345.5248 | 5661.0403 | 5691.4289
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 1023.3771 | 1764.5903 | 1782.0531 | 1963.6865 | 3333.4194 | 3357.1146
Hydro NSW | Hydro | NSW | Generation | GWh | 3218.4876 | 3248.8511 | 3641.5312 | 4226.1249 | 4421.4928 | 4728.4155 | 4934.9387 | 5150.1578 | 5392.2449 | 4298.016 | 4896.4025 | 4796.5734 | 4459.1457 | 4052.9157 | 4347.4016
Hydro QLD | Hydro | QLD | Generation | GWh | 770.4138 | 783.4338 | 946.6399 | 1233.6157 | 1282.96 | 1458.23 | 1557.682 | 1578.9248 | 1601.3697 | 1656.7598 | 1566.2881 | 1592.4748 | 1554.6342 | 1517.6979 | 1520.3296
Hydro VIC | Hydro | VIC | Generation | GWh | 3107.2349 | 3072.6451 | 3203.0195 | 3138.2502 | 3182.5807 | 3103.2865 | 3105.1122 | 3107.5035 | 3139.618 | 3120.6176 | 3125.4704 | 3103.0682 | 3115.9897 | 3122.5011 | 3132.41
Hydro TAS | Hydro | TAS | Generation | GWh | 8581.3 | 8586.259 | 8595.6118 | 8623.4448 | 8618.2615 | 8578.0228 | 8576.3584 | 8587.8489 | 8600.2082 | 8585.7942 | 8581.937 | 8584.301 | 8586.7157 | 8583.8869 | 8619.8758
Large Scale Storage SA | Battery | SA | Generation | GWh | 88.7369 | 89.1159 | 90.6882 | 85.5626 | 70.7301 | 67.2306 | 61.1784 | 61.2517 | 53.5406 | 48.0922 | 49.5344 | 49.4464 | 48.8009 | 49.6154 | 50.4161
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.0712 | 69.3149 | 80.068 | 85.8675 | 86.9337 | 85.4929 | 80.6419 | 82.7548 | 93.6231 | 107.126 | 94.1502 | 91.9722 | 93.864 | 92.0915 | 93.6366
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 60.3024 | 76.9831 | 95.2518 | 94.6254 | 80.714 | 80.5499 | 68.9467 | 74.3751 | 63.5478 | 57.4745 | 75.7865 | 73.495 | 72.5913 | 64.1111 | 64.7124
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.30196 | 1.2898 | 3.0491 | 2.7509 | 3.0712 | 7.2949 | 5.6932 | 5.0626 | 0.81336 | 1.9956 | 13.0468 | 11.3028 | 11.3264 | 26.1426 | 33.3032
Distributed Storage QLD | Battery | QLD | Generation | GWh | 2.5286 | 5.4324 | 10.1418 | 15.0774 | 20.5263 | 25.5596 | 28.9592 | 34.6898 | 44.7599 | 58.2258 | 55.7183 | 60.0977 | 66.8754 | 71.8743 | 79.2619
Distributed Storage SA | Battery | SA | Generation | GWh | 1.4238 | 3.2886 | 5.8033 | 8.2755 | 10.3529 | 12.6431 | 14.3131 | 16.9671 | 17.7673 | 17.6116 | 19.8855 | 21.7595 | 23.9734 | 26.2646 | 28.4066
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.01334 | 0.057606 | 0.12943 | 0.11144 | 0.1097 | 0.24228 | 0.17787 | 0.17374 | 0.021002 | 0.062703 | 0.3648 | 0.31307 | 0.30909 | 0.60156 | 0.71502
Distributed Storage VIC | Battery | VIC | Generation | GWh | 4.1778 | 9.3952 | 15.4511 | 21.8888 | 29.846 | 37.1265 | 38.9423 | 48.6831 | 48.8729 | 47.5818 | 61.2964 | 65.9069 | 69.2582 | 67.5145 | 72.6216
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 127.292 | 136.7825 | 711.8928 | 705.1561 | 548.8523 | 832.207 | 2208.6837 | 3821.4838 | 6872.4765 | 7283.2394 | 8894.5428 | 8043.573
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 44.1497 | 91.7314 | 189.1264 | 188.9644 | 202.8146 | 533.9337 | 386.4872 | 1535.8917 | 2136.9999 | 1908.2264 | 3043.621 | 3807.4701 | 7477.429 | 7634.0215
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 612.5899 | 446.8426 | 907.0518 | 1083.1512 | 1092.8168 | 1149.5047 | 1233.7555 | 1329.4984 | 1311.839
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 237.0742 | 499.4687 | 1101.8764 | 1305.3653 | 1709.3051 | 2125.7336 | 2619.4415 | 2764.1247
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 701.2729 | 772.5769 | 809.5226 | 1611.7878 | 3183.8868 | 3372.2843
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 557.3819 | 2256.6973 | 2248.6297 | 2258.1797 | 2445.9564 | 2454.8074
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 539.4314 | 610.4339 | 764.7207 | 735.8492 | 637.5907 | 650.9592

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76 | 0 | 200 | 1660 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 185 | 1004 | 869 | 798 | 922 | 553 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 190 | 207 | 279 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210 | 573 | 0 | 439 | 1125 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 161 | 0 | 38 | 0 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 0 | 400 | 400 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 60114.3147 | 59470.5746 | 57747.9783 | 53952.8618 | 53401.0332 | 49885.5979 | 53923.8792 | 56971.0027 | 58173.9518 | 50291.5145 | 50249.261 | 50493.2939 | 50818.1467 | 46158.2866 | 50964.5073
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 83688.0434 | 83877.7918 | 90966.6593 | 104185.1684 | 105664.029 | 110318.8656 | 94346.4668 | 81666.2267 | 87945.9165 | 87748.52 | 79634.4712 | 77972.0393 | 72158.816 | 79257.305 | 80621.6149
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 35856.9139 | 34805.6331 | 32141.9497 | 32519.7862 | 35100.6371 | 34145.4507 | 30965.0083 | 34226.2346 | 25070.2969 | 25256.4265 | 26670.1648 | 26848.495 | 24523.6489 | 16315.3208 | 16383.2323
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 24885.8455 | 25477.1569 | 32094.8728 | 42628.6597 | 46053.6769 | 51721.1879 | 55330.3387 | 59056.0234 | 63171.8298 | 43936.6673 | 54532.5524 | 52781.403 | 46701.4099 | 39658.3252 | 44669.5253
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6985.393 | 7216.2234 | 10101.5941 | 15167.4897 | 16020.036 | 19132.4558 | 20881.5986 | 21259.3546 | 21636.3198 | 22618.115 | 21031.7797 | 21510.6549 | 20806.1642 | 20191.4421 | 20209.2679
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62322.7747 | 62358.79 | 62426.7157 | 62628.8567 | 62591.2126 | 62298.9735 | 62286.8855 | 62370.3372 | 62460.0976 | 62355.4144 | 62327.4011 | 62344.5701 | 62362.1069 | 62341.5623 | 62602.9363
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22566.6855 | 22315.473 | 23262.3337 | 22791.9385 | 23113.8939 | 22538.0102 | 22551.2694 | 22568.6368 | 22801.8718 | 22663.8795 | 22699.1232 | 22536.4249 | 22630.2687 | 22677.5588 | 22749.5232
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 2.2128 | 1.4875 | 0.87003 | 0.5345 | 0.5345 | 0 | 0 | 0 | 0 | 1.6035 | 0.5345 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0.41434 | 0 | 0 | 0 | 3.5012 | 5.7132 | 0 | 0 | 0 | 26.8878 | 63.6167 | 36.3949 | 22.493
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 2.1522 | 0 | 0 | 0.057441 | 23.6026 | 34.3828 | 5.4921 | 0.80663 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 232.912 | 536.7796 | 4187.7079 | 13147.5579 | 16157.7536 | 22813.0529 | 23604.8436 | 16729.4359 | 24945.4541 | 44127.3203 | 49464.9619 | 34717.9378 | 41203.306 | 50522.6652 | 46747.3146
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16374.761 | 16468.2829 | 14916.8715 | 17534.912 | 19669.2436 | 24643.9631 | 33271.0442 | 35156.0645 | 38203.922 | 40643.4943 | 55063.992 | 63724.6763 | 71075.2817 | 74001.8378 | 72777.5275
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 35711.8865 | 35472.8405 | 36937.1603 | 32897.1332 | 9390.3323 | 12557.4056 | 12989.5698 | 9454.4066 | 14420.603 | 17672.3562 | 17100.6607 | 13546.2515 | 14490.7391 | 16593.1738 | 16263.7813
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 831.1406 | 361.3312 | 948.7357 | 1750.6337 | 1600.5084 | 1435.9582 | 442.6801 | 89.3124 | 376.9601 | 402.2296 | 283.9692 | 409.5861 | 706.2892 | 4096.3171 | 4079.1306
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 1305.0645 | 1402.3663 | 7298.6985 | 7229.6309 | 5627.1218 | 8532.223 | 22644.5854 | 39179.8591 | 70460.2384 | 74671.5954 | 91191.5245 | 82466.9357
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 6410.0901 | 4675.7244 | 9491.3156 | 11334.0046 | 11435.1451 | 12028.3221 | 12909.9153 | 13911.7616 | 13726.9753
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 452.6463 | 940.4783 | 1939.0233 | 1937.3619 | 2079.362 | 5474.1691 | 3962.4699 | 15746.7686 | 21909.6454 | 19564.1393 | 31204.8009 | 39036.1829 | 76662.5295 | 78267.998
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3718 | 3718 | 3718 | 3718 | 3718 | 2190 | 2190
Natural Gas | MW | 2495 | 2810 | 2897 | 2897 | 2897 | 2897 | 4192 | 4612 | 5373 | 5373 | 5373 | 5373 | 4863 | 4863 | 4863
Wind | MW | 218.55 | 279.75 | 318 | 318 | 348 | 378 | 378 | 378 | 400.5 | 400.5 | 430.5 | 430.5 | 430.5 | 430.5 | 430.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2597 | 2597 | 2703 | 2703 | 2703 | 2703
Battery | MW | 108.46 | 112.6 | 117.15 | 122.1 | 127.33 | 132.93 | 138.72 | 144.67 | 150.64 | 156.68 | 162.85 | 169.13 | 175.53 | 181.91 | 193.86
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 9711.135 | 9737.1577 | 9727.5569 | 9567.8624 | 9847.4707 | 9962.2814 | 10047.167 | 10271.591 | 10040.2541 | 10147.5487 | 10313.7856 | 10312.9754 | 10401.7437 | 10406.8475 | 10205.9113
Peak Load + Min Capacity Reserves | MW | 10209.135 | 10235.1577 | 10225.5569 | 10065.8624 | 10345.4707 | 10460.2814 | 10545.167 | 10769.591 | 10538.2541 | 10645.5487 | 10811.7856 | 10810.9754 | 10899.7437 | 10904.8475 | 10703.9113

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.1182 | 37.1469 | 40.8991 | 40.8965 | 42.215 | 45.2206 | 47.7484 | 45.5092 | 53.6569 | 53.5138 | 53.8721 | 53.0255 | 54.4011 | 57.6516 | 57.5885
Wind | GWh | 8457.215 | 10652.7821 | 11787.3207 | 11915.8486 | 13548.147 | 14750.7928 | 14810.987 | 14671.3574 | 15949.1439 | 15901.6585 | 16940.6256 | 17094.3128 | 17178.9816 | 17048.038 | 17068.7986
Solar | GWh | 1803.4176 | 1815.6206 | 1816.7319 | 1796.9702 | 2581.2742 | 3588.8668 | 3588.9886 | 3570.5928 | 3884.5549 | 3906.4293 | 4226.5206 | 4230.726 | 4233.6739 | 4256.5919 | 4280.0011
Hydro | GWh | 3107.2349 | 3072.6451 | 3203.0195 | 3138.2502 | 3182.5807 | 3103.2865 | 3105.1122 | 3107.5035 | 3139.618 | 3660.049 | 3735.9042 | 3867.789 | 3851.8389 | 3760.0918 | 3783.3692
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 47435.5732 | 49024.7839 | 48391.5674 | 49236.4775 | 54230.2583 | 55818.5839 | 53533.6022 | 56386.9807 | 51354.4109 | 52829.5591 | 55501.4725 | 57281.9246 | 56304.3741 | 53077.678 | 53520.2369

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Waubra transmission line | Annual hours | 63 | 61 | 421 | 503 | 1003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 10 | 4 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - North Ballarat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 583 | 351 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2295 | 2114 | 2905 | 2488 | 1780 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
Avoid overload of Balranald - Darlington Point transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 653 | 673 | 896 | 776 | 18 | 9 | 20 | 8 | 43 | 66 | 215 | 231 | 461 | 899 | 876
Avoid overload of Bendigo - North Ballarat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 2 | 4 | 6 | 23 | 32 | 59 | 299 | 311
Avoid overload of Bulgana - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 3 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bulgana - Waubra transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Buronga - Balranald transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Crowlands to Ararat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 106 | 567 | 429 | 326 | 2 | 1 | 2 | 5 | 7 | 3 | 3 | 3 | 4 | 0
Avoid overload of Geelong - Keilor transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 3 | 4 | 2 | 5 | 5 | 6 | 18 | 9
Avoid overload of Horsham - Bulgana transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 4 | 5
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 5 | 60 | 421 | 14 | 12 | 9 | 19 | 19 | 25 | 26 | 55 | 152 | 153
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 62 | 65 | 121 | 131 | 172 | 625 | 634 | 568 | 648 | 720 | 1262 | 1242 | 1198 | 973 | 980
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of North Ballarat - Waubra transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victoria to New South Wales export stability constraint | Annual hours | 1812 | 2771 | 2967 | 2892 | 3093 | 3180 | 2374 | 3008 | 1968 | 1899 | 2824 | 2943 | 2762 | 2480 | 2277