## Information
Register of Large Generator Connections - Victoria
As required under clause 5.18A of the National Electricity Rules this spreadsheet is a register of Victorian large generators, and includes the following information:
Participant | Person who is registered by AEMO as a Generator in respect of the large generator connection at that connection point
Power Station | Victorian large generator
Connection Point | Location of the connection for the large generator connection
Technology Type - Descriptor | Technology of the generating units (e.g. hydro, open cycle gas turbine, steam seb-critical etc.)
Max Cap (MW) | Aggregate nameplate rating capacity of all generating unts comprised in the large generator connection
Ceasing Date | Date of cessation of a person's registration with AEMO as Generator in respect of the large generator connection, where relevant
Commencement of Commissioning | Required if commissioning date was after 13 December 1998
Impact Assessment | Impact assessment of the large generator connection prepared in accordance with clause 5.18A.3.

## VIC Large Generators
Register of Large Generator Connections - Victoria
Participant | Power Station | Connection Point | Technology Type - Descriptor | Max Cap (MW) | Ceasing Date | Commencement of commissioning† | Impact Assessment
State Electricity Commission Victoria (SECV) | Angelsea | Point Henry | Steam Sub-Critical | 150 | 2015-08-01
Ararat Wind Farm Pty Ltd | Ararat Wind Farm | Ararat Terminal Station | Wind - Onshore | 241.59
AGL Hydro Partnership | Bogong / Mckay Power Station | Mount Beauty Terminal Station | Hydro - Gravity | 300
Pacific Hydro Crowlands Pty Ltd | Crowlands Wind Farm, Units 1-39 | Crowlands | Wind - Onshore | 79 |  | 2018-11-01 | Not required by the 2019 TAPR date
AGL Hydro Partnership | Dartmouth Power Station | Mount Beauty Terminal Station | Hydro - Gravity | 185
AGL Hydro Partnership | Eildon Power Station | Mount Beauty Terminal Station | Hydro - Gravity | 120
Energy Brix Australia Corporation Pty Ltd | Energy Brix Complex Power Station | Morwell | Steam Sub-Critical | 189 | 2014-08-01
Hazelwood Power Partnership (Trading as Hazelwood Power) | Hazelwood Power Station | Hazelwood Power Partnership (Trading as Hazelwood Power) | Steam Sub-Critical | 1600 | 2017-03-01
Ecogen Energy Pty Ltd | Jeeralang "A" Power Station | Jeeralang Terminal Station | Open Cycle Gas turbines (OCGT) | 260
Ecogen Energy Pty Ltd | Jeeralang "B" Power Station | Jeeralang Terminal Station | Open Cycle Gas turbines (OCGT) | 300
Snowy Hydro Limited | Laverton North Power Station | Laverton North | Open Cycle Gas turbines (OCGT) | 344
AGL Loy Yang Marketing Pty Ltd | Loy Yang A Power Station | Loy Yang | Steam Sub-Critical | 2295
IPM Australia Limited | Loy Yang B Power Station | Loy Yang | Steam Sub-Critical | 1200
AGL Hydro Partnership | Macarthur Wind Farm | Tarrone Terminal Station | Wind - Onshore | 420
Origin Energy Electricity Limited | Mortlake Power Station | Morlake | Open Cycle Gas turbines (OCGT) | 562
Mt Mercer Windfarm Pty Ltd | Mt Mercer Wind Farm | Elaine Terminal Station | Wind - Onshore | 131
Telstra Energy (Generation) Pty Ltd | Murra Warra I | Murra Warra | Wind - Onshore | 226 |  | 2019-03-19 | Not required by the 2019 TAPR date
Snowy Hydro Limited | Murray 1 Power Station | Murray | Hydro - Gravity | 1575
Ecogen Energy Pty Ltd | Newport Power Station | Newport | Steam Sub-Critical | 510
Salt Creek Wind Farm Pty Ltd | Salt Creek Wind Farm | Terang Terminal Station | Wind - Onshore | 54
Snowy Hydro Limited | Valley Power Peaking Facility | Loy Yang | Open Cycle Gas turbines (OCGT) | 360
Pyrenees Wind Energy Development Pty Ltd | Waubra Wind Farm | Waubra Terminal Station | Wind - Onshore | 192
AGL Hydro Partnership | West Kiewa Power Station | Mount Beauty Terminal Station | Hydro - Gravity | 68
EnergyAustralia Yallourn Pty Ltd | Yallourn W Power Station | Yallourn | Steam Sub-Critical | 1585
† Information included for generators connected from the rule commencement date 1 July 2018