## Queensland
Queensland (regional reference node is South Pine 275)
Queensland Loads
Location | Voltage (kV) | TNI | 2017-18 MLF | 2016-17 MLF | Remark
Abermain | 33 | QABM | 1.0016 | 0.999
Abermain (Dual MLF – Generation) | 110 | QABR | 0.999 | 0.9951
Abermain (Dual MLF – Load) | 110 | QABR | 1.0018 | 0.9951
Alan Sherriff | 132 | QASF | 1.0383 | 1.0781
Algester | 33 | QALG | 1.0153 | 1.0138
Alligator Creek | 132 | QALH | 1.005 | 1.0383
Alligator Creek | 33 | QALC | 1.006 | 1.0452
Ashgrove West | 33 | QAGW | 1.0149 | 1.0152
Ashgrove West | 110 | QCBW | 1.0129 | 1.0125
Belmont | 110 | QBMH | 1.0114 | 1.0091
Belmont Wecker Road | 33 | QBBS | 1.0089 | 0.9993
Belmont Wecker Road | 11 | QMOB | 1.034 | 1.0308
Biloela | 66/11 | QBIL | 0.9235 | 0.9456
Blackstone | 110 | QBKS | 0.9999 | 0.9968
Blackwater | 66/11 | QBWL | 1.0001 | 1.0265
Blackwater | 132 | QBWH | 0.9988 | 1.0262
Bluff | 132 | QBLF | 0.9985 | 1.0252
Bolingbroke | 132 | QBNB | 0.9931 | 1.024
Bowen North | 66 | QBNN | 1.009 | 1.0337
Boyne Island | 275 | QBOH | 0.9593 | 0.9868
Boyne Island | 132 | QBOL | 0.9574 | 0.9824
Braemar - Kumbarilla Park | 275 | QBRE | 0.9654 | 0.9573
Bulli Creek (Essential Energy) | 132 | QBK2 | 0.9752 | 0.9638
Bulli Creek (Waggamba) | 132 | QBLK | 0.9752 | 0.9638
Bundamba | 110 | QBDA | 1.0011 | 0.9983
Burton Downs | 132 | QBUR | 1.0116 | 1.0425
Cairns | 22 | QCRN | 1.055 | 1.0904
Cairns City | 132 | QCNS | 1.0547 | 1.0895
Callemondah (Rail) | 132 | QCMD | 0.9494 | 0.975
Calliope River | 132 | QCAR | 0.9472 | 0.9747
Cardwell | 22 | QCDW | 1.0482 | 1.0856
Chinchilla | 132 | QCHA | 0.975 | 0.9705
Clare | 66 | QCLR | 1.0457 | 1.091
Collinsville Load | 33 | QCOL | 1.0126 | 1.0444
Columboola 132 | 132 | QCBB | 0.9724 | -- | Effective from 19/09/2017
Columboola | 132 | QCBL | 0.9715 | 0.9692
Coppabella (Rail) | 132 | QCOP | 1.0294 | 1.061
Dan Gleeson | 66 | QDGL | 1.0391 | 1.0786
Dingo (Rail) | 132 | QDNG | 0.9838 | 1.0059
Duaringa | 132 | QDRG | 0.9754 | 0.9955
Dysart | 66/22 | QDYS | 1.0156 | 1.0494
Eagle Downs Mine | 132 | QEGD | 1.0269 | 1.0617
Edmonton | 22 | QEMT | 1.0603 | 1.0946
Egans Hill | 66 | QEGN | 0.9428 | 0.9686
El Arish | 22 | QELA | 1.0533 | 1.0883
Garbutt | 66 | QGAR | 1.042 | 1.0816
Gin Gin | 132 | QGNG | 0.9693 | 0.9883
Gladstone South | 66/11 | QGST | 0.9534 | 0.9784
Goodna | 33 | QGDA | 1.005 | 1.0027
Goonyella Riverside Mine | 132 | QGYR | 1.0483 | 1.0813
Grantleigh (Rail) | 132 | QGRN | 0.9426 | 0.9672
Gregory (Rail) | 132 | QGRE | 0.9791 | 1.0091
Ingham | 66 | QING | 1.066 | 1.126
Innisfail | 22 | QINF | 1.06 | 1.1001
Invicta Load | 132 | QINV | 0.9644 | 1.0327
Kamerunga | 22 | QKAM | 1.0612 | 1.0945
Kemmis | 132 | QEMS | 1.0084 | 1.037
King Creek | 132 | QKCK | 1.0175 | 1.0475
Lilyvale | 66 | QLIL | 0.9808 | 1.0122
Lilyvale (Barcaldine) | 132 | QLCM | 0.9775 | 1.0061
Loganlea | 33 | QLGL | 1.0148 | 1.0117
Loganlea | 110 | QLGH | 1.0112 | 1.008
Mackay | 33 | QMKA | 1.0021 | 1.0392
Middle Ridge (Energex) | 110 | QMRX | 0.9833 | 0.9746
Middle Ridge (Ergon) | 110 | QMRG | 0.9833 | 0.9746
Mindi (Rail) | 132 | QMND | 0.9846 | 1.0177
Molendinar | 110 | QMAR | 1.0147 | 1.0106
Molendinar | 33 | QMAL | 1.0142 | 1.0102
Moranbah (Mine) | 66 | QMRN | 1.0364 | 1.0721
Moranbah (Town) | 11 | QMRL | 1.0441 | 1.0526
Moranbah South (Rail) | 132 | QMBS | 1.0342 | 1.073
Moranbah Substation | 132 | QMRH | 1.0333 | 1.0719
Moura | 66/11 | QMRA | 0.9609 | 0.9779
Mt McLaren (Rail) | 132 | QMTM | 1.0478 | 1.0783
Mudgeeraba | 33 | QMGL | 1.0169 | 1.0121
Mudgeeraba | 110 | QMGB | 1.0165 | 1.0113
Murarrie (Belmont) | 110 | QMRE | 1.0121 | 1.01
Nebo | 11 | QNEB | 0.9846 | 1.0116
Newlands | 66 | QNLD | 1.0715 | 1.0809
North Goonyella | 132 | QNGY | 1.0499 | 1.082
Norwich Park (Rail) | 132 | QNOR | 1.0007 | 1.0362
Oakey | 110 | QOKT | 0.9779 | 0.9684
Oonooie (Rail) | 132 | QOON | 1.0103 | 1.0399
Orana LNG | 275 | QORH | 0.9678 | 0.9633
Palmwoods | 132 | QPWD | 1.0056 | 1.012
Pandoin | 132 | QPAN | 0.9461 | 0.9699
Pandoin | 66 | QPAL | 0.9457 | 0.97
Peak Downs (Rail) | 132 | QPKD | 1.028 | 1.0672
Pioneer Valley | 66 | QPIV | 1.006 | 1.0487
Proserpine | 66 | QPRO | 1.0439 | 1.077
Queensland Alumina Ltd (Gladstone South) | 132 | QQAH | 0.9565 | 0.9829
Queensland Nickel (Yabulu) | 132 | QQNH | 1.0344 | 1.0735
Raglan | 275 | QRGL | 0.9427 | 0.9686
Redbank Plains | 11 | QRPN | 1.003 | 1.0007
Richlands | 33 | QRLD | 1.0136 | 1.0129
Rockhampton | 66 | QROC | 0.9481 | 0.9726
Rocklands (Rail) | 132 | QRCK | 0.9399 | 0.9657
Rocklea (Archerfield) | 110 | QRLE | 1.0059 | 1.0052
Ross | 132 | QROS | 1.0292 | 1.0667
Runcorn | 33 | QRBS | 1.0161 | 1.015
South Pine | 110 | QSPN | 1.0044 | 1.0049
Stony Creek | 132 | QSYC | 1.0289 | 1.0449
Sumner | 110 | QSUM | 1.0068 | 1.0057
Tangkam (Dalby) | 110 | QTKM | 0.9816 | 0.9717
Tarong | 66 | QTRL | 0.9715 | 0.9691
Teebar Creek | 132 | QTBC | 0.987 | 1.0033
Tennyson | 33 | QTNS | 1.01 | 1.01
Tennyson (Rail) | 110 | QTNN | 1.0085 | 1.0082
Townsville East | 66 | QTVE | 1.0367 | 1.0763
Townsville South | 66 | QTVS | 1.0373 | 1.0774
Townsville South (KZ) | 132 | QTZS | 1.0419 | 1.0765
Tully | 22 | QTLL | 1.0779 | 1.1188
Turkinje | 66 | QTUL | 1.0877 | 1.1103
Turkinje (Craiglee) | 132 | QTUH | 1.0762 | 1.1077
Wandoan South | 132 | QWSH | 0.9854 | 0.981
Wandoan South (NW Surat) | 275 | QWST | 0.9846 | 0.98
Wandoo (Rail) | 132 | QWAN | 0.9897 | 1.0236
Wivenhoe Pump | 275 | QWIP | 0.9975 | 0.994
Woolooga (Energex) | 132 | QWLG | 0.985 | 0.9984
Woolooga (Ergon) | 132 | QWLN | 0.985 | 0.9984
Woree | 132 | QWRE | 1.0541 | 1.0887
Wotonga (Rail) | 132 | QWOT | 1.029 | 1.0616
Wycarbah | 132 | QWCB | 0.9351 | 0.9585
Yarwun – Boat Creek (Ergon) | 132 | QYAE | 0.9478 | 0.9717
Yarwun – Rio Tinto | 132 | QYAR | 0.9461 | 0.9716
Queensland Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2017-18 MLF | 2016-17 MLF | Remark
Barron Gorge PS Unit 1 | 132 | BARRON-1 | QBGH1 | QBGH | 1.0238 | 1.053
Barron Gorge PS Unit 2 | 132 | BARRON-2 | QBGH2 | QBGH | 1.0238 | 1.053
Braemar PS Unit 1 | 275 | BRAEMAR1 | QBRA1 | QBRA | 0.9607 | 0.9549
Braemar PS Unit 2 | 275 | BRAEMAR2 | QBRA2 | QBRA | 0.9607 | 0.9549
Braemar PS Unit 3 | 275 | BRAEMAR3 | QBRA3 | QBRA | 0.9607 | 0.9549
Braemar Stage 2 PS Unit 5 | 275 | BRAEMAR5 | QBRA5B | QBRA | 0.9607 | 0.9549
Braemar Stage 2 PS Unit 6 | 275 | BRAEMAR6 | QBRA6B | QBRA | 0.9607 | 0.9549
Braemar Stage 2 PS Unit 7 | 275 | BRAEMAR7 | QBRA7B | QBRA | 0.9607 | 0.9549
Callide PS Load | 132 | CALLNL1 | QCAX | QCAX | 0.9146 | 0.9344
Callide A PS Unit 4 | 132 | CALL_A_4 | QCAA4 | QCAA | 0.9161 | 0.9268
Callide A PS Unit 4 Load | 132 | CALLNL4 | QCAA2 | QCAA | 0.9161 | 0.9268
Callide B PS Unit 1 | 275 | CALL_B_1 | QCAB1 | QCAB | 0.9235 | 0.9456
Callide B PS Unit 2 | 275 | CALL_B_2 | QCAB2 | QCAB | 0.9235 | 0.9456
Callide C PS Unit 3 | 275 | CPP_3 | QCAC3 | QCAC | 0.9211 | 0.941
Callide C PS Unit 4 | 275 | CPP_4 | QCAC4 | QCAC | 0.9211 | 0.941
Columboola - Condamine PS | 132 | CPSA | QCND1C | QCND | 0.9688 | 0.9685
Darling Downs PS | 275 | DDPS1 | QBRA8D | QBRA | 0.9607 | 0.9549
Gladstone PS (132 kV) Unit 3 | 132 | GSTONE3 | QGLD3 | QGLL | 0.9402 | 0.9603
Gladstone PS (132 kV) Unit 4 | 132 | GSTONE4 | QGLD4 | QGLL | 0.9402 | 0.9603
Gladstone PS (132kV) Load | 132 | GLADNL1 | QGLL | QGLL | 0.9402 | 0.9603
Gladstone PS (275 kV) Unit 1 | 275 | GSTONE1 | QGLD1 | QGLH | 0.9431 | 0.9662
Gladstone PS (275 kV) Unit 2 | 275 | GSTONE2 | QGLD2 | QGLH | 0.9431 | 0.9662
Gladstone PS (275 kV) Unit 5 | 275 | GSTONE5 | QGLD5 | QGLH | 0.9431 | 0.9662
Gladstone PS (275 kV) Unit 6 | 275 | GSTONE6 | QGLD6 | QGLH | 0.9431 | 0.9662
Grosvenor PS | 66 | GROSV1 | QMRN2G | QMRV | 1.0252 | -- | Effective from 27/09/2017
Grosvenor PS No2 | 66 | GROSV2 | QMRV1G | QMRV | 1.0252 | -- | Effective from 27/09/2017
Kareeya PS Unit 1 | 132 | KAREEYA1 | QKAH1 | QKYH | 1.0181 | 1.0495
Kareeya PS Unit 2 | 132 | KAREEYA2 | QKAH2 | QKYH | 1.0181 | 1.0495
Kareeya PS Unit 3 | 132 | KAREEYA3 | QKAH3 | QKYH | 1.0181 | 1.0495
Kareeya PS Unit 4 | 132 | KAREEYA4 | QKAH4 | QKYH | 1.0181 | 1.0495
Kogan Creek PS | 275 | KPP_1 | QBRA4K | QWDN | 0.9635 | 0.9588
Koombooloomba | 132 | KAREEYA5 | QKYH5 | QKYH | 1.0181 | 1.0495
Millmerran PS Unit 1 | 330 | MPP_1 | QBCK1 | QMLN | 0.9737 | 0.9642
Millmerran PS Unit 2 | 330 | MPP_2 | QBCK2 | QMLN | 0.9737 | 0.9642
Mt Stuart PS Unit 1 | 132 | MSTUART1 | QMSP1 | QMSP | 0.9964 | 0.9834
Mt Stuart PS Unit 2 | 132 | MSTUART2 | QMSP2 | QMSP | 0.9964 | 0.9834
Mt Stuart PS Unit 3 | 132 | MSTUART3 | QMSP3M | QMSP | 0.9964 | 0.9834
Oakey PS Unit 1 | 110 | OAKEY1 | QOKY1 | QOKY | 0.9667 | 0.942
Oakey PS Unit 2 | 110 | OAKEY2 | QOKY2 | QOKY | 0.9667 | 0.942
Stanwell PS Load | 132 | STANNL1 | QSTX | QSTX | 0.9366 | 0.9618
Stanwell PS Unit 1 | 275 | STAN-1 | QSTN1 | QSTN | 0.9329 | 0.9561
Stanwell PS Unit 2 | 275 | STAN-2 | QSTN2 | QSTN | 0.9329 | 0.9561
Stanwell PS Unit 3 | 275 | STAN-3 | QSTN3 | QSTN | 0.9329 | 0.9561
Stanwell PS Unit 4 | 275 | STAN-4 | QSTN4 | QSTN | 0.9329 | 0.9561
Staplyton | 110 | STAPYLTON1 | QLGH4S | QLGH | 1.0112 | -- | Effective from 18/07/2017
Swanbank E GT | 275 | SWAN_E | QSWE | QSWE | 1.0019 | 0.9984
Tarong North PS | 275 | TNPS1 | QTNT | QTNT | 0.9713 | 0.9678
Tarong PS Unit 1 | 275 | TARONG#1 | QTRN1 | QTRN | 0.9712 | 0.9686
Tarong PS Unit 2 | 275 | TARONG#2 | QTRN2 | QTRN | 0.9712 | 0.9686
Tarong PS Unit 3 | 275 | TARONG#3 | QTRN3 | QTRN | 0.9712 | 0.9686
Tarong PS Unit 4 | 275 | TARONG#4 | QTRN4 | QTRN | 0.9712 | 0.9686
Wivenhoe Generation Unit 1 | 275 | W/HOE#1 | QWIV1 | QWIV | 0.9935 | 0.9902
Wivenhoe Generation Unit 2 | 275 | W/HOE#2 | QWIV2 | QWIV | 0.9935 | 0.9902
Wivenhoe Pump 1 | 275 | PUMP1 | QWIP1 | QWIP | 0.9975 | 0.994
Wivenhoe Pump 2 | 275 | PUMP2 | QWIP2 | QWIP | 0.9975 | 0.994
Yabulu PS | 132 | YABULU | QTYP | QTYP | 1.0035 | 1.0073
Yarwun PS | 132 | YARWUN_1 | QYAG1R | QYAG | 0.9435 | 0.9693
Queensland Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2017-18 MLF | 2016-17 MLF | Remark
Barcaldine PS - Lilyvale | 132 | BARCALDN | QBCG | QBCG | 0.9507 | 0.9777
Barcaldine Solar - Lilyvale | 132 | BARCSF1 | QLLV1B | QLLV | 0.9715 | 1.0107
Browns Plains Landfill Gas PS | 110 | BPLANDF1 | QLGH3B | QLGH | 1.0112 | 1.008
Daandine PS | 110 | DAANDINE | QTKM1 | QTKM | 0.9816 | 0.9717
German Creek Generator | 66 | GERMCRK | QLIL2 | QLIL | 0.9808 | 1.0122
Grosvenor PS At Moranbah 66 | 66 | GROSV1 | QMRN2G | QMRV | 1.032 | 1.0727
Isis CSM | 132 | ICSM | QGNG1I | QTBC | 0.987 | 1.0033
Mackay GT | 33 | MACKAYGT | QMKG | QMKG | 0.9577 | 0.9737
Moranbah Gen | 11 | MORANBAH | QMRL1M | QMRL | 1.0441 | 1.0526
Moranbah North PS | 66 | MBAHNTH | QMRN1P | QMRN | 1.0364 | 1.0721
Oaky Creek 2 | 66 | OAKY2 | QLIL3O | QLIL | 0.9808 | 1.0122
Oaky Creek Generator | 66 | OAKYCREK | QLIL1 | QLIL | 0.9808 | 1.0122
Racecourse Mill PS 1 - 3 | 66 | RACOMIL1 | QMKA1R | QPIV | 1.006 | 1.0487
Rochedale Renewable Energy Plant | 110 | ROCHEDAL | QBMH2 | QBMH | 1.0114 | 1.0091
Rocky Point Gen (Loganlea 110kV) | 110 | RPCG | QLGH2 | QLGH | 1.0112 | 1.008
Roghan Road Generator | 110 | EDLRGNRD | QSPN2 | QSPN | 1.0044 | 1.0049
Roma PS Unit 7 - Columboola | 132 | ROMA_7 | QRMA7 | QRMA | 0.9623 | 0.9629
Roma PS Unit 8 - Columboola | 132 | ROMA_8 | QRMA8 | QRMA | 0.9623 | 0.9629
Southbank Institute Of Technology | 110 | STHBKTEC | QCBD1S | QCBW | 1.0129 | 1.0125
Ti Tree BioReactor | 33 | TITREE | QABM1T | QABM | 1.0016 | 0.999
Whitwood Rd Renewable Energy Plant | 110 | WHIT1 | QSBK1 | QBKS | 0.9999 | 0.9968
Windy Hill WF | 66 | WHILL1 | QTUL | QTUL | 1.0877 | 1.1103
Wivenhoe Small Hydro | 110 | WIVENSH | QABR1 | QABR | 0.999 | 0.9951
Yabulu Steam Turbine (Garbutt 66kV) | 66 | YABULU2 | QGAR1 | QYST | 0.9778 | 0.9992

## New South Wales
New South Wales (regional reference node is Sydney West 330)
New South Wales Loads
Location | Voltage (kV) | TNI | 2017-18 MLF | 2016-17 MLF | Remark
Albury | 132 | NALB | 1.108 | 1.0305
Alcan | 132 | NALC | 0.992 | 0.9933
Armidale | 66 | NAR1 | 0.902 | 0.9435
Australian Newsprint Mill | 132 | NANM | 1.111 | 1.0294
Balranald | 22 | NBAL | 1.2097 | 1.1166
Beaconsfield North | 132 | NBFN | 1.0081 | 1.0078
Beaconsfield South | 132 | NBFS | 1.0081 | 1.0078
Beaconsfield West | 132 | NBFW | 1.0081 | 1.0078
Belmore Park | 132 | NBM1 | 1.0082 | 1.0079
Beresfield | 33 | NBRF | 0.9947 | 0.9965
Beryl | 66 | NBER | 1.0067 | 1.0145
BHP (Waratah) | 132 | NWR1 | 0.9886 | 0.9898
Boambee South | 132 | NWST | 0.919 | 0.968
Boggabri East | 132 | NBGE | 0.9677 | 1.0022
Boggabri North | 132 | NBGN | 0.9694 | 1.0056
Brandy Hill | 11 | NBHL | 0.9924 | 0.9941
Broken Hill | 22 | NBKG | 1.2841 | 1.1714
Broken Hill | 220 | NBKH | 1.2757 | 1.1632
Bunnerong | 132 | NBG1 | 1.008 | 1.0076
Bunnerong | 33 | NBG3 | 1.0099 | 1.0097
Burrinjuck | 132 | NBU2 | 1.0324 | 1.0045
Canterbury | 33 | NCTB | 1.0135 | 1.0134
Carlingford | 132 | NCAR | 1.0041 | 1.0035
Casino | 132 | NCSN | 0.9021 | 0.9648
Charmhaven | 11 | NCHM | 0.9925 | 0.9935
Chullora | 132 | NCHU | 1.0076 | 1.0077
Coffs Harbour | 66 | NCH1 | 0.9139 | 0.9634
Coleambally | 132 | NCLY | 1.1222 | 1.0477
Cooma | 66 | NCMA | 1.0387 | 1.0106
Cooma (AusNet Services) | 66 | NCM2 | 1.0387 | 1.0106
Croydon | 11 | NCRD | 1.0113 | 1.0104
Cowra | 66 | NCW8 | 1.0435 | 1.0355
Dapto (Endeavour Energy) | 132 | NDT1 | 1.0023 | 0.9986
Dapto (Essential Energy) | 132 | NDT2 | 1.0023 | 0.9986
Darlington Point | 132 | NDNT | 1.1114 | 1.047
Deniliquin | 66 | NDN7 | 1.14 | 1.0715
Dorrigo | 132 | NDOR | 0.9116 | 0.9568
Drummoyne | 11 | NDRM | 1.009 | 1.009
Dunoon | 132 | NDUN | 0.8881 | 0.9553
Far North VTN |  | NEV1 | 0.9632 | 0.9745
Finley | 66 | NFNY | 1.1256 | 1.0825
Forbes | 66 | NFB2 | 1.0551 | 1.0535
Gadara | 132 | NGAD | 1.0756 | 1.0328
Glen Innes | 66 | NGLN | 0.9 | 0.9696
Gosford | 66 | NGF3 | 1.0008 | 1.0015
Gosford | 33 | NGSF | 1.0014 | 1.0021
Green Square | 11 | NGSQ | 1.0094 | 1.0081
Griffith | 33 | NGRF | 1.1321 | 1.0665
Gunnedah | 66 | NGN2 | 0.9592 | 0.9879
Haymarket | 132 | NHYM | 1.0082 | 1.0079
Heron's Creek | 132 | NHNC | 0.9921 | 1.0226
Holroyd | 132 | NHLD | 0.9998 | 1.0001
Hurstville North | 11 | NHVN | 1.0068 | 1.0063
Homebush Bay | 11 | NHBB | 1.0112 | 1.0112
Ilford | 132 | NLFD | 0.9868 | 0.9928
Ingleburn | 66 | NING | 1.0001 | 1.0005
Inverell | 66 | NNVL | 0.9127 | 0.9823
Kemps Creek | 330 | NKCK | 0.9965 | 0.9957
Kempsey | 66 | NKS2 | 0.9572 | 0.9976
Kempsey | 33 | NKS3 | 0.96 | 1.0006
Koolkhan | 66 | NKL6 | 0.9255 | 0.9776
Kurnell | 132 | NKN1 | 1.0055 | 1.0052
Kogarah | 11 | NKOG | 1.012 | 1.0086
Kurri | 33 | NKU3 | 0.9951 | 0.9967
Kurri | 11 | NKU1 | 0.9932 | 0.9932
Kurri | 132 | NKUR | 0.993 | 0.9941
Lake Munmorah | 132 | NMUN | 0.981 | 0.9791
Lane Cove | 132 | NLCV | 1.0088 | 1.0086
Leichhardt Zone SS (Ausgrid) | 11 | NLDT | 1.0106 | -- | Effective from 04/10/2017
Liddell | 33 | NLD3 | 0.9582 | 0.9679
Lismore | 132 | NLS2 | 0.9051 | 0.9661
Liverpool | 132 | NLP1 | 1.0022 | 1.0019
Macarthur | 132 | NMC1 | 0.9972 | 0.9953
Macarthur | 66 | NMC2 | 0.9998 | 0.9986
Macksville | 132 | NMCV | 0.9362 | 0.9824
Macquarie Park | 11 | NMQP | 1.0123 | 1.0116
Manildra | 132 | NMLD | 1.0346 | 1.041
Marrickville | 11 | NMKV | 1.0136 | 1.0132
Marulan (Endeavour Energy) | 132 | NMR1 | 0.9998 | 0.9922
Marulan (Essential Energy) | 132 | NMR2 | 0.9998 | 0.9922
Mason Park | 132 | NMPK | 1.0086 | 1.0087
Meadowbank | 11 | NMBK | 1.012 | 1.0117
Molong | 132 | NMOL | 1.0303 | 1.0359
Moree | 66 | NMRE | 0.9479 | 1.0039
Morven | 132 | NMVN | 1.1004 | 1.0316
Mt Piper | 66 | NMP6 | 0.9713 | 0.9765
Mudgee | 132 | NMDG | 1.0026 | 1.0095
Mullumbimby | 11 | NML1 | 0.871 | 0.9494
Mullumbimby | 132 | NMLB | 0.8644 | 0.9403
Munmorah STS 33 | 33 | NMU3 | 0.9969 | 0.9895
Munmorah | 330 | NMN1 | 0.9875 | 0.9882
Munyang | 11 | NMY1 | 1.0426 | 1.0148
Munyang | 33 | NMYG | 1.0426 | 1.0148
Murrumbateman | 132 | NMBM | 1.0179 | 1.0009
Murrumburrah | 66 | NMRU | 1.0596 | 1.0245
Muswellbrook | 132 | NMRK | 0.9637 | 0.9754
Nambucca Heads | 132 | NNAM | 0.9307 | 0.9773
Narrabri | 66 | NNB2 | 0.9746 | 1.0154
Newcastle | 132 | NNEW | 0.9892 | 0.9907
North of Broken Bay VTN |  | NEV2 | 0.9926 | 0.9937
Orange | 66 | NRGE | 1.0363 | 1.045
Orange | 132 | NRG1 | 1.0374 | 1.0453
Orange North | 132 | NONO | 1.0343 | 1.0437
Ourimbah | 33 | NORB | 0.9977 | 0.9987
Ourimbah | 132 | NOR1 | 0.9968 | 0.9976
Ourimbah | 66 | NOR6 | 0.9967 | 0.9975
Panorama | 66 | NPMA | 1.0251 | 1.0292
Parkes | 66 | NPK6 | 1.0497 | 1.0527
Parkes | 132 | NPKS | 1.0476 | 1.0506
Peakhurst | 33 | NPHT | 1.0069 | 1.0071
Pt Macquarie | 33 | NPMQ | 0.9833 | 1.0187
Pyrmont | 33 | NPT3 | 1.0089 | 1.0085
Pyrmont | 132 | NPT1 | 1.0084 | 1.008
Queanbeyan 132 | 132 | NQBY | 1.0555 | 1.025
Raleigh | 132 | NRAL | 0.9223 | 0.9691
Regentville | 132 | NRGV | 0.9993 | 0.9991
Rookwood Road | 132 | NRWR | 1.0019 | 1.0013
Rozelle | 132 | NRZH | 1.0089 | 1.0101
Rozelle | 33 | NRZL | 1.01 | 1.0098
Snowy Adit | 132 | NSAD | 1.0263 | 0.9741
Somersby | 11 | NSMB | 1.0018 | 1.0024
South of Broken Bay VTN |  | NEV3 | 1.0064 | 1.006
St Peters | 11 | NSPT | 1.0113 | 1.0109
Stroud | 132 | NSRD | 1.001 | 1.0057
Sydney East | 132 | NSE2 | 1.0048 | 1.005
Sydney North (Ausgrid) | 132 | NSN1 | 1.0015 | 1.0016
Sydney North (Endeavour Energy) | 132 | NSN2 | 1.0015 | 1.0016
Sydney South | 132 | NSYS | 1.0033 | 1.0029
Sydney West (Ausgrid) | 132 | NSW1 | 1.0041 | 1.0035
Sydney West (Endeavour Energy) | 132 | NSW2 | 1.0041 | 1.0035
Tamworth | 66 | NTA2 | 0.9372 | 0.9638
Taree (Essential Energy) | 132 | NTR2 | 1.0111 | 1.0295
Tenterfield | 132 | NTTF | 0.9028 | 0.9705
Terranora | 110 | NTNR | 0.9406 | 0.9986
Tomago | 330 | NTMG | 0.9888 | 0.9905
Tomago (Ausgrid) | 132 | NTME | 0.9915 | 0.9923
Tomago (Essential Energy) | 132 | NTMC | 0.9915 | 0.9923
Top Ryde | 11 | NTPR | 1.0095 | 1.0094
Tuggerah | 132 | NTG3 | 0.993 | 0.9938
Tumut | 66 | NTU2 | 1.0748 | 1.0314
Vales Pt. | 132 | NVP1 | 0.9878 | 0.9883
Vineyard | 132 | NVYD | 0.9989 | 0.9991
Wagga | 66 | NWG2 | 1.0888 | 1.0313
Wagga North | 132 | NWGN | 1.0889 | 1.0292
Wagga North | 66 | NWG6 | 1.0941 | 1.0319
Wallerawang (Endeavour Energy) | 132 | NWW6 | 0.9714 | 0.9766
Wallerawang (Essential Energy) | 132 | NWW5 | 0.9714 | 0.9766
Wallerawang 66 (Essential Energy) | 66 | NWW4 | 0.9718 | 0.9771
Wallerawang 66 | 66 | NWW7 | 0.9718 | 0.9771
Wallerawang 330 PS Load | 330 | NWWP | 0.9754 | 0.9798
Wellington | 132 | NWL8 | 0.9831 | 0.9909
West Gosford | 11 | NGWF | 1.0024 | 1.0031
Williamsdale | 132 | NWDL | 1.0356 | 1.009
Williamsdale (Ess Energy) | 132 | NWD1 | 1.0382 | -- | Effective from 30/08/2017
Wyong | 11 | NWYG | 0.9953 | 0.9963
Yanco | 33 | NYA3 | 1.1197 | 1.0546
Yass | 66 | NYS6 | 1.0191 | 1.0016
Yass | 132 | NYS1 | 1.0135 | 0.9914
New South Wales Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2017-18 MLF | 2016-17 MLF | Remark
Bayswater PS Unit 1 | 330 | BW01 | NBAY1 | NBAY | 0.952 | 0.959
Bayswater PS Unit 2 | 330 | BW02 | NBAY2 | NBAY | 0.952 | 0.959
Bayswater PS Unit 3 | 500 | BW03 | NBAY3 | NBYW | 0.9532 | 0.9603
Bayswater PS Unit 4 | 500 | BW04 | NBAY4 | NBYW | 0.9532 | 0.9603
Blowering | 132 | BLOWERNG | NBLW8 | NBLW | 1.0506 | 0.9815
Broken Hill GT 1 | 22 | GB01 | NBKG1 | NBKG | 1.2841 | 1.1714
Burrinjuck | 132 | BURRIN | NBUK | NBUK | 1.0275 | 0.9915
Capital Wind Farm | 330 | CAPTL_WF | NCWF1R | NCWF | 1.0163 | 0.9931
Colongra PS Unit 1 | 330 | CG1 | NCLG1D | NCLG | 0.9831 | 0.9872
Colongra PS Unit 2 | 330 | CG2 | NCLG2D | NCLG | 0.9831 | 0.9872
Colongra PS Unit 3 | 330 | CG3 | NCLG3D | NCLG | 0.9831 | 0.9872
Colongra PS Unit 4 | 330 | CG4 | NCLG4D | NCLG | 0.9831 | 0.9872
Eraring 330 PS Unit 1 | 330 | ER01 | NEPS1 | NEP3 | 0.982 | 0.9829
Eraring 330 PS Unit 2 | 330 | ER02 | NEPS2 | NEP3 | 0.982 | 0.9829
Eraring 500 PS Unit 3 | 500 | ER03 | NEPS3 | NEPS | 0.9846 | 0.9846
Eraring 500 PS Unit 4 | 500 | ER04 | NEPS4 | NEPS | 0.9846 | 0.9846
Eraring PS Load | 500 | ERNL1 | NEPSL | NEPS | 0.9846 | 0.9846
Gullen Range Solar | 330 | GULLRSF1 | NGUR2G | NGUR | 1.001 | -- | Effective from 15/08/2017
Gullen Range Wind Farm | 330 | GULLRWF1 | NGUR1G | NGUR | 1.001 | 0.9909
Guthega | 132 | GUTHEGA | NGUT8 | NGUT | 0.9658 | 0.9371
Guthega Auxiliary Supply | 11 | GUTHNL1 | NMY11 | NMY1 | 1.0426 | 1.0148
Hume (NSW Share) | 132 | HUMENSW | NHUM | NHUM | 1.1055 | 1.002
Kangaroo Valley – Bendeela (Shoalhaven) Generation - dual MLF | 330 | SHGEN | NSHL | NSHN | 0.9931 | 0.9904
Kangaroo Valley (Shoalhaven) Pumps - dual MLF | 330 | SHPUMP | NSHP1 | NSHN | 1.0141 | 1.01
Liddell 330 PS Load | 330 | LIDDNL1 | NLDPL | NLDP | 0.9509 | 0.9593
Liddell 330 PS Unit 1 | 330 | LD01 | NLDP1 | NLDP | 0.9509 | 0.9593
Liddell 330 PS Unit 2 | 330 | LD02 | NLDP2 | NLDP | 0.9509 | 0.9593
Liddell 330 PS Unit 3 | 330 | LD03 | NLDP3 | NLDP | 0.9509 | 0.9593
Liddell 330 PS Unit 4 | 330 | LD04 | NLDP4 | NLDP | 0.9509 | 0.9593
Lower Tumut Generation - dual MLF | 330 | TUMUT3 | NLTS8 | NLTS | 1.0155 | 0.9897
Lower Tumut Pipeline Auxiliary | 66 | TUMT3NL3 | NTU2L3 | NTU2 | 1.0748 | 1.0314
Lower Tumut Pumps - dual MLF | 330 | SNOWYP | NLTS3 | NLTS | 1.0533 | 1.0142
Lower Tumut T2 Auxiliary | 66 | TUMT3NL1 | NTU2L1 | NTU2 | 1.0748 | 1.0314
Lower Tumut T4 Auxiliary | 66 | TUMT3NL2 | NTU2L2 | NTU2 | 1.0748 | 1.0314
Mt Piper PS Load | 330 | MPNL1 | NMPPL | NMTP | 0.9725 | 0.9753
Mt Piper PS Unit 1 | 330 | MP1 | NMTP1 | NMTP | 0.9725 | 0.9753
Mt Piper PS Unit 2 | 330 | MP2 | NMTP2 | NMTP | 0.9725 | 0.9753
Smithfield Energy Facility (Sithe) | 132 | SITHE01 | NSYW1 | NHD2 | 0.9979 | -- | Effective from 01/11/2017
Upper Tumut | 330 | UPPTUMUT | NUTS8 | NUTS | 1.0356 | 0.9943
Uranquinty PS Unit 11 | 132 | URANQ11 | NURQ1U | NURQ | 1.0087 | 0.9291
Uranquinty PS Unit 12 | 132 | URANQ12 | NURQ2U | NURQ | 1.0087 | 0.9291
Uranquinty PS Unit 13 | 132 | URANQ13 | NURQ3U | NURQ | 1.0087 | 0.9291
Uranquinty PS Unit 14 | 132 | URANQ14 | NURQ4U | NURQ | 1.0087 | 0.9291
Vales Point 330 PS Load | 330 | VPNL1 | NVPPL | NVPP | 0.9845 | 0.9853
Vales Point 330 PS Unit 5 | 330 | VP5 | NVPP5 | NVPP | 0.9845 | 0.9853
Vales Point 330 PS Unit 6 | 330 | VP6 | NVPP6 | NVPP | 0.9845 | 0.9853
White Rock Wind Farm | 132 | WRWF1 | NWRK1W | NWRK | 0.8468 | -- | Effective from 06/07/2017
Woodlawn Wind Farm | 330 | WOODLWN1 | NCWF2W | NCWF | 1.0163 | 0.9931
New South Wales Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2017-18 MLF | 2016-17 MLF
Appin PS | 66 | APPIN | NAPP1A | NAPP | 1 | 0.9986
Awaba Renewable Energy Facility | 132 | AWABAREF | NNEW2 | NNEW | 0.9892 | 0.9907
Bankstown Sport Club | 132 | BANKSPT1 | NSYS3R | NSYS | 1.0033 | 1.0029
Boco Rock Wind Farm | 132 | BOCORWF1 | NCMA3B | NBCO | 1.0167 | 0.9882
Broadwater PS | 132 | BWTR1 | NLS21B | NLS2 | 0.9051 | 0.9661
Broken Hill Solar Farm | 22 | BROKENH1 | NBK11B | NBK1 | 1.2456 | 1.122
Brown Mountain | 66 | BROWNMT | NCMA1 | NCMA | 1.0387 | 1.0106
Burrendong Hydro PS | 132 | BDONGHYD | NWL81B | NWL8 | 0.9831 | 0.9909
Campbelltown WSLC | 66 | WESTCBT1 | NING1C | NING | 1.0001 | 1.0005
Condong PS | 110 | CONDONG1 | NTNR1C | NTNR | 0.9406 | 0.9986
Copeton Hydro PS | 66 | COPTNHYD | NNVL1C | NNVL | 0.9127 | 0.9823
Cullerin Range Wind Farm | 132 | CULLRGWF | NYS11C | NYS1 | 1.0135 | 0.9914
Eastern Creek | 132 | EASTCRK | NSW21 | NSW2 | 1.0041 | 1.0035
Eraring 330 BS UN (GT) | 330 | ERGT01 | NEP35B | NEP3 | 0.982 | 0.9829
Glenbawn Hydro PS | 132 | GLBWNHYD | NMRK2G | NMRK | 0.9637 | 0.9754
Glenn Innes (Pindari PS) | 66 | PINDARI | NGLN1 | NGLN | 0.9 | 0.9696
Grange Avenue | 132 | GRANGEAV | NVYD1 | NVYD | 0.9989 | 0.9991
Gunning Wind Farm | 132 | GUNNING1 | NYS12A | NYS1 | 1.0135 | 0.9914
Jindabyne Generator | 66 | JNDABNE1 | NCMA2 | NCMA | 1.0387 | 1.0106
Jounama PS | 66 | JOUNAMA1 | NTU21J | NTU2 | 1.0748 | 1.0314
Keepit | 66 | KEEPIT | NKPT | NKPT | 0.9592 | 0.9879
Kincumber Landfill | 66 | KINCUM1 | NGF31K | NGF3 | 1.0008 | 1.0015
Liddell 33 – Hunter Valley GTs | 33 | HVGTS | NLD31 | NLD3 | 0.9582 | 0.9679
Liverpool 132 (Jacks Gully) | 132 | JACKSGUL | NLP11 | NSW2 | 1.0041 | 1.0035
Lucas Heights II Power Plant | 132 | LUCASHGT | NSYS2G | NSYS | 1.0033 | 1.0029
Lucas Heights Stage 2 Power Station | 132 | LUCAS2S2 | NSYS1 | NSYS | 1.0033 | 1.0029
Moree Solar Farm | 66 | MOREESF1 | NMR41M | NMR4 | 0.8911 | 0.9433
Nine Willoughby | 132 | NINEWIL1 | NSE21R | NSE2 | 1.0048 | 1.005
Nyngan Solar Farm | 132 | NYNGAN1 | NWL82N | NWL8 | 0.9831 | 0.9909
St George Leagues Club | 33 | STGEORG1 | NPHT1E | NPHT | 1.0069 | 1.0071
Tahmoor PS | 132 | TAHMOOR1 | NLP12T | NLP1 | 1.0022 | 1.0019
Tallawarra PS | 132 | TALWA1 | NDT13T | NTWA | 1.0013 | 0.9967
Taralga Wind Farm | 132 | TARALGA1 | NMR22T | NMR2 | 0.9998 | 0.9922
Teralba Power Station | 132 | TERALBA | NNEW1 | NNEW | 0.9892 | 0.9907
The Drop PS | 66 | THEDROP1 | NFNY1D | NFNY | 1.1256 | 1.0157
Tower Power Plant | 132 | TOWER | NLP11T | NLP1 | 1.0022 | 1.0019
West Nowra | 132 | AGLNOW1 | NDT12 | NDT1 | 1.0023 | 0.9986
Wests Illawara Leagues Club | 132 | WESTILL1 | NDT14E | NDT1 | 1.0023 | 0.9986
Wilga Park A | 66 | WILGAPK | NNB21W | NNB2 | 0.9746 | 1.0154
Wilga Park B | 66 | WILGB01 | NNB22W | NNB2 | 0.9746 | 1.0154
Woodlawn Bioreactor | 132 | WDLNGN01 | NMR21W | NMR2 | 0.9998 | 0.9922
Woy Woy Landfill | 66 | WOYWOY1 | NGF32W | NGF3 | 1.0008 | 1.0015
Wyangala A PS | 66 | WYANGALA | NCW81A | NCW8 | 1.0435 | 1.0355
Wyangala B PS | 66 | WYANGALB | NCW82B | NCW8 | 1.0435 | 1.0355

## Australian Capital Territory
Australian Capital Territory (regional reference node is Sydney West 330)
Australian Capital Territory Loads
Location | Voltage (kV) | TNI | 2017-18 MLF | 2016-17 MLF | Remark
Canberra | 132 | ACA1 | 1.0362 | 1.0095 | see note (*)
Angle Crossing | 132 | AAXG | 1.0371 | -- | see note (**)
Belconnen | 132 | ABCN | 1.0388 | -- | see note (**)
City East | 132 | ACTE | 1.0419 | -- | see note (**)
Civic | 132 | ACVC | 1.0394 | -- | see note (**)
East lake | 132 | AELK | 1.0406 | -- | see note (**)
Gilmore | 132 | AGLM | 1.0397 | -- | see note (**)
Gold Creek | 132 | AGCK | 1.0383 | -- | see note (**)
Latham | 132 | ALTM | 1.0377 | -- | see note (**)
Telopia Park | 132 | ATLP | 1.0415 | -- | see note (**)
Theodore | 132 | ATDR | 1.0389 | -- | see note (**)
Wanniassa | 132 | AWSA | 1.04 | -- | see note (**)
Woden | 132 | AWDN | 1.0394 | -- | see note (**)
ACT Virtual Transmission Node | 132 | AAVT | 1.0396 | -- | see note (**)
Queanbeyan (ACTEW) | 66 | AQB1 | 1.0563 | 1.0257
Queanbeyan (Essential Energy) | 66 | AQB2 | 1.0563 | 1.0257
Australian Capital Territory Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2017-18 MLF | 2016-17 MLF | Remark
Capital East Solar Farm | 66 | CESF1 | AQB21C | AQB2 | 1.0563 | 1.0257
Mugga Lane Solar Farm | 132 | MLSP1 | ACA12M | ACA1 | 1.0362 | 1.0095 | see note (*)
Mugga Lane Solar Farm (at Gilmore) | 132 | MLSP1 | ACA12M | AMS1 | 1.0395 | -- | see note (**)
Royalla Solar Farm | 132 | ROYALLA1 | ACA11R | ACA1 | 1.0362 | 1.0095 | see note (*)
Royalla Solar Farm (at Theodore) | 132 | ROYALLA1 | ACA11R | ARS1 | 1.0386 | -- | see note (**)
Notes
(*) There is a currently a registration process in place to replace ACA1 and NWDL TNIs by 12 new TNIs in the ActewAGL network. Royalla and Mugga Lane Solar Farms will also have separate TNIs as part of the forementioned process. The 2017-18 MLF for ACA1 listed in the table above will apply from 01 July 2017 until the time when the 12 new TNIs are registered and in commercial operation.
(**) The 2017-18 MLF value will apply once the TNI registration process is complete and in commercial operation. (see note above).

## Victoria
Victoria (regional reference node is Thomastown 66)
Victoria Loads
Location | Voltage (kV) | TNI | 2017-18 MLF | 2016-17 MLF | Remark
Altona | 66 | VATS | 1.0084 | 1.0068
Altona | 220 | VAT2 | 1.0081 | 1.001
Ballarat | 66 | VBAT | 1.016 | 1.0209
Bendigo | 66 | VBE6 | 1.0398 | 1.0664
Bendigo | 22 | VBE2 | 1.0405 | 1.0658
BHP Western Port | 220 | VJLA | 0.9948 | 0.9909
Brooklyn (Jemena) | 22 | VBL2 | 1.0081 | 1.0064
Brooklyn (Jemena) | 66 | VBL6 | 1.0069 | 1.0054
Brooklyn (Powercor) | 22 | VBL3 | 1.0081 | 1.0064
Brooklyn (Powercor) | 66 | VBL7 | 1.0069 | 1.0054
Brunswick (CitiPower) | 22 | VBT2 | 1.0008 | 1.0003
Brunswick (Jemena) | 22 | VBTS | 1.0008 | 1.0003
Brunswick 66 kV (CitiPower) | 66 | VBT6 | 0.9993 | 0.9987
Cranbourne | 220 | VCB2 | 0.9933 | 0.9897
Cranbourne (AusNet Services) | 66 | VCBT | 0.9962 | 0.9919
Cranbourne (United Energy) | 66 | VCB5 | 0.9962 | 0.9919
Deer Park | 66 | VDPT | 1.0069 | -- | Effective from 09/06/2017
East Rowville (AusNet Services) | 66 | VER2 | 0.9962 | 0.9932
East Rowville (United Energy) | 66 | VERT | 0.9962 | 0.9932
Fishermens Bend (CitiPower) | 66 | VFBT | 1.0046 | 1.0036
Fishermens Bend (Powercor) | 66 | VFB2 | 1.0046 | 1.0036
Fosterville | 220 | VFVT | 1.0305 | 1.0619
Geelong | 66 | VGT6 | 1.0055 | 1.0048
Glenrowan | 66 | VGNT | 0.9884 | 1.0368
Heatherton | 66 | VHTS | 1.0007 | 0.9986
Heywood | 22 | VHY2 | 1.0096 | 1.0111
Horsham | 66 | VHOT | 1.0473 | 1.0803
Keilor (Jemena) | 66 | VKT2 | 1.0048 | 1.0037
Keilor (Powercor) | 66 | VKTS | 1.0048 | 1.0037
Kerang | 22 | VKG2 | 1.0779 | 1.1124
Kerang | 66 | VKG6 | 1.0755 | 1.1118
Khancoban | 330 | NKHN | 0.9369 | 1.0123
Loy Yang Substation | 66 | VLY6 | 0.9826 | 0.9709
Malvern | 22 | VMT2 | 0.9982 | 0.9962
Malvern | 66 | VMT6 | 0.9971 | 0.995
Morwell Power Station Units 1 to 3 | 66 | VMWG | 0.982 | 0.9707
Morwell PS (G4&5) | 11 | VMWP | 0.9821 | 0.9708
Morwell TS | 66 | VMWT | 0.9886 | 0.9759
Mt Beauty | 66 | VMBT | 0.9743 | 1.0189
Portland | 500 | VAPD | 1.0121 | 1.0135
Pt Henry | 220 | VPTH | 1.003 | 1.0023
Red Cliffs | 22 | VRC2 | 1.1108 | 1.1621
Red Cliffs | 66 | VRC6 | 1.1068 | 1.1602
Red Cliffs (Essential Energy) | 66 | VRCA | 1.1068 | 1.1602
Richmond | 22 | VRT2 | 0.9997 | 0.9979
Richmond (CitiPower) | 66 | VRT7 | 1.0015 | 1
Richmond (United Energy) | 66 | VRT6 | 1.0015 | 1
Ringwood (AusNet Services) | 22 | VRW3 | 1.0005 | 0.9989
Ringwood (AusNet Services) | 66 | VRW7 | 1.0005 | 0.999
Ringwood (United Energy) | 22 | VRW2 | 1.0005 | 0.9989
Ringwood (United Energy) | 66 | VRW6 | 1.0005 | 0.999
Shepparton | 66 | VSHT | 1.0037 | 1.0502
South Morang (Jemena) | 66 | VSM6 | 0.998 | 0.9985
South Morang (AusNet Services) | 66 | VSMT | 0.998 | 0.9985
Springvale (CitiPower) | 66 | VSVT | 0.9989 | 0.9972
Springvale (United Energy) | 66 | VSV2 | 0.9989 | 0.9972
Templestowe (CitiPower) | 66 | VTS2 | 1.0005 | 0.9995
Templestowe (Jemena) | 66 | VTST | 1.0005 | 0.9995
Templestowe (AusNet Services) | 66 | VTS3 | 1.0005 | 0.9995
Templestowe (United Energy) | 66 | VTS4 | 1.0005 | 0.9995
Terang | 66 | VTGT | 1.0322 | 1.0339
Thomastown (Jemena) | 66 | VTTS | 1 | 1
Thomastown (AusNet Services) | 66 | VTT2 | 1 | 1
Tyabb | 66 | VTBT | 0.9963 | 0.9925
Wemen 66 kV (Essential Energy) | 66 | VWEA | 1.1038 | 1.1513
Wemen TS | 66 | VWET | 1.1038 | 1.1513
West Melbourne | 22 | VWM2 | 1.0027 | 1.0021
West Melbourne (CitiPower) | 66 | VWM7 | 1.0041 | 1.0031
West Melbourne (Jemena) | 66 | VWM6 | 1.0041 | 1.0031
Wodonga | 22 | VWO2 | 0.9654 | 1.0252
Wodonga | 66 | VWO6 | 0.9621 | 1.0235
Yallourn | 11 | VYP1 | 0.9582 | 0.9528
Victoria Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2017-18 MLF | 2016-17 MLF | Remark
Ararat WF | 220 | ARWF1 | VART1A | VART | 1.0019 | 1.0299
Banimboola | 220 | BAPS | VDPS2 | VDPS | 0.9372 | 0.9812
Basslink (Loy Yang PS Switchyard) Tasmania to Victoria | 500 | BLNKVIC | VLYP13 | VTBL | 0.9874 | 0.9765
Dartmouth PS | 220 | DARTM1 | VDPS | VDPS | 0.9372 | 0.9812
Eildon PS Unit 1 | 220 | EILDON1 | VEPS1 | VEPS | 0.9696 | 0.9945
Eildon PS Unit 2 | 220 | EILDON2 | VEPS2 | VEPS | 0.9696 | 0.9945
Hazelwood PS Load | 220 | HWPNL1 | VHWPL | VHWP | 0.982 | 0.9701
Jeeralang A PS Unit 1 | 220 | JLA01 | VJLGA1 | VJLG | 0.983 | 0.9641
Jeeralang A PS Unit 2 | 220 | JLA02 | VJLGA2 | VJLG | 0.983 | 0.9641
Jeeralang A PS Unit 3 | 220 | JLA03 | VJLGA3 | VJLG | 0.983 | 0.9641
Jeeralang A PS Unit 4 | 220 | JLA04 | VJLGA4 | VJLG | 0.983 | 0.9641
Jeeralang B PS Unit 1 | 220 | JLB01 | VJLGB1 | VJLG | 0.983 | 0.9641
Jeeralang B PS Unit 2 | 220 | JLB02 | VJLGB2 | VJLG | 0.983 | 0.9641
Jeeralang B PS Unit 3 | 220 | JLB03 | VJLGB3 | VJLG | 0.983 | 0.9641
Jindabyne pump at Guthega | 132 | SNOWYGJP | NGJP | NGJP | 1.0474 | 1.1115
Kiata Wind farm | 66 | KIATAWF1 | VHOG1K | VHOG | 1.0357 | -- | Effective from 03/11/2017
Laverton PS (LNGS1) | 220 | LNGS1 | VAT21L | VAT2 | 1.0081 | 1.001
Laverton PS (LNGS2) | 220 | LNGS2 | VAT22L | VAT2 | 1.0081 | 1.001
Loy Yang A PS Load | 500 | LYNL1 | VLYPL | VLYP | 0.9801 | 0.9723
Loy Yang A PS Unit 1 | 500 | LYA1 | VLYP1 | VLYP | 0.9801 | 0.9723
Loy Yang A PS Unit 2 | 500 | LYA2 | VLYP2 | VLYP | 0.9801 | 0.9723
Loy Yang A PS Unit 3 | 500 | LYA3 | VLYP3 | VLYP | 0.9801 | 0.9723
Loy Yang A PS Unit 4 | 500 | LYA4 | VLYP4 | VLYP | 0.9801 | 0.9723
Loy Yang B PS Unit 1 | 500 | LOYYB1 | VLYP5 | VLYP | 0.9801 | 0.9723
Loy Yang B PS Unit 2 | 500 | LOYYB2 | VLYP6 | VLYP | 0.9801 | 0.9723
MacArthur Wind Farm | 500 | MACARTH1 | VTRT1M | VTRT | 1.0017 | 1.0022
McKay Creek / Bogong PS | 220 | MCKAY1 | VMKP1 | VT14 | 0.9213 | 0.9543
Mortlake Unit 1 | 500 | MORTLK11 | VM0P1O | VM0P | 1.005 | 1.0015
Mortlake Unit 2 | 500 | MORTLK12 | VM0P2O | VM0P | 1.005 | 1.0015
Mt Mercer Windfarm | 220 | MERCER01 | VELT1M | VELT | 1.001 | 1.0048
Murray | 330 | MURRAY | NMUR8 | NMUR | 0.8964 | 0.959
Newport PS | 220 | NPS | VNPS | VNPS | 0.999 | 0.9939
Valley Power Unit 1 | 500 | VPGS1 | VLYP07 | VLYP | 0.9801 | 0.9723
Valley Power Unit 2 | 500 | VPGS2 | VLYP08 | VLYP | 0.9801 | 0.9723
Valley Power Unit 3 | 500 | VPGS3 | VLYP09 | VLYP | 0.9801 | 0.9723
Valley Power Unit 4 | 500 | VPGS4 | VLYP010 | VLYP | 0.9801 | 0.9723
Valley Power Unit 5 | 500 | VPGS5 | VLYP011 | VLYP | 0.9801 | 0.9723
Valley Power Unit 6 | 500 | VPGS6 | VLYP012 | VLYP | 0.9801 | 0.9723
Waubra Wind Farm | 220 | WAUBRAWF | VWBT1A | VWBT | 0.9997 | 1.0111
West Kiewa PS Unit 1 | 220 | WKIEWA1 | VWKP1 | VWKP | 0.954 | 1.0026
West Kiewa PS Unit 2 | 220 | WKIEWA2 | VWKP2 | VWKP | 0.954 | 1.0026
Yallourn W PS 220 Load | 220 | YWNL1 | VYP2L | VYP2 | 0.9558 | 0.9509
Yallourn W PS 220 Unit 1 | 220 | YWPS1 | VYP21 | VYP3 | 0.9702 | 0.9541
Yallourn W PS 220 Unit 2 | 220 | YWPS2 | VYP22 | VYP2 | 0.9558 | 0.9509
Yallourn W PS 220 Unit 3 | 220 | YWPS3 | VYP23 | VYP2 | 0.9558 | 0.9509
Yallourn W PS 220 Unit 4 | 220 | YWPS4 | VYP24 | VYP2 | 0.9558 | 0.9509
Victoria Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2017-18 MLF | 2016-17 MLF
Bairnsdale Power Station | 66 | BDL01 | VMWT2 | VBDL | 0.9863 | 0.9745
Bairnsdale PS Generator Unit 2 | 66 | BDL02 | VMWT3 | VBDL | 0.9863 | 0.9745
Bald Hills WF | 66 | BALDHWF1 | VMWT9B | VMWT | 0.9886 | 0.9759
Ballarat Health Services | 66 | BBASEHOS | VBAT1H | VBAT | 1.016 | 1.0209
Broadmeadows Power Plant | 66 | BROADMDW | VTTS2B | VTTS | 1 | 1
Brooklyn Landfill & Recycling Facility | 66 | BROOKLYN | VBL61 | VBL6 | 1.0069 | 1.0054
Chepstowe Wind Farm | 66 | CHPSTWF1 | VBAT3C | VBAT | 1.016 | 1.0209
Clayton Landfill Gas Power Station | 66 | CLAYTON | VSV21B | VSV2 | 0.9989 | 0.9972
Codrington Wind Farm | 66 | CODRNGTON | VTGT2C | VTGT | 1.0322 | 1.0339
Coonooer Bridge WF | 66 | CBWF1 | VBE61C | VBE6 | 1.0398 | 1.0664
Corio LFG PS | 66 | CORIO1 | VGT61C | VGT6 | 1.0055 | 1.0048
Eildon Hydro PS | 66 | EILDON3 | VTT22E | VSMT | 0.998 | 0.9985
Glenmaggie Hydro PS | 66 | GLENMAG1 | VMWT8G | VMWT | 0.9886 | 0.9759
Hallam Mini Hydro | 66 | HLMSEW01 | VER21H | VER2 | 0.9962 | 0.9932
Hallam Road Renewable Energy Facility | 66 | HALAMRD1 | VER22L | VER2 | 0.9962 | 0.9932
Hepburn Community WF | 66 | HEPWIND1 | VBAT2L | VBAT | 1.016 | 1.0209
Hume (Victorian Share) | 66 | HUMEV | VHUM | VHUM | 0.8911 | 0.9947
Longford | 66 | LONGFORD | VMWT6 | VMWT | 0.9886 | 0.9759
Mornington Landfill Site Generator | 66 | MORNW | VTBT1 | VTBT | 0.9963 | 0.9925
Mortons Lane Wind Farm | 66 | MLWF1 | VTGT4M | VTGT | 1.0322 | 1.0339
Oaklands Hill Wind Farm | 66 | OAKLAND1 | VTGT3A | VTGT | 1.0322 | 1.0339
Shepparton Waste Gas | 66 | SHEP1 | VSHT2S | VSHT | 1.0037 | 1.0502
Somerton Power Station | 66 | AGLSOM | VTTS1 | VSOM | 0.9968 | 0.9949
Springvale Power Plant | 66 | SVALE1 | VSV22S | VSV2 | 0.9989 | 0.9972
Tatura | 66 | TATURA01 | VSHT1 | VSHT | 1.0037 | 1.0502
Toora Wind Farm | 66 | TOORAWF | VMWT5 | VMWT | 0.9886 | 0.9759
Traralgon NSS | 66 | TGNSS1 | VMWT1T | VMWT | 0.9886 | 0.9759
William Horvell Hydro PS | 66 | WILLHOV1 | VW061W | VWO6 | 0.9621 | 1.0235
Wollert Renewable Energy Facility | 66 | WOLLERT1 | VSMT1W | VSMT | 0.998 | 0.9985
Wonthaggi Wind Farm | 66 | WONWP | VMWT7 | VMWT | 0.9886 | 0.9759
Wyndham Landfill Site Generator | 66 | WYNDW | VATS1 | VATS | 1.0084 | 1.0068
Yambuk Wind Farm | 66 | YAMBUKWF | VTGT1 | VTGT | 1.0322 | 1.0339
Yarrawonga Hydro PS | 66 | YWNGAHYD | VSHT3Y | VSHT | 1.0037 | 1.0502

## South Australia
South Australia (regional reference node is Torrens Island PS 66)
South Australia Loads
Location | Voltage (kV) | TNI | 2017-18 MLF | 2016-17 MLF
Angas Creek | 33 | SANC | 1.0096 | 1.0093
Ardrossan West | 33 | SARW | 0.9541 | 0.9544
Back Callington | 11 | SBAC | 1.0092 | 1.0071
Baroota | 33 | SBAR | 1.0066 | 1.0125
Berri | 66 | SBER | 0.9485 | 0.9379
Berri (Powercor) | 66 | SBE1 | 0.9485 | 0.9379
Blanche | 33 | SBLA | 0.9371 | 0.9218
Blanche (Powercor) | 33 | SBL1 | 0.9371 | 0.9218
Brinkworth | 33 | SBRK | 1.0011 | 1.0061
Bungama Industrial | 33 | SBUN | 1.0016 | 1.0078
Bungama Rural | 33 | SBUR | 1.0114 | 1.0194
City West | 66 | SACR | 1.0045 | 1.0047
Clare North | 33 | SCLN | 0.9972 | 1.0012
Dalrymple | 33 | SDAL | 0.9193 | 0.9153
Davenport | 275 | SDAV | 1.0048 | 1.0114
Davenport | 33 | SDAW | 1.0066 | 1.0129
Dorrien | 33 | SDRN | 1.0083 | 1.0114
East Terrace | 66 | SETC | 1.0047 | 1.0048
Happy Valley | 66 | SHVA | 1.0051 | 1.005
Hummocks | 33 | SHUM | 0.9751 | 0.9758
Kadina East | 33 | SKAD | 0.9804 | 0.9815
Kanmantoo | 11 | SKAN | 1.0089 | 1.007
Keith | 33 | SKET | 0.978 | 0.9703
Kilburn | 66 | SKLB | 1.0035 | 1.0017
Kincraig | 33 | SKNC | 0.9571 | 0.9452
Lefevre | 66 | SLFE | 0.9995 | 0.9997
Leigh Creek | 33 | SLCC | 1.0575 | 1.0791
Leigh Creek South | 33 | SLCS | 1.0589 | 1.0719
Magill | 66 | SMAG | 1.0044 | 1.0044
Mannum | 33 | SMAN | 1.0098 | 1.0071
Mannum – Adelaide Pipeline 1 | 3.3 | SMA1 | 1.0143 | 1.0137
Mannum – Adelaide Pipeline 2 | 3.3 | SMA2 | 1.0134 | 1.0132
Mannum – Adelaide Pipeline 3 | 3.3 | SMA3 | 1.0136 | 1.0135
Middleback | 33 | SMDL | 1.0085 | 1.017
Middleback | 132 | SMBK | 1.0102 | 1.0202
Millbrook | 132 | SMLB | 1.0055 | 1.0046
Mobilong | 33 | SMBL | 1.0065 | 1.0032
Morgan – Whyalla Pipeline 1 | 3.3 | SMW1 | 0.9797 | 0.981
Morgan – Whyalla Pipeline 2 | 3.3 | SMW2 | 0.9872 | 0.9908
Morgan – Whyalla Pipeline 3 | 3.3 | SMW3 | 0.9921 | 0.9972
Morgan – Whyalla Pipeline 4 | 3.3 | SMW4 | 0.9926 | 0.9978
Morphett Vale East | 66 | SMVE | 1.0047 | 1.0051
Mount Barker South | 66 | SMBS | 1.0041 | 1.0037
Mt Barker | 66 | SMBA | 1.0041 | 1.0029
Mt Gambier | 33 | SMGA | 0.939 | 0.9231
Mt Gunson | 33 | SMGU | 1.0373 | 1.0445
Munno Para | 66 | SMUP | 1.0035 | 1.0044
Murray Bridge - Hahndorf Pipeline 1 | 11 | SMH1 | 1.0088 | 1.0096
Murray Bridge - Hahndorf Pipeline 2 | 11 | SMH2 | 1.0105 | 1.012
Murray Bridge - Hahndorf Pipeline 3 | 11 | SMH3 | 1.0102 | 1.0119
Neuroodla | 33 | SNEU | 1.0308 | 1.0392
New Osborne | 66 | SNBN | 0.999 | 0.9995
North West Bend | 66 | SNWB | 0.9778 | 0.9754
Northfield | 66 | SNFD | 1.0034 | 1.0037
Para | 66 | SPAR | 1.0041 | 1.0042
Parafield Gardens West | 66 | SPGW | 1.0039 | 1.0054
Penola West 33 | 33 | SPEN | 0.9376 | 0.9241
Pimba | 132 | SPMB | 1.0429 | 1.0493
Playford | 132 | SPAA | 1.0038 | 1.0132
Port Lincoln | 33 | SPLN | 0.99 | 1.0021
Port Pirie | 33 | SPPR | 1.011 | 1.015
Roseworthy | 11 | SRSW | 1.0103 | 1.0134
Snuggery Industrial (Dual MLF – Generation) | 33 | SSNN | 0.9174 | 0.9176
Snuggery Industrial (Dual MLF – Load) | 33 | SSNN | 0.9102 | 0.9176
Snuggery Rural | 33 | SSNR | 0.9181 | 0.9016
South Australian VTN |  | SJP1 | 0.9994 | 1.0001
Stony Point | 11 | SSPN | 1.0109 | 1.0189
Tailem Bend | 33 | STAL | 0.9936 | 0.9896
Templers | 33 | STEM | 1.0061 | 1.0086
Torrens Island | 66 | STSY | 1 | 1
Waterloo | 33 | SWAT | 0.9897 | 0.9931
Whyalla Central Substation | 33 | SWYC | 1.0112 | 1.0196
Whyalla Terminal BHP | 33 | SBHP | 1.0107 | 1.0181
Woomera | 132 | SWMA | 1.0432 | 1.051
Wudina | 66 | SWUD | 1.0118 | 1.0229
Yadnarie | 66 | SYAD | 0.9986 | 1.008
South Australia Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2017-18 MLF | 2016-17 MLF | Remark
Cathedral Rocks Wind Farm | 132 | CATHROCK | SCRK | SCRK | 0.8965 | 0.8896
Clements Gap Wind Farm | 132 | CLEMGPWF | SCGW1P | SCGW | 0.9787 | 0.9822
Dry Creek PS Unit 1 | 66 | DRYCGT1 | SDCA1 | SDPS | 1.0019 | 1.0011
Dry Creek PS Unit 2 | 66 | DRYCGT2 | SDCA2 | SDPS | 1.0019 | 1.0011
Dry Creek PS Unit 3 | 66 | DRYCGT3 | SDCA3 | SDPS | 1.0019 | 1.0011
Hallett 2 WF | 275 | HALLWF2 | SMOK1H | SMOK | 0.9818 | 0.9871
Hallett PS | 275 | AGLHAL | SHPS1 | SHPS | 0.982 | 0.99
Hallett WF | 275 | HALLWF1 | SHPS2W | SHPS | 0.982 | 0.99
Hornsdale Wind Farm Stage 1 | 275 | HDWF1 | SHDW1H | SHDW | 0.9799 | 0.9918 | Effective from 14/08/2017
Hornsdale Wind Farm Stage 2 | 275 | HDWF2 | SHDW2H | SHDW | 0.9799 | 0.9918 | Effective from 14/08/2017
Hornsdale Wind Farm Stage 3 | 275 | HDWF3 | SHDW3H | SHDW | 0.9799 | -- | Effective from 14/08/2017
Ladbroke Grove PS Unit 1 | 132 | LADBROK1 | SPEW1 | SPEW | 0.917 | 0.8872
Ladbroke Grove PS Unit 2 | 132 | LADBROK2 | SPEW2 | SPEW | 0.917 | 0.8872
Lake Bonney Wind Farm | 33 | LKBONNY1 | SMAY1 | SMAY | 0.8906 | 0.8768
Lake Bonney Wind Farm Stage 2 | 33 | LKBONNY2 | SMAY2 | SMAY | 0.8906 | 0.8768
Lake Bonney Wind Farm Stage 3 | 33 | LKBONNY3 | SMAY3W | SMAY | 0.8906 | 0.8768
Mintaro PS | 132 | MINTARO | SMPS | SMPS | 0.9941 | 0.9889
Mt Millar Wind Farm | 33 | MTMILLAR | SMTM1 | SMTM | 0.9172 | 0.912
North Brown Hill Wind Farm | 275 | NBHWF1 | SBEL1A | SBEL | 0.9798 | 0.9863
O.C.P.L. Unit 1 | 66 | OSB-AG | SNBN1 | SOCP | 0.9988 | 0.9994
Pelican Point PS | 275 | PPCCGT | SPPT | SPPT | 1.0012 | 1.0009
Port Lincoln 3 | 33 | POR03 | SPL31P | SPL3 | 1.051 | 1.0064
Port Lincoln PS | 132 | POR01 | SPLN1 | SPTL | 1.0158 | 1.0011
Quarantine PS Unit 1 | 66 | QPS1 | SQPS1 | SQPS | 0.9856 | 0.9864
Quarantine PS Unit 2 | 66 | QPS2 | SQPS2 | SQPS | 0.9856 | 0.9864
Quarantine PS Unit 3 | 66 | QPS3 | SQPS3 | SQPS | 0.9856 | 0.9864
Quarantine PS Unit 4 | 66 | QPS4 | SQPS4 | SQPS | 0.9856 | 0.9864
Quarantine PS Unit 5 | 66 | QPS5 | SQPS5Q | SQPS | 0.9856 | 0.9864
Snowtown WF Stage 2 - North | 275 | SNOWNTH1 | SBLWS1 | SBLW | 0.9869 | 0.9888
Snowtown WF Stage 2 - South | 275 | SNOWSTH1 | SBLWS2 | SBLW | 0.9869 | 0.9888
Snowtown Wind Farm | 33 | SNOWTWN1 | SNWF1T | SNWF | 0.9296 | 0.9289
Snuggery PS Units 1 to 3 | 132 | SNUG1 | SSGA1 | SSPS | 0.9318 | 0.8417
The Bluff wind Farm | 275 | BLUFF1 | SBEL2P | SBEL | 0.9798 | 0.9863
Torrens Island PS A Unit 1 | 275 | TORRA1 | STSA1 | STPS | 1.0016 | 1.0014
Torrens Island PS A Unit 2 | 275 | TORRA2 | STSA2 | STPS | 1.0016 | 1.0014
Torrens Island PS A Unit 3 | 275 | TORRA3 | STSA3 | STPS | 1.0016 | 1.0014
Torrens Island PS A Unit 4 | 275 | TORRA4 | STSA4 | STPS | 1.0016 | 1.0014
Torrens Island PS B Unit 1 | 275 | TORRB1 | STSB1 | STPS | 1.0016 | 1.0014
Torrens Island PS B Unit 2 | 275 | TORRB2 | STSB2 | STPS | 1.0016 | 1.0014
Torrens Island PS B Unit 3 | 275 | TORRB3 | STSB3 | STPS | 1.0016 | 1.0014
Torrens Island PS B Unit 4 | 275 | TORRB4 | STSB4 | STPS | 1.0016 | 1.0014
Torrens Island PS Load | 66 | TORNL1 | STSYL | STSY | 1 | 1
Waterloo Wind Farm | 132 | WATERLWF | SWLE1R | SWLE | 0.9751 | 0.9784
Wattle Point Wind Farm | 132 | WPWF | SSYP1 | SSYP | 0.833 | 0.8185
South Australia Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2017-18 MLF | 2016-17 MLF | Remark
Amcor Glass UN 1 | 11 | AMCORGR | SRSW1E | SRSW | 1.0103 | 1.0134
Angaston Power Station | 33 | ANGAST1 | SDRN1 | SANG | 1.0121 | 1.0042
Blue Lake Milling | 33 | BLULAKE1 | SKET2B | SKET | 0.978 | 0.9703
Bolivar WWT Plant (NEW) | 66 | BOLIVAR1 | SPGW1B | SPGW | 1.0039 | 1.0054
Canunda Wind Farm | 33 | CNUNDAWF | SSNN1 | SCND | 0.8967 | 0.885
Cummins Lonsdale PS | 66 | LONSDALE | SMVE1 | SMVE | 1.0047 | 1.0051
Pedler Creek Landfill Gas PS | 66 | PEDLER1 | SMVE5C | SMVE | 1.0047 | 1.0051
Pt Stanvac Power Station | 66 | PTSTAN1 | SMVE3P | SMVE | 1.0047 | 1.0051
Starfish Hill Wind Farm | 66 | STARHLWF | SMVE2 | SMVE | 1.0047 | 1.0051
Tatiara Meat Co | 33 | TATIARA1 | SKET1E | SKET | 0.978 | 0.9703
Terminal Storage Mini-Hydro | 66 | TERMSTOR | SNFD1 | SNFD | 1.0034 | 1.0037
Wingfield 1 LFG PS | 66 | WINGF1_1 | SKLB1W | SKLB | 1.0035 | 1.0017
Wingfield 2 LFG PS | 66 | WINGF2_1 | SNBN2W | SNBN | 0.999 | 0.9995
Edinburgh Generation (at Para 66) | 66 | SATGN1 | SPAG1E | SPAG | 1.0022 | -- | Effective from 20/10/2017
Lonsdale Generation (at Morphett Vale East 66) | 66 | SATGS1 | SMVG1L | SMVG | 1.0007 | -- | Effective from 20/10/2017

## Tasmania
Tasmania (regional reference node is George Town 220 kV)
Tasmania Loads
Location | Voltage (kV) | TNI | 2017-18 MLF | 2016-17 MLF
Arthurs Lake | 6.6 | TAL2 | 0.9937 | 1.0012
Avoca | 22 | TAV2 | 1.0017 | 1.0301
Boyer SWA | 6.6 | TBYA | 1.0199 | 1.0322
Boyer SWB | 6.6 | TBYB | 1.0197 | 1.0325
Bridgewater | 11 | TBW2 | 1.0141 | 1.0278
Burnie | 22 | TBU3 | 0.9855 | 0.9905
Chapel St. | 11 | TCS3 | 1.0127 | 1.0264
Comalco | 220 | TCO1 | 1.0006 | 1.0006
Creek Road | 33 | TCR2 | 1.014 | 1.0276
Derby | 22 | TDE2 | 0.9672 | 0.9695
Derwent Bridge | 22 | TDB2 | 0.9368 | 0.939
Devonport | 22 | TDP2 | 0.9884 | 0.9895
Electrona | 11 | TEL2 | 1.0255 | 1.0381
Emu Bay | 11 | TEB2 | 0.9829 | 0.9877
Fisher (Rowallan) | 220 | TFI1 | 0.9671 | 0.9755
George Town | 22 | TGT3 | 1.0023 | 1.0021
George Town (Basslink) | 220 | TGT1 | 1 | 1
Gordon | 22 | TGO2 | 1.0012 | 1.0155
Greater Hobart Area VTN |  | TVN1 | 1.0155 | 1.0287
Hadspen | 22 | THA3 | 0.9941 | 0.9988
Hampshire | 110 | THM2 | 0.9834 | 0.9865
Huon River | 11 | THR2 | 1.0316 | 1.0409
Kermandie | 11 | TKE2 | 1.0312 | 1.0435
Kingston | 33 | TK13 | 1.0188 | 1.0323
Kingston | 11 | TKI2 | 1.0196 | 1.0329
Knights Road | 11 | TKR2 | 1.0353 | 1.0455
Lindisfarne | 33 | TLF2 | 1.0159 | 1.0301
Meadowbank | 22 | TMB2 | 0.9919 | 0.9933
Mornington | 33 | TMT2 | 1.0162 | 1.0283
Mowbray | 22 | TMY2 | 0.9927 | 0.9971
New Norfolk | 22 | TNN2 | 1.0128 | 1.0244
Newton | 22 | TNT2 | 0.9712 | 0.9809
Newton | 11 | TNT3 | 0.9607 | 0.971
North Hobart | 11 | TNH2 | 1.015 | 1.0276
Norwood | 22 | TNW2 | 0.9926 | 0.9974
Palmerston | 22 | TPM3 | 0.987 | 0.9951
Port Latta | 22 | TPL2 | 0.9664 | 0.9722
Que | 22 | TQU2 | 0.9708 | 0.9759
Queenstown | 11 | TQT3 | 0.9546 | 0.973
Queenstown | 22 | TQT2 | 0.9629 | 0.9687
Railton | 22 | TRA2 | 0.9899 | 0.9895
Risdon | 33 | TRI4 | 1.018 | 1.0305
Risdon | 11 | TRI3 | 1.0228 | 1.0351
Rokeby | 11 | TRK2 | 1.0163 | 1.0296
Rosebery | 44 | TRB2 | 0.9727 | 0.9753
Savage River | 22 | TSR2 | 1.0013 | 1.0049
Scottsdale | 22 | TSD2 | 0.9735 | 0.9791
Smithton | 22 | TST2 | 0.9493 | 0.9574
Sorell | 22 | TSO2 | 1.0239 | 1.0365
St Leonard | 22 | TSL2 | 0.9915 | 0.9964
St. Marys | 22 | TSM2 | 1.0165 | 1.0435
Starwood | 110 | TSW1 | 1.0009 | 1.0008
Tamar Region VTN |  | TVN2 | 0.9938 | 0.9982
Temco | 110 | TTE1 | 1.0039 | 1.0037
Trevallyn | 22 | TTR2 | 0.9931 | 0.998
Triabunna | 22 | TTB2 | 1.0382 | 1.0533
Tungatinah | 22 | TTU2 | 0.9367 | 0.9417
Ulverstone | 22 | TUL2 | 0.9868 | 0.9888
Waddamana | 22 | TWA2 | 0.9537 | 0.9667
Wayatinah | 11 | TWY2 | 0.9979 | 1.0079
Wesley Vale | 22 | TWV2 | 0.9863 | 0.981
Tasmania Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2017-18 MLF | 2016-17 MLF
Basslink (George Town) | 220 | BLNKTAS | TGT11 | TGT1 | 1 | 1
Bastyan | 220 | BASTYAN | TFA11 | TFA1 | 0.9486 | 0.9496
Bell Bay No.3 | 110 | BBTHREE1 | TBB11 | TBB1 | 1.0001 | 1.0001
Bell Bay No.3 | 110 | BBTHREE2 | TBB12 | TBB1 | 1.0001 | 1.0001
Bell Bay No.3 | 110 | BBTHREE3 | TBB13 | TBB1 | 1.0001 | 1.0001
Bluff Point and Studland Bay Wind Farms | 110 | WOOLNTH1 | TST11 | TST1 | 0.9025 | 0.912
Butlers Gorge | 110 | BUTLERSG | TBG11 | TBG1 | 0.9216 | 0.9399
Catagunya | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9919 | 1.0028
Cethana | 220 | CETHANA | TCE11 | TCE1 | 0.963 | 0.9723
Cluny | 220 | CLUNY | TCL11 | TCL1 | 0.9908 | 1.0055
Devils gate | 110 | DEVILS_G | TDG11 | TDG1 | 0.9703 | 0.97
Fisher | 220 | FISHER | TFI11 | TFI1 | 0.9671 | 0.9755
Gordon | 220 | GORDON | TGO11 | TGO1 | 0.9594 | 0.9676
John Butters | 220 | JBUTTERS | TJB11 | TJB1 | 0.9445 | 0.9456
Lake Echo | 110 | LK_ECHO | TLE11 | TLE1 | 0.9487 | 0.936
Lemonthyme | 220 | LEM_WIL | TSH11 | TSH1 | 0.9711 | 0.9749
Liapootah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9919 | 1.0028
Mackintosh | 110 | MACKNTSH | TMA11 | TMA1 | 0.9402 | 0.9367
Meadowbank | 110 | MEADOWBK | TMB11 | TMB1 | 0.977 | 0.9756
Musselroe | 110 | MUSSELR1 | TDE11M | TDE1 | 0.9133 | 0.9193
Paloona | 110 | PALOONA | TPA11 | TPA1 | 0.9668 | 0.9754
Poatina | 220 | POAT220 | TPM11 | TPM1 | 0.9813 | 0.9929
Poatina | 110 | POAT110 | TPM21 | TPM2 | 0.9677 | 0.9824
Reece No.1 | 220 | REECE1 | TRCA1 | TRCA | 0.9399 | 0.9413
Reece No.2 | 220 | REECE2 | TRCB1 | TRCB | 0.9402 | 0.939
Repulse | 220 | REPULSE | TCL12 | TCL1 | 0.9908 | 1.0055
Rowallan | 220 | ROWALLAN | TFI12 | TFI1 | 0.9671 | 0.9755
Tamar Valley CCGT | 220 | TVCC201 | TTV11A | TTV1 | 1 | 1
Tamar Valley OCGT | 110 | TVPP104 | TBB14A | TBB1 | 1.0001 | 1.0001
Tarraleah | 110 | TARRALEA | TTA11 | TTA1 | 0.9338 | 0.9453
Trevallyn | 110 | TREVALLN | TTR11 | TTR1 | 0.9898 | 0.9927
Tribute | 220 | TRIBUTE | TTI11 | TTI1 | 0.9466 | 0.9437
Tungatinah | 110 | TUNGATIN | TTU11 | TTU1 | 0.9233 | 0.9091
Wayatinah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9919 | 1.0028
Wilmot | 220 | LEM_WIL | TSH11 | TSH1 | 0.9711 | 0.9749
Tasmania Embedded Generators
Location | Voltage [kV] | DUID | Connection Point ID | TNI | 2017-18 MLF | 2016-17 MLF
Midlands PS | 22 | MIDLDPS1 | TAV21M | TAV2 | 1.0017 | 1.0301
Remount | 22 | REMOUNT | TMY21 | TVN2 | 0.9938 | 0.9982