## Details
COMMISSIONING TEST PLAN | [7 empty] | USER INSTRUCTIONS
FACILITY DETAILS
[8 empty] | 1 | This spreadsheet must be completed and submitted to Market Operations to be regarded as a valid request for a Commissioning Test Plan for a Facility.
Participant Name:
[8 empty] | 2 | Data entry is restricted to the areas shaded yellow and green (yellow being mandatory), which have built-in automatic checks to validate entered data.
Resource Name:
[8 empty] | 3 | The following fields are mandatory: Participant Name, Resource Name, Email Address, Start and End Trading Days, Purpose of Test and Test Description. The Commissioning Test Plan will not be accepted by System Management unless these fields are completed.
Contact Details: |  | Operational |  |  | Commercial
Email
| Mobile | [6 empty] | 4 | For Commissioning Tests exceeding one Trading Day, please make copies of the 'DDMMYYYY' worksheet. The worksheet will automatically rename when entering the Trading Day of test within the Details worksheet.
Phone
Fax
[8 empty] | 5 | Details within the 'DDMMYYYY' worksheet (Commissioning Test Schedule) are also mandatory and required in order for the Commissioning Test Plan to be accepted by System Management.
Fuel Types: | Fuel "1" |  |  | Fuel "2" |  | Fuel "3"
[8 empty] | 6 | For the 'Test Parameters' section, at each statement clicking on the small box to the right of the statement (a tick in the checkbox) confirms the statement as 'True' and if left blank, indicates the statement is 'False' (for Commissioning Test Plan’s that include Technical Rule compliance tests or tests which might have an impact on the operation or performance of the power system (see Technical Rules Section 4.1.3 for details), please note that test procedures must also be submitted to Western Power System Analysis and Solutions for approval prior to testing, and to coordinate witnessing of tests if required - please contact and supply system.analysis@westernpower.com.au with a copy of the Commissioning Test Plan).
TEST DETAILS
Associated Outage No:
| START |  |  |  | END |  |  | 7 | Separate Commissioning Test Plan templates are required to be completed for each Facility registered in the Wholesale Electricity Market.
Commissioning Test Period: | Trading Day |  | Trading Interval |  | Trading Day |  | Trading Interval
|  |  | 8:00 |  |  |  | 7:30 | 8 | Please email all completed Commissioning Test Plan templates to Market Operations; wa.sm.operations@aemo.com.au
Purpose of Test: | [8 empty] | Commissioning Test Plan template v1.1
Test Parameters: | The proposed tests do not include changes/upgrades to equipment or control system settings which may have an adverse impact on Power System Security (noting that such changes must be approved by Western Power). | [7 empty] | If the ‘Test Parameters’ answers to the left indicate that there are proposed changes and/or proposed tests that may have an adverse impact on Power System Security and/or that are for the purposes of Technical Rules compliance, then these tests will need to be submitted to Western Power System Analysis and Solutions for approval prior to testing, including any detailed test plans. System Management’s approval of this test plan will be dependent on approval from Western Power System Analysis and Solutions.
The proposed tests do not include temporary or permanent changes to the mode of operation (e.g. manual excitation control, power system stabiliser status, governor droop control) which may have an adverse impact on Power System Security.
The proposed tests do not include any special testing outside of normal ramping operation that may have an adverse impact on Power System Security (e.g. voltage reference step change, active power step change, load rejection test, frequency bias step change). If unsure of this, please confirm with Western Power System Analysis and Solutions prior to the submission of the Commissioning Test Plan (system.analysis@westernpower.com.au).
The proposed tests are not intended as a formal demonstration of performance/compliance with the Technical Rules.
Test Description
System Under Test:
Contingency Plan:

## DDMMYYYY
| COMMISSIONING TEST SCHEDULE: | [7 empty] | COMMISSIONING TEST SCHEDULE PROFILES
(Make copy of sheet for additional Trading Days)
TIME |  | NET OUTPUT |  | FUEL MIX | TRIP RISK | SPECIFIC TESTS |  | COMMENTS
Date of test | Interval start time | Active Power (MW) | Reactive Power (MVAr) |  | Low, Medium or High | Technical Rule, Table A11.1 | Technical Rule, Table A11.2
8:00
8:30
9:00
9:30
10:00
10:30
11:00
11:30
12:00
12:30
13:00
13:30
14:00
14:30
15:00
15:30
16:00
16:30
17:00
17:30
18:00
18:30
19:00
19:30
20:00
20:30
21:00
21:30
22:00
22:30
23:00
23:30
24:00
24:30
25:00
25:30
26:00
26:30
27:00
27:30
28:00
28:30
29:00
29:30
30:00
30:30
31:00
31:30
| Start Date | End Date |  | Fuel Mix | Trip Risk | TR Table A11.1 | TR Table A11.2
| 0 | 0 |  |  | Low | C1 | S1
[5 empty] | Medium | C2A | S2
[5 empty] | High | C2B | S3
[6 empty] | C3A | S4
[6 empty] | C3B | S5
[6 empty] | C4 | S6
[6 empty] | C5 | S7
[6 empty] | C6 | S8
[6 empty] | C7 | S9
[6 empty] | C8 | S10
[6 empty] | C9 | S11
S12
S13