## README
IMO Calculation Spreadsheet for Maximum Reserve Capacity Price (2014/15) - Draft Report
This spreadsheet performs the calculation of the Maximum Reserve Capacity Price (MRCP). It has been published to improve the transparency of the MRCP determination for Market Participants.
Throughout this spreadsheet, the following conventions apply:
* The green cells are input values. These cells are editable to allow Market Participants to test the sensitivity of the various input values.
The following worksheets contain input parameters:
* The ANNUALISED_FIXED_O&M sheet calculates the annualised fixed O&M cost from the costs provided by SKM, Western Power and the IMO.
* The WACC sheet calculates the Weighted Average Cost of Capital from the parameters provided by Pricewaterhouse Coopers (PwC).
* The PC sheet calculates the power station capital cost from the costs provided by SKM.
* The M sheet contains the margin M for legal, financing and approval costs as provided by SKM.
* The TC sheet calculates the transmission connection cost from the parameters provided by Western Power.
* The FFC sheet calculates the fixed fuel cost from the costs provided by GHD.
* The LC sheet calculates the land cost from the costs provided by Landgate.
* The ESCALATION_FACTORS sheet contains the various cost escalation factors provided by SKM and Western Power.
The following worksheets perform or display the calculations that lead to the MRCP:
* The ANNUALISED_CAP_COST sheet determines the annualised capital cost for the power station.
* The MRCP_Calculation sheet displays the final MRCP equation and the various input values.

## MRCP_Calculation
MAXIMUM RESERVE CAPACITY PRICE
MRCP =(ANNUALISED_FIXED_O&M + ANNUALISED_CAP_COST / CC) | 166097.4358 | $AUD/MW/Year
Where
MRCP
The Maximum Reserve Capacity Price to apply in a reserve Capacity Auction
ANNUALISED_FIXED_O&M | 33184.3884 | $AUD/MW/Year
Is the annualised fixed operating and maintenance costs for a typical open cycle gas turbine power station and any associated electricity transmission facilities determined in cluase 1.9 and expressed in Australian dollars in year t, per MW per year
ANNUALISED_CAP_COST | 21212922.3533 | $AUD/Year
Is the CAPCOST, expressed in Australia dollars, annualised over a 15 year period, using a Weighted Average Cost of Capital (WACC) as determined in clause 1.13
CC | 159.6 | MW
is the expected Capacity Credit allocation determined @ 41DegC including inlet cooling

## ANNUALISED_CAP_COST
ANNUALISED_CAP_COST
PC | 858860.8539 | $AUD/MW
Capital cost of an open cycle gas turbine power station, expressed in Australian dollars per MW as determined in step 1.7 for that location
M | 18.2% | %
Margin to cover legal, approval, financing and other costs and contingencies as determined in step 1.12
CC | 159.6 | MW
is the expected Capacity Credit allocation determined in conjunction with Power Station costs in step 1.7.1 (b)
TC | 109821 | $AUD
is the Transmission Connection Cost Estimate, expressed in Australian dollars per MW, as determined in step 1.8
FFC | 3180153.3019 | $AUD
is the Fixed Fuel Cost as determined in step 1.10
LC | 2670053.5241 | $AUD
is the Land Cost as determined in step 1.11
WACC | 7.109% | %
Is the Weighted Average Cost of Capital as determined in step 1.13
CAP_COST | 191876640.8325 | $AUD
WACC | 7.109% | %
Term of Finance (Years) | 15 | Years
ANNUALISED_CAP_COST | 21212922.3533 | $AUD/Year
where ANNUALISED_CAP_COST = -PMT(WACC,TERM,CAPCOST)
= -PMT(WACC,15,(PCx (1+M) x CC + TC x CC + FFC + LC) x (1+ WACC)^1/2)
=

## ANNUALISED_FIXED_O&M
ANNUALISED_FIXED_O&M
Generation
Generation O&M Costs (SKM Power Station Elements - Table 3-2)
1 to 5 years |  | 10149314
6 to 10 years |  | 10149314
11 to 15 years |  | 10149314
16 to 20 years |  | 10149314
21 to 25 years |  | 10149314
26 to 30 years |  | 10149314
31 to 35 years
36 to 40 years
41 to 45 years
46 to 50 years
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 10149314 | 10149314 | 10149314 | 10149314 | 10149314 | 10149314 | 10149314 | 10149314 | 10149314 | 10149314 | 10149314 | 10149314 | 10149314 | 10149314 | 10149314
Yearly Cost |  | 2029862.8 | 2029862.8 | 2029862.8 | 2029862.8 | 2029862.8 | 2029862.8 | 2029862.8 | 2029862.8 | 2029862.8 | 2029862.8 | 2029862.8 | 2029862.8 | 2029862.8 | 2029862.8 | 2029862.8
WACC |  | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109%
Present Value |  | 1895129.139 | 1769338.5255 | 1651897.358 | 1542251.4357 | 1439883.3436 | 1344310.0101 | 1255080.4281 | 1171773.5263 | 1093996.1824 | 1021381.3678 | 953586.4159 | 890291.4046 | 831197.647 | 776026.2817 | 724516.957
Total PV (Sum) |  | 1: 18360660.0226
Anuity |  | 1: 2029862.8
Escalation Type |  | 1: Generation_O&M
Prices as at |  | 1: 2011-06-30
To be escalated to |  | 1: 2014-10-01
Escalation (Financial Year ending) | 2012-06-30 | 1: 3.33%
| 2013-06-30 | 1: 3.82%
| 2014-06-30 | 1: 3.52%
| 2015-06-30 | 1: 3.52%
Cost Per MW Per Year |  | 1: 14249.3028; 2: Per MW Per Year
Transmission | bar: 1
Switchyard O&M Costs (SKM Non Power Station Elements - Table 4-1) | bar: 1
1 to 5 years |  | 1: 285000
6 to 10 years |  | 1: 285000
11 to 15 years |  | 1: 285000
6 to 20 years |  | 1: 285000
21 to 25 years |  | 1: 285000
26 to 30 years |  | 1: 285000
31 to 35 years |  | 1: 285000
36 to 40 years |  | 1: 285000
41 to 45 years |  | 1: 285000
46 to 50 years |  | 1: 285000
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 285000 | 285000 | 285000 | 285000 | 285000 | 285000 | 285000 | 285000 | 285000 | 285000 | 285000 | 285000 | 285000 | 285000 | 285000
Yearly Cost |  | 57000 | 57000 | 57000 | 57000 | 57000 | 57000 | 57000 | 57000 | 57000 | 57000 | 57000 | 57000 | 57000 | 57000 | 57000
WACC |  | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109%
Present Value |  | 5321658% | 49684.2919 | 46386.4599 | 43307.524 | 40432.9547 | 37749.1871 | 35243.5566 | 32904.2391 | 30720.1957 | 28681.1197 | 26777.3889 | 25000.0197 | 23340.6247 | 21791.3733 | 20344.9546
Total PV (Sum) |  | 285000 1: 515580.4724
Anuity |  | 285000 1: 57000
Escalation Type |  | 285000 1: Connection_O&M
Prices as at |  | 285000 1: 2011-06-30
To be escalated to |  | 285000 1: 2014-10-01
Escalation (Financial Year ending) | 2012-06-30 | 285000 1: 4.38%
| 2013-06-30 | 285000 1: 4.38%
| 2014-06-30 | 285000 1: 4.38%
| 2015-06-30 | 285000 1: 4.38%
Cost Per MW Per Year |  | 285000 1: 410.6175; 285000 2: Per MW Per Year
Transmission Line O&M Costs (SKM Non Power Station Elements - Table 4-2) | bar: 285000 1
1 to 5 years |  | 285000 1: 5500
6 to 10 years |  | 285000 1: 5500
11 to 15 years |  | 285000 1: 5500
6 to 20 years |  | 285000 1: 5500
21 to 25 years |  | 285000 1: 5500
26 to 30 years |  | 285000 1: 5500
31 to 35 years |  | 285000 1: 5500
36 to 40 years |  | 285000 1: 5500
41 to 45 years |  | 285000 1: 5500
46 to 50 years |  | 285000 1: 5500
51 to 55 years |  | 285000 1: 5500
56 to 60 years |  | 285000 1: 5500
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 5500 | 5500 | 5500 | 5500 | 5500 | 5500 | 5500 | 5500 | 5500 | 5500 | 5500 | 5500 | 5500 | 5500 | 5500
Yearly Cost |  | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100
WACC |  | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109% | 7.109%
Present Value |  | 1026.9867 | 958.8197 | 895.1773 | 835.7592 | 780.2851 | 728.4931 | 680.1388 | 634.9941 | 592.8459 | 553.4953 | 516.7566 | 482.4565 | 450.4331 | 420.5353 | 392.6219
Total PV (Sum) |  | 5500 1: 9949.7986
Anuity |  | 5500 1: 1100
Escalation Type |  | 5500 1: Connection_O&M
Prices as at |  | 5500 1: 2011-06-30
To be escalated to |  | 5500 1: 2014-10-01
Escalation (Financial Year ending) | 2012-06-30 | 5500 1: 4.38%
| 2013-06-30 | 5500 1: 4.38%
| 2014-06-30 | 5500 1: 4.38%
| 2015-06-30 | 5500 1: 4.38%
Cost Per MW Per Year |  | 5500 1: 7.9242; 5500 2: Per MW Per Year
Asset Insurance Costs | bar: 5500 1
Asset replacement insurance |  | 5500 1: 360162
Public and products liability insurance |  | 5500 1: 128751.1458
Business interruption insurance |  | 5500 1: 0
Yearly cost |  | 5500 1: 488913.1458
Escalation Type |  | 5500 1: CPI
Prices as at |  | 5500 1: 2014-04-01
To be escalated to |  | 5500 1: 2014-10-01
Escalation (Financial Year ending) | 2012-06-30 | bar: 5500 1
| 2013-06-30 | 5500 1: 3.25%
| 2014-06-30 | 5500 1: 2.5%
| 2015-06-30 | 5500 1: 2.5%
Cost per MW Per Year |  | 5500 1: 3101.5262; 5500 2: Per MW Per Year
Fixed Network Access/ ongoing charges | bar: 5500 1
Western Power Charges
Control system service charge (unit price is $/kW/day) | 0.00204 | 5500 1: 118838.16
Transmission Metering (unit price is $/meter/day) | 46.0141 | 5500 1: 16795.1465
Use of system Charge (unit price is $/kW/day) | 0.03382 | 5500 1: 1970150.28
Total WP Charges |  | 5500 1: 2105783.5865
Escalation Type |  | 5500 1: Transmission_Connection
Prices as at |  | 5500 1: 2011-07-01
To be escalated to |  | 5500 1: 2014-10-01
Escalation (Financial Year ending) | 2012-06-30 | 5500 1: 4.9%
| 2013-06-30 | 5500 1: 4.9%
| 2014-06-30 | 5500 1: 4.9%
| 2015-06-30 | 5500 1: 4.9%
Cost Per MW Per year |  | 5500 1: 15415.0178; 5500 2: Per MW Per Year
ANNUALISED_FIXED_O&M |  | 5500 1: 33184.3884
Note on B128: Greg Ruthven: Price for Collie - the maximum rate for the 7 land locations
Note on C106: Greg Ruthven: 2% mark-up for terrorism levy 10% mark-up for stamp duty (also applies to terrorism levy)
Note on C107: Greg Ruthven: This cell calculated as: $120,000 as at 30 June 2011, escalated forward to 1 April 2014 for consistency with the Asset replacement insurance above. 2% mark-up for terrorism levy 10% mark-up for stamp duty (also applies to terrorism levy)
Note on C108: Greg Ruthven: Included within the asset replacement insurance

## WACC
Weighted Average Cost of Capital (WACC)
CAPM Parameter | Review Frequency | Value | Value (For Calculation)
Nominal Risk Free Rate of Return (%) | Annual | 4.25 | 0.0425
Expected Inflation (%) | Annual | 2.67 | 0.0267
Real risk free rate of return (%) | Annual | 1.53 | 0.0153
Market Risk Premium (%) | 5- yearly | 6 | 0.06
Asset beta | 5- yearly | 0.5 | 0.5
Equity beta | 5- yearly | 0.83 | 0.83
Debt risk premium (%) , DRP (%) | Annual | 4.26 | 0.0426
Debt Issuance Costs (%) | 5-yearly | 0.125 | 0.00125
Corporate tax rate (%) | Annual | 30 | 0.3
Franking credit value | 5- yearly | 0.5 | 0.5
Debt to total assets ratio (%) | 5- yearly | 40 | 0.4
Equity to total assets ratio (%) | 5- yearly | 60 | 0.6
Nominal pre-tax Cost of Debt (Nominal return on debt) | 8.635%
Nominal post-tax Cost of Equity (Nominal return on equity) | 9.23%
WACC (Nominal) | 9.969%
WACC (Real) | 7.109%

## PC
PC
SKM Total EPC Cost ($) |  | 126431000
Capacity (MW) |  | 159.6
Total Cost Per MW |  | 792174.1855
Escalation Type |  | Power_Station_Capital
Prices as at |  | 2011-06-30
To be escalated to |  | 2014-04-01
Escalation (Financial Year ending) | 2012-06-30 | 4.29%
| 2013-06-30 | 2.2%
| 2014-06-30 | 2.29%
PC |  | 858860.8539
Note on C3: van Niekerk: Updated number @ April in Year 3 to be provided by SKM
Note on C4: van Niekerk: This value will be updated on addition of inlet cooling

## M
M
Total M as a percentage of CAPEX | 18.2%

## TC
TC (Western Power Costing)
Total Transmission Costs | 109821
Escalation type | Transmission_Connection
Prices as at | 2014-04-01
To be escalated to | 2014-04-01
Escalation | 4.9%
TC | 109821

## FFC
FFC
Fixed Fuel Costs
ITEM A - Sub total for facility intallation |  | 2252000
ITEM B - Fuel sufficient for 14 hours of operation at maximum capacity (litres * fuel price per litre) |  | 712000
Total |  | 2964000
Escalation Type |  | CPI
Prices as at |  | 2011-06-30
To be escalated to |  | 2014-04-01
Escalation (Financial Year ending) | 2012-06-30 | 2%
| 2013-06-30 | 3.25%
| 2014-06-30 | 2.5%
FFC |  | 3180153.3019

## LC
LC
Region | Land Area (Hectares) | Price Per Hectare | Assessed Value
Pinjar | 3 | 1750000 | 5250000
Kwinana | 3 | 2500000 | 7500000
Kemerton | 5 | 250000 | 1250000
Collie | 3 | 100000 | 300000
Geraldton | 3 | 150000 | 450000
Eneabba | 3 | 40000 | 120000
Kalgoorlie | 3 | 850000 | 2550000
Average Cost |  |  | 2488571.4286
Escalation Type |  |  | CPI
Prices as at |  |  | 2011-06-30
To be escalated to |  |  | 2014-04-01
Escalation | Financial year ending | 2012-06-30 | 2%
|  | 2013-06-30 | 3.25%
|  | 2014-06-30 | 2.5%
LC |  |  | 2670053.5241

## ESCALATION_FACTORS
ESCALATION FACTORS
Financial Year ending
| 2012-06-30 | 2013-06-30 | 2014-06-30 | 2015-06-30
Power_Station_Capital | 4.29% | 2.2% | 2.29% | 1.22%
Generation_O&M | 3.33% | 3.82% | 3.52% | 3.52%
Connection_O&M | 4.38% | 4.38% | 4.38% | 4.38%
CPI | 2% | 3.25% | 2.5% | 2.5%
Transmission_Connection | 4.9% | 4.9% | 4.9% | 4.9%