## Overview
Gas Statement of Opportunities (GSOO) Update supply-demand modelling results
Medium Scenario, 1-in-2 demand condition.
This data file contains the supply-demand modelling output from the Medium Scenario, 1-in-2 demand condition.
* Results summary
* Potential shortfalls observed in each modelling year by location
* Field development
* Pipeline utilisation and capacity
* Processing utilisation and capacity of each facility
* Demand at each location by year
The nodal topology of the model is included at right for reference.

## Link Pipeline Details
While modelling, it is often necessary to split pipelines into smaller segmets, referred to here as links.
The table below contains each link used within the model, the pipeline related to that link and the nodal locations the link connects.
Link | Pipeline | Pipeline description | From Node | To Node
APLNG | APLNG | APLNG main line | APLNG Hub | AP LNG
APLNGSpringGully | FRCP | Fairview-Reedy Creek Pipeline | Spring Gully | AP Woleebee
APWoleebee | APWoleebee | APLNG Combabula lateral | AP Woleebee | APLNG Hub
BellevueQCLNG | WGP | Wallumbilla to Gladstone Pipeline | Bellevue | QC LNG
CGP | CGP | Carpentaria Gas Pipeline | Ballera | Mount Isa
CometRidge | CometRidge | Comet Ridge Pipeline | Fairview | Wallumbilla
Condabri | Condabri | APLNG Condabri lateral | Condabri | APLNG Hub
DaltonCan | DaltonCan | Dalton to Canberra Pipeline | Dalton | Canberra
EGPNorth | EGP | Eastern Gas Pipeline | Hoskintown | Sydney
EGPSouth | EGP | Eastern Gas Pipeline | Gippsland | Hoskintown
GLNG | GLNG | GLNG main line | Fairview | G LNG
HoskinCan | HoskinCan | Hoskintown to Canberra lateral | Hoskintown | Canberra
ICNorth | IC | Vic-NSW Interconnect | Young | Wagga
ICSouth | IC | Vic-NSW Interconnect | Wagga | Melbourne
JordanBellevue | WGP | Wallumbilla to Gladstone Pipeline | Jordan | Bellevue
KenyaKogan | Windibri South | Windibri pipeline | Kenya | Kogan
KenyaRuby | Windibri North | Windibri pipeline | Kenya | Ruby
LMPEast | LMP | Longford to Melbourne Pipeline | Gippsland | Bass
LMPWest | LMP | Longford to Melbourne Pipeline | Bass | Melbourne
MAPSNorth | MAPS | Moomba to Adelaide Pipeline System | Moomba | Hallett
MAPSSouth | MAPS | Moomba to Adelaide Pipeline System | Hallett | Adelaide
MSPCentral | MSP | Moomba to Sydney Pipeline | Young | Dalton
MSPEast | MSP | Moomba to Sydney Pipeline | Dalton | Sydney
MSPWest | MSP | Moomba to Sydney Pipeline | Moomba | Young
NarrabriMSPLink | Narrabri | Narrabri to MSP pipeline (proposed) | Narrabri | Young
NGP | NGP | Northern Gas Pipeline (proposed) | Tennant Creek | Mt Isa
NQGP | NQGP | North Queensland Gas Pipeline | Moranbah | Townsville
QCWoleebeeBellevue | WGP | WGP Woleebee Creek lateral | QC Woleebee | Bellevue
QGPEast | QGP | Queensland Gas Pipeline | Gooimbah | Gladstone
QGPSouth | QGP | Queensland Gas Pipeline | Wallumbilla | Gooimbah
RBPEast | RBP | Roma-Brisbane Pipeline | Kogan | Brisbane
RBPWest | RBP | Roma-Brisbane Pipeline | Wallumbilla | Kogan
RubyJordan | WGP | Wallumbilla to Gladstone Pipeline | Ruby | Jordan
SEAGasEast | SEAGas | South East Australia Gas Pipeline | Port Campbell | Penola
SEAGasWest | SEAGas | South East Australia Gas Pipeline | Penola | Adelaide
SGFairview | SGFV | Spring Gully to Fairview Pipeline | Spring Gully | Fairview
SNP | SNP | Sydny to Newcastle Pipeline | Sydney | Newcastle
SWP | SWP | South West Pipeline | Port Campbell | Melbourne
SWQPEast | SWQP | South West Queensland Pipeline | Wallumbilla | Ballera
SWQPWest | SWQP | South West Queensland Pipeline | Ballera | Moomba
TGP | TGP | Tasmanian Gas Pipeline | Gippsland | Tasmania
Walloons | Walloons | Walloons Pipeline | Condabri | Wallumbilla

## Results Summary
PJ/annum
Year | 2P developed | 2P undeveloped | 2C3P | PR | Shortfall | Net Storage Withdrawal | Demand | Total Contracts
2016 | 1770.3134 | 0 | 0 | 0 | 0 | 20.2345 | 1789.9779 | 1776.7813
2017 | 1972.3728 | 0 | 0 | 0 | 0 | 14.361 | 1986.7338 | 1874.3705
2018 | 1981.7277 | 0 | 0 | 0 | 0 | 6.8555 | 1988.5836 | 1727.9972
2019 | 1429.0909 | 542.2964 | 0 | 0 | 0 | 1.5196 | 1972.9069 | 1746.9671
2020 | 978.2553 | 984.2698 | 13.6128 | 0 | 0 | 0 | 1976.138 | 1707.6427
2021 | 465.9958 | 1486.2674 | 16.5399 | 0 | 0 | 0 | 1968.8032 | 1621.9769
2022 | 451.8764 | 1486.3239 | 29.2102 | 0 | 0.017212 | 0 | 1967.4277 | 1586.1263
2023 | 446.337 | 1486.4243 | 40.5388 | 0 | 0.11294 | -0.35711 | 1973.056 | 1533.1257
2024 | 451.4121 | 1489.4319 | 40.9811 | 0 | 0.15497 | 0.017902 | 1981.998 | 1517.7769
2025 | 438.3541 | 1502.848 | 41.6526 | 0 | 0.24013 | 0.0062003 | 1983.1011 | 1474.1357
2026 | 416.4011 | 1524.7522 | 36.3827 | 4.7141 | 0.32191 | 0.055893 | 1982.6279 | 1466.0127
2027 | 388.7251 | 1500.8573 | 61.2709 | 35.827 | 0.43404 | -0.33006 | 1986.7844 | 1443.8172
2028 | 374.4702 | 1494.2005 | 80.5579 | 47.3922 | 0.47391 | -0.23906 | 1996.9557 | 1429.6455
2029 | 104.2705 | 1509.8684 | 339.944 | 48.0971 | 1.087 | 0.1155 | 2003.3825 | 1425.7885
2030 | 22.3512 | 1595.601 | 344.0022 | 51.4832 | 1.6821 | 0.4437 | 2015.5633 | 1403.5475
2031 | 49.9422 | 1561.1218 | 267.648 | 144.7568 | 2.4073 | 0.21704 | 2026.0932 | 1420.3487
2032 | 50.9338 | 1496.6945 | 189.8066 | 304.6954 | 3.2191 | -0.02 | 2045.3295 | 1438.3136
2033 | 51.3671 | 1494.0145 | 188.5749 | 317.9688 | 4.5057 | -0.54033 | 2055.9631 | 1434.4673
2034 | 47.4768 | 1494.3453 | 189.6732 | 334.7246 | 12.4279 | -0.16889 | 2078.4425 | 1434.4529
2035 | 24.8126 | 1493.4039 | 201.1985 | 358.6198 | 23.0777 | -0.34078 | 2101.3056 | 1434.0322

## Potential shortfalls
PJ/annum
Year | Gladstone | Townsville
2016 | 0 | 0
2017 | 0 | 0
2018 | 0 | 0
2019 | 0 | 0
2020 | 0 | 0
2021 | 0 | 0
2022 | 0 | 0.017212
2023 | 0 | 0.11294
2024 | 0 | 0.15497
2025 | 0 | 0.24013
2026 | 0 | 0.32191
2027 | 0 | 0.43404
2028 | 0.00124 | 0.47267
2029 | 0.00589 | 1.0811
2030 | 0.08359 | 1.5985
2031 | 0.26232 | 2.145
2032 | 0.38598 | 2.8331
2033 | 0.65849 | 3.8472
2034 | 0.88777 | 11.5402
2035 | 1.1243 | 21.9533

## Reserves Fields Summary
PJ/annum
Location | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Bass | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455
Camden | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Casino Henry Netherby | 23.12 | 23.12 | 23.12 | 23.12 | 23.12 | 23.12 | 23.12 | 23.12 | 5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cooper Eromanga | 105 | 105 | 105 | 105 | 101.9771 | 98.5184 | 96.8549 | 97.8713 | 99.9423 | 100.749 | 100.4822 | 100.5666 | 100.7669 | 103.126 | 105 | 105 | 105 | 105 | 105 | 105
GBJV & Turrum & Kipper | 235.0408 | 233.8916 | 220 | 220 | 220 | 220 | 245.9269 | 249.5519 | 270 | 270 | 270 | 270 | 261.0905 | 263.4262 | 265.134 | 240.5151 | 243.786 | 246.4858 | 254.774 | 270
Gippsland - Non GBJV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gloucester | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gunnedah | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Halladale/Black Watch/Speculant | 0 | 0 | 14.9013 | 10.95 | 10.95 | 10.95 | 6.7472 | 4.1655 | 5.3194 | 8.8478 | 9.1689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ironbark | 0 | 0 | 0 | 18.25 | 31.5867 | 31.5104 | 32.1254 | 32.0797 | 31.818 | 32.2516 | 35.3339 | 35.7152 | 36.6 | 36.5 | 36.5 | 36.5 | 36.6 | 36.5 | 36.5 | 36.5
La Bella | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7141 | 35.0073 | 46.4407 | 47.125 | 50.708 | 54.185 | 59.2764 | 70.136 | 78.5158 | 86.3687
Longtom & Sole | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.63878 | 0.72958 | 27.375 | 27.45 | 27.375 | 22.9136 | 11.2488
Minerva | 23.79 | 23.725 | 9.4217 | 3.3385 | 0.47472 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Moranbah | 12.8589 | 12.8627 | 13.0289 | 12.7963 | 12.7675 | 13.5259 | 15.3047 | 16.2822 | 16.8061 | 17.2853 | 17.5338 | 18.1585 | 19.0076 | 20.3603 | 21.6216 | 22.5672 | 23.4838 | 23.9921 | 24.5631 | 24.8126
Otway Gas Project | 38 | 38 | 38 | 38 | 38 | 36.4816 | 14.1948 | 16.4012 | 20.0064 | 23.306 | 19.2161 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - APLNG | 484.5943 | 552.245 | 552.245 | 552.245 | 553.758 | 552.245 | 552.245 | 552.245 | 553.758 | 552.245 | 552.245 | 552.245 | 553.758 | 552.245 | 552.245 | 552.245 | 553.758 | 552.245 | 552.245 | 552.245
QLD CSG - Arrow | 34.038 | 33.945 | 33.945 | 33.945 | 34.038 | 33.945 | 33.945 | 33.945 | 34.038 | 22.0774 | 22.8757 | 23.1673 | 23.5135 | 23.3972 | 23.644 | 24.2109 | 25.3105 | 26.3253 | 26.5107 | 26.426
QLD CSG - GLNG | 209.0005 | 315.7095 | 317.9041 | 312.0374 | 312.8239 | 311.9668 | 311.9055 | 316.633 | 317.367 | 316.8057 | 316.7044 | 316.867 | 317.8381 | 316.9097 | 317.293 | 317.5682 | 318.6996 | 318.1688 | 318.3557 | 317.8399
QLD CSG - Other | 5.856 | 5.84 | 5.84 | 10.4025 | 10.4185 | 10.4025 | 10.4025 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84
QLD CSG - QCLNG | 563.5474 | 589.4929 | 588.8671 | 579.7106 | 581.4417 | 580.1428 | 579.6455 | 579.6266 | 580.6329 | 591.7943 | 591.7532 | 591.6938 | 593.235 | 591.6218 | 591.5789 | 591.5303 | 593.0704 | 591.4355 | 591.3939 | 591.053
Surat-Bowen-Denison | 5.9454 | 9.086 | 29.9997 | 22.1369 | 15.2598 | 16.5399 | 15.5382 | 16.0838 | 16.4591 | 17.1976 | 11.9277 | 12.145 | 13.0411 | 15.5627 | 17.9131 | 20.6614 | 23.6846 | 22.6199 | 23.7182 | 23.9947
Unconventional Otway | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.81971 | 0.95148 | 0.97213 | 0.77522 | 0.81561 | 1.633 | 1.3469 | 1.4348 | 2.2511

## Reserves Fields
PJ/annum
Location | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Bass_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 13.672 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455
Bass_2P developed | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 10.783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Camden_2P developed | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Casino Henry Netherby_2P developed | 23.12 | 23.12 | 23.12 | 23.12 | 23.12 | 23.12 | 23.12 | 23.12 | 5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cooper Eromanga_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.2726 | 105 | 105 | 105 | 105
Cooper Eromanga_2P developed | 105 | 105 | 105 | 105 | 101.9771 | 98.5184 | 96.8549 | 97.8713 | 99.9423 | 100.749 | 100.4822 | 100.5666 | 100.7669 | 83.2714 | 0 | 0 | 0 | 0 | 0 | 0
Cooper Eromanga_2P undeveloped | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.8546 | 105 | 69.7274 | 0 | 0 | 0 | 0
Cooper Eromanga_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GBJV & Turrum & Kipper_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3948 | 263.4262 | 265.134 | 150.7589 | 0 | 0 | 0 | 0
GBJV & Turrum & Kipper_2P developed | 235.0408 | 233.8916 | 220 | 220 | 220 | 220 | 245.9269 | 249.5519 | 270 | 270 | 270 | 270 | 254.6957 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GBJV & Turrum & Kipper_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.7562 | 243.786 | 246.4858 | 254.774 | 270
Gippsland - Non GBJV_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gippsland - Non GBJV_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gloucester_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gloucester_2P undeveloped | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gunnedah_2P undeveloped | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gunnedah_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Halladale/Black Watch/Speculant_2P developed | 0 | 0 | 14.9013 | 10.95 | 10.95 | 10.95 | 6.7472 | 4.1655 | 5.3194 | 8.8478 | 9.1689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ironbark_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.671 | 36.6 | 36.5 | 36.5 | 36.5 | 36.6 | 36.5 | 36.5 | 36.5
Ironbark_2P undeveloped | 0 | 0 | 0 | 18.25 | 31.5867 | 31.5104 | 32.1254 | 32.0797 | 31.818 | 32.2516 | 35.3339 | 11.0442 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
La Bella_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7141 | 35.0073 | 46.4407 | 47.125 | 50.708 | 54.185 | 59.2764 | 70.136 | 78.5158 | 86.3687
Longtom & Sole_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.2488
Longtom & Sole_2P developed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.63878 | 0.72958 | 27.375 | 27.45 | 27.375 | 22.9136 | 0
Longtom & Sole_2P undeveloped | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Longtom & Sole_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Minerva_2P developed | 23.79 | 23.725 | 9.4217 | 3.3385 | 0.47472 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Moranbah_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Moranbah_2P developed | 12.8589 | 12.8627 | 13.0289 | 12.7963 | 12.7675 | 13.5259 | 15.3047 | 16.2822 | 16.8061 | 17.2853 | 17.5338 | 18.1585 | 19.0076 | 20.3603 | 21.6216 | 22.5672 | 23.4838 | 23.9921 | 24.5631 | 24.8126
Moranbah_2P undeveloped | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Otway Gas Project_2P developed | 38 | 38 | 38 | 38 | 38 | 36.4816 | 14.1948 | 16.4012 | 20.0064 | 23.306 | 19.2161 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - APLNG_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - APLNG_2P developed | 484.5943 | 552.245 | 552.245 | 280.4657 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - APLNG_2P undeveloped | 0 | 0 | 0 | 271.7793 | 553.758 | 552.245 | 552.245 | 552.245 | 553.758 | 552.245 | 552.245 | 552.245 | 553.758 | 552.245 | 552.245 | 552.245 | 553.758 | 552.245 | 552.245 | 552.245
QLD CSG - Arrow_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - Arrow_2P developed | 34.038 | 33.945 | 33.945 | 33.945 | 34.038 | 33.945 | 33.945 | 33.945 | 34.038 | 18.166 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - Arrow_2P undeveloped | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9114 | 22.8757 | 23.1673 | 23.5135 | 23.3972 | 23.644 | 24.2109 | 25.3105 | 26.3253 | 26.5107 | 26.426
QLD CSG - Arrow_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - GLNG_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - GLNG_2P developed | 209.0005 | 315.7095 | 317.9041 | 64.6859 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - GLNG_2P undeveloped | 0 | 0 | 0 | 247.3515 | 312.8239 | 311.9668 | 311.9055 | 316.633 | 317.367 | 316.8057 | 316.7044 | 316.867 | 317.8381 | 316.9097 | 317.293 | 317.5682 | 318.6996 | 318.1688 | 318.3557 | 317.8399
QLD CSG - Other_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - Other_2P developed | 5.856 | 5.84 | 5.84 | 5.84 | 1.624 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - Other_2P undeveloped | 0 | 0 | 0 | 4.5625 | 8.7945 | 10.4025 | 10.4025 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84
QLD CSG - Other_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - QCLNG_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - QCLNG_2P developed | 563.5474 | 589.4929 | 588.8671 | 579.7106 | 505.782 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - QCLNG_2P undeveloped | 0 | 0 | 0 | 0 | 75.6597 | 580.1428 | 579.6455 | 579.6266 | 580.6329 | 591.7943 | 591.7532 | 591.6938 | 593.235 | 591.6218 | 591.5789 | 591.5303 | 593.0704 | 591.4355 | 591.3939 | 591.053
QLD CSG - QCLNG_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Surat-Bowen-Denison_2C3P | 0 | 0 | 0 | 0 | 13.6128 | 16.5399 | 15.5382 | 16.0838 | 16.4591 | 17.1976 | 11.9277 | 12.145 | 13.0411 | 15.5627 | 17.9131 | 20.6614 | 23.6846 | 22.6199 | 23.7182 | 23.9947
Surat-Bowen-Denison_2P developed | 5.9454 | 9.086 | 29.9997 | 21.7839 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Surat-Bowen-Denison_2P undeveloped | 0 | 0 | 0 | 0.353 | 1.647 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unconventional Otway_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.81971 | 0.95148 | 0.97213 | 0.77522 | 0.81561 | 1.633 | 1.3469 | 1.4348 | 2.2511

## Reserves Facility Summary
PJ/annum
Location | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Bellevue | 80.52 | 80.3 | 80.3 | 80.3 | 80.52 | 80.3 | 80.3 | 80.3 | 80.52 | 80.3 | 80.3 | 80.3 | 80.52 | 80.3 | 80.3 | 80.3 | 80.52 | 80.3 | 80.3 | 80.3
Berwyndale South | 37.9844 | 46.0871 | 45.8848 | 40.8717 | 42.1318 | 41.2995 | 40.7139 | 42.1082 | 40.4175 | 47.58 | 47.6 | 47.1 | 48.0349 | 47.499 | 47.88 | 47.3752 | 47.64 | 47.58 | 47.3906 | 47.04
Camden | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Combabula | 59.2551 | 82.125 | 82.125 | 82.125 | 82.35 | 82.125 | 82.125 | 82.125 | 82.35 | 82.125 | 82.125 | 82.125 | 82.35 | 82.125 | 82.125 | 82.125 | 82.35 | 82.125 | 82.125 | 82.125
Condabri Central | 54.3496 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75
Condabri North | 54.43 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75
Condabri South | 44.9002 | 45.625 | 45.625 | 45.625 | 45.75 | 45.625 | 45.625 | 45.625 | 45.75 | 45.625 | 45.625 | 45.625 | 45.75 | 45.625 | 45.625 | 45.625 | 45.75 | 45.625 | 45.625 | 45.625
Daandine | 20.13 | 20.075 | 20.075 | 20.075 | 20.13 | 20.075 | 20.075 | 20.075 | 20.13 | 12.9605 | 13.6782 | 13.8879 | 13.646 | 13.6841 | 14.0325 | 14.4982 | 15.4597 | 16.3141 | 15.7289 | 15.9327
Dawson Valley | 5.856 | 5.84 | 5.84 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84
Eurombah Creek | 46.6469 | 65.7 | 65.7 | 65.7 | 65.88 | 65.7 | 65.7 | 65.7 | 65.88 | 65.7 | 65.7 | 65.7 | 65.88 | 65.7 | 65.7 | 65.7 | 65.88 | 65.7 | 65.7 | 65.7
Fairview | 165.0242 | 211.7 | 211.7 | 211.7 | 212.28 | 211.7 | 211.7 | 211.7 | 212.28 | 211.7 | 211.7 | 211.7 | 212.28 | 211.7 | 211.7 | 211.7 | 212.28 | 211.7 | 211.7 | 211.7
Gloucester | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Iona | 23.12 | 23.12 | 23.12 | 23.12 | 23.12 | 23.12 | 23.12 | 23.12 | 5.3 | 0 | 1.9609 | 14.3819 | 19.1335 | 20.9116 | 22.4862 | 25.987 | 28.4512 | 36.78 | 39.4487 | 43.2868
Ironbark | 0 | 0 | 0 | 18.25 | 31.5867 | 31.5104 | 32.1254 | 32.0797 | 31.818 | 32.2516 | 35.3339 | 35.7152 | 36.6 | 36.5 | 36.5 | 36.5 | 36.6 | 36.5 | 36.5 | 36.5
Jordan | 164.7 | 164.25 | 164.25 | 164.25 | 164.7 | 164.25 | 164.25 | 164.25 | 164.7 | 164.25 | 164.25 | 164.25 | 164.7 | 164.25 | 164.25 | 164.25 | 164.7 | 164.25 | 164.25 | 164.25
Kenya | 51.6293 | 60.9042 | 60.4807 | 56.3373 | 55.5169 | 56.3692 | 56.5015 | 55.1321 | 56.582 | 61.9159 | 61.8986 | 62.3832 | 61.7427 | 62 | 61.62 | 62.12 | 62.1493 | 61.9082 | 62.1 | 62.46
Kogan North | 4.392 | 4.38 | 4.38 | 4.38 | 4.392 | 4.38 | 4.38 | 4.38 | 4.392 | 2.7999 | 2.7429 | 2.9159 | 2.9914 | 2.9651 | 3.0585 | 3.1162 | 3.1513 | 3.2615 | 3.2626 | 3.2753
Lang Lang | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455
Longford | 235.0408 | 233.8916 | 220 | 220 | 220 | 220 | 245.9269 | 249.5519 | 270 | 270 | 270 | 270 | 261.0905 | 263.4262 | 265.134 | 240.5151 | 243.786 | 246.4858 | 254.774 | 270
Minerva | 23.79 | 23.725 | 9.4217 | 3.3385 | 0.47472 | 0 | 0 | 0 | 0 | 0 | 1.3902 | 9.1182 | 12.2762 | 11.779 | 12.1576 | 11.8353 | 12.4543 | 11.7022 | 14.0171 | 15.153
Moomba | 105 | 105 | 105 | 105 | 101.9771 | 98.5184 | 96.8549 | 97.8713 | 99.9423 | 100.749 | 100.4822 | 100.5666 | 100.7669 | 103.126 | 105 | 105 | 105 | 105 | 105 | 105
Moranbah | 12.8589 | 12.8627 | 13.0289 | 12.7963 | 12.7675 | 13.5259 | 15.3047 | 16.2822 | 16.8061 | 17.2853 | 17.5338 | 18.1585 | 19.0076 | 20.3603 | 21.6216 | 22.5672 | 23.4838 | 23.9921 | 24.5631 | 24.8126
Narrabri | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Orana | 70.6642 | 71.175 | 71.175 | 71.175 | 71.37 | 71.175 | 71.175 | 71.175 | 71.37 | 71.175 | 71.175 | 71.175 | 71.37 | 71.175 | 71.175 | 71.175 | 71.37 | 71.175 | 71.175 | 71.175
Orbost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.63878 | 0.72958 | 27.375 | 27.45 | 27.375 | 22.9136 | 11.2488
Otway | 38 | 38 | 52.9013 | 48.95 | 48.95 | 47.4316 | 20.9419 | 20.5667 | 25.3258 | 32.1538 | 29.748 | 12.3269 | 15.9825 | 15.4066 | 16.8394 | 17.1784 | 20.004 | 23.0007 | 26.4847 | 30.1801
Peat | 5.49 | 5.475 | 5.475 | 5.475 | 5.49 | 5.475 | 5.475 | 5.475 | 5.49 | 5.475 | 5.475 | 5.475 | 5.49 | 5.475 | 5.475 | 5.475 | 5.49 | 5.475 | 5.475 | 5.475
Reedy Creek | 38.6133 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75
Rolleston | 2.0514 | 4.1183 | 10.8282 | 10.95 | 7.5787 | 8.2886 | 7.7471 | 8.1258 | 8.1319 | 8.3899 | 5.8456 | 5.9533 | 6.2503 | 7.3164 | 8.3109 | 9.564 | 10.98 | 10.2991 | 10.7486 | 10.95
Roma Hub2 | 42.78 | 102.93 | 102.93 | 102.93 | 103.212 | 102.93 | 102.93 | 102.93 | 103.212 | 102.93 | 102.93 | 102.93 | 103.212 | 102.93 | 102.93 | 102.93 | 103.212 | 102.93 | 102.93 | 102.93
Ruby Jo | 64.0137 | 73.7016 | 73.7016 | 73.7016 | 73.873 | 73.6741 | 73.6302 | 73.5863 | 73.7134 | 73.4985 | 73.4546 | 73.4107 | 73.5373 | 73.3228 | 73.2789 | 73.235 | 73.3612 | 73.1472 | 73.1033 | 72.753
Scotia | 1.1963 | 1.0795 | 3.2741 | 1.9699 | 1.8944 | 1.8993 | 1.838 | 2.003 | 1.875 | 2.1757 | 2.0744 | 2.237 | 2.3461 | 2.2797 | 2.663 | 2.9382 | 3.2076 | 3.5388 | 3.7257 | 3.2099
Silver Springs | 0.52009 | 0.2506 | 2.3545 | 0.052481 | 0 | 0.012 | 0.012 | 0.012 | 0.021977 | 0.091045 | 0.072 | 0.069757 | 0.20873 | 0.3185 | 0.39477 | 0.44848 | 0.46235 | 0.60894 | 0.60059 | 0.62133
Spring Gully | 23.1166 | 25.185 | 25.185 | 25.185 | 25.254 | 25.185 | 25.185 | 25.185 | 25.254 | 25.185 | 25.185 | 25.185 | 25.254 | 25.185 | 25.185 | 25.185 | 25.254 | 25.185 | 25.185 | 25.185
Strathblane | 23.1102 | 25.185 | 25.185 | 25.185 | 25.254 | 25.185 | 25.185 | 25.185 | 25.254 | 25.185 | 25.185 | 25.185 | 25.254 | 25.185 | 25.185 | 25.185 | 25.254 | 25.185 | 25.185 | 25.185
Talinga | 43.3898 | 43.8 | 43.8 | 43.8 | 43.92 | 43.8 | 43.8 | 43.8 | 43.92 | 43.8 | 43.8 | 43.8 | 43.92 | 43.8 | 43.8 | 43.8 | 43.92 | 43.8 | 43.8 | 43.8
Talinga North | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taloona | 13.3577 | 15.33 | 15.33 | 15.33 | 15.372 | 15.33 | 15.33 | 15.33 | 15.372 | 15.33 | 15.33 | 15.33 | 15.372 | 15.33 | 15.33 | 15.33 | 15.372 | 15.33 | 15.33 | 15.33
Taloona 2 | 7.2707 | 8.395 | 8.395 | 8.395 | 8.418 | 8.395 | 8.395 | 8.395 | 8.418 | 8.395 | 8.395 | 8.395 | 8.418 | 8.395 | 8.395 | 8.395 | 8.418 | 8.395 | 8.395 | 8.395
Tipton West | 9.516 | 9.49 | 9.49 | 9.49 | 9.516 | 9.49 | 9.49 | 9.49 | 9.516 | 6.317 | 6.4545 | 6.3635 | 6.8761 | 6.7481 | 6.5531 | 6.5965 | 6.6996 | 6.7497 | 7.5192 | 7.218
Woleebee Creek | 164.7 | 164.25 | 164.25 | 164.25 | 164.7 | 164.25 | 164.25 | 164.25 | 164.7 | 164.25 | 164.25 | 164.25 | 164.7 | 164.25 | 164.25 | 164.25 | 164.7 | 164.25 | 164.25 | 164.25
Wungoona | 1.2606 | 0.58773 | 5.9508 | 0.186 | 0 | 0.012716 | 0.03 | 0.03 | 0.03 | 0.16759 | 0.18198 | 0.1592 | 0.42437 | 0.74001 | 1.011 | 0.93314 | 1.2623 | 1.5028 | 1.5321 | 1.4734
Yellowbank | 2.1133 | 4.1294 | 10.8661 | 10.9484 | 7.6812 | 8.2267 | 7.7492 | 7.9161 | 8.2753 | 8.5491 | 5.8281 | 5.9627 | 6.1577 | 7.1878 | 8.1965 | 9.7158 | 10.98 | 10.2091 | 10.8369 | 10.95

## Pipeline Utilisation
Year | APLNG | APLNGSpringGully | APWoleebee | BellevueQCLNG | BWP | CGP | CometRidge rev | Condabri | DaltonCan | EGPNorth | EGPSouth | GLNG | HoskinCan | ICNorth | ICNorth rev | ICSouth rev | JordanBellevue | KenyaKogan | LMPEast | LMPWest | MAPSNorth | MAPSSouth | MSPCentral | MSPEast | MSPWest | NQGP | QCWoleebeeBellevue | QGPEast | QGPSouth | RBPEast | RBPWest rev | RubyJordan | SEAGasEast | SEAGasWest | SGFairview | SNP | SNP rev | SWP | SWP rev | SWQPEast | SWQPEast rev | SWQPWest | SWQPWest rev | TGP | Walloons
2016 | 68% | 30% | 54% | 85% | 97% | 68% | -30% | 74% | 15% | 69% | 85% | 60% | 20% | 0% | 0% | 0% | 41% | 82% | 31% | 33% | 67% | 51% | 2% | 0% | 9% | 16% | 29% | 92% | 73% | 43% | -27% | 11% | 22% | 20% | 78% | 0% | -1% | 22% | 0% | 0% | -1% | 0% | -25% | 14% | 57%
2017 | 91% | 79% | 85% | 86% | 100% | 65% | -34% | 85% | 15% | 70% | 85% | 76% | 20% | 0% | 0% | 0% | 43% | 98% | 31% | 33% | 70% | 54% | 2% | 0% | 9% | 16% | 29% | 91% | 65% | 43% | -76% | 13% | 16% | 13% | 24% | 1% | -1% | 22% | 0% | 0% | 0% | 0% | -23% | 14% | 0%
2018 | 91% | 68% | 82% | 86% | 100% | 65% | -53% | 88% | 7% | 66% | 82% | 84% | 25% | 0% | 0% | 0% | 43% | 97% | 28% | 32% | 64% | 48% | 1% | 0% | 8% | 17% | 29% | 90% | 40% | 42% | -89% | 13% | 10% | 8% | 39% | 1% | -1% | 23% | 0% | 0% | -6% | 0% | -28% | 14% | 0%
2019 | 91% | 45% | 76% | 86% | 100% | 65% | -48% | 94% | 4% | 63% | 79% | 86% | 27% | 0% | 0% | 0% | 43% | 89% | 29% | 33% | 63% | 48% | 1% | 0% | 8% | 16% | 29% | 91% | 41% | 26% | -96% | 13% | 4% | 2% | 70% | 1% | -1% | 20% | 0% | 0% | -7% | 0% | -29% | 14% | 0%
2020 | 91% | 28% | 72% | 87% | 100% | 71% | -41% | 99% | 7% | 63% | 79% | 86% | 25% | 0% | 0% | 0% | 43% | 89% | 29% | 33% | 62% | 46% | 1% | 0% | 8% | 16% | 29% | 91% | 53% | 26% | -97% | 13% | 4% | 1% | 94% | 0% | 0% | 19% | 0% | 0% | -3% | 0% | -28% | 15% | 0%
2021 | 91% | 28% | 72% | 86% | 100% | 70% | -40% | 98% | 7% | 62% | 78% | 86% | 25% | 0% | 0% | 0% | 43% | 89% | 29% | 33% | 61% | 46% | 1% | 0% | 8% | 17% | 29% | 91% | 51% | 26% | -96% | 13% | 4% | 2% | 94% | 0% | 0% | 17% | 0% | 0% | 0% | 0% | -25% | 15% | 0%
2022 | 91% | 28% | 72% | 86% | 100% | 63% | -40% | 98% | 9% | 63% | 78% | 86% | 23% | 1% | 0% | 0% | 43% | 89% | 36% | 40% | 62% | 47% | 1% | 0% | 9% | 21% | 29% | 91% | 52% | 26% | -96% | 13% | 4% | 2% | 94% | 1% | -1% | 0% | 0% | 0% | -1% | 0% | -23% | 15% | 2%
2023 | 91% | 28% | 72% | 86% | 100% | 64% | -40% | 98% | 9% | 64% | 80% | 86% | 23% | 2% | 0% | -1% | 43% | 89% | 37% | 40% | 62% | 47% | 1% | 0% | 9% | 24% | 29% | 92% | 52% | 26% | -95% | 13% | 4% | 2% | 93% | 1% | -1% | 0% | 0% | 0% | -1% | 0% | -23% | 15% | 2%
2024 | 91% | 28% | 72% | 87% | 100% | 63% | -40% | 98% | 14% | 69% | 84% | 86% | 20% | 2% | 0% | -1% | 43% | 89% | 41% | 45% | 63% | 47% | 2% | 0% | 10% | 25% | 29% | 92% | 52% | 26% | -94% | 13% | 5% | 3% | 93% | 1% | -1% | 0% | -36.5% | 0% | -1% | 0% | -23% | 15% | 2%
2025 | 91% | 28% | 72% | 86% | 100% | 63% | -39% | 98% | 16% | 69% | 84% | 86% | 19% | 3% | 0% | -2% | 43% | 100% | 40% | 44% | 64% | 48% | 2% | 0% | 11% | 26% | 29% | 93% | 51% | 27% | -94% | 13% | 5% | 3% | 93% | 1% | -1% | 0% | -31.5% | 0% | -1% | 0% | -22% | 15% | 2%
2026 | 91% | 28% | 72% | 86% | 100% | 64% | -38% | 98% | 16% | 70% | 84% | 85% | 19% | 2% | 0% | -2% | 43% | 100% | 40% | 44% | 63% | 48% | 2% | 0% | 11% | 27% | 29% | 93% | 61% | 27% | -95% | 13% | 5% | 3% | 93% | 1% | -1% | 0% | -30% | 0% | 0% | 0% | -22% | 15% | 9%
2027 | 91% | 28% | 72% | 86% | 100% | 64% | -38% | 98% | 18% | 70% | 85% | 85% | 18% | 2% | 0% | -2% | 43% | 100% | 40% | 44% | 63% | 47% | 3% | 1% | 11% | 28% | 29% | 94% | 61% | 27% | -95% | 13% | 5% | 3% | 93% | 1% | -1% | 0% | -26.5% | 1% | 0% | 0% | -22% | 15% | 10%
2028 | 91% | 28% | 72% | 87% | 100% | 65% | -38% | 98% | 18% | 71% | 86% | 85% | 18% | 1% | 0% | -2% | 43% | 100% | 37% | 41% | 63% | 48% | 4% | 1% | 12% | 30% | 29% | 94% | 61% | 28% | -96% | 13% | 6% | 3% | 93% | 1% | -1% | 0% | 0% | 1% | 0% | 0% | -22% | 15% | 11%
2029 | 91% | 30% | 73% | 86% | 100% | 65% | -39% | 98% | 21% | 72% | 87% | 85% | 16% | 0% | 0% | -3% | 43% | 100% | 38% | 42% | 64% | 48% | 5% | 2% | 13% | 34% | 29% | 95% | 58% | 28% | -94% | 13% | 8% | 5% | 91% | 1% | -1% | 0% | 0% | 1% | 0% | 0% | -22% | 15% | 11%
2030 | 91% | 31% | 73% | 86% | 100% | 66% | -39% | 97% | 22% | 73% | 87% | 85% | 16% | 0% | 0% | -3% | 43% | 100% | 38% | 42% | 63% | 47% | 6% | 4% | 14% | 37% | 29% | 95% | 55% | 28% | -93% | 13% | 10% | 8% | 89% | 1% | -1% | 0% | 0% | 1% | 0% | 0% | -22% | 15% | 8%
2031 | 91% | 33% | 73% | 86% | 100% | 66% | -38% | 97% | 22% | 74% | 88% | 84% | 16% | 0% | 0% | -3% | 43% | 100% | 38% | 42% | 62% | 46% | 8% | 6% | 16% | 39% | 29% | 95% | 50% | 29% | -92% | 13% | 13% | 11% | 87% | 1% | -1% | 0% | 0% | 3% | 0% | 0% | -20% | 15% | 5%
2032 | 91% | 35% | 74% | 87% | 100% | 67% | -39% | 97% | 25% | 75% | 89% | 85% | 15% | 0% | -1% | -4% | 43% | 100% | 38% | 42% | 58% | 43% | 10% | 7% | 18% | 41% | 29% | 96% | 45% | 29% | -92% | 13% | 18% | 16% | 84% | 1% | -1% | 0% | 0% | 4% | -1% | 0% | -20% | 15% | 3%
2033 | 91% | 37% | 74% | 86% | 100% | 67% | -40% | 96% | 26% | 75% | 89% | 84% | 14% | 0% | -4% | -7% | 43% | 100% | 39% | 43% | 51% | 35% | 12% | 9% | 19% | 42% | 29% | 96% | 48% | 29% | -91% | 13% | 26% | 24% | 81% | 1% | -1% | 0% | 0% | 0% | -1% | 0% | -24% | 15% | 2%
2034 | 91% | 38% | 75% | 86% | 100% | 68% | -40% | 96% | 27% | 76% | 90% | 84% | 13% | 0% | -6% | -10% | 43% | 100% | 40% | 43% | 46% | 30% | 16% | 12% | 22% | 44% | 29% | 96% | 46% | 30% | -90% | 13% | 33% | 31% | 80% | 1% | -1% | 1% | 0% | 1% | -1% | 0% | -24% | 15% | 1%
2035 | 91% | 38% | 75% | 86% | 100% | 68% | -40% | 96% | 30% | 76% | 91% | 84% | 11% | 0% | -9% | -15% | 42% | 100% | 40% | 44% | 41% | 25% | 20% | 16% | 25% | 44% | 29% | 96% | 46% | 30% | -91% | 13% | 40% | 38% | 79% | 1% | -1% | 1% | 0% | 1% | -1% | 0% | -24% | 15% | 1%

## Pipeline Capacity
Note that nominal capacities were used for APWoleebee, Comet Ridge, Condabri, FRCP, Gloucester, SGFV, SNP, Walloons and Windibri because the true capacities are unknown.
Reverse capacities for MAPS, MSP and RBP are not currently publically available
TJ/d
Forward Capacity
Year | APLNG | APLNGSpringGully | APWoleebee | BellevueQCLNG | BWP | CGP | CometRidge | Condabri | DaltonCan | EGPNorth | EGPSouth | GLNG | HoskinCan | ICNorth | ICSouth | JordanBellevue | KenyaKogan | KenyaRuby | LMPEast | LMPWest | MAPSNorth | MAPSSouth | MSPCentral | MSPEast | MSPWest | NQGP | QCWoleebeeBellevue | QGPEast | QGPSouth | RBPEast | RBPWest | RubyJordan | SEAGasEast | SEAGasWest | SGFairview | SNP | SWP | SWQPEast | SWQPWest | TGP | Walloons
2016 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2017 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2018 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2019 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2020 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2021 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2022 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2023 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2024 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2025 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2026 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2027 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2028 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2029 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2030 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2031 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2032 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2033 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2034 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2035 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
Reverse Capacity
Year | APLNG | APLNGSpringGully | APWoleebee | BellevueQCLNG | BWP | CGP | CometRidge | Condabri | DaltonCan | EGPNorth | EGPSouth | GLNG | HoskinCan | ICNorth | ICSouth | JordanBellevue | KenyaKogan | KenyaRuby | LMPEast | LMPWest | MAPSNorth | MAPSSouth | MSPCentral | MSPEast | MSPWest | NQGP | QCWoleebeeBellevue | QGPEast | QGPSouth | RBPEast | RBPWest | RubyJordan | SEAGasEast | SEAGasWest | SGFairview | SNP | SWP | SWQPEast | SWQPWest | TGP | Walloons
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0

## Processing Utilisation
Year | AP Woleebee | Bass | Bellevue | Condabri | Fairview | Gippsland | Gooimbah | Gunnedah | Jordan | Kenya | Kogan | Moomba | Moranbah | Port Campbell | QC Woleebee | Ruby | Spring Gully | Stratford | Sydney | Wallumbilla
2016 | 71% | 100% | 100% | 93% | 79% | 52% | 31% | 0% | 100% | 77% | 81% | 77% | 52% | 28% | 100% | 40% | 80% | 0% | 91% | 12%
2017 | 100% | 100% | 100% | 94% | 100% | 51% | 43% | 0% | 100% | 92% | 80% | 77% | 52% | 28% | 100% | 46% | 89% | 0% | 91% | 5%
2018 | 100% | 100% | 100% | 94% | 100% | 48% | 84% | 0% | 100% | 91% | 85% | 77% | 52% | 28% | 100% | 46% | 89% | 0% | 91% | 54%
2019 | 100% | 100% | 100% | 100% | 100% | 48% | 84% | 0% | 100% | 83% | 82% | 77% | 52% | 25% | 100% | 46% | 89% | 0% | 91% | 2%
2020 | 100% | 100% | 100% | 99% | 100% | 48% | 64% | 0% | 100% | 84% | 82% | 75% | 51% | 24% | 100% | 46% | 100% | 0% | 91% | 0%
2021 | 100% | 100% | 100% | 98% | 100% | 48% | 68% | 0% | 100% | 84% | 82% | 72% | 54% | 23% | 100% | 46% | 89% | 0% | 91% | 0%
2022 | 100% | 100% | 100% | 99% | 100% | 54% | 65% | 0% | 100% | 83% | 82% | 71% | 62% | 14% | 100% | 46% | 89% | 0% | 91% | 0%
2023 | 100% | 100% | 100% | 99% | 100% | 55% | 67% | 0% | 100% | 83% | 82% | 72% | 66% | 14% | 100% | 46% | 89% | 0% | 91% | 0%
2024 | 100% | 100% | 100% | 99% | 100% | 59% | 68% | 0% | 100% | 83% | 82% | 73% | 68% | 10% | 100% | 46% | 89% | 0% | 0% | 0%
2025 | 100% | 100% | 100% | 99% | 100% | 59% | 69% | 0% | 100% | 94% | 59% | 74% | 70% | 11% | 100% | 46% | 89% | 0% | 0% | 2%
2026 | 100% | 100% | 100% | 100% | 100% | 59% | 53% | 0% | 100% | 94% | 60% | 73% | 71% | 11% | 100% | 46% | 89% | 0% | 0% | 2%
2027 | 100% | 100% | 100% | 100% | 100% | 59% | 54% | 0% | 100% | 94% | 61% | 73% | 73% | 12% | 100% | 46% | 89% | 0% | 0% | 1%
2028 | 100% | 100% | 100% | 100% | 100% | 57% | 56% | 0% | 100% | 94% | 62% | 74% | 77% | 16% | 100% | 46% | 89% | 0% | 0% | 4%
2029 | 100% | 100% | 100% | 100% | 100% | 58% | 62% | 0% | 100% | 94% | 62% | 75% | 82% | 16% | 100% | 46% | 89% | 0% | 0% | 7%
2030 | 100% | 100% | 100% | 100% | 100% | 58% | 68% | 0% | 100% | 94% | 63% | 77% | 87% | 17% | 100% | 46% | 89% | 0% | 0% | 9%
2031 | 100% | 100% | 100% | 100% | 100% | 59% | 76% | 0% | 100% | 94% | 65% | 77% | 91% | 18% | 100% | 46% | 89% | 0% | 0% | 9%
2032 | 100% | 100% | 100% | 100% | 100% | 59% | 85% | 0% | 100% | 94% | 68% | 77% | 95% | 20% | 100% | 46% | 89% | 0% | 0% | 11%
2033 | 100% | 100% | 100% | 100% | 100% | 60% | 80% | 0% | 100% | 94% | 70% | 77% | 97% | 23% | 100% | 46% | 89% | 0% | 0% | 14%
2034 | 100% | 100% | 100% | 100% | 100% | 61% | 83% | 0% | 100% | 94% | 71% | 77% | 99% | 26% | 100% | 46% | 89% | 0% | 0% | 14%
2035 | 100% | 100% | 100% | 100% | 100% | 62% | 84% | 0% | 100% | 94% | 70% | 77% | 100% | 29% | 100% | 45% | 89% | 0% | 0% | 14%

## Processing Capacity
TJ/day
Year | AP Woleebee | Bass | Bellevue | Condabri | Fairview | Gippsland | Gooimbah | Jordan | Kenya | Kogan | Moomba | Moranbah | Port Campbell | QC Woleebee | Ruby | Spring Gully | Sydney | Wallumbilla
2016 | 555 | 67 | 220 | 790 | 722 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2017 | 555 | 67 | 220 | 790 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2018 | 555 | 67 | 220 | 790 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2019 | 555 | 67 | 220 | 790 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2020 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 180 | 15 | 42
2021 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2022 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2023 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2024 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2025 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2026 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2027 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2028 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2029 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2030 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2031 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2032 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2033 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2034 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2035 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42

## Demand
PJ/annum
Year | Adelaide | AP LNG | Ballera | Bass | Brisbane | Canberra | Condabri | G LNG | Gippsland | Gladstone | Hallett | Hoskintown | Kogan | Melbourne | Moranbah | Mount Isa | Penola | Port Campbell | QC LNG | Sydney | Tasmania | Townsville | Wagga | Young
2016 | 68.0404 | 388.6903 | 0.014027 | 15.538 | 36.808 | 8.587 | 22.4704 | 305.1785 | 0.59218 | 50.5426 | 13.7601 | 15.8573 | 28.5081 | 159.7837 | 6.43 | 29.515 | 2.6258 | 41.7382 | 474.0337 | 95.8995 | 6.69 | 6.4289 | 0.17325 | 12.073
2017 | 63.0168 | 517.7737 | 0.015926 | 15.524 | 36.367 | 8.631 | 15.4294 | 389.2347 | 0.56268 | 50.0864 | 13.7231 | 14.2156 | 22.2075 | 158.9004 | 6.358 | 28.261 | 2.5514 | 39.6039 | 482.5016 | 96.2883 | 6.768 | 6.5047 | 0.091522 | 12.117
2018 | 51.2523 | 517.7737 | 0.034875 | 9.9664 | 36.066 | 8.622 | 7.2099 | 431.4858 | 0.56631 | 49.6626 | 13.6947 | 14.0667 | 17.8874 | 155.7311 | 6.291 | 28.131 | 2.5355 | 38.038 | 482.5016 | 91.2865 | 6.786 | 6.7383 | 0.14479 | 12.111
2019 | 44.4374 | 517.7737 | 0.017282 | 9.9091 | 22.081 | 8.578 | 7.3741 | 440.1743 | 0.59062 | 50.2192 | 13.5972 | 13.6096 | 18.3356 | 154.5466 | 6.25 | 28.083 | 2.4695 | 39.4535 | 482.5016 | 87.3493 | 6.844 | 6.5463 | 0.084836 | 12.081
2020 | 42.4286 | 519.1594 | 0.0080583 | 9.9149 | 22.096 | 8.487 | 7.562 | 441.3531 | 0.57533 | 50.3567 | 13.5363 | 13.92 | 18.2542 | 153.5579 | 6.419 | 30.8808 | 2.4355 | 39.0643 | 483.793 | 87.015 | 6.895 | 6.3485 | 0.05243 | 12.025
2021 | 42.3256 | 517.7923 | 0.021188 | 9.8615 | 22.023 | 8.375 | 7.5088 | 438.6298 | 0.5776 | 50.4203 | 13.4912 | 13.7527 | 18.5027 | 152.0581 | 6.569 | 30.387 | 2.4247 | 39.1733 | 482.4741 | 86.5212 | 6.939 | 6.9569 | 0.083323 | 11.935
2022 | 42.9929 | 517.8218 | 0.026911 | 9.7802 | 21.843 | 8.319 | 7.3869 | 438.6298 | 0.5638 | 50.2661 | 13.3731 | 14.328 | 18.2574 | 150.9349 | 6.68 | 27.517 | 2.4064 | 39.2049 | 482.4302 | 86.7355 | 6.977 | 8.6419 | 0.44605 | 11.865
2023 | 44.0391 | 517.8514 | 0.04085 | 9.836 | 22.019 | 8.347 | 7.5202 | 438.2787 | 0.71622 | 50.4916 | 13.454 | 13.9186 | 18.7578 | 151.5481 | 6.694 | 27.672 | 2.4504 | 38.649 | 482.3863 | 88.5296 | 7.01 | 9.7011 | 1.239 | 11.906
2024 | 45.2052 | 519.2669 | 0.061084 | 9.9193 | 22.299 | 8.428 | 7.2361 | 439.4523 | 0.9029 | 50.7588 | 13.5488 | 13.9769 | 18.4961 | 152.4712 | 6.715 | 27.367 | 2.4861 | 38.88 | 483.6334 | 89.9449 | 7.038 | 10.2461 | 1.6659 | 11.999
2025 | 45.7879 | 517.9105 | 0.062933 | 10.0113 | 22.586 | 8.506 | 7.663 | 437.5709 | 1.1464 | 51.033 | 13.6652 | 13.856 | 19.3219 | 153.1465 | 6.737 | 27.579 | 2.4872 | 38.7569 | 482.2985 | 91.0831 | 7.061 | 10.7885 | 1.9554 | 12.087
2026 | 45.3243 | 517.9401 | 0.067049 | 10.0801 | 22.856 | 8.584 | 7.4252 | 435.4704 | 1.1239 | 51.2906 | 13.6449 | 13.9195 | 19.2996 | 153.292 | 6.756 | 27.768 | 2.519 | 39.0501 | 482.2546 | 91.6864 | 7.079 | 11.0997 | 1.9243 | 12.173
2027 | 45.3407 | 517.9696 | 0.07067 | 10.144 | 23.144 | 8.658 | 7.5099 | 435.4704 | 1.0921 | 51.577 | 13.6314 | 14.1487 | 19.3367 | 153.452 | 6.778 | 27.984 | 2.5141 | 40.1243 | 482.2107 | 92.7592 | 7.092 | 11.8146 | 1.7064 | 12.256
2028 | 45.8734 | 519.3854 | 0.064569 | 10.2152 | 23.435 | 8.735 | 7.9695 | 436.6363 | 1.3896 | 51.8812 | 13.6097 | 13.9599 | 19.5103 | 153.661 | 6.801 | 28.196 | 2.5084 | 41.014 | 483.4573 | 95.0343 | 7.1 | 12.7793 | 1.3962 | 12.343
2029 | 48.6164 | 518.0288 | 0.10371 | 10.2959 | 23.733 | 8.82 | 9.2459 | 435.4704 | 1.9277 | 52.1829 | 13.628 | 14.2799 | 19.6838 | 154.4504 | 6.826 | 28.398 | 2.5274 | 39.4429 | 482.1228 | 97.7984 | 7.106 | 14.6154 | 1.6436 | 12.435
2030 | 50.5462 | 518.0583 | 0.14415 | 10.3892 | 24.038 | 8.911 | 11.5338 | 434.5007 | 2.9221 | 52.4826 | 13.6389 | 13.8206 | 20.7903 | 154.935 | 6.852 | 28.608 | 2.4477 | 40.0328 | 482.0789 | 101.426 | 7.109 | 16.3681 | 1.397 | 12.533
2031 | 52.7013 | 518.0879 | 0.18523 | 10.4839 | 24.344 | 9.004 | 13.7723 | 431.6231 | 3.0161 | 52.8115 | 13.6286 | 13.9733 | 21.8821 | 155.7904 | 6.878 | 28.82 | 2.4175 | 40.3385 | 482.035 | 105.3976 | 7.111 | 17.8343 | 1.3258 | 12.632
2032 | 55.7761 | 519.504 | 0.22963 | 10.5685 | 24.655 | 9.096 | 16.3125 | 432.7784 | 3.7077 | 53.1476 | 13.6899 | 14.0095 | 23.3544 | 156.9771 | 6.905 | 29.036 | 2.4353 | 39.7738 | 483.2812 | 109.4398 | 7.113 | 19.412 | 1.3962 | 12.731
2033 | 58.6385 | 518.147 | 0.2788 | 10.6534 | 24.967 | 9.187 | 18.7806 | 431.6231 | 3.4723 | 53.4648 | 13.6718 | 14.0869 | 24.7757 | 157.4736 | 6.933 | 29.254 | 2.4283 | 41.034 | 481.9472 | 112.7049 | 7.114 | 20.9063 | 1.594 | 12.827
2034 | 62.1774 | 518.1766 | 0.26293 | 10.7415 | 25.288 | 9.279 | 19.4212 | 431.6231 | 4.2426 | 53.7984 | 13.7126 | 14.2798 | 25.3352 | 158.6368 | 6.977 | 29.484 | 2.4526 | 40.7251 | 481.9033 | 118.934 | 7.114 | 29.1263 | 1.8241 | 12.927
2035 | 65.5502 | 518.2061 | 0.20901 | 10.8281 | 25.611 | 9.372 | 19.6211 | 431.6231 | 4.4275 | 54.1718 | 13.7304 | 15.4579 | 23.5925 | 159.2373 | 7.023 | 29.715 | 2.4466 | 40.3276 | 481.453 | 125.5697 | 7.113 | 39.7429 | 3.2508 | 13.026
Note: Demand at Wallumbilla has been aggregated with Demand at Kogan to protect confidentiality.