## New South Wales Summary
Disclaimer
This document is subject to an important disclaimer that limits or excludes AEMO's liability.
Please read the full disclaimer on the 'Disclaimer' tab of this workbook.
New South Wales Summary
Committed project developments
Gullen Range Wind Farm: Gullen Range Wind Farm Pty Ltd advises that this is a committed project. Construction at the site has commenced and commissioning is planned for July 2014.
Boco Rock Wind Farm: Boco Rock Wind Farm Pty Ltd advises that this is a committed project. Construction of the first phase of 113 MW at the site has commenced and commissioning is planned for December 2014.
Taralga Wind Farm: CBD Energy/Banco Santander advises that this 106.7 MW Wind Farm is a committed project. Construction at the site has commenced and commissioning is planned for October 2014.
Plant retirements
AEMO has not been advised of any plant retirements in New South Wales within the 10-year planning outlook.
Changes since the 2012 ESOO (existing generation)
Eraring Power Station: Eraring Energy advises that the upgrade of units 1 and 4 are progressing as follows:
• Unit 4 upgrade was completed in November 2012.
Hume Power Station: Hume has two 29 MW units located near the Victoria - New South Wales border, which can be dispatched to either region. As requested by Eraring Energy, Hume is now treated as two separate generators, with half the capacity is being dispatched to Victoria and half to New South Wales.
Wallerawang Power Station: Energy Australia advises that the Wallerawang plant has revised its available capacity from 500 MW to 1,000 MW (+500 MW) for summer 2013–14, with both units being available dependant on demand.
Liddell Power Station: Energy Australia advises that the Liddell plant has revised its available capacity from 2,060 MW to 2,020 MW (-40 MW) in summer and winter due to a reassessment of its plant capacity.
Tallawarra Power Station: Energy Australia advises that the Tallawarra's available capacity has been revised from 435 MW to 440 MW (+5 MW) in winter.
Colongra Power Station: Delta Electricity advises that the Colongra plant available capacity has been revised from 668 MW to 724 MR (+56 MW) in summer, based on operating with distillate fuel.
Capital East Solar Farm P1: Infigen's Capital East Solar Farm (0.13 MW) demonstration facility project is was completed in June 2013.
Plant limitations
Guthega Power Station: Snowy Hydro Ltd advises that Guthega's available capacity has been revised from 68 MW to 34 MW (-34 MW) for summer 2020-–21, due to major refurbishment of unit 2; and 68 MW to 34 MW (-34 MW) for summer 2021–22, due to major refurbishment of unit 1.
Upper Tumut Power Station: Snowy Hydro advises that Upper Tumut‘s output will be limited to:
• 544 MW during winter 2014 due to consecutive outages of unit 4.
• 534 MW during winter 2015 due to consecutive outages of unit 5.
• 462 MW during winter 2016 due to consecutive outages of units 2 and 8.
• 462 MW during winter 2017 due to consecutive outages of units 1 and 6.
• 462 MW during winter 2018 due to consecutive outages of units 3 and 7.
New South Wales existing and potential new developments by generation type (MW) data
Project type | CCGT | OCGT | Gas other | Coal | Biomass | Geothermal | Water | Solar | Wind | Other
Publically Announced | 210 | 2630 | 15 | 2700 | 6 | 0 | 0 | 495.37 | 5734.65 | 0
Advanced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0
Committed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 385.2 | 0
Existing | 597.9 | 1530 | 194.743 | 11383.8 | 63.9 | 0 | 2743.5 | 0.13 | 280.8 | 38.13
New South Wales existing and potential new developments by generation type (MW)

## Change Log
New South Wales Change Log
Lists all updates to new development projects and existing generation information since the 2012 ESOO published 9 August 2012.
Publication Date: | 2012-12-20
Eraring Power Station: Eraring Energy advises that the upgrade of unit 4 was completed in November 2012.
Publication Date: | 2013-02-22
Wallerawang Power Station: Energy Australia advises that the Wallerawang plant has revised its available capacity from 1,000 MW to 500 MW (-500 MW) for summer 2013–14 and winter 2013, due to the unit with DUID (dispatchable unit ID) WW7 being unavailable and only being brought back into service under extreme weather conditions.
Colongra Power Station: Delta Electricity advises that the Colongra plant available capacity has been revised from 668 MW to 724 MW (+56 MW) in summer, based on operating with distillate fuel.
Publication Date: | 2013-06-30
Wallerawang Power Station: Energy Australia advises that the Wallerawang plant available capacity has been revised from 500 MW to 1,000 MW (+500 MW) in summer 2013–14, where both units are available dependant on demand.
Liddell Power Station: Energy Australia advises that the Liddell plant available capacity has been revised from 2,060 MW to 2,020 MW (-40 MW) in summer and winter due to a reassessment of plant capacity.
Tallawarra Power Station: Energy Australia advises that the Tallawarra plant's available capacity has been revised from 435 MW to 440 MW (+5 MW) in winter.
Gullen Range Wind Farm: Gullen Range Wind Farm Pty Ltd advises that this is a committed project. Construction at the site has commenced and commissioning is planned for July 2014.
Capital East Solar Farm P1: Infigen's Capital East Solar Farm demonstration facility is a committed project. Construction at site has commenced.
Publication Date: | 2013-08-13
Boco Rock Wind Farm: Boco Rock Wind Farm Pty Ltd advises that this is a committed project. Construction of the first phase of 113 MW at the site has commenced and commissioning is planned for December 2014.
Taralga Wind Farm: CBD Energy/Banco Santander advises that this 106.7 MW Wind Farm is a committed project. Construction at the site has commenced and commissioning is planned for October 2014.
Publication Date: | 2013-11-15
Capital East Solar Farm P1: Infigen's Capital East Solar Farm (0.13 MW) demonstration facility project is was completed in June 2013.
Broken Hill: AGL Energy Limited advises that both the Broken Hill (53 MW) large-scale solar photovoltaic (PV) project is set to proceed after achieving financial close. Construction of the Broken Hill project is expected to commence in July 2014, and is scheduled to be completed around November 2015
Nyngan: AGL Energy Limited advises that both the Nyngan (102 MW) large-scale solar photovoltaic (PV) projects is set to proceed after achieving financial close. Construction of the Nyngan project is expected to commence in February 2014, with completion scheduled by mid 2015.
Royalla Solar Farm: Royalla Asset Pty Ltd ATF Royalla Asset Trust advises that Royalla Solar Farm (20 MW) in ACT is now classified as a committed project, and construction at the site has commenced, with full commissioning planned for August 2014.
Onesun Capital Solar Farm: Elementus Energy Pty Ltd advises that Onesun Capital Solar Farm (7 MW) in ACT expects construction to commence in June 2014, with full commissioning planned for April 2015.
Mugga Lane Solar Facility: Zhenfa Canberra Solar Farm One Pty Ltd advises that Mugga Lane Solar Facility (13 MW) in ACT expects construction to commence in June 2014, with full commissioning planned for Q4 2014.

## Existing S & SS Generation
Existing & committed scheduled and semi-scheduled generation
Power Station | Owner | Unit Numbers and Nameplate Capacity (MW) | Installed | Plant Type | Fuel | Dispatch Type
Capacity (MW)
Bayswater | Macquarie Generation | 4 x 660 | 2640 | Steam Sub Critical | Black Coal | S
Blowering | Snowy Hydro Ltd | 1 x 80 | 80 | Hydro - Gravity | Water | S
Colongra | Delta Electricity | 4 x 181 | 724 | OCGT | Natural Gas Pipeline | S
Eraring | Eraring Energy | 4 x 720 | 2880 | Steam Sub Critical | Black Coal | S
Gunning | Gunning Wind Energy Developments | 31 x 1.5 | 46.5 | Wind - Onshore | Wind | SS
Guthega | Snowy Hydro Ltd | 2 x 30 | 60 | Hydro - Gravity | Water | S
Hume NSW | Eraring Energy | 1 x 29 | 29 | Hydro - Gravity | Water | S
Hunter Valley GT | Macquarie Generation | 2 x 25 | 50 | OCGT | Fuel Oil | S
Liddell | Macquarie Generation | 4 x 500 | 2000 | Steam Sub Critical | Black Coal | S
Mt Piper | Delta | 2 x 700 | 1400 | Steam Sub Critical | Black Coal | S
Redbank | Redbank Energy Ltd | 1 x 143.8 | 143.8 | Steam Sub Critical | Black Coal | S
Shoalhaven | Eraring Energy | 2 x 80 2 x 40 | 240 | Pump Storage | Water | S
Smithfield Energy Facility | Smithfield Power Partnership | 1 x 62 3 x 36.3 | 170.9 | CCGT | Natural Gas Pipeline | S
Tallawarra | EnergyAustralia | 1 x 420 | 420 | CCGT | Natural Gas Pipeline | S
Tumut 3 | Snowy Hydro Ltd | 6 x 250 | 1500 | Hydro - Gravity | Water | S
Upper Tumut | Snowy Hydro Ltd | 4 x 82 4 x 72 | 616 | Hydro - Gravity | Water | S
Uranquinty | Origin Energy Uranquinty Power Pty Ltd | 4 x 166 | 664 | OCGT | Natural Gas Pipeline | S
Vales Point B | Delta Electricity | 2 x 660 | 1320 | Steam Sub Critical | Black Coal | S
Wallerawang C | Delta | 2 x 500 | 1000 | Steam Sub Critical | Black Coal | S
Woodlawn Wind Farm | Woodlawn Wind Pty Ltd | 23 x 2.1 | 48.3 | Wind - Onshore | Wind | SS
Committed
Gullen Range | Gullen Range Wind Farm Pty Ltd | 56 x 2.5 17 x 1.5 | 165.5 | Wind - Onshore | Wind | SS
Boco Rock Wind Farm | Boco Rock Wind Farm Pty Ltd | 67 x 1.8 | 113 | Wind - Onshore | Wind | SS
Taralga | CBD Energy/Banco Santander | 21 x 2 21 x 1.8 9 x 3 | 106.7 | Wind - Onshore | Wind | SS
Total |  |  | 16417.7

## Summer Scheduled Capacities
Summer aggregate available scheduled and semi-scheduled generation – New South Wales (MW)
Power Station | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Dispatch Type
Barcaldine | –14 | –15 | –16 | –17 | –18 | –19 | –20 | –21 | -22 | -23 | S
Bayswater | 2720.1 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | S
Blowering | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | S
Colongra | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | S
Eraring | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | S
Gunning | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | SS
Guthega | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 34 | 34 | 68 | S
Hume NSW | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | S
Hunter Valley GT | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | S
Liddell | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | S
Mt Piper | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | S
Redbank | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | S
Shoalhaven | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | S
Smithfield Energy Facility | 162 | 162 | 162 | 162 | 162 | 162 | 162 | 162 | 162 | 162 | S
Tallawarra | 415 | 415 | 415 | 415 | 415 | 415 | 415 | 415 | 415 | 415 | S
Tumut 3 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | S
Upper Tumut | 544 | 534 | 462 | 462 | 462 | 616 | 616 | 616 | 616 | 616 | S
Uranquinty | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | S
Vales Point B | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | S
Wallerawang C | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | S
Woodlawn Wind Farm | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | SS
Committed Projects
Gullen Range | 0 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | SS
Boco Rock Wind Farm | 0 | 113 | 113 | 113 | 113 | 113 | 113 | 113 | 113 | 113 | SS
Taralga | 0 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | SS
Total | 16265.9 | 16641.1 | 16569.1 | 16569.1 | 16569.1 | 16723.1 | 16723.1 | 16689.1 | 16689.1 | 16723.1
The table above lists the latest summer capacities for New South Wales generation. Summer conditions relate to statistically predicted contribution under 10% POE maximum demand conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. AEMO refers to this as the "firm contribution" from wind generators during peak periods. For 2012–13 these figures have been updated to 2.0% of the installed capacity during summer, and 4.1% during winter compared to the 2011–12 contribution factors.
The two tables below have been included to better represent supply availability in New South Wales by taking into account the firm contribution by wind. The Summer aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm wind generation. The Summer total available semi-scheduled capacity by power station table lists the total available capacity for semi-scheduled wind generation for the summer period. The total available refers to the maximum amount that the wind farms can generate at the summer reference temperatures.
Summer aggregate scheduled and firm semi-scheduled generation – New South Wales (MW)
Power Station | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Dispatch Type
Barcaldine | –14 | –15 | –16 | –17 | –18 | –19 | –20 | –21 | -22 | -23 | S
Bayswater | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | S
Blowering | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | S
Colongra | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | S
Eraring | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | S
Guthega | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 34 | 34 | 68 | S
Hume NSW | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | S
Hunter Valley GT | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | S
Liddell | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | S
Mt Piper | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | S
Redbank | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | S
Shoalhaven | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | S
Smithfield Energy Facility | 162 | 162 | 162 | 162 | 162 | 162 | 162 | 162 | 162 | 162 | S
Tallawarra | 415 | 415 | 415 | 415 | 415 | 415 | 415 | 415 | 415 | 415 | S
Tumut 3 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | S
Upper Tumut | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | S
Uranquinty | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | S
Vales Point B | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | S
Wallerawang C | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | S
Firm Wind Capacity | 1.896 | 9.602 | 9.602 | 9.602 | 9.602 | 9.602 | 9.602 | 9.602 | 9.602 | 9.602 | SS
Total | 16244.896 | 16252.602 | 16252.602 | 16252.602 | 16252.602 | 16252.602 | 16252.602 | 16218.602 | 16218.602 | 16252.602
Summer aggregate available semi-scheduled generation
Power Station | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Dispatch Type
Barcaldine | –14 | –15 | –16 | –17 | –18 | –19 | –20 | –21 | -22 | -23 | S
Gunning | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | SS
Woodlawn Wind Farm | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | SS
Committed Projects
Gullen Range | 0 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | SS
Boco Rock Wind Farm | 0 | 113 | 113 | 113 | 113 | 113 | 113 | 113 | 113 | 113 | SS
Taralga | 0 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | SS
Total | 94.8 | 480.1 | 480.1 | 480.1 | 480.1 | 480.1 | 480.1 | 480.1 | 480.1 | 480.1

## Winter Scheduled Capacities
Winter aggregate available scheduled and semi-scheduled generation – New South Wales (MW)
Project Station | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Dispatch Type
Bayswater | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | S
Blowering | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | S
Colongra | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | S
Eraring | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | S
Gunning | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | SS
Guthega | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S
Hume NSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S
Hunter Valley GT | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | S
Liddell | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | S
Mt Piper | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | S
Redbank | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | S
Shoalhaven | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | S
Smithfield Energy Facility | 178 | 178 | 178 | 178 | 178 | 178 | 178 | 178 | 178 | 178 | S
Tallawarra | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | S
Tumut 3 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | S
Upper Tumut | 544 | 534 | 462 | 462 | 462 | 616 | 616 | 616 | 616 | 616 | S
Uranquinty | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | S
Vales Point B | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | S
Wallerawang C | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | S
Woodlawn Wind Farm | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | SS
Committed Projects
Gullen Range | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | SS
Boco Rock Wind Farm | 0 | 113 | 113 | 113 | 113 | 113 | 113 | 113 | 113 | 113 | SS
Taralga | 0 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | SS
Total | 16478.3 | 16688.1 | 16616.1 | 16616.1 | 16616.1 | 16770.1 | 16770.1 | 16770.1 | 16770.1 | 16770.1
The table above lists the latest winter capacities for New South Wales generation.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. AEMO refers to this as the "firm contribution" from wind generators during peak periods. For 2013–12 these figures have been updated to 2.0% of the installed capacity during summer, and 4.1% during winter compared to the 2011–12 contribution factors.
The two tables below have been included to better represent supply availability in New South Wales, by taking into account the firm contribution by wind. The Winter aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm wind generation. The Winter total available semi-scheduled capacity by power station table lists the total available capacity for semi-scheduled wind generation for the summer period. The total available refers to the maximum amount the wind farms can generate from the wind farms at the summer reference temperatures.
Winter aggregate scheduled and firm semi-scheduled generation – New South Wales (MW)
Project Station | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Dispatch Type
Bayswater | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | S
Blowering | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | S
Colongra | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | S
Eraring | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | S
Guthega | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S
Hume NSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S
Hunter Valley GT | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | S
Liddell | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | S
Mt Piper | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | S
Redbank | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | S
Shoalhaven | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | S
Smithfield Energy Facility | 178 | 178 | 178 | 178 | 178 | 178 | 178 | 178 | 178 | 178 | S
Tallawarra | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | S
Tumut 3 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | S
Upper Tumut | 544 | 534 | 462 | 462 | 462 | 616 | 616 | 616 | 616 | 616 | S
Uranquinty | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | S
Vales Point B | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | S
Wallerawang C | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | S
Firm Wind Capacity | 10.6723 | 19.6841 | 19.6841 | 19.6841 | 19.6841 | 19.6841 | 19.6841 | 19.6841 | 19.6841 | 19.6841 | SS
Total | 16228.6723 | 16227.6841 | 16155.6841 | 16155.6841 | 16155.6841 | 16309.6841 | 16309.6841 | 16309.6841 | 16309.6841 | 16309.6841
Winter aggregate available semi-scheduled generation
Project Station | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Dispatch Type
Gunning | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | SS
Woodlawn Wind Farm | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | SS
Committed Projects
Gullen Range | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | SS
Boco Rock Wind Farm | 0 | 113 | 113 | 113 | 113 | 113 | 113 | 113 | 113 | 113 | SS
Taralga | 0 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | SS
Total | 260.3 | 480.1 | 480.1 | 480.1 | 480.1 | 480.1 | 480.1 | 480.1 | 480.1 | 480.1

## New Developments
Projects under development – New South Wales
Project | Owner | Unit ID | Fuel Type | Generation Type | Land | Equip | Plan | Finance | Date | Unit Status | Nameplate Capacity (MW) | Dispatch Type | Commissioning Start Date
Bamarang Power station | Infratil Energy Australia Pty Ltd | 1-2 | Natural Gas Pipeline | OCGT | [5 empty] | Pub An | 320 | S | TBA
Bango Wind Farm | Bango Wind Farm Pty Ltd | up to 150 | Wind | Wind - Onshore | [5 empty] | Pub An | 200 | SS | TBA
Bannaby Gas Fired Power Station | Snowy Hydro Ltd | 1 | Natural Gas Pipeline | OCGT | [5 empty] | Pub An | 600 | S | TBA
Bayswater B | Macquarie Generation | All Units | Black Coal | Steam Super Critical | [5 empty] | Pub An | 2000 | S | TBA
Ben Lomond | AGL Energy | 1-67 | Wind | Wind - Onshore | [5 empty] | Pub An | 200 | SS | TBA
Birrema Wind Farm | Epuron Pty Ltd | Units 1-80 | Wind | Wind - Onshore | [5 empty] | Pub An | 240 | SS | TBA
Boco Rock Wind Farm | Boco Rock Wind Farm Pty Ltd | 1-67 | Wind | Wind - Onshore | ü | ü | ü | ü | ü | Com | 113 | SS | 2014-12-01
|  | 68-122 | Wind | Wind - Onshore | [5 empty] | Pub An | TBA | SS | TBA
Bodangora Wind Farm | Infigen Energy | Units 1-33 | Wind | Wind - Onshore | [5 empty] | Pub An | 100 | SS | TBA
Box Hill | AGL Energy | 8-10 | Wind | Wind - Onshore | [5 empty] | Pub An | 25 | NS | TBA
Broken Hill Solar Farm | AGL Energy Limited | Units 1-42 | Solar | PV panels |  |  |  | ü | ü | Pub An | 53 | SS | 2015-11-30
Buronga | International Power Pty Ltd | Station | Natural Gas Pipeline | OCGT | [5 empty] | Pub An | 150 | S | TBA
Capital 2 Wind Farm | Infigen Energy | Units 1-33 | Wind | Wind - Onshore | [5 empty] | Pub An | 100 | SS | 2015-04-01
Capital East Solar Farm P2 | Infigen Energy | Inverters 2-4 | Solar | PV panels | ü |  |  |  |  | Pub An | 0.37 | NS | TBA
Capital Solar Farm | Infigen Suntech Australia Pty Ltd | Inverters 1- 66 | Solar | PV panels | [5 empty] | Pub An | 50 | SS | TBA
Chipping Norton Waste to Energy | Benedict Industries PL | 1 | Biomass recycled municipal and industrial material | Steam Sub Critical | ü |  |  |  |  | Pub An | 6 | NS | 2015-09-01
Collector | Ratch Australia | Station | Wind | Wind - Onshore | [5 empty] | Pub An | 200-235 | SS | 2015-12-01
Conroys Gap | Conroys Gap Wind Farm Pty Ltd | 1-15 | Wind | Wind - Onshore | [5 empty] | Pub An | 30 | SS | TBA
Crookwell 2 | Crookwell Development Pty Ltd | 46 | Wind | Wind - Onshore | ü |  | ü |  |  | Pub An | 92 | SS | TBA
Crookwell 3 | Crookwell Development Pty Ltd | Units 1-30 | Wind | Wind - Onshore | ü |  |  |  |  | Pub An | 60 | SS | TBA
Crudine Ridge Wind Farm | Crudine Ridge Wind Farm Pty Ltd | 1-106 | Wind | Wind - Onshore | [5 empty] | Pub An | 135 | SS | TBA
Dalton | AGL | 1-2 | Natural Gas Pipeline | OCGT | ü |  |  |  |  | Pub An | 500 | S | TBA
Flyers Creek Wind Farm | Infigen Energy | Units 1-43 | Wind | Wind - Onshore | [5 empty] | Pub An | 129 | SS | 2016-01-01
Glen Innes Wind Farm | Glen Innes WindPower Pty Ltd | Units 1-25 | Wind | Wind - Onshore | ü |  |  |  |  | Pub An | 50-75 | SS | TBA
Gloucester Gas Project | AGL Energy | UNKNOWN | Natural Gas - Unprocessed | Compression Reciprocating Engine | ü |  |  |  |  | Pub An | 15 | SS | TBA
Golspie Wind Farm | Golspie Wind Farm Pty Ltd | 1-100 | Wind | Wind - Onshore | [5 empty] | Pub An | 250 | SS | TBA
Gullen Range | Gullen Range Wind Farm Pty Ltd | 1-73 | Wind | Wind - Onshore | ü | ü | ü | ü | ü | Com | 165.5 | SS | 2014-07-01
Kyoto Energy Park | Pamada Pty Ltd | Units 1-25 | Wind | Wind - Onshore | [5 empty] | Pub An | 45.75 | SS | TBA
Leafs Gully | AGL Energy | Units 1-2 | Natural Gas Pipeline | OCGT | [5 empty] | Pub An | 360 | S | TBA
Liverpool Range Wind Farm | EPURON Pty Ltd | Units 1-400 | Wind | Wind - Onshore | [5 empty] | Pub An | 1200 | SS | TBA
Manildra Photovoltaic Solar Farm | Infigen Suntech Australia Pty Ltd | Inverters 1-66 | Solar | PV panels | [5 empty] | Pub An | 50 | SS | TBA
Moree Photovoltaic Solar Farm | Infigen Energy | Inverters 1-79 | Solar | PV panels | [5 empty] | Pub An | 60 | SS | 2018-03-01
Moree Solar PV concept | Moree Solar Farm | tbc | Solar | PV panels | [5 empty] | Pub An | 60 | NS | TBA
Mugga Lane Solar Facility | Zhenfa Canberra Solar Farm One Pty Ltd | 1 | Solar | PV panels |  |  |  | ü |  | Pub An | 13 | NS | TBA
Munmorah Rehabilitation | Delta Electricity | All Units | Black Coal | Steam Sub Critical | [5 empty] | Pub An | 700 | S | TBA
Narrabri 1 | East Coast Power Pty Ltd | 1 | Natural Gas Pipeline | CCGT | [5 empty] | Pub An | 30 | NS | TBA
Narrabri 2 | East Coast Power Pty Ltd | 1 | Natural Gas Pipeline | CCGT | [5 empty] | Pub An | 180 | S | TBA
Nyngan | AGL Energy Limited | 1-81 | Solar | PV panels |  |  |  | ü | ü | Pub An | 102 | SS | 2015-07-01
Nyngan Photovoltaic Solar Farm | Infigen Suntech Australia Pty Ltd | Inverters 1-132 | Solar | PV panels | [5 empty] | Pub An | 100 | SS | TBA
OneSun Capital | Elementus Energy Pty Ltd | 1-7 | Solar | PV panels | ü |  |  | ü |  | Pub An | 7 | NS | TBA
Paling Yards | Union Fenosa Wind Australia | Units 1-56 | Wind | Wind - Onshore | ü |  |  |  |  | Pub An | 200 | SS | TBA
Parkes Peaking | International Power Pty Ltd | 1-3 | Natural Gas Pipeline | OCGT | [5 empty] | Pub An | 150 | S | TBA
Royalla Solar Farm | Royalla Asset Pty Ltd ATF Royalla Asset Trust | 1-20 | Solar | PV panels | ü | ü |  | ü | ü | Adv | 20 | NS | 2014-08-01
Rugby Wind Farm | Wind Lab Developments | 1-52 | Wind | Wind - Onshore | [5 empty] | Pub An | 166.4 | SS | TBA
Rye Park Wind Farm | Rye Park Wind Farm Pty Ltd | Unit 1 - 126 | Wind | Wind - Onshore | [5 empty] | Pub An | 378 | SS | TBA
Sapphire Wind Farm | Sapphire Wind Farm Pty Ltd | 125-159 | Wind | Wind - Onshore | ü |  |  |  |  | Pub An | 319 | SS | TBA
Silverton Wind Farm | Silverton Wind Farm Developments Pty Ltd | 1-105 | Wind | Wind - Onshore | [5 empty] | Pub An | 250 | SS | TBA
Taralga | CBD Energy/Banco Santander | 1-51 | Wind | Wind - Onshore | ü | ü | ü | ü | ü | Com | 106.7 | SS | 2014-10-01
Tomago GT | Macquarie Generation | station | Natural Gas Pipeline | OCGT | [5 empty] | Pub An | TBA | S | TBA
Uungula Wind Farm | Uungula Wind Farm Pty Ltd | 1-249 | Wind | Wind - Onshore | [5 empty] | Pub An | 622.5 | SS | TBA
Wellington | ERM Power Limited | 1-2 | Coal Seam Methane | OCGT | [5 empty] | Pub An | 550 | S | TBA
White Rock Wind Farm | White Rock Wind Farm Pty Ltd | 1-119 | Wind | Wind - Onshore | [5 empty] | Pub An | 238 | SS | TBA
Yass Valley Wind Farm | Yass Valley Wind Farm Pty Ltd | 1-148 | Wind | Wind - Onshore | [5 empty] | Pub An | 444 | SS | TBA

## Non-Scheduled Generation
Existing non-scheduled generation – New South Wales
Power Station | Owner | Fuel Type | Technology Type | Nameplate Capacity (MW)
101 Miller St | Cogent Energy | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 2.4
133 Castleragh St | Cogent Energy | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 0.8
20 Bond Street | Cogent Energy | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 0.6
40 Mount St | Cogent Energy | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 0.8
Appin | EDL CSM NSW Pty Ltd | Waste Coal Mine Gas | Spark Ignition Reciprocating Engine | 59.74
Awaba | LMS Energy Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 1.123
Bankstown Sports Club | Bankstown Sports Club | Diesel | Compression Reciprocating Engine | 2.14
Belconnen | EDL LFG ACT Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 1.03
Belrose | EDL LFG NSW Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 1
Blackmores | Cogent Energy | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 0.8
Blayney | Eraring Energy | Wind | Wind - Onshore | 9.9
Broadwater | Ferrier Hodgeson, Sunshine Electricity joint venture in receivership | Bagasse | Steam Sub Critical | 30
Broken Hill GT | Essential Energy | Diesel | OCGT | 50
Brown Mountain | Eraring Energy | Water | Hydro - Gravity/Run of River | 5.2
Burrendong | AGL | Water | Hydro - Gravity | 19
Burrinjuck | Eraring Energy | Water | Hydro - Gravity | 27.2
Capital East Solar Farm P1 | Infigen Energy | Solar | PV panels | 0.13
Capital Wind Farm | Renewable Power Ventures Pty Ltd | Wind | Wind - Onshore | 140.7
Charlestown Square Cogeneration | GPT RE Limited | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 2.808
Condong | Ferrier Hodgeson, Sunshine Electricity joint venture in receivership | Bagasse | Steam Sub Critical | 30
Copeton | AGL | Water | Hydro - Gravity | 20
Crookwell | Eraring Energy | Wind | Wind - Onshore | 4.8
Cullerin Range Wind Farm | Cullerin Range Wind Farm Pty Ltd | Wind | Wind - Onshore | 30
EarthPower Biomass Plant | EarthPower Technologies Sydney Pty Ltd | Biomass recycled municipal and industrial material | Spark Ignition Reciprocating Engine | 3.9
Eastern Creek | EDL LFG NSW PTY LTD | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 5.06
Eastern Creek 2 Gas Utilisation Facility | LMS Energy PTY LTD | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 7.861
Eraring GT | Eraring Energy | Diesel | OCGT | 42
Erskine Park | Cogent Energy | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 0.4
Glenbawn | AGL | Water | Hydro - Gravity | 5
Glennies Creek | Envirogen Oaky Pty Ltd | Waste Coal Mine Gas | Compression Reciprocating Engine | 11
Grange Avenue | EDL LFG NSW PTY LTD | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 1.26
Hunter Economic Zone | Infratil Energy Australia Pty Ltd | Diesel | Compression Reciprocating Engine | 29
Jacks Gully | EDL LFG NSW PTY LTD | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 2.3
Jindabyne | Snowy Hydro Ltd | Water | Hydro - Gravity | 1.1
Jounama | Snowy Hydro Ltd | Water | Hydro - Gravity | 14.4
Keepit | Eraring Energy | Water | Hydro - Gravity | 6
Kooragang | Ausgrid | Wind | Wind - Onshore | 0.6
Lucas Heights I | EDL LFG NSW Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 5.39
Lucas Heights II Stage 2 | EDL LFG NSW Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 17.25
Mugga Lane | EDL LFG ACT Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 3.45
Nine Network Willoughby | Nine Network | Diesel | Compression Reciprocating Engine | 3.2
Nymboida | Essential Energy | Water | Hydro - Gravity | 33.6
Oaky | Essential Energy | Water | Hydro - Gravity | 4.8
Pindari | AGL | Water | Hydro - Gravity | 5.7
St George Leagues Club | St George Leagues Club | Diesel | Compression Reciprocating Engine | 1.48
Summer Hill | LMS Energy PTY LTD | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 2.246
Tahmoor | Envirogen Pty Lld | Coal Seam Methane | CCGT | 7
Teralba | Envirogen Pty Ltd | Waste Coal Mine Gas | Spark Ignition Reciprocating Engine | 3
The Drop | Pacific Hydro Investments Pty Ltd | Water | Hydro - Gravity | 2.5
Tower | EDL NSW CSM Pty Ltd | Waste Coal Mine Gas | Spark Ignition Reciprocating Engine | 41.3
UNSW | Cogent Energy | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 0.8
Warragamba | Eraring Energy | Water | Hydro - Gravity | 50
West Illawarra Leagues Club | Wests Illawarra Leagues Club | Diesel | Compression Reciprocating Engine | 0.99
West Nowra Landfill Gas Power Generation Facility | AGL | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 1
Western Suburbs League Club Campbelltown | Western Suburbs League Club Campbelltown | Diesel | Compression Reciprocating Engine | 1.32
Wilga Park Power Station | Santos | Natural Gas - Unprocessed | Compression Reciprocating Engine | 16
Woodlawn Bioreactor Energy Generation | Veolia Environmental Services Aust P/L | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 5.325
Wyangala A | Hydro Power Pty Ltd | Water | Hydro - Gravity | 20
Wyangala B | AGL | Water | Hydro - Gravity | 4
Total |  |  |  | 800.403

## Background Information
Generation capacity in the NEM
Any person who owns, controls, or operates a generating system connected to a transmission or distribution network must register as a generator. A generating system’s registered capacity is the nominal megawatt (MW) capacity registered with AEMO.
The registered capacity is often the same as a generating system’s nameplate capacity. Nameplate capacity represents the maximum continuous output or consumption in MW, as specified by the manufacturer, or as subsequently modified. Nameplate capacity can change for a number of reasons, such as upgrade projects, age or a review of performance.
Under the National Electricity Rules (NER), generating systems are classified as scheduled, semi-scheduled, or non-scheduled.
Scheduled (S) generation refers to any generating system with an aggregate nameplate capacity of 30 MW or more, unless classified as semi-scheduled, or AEMO is permitted to classify it as non-scheduled.
Semi-scheduled (SS) generation refers to any generating system with intermittent output (such as wind or run-of-river hydro) with an aggregate nameplate capacity of 30 MW or more. A semi-scheduled classification gives AEMO the power to limit generation output that may exceed network capabilities, but reduces the participating generator’s requirement to provide information.
Non-scheduled (NS) generation refers to generating systems with an aggregate nameplate capacity of less than 30 MW and equal to or greater than 5 MW.
Generating systems greater than 30 MW may be classified as non-scheduled if:
· the primary purpose of the generating unit is for local use and the aggregate sent-out generation rarely exceeds 30 MW, or
· it is not practicable for the generating unit to participate in central dispatch.
A generating unit with a nameplate rating less than 30 MW may also be exempted by AEMO if it exports less than 20 GWh into the grid in a year or extenuating circumstances apply.
Measuring generation capacity
Generation capacity can be measured as either:
· as-generated capacity, representing the output measured at a generating unit’s terminals, or
· sent-out capacity, representing the output after allowing for energy consumption by auxiliary equipment (used to help produce and transmit the electricity).
For the purposes of the ESOO, and consistent with market systems, AEMO measures scheduled and semi-scheduled generation capacity on an as-generated basis. Non-scheduled generation is measured as sent-out because it can include co-generation plants (that usually produce both heat and electricity), where the bulk of the capacity is consumed locally.
Temperature effects on generation
The actual level of generation available at any particular time will depend on the condition of the generating plant. This includes factors such as age, outages, and wear. Another important factor with respect to output is the reduction in thermal efficiency as the temperature increases.
Because temperature can affect plant generation capacities in different ways, basing generation capacities on region-specific reference temperatures facilitates more effective assessment of available generation capacity under weather conditions frequently associated with high demand.
To produce the supply-demand outlook, AEMO — in consultation with the Jurisdictional Planning Bodies (JPBs) — undertakes the following:
· Uses historical data to estimate typical weather conditions, and to determine reference temperatures frequently associated with times of 10% probability of exceedence (POE) maximum demand in the major load centres for each region.
· Asks generators to provide generating unit capacities for summer and winter using these common reference temperatures. The table below lists the common reference temperatures AEMO applies for each region. In general, annual maximum demands occur during summer; the exception is Tasmania, where maximum demand occurs during winter. Summer maximum demand in Tasmania occurs during colder temperatures, resulting in a relatively low summer reference temperature.
Generation capacity reference temperatures
Region | Summer (°C) | Winter (°C)
Queensland | 37 | 15
New South Wales | 42 | 9
Victoria | 41 | 8
South Australia | 43 | 11
Tasmania | 7.7 | 1.2
Maximum capacity
Some thermal (generation that burns fuel) and non-thermal (renewable generation) generating systems can provide additional, short-term capacity that exceeds the registered capacity. This is known as maximum capacity.
Proposed generation in the NEM
In addition to capacity forecasts, generation plant owners advise AEMO about the status of generation projects currently under development in each region.
Proposed projects can be at different stages of development, and are categorised as follows:
· Committed projects, representing generation that is considered to be proceeding.
· Proposed projects, which are further identified as either:
- Advanced proposals, representing generation at an intermediate stage of development, or
- Publicly announced proposals, representing generation at an early stage of development.
Projects are categorised based on AEMO’s commitment criteria, which cover site acquisition, contracts for major components, planning approval, financing, and the date set for construction. Committed projects meet all five of the commitment criteria, advanced proposals meet at least three, and publicly announced proposals meet less than three.
Generation project commitment criteria
Category | Criteria
Site | The project proponent has purchased/settled/acquired (or commenced legal proceedings to purchase/settle/acquire) land for the construction of the project.
Major components | Contracts for the supply and construction of major plant or equipment components (such as generating units, turbines, boilers, transmission towers, conductors, and terminal station equipment) have been finalised and executed, including any provisions for cancellation payments.
Planning consents/construction approvals/EIS | The proponent has obtained all required planning consents, construction approvals, and licences, including completion and acceptance of any necessary environmental impact statements.
Finance | The financing arrangements for the proposal, including any debt plans, must have been concluded and contracts executed.
Final construction date set | Construction of the proposal must either have commenced or a firm commencement date must have been set.

## Disclaimer
Important Notice
Purpose
The purpose of this publication is to provide technical, market data and information regarding opportunities in the National Electricity Market.
AEMO publishes the Electricity Statement of Opportunities in accordance with clause 3.13.3(q) of the National Electricity Rules (Rules). This publication has been prepared by AEMO using information available at 31 July 2013, unless otherwise specified. Information made available after 31 July 2013 may have been included in this publication where practical.
Disclaimer
AEMO has made every effort to ensure the quality of the information in this publication but cannot guarantee that information, forecasts and assumptions are accurate, complete or appropriate for your circumstances. This publication does not include all of the information that an investor, participant or potential participant in the National Electricity Market might require, and does not amount to a recommendation of any investment.
Anyone proposing to use the information in this publication (including information and reports from third parties) should independently verify and check its accuracy, completeness and suitability for purpose, and obtain independent and specific advice from appropriate experts.
Accordingly, to the maximum extent permitted by law, AEMO and its officers, employees and consultants involved in the preparation of this publication:
· make no representation or warranty, express or implied, as to the currency, accuracy, reliability or completeness of the information in this publication; and
· are not liable (whether by reason of negligence or otherwise) for any statements, opinions, information or other matters contained in or derived from this publication, or any omissions from it, or in respect of a person’s use of the information in this publication.
Acknowledgement
AEMO acknowledges the support, co-operation and contribution of all participants in providing data and information used in this publication.
Copyright
© 2013 Australian Energy Market Operator Limited. The material in this publication may be used in accordance with the copyright permissions on AEMO’s website.