## Index
Overview
This file contains the unserved energy data results in Victoria presented in the 2017 NEM Electricity Statement of Opportunities.
Charts
Tab name | Description
USE Chart | Victoria supply adequacy
USE Risk Chart 1 | Risk of USE after extended unavailability of largest generator in Victoria
USE Risk Chart 2 | Risk of USE after extended unavailability of largest generator in South Australia
Tables
Tab name | Description
USE Data | Victoria supply adequacy
USE Risk Data 1 | Risk of USE after extended unavailability of largest generator in Victoria
USE Risk Data 2 | Risk of USE after extended unavailability of largest generator in South Australia

## USE Data
Victoria supply adequacy
Financial Year | Reliability Std | Committed and Existing Generators | Concentrated Renewables | Dispersed Renewables | High Demand | Range of USE
17–18 | 0.002% | 0.001694% | 0.001694% | 0.001694% | 0.002284% | 0.002284%
18–19 | 0.002% | 0.0006789% | 0.0005179% | 0.0005179% | 0.0009029% | 0.0009029%
19–20 | 0.002% | 0.0006142% | 0.0002402% | 0.0002402% | 0.0005293% | 0.0006142%
20–21 | 0.002% | 0.0001852% | 2.24e-05% | 0% | 0.0001341% | 0.0001852%
21–22 | 0.002% | 0.0001525% | 1.581e-05% | 0% | 0.0001691% | 0.0001691%
22–23 | 0.002% | 0.0001003% | 8.358e-06% | 0% | 0.0002314% | 0.0002314%
23–24 | 0.002% | 0.0002607% | 4.941e-05% | 5.618e-05% | 0.0005363% | 0.0005363%
24–25 | 0.002% | 0.0002239% | 9.832e-06% | 0% | 0.0004441% | 0.0004441%
25–26 | 0.002% | 0.0001983% | 3.81e-05% | 0% | 0.0005188% | 0.0005188%
26–27 | 0.002% | 0.0002877% | 1.042e-05% | 0% | 0.000976% | 0.000976%

## USE Risk Data 1
Risk of USE after extended unavailability of largest generator in Victoria
Outage | Region | Financial Year | Reliability Std | VIC Outage | Dispersed Renewables | Range of USE
VIC Outage | SA | 17–18 | 0.002% | 0.003067% | 0.001481% | 0.003067%
|  | 18–19 | 0.002% | 0.0002722% | 8.005e-05% | 0.0002722%
| VIC | 17–18 | 0.002% | 0.005583% | 0.001694% | 0.005583%
|  | 18–19 | 0.002% | 0.002205% | 0.0005179% | 0.002205%

## USE Risk Data 2
Risk of USE after extended unavailability of largest generator in South Australia
Outage | Region | Financial Year | Reliability Std | SA Outage | Dispersed Renewables | Range of USE
SA Outage | SA | 17–18 | 0.002% | 0.004796% | 0.001481% | 0.004796%
|  | 18–19 | 0.002% | 0.0006767% | 8.005e-05% | 0.0006767%
| VIC | 17–18 | 0.002% | 0.002151% | 0.001694% | 0.002151%
|  | 18–19 | 0.002% | 0.0007097% | 0.0005179% | 0.0007097%