## Index
Overview
This file contains the underlying data used in figures and tables from the 2017 South Australian Fuel and Technology Report (SAFTR). The figures are available in an accompanying zipped file of images.
Text-based tables and maps are not included in this file.
List of Tables
Table 1 Minimum LCOEs of natural gas, wind, and solar PV technologies
Table 2 List of existing generators by fuel type in South Australia
Table 3 Summary of South Australian generation projects and network investments
Table 4 South Australian gas consumption 2013–16
Table 5 Major gas pipelines relating to South Australia*
Table 6 Feedstock groupings in South Australia
Table 7 Existing bio-energy materials in South Australia
Table 8 Prospective bioenergy feedstocks in South Australia
Table 9 South Australian coal resources
Table 10 Development interest by technology in NEM regions
Table 11 Gas-fired generation technologies in South Australia as at 28 February 2017
Table 12 Publicly announced OCGT and CCGT in South Australia as at 28 February 2017
Table 13 Largest bioenergy projects
Table 14 Applications for electricity storage
Table 15 List of energy storage technologies
Table 16 Australian large-scale pumped hydro storage capacity as at 28 February 2017
Table 17 Prominent battery storage projects in South Australia
Table 18 List of battery rechargeable electric vehicles
Table 19 Total number of electric vehicles sold by April 2015
Table 20 Installed generation capacity in the NEM in terms of physical attributes as at June 2016
Table 21 Summary of potential technical solutions for the identified challenges
Table 22 LCOE and emissions comparison across renewable technologies
Table 23 LCOE and emissions comparison across non-renewable technologies
Table 24 LCOE and emissions comparison across storage technologies
Table 25 Generation technology frontier
Table 26 Input assumptions of each technology
Table 27 LCOE and emissions input data - renewable
Table 29 2017 minimum LCOE with carbon price in South Australia
Table 29 2017 minimum LCOE with carbon price in South Australia
List of Figures
Figure 1 South Australian registered capacity and generation output in 2015–16
Figure 2 South Australian registered capacity and generation output in July – December 2016
Figure 3 Advanced, committed, and developed capacities in the NEM regions from 2014–15 to 2016–17
Figure 6 South Australian total annual GPG gas consumption forecast and projected gas shortfalls
Figure 21 South Australian LCOE versus capacity factor
Figure 22 NEM LCOE versus capacity factor
Figure 23 South Australia emissions at minimum LCOE
Figure 24 NEM emissions at minimum LCOE

## Table 1
Back to Index tab
Table 1 Minimum LCOEs of natural gas, wind, and solar PV technologies
Technology | Minimum LCOE ($/MWh) | Assumed capacity factor (%)
Combined cycle (CCGT) | 83 | 83
Wind | 85 | 42
Solar PV (FFP) | 96 | 22
Solar PV (SAT) | 90 | 28
Solar PV (DAT) | 98 | 32
Open Cycle (OCGT) | 218 | 10

## Table 2
Back to Index tab
Table 2 List of existing generators by fuel type in South Australia
Fuel type | Power station | Installed capacity (MW)
Natural Gas Pipeline | Dry Creek GT | 156
| Hallett GT | 228.3
| Ladbroke Grove | 80
| Mintaro GT | 90
| Osborne | 180
| Pelican Point* | 478
| Quarantine | 224
| Torrens Island A | 480
| Torrens Island B | 800
Wind | Clements Gap | 56.7
| Hallett 4 North Brown Hill | 132.3
| Hallett 5 The Bluff WF | 52.5
| Hallett Stage 1 Brown Hill | 94.5
| Hallett Stage 2 Hallett Hill | 71.4
| Hornsdale Wind Farm Stage 1 | 102.4
| Hornsdale Wind Farm Stage 2 | 102.4
| Lake Bonney 2 Wind Farm | 159
| Lake Bonney 3 Wind Farm | 39
| Snowtown | 98.7
| Snowtown S2 | 270
| Waterloo | 130.8
| Canunda | 46
| Cathedral Rocks | 66
| Lake Bonney 1 Wind Farm | 80.5
| Mt Millar | 70
| Starfish Hill | 34.5
| Wattle Point | 90.75
Diesel | Angaston | 50
| Lonsdale | 20.7
| Port Lincoln GT | 73.5
| Port Stanvac 1 | 57.6
| Snuggery | 63
| Blue Lake Milling Power Plant | 0.505
| Tatiara Meats | 0.5
Landfill Methane / Landfill Gas | Pedler Creek | 3.09
| Wingfield 1 | 4.1
| Wingfield 2 | 4.1
Sewerage / Waste Water | Bolivar Waste Water Treatment | 10
Water | Terminal Storage Mini Hydro | 2.5
* Pelican Point Power Station has reduced capacity of 239 MW from 1 April 2015.

## Table 3
Back to Index tab
Table 3 Summary of South Australian generation projects and network investments
Project | Technology | Description
Committed | Wind | Hornsdale Wind Farm Stage 2 (102.4 MW)
Publicly announced new generation projects | Wind | Wind projects with a total capacity up to 3,109.4 MW • Barn Hill Wind Farm (124–186 MW) • Carmodys Hill Wind Farm (140 MW) • Ceres Project Wind Farm (up to 670 MW) • Exmoor Wind Farm (144 MW) • Hornsdale Wind Farm Stage 3 (109 MW) • Keyneton Wind Farm (105 MW) • Kongorong Wind Farm (100–240 MW) • Kulpara Wind Farm (60–150 MW) • Lincoln Gap Wind Farm (212.4 MW) • Palmer Wind Farm (309 MW) • Port Augusta Renewable Energy Park - Wind Farm (200 MW) • Stony Gap Wind Farm (119 MW) • Willogoleche Wind Farm (95–125 MW) • Woakwine Wind Farm (400 MW)
| Gas | Gas projects with a combined capacity of 780 MW • Pelican Point S2 Power Station (320 MW) • Leigh Creek Energy Project (460 MW)
| Solar* | Solar projects with overall capacity up to 945 MW • Aurora Solar Energy (110 MW) • Bungala Solar Power (220 MW) • Kingfisher Solar Storage (120 MW) • Port Augusta Renewable Energy Park - Solar (175 MW) • Port Augusta Solar (220 MW) • Taliem Bend - Solar (100 MW)
| Biomass | • Yorke Peninsula Biomass (15 MW)
| Diesel | • Tailem Bend - Diesel (28.8 MW)
| Pumped hydro storage | • Spencer Gulf Pumped Hydro Storage (100–200 MW) • Cultana Pumped Hydro Storage, Eyre Peninsula (TBD**)
Potential new interconnection*** | Network investment | • A new 275 kV link from Tailem Bend (SA) to Horsham (VIC), with a new 275 kV single circuit line from Tailem Bend to Tungkillo (SA), to provide increased interconnection (325 MW) from 2021 • New 275 kV link between Darlington Point (NSW) and Robertstown (SA) to provide increased interconnection (325 MW) from 2021 • Augmentation of QNI and VIC-NSW interconnectors
* Includes both solar thermal with storage, and solar PV projects.
**To be determined.
*** AEMO. National Transmission Network Development Plan. December 2016. Available: https://www.aemo.com.au/Electricity/National-Electricity-Market-NEM/Planning-and-forecasting/National-Transmission-Network-Development-Plan.

## Table 4
Back to Index tab
Table 4 South Australian gas consumption 2013–16
Calendar year | Calculation | Total gas consumption | Gas used for electricity generation (GPG)
|  | (PJ) | (PJ) | Percent of total
2013 | Actual | 96.82 | 58.33 | 60.25%
2014 | Actual | 86.31 | 49.04 | 56.82%
2015 | Actual | 78.23 | 43.16 | 55.17%
2016 | Actual | 75.17 | 38.56 | 51.3%
* Data from AEMO, National Electricity & Gas Forecasting dynamic interface. Available: http://forecasting.aemo.com.au/. Viewed: 20 December 2016.
Note: To access the South Australian data, please go to http://forecasting.aemo.com.au/, click Gas on the ribbon menu, and use the Filter button to select South Australia.

## Table 5
Back to Index tab
Table 5 Major gas pipelines relating to South Australia*
Gas pipeline | Length (km) | Year of first gas flow | Capacity reported as at December 2016 (TJ/d)*
South West Queensland Pipeline*** | 937 | 1996 | 384 (west), 340 (east)
Moomba to Adelaide Pipeline | 1185 | 1969 | 209 (South), 85 (North)
Moomba to Sydney Pipeline | 2030 | 1998 | 439 (South-East), 381 (North-West)
South East Australia Gas Pipeline | 680 | 2004 | 314
* Data from AEMO. Natural Gas Services Bulletin Board. Available: http://gbb.aemo.com.au/Reports/Standing%20Capacities.aspx. Viewed: 20 December 2016.
** Reported capacity from Gas Bulletin Board as at December 2016, viewed January 2017. Summer and winter seasonal capacities may vary.
*** Includes the Queensland – South Australia – New South Wales (QSN) Link.

## Table 6
Back to Index tab
Table 6 Feedstock groupings in South Australia
Feedstock | Constituents
Agricultural waste | · Livestock manure
· Abbottoir waste solids
· Other processing plants
· Crop and food residues from harvesting and processing
Horticultural waste | · Vegetables & fruit
· Shells, pips, trees
Energy crops | · Canola
· Planted mallee
· Woody weeds
· Planted fast growing foods (annual and perennial)
· Algae
Forest residues | · Plantation forests
· Saw mills residues
· Manufactured wood plant residues
Municipal waste | · Green organics, paper, timber
· Processed food

## Table 7
Back to Index tab
Table 7 Existing bio-energy materials in South Australia
Material | Actual Tonnes (t) / Volume (m3) or Nos. | Calorific Value (MJ/ kg or MJ/No.) | Moisture Content (%) | Comment
Timber | 984,000 tpa | 7.7 | 50
Poultry | 30,310,000 chickens | 96 |  | Slurry
Broadacre | 154,000 tpa | 14 | 15
Pigs | 225,000 pigs | 1580 |  | Slurry
Horticulture | 112,500 tpa | 10 | 50
Livestock | 15,200 cows | 3240 |  | Slurry
Dairy | 80,000 cows | 3240 |  | Slurry

## Table 8
Back to Index tab
Table 8 Prospective bioenergy feedstocks in South Australia
Feedstock | Potential Yields (Mtpa) | Calorific Value (MJ/ kg) | Moisture Content (%)
Arundo Donax | 93 | 7.6 | 50
Woody weeds | 150 | 7.7 | 50
Mallee | 23 | 7.7 | 50
Cumbungie | 4.2 | 10.7 | 35
Corn / Maize | 1.5 | 6.2 | 55
Phragmities | 4.2 | 11.7 | 30
Acacia Saligna | 5.7 | 8.2 | 50
Brassica Juncea | 1.2 | 6 | 50

## Table 9
Back to Index tab
Table 9 South Australian coal resources
Basin | Coal Type | EDR (Mt) | INF (Mt) | Total (Mt) | EDR (PJ) | INF (PJ) | Total (PJ) | Longitude | Latitude | Basin GJ/t
Arckaringa Basin | Black | 623 | 9292 | 9915 | 9471 | 141234 | 150704 | 134.45 | -28.29 | 15.2
Leigh Creek | Black | 135 | 317 | 452 | 2700 | 6336 | 9036 | 138.42 | -30.48 | 20
Saint Vincent Basin | Black | 0 | 560 | 560 | 0 | 8504 | 8504 | 137.76 | -34.14 | 15.2
Eucla Basin | Brown | 513 | 1746 | 2259 | 6413 | 21825 | 28238 | 128.61 | -32.06 | 12.5
Murray Basin | Brown | 0 | 13523 | 13523 | 0 | 133696 | 133696 | 142.74 | -35.94 | 9.9
Total |  | 1271 | 25437 | 26708 | 18584 | 311595 | 330178

## Table 10
Back to Index tab
Table 10 Development interest by technology in NEM regions
Technology | Development interest
| QLD | NSW | SA | TAS | VIC
Gas generation | P | P | P | × | P
Wind farms | P | P | P | P | P
Large-scale solar PV | P | P | P | × | P
Solar thermal | × | × | P | × | ×
Geothermal | × | × | × | × | ×
Bioenergy | P | P | P | × | ×
Hydroelectricity (including PHS) | P | × | P | × | ×
Ocean | × | × | × | × | P
Coal-fired generation | × | × | × | × | ×
Carbon capture and storage | P | × | P | × | P
Integrated gasification combined cycle | × | × | × | × | ×
Grid-scale storage | P | P | P | × | P

## Table 11
Back to Index tab
Table 11 Gas-fired generation technologies in South Australia as at 28 February 2017
Power station | Installed capacity (MW) | Technology type
Dry Creek GT | 156 | OCGT
Hallett GT | 228.3
Ladbroke Grove | 80
Mintaro GT | 90
Quarantine | 224
Osborne | 180 | CCGT
Pelican Point* | 478
Torrens Island A | 480 | Sub-critical steam turbine**
Torrens Island B | 800
* Pelican Point Power Station has reduced capacity of 239 MW from 1 April 2015.
** Torrens Island A and B power stations (1,280 MW) are classified steam sub-critical in AEMO’s Generation Information webpage.

## Table 12
Back to Index tab
Table 12 Publicly announced OCGT and CCGT in South Australia as at 28 February 2017
Power station | Nameplate capacity (MW) | Technology type | Fuel type
Pelican Point S2 | 320 | OCGT | Natural gas pipeline
Leigh Creek Energy project | 460 | CCGT | Coal seam methane

## Table 13
Back to Index tab
Table 13 Largest bioenergy projects
Technology | State | Owner | Location | Commission year | Capacity (MW)
Bagasse cogeneration | QLD | Sucrogen | Pioneer II | 2005 | 68
Black liquor | VIC | Australian Paper | Maryvale | 1976–89 | 54.5
Bagasse cogeneration | QLD | Sucrogen | Invicta | 1976–96 | 50.5
Bagasse cogeneration | QLD | Mackay Sugar Ltd | Racecource | 2013 | 38
Bagasse cogeneration | NSW | Capital Dynamics | Broadwater II | 2009 | 30

## Table 14
Back to Index tab
Table 14 Applications for electricity storage
| Application | Description
Generation | Seasonal storage | Storage over months, based on seasonal variability on the supply and demand sides of the energy system
| Inter-seasonal or weekly storage | Storage over days or weeks, for the loss of an interconnection or supply disruption
| Arbitrage | Storage over hours, between low-price periods and high priced periods
| Large-scale wind and PV grid integration | Storage to help integration of variable renewable energy by smoothing supply variability
System operation | Frequency regulation and load following | Provision or absorption of active power to balance the supply and demand under normal conditions
| Reserve capacity | Reserve capacity to compensate for a rapid, unexpected loss in generation
| Voltage-support | Provision or absorption of reactive power to maintain voltage levels
| Black start | Black start capabilities to allow electricity supply resources to restart without pulling electricity from the grid
Transmission and Distribution (T&D) | Congestion management and investment deferral | Storage technologies to relieve system congestion and defer construction of certain T&D infrastructure
| Voltage-support | Provision of minimal active power to damp voltage fluctuations on the distribution system
End use | Small-scale PV integration and increased self-consumption/ Tariff avoidance | Storage technologies installed at the customer level to allow energy supply from self-generation (e.g. from solar PV) to be shifted to meet the timing of demand and avoid high time-of-use charges
| Power quality | Storage technology installed at the customer level to protect customer loads from short-duration events that affect the quality of power
| Power reliability | Behind-the-meter storage to provide backup power supply
| Retail energy time shift | The battery can be charged during off-peak low-priced periods and discharge during peak high-priced periods
| Off-grid | Compact storage to supply power to consumers not connected to electric grid

## Table 15
Back to Index tab
Table 15 List of energy storage technologies
Technology |  | Description
Pumped hydro energy storage (PHS) |  | PHS plants comprise a low and high water reservoir. Water is pumped using electricity up to the high reservoir. The stored energy can be transformed back into electricity by letting the water fall from the high reservoir to drive a turbine.
PHS is a mature technology used widely on a large commercial scale. Topology is the main limitation for new-build, expansion or reservoir hydro upgrades. Costs also vary widely, depending on the specific location and works required.
Hydrogen (H2) |  | Electricity is stored as hydrogen by driving an electrolyser that produces hydrogen from air and water. Stored hydrogen can consequently power a fuel cell or combustion turbine and so be reconverted into electricity.
Total cycle efficiency is low due to the many conversion steps: electrolyser (efficiency 60%), hydrogen storage (90%), and CCGT (50%) – the final efficiency is less than 32%.
Compressed air energy storage (CAES) |  | CAES involves compressing and storing air, either in geological underground voids (e.g. salt caverns) or designated above-ground vessels. Electricity is transformed into thermal and mechanical energy as hot pressurised air. Later, the compressed air is heated by burning natural gas and then expanded in a gas turbine to generate electricity. The process of compressing air for storage generates heat.
Heat exchangers, underground pipes, and above-ground storage vessels could make CAES projects independent of geology and improve efficiencies, but will cost more.
Flywheel (FW) |  | Flywheels are powered by electricity and can store electrical energy as rotating inertia. The discharging process transforms the flywheel movement back into electricity through a generator with efficiencies of between 90% and 95%.
Super-capacitors (SC) |  | Super-capacitors store small electricity quantities in an electric field between two capacitor plates.
At present, only limited grid installations exist.
Superconducting magnetic energy storage (SMES) |  | SMES systems store energy in a magnetic field produced by a coil with multiple windings. They operate at very low temperature to minimise resistance.
Battery storage |  | Batteries can store electricity as electrochemical energy. A diverse set of battery technologies exist today, listed below.
| Lithium-based (Li-ion) | Li-ion batteries, due to their high-energy density, are already used for many small power stationary applications.
| Lead-acid (LA) | LA batteries are a mature technology used mainly as starters in automobiles and are the current leader in the industrial battery sector (e.g. uninterruptable power source and off-grid). The innovation potential is relatively small: limited lifetime and low energy density are major drawbacks.
| Sodium-sulphur (NaS) | NaS batteries are most suited for daily operation. They need to be kept at high operational temperature (250 oC to 350 oC), which can be maintained from the heat released by chemical reactions combined with efficient cell isolation.
| Sodium-nickel-chloride (NaNiCl2) | NaNiCl2 batteries are high-temperature battery devices similar to NaS. In charging the battery, salt (NaCl) and Nickel (Ni) are converted into Nickel-Chloride (NiCl2) and molten sodium (Na). The chemical reactions are reversed in the discharging process.
| Flow battery | Flow batteries are a unique category of batteries, composed of two electrolytes separated by an ion-selective membrane that allows only specific ions to pass during the charging or discharging process. The electrolyte can be stored in separate tanks and pumped into the battery as needed. Flow battery contains more parts than some other technologies but it can be fully discharged on a regular basis which allows a better lifetime.

## Table 16
Back to Index tab
Table 16 Australian large-scale pumped hydro storage capacity as at 28 February 2017
Power station | Region | Pump capacity (MW)
Wivenhoe | QLD | 500
Shoalhaven | NSW | 240
Tumut-3 | NSW | 600

## Table 17
Back to Index tab
Table 17 Prominent battery storage projects in South Australia
Project name | Capacity (kW) | Technology type | Status | Applications
RedFlow 300 kW Adelaide | 300 | Flow battery | Operational | Electric bill management,
electric supply reserve capacity
Kingfisher Project (Stage 1) | 20000 | Electro-chemical | Under construction | Renewables capacity firming, renewable energy time shift
Kingfisher Project (Stage 2) | 100000 | Electro-chemical | Under construction | Renewables capacity firming, renewable energy time shift

## Table 18
Back to Index tab
Table 18 List of battery rechargeable electric vehicles
Vehicle | Description
Battery Electric Vehicle (BEV) | BEVs are powered only by energy stored in batteries. Batteries are charged by plugging into the grid and the range of BEV is limited by the size of the battery.
Plug-in Hybrid Electric Vehicle (PHEV) | PHEVs combine both internal combustion engine (ICE) with an electric motor. Electrical battery is charged by plugging into the grid. The vehicle is primarily powered by the electric engine and after the battery is discharged, ICE will be used and the car functions much like a hybrid vehicle.

## Table 19
Back to Index tab
Table 19 Total number of electric vehicles sold by April 2015
| QLD | NSW & ACT | SA | VIC | TAS | NEM
BEVs | 90 | 170 | 171 | 268 | 13 | 712
PHEVs | 204 | 296 | 376 | 306 | 15 | 1197

## Table 20
Back to Index tab
Table 20 Installed generation capacity in the NEM in terms of physical attributes as at June 2016
Generation capacity (MW) (% of total) | Queensland | New South Wales | Victoria | South Australia | Tasmania
Synchronous (registered) | 12,459 (89%) | 15,416 (88%) | 11,050 (83%) | 2,999 (58%) | 2,672 (87%)
Non-synchronous (registered) | 12 (0.1%) | 897 (5%) | 1,230 (9%) | 1,473 (29%) | 308 (10%)
Non-synchronous (distributed) | 1,585 (11%) | 1,301 (7%) | 957 (7%) | 683 (13%) | 97 (3%)
Interconnection | Double-circuit AC interconnection NSW-Qld
3 cable DC connection NSW-Qld
5 AC lines connecting NSW-Vic
Double-circuit AC connection Vic-SA
DC connection Vic-SA
|  |  | DC connection Vic-Tas |  | DC connection Vic-Tas

## Table 21
Back to Index tab
Table 21 Summary of potential technical solutions for the identified challenges
Technical solution | Frequency control (including extreme |  |  | System strength
power system conditions)
| High RoCoF | Insufficient FCAS* | UFLS*/OFGS* operation (high RoCoF)
Synchronous condenser with or without flywheels (These can be new or retrofitted to existing / retiring plant.) | P |  | P | P
Synchronous generation / storage (Either new entrants or existing plant) | P |  | P | P
Batteries and other inverter-connected storage providing ancillary services | P | P |  | Uncertain
Wind generation providing ancillary services | P | P |  | Uncertain
PV and other inverter-connected generation providing ancillary services | P | P |  | Uncertain
Demand management providing broader ancillary services | P | P
Change protection systems to operate in weaker systems |  |  |  | P
Allow frequency to deviate more | Uncertain | Uncertain | Uncertain
Adjust RoCoF protection settings | Uncertain |  | Uncertain
Maintain local ancillary services in areas that | Partial
could island
New AC interconnectors | Partial | Partial | Partial
New HVDC interconnectors |  | Partial
Frequency controller on existing HVDC | Partial | Partial | Partial
Optimise Contingency FCAS requirements |  | Partial
Optimise Regulation FCAS requirements |  | Partial
* FCAS – Frequency control ancillary services, UFLS – Under-frequency load shedding, OFGS – Over-frequency generation shedding

## Table 22
Back to Index tab
Table 22 LCOE and emissions comparison across renewable technologies
Technology | Fuel type | 2017 Assumed capacity factor (%) | 2015 |  | 2017
|  |  | Emissions (kgCO2-e/MWh) | Minimum LCOE ($/MWh) | Emissions (kgCO2-e/MWh) | Minimum LCOE ($/MWh)
Wind (200 MW) | Wind | 42 | - | 100.7897 | - | 85
Solar PV (SAT) | Solar | 28 | - | 186.3083 | - | 90
Solar PV (FFP) | Solar | 22 | - | 151.6936 | - | 96
Solar PV (DAT) | Solar | 32 | - | 244.3387 | - | 98
Biomass | Biomass | 70 | 23 | 121.1513 | 23 | 120
Solar thermal (CR with storage) | Solar | 52 | - | 221.941 | - | 137
Solar thermal (CLF) | Solar | 23 | - | 289.1342 |  | N/A*
Solar thermal (PT with storage) | Solar | 42 | - | 299.3149 |  | N/A*
* Updated technology cost projections were not available for these technologies as part of the 2015 Australian Power Generation Technology Report.

## Table 23
Back to Index tab
Table 23 LCOE and emissions comparison across non-renewable technologies
Technology | Fuel type | 2017 Assumed fuel cost ($/GJ) | 2017 Assumed max capacity factor (%) | Region | 2015 |  | 2017
[5 empty] | Emissions (kgCO2-e/MWh) | Minimum LCOE ($/MWh) | Emissions (kgCO2-e/MWh) | Minimum LCOE ($/MWh)
Combined cycle (CCGT) | Gas | 8.07 | 83 | SA | 478 | 83.4824 | 470 | 83
|  |  |  | NEM | 405 | 74.3197 | 444 | 70
Supercritical (SCPC) | Black coal | 1.32 | 83 | SA
|  |  |  | NEM | 827 | 73.3016 | 812 | 81
Supercritical (SCPC) | Brown coal | 0.43 | 83 | SA
|  |  |  | NEM | 1213 | 92.6451 | 1193 | 91
Combined cycle (CCGT with CCS) | Gas | 8.07 | 83 | SA |  |  | 150 | 118
|  |  |  | NEM | 97 | 117.079 | 131 | 116
Supercritical (SCPC with CCS) | Black coal | 1.32 | 83 | SA
|  |  |  | NEM | 134 | 142.5309 | 131 | 185
Supercritical (SCPC with CCS) | Brown coal | 0.43 | 83 | SA
|  |  |  | NEM | 175 | 172.0552 | 169 | 198
Open Cycle (OCGT) | Gas | 10.66 | 10 | SA | 699 | 208.706 | 688 | 218
|  |  |  | NEM | 592 | 198.5252 | 582 | 198

## Table 24
Back to Index tab
Table 24 LCOE and emissions comparison across storage technologies
Technology | Fuel type | Assumed max capacity factor (%) | 2015 |  | 2017
|  |  | CO2 emissions (kgCO2-e/MWh) | Minimum LCOE ($/MWh sent out) | CO2 emissions (kgCO2-e/MWh) | Minimum LCOE ($/MWh sent out)
Pumped hydro storage | Wind | 20 | - | 204.6337 | - | 161
Grid battery storage | Battery | 20 | - | 300.333 | - | 216

## Table 25
Back to Index tab
Table 25 Generation technology frontier
Generation | Generation technology at frontier
| South Australia | NEM (including South Australia)
Non-renewables | OCGT without CCS: up to 7% capacity factor | OCGT without CCS: up to 10% capacity factor
| CCGT without CCS: from 8% capacity factor | CCGT without CCS: from 11% capacity factor
Renewables | Solar PV: up to 32% capacity factor | Solar PV: up to 32% capacity factor
| Wind: from 33% to 42% capacity factor | Wind: from 33% to 42% capacity factor

## Table 26
Back to Index tab
Table 26 Input assumptions of each technology
Technology | 2015 |  |  | 2017
| WACC (%) | Economic life (years) | Assumed Capacity Factor (%) | WACC (%) | Economic life (years) | Assumed Capacity Factor (%)
Wind (200 MW) | 10 | 30 | 43 | 7.09 | 20 | 42
Biomass | 10 | 30 | 70 | 9.42 | 30 | 70
Solar PV (FFP) | 10 | 30 | 21 | 6.79 | 25 | 22
Solar PV (SAT) | 10 | 30 | 21 | 6.79 | 25 | 28
Solar PV (DAT) | 10 | 30 | 21 | 6.79 | 25 | 32
Solar thermal (CLF) | 10 | 30 | 23
Solar thermal (CR with storage) | 10 | 30 | 42 | 6.79 | 25 | 52
Solar thermal (PT with storage) | 10 | 30 | 42
Open Cycle (OCGT) | 10 | 30 | 10 | 7.03 | 30 | 10
Combined cycle (CCGT) | 10 | 30 | 83 | 7.43 | 40 | 83
Combined cycle (CCGT with CCS) | 10 | 30 | 83 | 7.43 | 40 | 83
Supercritical (SCPC) | 10 | 30 | 83 | 12.94 | 50 | 83
Supercritical (SCPC with CCS) | 10 | 30 | 83 | 12.94 | 50 | 83
Pumped Hydro | 10 | 30 | 20 | 8.5 | 60 | 20
Storage | 10 | 30 | 20 | 8.5 | 15 | 20

## Table 27
Back to Index tab
Table 27 LCOE and emissions input data - renewable
Technology | 2015 | [6 empty] | 2017
| Capital costs ($/kW) | Fuel Costs ($/GJ)* | VOM ($/MWh) | FOM costs ($/kW/yr) | Combustion Emission Factor (kg CO2e/GJ) | Emissions captured (%) | Thermal efficiency (%)** | Capital costs ($/kW) | Fuel Costs ($/GJ)* | VOM ($/MWh) | FOM costs ($/kW/yr) | Combustion Emission Factor (kg CO2e/GJ) | Emissions captured (%) | Thermal efficiency (%)**
Renewable
Wind (200 MW) | 2596.099 | - | 15.2712 | 45.8135 | - | - | 100 | 2650 | - | 15 | 45 | - | - | 100
Biomass | 5294.0057 | - | 8.1446 | 127.2598 | - | - | 28 | 5500 | - | 8 | 125 | - | - | 28
Solar PV (FFP) | 2392.4833 | - | - | 25.452 | - | - | 100 | 1920 | - | - | 25 | - | - | 100
Solar PV (SAT) | 2952.4263 | - | - | 30.5423 | - | - | 100 | 2260 | - | - | 30 | - | - | 100
Solar PV (DAT) | 3868.6965 | - | - | 39.705 | - | - | 100 | 2810 | - | - | 39 | - | - | 100
Solar thermal (CLF) | 4581.3511 | - | 15.4748 | 65.157 | - | - | 100
Solar thermal (CR with storage) | 6821.1227 | - | 5.803 | 73.3016 | - | - | 100 | 6230 | - | 5.7 | 72 | - | - | 100
Solar thermal (PT with storage) | 9264.51 | - | 11.6061 | 74.3197 | - | - | 100
Storage
Pumped hydro storage | 3257.8497 | - | 5.0904 | 5.0904 | - | - | 100 | 3130 | - | 5 | 5 | - | - | 100
Grid battery | 4581.3511 | - | 6.1085 | 30.5423 | - | - | 100 | 2810 | - | 6 | 30 | - | - | 100
* Fuel costs may vary by location. Representative value indicated either South Australian value or lowest in NEM.
** Sent out HHV (Higher Heating Value).

## Table 28
Back to Index tab
Table 28 LCOE and emissions input data - non-renewable
Technology | 2015 | [6 empty] | 2017
| Capital costs ($/kW) | Fuel Costs ($/GJ)* | VOM ($/MWh) | FOM costs ($/kW/yr) | Combustion Emission Factor (kg CO2e/GJ) | Emissions captured (%) | Thermal efficiency (%)** | Capital costs ($/kW) | Fuel Costs ($/GJ)* | VOM ($/MWh) | FOM costs ($/kW/yr) | Combustion Emission Factor (kg CO2e/GJ) | Emissions captured (%) | Thermal efficiency (%)**
Non-renewable
Open cycle gas turbine (OCGT) | 738.1066 | 6.0067 | 10.1808 | 4.0723 | 57 | - | 35 | 1120 | 10.07 | 10 | 4 | 54 | - | 35
Combined cycle gas turbine (CCGT) | 1111.7412 | 3.9705 | 7.1265 | 10.1808 | 57 | - | 51 | 1590 | 8.07 | 7 | 10 | 54 | - | 52
Combined cycle gas turbine (CCGT with CCS) | 2993.1494 | 3.9705 | 12.2169 | 17.3073 | 57 | 85 | 44 | 3220 | 8.07 | 12 | 17 | 54 | 85 | 45
Supercritical brown coal (SCPC) | 4465.2902 | 0.39705 | 5.0904 | 66.6841 | 97 | - | 29 | 4020 | 0.43 | 5 | 65.5 | 97 | - | 29
Supercritical brown coal (SCPC with CCS) | 8426.6318 | 0.39705 | 11.1989 | 98.2445 | 97 | 90 | 21 | 8530 | 0.43 | 11 | 96.5 | 97 | 90 | 22
Supercritical black coal (SCPC) | 2932.0647 | 1.578 | 4.0723 | 51.4129 | 91 | - | 42 | 3210 | 1.32 | 4 | 50.5 | 93 | - | 42
Supercritical black coal (SCPC with CCS) | 5485.4044 | 1.578 | 9.1627 | 74.5233 | 91 | 90 | 31 | 7050 | 1.32 | 9 | 73.2 | 93 | 90 | 32
* Fuel costs may vary by location. Representative value indicated either South Australian value or lowest in NEM.
** Sent out HHV (Higher Heating Value).

## Table 29
Back to Index tab
Table 29 2017 minimum LCOE with carbon price in South Australia
Technology | Minimum LCOE ($/MWh)
| South Australia | NEM
Wind (200 MW) (CF 42.0%) | 85 | 85
Solar PV SAT (CF 28.0%) | 90 | 89
Solar PV FFP (CF 22.0%) | 96 | 96
CCGT - Without CCS (CF 83.0%) | 97 | 83
Solar PV DAT (CF 32.0%) | 98 | 98
Biomass (CF 70.0%) | 121 | 119
CCGT - With CCS (CF 83.0%) | 122 | 120
Solar Thermal CR WS (CF 52.0%) | 137 | 137
OCGT - Without CCS (CF 10.0%) | 238 | 215
Supercritical PC - Black coal without CCS (CF 83.0%) |  | 99
Supercritical PC - Brown coal without CCS (CF 83.0%) |  | 118
Supercritical PC - Black coal with CCS (CF 83.0%) |  | 188
Supercritical PC - Brown coal with CCS (CF 83.0%) |  | 202

## Figure 1
Back to Index tab
Figure 1 South Australian registered capacity and generation output in 2015–16
* Rooftop PV installations are not registered with AEMO, but are included here given their material contribution to generation. Estimates are from the 2016 NEFR.
** Diesel + SNSG includes small and large diesel, and small landfill methane and hydro generating systems.
Fuel Source | Output (GWh) | Capacity (MW)
Natural Gas | 4538 | 2668
Wind | 4322 | 1576
Coal | 2601 | 770
Rooftop PV* | 938 | 679
Diesel + SNSG** | 60 | 289
Interconnector net imports | 1941 | 680

## Figure 2
Back to Index tab
Figure 2 South Australian registered capacity and generation output in July – December 2016
* Rooftop PV installations are not registered with AEMO, but are included here given their material contribution to generation.
** Diesel + SNSG includes small and large diesel, and small landfill methane and hydro generating systems.
Fuel Source | Output (GWh) | Capacity (MW)
Natural Gas | 2374.393 | 2668
Wind | 2415.906 | 1594.85
Coal | 0 | 0
Rooftop PV* | 503.466 | 701.878
Diesel + SNSG** | 56.3765 | 319.385
Interconnector net imports | 1479.7791 | 820

## Figure 3
Back to Index tab
Figure 3 Advanced, committed, and developed capacities in the NEM regions from 2014–15 to 2016–17
|  | Advanced and committed | Developed
2014-15 | QLD | 44 | 0
| NSW | 317.7 | 0
| VIC | 126.4 | 0
| SA | 271 | 0
| TAS | 0 | 0
|  | Advanced and committed | Developed
2015-16 | QLD | 0 | 0
| NSW | 69 | 261.7
| VIC | 259.8 | 106.6
| SA | 270 | 0
| TAS | 0 | 0
|  | Advanced and committed | Developed
2016-17 | QLD | 208.5
| NSW | 524.455 | 56
| VIC | 306 | 19.8
| SA | 211.4 | 102.4
| TAS | 0 | 0

## Figure 6
Back to Index tab
Figure 6 South Australian total annual GPG gas consumption forecast and projected gas shortfalls
Year | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036
GPG Shortfalls | 0 | 0 | 23109.7909 | 14090.9514 | 36821.9448 | 19306.2665 | 4251.6884 | 4352.9504 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas Demand | 85443.9871 | 80938.5806 | 75663.4703 | 70198.946 | 71342.8143 | 72827.1518 | 73771.53 | 72734.2442 | 72907.26 | 73999.7972 | 75902.3803 | 76673.0154 | 77050.0343 | 78335.4423 | 78906.7256 | 79703.682 | 80540.0705 | 81218.1012 | 81061.0988 | 82389.7133

## Figure 21
Back to Index tab
Figure 21 South Australian LCOE versus capacity factor | LCOE vs CF in SA
| CapFactor | Biomass | CCGT - Without CCS | Geothermal - Enhanced Geothermal System (EGS) | Geothermal - Hot Sedimentary Aquifers (HSA) | Integrated Solar Combined Cycle (ISCC) | OCGT - Without CCS | Solar PV DAT | Solar PV FFP | Solar PV SAT | Solar Thermal CR WS | Wind (200 MW) | Pumped Hydro Storage | Wave/Ocean | CCGT - With CCS | Large Scale Battery Storage | Cost Frontier | Tech at the Cost Frontier
| 0 | 787399.0827 | 151585.0479 |  |  |  | 106410.5261 | 313254.3906 | 211839.7671 | 250771.4301 | 681001.8513 | 338823.7655 | 311420.5381 | 905271.4993 | 308715.2025 | 420973.1584 | 106410.5261 | OCGT - Without CCS
| 1 | 7803.939 | 1563.0179 |  |  |  | 1164.1863 | 3101.5249 | 2097.4209 | 2482.8825 | 6748.2281 | 3359.1421 | 3088.3175 | 8982.8696 | 3136.1116 | 4173.9873 | 1164.1863 | OCGT - Without CCS
| 2 | 3925.3623 | 811.3074 |  |  |  | 640.5733 | 1558.4777 | 1053.9279 | 1247.6176 | 3393.7365 | 1690.1659 | 1554.3287 | 4523.7304 | 1615.8195 | 2100.3618 | 640.5733 | OCGT - Without CCS
| 3 | 2623.9131 | 559.0723 |  |  |  | 464.8759 | 1040.711 | 703.7858 | 833.1267 | 2268.143 | 1130.144 | 1039.6015 | 3027.4745 | 1105.6883 | 1404.5605 | 464.8759 | OCGT - Without CCS
| 4 | 1971.5657 | 432.6402 |  |  |  | 376.8082 | 781.1821 | 528.2781 | 625.3644 | 1703.9427 | 849.4348 | 781.5962 | 2277.4808 | 849.9866 | 1055.7923 | 376.8082 | OCGT - Without CCS
| 5 | 1579.6364 | 356.68 |  |  |  | 323.8972 | 625.2575 | 422.8334 | 500.5412 | 1364.9721 | 680.7851 | 626.5869 | 1826.8859 | 696.3614 | 846.2529 | 323.8972 | OCGT - Without CCS
| 6 | 1318.1328 | 305.9978 |  |  |  | 288.5939 | 521.2213 | 352.4784 | 417.2565 | 1138.8037 | 568.2585 | 523.1615 | 1526.2393 | 593.8595 | 706.4438 | 288.5939 | OCGT - Without CCS
| 7 | 1131.238 | 269.7755 |  |  |  | 263.3628 | 446.8674 | 302.1962 | 357.7334 | 977.1627 | 487.8364 | 449.244 | 1311.3692 | 520.602 | 606.5231 | 263.3628 | OCGT - Without CCS
| 8 | 991.0085 | 242.5975 |  |  |  | 244.4317 | 391.0787 | 264.4688 | 313.0726 | 855.8814 | 427.4948 | 393.7828 | 1150.1496 | 465.636 | 531.5515 | 242.5975 | CCGT - Without CCS
| 9 | 881.9066 | 221.4524 |  |  |  | 229.7028 | 347.6737 | 235.116 | 278.3253 | 761.5217 | 380.5476 | 350.6327 | 1024.7168 | 422.7112 | 473.2217 | 221.4524 | CCGT - Without CCS
| 10 | 794.6032 | 204.532 |  |  |  | 217.9167 | 312.9411 | 211.6279 | 250.5206 | 686.015 | 342.9804 | 316.104 | 924.3455 | 388.3171 | 426.5462 | 204.532 | CCGT - Without CCS
| 11 | 723.1588 | 190.6853 |  |  |  | 208.2716 | 284.5177 | 192.4065 | 227.7667 | 624.2244 | 312.2374 | 287.8475 | 842.2069 | 360.1708 | 388.3494 | 190.6853 | CCGT - Without CCS
| 12 | 663.6118 | 179.1445 |  |  |  | 200.2327 | 260.8277 | 176.3859 | 208.8019 | 572.7236 | 286.6139 | 264.2965 | 773.7467 | 336.7117 | 356.5135 | 176.3859 | Solar PV FFP
| 13 | 613.2189 | 169.3778 |  |  |  | 193.4296 | 240.7794 | 162.8282 | 192.7526 | 529.1399 | 264.9296 | 244.3659 | 715.8108 | 316.8589 | 329.5716 | 162.8282 | Solar PV FFP
| 14 | 570.0199 | 161.0053 |  |  |  | 187.5976 | 223.5932 | 151.2059 | 178.9944 | 491.778 | 246.3407 | 227.2806 | 666.1455 | 299.8402 | 306.4759 | 151.2059 | Solar PV FFP
| 15 | 532.5768 | 153.7485 |  |  |  | 182.5428 | 208.6969 | 141.1323 | 167.0694 | 459.3944 | 230.2287 | 212.4717 | 623.0978 | 285.0891 | 286.4575 | 141.1323 | Solar PV FFP
| 16 | 499.8113 | 147.3981 |  |  |  | 178.1194 | 195.6615 | 132.317 | 156.6341 | 431.0562 | 216.1295 | 199.5128 | 585.4277 | 272.1808 | 268.9399 | 132.317 | Solar PV FFP
| 17 | 470.8982 | 141.7945 |  |  |  | 174.2161 | 184.1587 | 124.5382 | 147.4257 | 406.05 | 203.688 | 188.0776 | 552.1868 | 260.7902 | 253.4819 | 124.5382 | Solar PV FFP
| 18 | 445.1959 | 136.8131 |  |  |  | 170.7462 | 173.9334 | 117.6233 | 139.2399 | 383.8207 | 192.6282 | 177.9123 | 522.6373 | 250.6645 | 239.7405 | 117.6233 | Solar PV FFP
| 19 | 422.1977 | 132.3558 |  |  |  | 167.6415 | 164.7838 | 111.4358 | 131.9154 | 363.9301 | 182.7319 | 168.8164 | 496.1966 | 241.6041 | 227.4449 | 111.4358 | Solar PV FFP
| 20 | 401.4982 | 128.344 |  |  |  | 164.847 | 156.5487 | 105.8668 | 125.3229 | 346.0275 | 173.8248 | 160.6297 | 472.3987 | 233.4493 | 216.3782 | 105.8668 | Solar PV FFP
| 21 | 382.7691 | 124.7141 |  |  |  | 162.3185 | 149.0976 | 100.8279 | 119.358 | 329.8291 | 165.7655 |  | 450.8662 | 226.0708 |  | 100.8279 | Solar PV FFP
| 22 | 365.7419 | 121.414 |  |  |  | 160.0198 | 142.3235 | 96.2469 | 113.9351 | 315.1027 | 158.4386 |  | 431.2902 | 219.3628 |  | 96.2469 | Solar PV FFP
| 23 | 350.1946 | 118.4008 |  |  |  | 157.9209 | 136.1382 |  | 108.9835 | 301.6563 | 151.7485 |  | 413.4158 | 213.2378 |  | 108.9835 | Solar PV SAT
| 24 | 335.9425 | 115.6386 |  |  |  | 155.9969 | 130.4681 |  | 104.4445 | 289.3299 | 145.6157 |  | 397.0303 | 207.623 |  | 104.4445 | Solar PV SAT
| 25 | 322.83 | 113.0972 |  |  |  | 154.2267 | 125.2515 |  | 100.2683 | 277.9892 | 139.9734 |  | 381.9551 | 202.4572 |  | 100.2683 | Solar PV SAT
| 26 | 310.7258 | 110.7513 |  |  |  | 152.5926 | 120.436 |  | 96.4134 | 267.5206 | 134.7648 |  | 368.0391 | 197.6886 |  | 96.4134 | Solar PV SAT
| 27 | 299.5179 | 108.5791 |  |  |  | 151.0795 | 115.9771 |  | 92.8438 | 257.8271 | 129.942 |  | 355.1536 | 193.2732 |  | 92.8438 | Solar PV SAT
| 28 | 289.1103 | 106.562 |  |  |  | 149.6745 | 111.8365 |  | 89.5291 | 248.8258 | 125.4635 |  | 343.1881 | 189.173 |  | 89.5291 | Solar PV SAT
| 29 | 279.4201 | 104.6839 |  |  |  | 148.3663 | 107.9814 |  |  | 240.445 | 121.2938 |  | 332.0475 | 185.3554 |  | 104.6839 | CCGT - Without CCS
| 30 | 270.3758 | 102.931 |  |  |  | 147.1453 | 104.3832 |  |  | 232.6228 | 117.402 |  | 321.6494 | 181.7923 |  | 102.931 | CCGT - Without CCS
| 31 | 261.9148 | 101.2912 |  |  |  | 146.0031 | 101.0171 |  |  | 225.3051 | 113.7612 |  | 311.9219 | 178.459 |  | 101.0171 | Solar PV DAT
| 32 | 253.9825 | 99.7538 |  |  |  | 144.9322 | 97.8613 |  |  | 218.4446 | 110.3478 |  | 302.8022 | 175.334 |  | 97.8613 | Solar PV DAT
| 33 | 246.5307 | 98.3096 |  |  |  | 143.9262 |  |  |  | 211.9997 | 107.1413 |  | 294.235 | 172.3983 |  | 98.3096 | CCGT - Without CCS
| 34 | 239.5171 | 96.9503 |  |  |  | 142.9793 |  |  |  | 205.9339 | 104.1233 |  | 286.1717 | 169.6352 |  | 96.9503 | CCGT - Without CCS
| 35 | 232.9043 | 95.6686 |  |  |  | 142.0866 |  |  |  | 200.2145 | 101.2777 |  | 278.5689 | 167.03 |  | 95.6686 | CCGT - Without CCS
| 36 | 226.6587 | 94.4582 |  |  |  | 141.2434 |  |  |  | 194.8128 | 98.5902 |  | 271.3885 | 164.5695 |  | 94.4582 | CCGT - Without CCS
| 37 | 220.7506 | 93.3131 |  |  |  | 140.4458 |  |  |  | 189.7031 | 96.0479 |  | 264.596 | 162.242 |  | 93.3131 | CCGT - Without CCS
| 38 | 215.1533 | 92.2283 |  |  |  | 139.6902 |  |  |  | 184.8622 | 93.6394 |  | 258.161 | 160.0369 |  | 92.2283 | CCGT - Without CCS
| 39 | 209.8431 | 91.1991 |  |  |  | 138.9733 |  |  |  | 180.2694 | 91.3544 |  | 252.0558 | 157.9448 |  | 91.1991 | CCGT - Without CCS
| 40 | 204.7983 | 90.2214 |  |  |  | 138.2922 |  |  |  | 175.9063 | 89.1835 |  | 246.2559 | 155.9574 |  | 89.1835 | Wind (200 MW)
| 41 | 199.9995 | 89.2913 |  |  |  | 137.6444 |  |  |  | 171.7559 | 87.1186 |  | 240.7388 | 154.0668 |  | 87.1186 | Wind (200 MW)
| 42 | 195.4291 | 88.4055 |  |  |  | 137.0274 |  |  |  | 167.8032 | 85.152 |  | 235.4844 | 152.2663 |  | 85.152 | Wind (200 MW)
| 43 | 191.0713 | 87.561 |  |  |  | 136.4391 |  |  |  | 164.0342 |  |  | 230.4743 | 150.5495 |  | 87.561 | CCGT - Without CCS
| 44 | 186.9116 | 86.7547 |  |  |  | 135.8775 |  |  |  | 160.4365 |  |  | 225.6918 | 148.9107 |  | 86.7547 | CCGT - Without CCS
| 45 | 182.9366 | 85.9844 |  |  |  | 135.3409 |  |  |  | 156.9987 |  |  | 221.1219 | 147.3448 |  | 85.9844 | CCGT - Without CCS
| 46 | 179.1345 | 85.2475 |  |  |  | 134.8276 |  |  |  | 153.7103 |  |  | 216.7507 | 145.8469 |  | 85.2475 | CCGT - Without CCS
| 47 | 175.4941 | 84.5419 |  |  |  | 134.3361 |  |  |  | 150.5618 |  |  | 212.5654 | 144.4127 |  | 84.5419 | CCGT - Without CCS
| 48 | 172.0054 | 83.8658 |  |  |  | 133.8652 |  |  |  | 147.5445 |  |  | 208.5544 | 143.0383 |  | 83.8658 | CCGT - Without CCS
| 49 | 168.659 | 83.2172 |  |  |  | 133.4134 |  |  |  | 144.6503 |  |  | 204.7072 | 141.7199 |  | 83.2172 | CCGT - Without CCS
| 50 | 165.4465 | 82.5946 |  |  |  | 132.9797 |  |  |  | 141.8718 |  |  | 201.0138 | 140.4543 |  | 82.5946 | CCGT - Without CCS
| 51 | 162.3599 | 81.9964 |  |  |  | 132.563 |  |  |  | 139.2023 |  |  | 197.4652 | 139.2383 |  | 81.9964 | CCGT - Without CCS
| 52 | 159.392 | 81.4212 |  |  |  | 132.1623 |  |  |  | 136.6355 |  |  | 194.053 | 138.0691 |  | 81.4212 | CCGT - Without CCS
| 53 | 156.5361 | 80.8676 |  |  |  | 131.7768 | [6 empty] | 190.7696 | 136.944 |  | 80.8676 | CCGT - Without CCS
| 54 | 153.7859 | 80.3346 |  |  |  | 131.4055 | [6 empty] | 187.6078 | 135.8605 |  | 80.3346 | CCGT - Without CCS
| 55 | 151.1358 | 79.821 |  |  |  | 131.0477 | [6 empty] | 184.561 | 134.8165 |  | 79.821 | CCGT - Without CCS
| 56 | 148.5802 | 79.3257 |  |  |  | 130.7027 | [6 empty] | 181.6229 | 133.8097 |  | 79.3257 | CCGT - Without CCS
| 57 | 146.1143 | 78.8478 |  |  |  | 130.3698 | [6 empty] | 178.7879 | 132.8382 |  | 78.8478 | CCGT - Without CCS
| 58 | 143.7335 | 78.3864 |  |  |  | 130.0484 | [6 empty] | 176.0506 | 131.9003 |  | 78.3864 | CCGT - Without CCS
| 59 | 141.4333 | 77.9406 |  |  |  | 129.7379 | [6 empty] | 173.4062 | 130.9941 |  | 77.9406 | CCGT - Without CCS
| 60 | 139.2098 | 77.5096 |  |  |  | 129.4377 | [6 empty] | 170.8498 | 130.1181 |  | 77.5096 | CCGT - Without CCS
| 61 | 137.0591 | 77.0928 |  |  |  | 129.1474 | [7 empty] | 129.2709 |  | 77.0928 | CCGT - Without CCS
| 62 | 134.9779 | 76.6894 |  |  |  | 128.8664 | [7 empty] | 128.4509 |  | 76.6894 | CCGT - Without CCS
| 63 | 132.9627 | 76.2989 |  |  |  | 128.5943 | [7 empty] | 127.657 |  | 76.2989 | CCGT - Without CCS
| 64 | 131.0104 | 75.9205 |  |  |  | 128.3308 | [7 empty] | 126.8879 |  | 75.9205 | CCGT - Without CCS
| 65 | 129.1183 | 75.5538 |  |  |  | 128.0753 | [7 empty] | 126.1425 |  | 75.5538 | CCGT - Without CCS
| 66 | 127.2834 | 75.1982 |  |  |  | 127.8276 | [7 empty] | 125.4196 |  | 75.1982 | CCGT - Without CCS
| 67 | 125.5033 | 74.8532 |  |  |  | 127.5873 | [7 empty] | 124.7183 |  | 74.8532 | CCGT - Without CCS
| 68 | 123.7756 | 74.5183 |  |  |  | 127.3541 | [7 empty] | 124.0377 |  | 74.5183 | CCGT - Without CCS
| 69 | 122.0979 | 74.1932 |  |  |  | 127.1276 | [7 empty] | 123.3767 |  | 74.1932 | CCGT - Without CCS
| 70 | 120.4682 | 73.8773 |  |  |  | 126.9076 | [7 empty] | 122.7347 |  | 73.8773 | CCGT - Without CCS
| 71 |  | 73.5703 |  |  |  | 126.6938 | [7 empty] | 122.1107 |  | 73.5703 | CCGT - Without CCS
| 72 |  | 73.2719 |  |  |  | 126.4859 | [7 empty] | 121.5041 |  | 73.2719 | CCGT - Without CCS
| 73 |  | 72.9816 |  |  |  | 126.2837 | [7 empty] | 120.9141 |  | 72.9816 | CCGT - Without CCS
| 74 |  | 72.6992 |  |  |  | 126.087 | [7 empty] | 120.34 |  | 72.6992 | CCGT - Without CCS
| 75 |  | 72.4243 |  |  |  | 125.8955 | [7 empty] | 119.7812 |  | 72.4243 | CCGT - Without CCS
| 76 |  | 72.1567 |  |  |  | 125.709 | [7 empty] | 119.2371 |  | 72.1567 | CCGT - Without CCS
| 77 |  | 71.896 |  |  |  | 125.5274 | [7 empty] | 118.7072 |  | 71.896 | CCGT - Without CCS
| 78 |  | 71.6419 |  |  |  | 125.3505 | [7 empty] | 118.1909 |  | 71.6419 | CCGT - Without CCS
| 79 |  | 71.3943 |  |  |  | 125.178 | [7 empty] | 117.6876 |  | 71.3943 | CCGT - Without CCS
| 80 |  | 71.1529 |  |  |  | 125.0099 | [7 empty] | 117.1969 |  | 71.1529 | CCGT - Without CCS
| 81 |  | 70.9175 |  |  |  | 124.8459 | [7 empty] | 116.7183 |  | 70.9175 | CCGT - Without CCS
| 82 |  | 70.6878 |  |  |  | 124.6859 | [7 empty] | 116.2514 |  | 70.6878 | CCGT - Without CCS
| 83 |  | 70.4636 |  |  |  | 124.5297 | [7 empty] | 115.7957 |  | 70.4636 | CCGT - Without CCS
84
85
86
87
88
89
90

## Figure 22
Back to Index tab
Figure 22 NEM LCOE versus capacity factor | LCOE vs CF in NEM
| CapFactor | Wind (200 MW) | Biomass | CCGT - With CCS | CCGT - Without CCS | OCGT - Without CCS | Solar PV DAT | Solar PV FFP | Solar PV SAT | Solar Thermal CR WS | Wave/Ocean | Supercritical PC - Black coal with CCS | Supercritical PC - Black coal without CCS | Supercritical PC - Brown coal without CCS | Large Scale Battery Storage | Pumped Hydro Storage | Cost Frontier | Tech at the Cost Frontier
| 0 | 336436.5561 | 773111.6152 | 308715.2025 | 151585.0479 | 105922.9567 | 312356.333 | 210941.7095 | 249873.3725 | 681001.8513 | 905271.4993 | 1105844.5731 | 511685.7743 | 670563.4461 | 420973.1584 | 311420.5381 | 105922.9567 | OCGT - Without CCS
| 1 | 3335.5064 | 7662.4791 | 3136.1116 | 1563.0179 | 1141.4027 | 3092.6333 | 2088.5293 | 2473.9908 | 6748.2281 | 8982.8696 | 11053.6997 | 5124.7027 | 6649.4214 | 4173.9873 | 3088.3175 | 1141.4027 | OCGT - Without CCS
| 2 | 1678.2893 | 3854.2805 | 1615.8195 | 811.3074 | 619.581 | 1554.0098 | 1049.46 | 1243.1496 | 3393.7365 | 4523.7304 | 5606.9899 | 2604.5034 | 3346.3728 | 2100.3618 | 1554.3287 | 619.581 | OCGT - Without CCS
| 3 | 1122.2131 | 2576.4465 | 1105.6883 | 559.0723 | 444.4847 | 1037.7274 | 700.8022 | 830.1431 | 2268.143 | 3027.4745 | 3779.3564 | 1758.8552 | 2238.0409 | 1404.5605 | 1039.6015 | 444.4847 | OCGT - Without CCS
| 4 | 843.4817 | 1935.9361 | 849.9866 | 432.6402 | 356.7183 | 778.9425 | 526.0385 | 623.1249 | 1703.9427 | 2277.4808 | 2851.7954 | 1327.7021 | 1682.493 | 1055.7923 | 781.5962 | 356.7183 | OCGT - Without CCS
| 5 | 676.0202 | 1551.1185 | 696.3614 | 356.68 | 303.9883 | 623.465 | 421.0408 | 498.7487 | 1364.9721 | 1826.8859 | 2292.5632 | 1067.1409 | 1348.7207 | 846.2529 | 626.5869 | 303.9883 | OCGT - Without CCS
| 6 | 564.2864 | 1294.36 | 593.8595 | 305.9978 | 268.8058 | 519.7271 | 350.9841 | 415.7622 | 1138.8037 | 1526.2393 | 1919.4316 | 893.289 | 1126.0208 | 706.4438 | 523.1615 | 268.8058 | OCGT - Without CCS
| 7 | 484.431 | 1110.8565 | 520.602 | 269.7755 | 243.661 | 445.5862 | 300.9151 | 356.4523 | 977.1627 | 1311.3692 | 1652.757 | 769.0382 | 966.8586 | 606.5231 | 449.244 | 243.661 | OCGT - Without CCS
| 8 | 424.5145 | 973.1715 | 465.636 | 242.5975 | 224.7946 | 389.9575 | 263.3476 | 311.9514 | 855.8814 | 1150.1496 | 1452.6677 | 675.8113 | 847.4373 | 531.5515 | 393.7828 | 224.7946 | OCGT - Without CCS
| 9 | 377.8981 | 866.0493 | 422.7112 | 221.4524 | 210.1161 | 346.677 | 234.1193 | 277.3286 | 761.5217 | 1024.7168 | 1296.9934 | 603.2785 | 754.5246 | 473.2217 | 350.6327 | 210.1161 | OCGT - Without CCS
| 10 | 340.5955 | 780.3301 | 388.3171 | 204.532 | 198.3704 | 312.0439 | 210.7307 | 249.6235 | 686.015 | 924.3455 | 1172.4229 | 545.2377 | 680.1758 | 426.5462 | 316.104 | 198.3704 | OCGT - Without CCS
| 11 | 310.0692 | 710.182 | 360.1708 | 190.6853 | 188.7583 | 283.7021 | 191.5908 | 226.951 | 624.2244 | 842.2069 | 1070.4809 | 497.7403 | 619.3328 | 388.3494 | 287.8475 | 188.7583 | OCGT - Without CCS
| 12 | 284.6263 | 651.7156 | 336.7117 | 179.1445 | 180.7468 | 260.0799 | 175.6382 | 208.0542 | 572.7236 | 773.7467 | 985.5152 | 457.8866 | 568.6218 | 356.5135 | 264.2965 | 175.6382 | Solar PV FFP
| 13 | 263.0947 | 602.237 | 316.8589 | 169.3778 | 173.967 | 240.0891 | 162.1379 | 192.0623 | 529.1399 | 715.8108 | 913.611 | 424.0055 | 525.7065 | 329.5716 | 244.3659 | 162.1379 | Solar PV FFP
| 14 | 244.6368 | 559.8218 | 299.8402 | 161.0053 | 168.155 | 222.9521 | 150.5649 | 178.3534 | 491.778 | 666.1455 | 851.9716 | 394.9611 | 488.9176 | 306.4759 | 227.2806 | 150.5649 | Solar PV FFP
| 15 | 228.6383 | 523.0582 | 285.0891 | 153.7485 | 163.1175 | 208.0986 | 140.5339 | 166.4711 | 459.3944 | 623.0978 | 798.5452 | 369.7868 | 457.0306 | 286.4575 | 212.4717 | 140.5339 | Solar PV FFP
| 16 | 214.6384 | 490.8872 | 272.1808 | 147.3981 | 158.7092 | 195.1005 | 131.7561 | 156.0731 | 431.0562 | 585.4277 | 751.793 | 347.7572 | 429.127 | 268.9399 | 199.5128 | 131.7561 | Solar PV FFP
| 17 | 202.2846 | 462.4988 | 260.7902 | 141.7945 | 154.8193 | 183.6308 | 124.0103 | 146.8978 | 406.05 | 552.1868 | 710.5378 | 328.3179 | 404.5042 | 253.4819 | 188.0776 | 124.0103 | Solar PV FFP
| 18 | 191.3027 | 437.2628 | 250.6645 | 136.8131 | 151.3613 | 173.4347 | 117.1246 | 138.7413 | 383.8207 | 522.6373 | 673.864 | 311.0372 | 382.6158 | 239.7405 | 177.9123 | 117.1246 | Solar PV FFP
| 19 | 181.4761 | 414.6819 | 241.6041 | 132.3558 | 148.2671 | 164.3114 | 110.9634 | 131.443 | 363.9301 | 496.1966 | 641.0486 | 295.5747 | 363.0302 | 227.4449 | 168.8164 | 110.9634 | Solar PV FFP
| 20 | 172.6318 | 394.358 | 233.4493 | 128.344 | 145.4822 | 156.0999 | 105.418 | 124.8741 | 346.0275 | 472.3987 | 611.513 | 281.6576 | 345.4022 | 216.3782 | 160.6297 | 105.418 | Solar PV FFP
| 21 | 164.6293 | 375.9688 | 226.0708 | 124.7141 | 142.9624 | 148.6701 | 100.4005 | 118.9305 | 329.8291 | 450.8662 | 584.789 | 269.0653 | 329.4523 |  |  | 100.4005 | Solar PV FFP
| 22 | 157.354 | 359.2505 | 219.3628 | 121.414 | 140.6716 | 141.9155 | 95.8389 | 113.5271 | 315.1027 | 431.2902 | 560.4934 | 257.6173 | 314.9517 |  |  | 95.8389 | Solar PV FFP
| 23 | 150.7111 | 343.9854 | 213.2378 | 118.4008 | 138.5799 | 135.7479 |  | 108.5933 | 301.6563 | 413.4158 | 538.3095 | 247.1643 | 301.7114 |  |  | 108.5933 | Solar PV SAT
| 24 | 144.6215 | 329.9918 | 207.623 | 115.6386 | 136.6624 | 130.0941 |  | 104.0704 | 289.3299 | 397.0303 | 517.9735 | 237.582 | 289.5741 |  |  | 104.0704 | Solar PV SAT
| 25 | 139.0188 | 317.1173 | 202.4572 | 113.0972 | 134.8982 | 124.8924 |  | 99.9093 | 277.9892 | 381.9551 | 499.2638 | 228.766 | 278.4074 |  |  | 99.9093 | Solar PV SAT
| 26 | 133.847 | 305.2327 | 197.6886 | 110.7513 | 133.2697 | 120.0907 |  | 96.0681 | 267.5206 | 368.0391 | 481.9926 | 220.6279 | 268.0993 |  |  | 96.0681 | Solar PV SAT
| 27 | 129.0582 | 294.2282 | 193.2732 | 108.5791 | 131.7618 | 115.6446 |  | 92.5113 | 257.8271 | 355.1536 | 466.0004 | 213.0924 | 258.5544 |  |  | 92.5113 | Solar PV SAT
| 28 | 124.6113 | 284.0094 | 189.173 | 106.562 | 130.3616 | 111.5159 |  | 89.2085 | 248.8258 | 343.1881 | 451.1501 | 206.0949 | 249.6912 |  |  | 89.2085 | Solar PV SAT
| 29 | 120.4709 | 274.4951 | 185.3554 | 104.6839 | 129.0579 | 107.6718 |  |  | 240.445 | 332.0475 | 437.3235 | 199.5799 | 241.4389 |  |  | 104.6839 | CCGT - Without CCS
| 30 | 116.6065 | 265.6149 | 181.7923 | 102.931 | 127.8411 | 104.084 |  |  | 232.6228 | 321.6494 | 424.4185 | 193.499 | 233.7367 |  |  | 102.931 | CCGT - Without CCS
| 31 | 112.9913 | 257.3074 | 178.459 | 101.2912 | 126.7027 | 100.7275 |  |  | 225.3051 | 311.9219 | 412.3457 | 187.8104 | 226.5311 |  |  | 100.7275 | Solar PV DAT
| 32 | 109.602 | 249.519 | 175.334 | 99.7538 | 125.6355 | 97.5807 |  |  | 218.4446 | 302.8022 | 401.0272 | 182.4772 | 219.7758 |  |  | 97.5807 | Solar PV DAT
| 33 | 106.4181 | 242.2025 | 172.3983 | 98.3096 | 124.633 |  |  |  | 211.9997 | 294.235 | 390.3946 | 177.4671 | 213.4298 |  |  | 98.3096 | CCGT - Without CCS
| 34 | 103.4214 | 235.3162 | 169.6352 | 96.9503 | 123.6894 |  |  |  | 205.9339 | 286.1717 | 380.3871 | 172.7516 | 207.457 |  |  | 96.9503 | CCGT - Without CCS
| 35 | 100.5959 | 228.8233 | 167.03 | 95.6686 | 122.7997 |  |  |  | 200.2145 | 278.5689 | 370.9514 | 168.3055 | 201.8254 |  |  | 95.6686 | CCGT - Without CCS
| 36 | 97.9273 | 222.691 | 164.5695 | 94.4582 | 121.9594 |  |  |  | 194.8128 | 271.3885 | 362.0397 | 164.1063 | 196.5065 |  |  | 94.4582 | CCGT - Without CCS
| 37 | 95.4029 | 216.8901 | 162.242 | 93.3131 | 121.1645 |  |  |  | 189.7031 | 264.596 | 353.6097 | 160.1341 | 191.4751 |  |  | 93.3131 | CCGT - Without CCS
| 38 | 93.0114 | 211.3945 | 160.0369 | 92.2283 | 120.4115 |  |  |  | 184.8622 | 258.161 | 345.6231 | 156.3709 | 186.7084 |  |  | 92.2283 | CCGT - Without CCS
| 39 | 90.7424 | 206.1806 | 157.9448 | 91.1991 | 119.697 |  |  |  | 180.2694 | 252.0558 | 338.0461 | 152.8006 | 182.1861 |  |  | 90.7424 | Wind (200 MW)
| 40 | 88.5869 | 201.2273 | 155.9574 | 90.2214 | 119.0183 |  |  |  | 175.9063 | 246.2559 | 330.8478 | 149.4088 | 177.8899 |  |  | 88.5869 | Wind (200 MW)
| 41 | 86.5365 | 196.5156 | 154.0668 | 89.2913 | 118.3727 |  |  |  | 171.7559 | 240.7388 | 324.0005 | 146.1824 | 173.8032 |  |  | 86.5365 | Wind (200 MW)
| 42 | 84.5837 | 192.0282 | 152.2663 | 88.4055 | 117.7578 |  |  |  | 167.8032 | 235.4844 | 317.4793 | 143.1095 | 169.9111 |  |  | 84.5837 | Wind (200 MW)
| 43 |  | 187.7494 | 150.5495 | 87.561 | 117.1715 |  |  |  | 164.0342 | 230.4743 | 311.2613 | 140.1796 | 166.1999 |  |  | 87.561 | CCGT - Without CCS
| 44 |  | 183.6652 | 148.9107 | 86.7547 | 116.6118 |  |  |  | 160.4365 | 225.6918 | 305.3258 | 137.3829 | 162.6574 |  |  | 86.7547 | CCGT - Without CCS
| 45 |  | 179.7624 | 147.3448 | 85.9844 | 116.0771 |  |  |  | 156.9987 | 221.1219 | 299.6541 | 134.7104 | 159.2723 |  |  | 85.9844 | CCGT - Without CCS
| 46 |  | 176.0292 | 145.8469 | 85.2475 | 115.5655 |  |  |  | 153.7103 | 216.7507 | 294.2289 | 132.154 | 156.0343 |  |  | 85.2475 | CCGT - Without CCS
| 47 |  | 172.4549 | 144.4127 | 84.5419 | 115.0757 |  |  |  | 150.5618 | 212.5654 | 289.0346 | 129.7065 | 152.9341 |  |  | 84.5419 | CCGT - Without CCS
| 48 |  | 169.0294 | 143.0383 | 83.8658 | 114.6053 |  |  |  | 147.5445 | 208.5544 | 284.0566 | 127.3609 | 149.9631 |  |  | 83.8658 | CCGT - Without CCS
| 49 |  | 165.7438 | 141.7199 | 83.2172 | 114.1523 |  |  |  | 144.6503 | 204.7072 | 279.2818 | 125.111 | 147.1132 |  |  | 83.2172 | CCGT - Without CCS
| 50 |  | 162.5896 | 140.4543 | 82.5946 | 113.7175 |  |  |  | 141.8718 | 201.0138 | 274.6979 | 122.9511 | 144.3774 |  |  | 82.5946 | CCGT - Without CCS
| 51 |  | 159.559 | 139.2383 | 81.9964 | 113.2997 |  |  |  | 139.2023 | 197.4652 | 270.2938 | 120.8758 | 141.7488 |  |  | 81.9964 | CCGT - Without CCS
| 52 |  | 156.6449 | 138.0691 | 81.4212 | 112.8979 |  |  |  | 136.6355 | 194.053 | 266.059 | 118.8804 | 139.2213 |  |  | 81.4212 | CCGT - Without CCS
| 53 |  | 153.8409 | 136.944 | 80.8676 | 112.5114 |  |  |  |  | 190.7696 | 261.9839 | 116.9603 | 136.7892 |  |  | 80.8676 | CCGT - Without CCS
| 54 |  | 151.1406 | 135.8605 | 80.3346 | 112.1391 |  |  |  |  | 187.6078 | 258.0598 | 115.1112 | 134.4471 |  |  | 80.3346 | CCGT - Without CCS
| 55 |  | 148.5385 | 134.8165 | 79.821 | 111.7804 |  |  |  |  | 184.561 | 254.2784 | 113.3294 | 132.1902 |  |  | 79.821 | CCGT - Without CCS
| 56 |  | 146.0293 | 133.8097 | 79.3257 | 111.4344 |  |  |  |  | 181.6229 | 250.632 | 111.6112 | 130.0139 |  |  | 79.3257 | CCGT - Without CCS
| 57 |  | 143.6082 | 132.8382 | 78.8478 | 111.1007 |  |  |  |  | 178.7879 | 247.1135 | 109.9533 | 127.9139 |  |  | 78.8478 | CCGT - Without CCS
| 58 |  | 141.2705 | 131.9003 | 78.3864 | 110.7784 |  |  |  |  | 176.0506 | 243.7163 | 108.3526 | 125.8863 |  |  | 78.3864 | CCGT - Without CCS
| 59 |  | 139.0121 | 130.9941 | 77.9406 | 110.467 |  |  |  |  | 173.4062 | 240.4342 | 106.8061 | 123.9274 |  |  | 77.9406 | CCGT - Without CCS
| 60 |  | 136.8289 | 130.1181 | 77.5096 | 110.166 |  |  |  |  | 170.8498 | 237.2615 | 105.3111 | 122.0339 |  |  | 77.5096 | CCGT - Without CCS
| 61 |  | 134.7173 | 129.2709 | 77.0928 | 109.8749 | [5 empty] | 234.1929 | 103.8652 | 120.2024 |  |  | 77.0928 | CCGT - Without CCS
| 62 |  | 132.6738 | 128.4509 | 76.6894 | 109.5932 | [5 empty] | 231.2232 | 102.4659 | 118.4299 |  |  | 76.6894 | CCGT - Without CCS
| 63 |  | 130.6952 | 127.657 | 76.2989 | 109.3204 | [5 empty] | 228.3477 | 101.111 | 116.7138 |  |  | 76.2989 | CCGT - Without CCS
| 64 |  | 128.7784 | 126.8879 | 75.9205 | 109.0562 | [5 empty] | 225.5622 | 99.7984 | 115.0512 |  |  | 75.9205 | CCGT - Without CCS
| 65 |  | 126.9205 | 126.1425 | 75.5538 | 108.8 | [5 empty] | 222.8623 | 98.5262 | 113.4398 |  |  | 75.5538 | CCGT - Without CCS
| 66 |  | 125.119 | 125.4196 | 75.1982 | 108.5517 | [5 empty] | 220.2442 | 97.2926 | 111.8772 |  |  | 75.1982 | CCGT - Without CCS
| 67 |  | 123.3712 | 124.7183 | 74.8532 | 108.3107 | [5 empty] | 217.7042 | 96.0958 | 110.3613 |  |  | 74.8532 | CCGT - Without CCS
| 68 |  | 121.6748 | 124.0377 | 74.5183 | 108.0768 | [5 empty] | 215.239 | 94.9341 | 108.8899 |  |  | 74.5183 | CCGT - Without CCS
| 69 |  | 120.0276 | 123.3767 | 74.1932 | 107.8497 | [5 empty] | 212.8452 | 93.8062 | 107.4612 |  |  | 74.1932 | CCGT - Without CCS
| 70 |  | 118.4274 | 122.7347 | 73.8773 | 107.6291 | [5 empty] | 210.5197 | 92.7105 | 106.0733 |  |  | 73.8773 | CCGT - Without CCS
| 71 |  |  | 122.1107 | 73.5703 | 107.4148 | [5 empty] | 208.2598 | 91.6456 | 104.7245 |  |  | 73.5703 | CCGT - Without CCS
| 72 |  |  | 121.5041 | 73.2719 | 107.2063 | [5 empty] | 206.0627 | 90.6103 | 103.4131 |  |  | 73.2719 | CCGT - Without CCS
| 73 |  |  | 120.9141 | 72.9816 | 107.0036 | [5 empty] | 203.9257 | 89.6033 | 102.1377 |  |  | 72.9816 | CCGT - Without CCS
| 74 |  |  | 120.34 | 72.6992 | 106.8063 | [5 empty] | 201.8465 | 88.6236 | 100.8967 |  |  | 72.6992 | CCGT - Without CCS
| 75 |  |  | 119.7812 | 72.4243 | 106.6144 | [5 empty] | 199.8227 | 87.67 | 99.6888 |  |  | 72.4243 | CCGT - Without CCS
| 76 |  |  | 119.2371 | 72.1567 | 106.4274 | [5 empty] | 197.8521 | 86.7415 | 98.5127 |  |  | 72.1567 | CCGT - Without CCS
| 77 |  |  | 118.7072 | 71.896 | 106.2453 | [5 empty] | 195.9328 | 85.8371 | 97.3672 |  |  | 71.896 | CCGT - Without CCS
| 78 |  |  | 118.1909 | 71.6419 | 106.0679 | [5 empty] | 194.0626 | 84.9559 | 96.251 |  |  | 71.6419 | CCGT - Without CCS
| 79 |  |  | 117.6876 | 71.3943 | 105.895 | [5 empty] | 192.2398 | 84.097 | 95.1631 |  |  | 71.3943 | CCGT - Without CCS
| 80 |  |  | 117.1969 | 71.1529 | 105.7264 | [5 empty] | 190.4626 | 83.2596 | 94.1024 |  |  | 71.1529 | CCGT - Without CCS
| 81 |  |  | 116.7183 | 70.9175 | 105.562 | [5 empty] | 188.7292 | 82.4428 | 93.0678 |  |  | 70.9175 | CCGT - Without CCS
| 82 |  |  | 116.2514 | 70.6878 | 105.4015 | [5 empty] | 187.0381 | 81.6459 | 92.0585 |  |  | 70.6878 | CCGT - Without CCS
| 83 |  |  | 115.7957 | 70.4636 | 105.245 | [5 empty] | 185.3877 | 80.8683 | 91.0735 |  |  | 70.4636 | CCGT - Without CCS
| 84 | [15 empty] | 0 | 0
| 85 | [15 empty] | 0 | 0
86
87
88
89
90

## Figure 23
Back to Index tab
Figure 23 South Australia emissions at minimum LCOE | Emissions and Minimum LCOE in SA
| Legend | Emissions (kgCO2-e/MWh) | Minimum LCOE ($/MWh)
| Wind (200 MW) (CF 42.0%) | 0 | 85.152
| Biomass (CF 70.0%) | 22.99 | 120.4682
| Solar PV DAT (CF 32.0%) | 0 | 97.8613
| Solar PV FFP (CF 22.0%) | 0 | 96.2469
| Solar PV SAT (CF 28.0%) | 0 | 89.5291
| Solar Thermal CR WS (CF 52.0%) | 0 | 136.6355
| Wave/Ocean (CF 60.0%) | 0 | 170.8498
| CCGT - Without CCS (CF 83.0%) | 469.63 | 82.8195
| OCGT - Without CCS (CF 10.0%) | 687.75 | 217.9167
| CCGT - With CCS (CF 83.0%) | 150.232 | 117.5049

## Figure 24
Back to Index tab
Figure 24 NEM emissions at minimum LCOE | Emissions and Minimum LCOE in the NEM
| Legend | Emissions (kgCO2-e/MWh) | Minimum LCOE ($/MWh)
| Wind (200 MW) (CF 42.0%) | 0 | 84.5837
| Biomass (CF 70.0%) | 22.99 | 118.4274
| Solar PV DAT (CF 32.0%) | 0 | 97.5807
| Solar PV FFP (CF 22.0%) | 0 | 95.8389
| Solar PV SAT (CF 28.0%) | 0 | 89.2085
| Solar Thermal CR WS (CF 52.0%) | 0 | 136.6355
| OCGT - Without CCS (CF 10.0%) | 582.34 | 198.3704
| CCGT - Without CCS (CF 83.0%) | 443.78 | 70.4636
| CCGT - With CCS (CF 83.0%) | 130.598 | 115.7957
| Supercritical PC - Black coal without CCS (CF 83.0%) | 811.61 | 80.8683
| Supercritical PC - Black coal with CCS (CF 83.0%) | 131.15 | 185.3877
| Supercritical PC - Brown coal without CCS (CF 83.0%) | 1193.46 | 91.0735
| Supercritical PC - Brown coal with CCS (CF 83.0%) | 169.032 | 198.1678