## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 6.7793 | 9.1012 | 11.3268 | 11.1625 | 7.958 | 9.2212 | 7.87 | 8.6338 | 7.3962 | 6.7061 | 8.9846 | 8.755 | 8.4679 | 7.6193 | 7.6779
Large Scale Storage SA | Capacity Factor | % | 6.2878 | 6.3311 | 6.3967 | 5.9632 | 4.722 | 4.5272 | 4.1914 | 4.1075 | 3.5491 | 3.1473 | 3.2523 | 3.2192 | 3.203 | 3.2054 | 3.326
Large Scale Storage QLD | Capacity Factor | % | 10.8501 | 9.5782 | 11.036 | 11.7738 | 11.9206 | 11.8221 | 11.3329 | 11.4647 | 12.2684 | 13.4828 | 12.315 | 12.0268 | 12.2029 | 12.0054 | 12.2558

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 64.2551 | 63.5966 | 59.4912 | 68.5799 | 68.0461 | 63.5087 | 68.3321 | 72.505 | 73.9663 | 76.1561 | 75.9764 | 76.2089 | 76.7763 | 69.7799 | 76.7865
Black Coal QLD | Capacity Factor | % | 54.359 | 54.6592 | 62.2493 | 68.6389 | 69.287 | 71.0975 | 64.4143 | 64.9148 | 65.1381 | 67.0682 | 70.75 | 66.9438 | 66.863 | 69.0121 | 71.4727
Brown Coal VIC | Capacity Factor | % | 74.8406 | 72.5442 | 65.6765 | 66.5362 | 72.9218 | 70.9659 | 65.1021 | 71.1268 | 68.4921 | 69.1649 | 71.9116 | 72.4082 | 64.7265 | 75.5342 | 75.8805
Natural Gas NSW | Capacity Factor | % | 0.1647 | 0.34626 | 2.7518 | 8.4419 | 10.6056 | 15.2715 | 15.8619 | 10.8597 | 16.5288 | 29.6684 | 33.0523 | 26.6029 | 30.3322 | 35.6548 | 33.3598
Natural Gas QLD | Capacity Factor | % | 6.6169 | 6.6444 | 6.2914 | 7.8198 | 8.8621 | 11.8283 | 15.8212 | 16.7253 | 18.1453 | 18.9524 | 25.8683 | 27.7813 | 30.7136 | 31.8384 | 31.38
Natural Gas VIC | Capacity Factor | % | 0.21415 | 0.078147 | 0.2062 | 0.40815 | 0.43851 | 0.37463 | 0.12567 | 0.024729 | 0.10823 | 0.10223 | 0.083673 | 0.13577 | 0.2597 | 1.4483 | 1.4654
Natural Gas SA | Capacity Factor | % | 11.9975 | 11.8306 | 13.0225 | 11.4684 | 4.1443 | 5.6275 | 5.2196 | 3.3965 | 6.1853 | 7.8707 | 7.6043 | 3.5861 | 4.0926 | 5.5741 | 5.2717
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0.046788 | 0.031451 | 0.019288 | 0.011301 | 0.011301 | 0 | 0 | 0 | 0 | 0.033904 | 0.011301 | 0 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0.0011104 | 0 | 0 | 0 | 0.0088248 | 0.014368 | 0 | 0 | 0 | 0.050601 | 0.13917 | 0.073663 | 0.023153
Liquid Fuel SA | Capacity Factor | % | 0.008607 | 0 | 0 | 0.00019062 | 0.083265 | 0.12414 | 0.020654 | 0.0032979 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Capacity Factor | % | 32.5603 | 32.5419 | 32.2037 | 32.9486 | 32.7052 | 32.0869 | 32.5276 | 32.5484 | 32.4063 | 32.3241 | 32.0798 | 32.4695 | 32.664 | 32.2259 | 32.945
Wind QLD | Capacity Factor | % | 33.1894 | 33.1945 | 32.9209 | 33.7699 | 33.3914 | 32.7044 | 33.1537 | 32.8657 | 31.4263 | 30.9919 | 31.487 | 32.1205 | 32.1645 | 31.3868 | 32.5236
Wind VIC | Capacity Factor | % | 33.4758 | 33.0555 | 32.1898 | 32.3963 | 33.8332 | 33.0424 | 33.2653 | 32.996 | 33.299 | 33.2967 | 32.9267 | 33.2176 | 33.3395 | 33.0897 | 33.2042
Wind SA | Capacity Factor | % | 32.0183 | 31.9339 | 31.3258 | 31.6019 | 32.7315 | 31.8437 | 32.1294 | 32.1101 | 31.7436 | 32.2449 | 30.4641 | 30.6407 | 30.2784 | 29.5443 | 29.8469
Wind TAS | Capacity Factor | % | 36.3637 | 36.1351 | 36.3117 | 36.4999 | 35.5396 | 36.0493 | 36.1405 | 36.1143 | 36.4949 | 35.0077 | 35.9532 | 36.1826 | 36.2963 | 36.3261 | 36.6883
Solar NSW | Capacity Factor | % | 28.4164 | 28.417 | 28.5704 | 28.3255 | 28.452 | 28.4694 | 28.2891 | 28.3733 | 28.5551 | 28.5874 | 28.4903 | 28.353 | 28.4359 | 28.6189 | 28.4067
Solar QLD | Capacity Factor | % | 30.4689 | 30.4381 | 30.5253 | 30.4061 | 30.5373 | 30.5094 | 30.3984 | 29.8604 | 26.9038 | 24.3685 | 27.4522 | 27.9399 | 27.5845 | 27.8354 | 27.4744
Solar VIC | Capacity Factor | % | 29.1219 | 29.3954 | 29.4856 | 29.3619 | 29.731 | 29.2125 | 29.1876 | 29.0598 | 29.5968 | 29.7254 | 28.4166 | 28.4137 | 28.5582 | 28.6572 | 28.7337
Solar SA | Capacity Factor | % | 30.6397 | 30.3296 | 30.4079 | 30.4228 | 30.6482 | 30.3834 | 30.6248 | 30.6713 | 30.9612 | 31.0025 | 28.3426 | 27.8231 | 26.8274 | 19.2022 | 19.2142
REZ Solar NSW | Capacity Factor | % | 30.6192 | 30.6108 | 30.7809 | 30.6234 | 30.6521 | 30.6551 | 30.5764 | 30.5697 | 30.7659 | 30.7635 | 30.356 | 30.2382 | 30.3383 | 30.2345 | 30.0167
REZ Wind NSW | Capacity Factor | % | 40.5916 | 40.7541 | 40.7301 | 41.3889 | 40.3439 | 40.0249 | 40.5125 | 40.76 | 40.8565 | 39.8059 | 39.8493 | 40.4668 | 40.9697 | 40.7454 | 41.3789
REZ Solar QLD | Capacity Factor | % | 30.6636 | 30.6608 | 30.7959 | 30.4647 | 30.8296 | 30.7249 | 30.6138 | 30.6037 | 30.3658 | 29.37 | 30.2916 | 30.272 | 30.205 | 30.4106 | 30.0753
REZ Wind QLD | Capacity Factor | % | 2027: 44.3628; 2028: 43.6932; 2029: 42.3505; 2030: 43.9493; 2031: 43.9755; 2032: 43.7832; 2033: 43.3546; 2034: 43.2409
REZ Solar SA | Capacity Factor | % | 30.8623 | 30.6632 | 30.7788 | 30.7917 | 31.1331 | 30.9232 | 30.9897 | 31.0677 | 35.6327 | 35.6731 | 34.6259 | 31.4573 | 29.5804 | 22.6283 | 22.7401
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9965 | 51.5014 | 51.7702 | 47.872 | 48.1936
Hydro NSW | Capacity Factor | % | 19.7608 | 19.8247 | 21.1245 | 22.6067 | 23.0274 | 23.5993 | 24.0461 | 24.69 | 24.9594 | 22.5804 | 23.747 | 23.3973 | 22.8034 | 21.7828 | 22.4109
Hydro QLD | Capacity Factor | % | 38.2234 | 38.2561 | 39.1489 | 40.7671 | 41.1221 | 42.0487 | 42.6326 | 42.7382 | 42.9666 | 43.225 | 42.7213 | 42.8869 | 42.7217 | 42.4353 | 42.538
Hydro VIC | Capacity Factor | % | 15.3432 | 15.2343 | 15.7433 | 15.4039 | 15.6137 | 15.3168 | 15.3199 | 15.3422 | 15.5019 | 15.4001 | 15.422 | 15.2999 | 15.393 | 15.4255 | 15.4648
Hydro TAS | Capacity Factor | % | 52.6769 | 50.9913 | 52.0059 | 51.7745 | 51.8582 | 51.8097 | 52.2075 | 52.256 | 52.7601 | 52.5861 | 52.3029 | 52.4847 | 52.5865 | 52.7062 | 52.8787
Large Scale Storage SA | Capacity Factor | % | 6.2878 | 6.3311 | 6.3967 | 5.9632 | 4.722 | 4.5272 | 4.1914 | 4.1075 | 3.5491 | 3.1473 | 3.2523 | 3.2192 | 3.203 | 3.2054 | 3.326
Large Scale Storage QLD | Capacity Factor | % | 10.8501 | 9.5782 | 11.036 | 11.7738 | 11.9206 | 11.8221 | 11.3329 | 11.4647 | 12.2684 | 13.4828 | 12.315 | 12.0268 | 12.2029 | 12.0054 | 12.2558
Large Scale Storage VIC | Capacity Factor | % | 6.7793 | 9.1012 | 11.3268 | 11.1625 | 7.958 | 9.2212 | 7.87 | 8.6338 | 7.3962 | 6.7061 | 8.9846 | 8.755 | 8.4679 | 7.6193 | 7.6779
Distributed Storage NSW | Capacity Factor | % | 0.61664 | 1.1816 | 1.6333 | 0.98937 | 0.79564 | 1.4656 | 0.95607 | 0.71234 | 0.09321 | 0.22943 | 1.1758 | 1.0052 | 0.86121 | 1.7872 | 1.9154
Distributed Storage QLD | Capacity Factor | % | 9.4952 | 9.0267 | 10.0498 | 10.2756 | 10.4517 | 10.397 | 9.7948 | 9.9192 | 11.1175 | 12.5849 | 10.7992 | 10.5348 | 10.6668 | 10.3791 | 9.9316
Distributed Storage SA | Capacity Factor | % | 15.6288 | 15.9072 | 16.3171 | 15.5377 | 13.9114 | 13.3069 | 11.8394 | 11.6497 | 10.2795 | 8.7523 | 8.6784 | 8.42 | 8.3924 | 8.3595 | 7.9639
Distributed Storage TAS | Capacity Factor | % | 0.60913 | 1.2408 | 1.679 | 0.97114 | 0.81294 | 1.4552 | 1.0171 | 0.81976 | 0.11533 | 0.21804 | 1.4627 | 1.1753 | 1.1171 | 1.9647 | 2.1471
Distributed Storage VIC | Capacity Factor | % | 13.7836 | 14.1119 | 14.517 | 14.6124 | 15.281 | 15.4823 | 13.3577 | 14.2044 | 12.2391 | 10.4623 | 12.2009 | 11.8627 | 11.3086 | 10.0554 | 9.3939
New Natural Gas NSW | Capacity Factor | % |  |  |  | 4.3637 | 4.6503 | 4.4021 | 4.4267 | 3.4495 | 5.2184 | 13.6999 | 19.3445 | 35.1412 | 37.1261 | 44.8294 | 40.9916
New Natural Gas VIC | Capacity Factor | % |  | 1.6 | 2.6049 | 5.3706 | 5.3123 | 5.9024 | 3.5706 | 2.078 | 6.0844 | 8.4589 | 7.6338 | 12.0565 | 15.089 | 29.6184 | 30.351
New Natural Gas SA | Capacity Factor | % | [6 empty] | 22.982 | 16.4646 | 33.7804 | 40.2416 | 40.7836 | 42.9 | 46.3887 | 49.3702 | 48.8106
Pumped Hydro SA | Capacity Factor | % | 2027: 22.0004; 2028: 19.8836; 2029: 15.8825; 2030: 18.6954; 2031: 18.2305; 2032: 17.388; 2033: 15.7824; 2034: 16.7441
Pumped Hydro NSW | Capacity Factor | % | 2029: 18.0261; 2030: 19.8744; 2031: 19.6406; 2032: 19.0584; 2033: 18.3736; 2034: 19.3562
Pumped Hydro QLD | Capacity Factor | % | 2029: 24.8527; 2030: 24.5129; 2031: 24.4262; 2032: 24.525; 2033: 24.5528; 2034: 24.6638
Pumped Hydro VIC | Capacity Factor | % | 2029: 16.2153; 2030: 18.6184; 2031: 18.1386; 2032: 17.5732; 2033: 15.3381; 2034: 15.5571

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 1189782.509 | 1170331.9466 | 1149092.2292 | 1175937.5757 | 1206277.6247 | 1216987.5642 | 1353577.4494 | 1442157.1961 | 1546147.333 | 1349406.0334 | 1354015.238 | 1368705.4067 | 1402166.9404 | 1294414.0744 | 1444869.3322
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 963212.0595 | 969214.4397 | 1090737.2993 | 1230348.7966 | 1273579.5444 | 1331037.1335 | 1204223.8167 | 1108851.0966 | 1145436.4142 | 1176776.9704 | 894347.2228 | 848898.4092 | 882069.8754 | 894287.3362 | 938551.054
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 322072.4578 | 313959.9952 | 288339.1724 | 292966.939 | 319882.2135 | 311343.2798 | 282933.5673 | 313428.8782 | 236044.1046 | 238158.992 | 251558.0682 | 255136.3822 | 231800.1337 | 151094.2207 | 151783.2717
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 2948.2301 | 6653.3698 | 53446.226 | 160505.6948 | 189705.7729 | 257863.991 | 257758.4409 | 181653.949 | 271726.826 | 480366.4787 | 538468.1081 | 408010.3424 | 486768.3701 | 609406.0188 | 558964.4553
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 219060.9712 | 219885.558 | 200892.2407 | 214586.6445 | 217357.8959 | 243296.0522 | 293650.4979 | 311811.2017 | 341168.2989 | 362734.5017 | 555220.6978 | 680903.8794 | 761141.9012 | 794716.8852 | 781693.426
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 9921.2053 | 4206.969 | 10989.5813 | 20001.7721 | 18375.9951 | 15883.6429 | 5147.3914 | 1028.7 | 4380.7024 | 4584.0719 | 3261.9963 | 5041.5667 | 9130.4656 | 53180.7587 | 53046.832
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 467031.1069 | 462282.8109 | 481108.5361 | 409467.8566 | 82058.1229 | 106349.4552 | 102946.7409 | 73334.7711 | 122215.51 | 149980.5279 | 145731.363 | 109795.0396 | 119002.9087 | 141524.129 | 137361.3797
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 93.2332 | 61.7085 | 37.3039 | 21.5652 | 21.2937 | 0 | 0 | 0 | 0 | 60.6963 | 20.0588 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 16.3194 | 0 | 0 | 0 | 130.2483 | 210.5421 | 0 | 0 | 0 | 722.4201 | 1954.808 | 1032.7397 | 322.8456
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 91.5884 | 0 | 0 | 2.3282 | 885.1549 | 1377.3002 | 216.5383 | 31.6536 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 24885.8455 | 25477.1569 | 32094.8728 | 42628.6597 | 46385.7815 | 51752.3267 | 55371.0517 | 59629.7459 | 63408.0349 | 45326.9367 | 54546.4437 | 51768.6961 | 46335.4164 | 39641.1593 | 42928.5199
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6985.393 | 7216.2234 | 10101.5941 | 15167.4897 | 15970.2763 | 19201.8238 | 20897.6863 | 21282.985 | 21680.9927 | 22546.9513 | 21006.8065 | 21546.1732 | 20842.8566 | 20209.8426 | 20225.1845
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22566.6855 | 22315.473 | 23262.3337 | 22791.9385 | 23112.2862 | 22541.9359 | 22546.777 | 22572.9916 | 22796.9416 | 22666.3953 | 22693.7187 | 22531.6567 | 22663.2378 | 22670.4466 | 22736.7519
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62322.7747 | 62358.79 | 62426.7157 | 62628.8567 | 62520.4443 | 62295.0971 | 62286.8401 | 62370.9898 | 62459.7225 | 62356.56 | 62325.609 | 62341.9982 | 62364.9429 | 62349.1925 | 62601.3711
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 15672.3203 | 16269.6895 | 82525.8688 | 80722.0787 | 61137.9946 | 92491.9114 | 242857.5186 | 422986.5208 | 768359.417 | 843833.2934 | 1018928.0863 | 931700.5106
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 5227.3006 | 10860.9363 | 22392.4452 | 21664.0235 | 23530.9883 | 58713.973 | 41627.1191 | 165805.0981 | 235318.5667 | 212363.7759 | 335393.9012 | 436398.4584 | 856611.3992 | 877796.868
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 62337.5829 | 42123.6809 | 86453.6307 | 104101.4693 | 105503.3738 | 116700.1978 | 129510.4598 | 137834.3943 | 136271.9517
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2709.8393 | 5713.5255 | 12623.4393 | 14867.0898 | 19466.667 | 23919.7207 | 29360.2683 | 31170.4891
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8029.7286 | 8856.549 | 9242.0535 | 18520.6642 | 36607.033 | 38593.2544
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6372.5027 | 25809.5931 | 25719.9835 | 25820.5068 | 27965.6364 | 28102.1049
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6135.8497 | 7045.3529 | 8796.3542 | 8513.5706 | 7428.397 | 7534.6992

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 7449 | 7449 | 7449 | 5769 | 5769 | 5769 | 5769 | 5769
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3718 | 3718 | 3718 | 3718 | 3718 | 2190 | 2190
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2665.1 | 2665.1 | 2425.1 | 2425.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4240 | 4640 | 5040 | 5040 | 5040 | 5340 | 5340 | 5740 | 5740 | 5740 | 5740 | 5740
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1232 | 1308 | 1308 | 1508 | 3168 | 3168
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 854.7 | 1858.7 | 2727.7 | 3525.7 | 4447.7 | 5300.7 | 5300.7 | 5300.7 | 5300.7 | 5300.7
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190 | 397 | 686 | 796 | 796 | 796 | 796 | 796
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 343 | 553 | 1126 | 1302 | 1741 | 3266 | 3266
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 234 | 395 | 395 | 433 | 766 | 766
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 5.59 | 12.46 | 21.31 | 31.74 | 43.57 | 56.44 | 69.91 | 83.91 | 98.23 | 112.73 | 127.42 | 140.9 | 152.74 | 164.24 | 181.53
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 3.04 | 6.87 | 11.52 | 16.75 | 22.28 | 28.06 | 33.93 | 39.97 | 46.16 | 52.48 | 58.9 | 65.39 | 71.95 | 78.45 | 91.54
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 1.04 | 2.36 | 4.06 | 6.08 | 8.37 | 10.93 | 13.7 | 16.62 | 19.68 | 22.86 | 26.14 | 29.42 | 32.59 | 35.63 | 40.69
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 0.25 | 0.53 | 0.88 | 1.31 | 1.65 | 1.94 | 2.16 | 2.37 | 2.56 | 2.72 | 2.88 | 3.04 | 3.19 | 3.33 | 3.54
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 3.46 | 7.6 | 12.15 | 17.1 | 22.33 | 27.93 | 33.72 | 39.67 | 45.64 | 51.68 | 57.85 | 64.13 | 70.53 | 76.91 | 88.86
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 333 | 333 | 1833 | 1833 | 1833 | 1833 | 1833 | 2261 | 2261 | 2261 | 2261 | 2261
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 315 | 402 | 402 | 402 | 402 | 1697 | 2117 | 2878 | 2878 | 2878 | 2878 | 2878 | 2878 | 2878
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 305 | 305 | 305 | 305 | 305 | 305 | 305 | 305 | 305
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 123 | 287 | 794 | 794 | 1065 | 1374 | 1859 | 1859
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 445 | 445 | 470 | 970 | 1990 | 1990
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 256 | 1051 | 1051 | 1051 | 1137 | 1137
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 378 | 378 | 484 | 484 | 484 | 484

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 19.9259 | 19.8302 | 19.6406 | 21.458 | 22.7752 | 23.9165 | 24.2656 | 25.1498 | 26.3792 | 26.496 | 26.6655 | 26.8729 | 27.3276 | 27.7256 | 28.1803
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.6892 | 21.6554 | 21.5595 | 21.9069 | 22.5971 | 23.0252 | 23.289 | 23.6382 | 23.9037 | 24.0965 | 21.8135 | 21.918 | 22.2336 | 22.5359 | 22.7455
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.7303 | 8.7303 | 8.7999 | 8.8616 | 8.8616 | 8.5123 | 8.5123
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 109.7035 | 109.7035 | 109.7035 | 106.2914 | 102.8794 | 99.4673 | 96.0552 | 96.0587 | 96.0791 | 96.0783 | 96.0717 | 101.5411 | 101.5421 | 101.5423 | 101.5428
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 91.4274 | 91.4274 | 103.1727 | 96.4418 | 91.4448 | 88.2728 | 83.3062 | 83.339 | 84.4191 | 82.6223 | 86.8951 | 90.3048 | 90.3048 | 90.3048 | 90.3048
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 160.2259 | 132.6306 | 152.8739 | 152.986 | 152.9029 | 149.2414 | 138.1669 | 116.7921 | 148.1003 | 116.7922 | 130.4664 | 117.662 | 118.7358 | 150.2175 | 149.5234
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 125.3222 | 118.4226 | 125.6701 | 123.1914 | 135.1883 | 132.6675 | 130.1467 | 130.1565 | 130.4628 | 109.3986 | 130.4617 | 134.5856 | 134.5854 | 134.5852 | 134.5852
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh | 2022: 439.7229; 2023: 432.8041; 2024: 426.4705; 2025: 420.6241; 2026: 415.1948; 2031: 393.9627; 2032: 390.4958
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh | 2022: 410.3627; 2026: 387.4724; 2027: 383.0341; 2031: 367.658; 2032: 364.4226; 2033: 361.4748; 2034: 358.7272
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh | 2020: 460.748; 2023: 441.9842; 2024: 438.1292; 2025: 432.1229; 2026: 425.2335; 2027: 417.6939
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.0094649 | 0.0095757 | 0.010222 | 0.010798 | 0.010946 | 0.011111 | 0.011167 | 0.011229 | 0.011266 | 0.010932 | 0.011159 | 0.011076 | 0.010942 | 0.010714 | 0.010836
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098565 | 0.0098459 | 0.0098529 | 0.0098516 | 0.009855 | 0.0098538 | 0.0098541 | 0.009855 | 0.0098563 | 0.0098538 | 0.0098562 | 0.0098597 | 0.0098535 | 0.0098591 | 0.0098561
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 111.7501 | 108.5967 | 105.4434 | 102.29 | 99.1367 | 99.1394 | 99.1555 | 99.1549 | 99.1497 | 103.4681 | 103.4688 | 103.469
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  | 107.0756 | 107.0756 | 107.0756 | 104.5069 | 101.9381 | 99.3694 | 96.8007 | 96.8692 | 99.1001 | 99.0997 | 99.0983 | 103.4303 | 103.4299 | 103.4297
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | [6 empty] | 88.3361 | 82.745 | 82.7754 | 83.7785 | 83.7785 | 88.6207 | 91.2189 | 91.2189 | 91.2189
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | 2027: 0.011432; 2028: 0.011429; 2029: 0.011427; 2030: 0.011433; 2031: 0.011446; 2032: 0.011429; 2033: 0.011424; 2034: 0.011431
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh | 2029: 0.011427; 2030: 0.011432; 2031: 0.011429; 2032: 0.011437; 2033: 0.011429; 2034: 0.011438
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2029: 0.011434; 2030: 0.011436; 2031: 0.011437; 2032: 0.011435; 2033: 0.011436; 2034: 0.01144
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh | 2029: 0.011428; 2030: 0.011428; 2031: 0.011438; 2032: 0.011426; 2033: 0.011423; 2034: 0.011423

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 55147.8726 | 54556.4793 | 52924.2793 | 49376.7906 | 48866.4736 | 45779.9566 | 49456.474 | 52278.6633 | 53343.4855 | 46118.1587 | 46005.5586 | 46149.3959 | 46499.5549 | 42217.9807 | 46507.8607
Black Coal QLD | Black Coal | QLD | Generation | GWh | 41273.2338 | 41391.9304 | 45788.6634 | 50182.1442 | 50612.3888 | 51922.7905 | 47190.2183 | 43269.1213 | 43270.7528 | 44255.3237 | 35967.3512 | 33785.2757 | 33875.7864 | 34980.2954 | 36326.8167
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 31647.5725 | 30720.5851 | 28391.0348 | 28723.5893 | 30873.3882 | 30051.3709 | 27218.1448 | 30113.6145 | 22093.8403 | 22283.1484 | 23510.709 | 23663.8493 | 21653.168 | 14495.2138 | 14561.1066
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 28.3562 | 66.8074 | 501.1114 | 1580.9102 | 1898.7723 | 2673.4193 | 2767.4859 | 1963.2052 | 2929.9593 | 5022.2414 | 5559.8732 | 4286.2389 | 4975.9224 | 6022.0996 | 5587.5733
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 1949.067 | 1959.5803 | 1882.8551 | 2356.3487 | 2627.1208 | 3302.3804 | 4412.4564 | 4634.2397 | 5075.6899 | 5392.9917 | 7192.5296 | 8142.5802 | 8869.0621 | 9159.6279 | 9040.7236
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 69.1729 | 28.9348 | 77.7662 | 144.2489 | 133.3591 | 117.5324 | 39.3909 | 7.9645 | 32.7132 | 35.386 | 24.88 | 38.5706 | 69.7031 | 402.8918 | 402.8019
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5566.5341 | 5518.2044 | 5708.2599 | 4831.126 | 820.2908 | 1102.4875 | 1134.9115 | 826.7116 | 1263.1499 | 1539.1432 | 1497.7818 | 1176.9126 | 1263.36 | 1455.1676 | 1423.1779
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0.20493 | 0.13775 | 0.084481 | 0.0495 | 0.0495 | 0 | 0 | 0 | 0 | 0.1485 | 0.0495 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0.038372 | 0 | 0 | 0 | 0.32386 | 0.52941 | 0 | 0 | 0 | 1.8904 | 5.1593 | 2.7473 | 0.86522
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0.18724 | 0 | 0 | 0.0050094 | 1.909 | 3.0026 | 0.4792 | 0.070763 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4267.7218 | 4264.6331 | 4218.3685 | 4313.5455 | 4287.4009 | 4205.859 | 4262.4636 | 4264.5577 | 4246.3576 | 4241.8751 | 4206.228 | 4256.1367 | 4278.8481 | 4220.4877 | 4313.6281
Wind QLD | Wind | QLD | Generation | GWh | 1965.5405 | 1965.6988 | 1949.4961 | 1999.7754 | 1977.3603 | 1936.6756 | 1963.5208 | 1952.5488 | 1877.3052 | 1841.8326 | 1863.648 | 1900.3009 | 1908.2129 | 1865.0101 | 1929.4679
Wind VIC | Wind | VIC | Generation | GWh | 8457.215 | 10652.7821 | 11787.3207 | 11915.8486 | 13817.4838 | 14710.3529 | 14779.0913 | 14656.364 | 15870.8474 | 15820.2514 | 16856.1766 | 17008.9649 | 17069.3339 | 16932.6457 | 16970.5434
Wind SA | Wind | SA | Generation | GWh | 5859.5564 | 5839.6993 | 5726.2338 | 5782.6779 | 5980.2891 | 5814.8122 | 5873.3964 | 5869.7933 | 5803.0331 | 5892.8486 | 5564.7286 | 5597.4149 | 5540.8612 | 5394.2012 | 5454.54
Wind TAS | Wind | TAS | Generation | GWh | 1337.8904 | 1329.4375 | 1335.8734 | 1342.8654 | 1307.4978 | 1326.1597 | 1329.5455 | 1328.5181 | 1342.6862 | 1287.9445 | 1322.5525 | 1331.0023 | 1335.2524 | 1336.5085 | 1349.7763
Solar NSW | Solar | NSW | Generation | GWh | 1095.188 | 1094.8929 | 1101.0413 | 1091.8308 | 1096.7028 | 1097.3713 | 1090.3773 | 1093.533 | 1099.4951 | 1101.4985 | 1097.959 | 1092.7135 | 1095.8939 | 1102.864 | 1094.5763
Solar QLD | Solar | QLD | Generation | GWh | 3245.0966 | 3242.2924 | 3251.0049 | 3240.0081 | 3252.5148 | 3249.4527 | 3238.7084 | 3192.9388 | 2893.6366 | 2607.8475 | 2914.9547 | 2971.6217 | 2930.0622 | 2958.1367 | 2920.5881
Solar VIC | Solar | VIC | Generation | GWh | 1803.4176 | 1815.6206 | 1816.7319 | 1796.9702 | 2594.0267 | 3599.9316 | 3595.6208 | 3570.1325 | 3900.7621 | 3922.9187 | 4238.0487 | 4241.2585 | 4266.5056 | 4308.7232 | 4316.3976
Solar SA | Solar | SA | Generation | GWh | 859.2641 | 850.8955 | 855.2415 | 853.7615 | 861.3672 | 854.8839 | 859.6957 | 861.4072 | 867.8532 | 868.602 | 768.5249 | 748.0112 | 708.1361 | 414.591 | 413.8091
REZ Solar NSW | Solar | NSW | Generation | GWh | 3309.1182 | 3310.6654 | 3327.0715 | 3316.4746 | 3314.473 | 3311.7376 | 3306.1396 | 3306.2173 | 3327.8012 | 3329.3553 | 3506.3855 | 3498.9843 | 4036.7836 | 8368.7505 | 8312.4093
REZ Wind NSW | Wind | NSW | Generation | GWh | 480.0358 | 481.9574 | 481.6741 | 489.4654 | 477.1075 | 473.3341 | 479.1008 | 482.0273 | 483.1695 | 470.7447 | 471.2584 | 478.5602 | 484.5076 | 481.855 | 489.3471
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.1432 | 1797.3783 | 1803.9259 | 1785.8335 | 1806.5204 | 2300.7987 | 4992.7392 | 7338.556 | 9462.8121 | 11516.3533 | 14050.1545 | 14033.1655 | 14055.4109 | 14143.3111 | 13944.5774
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 738.3738 | 1519.5273 | 2549.0483 | 3083.3429 | 3084.557 | 3065.0637 | 3042.2356 | 3033.7098
REZ Solar SA | Solar | SA | Generation | GWh | 445.7347 | 443.3152 | 444.5024 | 445.1901 | 449.4848 | 446.5374 | 447.4882 | 448.6352 | 1141.1869 | 1728.8143 | 3215.6614 | 3564.2923 | 4341.6601 | 5654.9419 | 5689.0706
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 1023.3771 | 1764.5797 | 1782.0531 | 1963.6865 | 3333.8102 | 3356.8414
Hydro NSW | Hydro | NSW | Generation | GWh | 3218.4876 | 3248.8511 | 3641.5312 | 4226.1249 | 4439.7095 | 4730.3449 | 4937.8228 | 5183.1128 | 5406.0381 | 4376.914 | 4894.7694 | 4738.4268 | 4438.1321 | 4053.6977 | 4249.0283
Hydro QLD | Hydro | QLD | Generation | GWh | 770.4138 | 783.4338 | 946.6399 | 1233.6157 | 1280.1377 | 1462.1629 | 1558.5942 | 1580.2498 | 1603.9137 | 1652.7249 | 1564.7664 | 1594.5071 | 1556.6809 | 1518.7692 | 1521.3848
Hydro VIC | Hydro | VIC | Generation | GWh | 3107.2349 | 3072.6451 | 3203.0195 | 3138.2502 | 3182.3593 | 3103.8271 | 3104.4936 | 3108.1032 | 3138.9391 | 3120.964 | 3124.7262 | 3102.4117 | 3120.5293 | 3121.5219 | 3130.6515
Hydro TAS | Hydro | TAS | Generation | GWh | 8581.3 | 8586.259 | 8595.6118 | 8623.4448 | 8608.5174 | 8577.489 | 8576.3521 | 8587.9388 | 8600.1565 | 8585.9519 | 8581.6902 | 8583.9469 | 8587.1062 | 8584.9375 | 8619.6603
Large Scale Storage SA | Battery | SA | Generation | GWh | 88.7369 | 89.1159 | 90.6882 | 85.5626 | 70.7008 | 67.0714 | 61.8454 | 60.7101 | 53.404 | 48.1061 | 49.619 | 49.2874 | 49.2026 | 49.2672 | 50.7181
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.0712 | 69.3149 | 80.068 | 85.8675 | 86.5606 | 85.3326 | 81.0142 | 83.117 | 93.4644 | 108.0736 | 94.4013 | 91.372 | 93.3884 | 91.3473 | 94.004
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 60.3024 | 76.9831 | 95.2518 | 94.6254 | 70.7853 | 82.2366 | 70.0032 | 77.159 | 65.3109 | 58.8453 | 79.6436 | 77.4841 | 74.8183 | 66.5801 | 67.1196
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.30196 | 1.2898 | 3.0491 | 2.7509 | 3.0368 | 7.2463 | 5.8551 | 5.2361 | 0.80207 | 2.2657 | 13.1241 | 12.4069 | 11.5231 | 25.713 | 30.4589
Distributed Storage QLD | Battery | QLD | Generation | GWh | 2.5286 | 5.4324 | 10.1418 | 15.0774 | 20.3988 | 25.5563 | 29.1127 | 34.7307 | 44.9547 | 57.856 | 55.7199 | 60.3449 | 67.2311 | 71.3271 | 79.6405
Distributed Storage SA | Battery | SA | Generation | GWh | 1.4238 | 3.2886 | 5.8033 | 8.2755 | 10.2 | 12.7409 | 14.2087 | 16.961 | 17.7216 | 17.5267 | 19.8723 | 21.7 | 23.9593 | 26.0917 | 28.3869
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.01334 | 0.057606 | 0.12943 | 0.11144 | 0.1175 | 0.24731 | 0.19246 | 0.17019 | 0.025865 | 0.051952 | 0.36903 | 0.31297 | 0.31217 | 0.57313 | 0.66581
Distributed Storage VIC | Battery | VIC | Generation | GWh | 4.1778 | 9.3952 | 15.4511 | 21.8888 | 29.8913 | 37.88 | 39.457 | 49.3615 | 48.9328 | 47.3644 | 61.8301 | 66.6423 | 69.8693 | 67.7465 | 73.1233
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 127.292 | 135.6533 | 706.8559 | 710.798 | 553.8854 | 837.9181 | 2199.8113 | 3831.4468 | 6960.1969 | 7353.3225 | 8879.0728 | 8118.9455
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 44.1497 | 91.7314 | 189.1264 | 187.0738 | 207.8526 | 530.7943 | 385.3627 | 1533.9558 | 2132.6047 | 1924.5806 | 3039.5988 | 3804.1225 | 7467.1812 | 7651.8751
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 614.0344 | 439.9007 | 902.5457 | 1075.1762 | 1089.6552 | 1146.2016 | 1239.4143 | 1319.0743 | 1304.1217
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 237.0496 | 499.8977 | 1104.6996 | 1300.3443 | 1700.8007 | 2092.8602 | 2570.1384 | 2726.7515
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 702.6918 | 774.7425 | 808.6413 | 1619.429 | 3202.9514 | 3374.2558
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 557.3374 | 2256.8484 | 2248.8613 | 2257.9564 | 2445.4903 | 2456.5397
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 536.9355 | 616.5057 | 769.0457 | 745.0746 | 650.313 | 659.5957

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76 | 0 | 200 | 1660 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 185 | 1004 | 869 | 798 | 922 | 553 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 190 | 207 | 279 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210 | 573 | 0 | 439 | 1125 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 161 | 0 | 38 | 0 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 0 | 400 | 400 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 60114.3147 | 59470.5746 | 57747.9783 | 53952.8618 | 53345.2523 | 49957.6392 | 53989.2519 | 57087.6941 | 58249.3352 | 50424.3493 | 50301.1277 | 50458.6115 | 50841.3854 | 46202.0056 | 50850.952
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 83688.0434 | 83877.7918 | 90966.6593 | 104185.1684 | 105537.4453 | 110410.7399 | 94415.3814 | 81717.3433 | 87989.5167 | 87791.7007 | 79674.2203 | 78001.7763 | 72140.1227 | 79255.7573 | 80590.3667
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 35856.9139 | 34805.6331 | 32141.9497 | 32519.7862 | 34979.2544 | 34048.4225 | 30882.1582 | 34118.9267 | 25043.1853 | 25258.9727 | 26647.059 | 26820.9601 | 24516.6835 | 16320.7334 | 16394.7744
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 24885.8455 | 25477.1569 | 32094.8728 | 42628.6597 | 46385.7815 | 51752.3267 | 55371.0517 | 59629.7459 | 63408.0349 | 45326.9367 | 54546.4437 | 51768.6961 | 46335.4164 | 39641.1593 | 42928.5199
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6985.393 | 7216.2234 | 10101.5941 | 15167.4897 | 15970.2763 | 19201.8238 | 20897.6863 | 21282.985 | 21680.9927 | 22546.9513 | 21006.8065 | 21546.1732 | 20842.8566 | 20209.8426 | 20225.1845
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62322.7747 | 62358.79 | 62426.7157 | 62628.8567 | 62520.4443 | 62295.0971 | 62286.8401 | 62370.9898 | 62459.7225 | 62356.56 | 62325.609 | 62341.9982 | 62364.9429 | 62349.1925 | 62601.3711
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22566.6855 | 22315.473 | 23262.3337 | 22791.9385 | 23112.2862 | 22541.9359 | 22546.777 | 22572.9916 | 22796.9416 | 22666.3953 | 22693.7187 | 22531.6567 | 22663.2378 | 22670.4466 | 22736.7519
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 2.2128 | 1.4875 | 0.91222 | 0.5345 | 0.5345 | 0 | 0 | 0 | 0 | 1.6035 | 0.5345 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0.41434 | 0 | 0 | 0 | 3.497 | 5.7166 | 0 | 0 | 0 | 20.4121 | 55.7099 | 29.6651 | 9.3426
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 2.1522 | 0 | 0 | 0.057441 | 21.8499 | 34.3828 | 5.4921 | 0.81472 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 232.912 | 536.7796 | 4187.7079 | 13147.5579 | 15983.5238 | 22850.923 | 23654.9827 | 16654.0993 | 24912.4253 | 44164.7932 | 49594.8545 | 34759.7823 | 41099.2561 | 50898.6647 | 46892.3795
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16374.761 | 16468.2829 | 14916.8715 | 17534.912 | 19586.2326 | 24669.0894 | 33212.4171 | 35102.9435 | 38207.8497 | 40493.8806 | 55121.0559 | 63875.9492 | 71111.7389 | 74089.0612 | 72947.6406
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 35711.8865 | 35472.8405 | 36937.1603 | 32897.1332 | 9346.5563 | 12573.7217 | 12977.3405 | 9471.2857 | 14440.4979 | 17582.2117 | 17112.0217 | 13523.9215 | 14506.317 | 16662.4451 | 16309.3594
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 831.1406 | 361.3312 | 948.7357 | 1750.6337 | 1593.0463 | 1411.5786 | 442.4954 | 90.0919 | 373.8045 | 406.6984 | 283.4612 | 433.2543 | 754.9223 | 4370.045 | 4367.8719
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 1305.0645 | 1390.7889 | 7247.0583 | 7287.4747 | 5678.7238 | 8590.777 | 22553.6206 | 39282.0055 | 71359.5942 | 75390.1249 | 91032.9184 | 83239.6938
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 6425.2052 | 4603.085 | 9444.1642 | 11250.5546 | 11402.0626 | 11993.7592 | 12969.1286 | 13802.6843 | 13646.2219
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 452.6463 | 940.4783 | 1939.0233 | 1917.9791 | 2131.0138 | 5441.9821 | 3950.9411 | 15726.921 | 21864.5834 | 19731.8116 | 31163.5636 | 39001.8622 | 76557.4639 | 78451.043
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3718 | 3718 | 3718 | 3718 | 3718 | 2190 | 2190
Natural Gas | MW | 2495 | 2810 | 2897 | 2897 | 2897 | 2897 | 4192 | 4612 | 5373 | 5373 | 5373 | 5373 | 4863 | 4863 | 4863
Wind | MW | 218.55 | 279.75 | 318 | 318 | 348 | 378 | 378 | 378 | 400.5 | 400.5 | 430.5 | 430.5 | 430.5 | 430.5 | 430.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2597 | 2597 | 2703 | 2703 | 2703 | 2703
Battery | MW | 108.46 | 112.6 | 117.15 | 122.1 | 127.33 | 132.93 | 138.72 | 144.67 | 150.64 | 156.68 | 162.85 | 169.13 | 175.53 | 181.91 | 193.86
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 9711.135 | 9737.1577 | 9727.5569 | 9567.8624 | 9847.4707 | 9962.2814 | 10047.167 | 10271.591 | 10040.2541 | 10147.5487 | 10313.7856 | 10312.9754 | 10401.7437 | 10406.8475 | 10205.9113
Peak Load + Min Capacity Reserves | MW | 10209.135 | 10235.1577 | 10225.5569 | 10065.8624 | 10345.4707 | 10460.2814 | 10545.167 | 10769.591 | 10538.2541 | 10645.5487 | 10811.7856 | 10810.9754 | 10899.7437 | 10904.8475 | 10703.9113

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.1182 | 37.1469 | 40.8991 | 40.8965 | 42.4658 | 45.2574 | 47.7896 | 45.5694 | 53.6258 | 53.4558 | 53.8159 | 52.9873 | 54.3524 | 57.5865 | 57.4833
Wind | GWh | 8457.215 | 10652.7821 | 11787.3207 | 11915.8486 | 13817.4838 | 14710.3529 | 14779.0913 | 14656.364 | 15870.8474 | 15820.2514 | 16856.1766 | 17008.9649 | 17069.3339 | 16932.6457 | 16970.5434
Solar | GWh | 1803.4176 | 1815.6206 | 1816.7319 | 1796.9702 | 2594.0267 | 3599.9316 | 3595.6208 | 3570.1325 | 3900.7621 | 3922.9187 | 4238.0487 | 4241.2585 | 4266.5056 | 4308.7232 | 4316.3976
Hydro | GWh | 3107.2349 | 3072.6451 | 3203.0195 | 3138.2502 | 3182.3593 | 3103.8271 | 3104.4936 | 3108.1032 | 3138.9391 | 3657.8995 | 3741.232 | 3871.4574 | 3865.6039 | 3771.8348 | 3790.2472
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 47435.5732 | 49024.7839 | 48391.5674 | 49236.4775 | 54392.885 | 55709.5317 | 53433.356 | 56279.8678 | 51267.1462 | 52761.4062 | 55433.8778 | 57189.0499 | 56238.8254 | 53048.2099 | 53522.5402

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ararat - Waubra transmission line | Annual hours | 63 | 61 | 421 | 503 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Bendigo transmission line | Annual hours | 0 | 2 | 18 | 16 | 3 | 4 | 1 | 3 | 0 | 3 | 3 | 5 | 7 | 20 | 20
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 10 | 4 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 583 | 351 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2295 | 2114 | 2905 | 2488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Balranald - Darlington Point transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 653 | 673 | 896 | 776 | 0 | 1 | 2 | 1 | 17 | 24 | 194 | 194 | 247 | 433 | 423
Avoid overload of Bulgana - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 106 | 567 | 429 | 30 | 16 | 17 | 14 | 208 | 215 | 82 | 88 | 91 | 177 | 188
Avoid overload of Geelong - Keilor transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 3 | 20 | 20 | 18 | 60 | 80 | 175 | 193 | 225 | 432 | 464
Avoid overload of Horsham - Bulgana transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 3
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 5 | 60 | 2 | 6 | 4 | 3 | 18 | 13 | 9 | 16 | 21 | 63 | 54
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 62 | 65 | 121 | 131 | 159 | 631 | 645 | 567 | 650 | 729 | 1250 | 1253 | 1262 | 1261 | 1251
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victoria to New South Wales export stability constraint | Annual hours | 1812 | 2771 | 2967 | 2892 | 2899 | 3483 | 2567 | 3270 | 2086 | 1979 | 2939 | 3070 | 2898 | 2805 | 2469