## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 6.7452 | 9.0196 | 10.8889 | 11.2781 | 7.5146 | 9.0323 | 7.8574 | 8.3593 | 8.4723 | 8.6077 | 11.4726 | 11.2337 | 10.8665 | 9.3844 | 9.2606
Large Scale Storage SA | Capacity Factor | % | 6.4036 | 6.5545 | 6.5883 | 7.0056 | 4.7612 | 4.216 | 3.7822 | 4.0544 | 4.1152 | 3.9757 | 3.9696 | 4.2881 | 4.1331 | 3.9442 | 4.2059
Large Scale Storage QLD | Capacity Factor | % | 11.1051 | 9.872 | 10.4859 | 11.0469 | 11.3501 | 11.3079 | 11.157 | 11.4464 | 12.3222 | 13.5125 | 12.5291 | 12.4259 | 12.7856 | 12.7895 | 13.1404

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 61.3571 | 59.9611 | 55.555 | 63.9671 | 62.9615 | 58.6381 | 62.7391 | 63.6108 | 64.0252 | 68.1092 | 66.9236 | 67.6256 | 68.8076 | 63.5366 | 68.8502
Black Coal QLD | Capacity Factor | % | 51.7514 | 52.0489 | 56.6249 | 61.9153 | 61.6515 | 63.6371 | 60.0719 | 55.887 | 55.3118 | 58.7948 | 64.9645 | 62.7284 | 63.0005 | 65.0144 | 66.5279
Brown Coal VIC | Capacity Factor | % | 74.2991 | 71.5711 | 64.601 | 65.3809 | 71.3079 | 69.333 | 63.6584 | 69.0699 | 62.6406 | 62.623 | 66.6291 | 66.7324 | 61.2798 | 72.1301 | 72.3011
Natural Gas NSW | Capacity Factor | % | 0.1223 | 0.20753 | 1.5722 | 3.4997 | 3.9806 | 4.857 | 5.6614 | 2.7959 | 3.0635 | 8.1247 | 7.4313 | 8.2501 | 11.4502 | 18.3026 | 13.3238
Natural Gas QLD | Capacity Factor | % | 6.8314 | 6.8298 | 6.0449 | 5.8427 | 6.0674 | 6.708 | 9.6798 | 7.6798 | 7.2022 | 7.6572 | 10.6412 | 12.0618 | 13.3925 | 16.0711 | 13.8783
Natural Gas VIC | Capacity Factor | % | 0.16313 | 0.10032 | 0.21882 | 0.2157 | 0.21085 | 0.20916 | 0.29269 | 0.092611 | 0.1694 | 0.30584 | 0.15775 | 0.24353 | 0.48707 | 1.5554 | 1.099
Natural Gas SA | Capacity Factor | % | 11.7326 | 11.6111 | 12.5789 | 9.9198 | 1.807 | 1.3085 | 1.736 | 0.80202 | 0.9212 | 1.8319 | 1.3824 | 1.2765 | 1.7337 | 3.3887 | 2.5166
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0.033904 | 0.011301 | 0 | 0 | 0.03318 | 0 | 0 | 0.011301 | 0.011301 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0034194 | 0
Liquid Fuel SA | Capacity Factor | % | 0 | 0 | 0 | 0 | 0.016176 | 0 | 0.0083261 | 0 | 0 | 0.0025479 | 0 | 0 | 0.002226 | 0 | 0
Wind NSW | Capacity Factor | % | 32.552 | 32.5155 | 32.1858 | 32.9267 | 32.6754 | 32.064 | 32.4915 | 32.4202 | 32.227 | 32.2059 | 31.9849 | 32.3182 | 32.4762 | 32.1148 | 32.8504
Wind QLD | Capacity Factor | % | 33.1924 | 33.1921 | 32.9173 | 33.7699 | 33.3914 | 32.7044 | 33.1625 | 32.7972 | 31.482 | 30.3792 | 31.1095 | 31.8227 | 31.9636 | 31.0988 | 32.0776
Wind VIC | Capacity Factor | % | 33.4748 | 32.9887 | 32.1515 | 32.2533 | 33.6525 | 32.9004 | 33.2098 | 32.7518 | 32.6821 | 32.3657 | 31.1778 | 31.2945 | 31.6331 | 32.1202 | 32.2616
Wind SA | Capacity Factor | % | 31.9012 | 31.7897 | 31.2022 | 30.8094 | 32.1007 | 30.7577 | 30.8974 | 30.788 | 30.6099 | 31.0256 | 30.5481 | 30.6327 | 30.5471 | 29.5315 | 29.8283
Wind TAS | Capacity Factor | % | 36.3601 | 36.1366 | 36.313 | 36.4813 | 35.5038 | 36.0262 | 36.1314 | 36.0939 | 36.4608 | 34.9862 | 35.9217 | 36.1476 | 36.2477 | 36.2333 | 36.5645
Solar NSW | Capacity Factor | % | 28.4026 | 28.3955 | 28.5383 | 28.2997 | 28.3992 | 28.4452 | 28.2403 | 28.0985 | 28.1871 | 28.3448 | 28.2819 | 28.0806 | 28.1313 | 28.3548 | 28.1362
Solar QLD | Capacity Factor | % | 30.4668 | 30.4317 | 30.517 | 30.4061 | 30.5373 | 30.5094 | 30.4187 | 29.7197 | 27.0073 | 23.3142 | 27.4337 | 27.7983 | 26.8368 | 27.4992 | 26.9
Solar VIC | Capacity Factor | % | 29.0884 | 29.346 | 29.4043 | 28.9821 | 29.6559 | 29.2134 | 29.2254 | 28.8869 | 29.2635 | 29.0321 | 27.2793 | 27.1927 | 27.4124 | 28.214 | 28.2017
Solar SA | Capacity Factor | % | 30.4986 | 30.1442 | 30.1074 | 29.3531 | 30.1255 | 29.9424 | 29.4954 | 29.4399 | 29.4278 | 28.4852 | 28.0674 | 27.6816 | 27.9247 | 27.4968 | 27.471
REZ Solar NSW | Capacity Factor | % | 30.6192 | 30.5922 | 30.7762 | 30.6162 | 30.5788 | 30.5837 | 30.4685 | 30.259 | 30.2808 | 30.3854 | 30.4054 | 30.2504 | 30.3217 | 30.0111 | 29.7056
REZ Wind NSW | Capacity Factor | % | 40.5803 | 40.7462 | 40.7147 | 41.3477 | 40.2817 | 39.9985 | 40.4699 | 40.6418 | 40.6236 | 39.63 | 39.7176 | 40.2395 | 40.7368 | 40.5588 | 41.0198
REZ Solar QLD | Capacity Factor | % | 30.6636 | 30.6607 | 30.7957 | 30.4647 | 30.8296 | 30.7249 | 30.6108 | 30.5987 | 29.7514 | 29.436 | 30.0473 | 30.0331 | 30.0091 | 29.9674 | 29.5219
REZ Wind QLD | Capacity Factor | % | 2027: 44.2166; 2028: 43.6715; 2029: 41.7172; 2030: 44.5894; 2031: 44.5203; 2032: 43.8424; 2033: 43.7367; 2034: 43.6164
REZ Solar SA | Capacity Factor | % | 30.7131 | 30.4766 | 30.53 | 30.2249 | 30.7738 | 30.4613 | 30.8755 | 30.7353 | 30.871 | 30.5703 | 30.3795 | 30.2823 | 30.4005 | 26.0058 | 25.9818
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9968 | 51.5014 | 51.7702 | 51.5326 | 51.9386
Hydro NSW | Capacity Factor | % | 19.6329 | 19.672 | 20.341 | 21.6141 | 22.0743 | 21.15 | 21.3419 | 21.2195 | 21.7453 | 22.551 | 21.986 | 22.5707 | 22.9978 | 23.8892 | 24.0372
Hydro QLD | Capacity Factor | % | 38.1395 | 38.2378 | 38.7026 | 39.5334 | 39.724 | 39.7305 | 40.7102 | 40.6714 | 41.2336 | 41.7056 | 41.7538 | 42.3082 | 42.0401 | 42.3478 | 42.3057
Hydro VIC | Capacity Factor | % | 15.352 | 15.2797 | 15.3329 | 15.4847 | 15.6893 | 15.627 | 15.6209 | 15.5127 | 15.5417 | 15.6555 | 15.7986 | 15.6408 | 15.4737 | 15.3654 | 15.4861
Hydro TAS | Capacity Factor | % | 52.7651 | 51.0487 | 52.3141 | 52.0824 | 52.2472 | 51.9287 | 52.2726 | 52.4765 | 52.5916 | 52.0729 | 52.3391 | 52.3018 | 52.1439 | 51.6145 | 51.9364
Large Scale Storage SA | Capacity Factor | % | 6.4036 | 6.5545 | 6.5883 | 7.0056 | 4.7612 | 4.216 | 3.7822 | 4.0544 | 4.1152 | 3.9757 | 3.9696 | 4.2881 | 4.1331 | 3.9442 | 4.2059
Large Scale Storage QLD | Capacity Factor | % | 11.1051 | 9.872 | 10.4859 | 11.0469 | 11.3501 | 11.3079 | 11.157 | 11.4464 | 12.3222 | 13.5125 | 12.5291 | 12.4259 | 12.7856 | 12.7895 | 13.1404
Large Scale Storage VIC | Capacity Factor | % | 6.7452 | 9.0196 | 10.8889 | 11.2781 | 7.5146 | 9.0323 | 7.8574 | 8.3593 | 8.4723 | 8.6077 | 11.4726 | 11.2337 | 10.8665 | 9.3844 | 9.2606
Distributed Storage NSW | Capacity Factor | % | 0.36824 | 0.47745 | 0.5464 | 0.5335 | 0.22261 | 1.0944 | 0.50566 | 0.10792 | 0.10274 | 0.26871 | 0.064494 | 0.062373 | 0.19386 | 0.44172 | 0.55689
Distributed Storage QLD | Capacity Factor | % | 9.7413 | 9.7634 | 9.4991 | 9.6057 | 10.066 | 9.8306 | 9.4968 | 9.8451 | 10.7885 | 12.5265 | 11.4011 | 10.8503 | 11.3359 | 11.256 | 11.1432
Distributed Storage SA | Capacity Factor | % | 15.6033 | 15.8179 | 15.6736 | 15.6837 | 13.3689 | 11.8644 | 10.6583 | 11.0125 | 10.6888 | 10.2688 | 10.1492 | 10.058 | 9.61 | 9.1405 | 8.7746
Distributed Storage TAS | Capacity Factor | % | 0.39278 | 0.53244 | 0.61902 | 0.68871 | 0.31804 | 1.3831 | 0.76743 | 0.22764 | 0.21323 | 0.38431 | 0.32872 | 0.3484 | 0.44611 | 1.1156 | 1.1714
Distributed Storage VIC | Capacity Factor | % | 13.7144 | 13.8737 | 13.7912 | 14.0186 | 14.6618 | 15.4628 | 13.5158 | 14.4866 | 14.1375 | 13.8782 | 16.7853 | 16.4625 | 15.6022 | 13.0513 | 12.57
New Natural Gas NSW | Capacity Factor | % |  |  |  | 1.8151 | 1.652 | 2.6795 | 2.3522 | 1.0694 | 1.4388 | 4.542 | 4.1642 | 9.0099 | 10.4897 | 19.2707 | 12.1673
New Natural Gas VIC | Capacity Factor | % |  |  |  | 1.3611 | 1.1513 | 0.9359 | 1.5366 | 0.98633 | 1.5681 | 1.6902 | 1.0351 | 1.3871 | 2.7426 | 9.7782 | 7.3359
New Natural Gas SA | Capacity Factor | % | [5 empty] | 1.7796 | 2.4005 | 1.0144 | 1.6127 | 3.0725 | 2.1756 | 5.0511 | 6.3499 | 14.8631 | 11.6426
Pumped Hydro SA | Capacity Factor | % | [5 empty] | 20.0181 | 20.4078 | 20.081 | 20.8437 | 21.9834 | 21.6164 | 22.2565 | 22.6516 | 22.0157 | 22.3702
Pumped Hydro NSW | Capacity Factor | % | [5 empty] | 18.7888 | 19.8521 | 18.9721 | 19.5893 | 21.6091 | 20.7127 | 21.9656 | 22.4285 | 23.4463 | 23.5698
Pumped Hydro QLD | Capacity Factor | % | 2029: 24.0484; 2030: 24.2081; 2031: 24.4176; 2032: 24.4392; 2033: 24.662; 2034: 24.654
Pumped Hydro VIC | Capacity Factor | % | 2033: 21.6415; 2034: 21.9387

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 1133195.3931 | 1132965.188 | 1130667.3749 | 1172857.2743 | 1155669.1347 | 1167630.3024 | 1312936.7406 | 1319568.1486 | 1435336.7375 | 1328216.1673 | 1356307.6469 | 1413253.8986 | 1461228.8305 | 1372820.6051 | 1509549.633
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 919031.6472 | 941988.3426 | 1034844.2741 | 1151380.6057 | 1159282.432 | 1212530.3821 | 1152383.8898 | 1087002.0121 | 1124127.0758 | 1207520.0533 | 997700.5601 | 978574.1627 | 1038828.1687 | 1070751.6574 | 1104660.035
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 319881.556 | 309951.0556 | 283802.9722 | 288049.5335 | 313270.6754 | 304696.9584 | 277074.5332 | 304934.2801 | 276309.9607 | 275125.9832 | 298235.3958 | 301319.1653 | 280823.8903 | 215513.4816 | 216024.7535
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 1972.4216 | 3339.6931 | 27304.5043 | 60948.5617 | 66515.2063 | 79980.5713 | 90969.2334 | 45039.3175 | 49835.379 | 126637.9325 | 122466.2114 | 138396.4563 | 184856.4104 | 297364.9932 | 215331.0189
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 206170.1656 | 206264.5812 | 176511.2864 | 148359.5346 | 138761.0843 | 134700.8256 | 167449.5811 | 133811.4481 | 125421.4746 | 131659.9411 | 216137.0322 | 261960.5071 | 290240.6323 | 349688.3397 | 298364.039
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 6833.3884 | 4789.5046 | 10386.0023 | 7609.0659 | 7002.0427 | 7363.4861 | 10422.4142 | 3566.6395 | 6306.664 | 9839.9078 | 6717.9004 | 7521.0862 | 12740.8241 | 44271.9845 | 28767.5391
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 436876.7312 | 432944.8748 | 441689.9762 | 337303.1253 | 32173.6559 | 25756.5216 | 32886.6093 | 16488.6449 | 17463.7999 | 34842.815 | 28054.3087 | 33882.3272 | 45141.2818 | 75027.9262 | 60451.7594
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 64.6955 | 21.2937 | 0 | 0 | 60.5699 | 0 | 0 | 20.0588 | 19.9008 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44.4207 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 155.559 | 0 | 93.5755 | 0 | 0 | 24.0734 | 0 | 0 | 20.4974 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 23968.9039 | 24530.1448 | 27925.5821 | 35795.5628 | 38457.544 | 32709.074 | 34809.679 | 34348.4467 | 38087.2935 | 45121.9935 | 40268.1685 | 44880.0976 | 46267.0119 | 54488.025 | 56222.0463
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6772.1485 | 7107.0982 | 8574.039 | 11352.2102 | 11586.5987 | 11970.0266 | 14978.0498 | 14746.992 | 16275.2664 | 17878.3004 | 17930.262 | 19937.2845 | 18851.0838 | 20024.2092 | 19508.0068
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22582.7755 | 22427.6578 | 22471.5331 | 22901.0255 | 23203.7039 | 23223.0561 | 23180.8771 | 22947.9023 | 22938.4771 | 23213.2602 | 23392.0615 | 23186.5712 | 22876.5702 | 22576.1369 | 22804.2524
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62323.7792 | 62349.3189 | 62427.8713 | 62243.4577 | 62395.5949 | 62307.7 | 62288.7765 | 62364.5724 | 62467.2243 | 62319.3768 | 62363.1612 | 62313.0023 | 62358.4406 | 62236.359 | 62537.1846
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 8974.0188 | 7952.5114 | 12550.0034 | 10721.0514 | 4735.2113 | 6370.6356 | 20110.9343 | 18437.954 | 39893.6072 | 48047.1271 | 88268.0888 | 55731.182
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 0 | 0 | 4541.5683 | 3749.0552 | 2969.4892 | 4751.7328 | 2970.756 | 4722.8902 | 5139.3469 | 3147.2726 | 4249.6573 | 8402.3366 | 29957.1336 | 22474.8837
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 2517.8409 | 3290.6655 | 1345.9257 | 2139.7557 | 4152.7606 | 2940.5746 | 6826.9922 | 8870.5754 | 20763.0602 | 16264.206
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 12446.7699 | 15284.3437 | 15039.0889 | 15611.4531 | 16468.1234 | 17624.825 | 18142.5672 | 18808.3426 | 29146.8142 | 29629.8408
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 2897.7138 | 3060.9325 | 2924.9861 | 3020.3339 | 3570.3847 | 11220.0543 | 11900.0237 | 16082.016 | 26677.5802 | 26831.6567
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6406.7892 | 21481.9127 | 21668.0755 | 21687.2842 | 21885.3077 | 21878.1608
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9275.2784 | 9402.8723

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 6499 | 6499 | 6499 | 6499 | 6499
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2671.1 | 2671.1 | 2431.1 | 2431.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4240 | 4640 | 5040 | 5040 | 5040 | 5340 | 5340 | 5740 | 5740 | 5740 | 5740 | 5740
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1414 | 1414 | 1414 | 3033 | 3033
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 1535.7 | 2270.7 | 2947.7 | 3767.7 | 4452.7 | 4452.7 | 4452.7 | 4452.7 | 4452.7
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 276 | 503 | 631 | 631 | 631 | 631 | 631
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 490 | 490 | 842 | 970 | 970 | 970 | 1096 | 1096 | 1096 | 1096 | 2056 | 2056
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 190 | 190 | 190 | 331 | 331
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 25.1568 | 56.0691 | 95.8798 | 142.8159 | 196.0542 | 253.9814 | 314.6069 | 377.6072 | 442.051 | 507.2804 | 573.3688 | 634.0407 | 687.346 | 739.0638 | 803.9992
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 13.6923 | 30.9345 | 51.8416 | 75.3569 | 100.2728 | 126.2546 | 152.7033 | 179.8653 | 207.739 | 236.1665 | 265.0381 | 294.2611 | 323.755 | 353.0294 | 397.184
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 4.6986 | 10.6141 | 18.2709 | 27.3616 | 37.6467 | 49.2016 | 61.6345 | 74.7964 | 88.5706 | 102.8717 | 117.6225 | 132.3793 | 146.6603 | 160.356 | 183.121
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 1.1074 | 2.4017 | 3.9644 | 5.8927 | 7.4173 | 8.7301 | 9.7122 | 10.6559 | 11.4994 | 12.2389 | 12.9664 | 13.6654 | 14.3392 | 14.99 | 15.7718
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 15.5741 | 34.1933 | 54.664 | 76.9652 | 100.4807 | 125.6983 | 151.7562 | 178.5289 | 205.3924 | 232.5471 | 260.3066 | 288.6046 | 317.3904 | 346.1144 | 386.7479
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 0 | 0 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 621 | 748 | 748 | 748 | 748 | 814 | 814 | 829 | 1322 | 1322
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 154 | 154 | 154 | 154 | 165 | 541 | 541 | 716 | 1136 | 1136
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 266 | 886 | 886 | 886 | 886 | 886
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 428 | 428

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 20.1176 | 20.8684 | 21.2403 | 23.3948 | 24.029 | 25.1858 | 25.9795 | 26.8147 | 28.7876 | 29.5429 | 30.791 | 31.7357 | 32.2089 | 32.7015 | 33.2508
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.7667 | 22.3234 | 22.5691 | 22.8742 | 23.1876 | 23.6416 | 24.0684 | 24.4436 | 25.2255 | 25.9959 | 23.8432 | 24.2534 | 24.9436 | 25.5992 | 25.8737
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.6112 | 8.6112 | 8.6669 | 8.7405 | 8.7405 | 8.4674 | 8.4674
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 99.7281 | 99.7281 | 99.7281 | 96.6123 | 93.4965 | 90.4065 | 87.2564 | 87.2564 | 87.2907 | 87.2907 | 87.2907 | 91.6272 | 91.6272 | 91.6272 | 91.6272
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 85.8312 | 83.6367 | 90.6957 | 78.5227 | 78.965 | 78.6239 | 74.2703 | 72.8366 | 66.1618 | 61.1059 | 78.7349 | 81.4521 | 81.4521 | 81.4521 | 80.144
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 145.6956 | 121.7153 | 137.4545 | 113.2925 | 128.0714 | 132.2156 | 130.0959 | 102.2083 | 104.519 | 131.331 | 127.9265 | 130.0109 | 133.3024 | 129.696 | 121.2583
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 115.6489 | 113.0091 | 116.0837 | 113.192 | 123.5368 | 120.492 | 117.5568 | 98.7921 | 90.5542 | 117.8069 | 117.8069 | 121.0926 | 121.0926 | 121.0926 | 121.0926
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh | 2025: 420.6241; 2026: 415.1948; 2029: 401.9371; 2032: 390.4958; 2033: 387.3371
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh | 2033: 361.4748
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh | 2024: 434.3103; 2026: 423.5938; 2029: 408.5682; 2032: 398.7786
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.0093161 | 0.0094227 | 0.0098401 | 0.010487 | 0.010649 | 0.010323 | 0.010475 | 0.010446 | 0.010657 | 0.010923 | 0.010763 | 0.010933 | 0.010945 | 0.011135 | 0.011161
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098326 | 0.0098481 | 0.0098521 | 0.0098543 | 0.009855 | 0.0098645 | 0.0098538 | 0.0098538 | 0.009854 | 0.0098566 | 0.0098573 | 0.0098601 | 0.0098542 | 0.0098553 | 0.0098549
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 101.6118 | 98.6683 | 95.7248 | 92.8828 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 93.3903 | 93.3903 | 93.3903
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  |  |  | 107.7018 | 104.8598 | 101.9163 | 99.0743 | 96.2323 | 96.2323 | 97.2473 | 97.2473 | 98.0593 | 98.0593 | 98.0593 | 98.0593
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | [5 empty] | 94.304 | 91.056 | 87.808 | 87.808 | 89.635 | 89.635 | 89.635 | 92.9845 | 92.9845 | 92.9845
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | [5 empty] | 0.01143 | 0.01143 | 0.01143 | 0.01143 | 0.011433 | 0.011434 | 0.011432 | 0.011434 | 0.011432 | 0.011437
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh | [5 empty] | 0.011432 | 0.011429 | 0.011428 | 0.011429 | 0.011431 | 0.01143 | 0.011431 | 0.011432 | 0.011434 | 0.01144
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2029: 0.011433; 2030: 0.011433; 2031: 0.011434; 2032: 0.011434; 2033: 0.011434; 2034: 0.011434
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh | 2033: 0.011431; 2034: 0.011431

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 52502.599 | 51188.8205 | 49162.2064 | 46002.2489 | 45150.4494 | 42231.0283 | 45342.5089 | 45762.5025 | 46077.1664 | 41161.2916 | 40428.7753 | 40863.1322 | 41594.4097 | 38380.298 | 41631.654
Black Coal QLD | Black Coal | QLD | Generation | GWh | 39553.6445 | 39760.621 | 42656.2256 | 46231.266 | 46031.3357 | 47318.0909 | 44597.7391 | 41816.454 | 41354.3153 | 43273.2945 | 37433.4772 | 35826.5603 | 36071.8473 | 37206.9597 | 38188.9455
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 31437.5941 | 30337.2044 | 27952.3914 | 28250.4858 | 30255.5608 | 29432.2457 | 26672.725 | 29326.6378 | 26188.2676 | 26064.305 | 28305.8717 | 28342.0284 | 26586.9079 | 20735.149 | 20784.1124
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 20.4084 | 36.3003 | 282.5482 | 648.6791 | 731.3324 | 906.5315 | 1065.6194 | 528.7479 | 581.2833 | 1464.0342 | 1440.4681 | 1625.6296 | 2119.6421 | 3274.7213 | 2450.2434
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 2014.1156 | 2016.7495 | 1792.0137 | 1738.208 | 1779.687 | 1922.7857 | 2686.2922 | 2148.8057 | 2017.8108 | 2133.6885 | 2919.4077 | 3500.0933 | 3906.9747 | 4717.459 | 4046.3882
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 51.7831 | 35.6223 | 79.914 | 60.629 | 56.7532 | 60.2024 | 88.5486 | 30.5878 | 54.0471 | 83.8498 | 56.2894 | 63.2808 | 106.4681 | 373.241 | 243.883
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5453.9765 | 5403.1898 | 5501.9854 | 4255.7839 | 348.3817 | 298.8743 | 395.7857 | 202.4552 | 198.6508 | 394.8522 | 320.1936 | 392.9753 | 522.7678 | 838.2596 | 686.2973
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0.1485 | 0.0495 | 0 | 0 | 0.14533 | 0 | 0 | 0.0495 | 0.0495 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11817 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0.33661 | 0 | 0.20616 | 0 | 0 | 0.055375 | 0 | 0 | 0.04875 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4266.9151 | 4261.8973 | 4216.1713 | 4311.325 | 4284.26 | 4203.3807 | 4258.7243 | 4250.0249 | 4227.0301 | 4228.6517 | 4196.5223 | 4239.1533 | 4258.6269 | 4205.9348 | 4301.7784
Wind QLD | Wind | QLD | Generation | GWh | 1965.575 | 1965.5408 | 1949.3365 | 1999.7754 | 1977.3603 | 1936.6756 | 1964.1377 | 1950.2183 | 1880.3453 | 1814.0511 | 1839.4718 | 1877.8024 | 1894.4508 | 1837.2535 | 1893.1901
Wind VIC | Wind | VIC | Generation | GWh | 8447.696 | 10618.8945 | 11746.3436 | 11852.5823 | 13755.2315 | 14671.3994 | 14742.3387 | 14567.0761 | 15631.9456 | 15451.959 | 16058.9256 | 16145.4773 | 16253.6018 | 16467.8838 | 16522.9467
Wind SA | Wind | SA | Generation | GWh | 5839.0961 | 5814.5072 | 5703.7147 | 5637.5217 | 5865.7529 | 5615.4101 | 5651.5618 | 5626.2804 | 5594.832 | 5669.2866 | 5577.1542 | 5595.3869 | 5588.7543 | 5395.5732 | 5454.386
Wind TAS | Wind | TAS | Generation | GWh | 1337.7315 | 1329.5045 | 1335.9306 | 1342.046 | 1305.9194 | 1325.1382 | 1329.1426 | 1327.6182 | 1341.182 | 1286.9959 | 1321.1606 | 1329.4542 | 1333.1042 | 1332.4093 | 1344.2974
Solar NSW | Solar | NSW | Generation | GWh | 1094.6557 | 1094.0869 | 1099.7696 | 1090.6928 | 1094.3446 | 1096.3212 | 1088.1975 | 1081.4592 | 1083.5667 | 1090.893 | 1088.8288 | 1080.6448 | 1082.9991 | 1091.6584 | 1082.5501
Solar QLD | Solar | QLD | Generation | GWh | 3244.9456 | 3241.8568 | 3250.2465 | 3240.0081 | 3252.5148 | 3249.4527 | 3239.9354 | 3177.8744 | 2907.2267 | 2522.8223 | 2922.0048 | 2960.7949 | 2862.4003 | 2926.733 | 2865.7014
Solar VIC | Solar | VIC | Generation | GWh | 1802.456 | 1812.8677 | 1810.0103 | 1773.2298 | 2587.7704 | 3594.6194 | 3599.9081 | 3546.2284 | 3837.7499 | 3796.1026 | 3986.2608 | 3972.411 | 4011.6245 | 4179.5945 | 4184.203
Solar SA | Solar | SA | Generation | GWh | 854.5707 | 845.8054 | 845.1051 | 820.1252 | 844.3759 | 830.6392 | 812.3734 | 811.0074 | 808.899 | 772.3179 | 758.7772 | 744.61 | 753.0425 | 735.3788 | 734.4141
REZ Solar NSW | Solar | NSW | Generation | GWh | 3309.1182 | 3309.5693 | 3326.4659 | 3315.9627 | 3528.2889 | 3529.3994 | 3519.8257 | 3501.1202 | 3508.6979 | 3520.1496 | 3776.5741 | 3759.9034 | 3770.7571 | 7961.6481 | 7897.7245
REZ Wind NSW | Wind | NSW | Generation | GWh | 479.9025 | 481.8647 | 481.4922 | 488.9776 | 476.3712 | 473.0221 | 478.5968 | 480.6297 | 480.4145 | 468.6649 | 469.7007 | 475.8721 | 481.7528 | 479.6488 | 485.1001
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.1432 | 1797.3715 | 1803.9155 | 1785.8335 | 1806.5204 | 1800.4 | 4123.3704 | 6106.3561 | 7906.1219 | 9878.931 | 11694.8391 | 11701.0679 | 11722.7275 | 11693.5857 | 11486.5269
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 352.4769 | 1055.8714 | 1850.3959 | 2472.4819 | 2466.7866 | 2431.2508 | 2433.7852 | 2422.5427
REZ Solar SA | Solar | SA | Generation | GWh | 444.3344 | 441.3689 | 441.7728 | 1309.419 | 1331.8633 | 2290.355 | 2629.9298 | 2617.7572 | 2630.1331 | 2935.3117 | 2908.8748 | 2894.5544 | 2897.0069 | 4134.0271 | 4119.7629
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 629.7705 | 848.7903 | 857.1901 | 861.6638 | 1494.2186 | 1505.9916
Hydro NSW | Hydro | NSW | Generation | GWh | 3166.2423 | 3195.9695 | 3391.4395 | 3848.4896 | 3998.172 | 3659.0805 | 3778.2447 | 3752.1939 | 3966.7696 | 4365.0336 | 4085.4648 | 4334.9349 | 4423.6524 | 4890.7773 | 4994.1536
Hydro QLD | Hydro | QLD | Generation | GWh | 758.4069 | 777.4796 | 860.1016 | 1017.3168 | 1031.5397 | 1050.981 | 1222.8959 | 1210.1668 | 1297.5519 | 1387.8072 | 1391.1811 | 1502.8297 | 1443.3444 | 1509.0897 | 1481.0501
Hydro VIC | Hydro | VIC | Generation | GWh | 3109.4503 | 3088.092 | 3094.1332 | 3153.2705 | 3194.9467 | 3197.6113 | 3191.8037 | 3159.7251 | 3158.4273 | 3196.2625 | 3220.8819 | 3192.5877 | 3149.9033 | 3108.5362 | 3139.9457
Hydro TAS | Hydro | TAS | Generation | GWh | 8581.4383 | 8584.9549 | 8595.7709 | 8570.3787 | 8591.3267 | 8579.2243 | 8576.6187 | 8587.0552 | 8601.1894 | 8580.8321 | 8586.8609 | 8579.9544 | 8586.2109 | 8569.4013 | 8610.8224
Large Scale Storage SA | Battery | SA | Generation | GWh | 89.3241 | 91.1743 | 91.6483 | 96.2522 | 69.3107 | 63.2331 | 56.9114 | 59.9209 | 59.7749 | 58.4882 | 57.9002 | 61.3739 | 59.66 | 57.4709 | 60.4055
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.1414 | 71.3063 | 75.3976 | 79.8838 | 82.3589 | 81.4441 | 79.6814 | 83.2927 | 93.1451 | 106.8205 | 95.4507 | 95.3596 | 99.2267 | 99.3559 | 102.6607
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 60.0418 | 76.3725 | 91.274 | 95.208 | 67.0218 | 80.5503 | 69.9476 | 74.8502 | 75.5764 | 76.98 | 103.6993 | 101.4804 | 97.9825 | 83.803 | 82.7489
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.8115 | 2.3451 | 4.5893 | 6.6744 | 3.8233 | 24.3494 | 13.9358 | 3.57 | 3.9784 | 11.9407 | 3.2394 | 3.4643 | 11.6726 | 28.5979 | 39.2218
Distributed Storage QLD | Battery | QLD | Generation | GWh | 11.6841 | 26.4574 | 43.1385 | 63.41 | 88.4187 | 108.7253 | 127.037 | 155.122 | 196.3292 | 259.1506 | 264.7026 | 279.6919 | 321.4955 | 348.0956 | 387.7085
Distributed Storage SA | Battery | SA | Generation | GWh | 6.4223 | 14.7074 | 25.086 | 37.5918 | 44.0886 | 51.1363 | 57.5461 | 72.1556 | 82.9322 | 92.5376 | 104.5743 | 116.6363 | 123.4637 | 128.3989 | 140.7572
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.038102 | 0.11202 | 0.21497 | 0.35551 | 0.20665 | 1.0577 | 0.65292 | 0.21249 | 0.2148 | 0.41203 | 0.37338 | 0.41707 | 0.56037 | 1.4649 | 1.6184
Distributed Storage VIC | Battery | VIC | Generation | GWh | 18.7105 | 41.5563 | 66.0403 | 94.5154 | 129.0546 | 170.2638 | 179.6772 | 226.5576 | 254.3673 | 282.7155 | 382.752 | 416.2015 | 433.7937 | 395.7115 | 425.86
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 79.5003 | 72.3567 | 117.3623 | 103.0245 | 46.8416 | 63.0195 | 198.9411 | 182.3917 | 394.6349 | 459.448 | 844.0588 | 532.9264
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 0 | 0 | 38.1542 | 32.2746 | 26.235 | 43.0734 | 27.6487 | 43.9558 | 47.3796 | 29.0147 | 38.8835 | 76.8798 | 274.102 | 205.6409
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 23.384 | 31.5424 | 13.3291 | 21.1906 | 40.3728 | 28.588 | 66.3715 | 83.438 | 195.3005 | 152.9836
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 1088.9764 | 1337.2176 | 1315.801 | 1365.7821 | 1440.4605 | 1541.3884 | 1587.032 | 1644.966 | 2549.5708 | 2590.6274
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 253.468 | 267.8132 | 255.9418 | 264.268 | 312.3378 | 981.6082 | 1040.9858 | 1406.7514 | 2333.2265 | 2345.5174
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 560.3653 | 1878.8803 | 1895.1367 | 1896.8141 | 1914.1063 | 1913.4822
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 811.4007 | 822.5427

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 1619 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 866 | 735 | 677 | 820 | 685 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 185 | 227 | 128 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 324 | 0 | 352 | 128 | 0 | 0 | 126 | 0 | 0 | 0 | 960 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0 | 0 | 141 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 0 | 400 | 400 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 57231.2176 | 55798.5933 | 53638.9114 | 50269.0191 | 49289.0647 | 46086.8871 | 49496.9533 | 49971.2809 | 50314.112 | 45002.2695 | 44200.805 | 44676.3604 | 45476.4922 | 42001.3111 | 45517.0431
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 79958.0698 | 80844.6414 | 87454.3709 | 97578.1707 | 97389.8065 | 100765.8345 | 90093.6004 | 84844.1354 | 89802.4044 | 90130.5094 | 86171.6004 | 86269.9071 | 81287.7085 | 88572.6629 | 89311.9206
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 35618.5258 | 34370.3957 | 31644.5827 | 31983.9945 | 34276.9117 | 33344.1875 | 30261.188 | 33224.0556 | 29673.038 | 29534.2942 | 32068.3455 | 32109.4266 | 30096.427 | 23389.1495 | 23444.2186
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 23968.9039 | 24530.1448 | 27925.5821 | 35795.5628 | 38457.544 | 32709.074 | 34809.679 | 34348.4467 | 38087.2935 | 45121.9935 | 40268.1685 | 44880.0976 | 46267.0119 | 54488.025 | 56222.0463
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6772.1485 | 7107.0982 | 8574.039 | 11352.2102 | 11586.5987 | 11970.0266 | 14978.0498 | 14746.992 | 16275.2664 | 17878.3004 | 17930.262 | 19937.2845 | 18851.0838 | 20024.2092 | 19508.0068
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62323.7792 | 62349.3189 | 62427.8713 | 62243.4577 | 62395.5949 | 62307.7 | 62288.7765 | 62364.5724 | 62467.2243 | 62319.3768 | 62363.1612 | 62313.0023 | 62358.4406 | 62236.359 | 62537.1846
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22582.7755 | 22427.6578 | 22471.5331 | 22901.0255 | 23203.7039 | 23223.0561 | 23180.8771 | 22947.9023 | 22938.4771 | 23213.2602 | 23392.0615 | 23186.5712 | 22876.5702 | 22576.1369 | 22804.2524
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 1.6035 | 0.5345 | 0 | 0 | 1.5692 | 0 | 0 | 0.5345 | 0.5345 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.276 | 0
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 3.8699 | 0 | 2.3684 | 0 | 0 | 0.63598 | 0 | 0 | 0.559 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 170.7976 | 291.298 | 2347.7584 | 5466.3554 | 6158.0593 | 7573.4106 | 8960.8245 | 4442.0225 | 4933.799 | 12454.1794 | 12073.337 | 13074.835 | 17360.3177 | 27489.6116 | 20132.2186
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16856.1025 | 16884.7921 | 14220.4096 | 12839.9289 | 13159.5539 | 14240.3818 | 20046.9911 | 15964.1068 | 14947.23 | 15798.3106 | 21825.4084 | 26248.5351 | 29353.1552 | 35712.7253 | 30332.4374
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 35090.692 | 34790.7692 | 35651.4305 | 28080.1574 | 3969.43 | 3418.0231 | 4528.8562 | 2320.8589 | 2272.8448 | 4515.4607 | 3664.0717 | 4511.1465 | 5999.6273 | 9594.8199 | 7865.7116
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 620.7219 | 443.613 | 977.6316 | 741.9961 | 681.8497 | 706.955 | 1007.3023 | 346.592 | 607.7739 | 954.0186 | 640.3773 | 706.2932 | 1153.2625 | 4041.9266 | 2640.6549
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 815.0789 | 741.8388 | 1203.2602 | 1056.2612 | 480.2446 | 646.1091 | 2039.6485 | 1869.975 | 4046.0048 | 4710.5027 | 8653.7342 | 5463.8414
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 244.6881 | 330.0567 | 139.4742 | 221.7363 | 422.4578 | 299.1429 | 694.5058 | 873.0881 | 2043.6083 | 1600.8077
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 391.1773 | 330.8963 | 268.9755 | 441.6109 | 283.4691 | 450.6575 | 485.7606 | 297.4738 | 398.6545 | 788.2117 | 2810.2377 | 2108.3381
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas | MW | 2495 | 2495 | 2495 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2305 | 2305 | 2305
Wind | MW | 218.55 | 279.75 | 318 | 318 | 348 | 378 | 378 | 378 | 400.5 | 400.5 | 430.5 | 430.5 | 430.5 | 430.5 | 430.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2647 | 2647
Battery | MW | 120.5741 | 139.1933 | 159.664 | 181.9652 | 205.4807 | 230.6983 | 256.7562 | 283.5289 | 310.3924 | 337.5471 | 365.3066 | 393.6046 | 422.3904 | 451.1144 | 491.7479
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 9611.02 | 9519.17 | 9340.28 | 9045.48 | 9245.18 | 9219.72 | 9211.17 | 9329.81 | 9261.36 | 9323.11 | 9263.07 | 9277.7 | 9392.05 | 9332.86 | 9143.54
Peak Load + Min Capacity Reserves | MW | 10109.02 | 10017.17 | 9838.28 | 9543.48 | 9743.18 | 9717.72 | 9709.17 | 9827.81 | 9759.36 | 9821.11 | 9761.07 | 9775.7 | 9890.05 | 9830.86 | 9641.54

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.2558 | 37.4164 | 41.1173 | 41.3423 | 43.0032 | 45.9048 | 48.61 | 46.2897 | 50.5515 | 50.6432 | 49.462 | 49.5908 | 51.3184 | 57.9292 | 58.2692
Wind | GWh | 8447.696 | 10618.8945 | 11746.3436 | 11852.5823 | 13755.2315 | 14671.3994 | 14742.3387 | 14567.0761 | 15631.9456 | 15451.959 | 16058.9256 | 16145.4773 | 16253.6018 | 16467.8838 | 16522.9467
Solar | GWh | 1802.456 | 1812.8677 | 1810.0103 | 1773.2298 | 2587.7704 | 3594.6194 | 3599.9081 | 3546.2284 | 3837.7499 | 3796.1026 | 3986.2608 | 3972.411 | 4011.6245 | 4179.5945 | 4184.203
Hydro | GWh | 3109.4503 | 3088.092 | 3094.1332 | 3153.2705 | 3194.9467 | 3197.6113 | 3191.8037 | 3159.7251 | 3158.4273 | 3196.2625 | 3220.8819 | 3192.5877 | 3149.9033 | 3919.9369 | 3962.4884
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 47214.2119 | 48614.2979 | 47753.367 | 48530.0048 | 53583.1312 | 55031.6749 | 52644.3825 | 55271.1176 | 53826.1816 | 53802.5417 | 57140.4726 | 57453.5746 | 56082.8623 | 51964.8144 | 52101.2088

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ararat - Waubra transmission line | Annual hours | 43 | 71 | 423 | 456 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Bendigo transmission line | Annual hours | 0 | 4 | 16 | 35 | 4 | 3 | 2 | 4 | 4 | 3 | 8 | 9 | 5 | 3 | 0
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 11 | 4 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 593 | 324 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2284 | 2098 | 2805 | 2246 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Balranald - Darlington Point transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 681 | 692 | 918 | 948 | 0 | 2 | 12 | 5 | 5 | 3 | 93 | 98 | 110 | 129 | 142
Avoid overload of Bulgana - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 111 | 566 | 406 | 23 | 16 | 22 | 12 | 96 | 86 | 13 | 10 | 14 | 45 | 36
Avoid overload of Geelong - Keilor transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 2 | 14 | 14 | 12 | 35 | 34 | 35 | 23 | 32 | 78 | 94
Avoid overload of Horsham - Bulgana transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 5 | 85 | 2 | 4 | 5 | 4 | 8 | 2 | 2 | 1 | 2 | 9 | 8
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 61 | 72 | 124 | 211 | 152 | 644 | 678 | 596 | 571 | 546 | 845 | 817 | 876 | 1083 | 1020
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victoria to New South Wales export stability constraint | Annual hours | 2294 | 3326 | 3658 | 3828 | 3406 | 4694 | 3365 | 4391 | 3650 | 3796 | 5636 | 5480 | 4683 | 3381 | 3129