# Metering Competition – Analysis

EXEMPTION – METER TYPE 4A

This document provides an initial analysis of the draft rule with respective to the exemption requirements for a type 4A metering installation. Also included are actions that are likely to occur due to the requirements of the respective market procedures.

Exemption

| No. | Applicable instrument | Role | Responsibility | Timing | Process |
| --- | --- | --- | --- | --- | --- |
| 1 | NER 7.8.4 (a) | MC | - Apply for exemption from having remote access. - Demonstrate that no telecommunication network exists. | - When a meter is being installed for a new connection or being replaced. - When new MC is appointed for the connection point? | Manual process |
| 2 | NER 7.8.4 (a) | AEMO | - Grant exemption for one or more periods of up to 5 years. | - After application is received | Manual process |
| 3 | Commercial agreement | MC | - Inform FRMP and MP of exemption | - When exemption is granted | Manual process |
| 4 | NER 7.8.4 (b) SLP MP procedure MSATS procedure | MP | - Submit MSATS change request to update NMI with type 4A meter registration record | - Upon confirmation of exemption by MC | MSATS change request transaction |
| 5 | MSATS Procedure | MSATS | - Send notifications of type 4A meter registration record | - After MP submission | MSATS auto notifications |
| 6 | SLP MDP | MDP | - Incorporate meter into reading schedule | - Upon notifications of type 4A meter registration record from MSATS |  |
| 7 | MSATS Procedure | MDP | - Submit MSATS change request to update NMI with read route information | - Upon notifications of type 4A meter registration record from MSATS | MSATS change request transaction |

Reversion 4A to 4

| No. | Applicable instrument | Role | Responsibility | Timing | System |
| --- | --- | --- | --- | --- | --- |
| 1 | NER 7.8.4 (c) | MC | - Determine exemption will cease to apply, metering installation will need to be changed to type 4 | Prior to when exemption ceases to apply | Manual process |
| 2 | Commercial agreement | MC | - Inform FRMP/MP/MDP of end of exemption period | Subject to agreement | Manual process |
| 3 | Commercial agreement | MC | - Appoint new MP & MDP (if required) | Subject to agreement | Manual process |
| 4 | MSATS procedure | MC | - Submit change request to update MP & MDP roles (if required) | After agreement with new MP & MDP | Change request in MSATS |
| 5 | Commercial agreement | MC | - Request that tests are conducted to ensure meter meets minimum services specification | Prior to when exemption ceases to apply | Manual process |
| 6 | SLP MP procedure | MP | - Conduct tests to ensure meter meets minimum services specification | Prior to when exemption ceases to apply |  |
| 7 | MSATS procedure | MP | - Submit MSATS change request to update NMI standing data – including change to type 4 meter registration record | Effective date as the date after exemption ceases to apply | MSATS change request transaction |
| 8 | SLP MDP | MDP | - Old MDP to send churn data to new MDP (if required) | After day of meter churn |  |