# Metering Competition – Rule Analysis

High level changes

This paper documents high level requirements of the rule change with respect to role appointment and commercial agreements between the parties.

Diagram 1 – High level appointment requirements

Notes (diagram 1):

- “Appoint”: appointing a party to a role for the provision of services at a connection point as required under the Rule. “Appoint”, in this diagram, does not include populating the roles in MSATS. Further clarifications is expected in Final Determination. Refer to issue MC49 on PoC Issue Register.

- “Another person” :

  - The clause 7.3.2(a)(2) in the new rule has not changed from the old rule clause 7.2.5(a)(2).

  - This provision is to allow the operation of the ASP scheme in NSW where customer can engage the party that installs the meter.

  - Clarifications required on how the ASP scheme works for MC. Refer to issue MC12 on PoC Issue Register.

- FRMP is required to appoint MC where large customer does not appoint MC.

Diagram 2 – Contractual relationship – Rule requirement

Notes

- There is no provision for MDP or MP to supply services from the metering installation without MC involvement.

- It is AEMC’s intention that MDPs will only be able to provide services to DNSPs or other parties with MC approval. The rules don’t seek to regulate contractual arrangements as such, however, given the MC must approve parties that wish to access services and have a range of other obligations to oversee the provision of metering services they will need to be involved in some way. Refer to issue MC13 on PoC Issue Register.

- Definition of a large customer for MC. Thresholds for large customers are set by jurisdictions. How will large/small customer classification be recorded for MC? this classification is currently different from NMI classification in MSATS for VIC and NSW. Refer to issue MC11 on PoC Issue Register.