# 2025 RCM Limit Advice WEM Limit Advice Version 1 Public 30 June 2025

Western Power

363 Wellington Street

Perth WA 6000

GPO Box L921 Perth WA 6842

Electricity Networks Corporation

ABN 18 540 492 861

WEMLimitAdvice@westernpower.com.au

westernpower.com.au

ELECTRICITY INDUSTRY ACT 2004

ELECTRICITY INDUSTRY

(WHOLESALE ELECTRICITY MARKET)

REGULATIONS 2004

WHOLESALE ELECTRICITY MARKET RULES

Authorisation

|  | Title | Name | Date |
| --- | --- | --- | --- |
| Approver: | A/Transmission System Planning Manager | S Sidhu | 30/6/2025 |

Version Release History

| Version | Effective Date | Summary of Changes |
| --- | --- | --- |
| 0 | 30/5/2025 | 2025 RCM Limit Advice – original version |
| 1 | 30/6/2025 | Change 2025 RCM model |

DISCLAIMER

Western Power provides this Limit Advice and associated information in good faith and in the performance of its functions conferred under rules 4.4B.3 and 4.4B. the Wholesale Electricity Market Rules. Western Power has used reasonable endeavours to ensure that this Limit Advice and information is complete, current and accurate at the time it is provided to AEMO. Western Power is not liable for any acts, errors or omissions, or for any results obtained by any party from the use of this information, generally and in accordance with its statutory immunity under section 126 of the Electricity Industry Act 2004 (WA).”

Contents

Abbreviations	1

1.	Purpose	2

2.	Provided Information	2

2.1	Estimated SWIS Configuration	2

2.2	Estimated proportion of the peak demand	2

2.3	RCM thermal network limit	3

2.4	RCM non-thermal network limit	3

2.5	Normally open points (NOP) in summer 2028	3

2.6	Facilities subject to NCS or NCESS	4

# Abbreviations

The following table provides a list of abbreviations and acronyms used throughout this document. Defined terms are identified in this document by capitals.

| Term | Definition |
| --- | --- |
| NCESS | Non-Co-optimised Essential System Services |  |
| NCS | Network Control Services |  |
| RCM | Reserve Capacity Mechanism |  |
| SWIS | South West Interconnected System |  |
| WEM | Wholesale Electricity Market |  |

# Purpose

This Limit Advice is to provide AEMO with the requested information in accordance with Western Power’s obligation, as a Network Operator, specified in clauses 4.4B.3 and 4.4B.5 of the WEM Rules.

# Provided Information

All the requested information is in the following sub sections or referenced attachments. The required explanation for changes in the information submitted for this and previous Reserve Capacity Cycles is included in the applicable uploaded files.

## Estimated SWIS Configuration

The estimated configuration of the SWIS during summer 2028 peak, without the recently approved projects and the proposed connection points of the Facilities to be included by AEMO in the 2025 RCM model, is available from the “SWIS RCM MODEL 2025 20250630”, uploaded to the “2025 Capacity Cycle” folder in AEMO’s sharepoint.

The proposed connection points of the Facilities to be included by AEMO in the 2025 RCM model are provided under the “Substation for proposed connection” row in the “4.4B.2.a-EOI details” worksheet of the “2025 RCM 20250416– Post EOI Summary published” spreadsheet uploaded to the “2025 Capacity Cycle” folder in AEMO’s sharepoint.

The special protection/control schemes applicable to the RCM constraint equation development, but not limited to, are in the “2025 RCM Special Protection Scheme” file uploaded to the “2025 Capacity Cycle” folder in AEMO’s sharepoint.

## Estimated proportion of the peak demand

The estimated proportion of the SWIS peak demand during summer 2028 at each Electrical Location is in the “2025 RCM – peak demand and block loads published” file uploaded to the “2025 Capacity Cycle” folder in AEMO’s sharepoint.

Table 2.1 shows:

No new load with an estimated peak demand > 10MW; and

Existing loads having a change in the estimated peak demand of more than 10MW between summer 2027 and summer 2028.

Table 2.1:	New and existing block loads with estimated peak demand variation > 10MW

| # | Description | Estimated peak demand in 2027 summer (MW) | Estimated peak demand in 2028 summer (MW) | New/Existing load | Substation | Forecast in service date |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Block Load 24 | 27 | 1 | Existing | MRN | N/A |

## RCM thermal network limit

The following information has been included the “2025 RCM thermal ratings published” file uploaded to the “2025 Capacity Cycle” folder in AEMO’s sharepoint:

Thermal ratings of all applicable lines and transformers assuming an ambient temperature of 41 degrees Celsius;

Transmission Network assets scheduled to be commissioned or retired; and

Proposed changes to the SWIS to facilitate the connection of new Facilities notified by in AEMO’s Expression of Interest spreadsheet.

- Note as per the 2024 RCM thermal ratings, the 2025 RCM thermal ratings of overhead lines in the “2025 RCM thermal ratings published” file are based on the solar irradiance of 300 W/m2.

## RCM non-thermal network limit

If the limit equation “W-LE1^WKT 220/132kV} EGF” in the Limit Advice #1 results in no solution for AEMO’s 2023 NAQ model, it can be excluded as there are other means to manage the transfer when this limit equation is violated in the NAQ model.

## Normally open points (NOP) in summer 2028

Table 2.2 lists out the expected NOP under N-0 system during summer 2028.

Table 2.2: Expected NOP in summer 2028

| # | NOP |
| --- | --- |
| 1 | BEL end of BEL-EP-NT 81 line |
| 2 | PIC end of PIC-PNJ-BSN-KEM 81 line |
| 3 | NGN & NGS ends of NGN-NGS-WAG 71 line |
| 4 | KEL end of CUN-KEL |
| 5 | SX end of YLN-SX |
| 6 | 132kV end of KW BTT1 330/132kV transformer |
| 7 | MIL end of HAY-MIL 81 cable |
| 8 | MLA bus section 804 at MLA 132kV busbar |
| 9 | 22kV isolator 505.4 at WGP 22kV bus |
| 10 | MUC end of HBK-MUC |
| 11 | Establish KW-ST-SF (ST bypass) line when the AGL (KND) expansion and most KW facilities are in service to mitigate KW 132kV fault level |
| 12 | MUL end of MUL-PBY |
| 13 | WGA end of NBT-WGA |

## Facilities subject to NCS or NCESS

There are no facilities required to be in service during summer 2028 to provide NCS, NCESS or equivalent service to Western Power.