# 2026 RCM Limit Advice WEM Limit Advice Version 2 Public 21 August 2026

Western Power

363 Wellington Street

Perth WA 6000

GPO Box L921 Perth WA 6842

Electricity Networks Corporation

ABN 18 540 492 861

WEMLimitAdvice@westernpower.com.au

westernpower.com.au

ELECTRICITY INDUSTRY ACT 2004

ELECTRICITY INDUSTRY

(WHOLESALE ELECTRICITY MARKET)

REGULATIONS 2004

WHOLESALE ELECTRICITY MARKET RULES

Authorisation

|  | Title | Name | Date |
| --- | --- | --- | --- |
| Approver: | A/Transmission System Planning Manager | A Muthuveerappan | 21/8/2026 |

Version Release History

| Version | Effective Date | Summary of Changes |
| --- | --- | --- |
| 0 | 12/6/2026 | 2026 RCM Limit Advice – original version |
| 1 | 11/8/2026 | Changes to loads, thermal ratings, EOI information |
| 2 | 21/8/2026 | Changes to thermal ratings, EOI information format |

DISCLAIMER

Western Power provides this Limit Advice and associated information in good faith and in the performance of its functions conferred under rules 4.4B.3 and 4.4B. the Wholesale Electricity Market Rules. Western Power has used reasonable endeavours to ensure that this Limit Advice and information is complete, current and accurate at the time it is provided to AEMO. Western Power is not liable for any acts, errors or omissions, or for any results obtained by any party from the use of this information, generally and in accordance with its statutory immunity under section 126 of the Electricity Industry Act 2004 (WA).”

Contents

Abbreviations	1

1.	Purpose	2

2.	Provided Information	2

2.1	Estimated SWIS Configuration	2

2.2	Estimated proportion of the peak demand	2

2.3	RCM thermal network limit	3

2.4	RCM non-thermal network limit	3

2.5	Normally open points (NOP) in summer 2028-29	3

2.6	Facilities subject to NCS or NCESS	4

# Abbreviations

The following table provides a list of abbreviations and acronyms used throughout this document. Defined terms are identified in this document by capitals.

| Term | Definition |
| --- | --- |
| NCESS | Non-Co-optimised Essential System Services |  |
| NCS | Network Control Services |  |
| RCM | Reserve Capacity Mechanism |  |
| SWIS | South West Interconnected System |  |
| WEM | Wholesale Electricity Market |  |

# Purpose

This Limit Advice is to provide AEMO with the requested information in accordance with Western Power’s obligation, as a Network Operator, specified in clauses 4.4B.3, 4.4B.5 and 4.4B.9 of the WEM Rules.

# Provided Information

All the requested information is in the following sub sections or referenced attachments. The required explanation for changes in the information submitted for this and previous Reserve Capacity Cycles is included in the applicable uploaded files.

## Estimated SWIS Configuration

The estimated configuration of the SWIS during summer 2028-29 peak, without the recently approved projects and the proposed connection points of the Facilities to be included by AEMO in the 2026 RCM model, is available from the “SWIS RCM MODEL 2026 20260608”, uploaded to the “2026 Capacity Cycle” folder in AEMO’s sharepoint.

The proposed connection points of the EOI Facilities to be included by AEMO in the 2026 RCM model are in the “Connection” worksheet of the “2026 RCM - Post CRC – Proposed connection arrangement V1” spreadsheet uploaded to the “2026 Capacity Cycle” folder in AEMO’s sharepoint.

The special protection/control schemes applicable to the RCM constraint equation development, but not limited to, are in the “2026 RCM V1 – RAS published” file uploaded to the “2026 Capacity Cycle” folder in AEMO’s sharepoint.

## Estimated proportion of the peak demand

The estimated proportion of the SWIS peak demand during summer 2028-29 at each Electrical Location is in the “2026 RCM V1 – peak demand and block loads published” file uploaded to the “2026 Capacity Cycle” folder in AEMO’s sharepoint. There are:

No new load with an estimated peak demand > 10MW; and

No existing loads having a change in the estimated peak demand of more than 10MW between summer 2027-28 and summer 2028-29.

The associated Transmission Node Identifiers of substations expected to be in service on 1/Oct/2028 is in the “2026 RCM substations and TNI V0 published“ file uploaded to the “2026 Capacity Cycle” folder in AEMO’s sharepoint.

## RCM thermal network limit

The following information has been included the “2026 RCM thermal ratings V2 published” file uploaded to the “2026 Capacity Cycle” folder in AEMO’s sharepoint:

Thermal ratings of all applicable lines and transformers assuming an ambient temperature of 41 degrees Celsius and a solar irradiance of 300 W/m2;

Transmission Network assets scheduled to be commissioned or retired; and

Proposed changes to the SWIS to facilitate the connection of new Facilities notified by in AEMO’s Expression of Interest spreadsheet.

## RCM non-thermal network limit

If the limit equation “W-LE1^WKT 220/132kV} EGF” in the Limit Advice #1 results in no solution for AEMO’s 2023 NAQ model, it can be excluded as there are other means to manage the transfer when this limit equation is violated in the NAQ model. Additionally, line overloads in AEMO’s NAQ model that cannot be resolved through generation dispatch can be excluded.

## Normally open points (NOP) in summer 2028-29

Table 2.2 lists out the expected NOP under N-0 system during summer 2028-29.

Table 2.2: Expected NOP in summer 2028-29

| # | NOP |
| --- | --- |
| 1 | BEL end of BEL-EP-NT 81 line |
| 2 | PIC end of PIC-PNJ-BSN-KEM 81 line |
| 3 | NGN & NGS ends of NGN-NGS-WAG 71 line |
| 4 | KEL end of CUN-KEL |
| 5 | SX end of YLN-SX |
| 6 | 132kV end of KW BTT1 330/132kV transformer |
| 7 | MIL end of HAY-MIL 81 cable |
| 8 | MLA bus section 804 at MLA 132kV busbar |
| 9 | 22kV isolator 505.4 at WGP 22kV bus |
| 10 | MUC end of HBK-MUC |
| 11 | ST end of KW-ST 81 line when the AGL (KND) expansion and most KW facilities are in service to mitigate KW 132kV fault level |
| 12 | MUL end of MUL-PBY |
| 13 | WGA end of NBT-WGA |
| 14 | MRT end of MRT-CNS-NOR 81 |

## Facilities subject to NCS or NCESS

There are no facilities required to be in service during summer 2028-29 to provide NCS, NCESS or equivalent service to Western Power.