## README
AEMO Calculation Spreadsheet for Maximum Reserve Capacity Price
Final report for 2018-19
This spreadsheet performs the calculation of the Maximum Reserve Capacity Price (MRCP). It has been published to improve the transparency of the MRCP determination for Market Participants.
Throughout this spreadsheet, the following conventions apply:
* The green cells are input values. These cells are editable to allow Market Participants to test the sensitivity of the various input values.
The following worksheets contain input parameters:
* The ANNUALISED_FIXED_O&M sheet calculates the annualised fixed O&M cost from the costs provided by Jacobs, Western Power and AEMO.
* The WACC sheet calculates the Weighted Average Cost of Capital from the DRP provided by Pricewaterhouse Coopers (PwC) and other WACC parameters calculated by AEMO.
* The PC sheet calculates the annualised power station capital cost from the costs provided by Jacobs.
* The M sheet contains the margin M for legal, financing and approval costs as provided by Jacobs.
* The TC sheet calculates the transmission connection cost from the parameters provided by Western Power.
* The FFC sheet calculates the fixed fuel cost from the costs provided by Jacobs.
* The LC sheet calculates the land cost from the costs provided by Landgate.
* The ESCALATION_FACTORS sheet contains the various cost escalation factors provided by Jacobs and Western Power.
The following worksheets perform or display the calculations that lead to the MRCP:
* The ANNUALISED_CAP_COST sheet determines the annualised capital cost for the power station.
* The MRCP_Calculation sheet displays the final MRCP equation and the various input values.

## MRCP_Calculation
MAXIMUM RESERVE CAPACITY PRICE
MRCP =(ANNUALISED_FIXED_O&M + ANNUALISED_CAP_COST / CC) | 159819.9701 | $AUD/MW/Year
Where
MRCP
The Maximum Reserve Capacity Price to apply in a reserve Capacity Auction
ANNUALISED_FIXED_O&M | 32581.684 | $AUD/MW/Year
Is the annualised fixed operating and maintenance costs for a typical open cycle gas turbine power station and any associated electricity transmission facilities determined in cluase 1.9 and expressed in Australian dollars in year t, per MW per year
ANNUALISED_CAP_COST | 19149362.0563 | $AUD/Year
Is the CAPCOST, expressed in Australia dollars, annualised over a 15 year period, using a Weighted Average Cost of Capital (WACC) as determined in clause 1.13
CC | 150.5 | MW
is the expected Capacity Credit allocation determined @ 41DegC including inlet cooling

## ANNUALISED_CAP_COST
ANNUALISED_CAP_COST
PC | 834781.5319 | $AUD/MW
Capital cost of an open cycle gas turbine power station, expressed in Australian dollars per MW as determined in step 1.7 for that location
M | 20% | %
Margin to cover legal, approval, financing and other costs and contingencies as determined in step 1.12
CC | 150.5 | MW
is the expected Capacity Credit allocation determined in conjunction with Power Station costs in step 1.7.1 (b)
TC | 160280 | $AUD
is the Transmission Connection Cost Estimate, expressed in Australian dollars per MW, as determined in step 1.8
FFC | 7089948.3878 | $AUD
is the Fixed Fuel Cost as determined in step 1.10
LC | 2656498.8123 | $AUD
is the Land Cost as determined in step 1.11
WACC | 5.69% | %
Is the Weighted Average Cost of Capital as determined in step 1.13
CAP_COST | 189810125.5627 | $AUD
WACC | 5.69% | %
Term of Finance (Years) | 15 | Years
ANNUALISED_CAP_COST | 19149362.0563 | $AUD/Year
where ANNUALISED_CAP_COST = -PMT(WACC,TERM,CAPCOST)
= -PMT(WACC,15,(PCx (1+M) x CC + TC x CC + FFC + LC) x (1+ WACC)^1/2)
=
Note on A30: MT : PMT= calculate payment for a loan with constant payments and interest rate

## ANNUALISED_FIXED_O&M
ANNUALISED_FIXED_O&M
Generation
Generation O&M Costs (SKM Power Station Elements - Table 3-2)
1 to 5 years |  | 10985000
6 to 10 years |  | 10985000
11 to 15 years |  | 10985000
16 to 20 years |  | 10985000
21 to 25 years |  | 10985000
26 to 30 years |  | 10985000
31 to 35 years
36 to 40 years
41 to 45 years
46 to 50 years
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 10985000 | 10985000 | 10985000 | 10985000 | 10985000 | 10985000 | 10985000 | 10985000 | 10985000 | 10985000 | 10985000 | 10985000 | 10985000 | 10985000 | 10985000
Yearly Cost |  | 2197000 | 2197000 | 2197000 | 2197000 | 2197000 | 2197000 | 2197000 | 2197000 | 2197000 | 2197000 | 2197000 | 2197000 | 2197000 | 2197000 | 2197000
WACC |  | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69%
Present Value |  | 2078722.2456 | 1966812.0958 | 1860926.7439 | 1760741.8389 | 1665950.4913 | 1576262.3333 | 1491402.6296 | 1411111.4353 | 1335142.8 | 1263264.0143 | 1195254.897 | 1130907.1204 | 1070023.5725 | 1012417.7531 | 957913.2022
Total PV (Sum) |  | 1: 21776853.1733
Anuity |  | 1: 2197000
Escalation Type |  | 1: Generation_O&M
Prices as at |  | 1: 2015-06-30
To be escalated to |  | 1: 2018-10-01
Escalation (Financial Year ending) | 2016-06-30 | 1: 3.5%
| 2017-06-30 | 1: 3.5%
| 2018-06-30 | 1: 3.51%
| 2019-06-30 | 1: 3.51%
Cost Per MW Per Year |  | 1: 16329.5409; 2: Per MW Per Year
Transmission | bar: 1
Switchyard O&M Costs (SKM Non Power Station Elements - Table 4-1) | bar: 1
1 to 5 years |  | 1: 325000
6 to 10 years |  | 1: 325000
11 to 15 years |  | 1: 325000
16 to 20 years |  | 1: 325000
21 to 25 years |  | 1: 325000
26 to 30 years |  | 1: 325000
31 to 35 years |  | 1: 325000
36 to 40 years |  | 1: 325000
41 to 45 years |  | 1: 325000
46 to 50 years |  | 1: 325000
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 325000 | 325000 | 325000 | 325000 | 325000 | 325000 | 325000 | 325000 | 325000 | 325000 | 325000 | 325000 | 325000 | 325000 | 325000
Yearly Cost |  | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000
WACC |  | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69%
Present Value |  | 61500.6582 | 58189.707 | 55057.0043 | 52092.9538 | 49288.4761 | 46634.9803 | 44124.3382 | 41748.859 | 39501.2663 | 37374.675 | 35362.5709 | 33458.7905 | 31657.5021 | 29953.188 | 28340.6273
Total PV (Sum) |  | 325000 1: 644285.5968
Anuity |  | 325000 1: 65000
Escalation Type |  | 325000 1: Connection_O&M
Prices as at |  | 325000 1: 2015-06-30
To be escalated to |  | 325000 1: 2018-10-01
Escalation (Financial Year ending) | 2016-06-30 | 325000 1: 4.1%
| 2017-06-30 | 325000 1: 4.1%
| 2018-06-30 | 325000 1: 4.1%
| 2019-06-30 | 325000 1: 4.1%
Cost Per MW Per Year |  | 325000 1: 492.2383; 325000 2: Per MW Per Year
Transmission Line O&M Costs (SKM Non Power Station Elements - Table 4-2) | bar: 325000 1
1 to 5 years |  | 325000 1: 6250
6 to 10 years |  | 325000 1: 6250
11 to 15 years |  | 325000 1: 6250
16 to 20 years |  | 325000 1: 6250
21 to 25 years |  | 325000 1: 6250
26 to 30 years |  | 325000 1: 6250
31 to 35 years |  | 325000 1: 6250
36 to 40 years |  | 325000 1: 6250
41 to 45 years |  | 325000 1: 6250
46 to 50 years |  | 325000 1: 6250
51 to 55 years |  | 325000 1: 6250
56 to 60 years |  | 325000 1: 6250
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 6250 | 6250 | 6250 | 6250 | 6250 | 6250 | 6250 | 6250 | 6250 | 6250 | 6250 | 6250 | 6250 | 6250 | 6250
Yearly Cost |  | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
WACC |  | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69% | 5.69%
Present Value |  | 1182.705 | 1119.0328 | 1058.7885 | 1001.7876 | 947.8553 | 896.8265 | 848.545 | 802.8627 | 759.6397 | 718.7437 | 680.0494 | 643.4383 | 608.7981 | 576.0228 | 545.0121
Total PV (Sum) |  | 6250 1: 12390.1076
Anuity |  | 6250 1: 1250
Escalation Type |  | 6250 1: Connection_O&M
Prices as at |  | 6250 1: 2015-06-30
To be escalated to |  | 6250 1: 2018-10-01
Escalation (Financial Year ending) | 2016-06-30 | 6250 1: 4.1%
| 2017-06-30 | 6250 1: 4.1%
| 2018-06-30 | 6250 1: 4.1%
| 2019-06-30 | 6250 1: 4.1%
Cost Per MW Per Year |  | 6250 1: 9.4661; 6250 2: Per MW Per Year
Asset Insurance Costs | bar: 6250 1
Total cost of Power Stn build | 150761544.6655
Fixed Fuel Costs | 7089948.3878
Asset Replacement Insurance Percentage | 0.24%
Terrorism Levy Mark up | 1.02
Stamp Duty Mark up (also applies to Terrorism levy) | 1.1 | 6250 2: Actual MRCP; 6250 3: Chk if Same to nearest $100?
Asset replacement insurance |  | 6250 1: 425062.5005
Estimated MRCP | 159801.4232 | 6250 2: 159819.9701; 6250 3: TRUE
Business interruption insurance |  | 6250 1: 129524.295
Public and products liability insurance | 108900
Annual insurance site survey | 20000 | 6250 1: 137295.5873
Yearly cost |  | 6250 1: 691882.3828
Escalation Type |  | 6250 1: CPI
Prices as at |  | 6250 1: 2018-04-01
To be escalated to |  | 6250 1: 2018-10-01
Escalation (Financial Year ending) | 2016-06-30 | bar: 6250 1
| 2017-06-30 | 6250 1: 2.5%
| 2018-06-30 | 6250 1: 2.5%
| 2019-06-30 | 6250 1: 2.5%
Cost per MW Per Year |  | 6250 1: 4654.4931; 6250 2: Per MW Per Year
Fixed Network Access/ ongoing charges | bar: 6250 1
Western Power Charges | values from the WP website
Control system service charge (unit price is $/kW/day) | 0.00177 | 6250 1: 97230.525
Transmission Metering (unit price is $/meter/day) | 42.3314 | 6250 1: 15450.95
Use of system Charge (unit price is $/kW/day) | 0.02614 | 6250 1: 1435935.55
Total WP Charges |  | 6250 1: 1548617.0251
Escalation Type |  | 6250 1: CPI
Prices as at |  | 6250 1: 2015-07-01
To be escalated to |  | 6250 1: 2018-10-01
Escalation (Financial Year ending) | 2016-06-30 | bar: 6250 1
| 2017-06-30 | 6250 1: 2.5%
| 2018-06-30 | 6250 1: 2.5%
| 2019-06-30 | 6250 1: 2.5%
Cost Per MW Per year |  | 6250 1: 11095.9455; 6250 2: Per MW Per Year
ANNUALISED_FIXED_O&M |  | 6250 1: 32581.684
Note on B108: Asset replacement insurance percentage as at 30 June 2015
Note on B114: As at 30 June 2015. Calculated as Premium + 10% stamp duty + 10% GST
Note on B115: As at 30 June 2015
Note on B133: WP price list 2015-16 section 6.3.3 Control system services Table 16
Note on B134: WP price list 2015-16 metering prices table 18
Note on B135: WP price access Table 14 - Muja PWS highest price of power stations located in the regions listed in the Market Procedure.

## WACC
Weighted Average Cost of Capital (WACC)
CAPM Parameter | Review Frequency | Value | Value (For Calculation)
Nominal Risk Free Rate of Return (%) | Annual | 2.92 | 0.0292
Expected Inflation (%) | Annual | 2.45 | 0.0245
Real risk free rate of return (%) | Annual | 0.45876 | 0.0045876
Market Risk Premium (%) | 5- yearly | 6 | 0.06
Asset beta | 5- yearly | 0.5 | 0.5
Equity beta | 5- yearly | 0.83 | 0.83
Debt risk premium (%) , DRP (%) | Annual | 2.363 | 0.02363
Debt Issuance Costs (%) | 5-yearly | 0.125 | 0.00125
Corporate tax rate (%) | Annual | 30 | 0.3
Franking credit value | 5- yearly | 0.25 | 0.25
Debt to total assets ratio (%) | 5- yearly | 40 | 0.4
Equity to total assets ratio (%) | 5- yearly | 60 | 0.6
Nominal pre-tax Cost of Debt (Nominal return on debt) | 5.408%
Nominal post-tax Cost of Equity (Nominal return on equity) | 7.9%
WACC (Nominal) | 8.279%
WACC (Real) | 5.69%

## PC
PC
JACOBS Total EPC Cost ($) |  | 117102988
Capacity (MW) |  | 150.5
Total Cost Per MW |  | 778092.9435
Escalation Type |  | Power_Station_Capital
Prices as at |  | 2015-06-30
To be escalated to |  | 2018-04-01
Escalation (Financial Year ending) | 2016-06-30 | 0.38%
| 2017-06-30 | 4.16%
| 2018-06-30 | 3.48%
PC |  | 834781.5319

## M
M
Total M as a percentage of CAPEX | 20%

## TC
TC (Western Power Costing)
Total Transmission Costs | 160280
Escalation type | Transmission_Connection
Prices as at | 2018-04-01
To be escalated to | 2018-04-01
Escalation | -2.2%
TC | 160280

## FFC
FFC
Fixed Fuel Costs
ITEM A - Sub total for facility installation |  | 6056100
ITEM B - Fuel sufficient for 14 hours of operation at maximum capacity (litres * fuel price per litre) |  | 600300
Total |  | 6656400
Escalation Type |  | CPI
Prices as at |  | 2015-06-30
To be escalated to |  | 2018-04-01
Escalation (Financial Year ending) | 2016-06-30 | 2%
| 2017-06-30 | 2.5%
| 2018-06-30 | 2.5%
FFC |  | 7089948.3878

## LC
LC
Region | Land Area (Hectares) | Price Per Hectare | Stamp Duty on Land Parcel | Assessed Value | Stamp duty calculator:
https://rol.osr.wa.gov.au/Calculators/faces/Calculators?_afrLoop=482854060468439&_afrWindowMode=0&_adf.ctrl-state=1bjwmmsfw6_4
Pinjar | 3 | 1700000 | 256565 | 5356565
Kwinana | 3 | 2400000 | 364715 | 7564715
Kemerton | 5 | 250000 | 58290 | 1308290
Collie | 3 | 95000 | 9452.5 | 294452.5
Geraldton | 3 | 150000 | 17290 | 467290
Eneabba | 3 | 35000 | 2280 | 107280
Kalgoorlie | 3 | 750000 | 109790 | 2359790
Average Cost |  |  |  | 2494054.6429
Escalation Type |  |  |  | CPI
Prices as at |  |  |  | 2015-06-30
To be escalated to |  |  |  | 2018-04-01
Escalation |  | Financial year ending | 2016-06-30 | 2%
|  |  | 2017-06-30 | 2.5%
|  |  | 2018-06-30 | 2.5%
LC |  |  |  | 2656498.8123
Average Land Parcel Cost | 2494054.6429
Average Land Cost | 831351.5476
Total easement cost as at 30 June 2015 | 4988109.2857
Total easement cost as at 30 June 2016 | 5087871.4714
Note on C3: Neetika Kapani: Based on Landgate report
Note on D3: Use Transfer duty Calculator Rate Type: General Rate
Note on B30: Neetika Kapani: Divides average land parcel size by 3 hectares to give an average price per hectare
Note on B31: Neetika Kapani: Multiplies average price per hectare by 12 hectares (area of easement) and 50% (assumes that easement cost is 50% of purchase cost of land)

## ESCALATION_FACTORS
ESCALATION FACTORS
Financial Year ending
| 2016-06-30 | 2017-06-30 | 2018-06-30 | 2019-06-30
Power_Station_Capital | 0.38% | 4.16% | 3.48% | 4.44%
Generation_O&M | 3.5% | 3.5% | 3.51% | 3.51%
Connection_O&M | 4.1% | 4.1% | 4.1% | 4.1%
CPI | 2% | 2.5% | 2.5% | 2.5%
Transmission_Connection | -2.2% | -2.2% | -2.2% | -2.2%