## README
AEMO Calculation Spreadsheet for Benchmark Reserve Capacity Price
Draft report for 2022-23
This spreadsheet performs the calculation of the Benchmark Reserve Capacity Price (BRCP). It has been published to improve the transparency of the BRCP determination for Market Participants.
Throughout this spreadsheet, the following conventions apply:
* The green cells are input values. These cells are editable to allow Market Participants to test the sensitivity of the various input values.
The following worksheets contain input parameters:
* The ANNUALISED_FIXED_O&M sheet calculates the annualised fixed O&M cost from the costs provided by GHD, Western Power and AEMO.
* The WACC sheet calculates the Weighted Average Cost of Capital from the DRP provided by Pricewaterhouse Coopers (PwC) and other WACC parameters calculated by AEMO.
* The PC sheet calculates the annualised power station capital cost from the costs provided by GHD.
* The M sheet contains the margin M for legal, financing and approval costs as provided by GHD.
* The TC sheet calculates the transmission connection cost from the parameters provided by Western Power.
* The FFC sheet calculates the fixed fuel cost from the costs provided by GHD.
* The LC sheet calculates the land cost from the costs provided by Landgate.
* The ESCALATION_FACTORS sheet contains the various cost escalation factors provided by GHD and Western Power.
The following worksheets perform or display the calculations that lead to the BRCP:
* The ANNUALISED_CAP_COST sheet determines the annualised capital cost for the power station.
* The BRCP_Calculation sheet displays the final BRCP equation and the various input values.

## BRCP_Calculation
BENCHMARK RESERVE CAPACITY PRICE
BRCP =(ANNUALISED_FIXED_O&M + ANNUALISED_CAP_COST / CC) | 142460.5309 | $AUD/MW/Year
Where
BRCP
The Benchmark Reserve Capacity Price to apply in a reserve Capacity Auction
ANNUALISED_FIXED_O&M | 30926.2425 | $AUD/MW/Year
Is the annualised fixed operating and maintenance costs for a typical open cycle gas turbine power station and any associated electricity transmission facilities determined in cluase 1.9 and expressed in Australian dollars in year t, per MW per year
ANNUALISED_CAP_COST | 16984441.443 | $AUD/Year
Is the CAPCOST, expressed in Australia dollars, annualised over a 15 year period, using a Weighted Average Cost of Capital (WACC) as determined in clause 1.13
CC | 152.28 | MW
is the expected Capacity Credit allocation determined @ 41DegC including inlet cooling

## ANNUALISED_CAP_COST
ANNUALISED_CAP_COST
PC | 859629.3471 | $AUD/MW
Capital cost of an open cycle gas turbine power station, expressed in Australian dollars per MW as determined in step 1.7 for that location
M | 17.16% | %
Margin to cover legal, approval, financing and other costs and contingencies as determined in step 1.12
CC | 152.28 | MW
is the expected Capacity Credit allocation determined in conjunction with Power Station costs in step 1.7.1 (b)
TC | 181760 | $AUD
is the Transmission Connection Cost Estimate, expressed in Australian dollars per MW, as determined in step 1.8
FFC | 7213563.7996 | $AUD
is the Fixed Fuel Cost as determined in step 1.10
LC | 2536249.7758 | $AUD
is the Land Cost as determined in step 1.11
WACC | 3.602% | %
Is the Weighted Average Cost of Capital as determined in step 1.13
CAP_COST | 194206746.2797 | $AUD
WACC | 3.602% | %
Term of Finance (Years) | 15 | Years
ANNUALISED_CAP_COST | 16984441.443 | $AUD/Year
where ANNUALISED_CAP_COST = -PMT(WACC,TERM,CAPCOST)
= -PMT(WACC,15,(PCx (1+M) x CC + TC x CC + FFC + LC) x (1+ WACC)^1/2)
=
Note on A30: MT : PMT= calculate payment for a loan with constant payments and interest rate

## ANNUALISED_FIXED_O&M
ANNUALISED_FIXED_O&M
Generation
Generation O&M Costs (SKM Power Station Elements - Table 3-2)
1 to 5 years |  | 10281140
6 to 10 years |  | 10281140
11 to 15 years |  | 10281140
16 to 20 years |  | 10281140
21 to 25 years |  | 10281140
26 to 30 years |  | 10281140
31 to 35 years |  | 10281140
36 to 40 years |  | 10281140
41 to 45 years |  | 10281140
46 to 50 years |  | 10281140
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 10281140 | 10281140 | 10281140 | 10281140 | 10281140 | 10281140 | 10281140 | 10281140 | 10281140 | 10281140 | 10281140 | 10281140 | 10281140 | 10281140 | 10281140
Yearly Cost |  | 2056228 | 2056228 | 2056228 | 2056228 | 2056228 | 2056228 | 2056228 | 2056228 | 2056228 | 2056228 | 2056228 | 2056228 | 2056228 | 2056228 | 2056228
WACC |  | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602%
Present Value |  | 1984739.6923 | 1915736.7988 | 1849132.9097 | 1784844.6195 | 1722791.4224 | 1662895.6116 | 1605082.1818 | 1549278.7354 | 1495415.392 | 1443424.7005 | 1393241.5549 | 1344803.1128 | 1298048.7165 | 1252919.8174 | 1209359.9021
Total PV (Sum) |  | 10281140 1: 23511715.1677
Anuity |  | 10281140 1: 2056228
Escalation Type |  | 10281140 1: Generation_O&M
Prices as at |  | 10281140 1: 2019-06-30
To be escalated to |  | 10281140 1: 2022-10-01
Escalation (Financial Year ending) | 2020-06-30 | bar: 10281140 1
| 2021-06-30 | 10281140 1: 0.4%
| 2022-06-30 | 10281140 1: 1.3%
2023-06-30 | bar: 10281140 1
Cost Per MW Per Year |  | 10281140 1: 14354.7679; 10281140 2: Per MW Per Year
Transmission | bar: 10281140 1
Switchyard O&M Costs (SKM Non Power Station Elements - Table 4-1) | bar: 10281140 1
1 to 5 years |  | 10281140 1: 387270
6 to 10 years |  | 10281140 1: 387270
11 to 15 years |  | 10281140 1: 387270
16 to 20 years |  | 10281140 1: 387270
21 to 25 years |  | 10281140 1: 387270
26 to 30 years |  | 10281140 1: 387270
31 to 35 years |  | 10281140 1: 387270
36 to 40 years |  | 10281140 1: 387270
41 to 45 years |  | 10281140 1: 387270
46 to 50 years |  | 10281140 1: 387270
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 387270 | 387270 | 387270 | 387270 | 387270 | 387270 | 387270 | 387270 | 387270 | 387270 | 387270 | 387270 | 387270 | 387270 | 387270
Yearly Cost |  | 77454 | 77454 | 77454 | 77454 | 77454 | 77454 | 77454 | 77454 | 77454 | 77454 | 77454 | 77454 | 77454 | 77454 | 77454
WACC |  | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602%
Present Value |  | 74761.1783 | 72161.9772 | 69653.1418 | 67231.5303 | 64894.1104 | 62637.9549 | 60460.2385 | 58358.2342 | 56329.3097 | 54370.9242 | 52480.6254 | 50656.0461 | 48894.9014 | 47194.9859 | 45554.171
Total PV (Sum) |  | 387270 1: 885639.3292
Anuity |  | 387270 1: 77454
Escalation Type |  | 387270 1: Connection_O&M
Prices as at |  | 387270 1: 2019-06-30
To be escalated to |  | 387270 1: 2022-10-01
Escalation (Financial Year ending) | 2020-06-30 | 387270 1: 2.3%
2021-06-30 | bar: 387270 1
| 2022-06-30 | 387270 1: 1.8%
| 2023-06-30 | 387270 1: 2.6%
Cost Per MW Per Year |  | 387270 1: 543.8321; 387270 2: Per MW Per Year
Transmission Line O&M Costs (SKM Non Power Station Elements - Table 4-2) | bar: 387270 1
1 to 5 years |  | 387270 1: 24175
6 to 10 years |  | 387270 1: 24175
11 to 15 years |  | 387270 1: 24175
16 to 20 years |  | 387270 1: 24175
21 to 25 years |  | 387270 1: 24175
26 to 30 years |  | 387270 1: 24175
31 to 35 years |  | 387270 1: 24175
36 to 40 years |  | 387270 1: 24175
41 to 45 years |  | 387270 1: 24175
46 to 50 years |  | 387270 1: 24175
51 to 55 years |  | 387270 1: 24175
56 to 60 years |  | 387270 1: 24175
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 24175 | 24175 | 24175 | 24175 | 24175 | 24175 | 24175 | 24175 | 24175 | 24175 | 24175 | 24175 | 24175 | 24175 | 24175
Yearly Cost |  | 4835 | 4835 | 4835 | 4835 | 4835 | 4835 | 4835 | 4835 | 4835 | 4835 | 4835 | 4835 | 4835 | 4835 | 4835
WACC |  | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602% | 3.602%
Present Value |  | 4666.9029 | 4504.65 | 4348.0381 | 4196.871 | 4050.9596 | 3910.121 | 3774.1789 | 3642.9631 | 3516.3092 | 3394.0586 | 3276.0584 | 3162.1605 | 3052.2226 | 2946.1068 | 2843.6803
Total PV (Sum) |  | 24175 1: 55285.281
Anuity |  | 24175 1: 4835
Escalation Type |  | 24175 1: Connection_O&M
Prices as at |  | 24175 1: 2019-06-30
To be escalated to |  | 24175 1: 2022-10-01
Escalation (Financial Year ending) | 2020-06-30 | 24175 1: 2.3%
2021-06-30 | bar: 24175 1
| 2022-06-30 | 24175 1: 1.8%
| 2023-06-30 | 24175 1: 2.6%
Cost Per MW Per Year |  | 24175 1: 33.9483; 24175 2: Per MW Per Year
Asset Insurance Costs | bar: 24175 1
Total cost of Power Stn build | 153372689.6492
Fixed Fuel Costs | 7213563.7996
Asset Replacement Insurance Percentage | 0.288%
Terrorism Levy Mark up | 1.0267
Stamp Duty Mark up (also applies to Terrorism levy) | 1.1 | 24175 2: Actual MRCP; 24175 3: Chk if Same to nearest $100?
Asset replacement insurance |  | 24175 1: 522317.5061
Estimated BRCP | 142500 | 24175 2: 142460.5309; 24175 3: TRUE
Business interruption insurance |  | 24175 1: 141160.7458
Public and products liability insurance | 121000
Annual insurance site survey | 20000 | 24175 1: 148810.7424
Yearly cost |  | 24175 1: 812288.9943
Escalation Type |  | 24175 1: CPI
Prices as at |  | 24175 1: 2022-04-01
To be escalated to |  | 24175 1: 2022-10-01
Escalation (Financial Year ending) | 2020-06-30 | 24175 1: 1.75%
2021-06-30 | bar: 24175 1
| 2022-06-30 | 24175 1: 2.25%
| 2023-06-30 | 24175 1: 2.5%
Cost per MW Per Year |  | 24175 1: 5397.3778; 24175 2: Per MW Per Year
Fixed Network Access/ ongoing charges | bar: 24175 1
Western Power Charges | values from the WP website
Control system service charge (unit price is $/kW/day) | 0.00209 | 24175 1: 116166.798
Transmission Metering (unit price is $/meter/day) | 10.1176 | 24175 1: 3692.9167
Use of system Charge (unit price is $/kW/day) | 0.02503 | 24175 1: 1391222.466
Total WP Charges |  | 24175 1: 1511082.1807
Escalation Type |  | 24175 1: CPI
Prices as at |  | 24175 1: 2019-07-01
To be escalated to |  | 24175 1: 2022-10-01
Escalation (Financial Year ending) | 2020-06-30 | 24175 1: 1.75%
2021-06-30 | bar: 24175 1
| 2022-06-30 | 24175 1: 2.25%
| 2023-06-30 | 24175 1: 2.5%
Cost Per MW Per year |  | 24175 1: 10596.3164; 24175 2: Per MW Per Year
ANNUALISED_FIXED_O&M |  | 24175 1: 30926.2425
Note on B106: Trevor Griffiths: Costs escalated to 1/04/2022
Note on B110: https://www.finance.wa.gov.au/cms/State_Revenue/Duties/Insurance_Duty.aspx
Note on B114: Trevor Griffiths: Includes stamp duty
Note on B115: Received advice that 20000 was an appropriate figure for 2019.
Note on B133: WP price list 2019-20 section 8.3.3 Control system services Table 29
Note on B134: WP price list 2019-20 metering prices table 21
Note on B135: WP price access Table 25 - Muja PWS highest price of power stations located in the regions listed in the Market Procedure.

## WACC
Weighted Average Cost of Capital (WACC)
CAPM Parameter | Review Frequency | Value | Value (For Calculation)
Nominal Risk Free Rate of Return (%) | Annual | 1.03 | 0.0103
Expected Inflation (%) | Annual | 2.36 | 0.0236
Real risk free rate of return (%) | Annual | -1.2993 | -0.012993
Market Risk Premium (%) | 5- yearly | 6 | 0.06
Asset beta | 5- yearly | 0.5 | 0.5
Equity beta | 5- yearly | 0.83 | 0.83
Debt risk premium (%) , DRP (%) | Annual | 2.33 | 0.0233
Debt Issuance Costs (%) | 5-yearly | 0.125 | 0.00125
Corporate tax rate (%) | Annual | 30 | 0.3
Franking credit value | 5- yearly | 0.25 | 0.25
Debt to total assets ratio (%) | 5- yearly | 40 | 0.4
Equity to total assets ratio (%) | 5- yearly | 60 | 0.6
Nominal pre-tax Cost of Debt (Nominal return on debt) | 3.485%
Nominal post-tax Cost of Equity (Nominal return on equity) | 6.01%
WACC (Nominal) | 6.047%
WACC (Real) | 3.602%

## PC
PC
GHD Total EPC Cost ($) |  | 128074500
Capacity (MW) |  | 152.28
Total Cost Per MW |  | 841046.0993
Escalation Type |  | Power_Station_Capital
Prices as at |  | 2019-06-30
To be escalated to |  | 2022-04-01
Escalation (Financial Year ending) | 2020-06-30 | 5.4%
| 2021-06-30 | -3.1%
| 2022-06-30 | 0.1%
PC |  | 859629.3471

## M
M
Total M as a percentage of CAPEX | 17.16%

## TC
TC (Western Power Costing)
Total Transmission Costs | 181760
Escalation type | Transmission_Connection
Prices as at | 2022-04-01
To be escalated to | 2022-04-01
Escalation | 1.19%
TC | 181760

## LC
LC
Region | Land Area (Hectares) | Price Per Hectare | Stamp Duty on Land Parcel | Assessed Value | Stamp duty calculator:
https://rol.osr.wa.gov.au/Calculators/faces/Calculators?_afrLoop=482854060468439&_afrWindowMode=0&_adf.ctrl-state=1bjwmmsfw6_4
Pinjar | 3 | 1250000 | 187040 | 3937040
Kwinana | 3 | 2000000 | 302915 | 6302915
Kemerton | 5 | 325000 | 77602.5 | 1702602.5
Collie | 3 | 110000 | 11590 | 341590
Geraldton | 3 | 125000 | 13727.5 | 388727.5
Eneabba | 3 | 35000 | 2280 | 107280
Kalgoorlie | 3 | 600000 | 86615 | 1886615
Average Cost |  |  |  | 2403127.7083
Escalation Type |  |  |  | CPI
Prices as at |  |  |  | 2019-06-30
To be escalated to |  |  |  | 2022-04-01
Escalation |  | Financial year ending | 2020-06-30 | 1.75%
|  |  | 2021-06-30 | 2%
|  |  | 2022-06-30 | 2.25%
LC |  |  |  | 2536249.7758
Average Land Parcel Cost | 2403127.7083
Average Land Cost | 801042.5694
Total easement cost as at 30 June 2019 | 4806255.4167
Total easement cost as at 30 June 2020 | 4890364.8865
Note on C3: Neetika Kapani: Based on Landgate report
Note on D3: Use Transfer duty Calculator Rate Type: General Rate
Note on B30: Neetika Kapani: Divides average land parcel size by 3 hectares to give an average price per hectare
Note on B31: Neetika Kapani: Multiplies average price per hectare by 12 hectares (area of easement) and 50% (assumes that easement cost is 50% of purchase cost of land)

## FFC
FFC
Fixed Fuel Costs
ITEM A - Sub total for facility installation |  | 6317933
ITEM B - Fuel sufficient for 14 hours of operation at maximum capacity (litres * fuel price per litre) |  | 517007
Total |  | 6834940
Escalation Type |  | CPI
Prices as at |  | 2019-06-30
To be escalated to |  | 2022-04-01
Escalation (Financial Year ending) | 2020-06-30 | 1.75%
| 2021-06-30 | 2%
| 2022-06-30 | 2.25%
FFC |  | 7213563.7996

## ESCALATION_FACTORS
ESCALATION FACTORS
Financial Year ending
| 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30
Power_Station_Capital | 5.4% | -3.1% | 0.1% | 3.6%
Generation_O&M | 4% | 0.4% | 1.3% | 2%
Connection_O&M | 2.3% | 2% | 1.8% | 2.6%
CPI | 1.75% | 2% | 2.25% | 2.5% | https://www.rba.gov.au/publications/smp/2019/aug/economic-outlook.html
Transmission_Connection | 1.19% | 1.19% | 1.19% | 1.19%