## Sheet1
Market Participant | Facility | Capacity Year | Capacity Credits (MW)* | NAQ (MW) | Standing Data Name Plate Capacity (MW) | Transmission Node Identifier | Lattitude | Longitude | Expected closure of Facility (4.4A.1.) | Reserve Capacity Obligations to Cease (4.4A.1A.)
Simcoa Operations Pty Ltd | SIMCOA_DSP_01 | 2028-2029 | 23 | 23 | N/A | WBSI | -33.22 | 115.751 | N/A | 2028-10-01
Tesla Geraldton Pty Ltd | TESLA_GERALDTON_G1 | 2026-2027 | 9.999 | 9.999 | 9.999 | WGTN | -28.7911 | 114.6921 | 2027-10-01 | 2027-10-01
|  | 2025-2026 | 9.999 | 9.999
Tesla Northam Pty Ltd | TESLA_NORTHAM_G1 | 2025-2026 | 9.9 | 9.9 | 9.999 | WGNN | -31.6427 | 116.8473 | 2026-10-01 | 2026-10-01
Alcoa | ALCOA_KW_IL** | N/A | N/A | N/A | 66 | WAKW | -32.1946 | 115.7796 | 2025-12-31 | N/A
Synergy | COLLIE_G1 | 2026-27 | 317.2 | 217 | 318.3 | WCPS | -33.3418 | 116.2624 | 2027-10-01 | 2027-10-01
|  | 2025-26 | 317.2 | 317.2
|  | 2024-25 | 317.2 | 317.2
Bluewaters Power 1 Pty Ltd. | GRIFFINP_DSP_01 | 2025-2026 | 20 | 20 | N/A | WBGM | -31.97 | 116 | N/A | 2026-10-01
|  | 2024-2025 | 20 | 20
|  | 2023-2024 | 20 | N/A
Landfill Gas & Power | KALAMUNDA_SG | 2021-2022 | 1.3 | N/A | 1.3 | WKDA | -31.97 | 116 | 2022-07-01 | 2022-07-01
Synergy | PPP_KCP_EG1 | 2021-2022 | 80.4 | N/A | 116 | WMSR - Mason Road | -31.95 | 115.86 | 2021-12-01 | 2021-12-01
Synergy | PPP_KCP_IL1*** | 2021-2022 | N/A | N/A | N/A | WMSR - Mason Road | -31.95 | 115.86 | 2021-12-01 | N/A
Synergy | MUJA_G5 | 2019-2020 | 195 | N/A | 195.8 | WMPS | -33.4465 | 116.3059 | 2022-10-01 | 2022-10-01
Synergy | MUJA_G6 | 2019-2020 | 193 | N/A | 193.6 | WMPS | -33.4465 | 116.3059 | 2024-10-01 | 2024-10-01
*4.4A.2. (c) requires AEMO to publish the Peak Capacity Credits and Flexible Capacity Credits, in MW, assigned to the Facility at the time of the notice and for any subsequent Reserve Capacity Cycle. Flexible Capacity Credits were introduced in the 2027-28 Capacity Year.
** ALCOA_KW_IL is a Non-Dispatchable Load that has not held Capacity Credits since the 2008-09 Capacity Year.
*** PPP_KCP_IL is a Non-Dispatchable Load that has not held Capacity Credits.