## Contents and Overview
Contents
1 | Disclaimer | Important notice and disclaimer.
2 | Measures, Acronyms & Glossary | List of measures used in the database.
3 | Pipelines | List of all existing, planned and proposed gas pipelines.
4 | Processing | List of all existing, planned and proposed gas processing facilities.
5 | Storage | List of all existing, planned and proposed gas storage facilities.
6 | LNG Export | List of all existing, planned and proposed LNG export projects.
7 | Field Developments | List of all planned and proposed gas field development.
Overview
This spreadsheet provides summary information on gas facilities in eastern and south eastern Australia. This information is based on data provided by gas stakeholders for the 2020 GSOO survey. It has been noted where this information was not updated this year.
Disclaimer
Note this document is subject to an important disclaimer which limits and/or excludes AEMO’s liability for reliance on the information in it.
Please read the full disclaimer at the 'Disclaimer' tab of this workbook.

## Disclaimer
Important Notice
Purpose
AEMO has prepared this data file to provide information about the data and assumptions used to produce the 2020 Gas Statement of Opportunities under the National Gas Law and Part 15D of the National Gas Rules.
Disclaimer
This data file contains input from third parties, and conclusions, opinions or assumptions that are based on that input.
AEMO has made every effort to ensure the quality of the information in this document but cannot guarantee that information and assumptions are accurate, complete or appropriate for your circumstances.
Anyone proposing to use the information in this document should independently verify and check its accuracy, completeness and suitability for purpose, and obtain independent and specific advice from appropriate experts.
Accordingly, to the maximum extent permitted by law, AEMO and its officers, employees and consultants involved in the preparation of this document:
* make no representation or warranty, express or implied, as to the currency, accuracy, reliability or completeness of the information in this document; and
* are not liable (whether by reason of negligence or otherwise) for any statements or representations in this document, or any omissions from it, or for any use or reliance on the information in it.
Acknowledgement
AEMO acknowledges the support, co-operation and contribution of all participants in providing data and information used in this publication.
Copyright
© 2020 Australian Energy Market Operator Limited. The material in this publication may be used in accordance with the copyright permissions on AEMO's website.

## Measures, Acronyms & Glossary
Units of Measure
Abbreviation | Unit of Measure
Bcf | Billion cubic feet
GJ | Gigajoule
km | Kilometres
kpa | Kilopascals
Mpa | Megapascals
Mtpa | Million tonnes per annum
MW | Megawatt
PJ | Petajoule
Tcf | Trillion cubic feet
TJ | Terajoule
TJ/d | Terajoules per day
Acronyms
Abbreviation | Expanded name
CSG | Coal seam gas
LNG | Liquefied natural gas
PPL | Petroleum Production Lease
Glossary
Term | Meaning
1C | Low estimate of contingent resources
2C | Best estimate of contingent resources
3C | High estimate of contingent resources
1P reserves | Estimated quantity of gas that is reasonably certain to be recoverable in the future under existing economic and operating conditions. A low-side estimate also known as proved gas reserves.
2P reserves | The sum of proved-plus-probable estimates of gas resources. The best estimate of commercially recoverable reserves. Often used as the basis for reports to share markets, gas contracts, and project economic justification.
3P reserves | The sum of proved, probable, and possible estimates of gas reserves.

## Pipelines
Eastern Australian Natural Gas Pipeline Facilities
This worksheet summarises the key information for each pipeline in eastern and south eastern Australia, or pipelines that link into eastern and south eastern Australia.
Name | Description | Status | Location | Ownership | Operator | First Gas Flow | Start Node | End Node | Length (km) | Capacity (TJ per day) [2020 GSOO] | Capacity (TJ per day) [2019 GSOO] | Regulations | Indicative Tariff | Compression | Expansion Plans | Last updated
APLNG Pipeline | APLNG's high pressure pipelines begins at the APLNG Surat and Bowen basin fields and connects at Wandoan from where a single pipe connects to APLNG's LNG facility on Curtis Island. APLNG also owns other high pressure pipelines and laterals. Collectively, APLNG Pipelines. | Online | QLD | APLNG | Origin Energy as upstream operator of APLNG | 2015 | APLNG Surat and Bowen basin fields | Curtis Island | 362 | 1700 | 1700 | All APLNG's pipelines have part 23 exception. A section of APLNGs high pressure pipeline is covered by the 15 year green field no covered exception. | None. | NIL | No expansion plans at present. | 2020
Atlas Gas Pipeline | The Atlas Gas Processing Facility transports gas from Senex's Atlas Gas Field to Jemena’s Darling Downs Pipeline (PPL134). The Atlas Gas Processing Facility is located adjacent to the Atlas Gas Field and once fully commissioned will have capacity to process and deliver up to 32 TJ/d of gas into the Darling Downs Pipeline (PPL134). | Commissioning | QLD | Jemena Ltd - owned by State Grid of China (60%) and Singapore Power International (40%) | Jemena | November 2019 | Senex Atlas Gas Fields | Darling Downs Pipeline PPL 134 | 60 | 32 | NA | Not Covered | No Entry | Start of line compression | N/A | 2020
Berwyndale Wallumbilla Pipeline (“BWP”) | The BWP is a bi-directional pipeline that supplies gas between Berwyndale, east of Miles, Queensland, and the Wallumbilla Gas Hub. The pipeline allows shippers to deliver gas to south-eastern Australia markets via its connection to the South West Queensland Pipeline at the Wallumbilla Hub. | Online | QLD | APA Group | APA Group | 2009 | 8km east of Miles, Qld. | Wallumbilla Gas Hub | 112 | 164 west 276 east | 164 west 276 east | Not covered | https://www.apa.com.au/our-services/gas-transmission/current-tariffs-and-terms/current-tariffs-and-terms/ | Nil | There are currently no expansion plans. [when required by the market, expansion of the BWP is possible by installation of compression either at Berwyndale (existing plot space) or at Wallumbilla (in conjunction with the SWQP and RBP assets).] | 2020
Braemar 2 Pipeline | The pipeline is a high-pressure buried steel pipeline to transport coal seam gas from the Daandine Central Gas Processing Facility to the Braemar 2 Power Station. It is approximately 107 Km in length. | Existing | Qld | Arrow | Energy Infrastructure Management Pty Ltd | 2009 | Daandine Central Gas Processing Facility | Braemar 2 Power Station | 107 | 219 | 219 | Non Scheme Pipeline | N/A | N/A | None Currently Planned | 2020
Braemar Gas Pipeline | Alinta Energy owns approximately 150km of gas pipeline in Queensland between Tipton, Condamine and Braemar, which is used for the supply of gas to Alinta Energy's Braemar Power Station (a fast start, peaking power station dispatching into the NEM). The pipeline is bi-directional allowing for gas to flow from the pipeline onto the Roma to Brisbane Pipeline at the Condamine connection point. | Online | QLD | Alinta Energy | Alinta Energy | 2005 | Condamine, Tipton | Braemar | 150 | 80 | 80 | Not regulated | No Tariff | MAOP 9.6MPa | No committed expansion plans at this stage. | 2019
Carpentaria Gas Pipeline (“CGP”) | The CGP links Ballera in South-West QLD and Mt Isa in North-West QLD. The pipeline transports gas to mines in the Carpentaria Mt Isa minerals province and power stations at Mica Creek and Mt Isa. The pipeline is owned and operated by APA Group. In 2018 the Northern Gas Pipeline was connected to the CGP just outside of Mt Isa, and allows the transportation of gas from the NT into the CGP which provides access to APA's East Coast Grid. | Online | QLD | APA Group | APA Group | 1998 | Ballera | Mt Isa | 840 | 119 North 65 South | 119 North 65 South | Light | https://www.apa.com.au/our-services/gas-transmission/current-tariffs-and-terms/current-tariffs-and-terms/ | Compressor stations at Davenport Downs (1 unit) and Morney Tank (1 unit). | No expansions of capacity (north or south) are currently planned. [when required by the market, reversing compression at Morney Tank and Davenport Downs could provide an additional 50 TJ/day of capacity (south) with an expected construction lead time of between 12 and 18 months. Further expansion options are available, prior to duplicating the pipeline, and these options can be investigated with interested customers] | 2020
Comet Ridge to Wallumbilla Pipeline | The Comet Ridge to Wallumbilla Pipeline (CRWP) is a transmission pipeline owned and operated by GLNG Operations Pty Limited (GLNG) which is a joint venture between Santos, Petronas, Total and Korea Gas Corporation. The CRWP was constructed in 2007 and is 127km in length. It links the Fairview gas plant at Comet Ridge with the Wallumbilla gas hub near Roma in Queensland. It is also connected to GLNG’s Roma Underground Gas Storage Facility. The CRWP is capable of bi-directional operation. Currently the CRWP transports gas in a southerly direction from GLNG’s Fairview, Arcadia and Comet Ridge coal seam gas fields in the Bowen-Surat basin to the domestic market and the Roma Underground Gas Storage Facility, However, after GLNG’s LNG export facility commences operation which is expected to be in the second half of 2015, the CRWP will generally transport gas in a northerly direction to GLNG’s gas transmission pipeline for transport to its LNG facility at Gladstone. The CRWP is an uncovered pipeline under the NGL and is therefore not subject to regulation under the NGR. | Complete and operational. | QLD | GLNG | GLNG | Not provided | GLNG Surat and Bowen Basin fields | Wallumbilla | Not provided | 950 | 950 | Not Covered | N/A | Not provided. | Comet Ridge Wallumbilla Pipeline (CRWP) Loop is now complete and operational. | 2019
Darling Downs Pipeline (“DDP”) | The DDP consists of three interconnected gas transmission pipeline licences in the Darling Downs region in South-East Queensland that operate as a single pipeline network. It links the Wallumbilla gas hub near Roma with the Talinga gas plant near Chinchilla and Origin’s Darling Downs gas fired power station near Dalby in Queensland. The DDP spans 292km in length and transports gas from the Bowen-Surat basin to the Wallumbilla gas hub, Origin’s 630MW Darling Downs Power Station, and to APLNG’s export pipeline. | Online | QLD | Jemena Ltd - owned by State Grid of China (60%) and Singapore Power International (40%) | Jemena | 2005 | APLNG Surat and Bowen basin fields | Wallumbilla Gas Hub Darling Downs Power Station APLNG Pipeline | 292 | See Jemena website for more detail: DDP90: Southern Haul: 159 TJ/d DDP133: Western Haul: 508 TJ/d DDP133: Eastern Haul: 163 TJ/d DDP134: Western Haul: 327 TJ/d DDP134: Eastern Haul: 270 TJ/d | See Jemena website for more detail. DDP90: Southern Haul: 155 TJ/d DDP90: Northern Haul: 40 TJ/d DDP133: Western Haul: 540 TJ/d DDP133: Eastern Haul: 200 TJ/d DDP134: Western Haul: 275 TJ/d DDP134: Eastern Haul: 270 TJ/d | Not covered | Refer to Jemena DDP website: https://jemena.com.au/documents/pipeline/ddp-tariff.aspx | Nil | NA | 2020
Eastern Gas Pipeline (“EGP”) | The EGP begins at Longford in VIC and ends at Sydney in NSW. The pipeline was commissioned in 2000 and is owned and operated by Jemena. The 797 km EGP transports gas primarily from Gippsland Basin fields at Longford and Orbost in VIC, to markets in the ACT, Sydney, and regional centres along its route. Jemena EGP includes an important interconnection lateral near Wilton in NSW which will facilitate deliveries on to the MSP. The pipeline also interconnects with Jemena’s VicHub facility, which enables gas to flow between the EGP and the VTS. | Online | VIC / NSW | Jemena Ltd - owned by State Grid of China (60%) and Singapore Power International (40%) | Jemena | 2000 | Longford | Sydney | 797 | 358 – winter capacity 351 – summer capacity | 358 – winter capacity 351 – summer capacity | Not Covered | Refer to Jemena EGP website: https://jemena.com.au/documents/pipeline/egp-tariff.aspx | Seven compressors. | To facilitate the transport of gas associated with the proposed import terminal at Port Kembla, it is proposed that the EGP will be modified, with minimal cost, to allow the transport of gas both in a northerly and southerly direction (to Vic). With such minor modifications, the EGP will be capable of receipting more than the 520TJ/d of gas that could be injected as proposed by AIE. | 2020
GLNG Pipeline | The GLNG pipeline begins at Fairview and ends at Gladstone. It is being constructed to transport gas from Fairview to GLNG's LNG export facility in Gladstone. | Online | QLD | GLNG | GLNG | 2014 | GLNG Surat and Bowen Basin fields | Gladstone | 420 | 1400 | 1400 | Not Covered | N/A | 725 TJ/d existing. Incremental 140TJ/d sanctioned. | Comet Ridge Wallumbilla Pipeline (CRWP) Loop is now complete and operational. | 2019
Longford to Melbourne Gas Pipeline (“LMP”) | The LMP is part of the Victorian Transmission System (VTS) / Declared Transmission System (DTS) and runs from outside Sale in South-East Victoria, to Dandenong, near Melbourne. The pipeline is owned and maintained by APA Group and operated by AEMO. The pipeline has an estimated capacity of 1030 TJ per day. The VTS is subject to full regulation by the AER. | Online | VIC | APA Group | AEMO | 1970 | Longford | Melbourne | 174 | 1030 | 1030 | Covered | https://www.apa.com.au/our-services/gas-transmission/east-coast-grid/victorian-transmission-system/ | There is compression at Gooding. | There are currently no expansion plans | 2020
Moomba to Adelaide Pipeline System (“MAP”) | The MAP begins at Moomba in north-east SA and ends at Adelaide in SA. The MAP/SA pipelines are operated by Epic Energy South Australia and are owned by Q-Super. Commissioned in 1969, the 1,185 km MAP was initially built to provide a connection between Adelaide and regional SA, and the Cooper basin gas fields. Following completion of the QSN link in 2009, this connection was extended to QLD CSG fields in the Surat-Bowen basin. A connection between the MAP and South East Australian Gas Pipeline allows for the MAP to run bi-directionally. Two major lateral pipes connect to the MAP main line, these are the Port Pirie/Whyalla lateral, which has a maximum capacity of 24 TJ per day and primarily supplies a major industrial gas user in Whyalla and the Angaston lateral, which feeds the Riverland area in SA at a capacity of 22 TJ per day. This lateral supplies large industrial gas users and distribution customers in the Barossa Region and supplies the Riverland Pipeline. Current MAPS standing capacity is rated at 249 TJ per day | Online | SA | Epic Energy South Australia | Epic Energy South Australia | 1969 | Moomba | Adelaide | 1185 | 249 | 241 | Not Covered | 0.77 | The MAP system has 4 active mainline compressor stations at intervals of approximately 100km. | None planned | 2020
Moomba to Sydney Pipeline System (“MSP”) | The MSP is a bi-directional pipeline system that links Moomba in north-east SA with Wilton and Bomen in NSW. The pipeline is owned and operated by APA Group. The MSP and its laterals supply gas to Queensland (via a connection to SWQP), South Australia (via a connection to MAPS), Victoria (via a connection to NVI), Sydney (via a connection to JGN), Canberra and rural NSW. | Online | SA / QLD / NSW | APA Group | APA Group | 1976 | Moomba | Sydney | Mainline: 1300 Laterals: 642 | 489 south 193 north | 489 south 120 north | Part of the MSP system (Marsden to Young and Young to Wagga Wagga) is covered by Light Access Regulation. | https://www.apa.com.au/our-services/gas-transmission/current-tariffs-and-terms/current-tariffs-and-terms/ | Compressor stations at Bulla Park (2 units), Marsden (1 unit) and Young (4 units) | The operating pressure in a number of sections of the pipelines will be increased over the next two years which will provide approximately 25 TJ/day additional capacity (south). [when required by the market, additional compression at Binerah Downs, Mecoola Creek, Round Hill, Gilgunnia and Milne could provide an additional 230 TJ/day capacity (south) with an expected construction lead time of between 18 and 24 months. Further expansion options are available, prior to duplicating the pipeline, and these options can be investigated with interested customers] No expansions of capacity (north) are currently planned. [the above mentioned potential augmentations could also result in increased capacity (north)] | 2020
North Queensland Gas Pipeline (“NQGP”) | The NQGP begins at Moranbah in QLD and ends at Townsville in QLD. The pipeline is wholly owned by the North Queensland Pipeline No. 1 and 2 and operated by Energy Infrastructure Management Pty Ltd. First gas flow along the 392 km pipeline began in 2004 to provide CSG from the Moranbah gas fields in the Bowen Basin to Townsville’s Yabulu 220 MW combined cycle power station, and industrial customers in the Townsville area. Capacity is estimated at 110 TJ per day. The NQGP is a stand-alone pipeline that is not connected to any other pipelines in south east Australia gas network and is currently unregulated. | Online | QLD | North Queensland Pipeline No. 1 Pty Ltd (50%); North Queensland Pipeline No. 2 Pty Ltd (50%) | Energy Infrastructure Management Pty Ltd | 2004 | Moranbah | Townsville | 392 | 110 | 110 | Not Regulated. | This information is subject to confidentiality clauses in the various Gas Agreements. | None | Nil | 2019
Northern Gas Pipeline (“NGP”) | The 622km Northern Gas Pipeline links Tennant Creek in the Territory to Mount Isa in Queensland, unlocking the next phase of economic growth for the Territory and help build a stronger Northern Australia. | Online | NT / QLD | Jemena Ltd - owned by State Grid of China (60%) and Singapore Power International (40%) | Jemena | January 2019 | Tennant Creek | Mt Isa | 622 | 90 | 90 | Not Covered | Refer to Jemena EGP website: https://jemena.com.au/industry/pipelines/northern-gas-pipeline/services | The NGP has start and end of line compressors. | The NGP can be expanded by adding mid-line compression and looping. | 2020
NSW-Victoria Interconnect (“NVI”) | The NVI is a bi-directional pipeline that links the Moomba Sydney Pipeline system with the Victorian Transmission System. The pipeline runs between Bomen, near Wagga Wagga in NSW, and Barnawartha, near Wodonga in Victoria. The pipeline was commissioned in 1998 and is owned, operated and maintained by APA Group. The section between Culcairn and Barnawartha is operated by AEMO. | Online | VIC/NSW | APA Group | APA Group - Bomen to Culcairn section AEMO - Culcairn to Barnawartha section | 1998 | Bomen | Barnawartha | 88 km – Bomen to Culcairn section; 62.5 km – Culcairn to Barnawartha | 223 north 170 south | 223 north 150 south | Bomen to Culcairn section – Not Covered Culcairn to Barnawartha section - Covered | https://www.apa.com.au/our-services/gas-transmission/east-coast-grid/victorian-transmission-system/ | Compressor stations at Wollert (5 units), Springhurst (1 unit), Euroa (1 unit) and Culcairn (3 units). | There are currently no expansion plans. [when required by the market, additional compression at Young and Uranquinty could provide an additional 125TJ/d of capacity (south) with an expected construction lead time of between 18 and 24 months. Further expansion options are available, prior to duplicating the pipeline, and these options can be investigated with interested customers] | 2020
Queensland Gas Pipeline (“QGP”) | The QGP links the Wallumbilla gas hub in south central Queensland to large industrial gas users in Gladstone and Rockhampton. It also provides a link at Gladstone City Gate to the Wide Bay transmission pipeline and gas network. Natural gas enters the pipeline via connections at the Wallumbilla gas hub and also from the Surat Basin, Denison Trough and Bowen Basin via a number of receipts points along the pipeline route. The main pipeline was constructed in 1989 by the Queensland State government and commissioned in 1990. The pipeline is wholly owned and operated by Jemena Limited. The QGP is 627 km long and also has a 26 km lateral pipeline connection from Fairview. | Online | QLD | Jemena Ltd - owned by State Grid of China (60%) and Singapore Power International (40%) | Jemena | 1990 | Wallumbilla | Gladstone and Rockhampton | 627 | 141 | 142 | Not Covered | Refer to Jemena QGP website: https://jemena.com.au/documents/pipeline/qgp-tariff.aspx | The QGP has two inline compressor stations. One at Rolleston and another at Banana. | NA | 2020
Roma - Brisbane Pipeline (“RBP”) | The RBP is a bi-directional pipeline that links Wallumbilla in south-east QLD and Brisbane. The pipeline is owned and operated by APA Group and is a scheme pipeline under the access regime of the National Gas Law and National Gas Rules. The RBP transports Surat Basin gas to Brisbane and to southern states via the Wallumbilla Hub. | Online | QLD | APA Group | APA Group | 1969 | Wallumbilla | Brisbane | 438 | 211 east 125 west | 211 east 125 west | Covered | https://www.apa.com.au/our-services/gas-transmission/current-tariffs-and-terms/current-tariffs-and-terms/ | Compressor stations at Kogan, Oakey and Dalby | There are currently no expansion plans. [when required by the market, depending on potential receipt and delivery locations, pressure increases and additional compression could provide ~20 TJ/d additional eastbound capacity. This new compression could also provide ~70 TJ/d additional westbound capacity with an expected construction lead time of between 18 and 24 months. Further expansion options are available, prior to duplicating the pipeline, and these options can be investigated with interested customers.] | 2020
South East Australia Gas (“SEA Gas”) Mortlake Pipeline | In 2016, the SEA Gas (Mortlake) Partnership (owned by APA Group (50 percent) and Retail Employees Superannuation Trust (50 percent)) purchased the Mortlake pipeline from Origin Energy. The Mortlake pipeline is an 83 km pipeline connected to the SEA Gas system at Iona and finishing at the Mortlake Power station. Although long term pipeline transportation and storage contracts are in place, additional pipeline storage capacity is available. | Online | VIC | APA Group (50 percent), Retail Employees Superannuation Trust (50 percent) | SEA Gas | 2012 | Port Campbell | Mortlake power station. | 83 | Not available | Not available | Not Covered | Not available | Nil | No plans | 2019
South East Australia Gas (“SEA Gas”) Port Campbell – Adelaide (“PCA”) Pipeline | The SEA Gas PCA pipeline begins at Port Campbell in VIC and ends at Adelaide in SA. The pipeline is partly owned and operated in equal share by APA Group (50 percent), with and Retail Employees Superannuation Trust. (50 percent) holding the remaining ownership. The SEA Gas PCA pipeline commenced commercial operations in 2004 and is 680 km in length. It transports gas from Otway Basin fields near Port Campbell and Iona in VIC, to Adelaide, regional SA, regional VIC and the Victorian Market. At present, the pipeline accounts for approximately half of SA’s gas requirements and around 5% of Vic’s gas requirements. Current capacity stands at ~300 TJ per day (West to SA) and ~200TJ per Day (East to the Victorian Market) dependent on operational conditions. The pipeline is unregulated. In July 2015, a connection was completed between the SEA Gas pipeline and EPIC’s Moomba to Adelaide pipeline. The connection improves security of supply. | Online | SA / VIC | APA Group (50 percent), Retail Employees Superannuation Trust (50 percent) | SEA Gas | 2004 | Port Campbell | Adelaide | 680 | 314 | 314 | Not Covered | Standard contract terms (including tariff information) are currently available on the SEA Gas website (www.seagas.com.au) as per National Gas Rules part 23. [Note: don’t use estimated indicative tariff.] | There are currently two compressor stations at approximately the ¼ and ¾ point of SEA Gas’ Port Campbell to Adelaide pipeline. The compressor stations became operational in February 2004 and January 2005 respectively. Each compressor station consists of a 4.5MW Solar Centaur compressor driven by a gas turbine which utilises gas from the pipeline as fuel. | No plans. | 2019
South West Pipeline (“SWP”) | The SWP links Iona and Brooklyn and forms part of the Victorian Transmission System. The pipeline connects the Iona underground storage facility with the Brooklyn Corio Pipeline. SWP is owned and maintained by APA Group, and operated by AEMO. The VTS is subject to full regulation by the AER. | Online | VIC | APA Group | AEMO | 1999 | Iona | Brooklyn | 202 | 412 east 147 west | 412 east 147 west | Covered | https://www.apa.com.au/our-services/gas-transmission/east-coast-grid/victorian-transmission-system/ | There is compression at Winchelsea. | APA is planning to increase capacity by approximately 40 TJ/day via the proposed Western Outer Ring Main (WORM), expected in 2021. The WORM will allow for increased flows to the Iona underground storage facility and to Brooklyn and Wollert on the VTS. | 2020
South West Queensland Pipeline (“SWQP”) | The SWQP is a bi-directional and fully looped pipeline that links Wallumbilla in south-east QLD and Moomba in north-east SA. The SWQP allows Bowen-Surat basin producers to supply gas to southern markets via the MSP and MAPS, and Queensland markets via connections to multiple pipelines at the Wallumbilla Hub. | Online | QLD/SA | APA Group | APA Group | 1996 | Wallumbilla | Moomba | 937 | 404 west 355 east | 384 west 340 east | Not Covered | https://www.apa.com.au/our-services/gas-transmission/current-tariffs-and-terms/current-tariffs-and-terms/ | Compressor stations at Cooladdi (2 units), Moomba (3 units) and Wallumbilla (9 units). | There are currently no expansion plans. [when required by the market, additional compression at Cooladdi, Ballera and SS2 could provide an additional 130 TJ/day of capacity (west and east) with an expected construction lead time of between 18 and 24 months. Further expansion options are available, prior to duplicating the pipeline, and these options can be investigated with interested customers]. | 2020
Tasmanian Gas Pipeline (“TGP”) | The Tasmanian Gas Pipeline (TGP) is a subsea and onshore pipeline of approximately 740km in length, which starts at the Longford Compressor Station (Victoria) and finishes in Hobart and Port Latta (NW) Tasmania. The subsea section is approximately 300km in length, 14” internal diameter and has a maximum allowable operating pressure of 15.3MPa. Onshore is an 8” pipeline that runs from Bell Bay (Tamar Valley Power Station) to Hobart, and a 6” pipeline that runs from Rosevale to Port Latta. The onshore pipeline south of Bell Bay has a maximum allowable operating pressure of 10.2MPa. TasHub, connects the TGP into the Longford to Melbourne pipeline and facilitates a flow of up to 120TJ/day into the VTS from gas stored on TGP. Stored gas is up to a maximum of 150TJ/Day | Online | VIC / TAS | Palisade TGP Pty Ltd | Tasmanian Gas Pipeline Pty Ltd | 2002 | Longford | Hobart | 740 | 129 | 129 | Not Covered | As per TGP Website | TGP does not own or operate any compressors | TGP is also planning an expansion of TasHub and TGP storage. Range of 60TJ /Day storage and 30TJ/Day Injection, which is subject to Board approval and gas storage and transportation contracts. Earliest this will be connected will be 2022. This may include the withdrawal of gas from the DWGM | 2020
Wallumbilla Gladstone Pipeline (“WGP”) | The WGP transports gas from Surat and Bowen basin fields around Miles and Wandoan in QLD to the QCLNG export facility on Curtis Island, off the coast of Gladstone. | Online | QLD | APA Group | QGC | 2014 | QCLNG Surat and Bowen Basin fields | Gladstone | 543 | 1510 | 1510 | Not regulated | Firm services are fully contracted. Pipeline capacity may be available for the provision of As Available or Interruptible services, depending on shipper needs. Please contact the APA Group’s Commercial team on 07 3323 6027. | N/A | There are currently no expansion plans. | 2020

## Processing
Eastern Australian Natural Gas Processing Facilities
This worksheet summarises the key information for each proposed and committed gas processing facility in eastern and south eastern Australia.
Name | Description | Status | Location | Ownership | Operator | Basin | First Production | Type of Gas Processed | Capacity (TJ/day) [GSOO 2020] | Capacity (TJ/day) [GSOO 2019] | Gas Field Connections | Pipeline Connections | Expansions | Last updated
Ballera Gas Plant | The Ballera gas plant is located in south-west QLD. The plant is jointly owned by STO (operator) and BPT. First production began in 1994 with current gas being sourced from approximately 45 conventional gas fields in the Cooper-Eromanga Basin and was part of the CBJV. The Ballera facility recovers natural gas as well as gas liquids. The Ballera facility also houses 45MW of generation capacity and a membrane treatment plant for water. The facility also incorporates moderate sized underground storage for processed sales gas at the Chookoo field. Processing capacity is limited by field availability. | Online | QLD | Santos (60.06 percent), Beach (39.94 percent) | Santos Limited | Cooper Eromanga Basin | 1994 | Conventional | Limited by field availability | Limited by field availability | SWQ JV | Ballera production is now processed through Moomba plant and not into the CGP or SWQP. | Santos continue to develop surrounding gas fields with some tertiary plant compression being installed to improve field recovery of existing fields | 2020
Bellevue Gas Plant | The Bellevue gas plant is located east of Condamine in QLD. | Online | QLD | QGC Pty Limited | Not provided | Surat | 2014 | Coal Seam Gas | 227 | 227 | Not provided. | BWP, WGP | Not provided. | 2019
Berwyndale South | The Berwyndale South gas plant is located east of Condamine in QLD. | Online | QLD | QGC (subsidiary of BG Group) | Not provided | Surat Basin | 2006 | Coal Seam Gas | 140 | 140 | Not provided. | RBP, SWQP, QGP | Not provided. | 2019
Camden Gas Plant (Rosalind Park) | The Camden Gas Project development area is located south-west of Sydney covering an area of approximately 15 km west-east and 9 km north-south. The project is wholly-owned and operated by AGL. Approximately 3.7 PJ per annum of CSG is supplied to domestic customers via a dedicated pipeline connected to Jemena’s Sydney network. It is planned to cease production in 2023 | Online | NSW | AGL | AGL | Sydney | 2004 | Coal Seam Gas | 15 | 15 | Camden Gas Project | Rosalind Park to Sydney Network | N/A | 2020
Combabula Gas Plant | The Combabula Gas Plant is located north east of Roma. | Online | QLD | ATP 606P JV parties (92.7% APLNG) | Origin Energy as upstream operator of APLNG | Bowen Surat Basin | 2014 | Coal Seam Gas | 280 | 300 | Combabula PL 297 | APLNG Pipeline | None | 2020
Condabri Central Gas Plant | The Condabri Central Gas Plant is located near Chinchilla, QLD. | Online | QLD | APLNG | Origin as Upstream Operator on behalf of APLNG | Bowen Surat | 2014 | Coal Seam Gas | 188 | 188 | Condabri Central Field (PL 265) | APLNG Pipeline | Nil planned. Possible future connection for Dalwogan gas to be processed at Condabri North gas plant. | 2020
Condabri North Gas Plant | The Condabri North Gas Plant is located near Chinchilla, QLD. | Online | QLD | APLNG | Origin as Upstream Operator on behalf of APLNG | Bowen Surat | 2015 | Coal Seam Gas | 170 | 172 | Condabri North Field (PL 267) and Talinga Field (PL 226). | APLNG Pipeline | Nil planned. Possible future connection for Dalwogan gas to be processed at Condabri North gas plant. | 2020
Condabri South Gas Plant | The Condabri South Gas Plant is located near Chinchilla, QLD. | Online | QLD | APLNG | Origin as Upstream Operator on behalf of APLNG | Bowen Surat | 2015 | Coal Seam Gas | 190 | 200 | Condabri Central Field (PL 265) and Condabri South Field (PL 266) | APLNG Pipeline | Nil planned. Possible future connection for Dalwogan gas to be processed at Condabri North gas plant. | 2020
Daandine Central Gas Processing Facility | The facility is located approximately 40 km west of Dalby. It processes coal seam gas from the Daandine, Stratheden and Kogan North gas fields in the Surat Basin. | Existing | QLD | Arrow | Arrow | Surat | 2009 | Coal Seam Gas | 76 | 76 | Daandine / Stratheden gas field and Kogan North gas field | Braemar 1 Pipeline, Braemar 2 Pipeline and Roma Brisbane Pipeline | None Currently Planned | 2020
Eurombah Creek Gas Plant | The Eurombah Creek gas plant commenced production in mid-2015, and is located in the Spring Gully area. | Online | QLD | APLNG | Origin as Upstream Operator on behalf of APLNG | Bowen Surat | 2015 | Coal Seam Gas | 188 | 172 | Spring Gully ATP 592 | APLNG pipeline | No Entry | 2020
Fairview Gas Facilities | The Fairview gas facilities are located north of Roma in central QLD. The facilities are owned by the Fairview equity participants and have been processing gas since 1997. Gas is sourced from the GLNG / APLNG owned Fairview CSG field in the Bowen-Surat Basin before being compressed and dehydrated. Processed gas is currently exported via one of two routes: the Fairview lateral of the QGP or the Comet Ridge to Wallumbilla Pipeline – which in turn provides a route to the southern and Brisbane markets. From 2015 gas will be also be exported via the gas transmission pipelines to the LNG facilities in Gladstone for liquefaction and sale into the international LNG market. This capacity expansion is complete with 580 TJ/d gross compression capacity available at Fairview. Note Santos GLNG project has the Roma field with 142TJ/d compression and has sanctioned a further 140TJ/d expansion expected to be operational in 2017. | Online | QLD | Santos GLNG project (76%). Origin (24%) | Santos | Bowen | 1997 | Coal Seam Gas | 580 | 580 | Fairview | RBP, SWQP, QGP, Comet Ridge to Wallumbilla Pipeline and Fairview Lateral | Expansions complete | 2020
Iona Gas Plant | The Iona Gas Plant is located near Port Campbell in south-west VIC. The plant is owned by Lochard Energy and was originally built in 1999 to process gas from the Iona gas field, which was converted to a gas storage reservoir. Gas from the Casino, Henry and Netherby conventional offshore gas fields in the Otway basin is currently being processed through the Iona Gas Plant, as well as gas from the Iona, North Paaratte and Wallaby Creek underground gas storage reservoirs. Customers use gas stored in the underground reservoirs to satisfy gas demand in VIC and SA. Plant capacity is up to 570 TJ per day. | Online | Port Campbell, Victoria | QIC led consortium | Lochard Energy | Otway Basin | 1999 | Conventional | 570 | 570 | Offshore: Casino, Henry & Netherby Storage fields: Casino, North Paaratte & Wallaby Creek | SGP, SWP, Mortlake | Plant capacity and delivery enhancement projects are currently being considered to the meet growing market demand, provide system reliability and meet customers future gas requirements. | 2020
Jordan Gas Plant | The Jordan gas plant is located north-east of Tara in QLD. | Online | QLD | QGC Pty Limited | Not provided. | Surat | March 2015 | Coal Seam Gas | 455 | 455 | Not provided. | WGP | Not provided. | 2019
Kenya Gas Plant | The Kenya gas plant is located at Wambo Downs South in QLD. | Online | QLD | QGC (subsidiary of BG Group) | Not provided. | Surat Basin | 2009 | Coal Seam Gas | 180 | 180 | Not provided. | RBP | Not provided. | 2019
Kogan North Gas Plant | The Kogan North gas plant is located west of Dalby, in south-east QLD. The plant processes gas from the Kogan North gas field and exports it to the RBP for delivery into the Brisbane market. | Online | QLD | Energy Infrastructure Investments (EII) | APA Group | Bowen Surat Basin | 2006 | Coal Seam Gas | 12 | 12 | Kogan North | RBP | No Expansion plans | 2019
Lang Lang Gas Plant | The Lang Lang gas plant is located 70 km south of Melbourne in VIC. The plant is operated by ORG and processes conventional gas, LPG and condensate from the off-shore ORG, AWE Limited and Toyota Tsusho owned Yolla field in the Bass basin. Capacity is estimated to be 70 TJ per day and processed gas is currently sold to ORG for use in its wholesale and retail markets via connection to the LMP. | Online | VIC | Origin Energy, AWE, Toyota Tsusho and Prize Petroleum | Not provided. | Bass Basin | 2006 | Conventional | 67 | 67 | Yolla | LMP | None planned | 2019
LNG Import Jetty | AGL is currently undergoing an environmental effects assessment for the project that would source gas from Australian and international suppliers for AGL gas customers in south-eastern Australia. If approved the gas would be transported on liquified natural gas (LNG) ships from interstate and overseas and converted from liquid form back into a gaseous state via a Floating Storage and Regasification Unity (FSRU). It would then be piped into the existing transportation network. | Proposed | Crib Point, Victoria | AGL | AGL | NA | 2022 | N/A (Storage and regasification only) | 550 | 550 | N/A | The FSRU and gas import jetty would be connected by pipeline to an existing gas pipeline in Pakenham – the exact length of this pipeline will depend on the route between the jetty and the transmission pipeline but we anticipate that the new pipeline will be approximately 57kms long. | N/A | 2020
Longford Gas Plant | The Longford gas plant is located at Longford in VIC. The plant is operated by Esso a subsidiary of ExxonMobil. Initial production began in 1969 with a second gas plant being added in 1976 and a third in 1983. The current facility consists of three gas plants, gas conditioning plant and a crude stabilization plant, and is the onshore receiving point for oil and conventional gas from the offshore Gippsland Basin fields. Processed gas is used to meet contracts with wholesale gas customers, including retail suppliers, power generators, industrial and other users. Gas is supplied to TAS via the TGP, VIC via the LMP and NSW via the EGP. Current Longford capacity is approximately 1,175 TJ per day. The facility has a large capacity to handle the large volumes of gas produced by the GBJV as well as the peaking nature of the VIC market. | Online | VIC | Esso Australia (Exxon Mobil subsidiary) (50 percent), BHP Billiton (50 percent) | Esso Australia (ExxonMobil subsidiary) | Gippsland Basin | 1969 | Conventional | 1175 | 1175 | Gippsland Basin Joint Venture | LMP, TGP, EGP | Not provided. | 2019
Minerva Gas Plant | The Minerva gas plant, previously operated by BHP Billiton, is located near Port Campbell in south-west VIC. Conventional gas was sourced from the Minerva Gas Project in the Otway basin. Processed gas was sold to customers via the SWP and SA via the SGP. The facility also produced condensate. Ownership of the facility was transferred to the Casino Henry Joint Venture (Cooper Energy, Mitsui) in September 2019. | Offline | VIC | Cooper Energy Ltd. 50%, Mitsui 50% | Not provided. | Otway Basin | 2005 | Conventional | 30 | 30 | Not provided. | SGP, SWP | None | 2020
Moomba Gas Plant | The Moomba gas plant is located approximately 800 km north of Adelaide in SA. The plant is owned and operated by STO and produces gas, LPG, crude oil, condensate and ethane. The Moomba facility also houses 20MW of generation capacity and a reverse osmosis treatment plant for water. The facility sources conventional gas from over 100 fields in the Cooper-Eromanga basin and gas production from the facility. Gas sales to Adelaide commenced in 1969 (via the MAP), and to Sydney (via the MSP) in 1976. From 2015, STO has began to supply 750 PJ of gas to the GLNG development, with gas from the Cooper Basin the primary supply source. The Moomba plant also incorporates gas storage facilities. Processing capacity is estimated at 415 TJ (including 120 TJ/d maximum storage withdrawal at 65 PJ capacity). | Online | SA | Santos (66.6 percent), Beach (33.4 percent) | Santos Limited | Cooper Eromanga Basin | 1969 | Conventional and Unconventional | 435 | 435 | SACB, SWQ JV, PE, PEL106B, SWJV (SACB), Vanessa | MAP, MSP, SWQP and liquids export line to Port Bonython. | Santos has completed required capital works to support current contract requirements. Additional expansion of Moomba plant will be dependent on material incremental gas production/sales. | 2020
Moranbah Gas Processing Facility | The facility is located approximately 1 km from Moranbah. It processes coal seam gas from the Moranbah Gas Project in the Bowen Basin. | Existing | QLD | Arrow (50%) and AGL Energy Limited (50%) | Arrow | Bowen Basin | 2004 | Coal Seam Gas | 68 | 68 | Moranbah Gas Project | North Queensland Gas Pipeline | None Currently Planned | 2020
Orana Gas Plant | The Orana plant is owned by APLNG and operated by Origin. | Online | QLD | APLNG | Origin as Upstream Operator on behalf of APLNG | Bowen Surat | 2014 | Coal Seam Gas | 195 | 200 | Orana Field (PL 215 ) and Orana North (PL 272) | Darling Downs Pipeline PPL 133 (Owned by Jemena) | N/A | 2020
Orbost Gas Plant (Patricia-Baleen) | The Orbost gas plant is located near Orbost on the north-east coast of Victoria. The facility was originally used to process gas from the now depleted Patricia-Baleen field. Once commissioned, the facility will process gas from Cooper Energy's Sole gas field for export to the EGP to meet demand on the eastern seaboard. Capacity is estimated to be 68 TJ per day once the facility upgrade is completed. | Offline The plant is expected to be online in Q1 2020 | VIC | APA Group | APA Group | Gippsland Basin | 2003 | Conventional | 68 | 68 | Sole | EGP | APA is currently upgrading the plant, with processing services expected to commence in Q1 2020. | 2019
Otway Gas Plant (Port Campbell) | The Otway gas plant is located north of Port Campbell in south-west VIC. The plant is operated by Beach Energy and began production in 2007. | Online | VIC | Beach Energy | Beach Energy | Otway Basin | 2007 | Conventional | 205 | 205 | Thylacine Geographe | SGP, SWP | None planned | 2020
Peat Gas Plant | The Peat gas plant is located near Wandoan in central QLD. | Online | QLD | APLNG | Origin Energy as upstream operator of APLNG | Bowen Surat Basin | 2001 | Coal Seam Gas | 12 | 15 | Peat | RBP | NIL | 2020
Reedy Creek Gas Plant | The Reedy Creek Gas Plant is located north east of Roma. | Online | QLD | ATP 606P JV parties (92.7% APLNG) | Origin Energy as upstream operator of APLNG | Bowen Surat Basin | 2014 | Coal Seam Gas | 188 | 188 | Reedy Creek PL 404 | APLNG Pipeline | No Entry | 2020
Rolleston Gas Plant | The Rolleston gas plant is located in the northern part of the Denison Trough in QLD near to the Yellowbank processing facilities. | Offline | QLD | Denison Gas | Origin as Upstream Operator on behalf of APLNG | Bowen Surat Basin | 1989 | Conventional | 30 | 30 | Northern Denison Trough | QGP | Nil | 2020
Ruby Jo Gas Plant | The Ruby Jo gas plant is located east of Tara in QLD. | Online | QLD | QGC Pty Limited | Not provided. | Surat | April 2014 | Coal Seam Gas | 499 | 499 | Not provided. | WGP | Not provided. | 2019
Scotia Gas Plant | The Scotia gas plant is located north-west of Brisbane in QLD. Gas was discovered in the area in 1996, with production commencing in 2002. The plant is owned by STO with gas supply being sourced from STO’s Scotia CSG field in the Bowen-Surat basin and processed at a maximum capacity of 30 TJ per day. The Scotia facility connects to the RBP via the Scotia / Peat lateral line and current production is sold to CS Energy for use in its Swanbank Power Station. | Online | QLD | Santos | Santos | Bowen Surat | 2002 | Coal Seam Gas | 30 | 30 | Scotia | RBP | Not provided. | 2020
Spring Gully Gas Plant | The Spring Gully gas plant is located north of Roma in central QLD. | Online | QLD | APLNG | Origin as Upstream Operator on behalf of APLNG | Bowen Surat Basin | 2005 | Coal Seam Gas | 60 | 60 | Spring Gully Field (ATP 592) | Spring Gully Pipeline (Owned by Jemena), QGP (owned by Jemena) via APLNGs Eurombah Lateral. | Nil | 2020
Strathblane Gas Plant | The Strathblane gas plant is located north of Roma in central QLD. | Online | QLD | APLNG | Origin Energy as upstream operator of APLNG | Bowen Surat Basin | 2007 | Coal Seam Gas | 73 | 72 | Spring Gully | Spring Gully Pipeline (Owned by Jemena), QGP (owned by Jemena) via APLNGs Eurombah Lateral. | NIL | 2020
Talinga Gas Plant | The Talinga gas plant is located near Chinchilla in QLD. | Online | QLD | APLNG | Origin Energy as upstream operator of APLNG | Bowen Surat Basin | 2010 | Coal Seam Gas | 117 | 117 | Talinga Field (PL 226) | APLNG Pipeline and Darling Downs Pipeline (PPL134) | None | 2020
Taloona Gas Plant | The Taloona gas plant is located near Roma in central QLD. | Online | QLD | APLNG | Origin Energy as upstream operator of APLNG | Bowen Surat Basin | 2010 | Coal Seam Gas | 65 | 65 | Spring Gully Field (ATP 592) | Spring Gully Pipeline and APLNG Pipeline | Nil | 2020
Wallumbilla (Wungoona) Gas Plant | The Wallumbilla gas plant is located 13 km south of Wallumbilla and is connected via a dedicated (bi-directional) pipeline to the Silver Springs gas project. The plant is wholly-owned and operated by AGL. The plant’s primary function is to process gas for supply into the RBP and recover LPG. The plant’s operation is integrated with the Silver Springs gas project. The plant was off line for some time, during which it underwent modification and refurbishment. The plant was recommissioned and returned into service in 2015. | Online | QLD | AGL | AGL | Surat | 1977 | Conventional and Coal Seam Gas | 30 | 30 | Silver Spring Gas Storage via PPL4 | RBP Silver Springs to Wallumbilla pipeline (bi-directional) | N/A | 2020
Woleebee Creek Gas Plant | The Woleebee Creek gas plant is located west of Wandoan in QLD. | Online | QLD | QGC Pty Limited | Not provided. | Surat | March 2015 | Coal Seam Gas | 517 | 517 | Not provided. | WGP | Not provided. | 2019
Yellowbank Gas Plant | The Yellowbank gas plant is located in the Carters Gully in south east QLD near to the Rolleston facilities. | Online | QLD | Denison Gas | Origin as Upstream Operator on behalf of APLNG | Bowen Surat Basin | 1989 | Conventional | 30 | 30 | Southern Denison Trough (Glentulloch, Merivale, Springvale/Myrtleville and Yellowbank) | QGP | Nil | 2020

## Storage
Eastern Australian Natural Gas Storage Facilities
This worksheet summarises the key information for each proposed and committed gas storage facility in eastern and south eastern Australia.
Name | Description | Status | Location | Ownership | Operator | Field | First Storage | Injection Capacity (TJ/day) | Withdrawal Capacity (TJ/day) | Storage Capacity (PJ) | Expansions | Last updated
Ballera Underground Storage | The Ballera gas storage facility is located in south-west QLD, approximately 90 km east of the SA border. The facility is jointly owned by Santos (60.06 percent) and Beach (39.94 percent), with Santos acting as operator. In addition to storage, the facility also processes conventional gas from the Cooper-Eromanga basin. Storage capacity is 11 PJ via the depleted Chookoo field. The Chookoo field is no longer used as an underground storage facility and is currently reinstated as production wells. | Offline (Reinstated to production facilities via SWQ Satellite) | QLD | Santos (60.06 percent), Beach (39.94 percent) | Santos Limited | Chookoo Field | 1997 | No longer used as storage facility | No longer used as storage facility | No longer used as storage facility | There are no expansion plans identified for Chookoo | 2020
Iona Underground Gas Storage | The Iona Gas Storage Facility is located near Port Campbell in south-west VIC. The facility is operated by Lochard Energy and makes use of the depleted Iona, North Paaratte and Wallaby Creek gas fields to store up to a maximum of 26 PJ of gas. Gas withdrawn from the reservoirs is processed by the Iona Gas Plant and supplied to VIC via the Mortlake and SWP, and to Adelaide via the SEA Gas Pipeline. Total storage reservoir injection and withdrawal capacities are up to 155 TJ per day and up to 480 TJ per day, respectively. These rates are Lochard’s current best estimate at the date of this document of the reservoir injection and withdrawal capacity, based on modelling done to date and Lochard’s operational experience. | Online | Port Campbell, Victoria | QIC led consortium | Lochard Energy | Iona Gas Field, North Paaratte Gas Field, Wallaby Creek Gas Field | 2000 | 155 | 480 | 26 | Underground Storage capacity and delivery enhancement projects are currently being considered to meet the growing market demand, provide system reliability and meet customers future gas requirements. | 2020
LNG Storage Dandenong | The Dandenong LNG facility is located in VIC and owned by APA Group. It serves the market by providing peak gas supply to the Victorian Transmission System as well as providing a truck loading station for LNG tankers. The facility stores liquefied natural gas at low pressure with a storage capacity of 680 TJ. Liquefaction (injection) capacity is 8.2 TJ per day, while vaporisation (withdrawal) capacity is 87 TJ per day. | Online | VIC | APA Group | APA Group | LNG tank | 1980 | 8.2 | 87 | 0.68 | There are currently no expansion plans | 2020
Moomba Underground Gas Storage | The Moomba underground gas storage facility is located approximately 800 km north of Adelaide in SA. The facility is owned and operated by Santos Limited. A range of depleted fields in the surrounding Cooper-Eromanga basin are used to store up to 65 PJ of gas. This is the largest storage capacity of any facility in the south east Australia gas market. As well as providing storage, the facility also processes conventional gas from the Cooper-Eromanga basin, and is connected to Adelaide via the MAP and to Sydney via the MSP. Moomba gas plant is used to process gas withdrawn from storage, there is no separate gas processing facility. Moomba storage is not used to provide peak storage capacity into the market and should not be considered as such given the characteristics of its withdrawal and injection capability. | Online | SA | Santos (66.6 percent), Beach (33.4 percent) | Santos Limited | In South Australia gas is stored in the Moomba field via compression at the Moomba South Central satellite | 1980 | 120 | 120 | 70 | No expansions currently approved | 2020
Newcastle Gas Storage Facility | The Newcastle gas storage facility is located at Tomago, 14 km north west of Newcastle. The facility supports peak winter demand in the Sydney-Newcastle area, allows supply of gas into the Sydney STTM, and provides emergency supply during periods of system interruption. The facility incorporates liquefaction, LNG storage and regasification plant, a truck load-out facility and two high-pressure (bi-directional) gas pipelines. These pipelines connect the facility to the Jemena Sydney network in two locations, directly at site and at the Hexham meter station. | Online | NSW | AGL | AGL | LNG Tank | 2015 | 12 | 120 | 1.5 | N/A | 2020
Roma Underground Storage | The Roma gas storage facility is located in QLD where it utilises depleted conventional reservoirs in the Roma area. The facility is owned by Santos Limited, which has suggested that Roma gas storage will be a key part of their ramp gas management strategy. | Online | QLD | Santos | Santos | Depleted conventional reservoirs in the Roma area. | 2011 | 75 | 100 | 65 | NA | 2020
Silver Springs Gas Storage | The Silver Springs gas storage facility is integrated with the Silver Springs plant and located approximately 100 km south of Roma. The facility is wholly-owned and operated by AGL. The facility was commissioned for gas injection in 2011 and utilises the depleted Silver Springs and Renlim gas reservoirs. Commenced active operations of injection and withdrawal in May 2016. | Online | QLD | AGL | AGL | Silver Springs and Renlim | 2011 | 30 | 30 | 42 | N/A | 2020

## LNG Export
Queensland Liquefied Natural Gas (LNG) Projects
This worksheet summarises the key information for each LNG export project in eastern and south eastern Australia.
Name | Acronym | Status | Location | Ownership | Online | Gas Field | Gas Source | Trains | Production Capacity (Mtpa) | Required Gas Feed (PJ per Year) | Expansions | Last updated
QGC (Curtis Island) | QCLNG | Online | QLD | Shell, CNOOC and Tokyo Gas | Train 1: Dec 14 Train 2: July 15 | Shell operated Surat Basin PLs | Coal Seam Gas | 2 trains | 8.5 Mtpa | 444 | No current plans for expansion | 2020
Australia Pacific LNG | APLNG | Online | QLD | ALPNG | 2015 | Walloons Gas Fields: Carinya, Combabula, Condabri, Dalwogan, Gilbert Gully, Kainama, Orana, Ramyard, Talinga, Woleebee | Coal Seam Gas | 2 trains | 9 Mtpa | Up to 600 PJ per year. Currently ~504 PJ pa. Please note LNG loss factor is ~7.5%. | Not provided | 2019
Gladstone LNG | GLNG | Online | QLD | Santos, PETRONAS, Total and KOGAS | 2015 | Fairview, Roma, Arcadia Valley, Scotia | Coal Seam Gas +3rd Party gas from Santos Cooper Basin, Origin portfolio and others | 2 trains | Nameplate capacity 7.8 Mtpa | 505 | No expansion plans | 2019

## Field Developments
Eastern Australian Natural Gas Field Developments
This worksheet summarises the key information for each field development in eastern and south eastern Australia, or fields that may supply eastern and south eastern Australia.
Name | Description | Status | Location | Ownership | Operator | Basin | First Production | Gas Source | Production Capacity (TJ per day unless otherwise specified) | Production Facility | Market | Pipeline Connection | Expansion Plans | Last updated
APLNG Gas Field Development | The APLNG field development involves the production of coal seam gas from the Surat and Bowen basins in QLD. The APLNG pipeline transports natural gas from the Surat and Bowen basins to the LNG facility, located on Curtis Island, near Gladstone. | Online | QLD | APLNG | APLNG | Surat-Bowen | 2013-2016 | Coal Seam Gas | Not provided. | Condabri, Combabula, Eurombah Creek, Orana, Peat, Reedy Creek, Spring Gully, Strathblane, Talinga, Taloona | LNG export and domestic | APLNG pipeline | Not provided. | 2020
Bowen Gas Project | The proposed project involves the staged expansion of coal seam gas production in the Bowen Basin which may involve interests held by other parties. The environmental impact statement for the project was approved by the State in September 2014 and Commonwealth approval was given in October 2014. An environmental authority for the first phase of the project was issued in 2015. | Proposed | QLD | Arrow | Arrow | Bowen | Not Currently Available | Coal Seam Gas | Not Currently Available | Not Currently Available | QLD | Proposed Arrow Bowen Pipeline | N/A | 2020
Camden Gas Project | The Camden Gas Project development area is located south-west of Sydney covering an area of approximately 15 km west-east and 9 km north-south. The project is wholly-owned and operated by AGL. Approximately 3.7 PJ per annum of CSG is supplied to domestic customers via a dedicated pipeline connected to Jemena’s Sydney network. AGL intends to cease production from the Camden Gas field in 2023. | Online | NSW | AGL | AGL | Sydney | Ray Beddoe Treatment Plant - 2001 Rosalind Park Gas Plant - 2004 | Coal Seam Gas | 15 | Rosalind Park Gas Plant | Sydney and NSW domestic | Existing Camden to Sydney pipeline. | N/A | 2020
Casino Gas Project | The Casino Gas Project is located in the Otway Basin off the south coast of Victoria, approximately 29 km from Port Campbell. The Casino gas field was brought online in January 2006, with the Henry and Netherby wells brought online in 2010. | Online | Otway Basin | Cooper Energy Ltd. 50%, Mitsui 50% | Cooper Energy Ltd | Otway | 2006 | Conventional | Currently limited by well deliverability | Iona Gas Plant owned and operated by Lochard Energy 100% | 100% of offtake is contract to Origin Energy and OI International until 31/12/2019 | Lion’s Way Pipeline | Further development and exploration is being planned for develop and produce the remaining reserves | 2019
Cooper Basin Unconventional Gas | Senex is pursuing a gas exploration program in joint venture with Beach Energy (formerly Origin and Lattice) and Planet Gas, across two areas in the north and south of the Cooper Basin. Senex is freecarried by Beach Energy for its share of expenditure under the farm-in arrangement. | Beach Energy and Planet Gas exited the joint venture. There is no work planned for 2020 | Near Moomba | Senex, Beach Energy and Plant Gas | Senex and Beach Energy | Cooper Basin | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | 2020
Cooper Unconventional | Santos has three plays in the unconventional space: - Condensate rich deep coals in the Patchawarra trough - Multiple targets in the Nappamerri trough (tight sands, shale and deep coal) - Shale and deep dry gas coal around Moomba/ Big Lake area As per recent investor presentations, progress on deep coals is encouraging. | Exploration | SA | Santos (66.6 percent), Delhi (20.21 percent), Origin (13.19 percent) | Santos Limited | Cooper | 2012 | Unconventional | Refer to Moomba Gas Plant | Moomba Gas Production Facility. | Eastern Australia Gas Market | MSP, MAP and SWQP | Success case development includes construction of Satellite facilities sufficient to transport gas and process it at the Moomba Plant. | 2020
Daandine / Stratheden Gas Field | The gas field is located approximately 40 km west of Dalby. It has been producing coal seam gas since September 2006. | Existing | QLD | Arrow | Arrow | Surat | 2006 | Coal Seam Gas | 76 | Daandine Central Gas Processing Facility | QLD | Braemar 1 Pipeline, Braemar 2 Pipeline, Roma Brisbane Pipeline | None Currently Planned | 2020
Dingo | Dingo is located in the Amadeus Basin in the L 7 tenement. In March 2014, Central acquired discovered but undeveloped gas reserves and the contract to supply PWC at Dingo from Magellan. Following this acquisition, Central commenced development of the facilities at Dingo, which was completed in April 2015. This involved the construction of wellhead facilities, gathering pipelines, gas conditioning facilities, a 50km gas pipeline (PL30) to Brewer Estate in Alice Springs, and compression and custody transfer metering facilities. The Dingo wells produce high pressure gas that is transported to Brewer Estate via pipeline. All hydrocarbon condensates and water and then extracted from the gas and the pressure is reduced to meet customer requirements before sale. | Production | NT | Central Petroleum – 100% | Central Petroleum | Amadeus | 1905-07-07 | Conventional | Commercial in confidence | Brewer Estate | NT | Currently only supplies to PWC for the Owen Springs Power Plant near Alice Springs | Commercial in confidence | 2020
Gemba Conventional Gas Field | The Gemba field is located on the south-west margin of the Allunga trough in the SA Cooper Basin. It was discovered in late 2018 with gas recovery estimates of ~15 PJ subject to successful field development | Sales of sales gas commenced on 5 December 2019. | ~37 km south-west of the Moomba processing facility. | Senex 100% | Senex | Cooper Basin | 2019-12-05 | conventional and associated liquids | Not applicable | Processed via the Moomba facilities | domestic market - SA | Tie-in to the Santos-operated gathering network near Daralingie | ~15 petajoules, subject to successful field development | 2020
Gunn Project Area and Albany Conventional Structure – ATPs 743P, 744P and 1015P (Galilee Basin) Queensland | Comet’s Galilee Basin acreage contains both shallow coal seam gas (CSG) and deeper conventional / sandstone resources. Vintage Energy own 30% of the sandstone acreage. Comet has drilled the Albany 1 sandstone appraisal well. A stabilised gas flowrate of 230,000 scf/d was achieved across a 13 metre interval in the Lake Galilee Sandstone. Albany 1 sidetrack was drilled in October 2019. The well reached a total depth of 2822m. Strong gas shows have been measured right through all four sandstone packages. The Albany 2 well was spudded on 30 July 2019 and was drilled to a total depth of 2702m. The JV obtained 62m of predominately sandstone core from the Albany 2 well. Wireline logs were also run and have provided a significant amount of information on the Lake Galilee Sandstone reservoir, including identifying a 13m sandstone section with porosity values ranging from 12 to 15%. Gas shows were recorded from all sandstone packages within the target reservoir, particularly from the 13m section. Comet has booked contingent 1C/2C/3C recoverable resources of 56/153/417 PJ in the Albany structure. If the Albany appraisal wells are successful, there are a number of other conventional prospects within ATPs 744P and 1015P which would merit further drilling. Comet maintains 100% of the shallow CSG acreage in its Galilee licences. Contingent recoverable 2C/3C resources stand at 67/1870 PJ. | Proposed | Central QLD | Comet Ridge Limited (ATP 744 & ATP 743) & Comet Ridge Galilee Pty Ltd (ATP 1015) (Conventional & CSG Shallows) Vintage Energy Limited (Conventional) | Comet Ridge Limited | Galilee | Earliest possible commercial gas production is 2022 contingent on approvals and funding. Large scale exports are also contingent on construction of an export pipeline. | Coal Seam Gas Sandstone Reservoir Gas | Not yet designed | Not yet designed | Local supply to nearby coal mines in the eastern Galilee Basin or depending on the export route, the large east coast domestic and export market | Potentially SW to Barcaldine, East to Moranbah (circa 170 km) or SE to Rolleston and ultimately to Gladstone which is about 500 km) or East to coal mines (circa 30 to 40 km). Comet Ridge entered a non-biding MOU with APA Group to work towards transportation of gas from Comet Ridge’s Galilee Basin permits to the east coast gas markets. | N/A | 2020
Halladale Black Watch | The Halladale and Speculant fields are located approximately 5 km off the south-west VIC coast. | Online | South West VIC coast | Beach Energy 60%, O.G. Energy 40% | Beach Energy | Otway | 2016 | Conventional | 65 | Otway Gas Plant | Domestic market | SGP and SWP | N/A | 2020
Kipper | The Kipper development is located in the coastal waters of Bass Strait, in offshore south-east VIC. The development is a joint venture between Mitsui (35 %), Exxon Mobil subsidiary Esso Australia (32.5 %) and BHP Billiton (32.5 %) to produce both gas and liquids from the Kipper field. The field was discovered in 1986, and sanctioned by the joint venture in December 2007. The combined Kipper-Turrum project is currently one of the largest domestic gas developments on the eastern seaboard. Gas from Kipper is produced from subsea wells via a local subsea manifold tie-in point. From there, the gas is transported via the existing West Tuna platform for processing at the onshore Longford gas plant. Future opportunities are being evaluated including additional subsea drilling. | Online | Coastal waters of Bass Strait, offshore south-east Victoria. | Mitsui (35 percent), Esso Australia (Exxon Mobil subsidiary) (32.5 percent), BHP Billiton (32.5 percent) | Esso Australia (Exxon Mobil subsidiary) | Gippsland | 2017 | Conventional | 75 TJ/d gross for Kipper project. | Longford | East Coast Market | Longford gas plant | N/A | 2019
Kogan | The gas field is located approximately 40 km west of Dalby. It has been producing gas since January 2006. | Online | QLD | Arrow (50%) and Stanwell Corporation Limited (50%) | Arrow | Surat | 2006 | Coal Seam Gas | 12 | Kogan North Central Gas Processing Facility | QLD | Roma Brisbane Pipeline | None Currently Planned | 2020
Leigh Creek Energy Project | Leigh Creek Energy | The Leigh Creek Energy Project (LCEP) is a project to produce syngas from the former Leigh Creek Coal Mine 550km north of Adelaide in SA. |  | Leigh Creek Coal Field, South Australia | Leigh Creek Energy Ltd | Leigh Creek Operations Pty Ltd | Telford | 2024 | Unconventional (In Situ Gasification) | 164 | Conversion of Syngas from In Situ Gasification to pipeline quality gas into Adelaide Moomba Pipeline System (MAPS) to service East Coast gas markets | East Coast Gas Market | Moomba Adelaide Pipeline System (MAPS) | 2020
Mahalo CSG Project (ATP 1191P) Queensland | The Mahalo project is located in the Denison Trough in the Bowen Basin in central Queensland. It is one of the larger undeveloped gas projects in eastern Australia with gross 2P reserves of 430 PJ across the block based on the COI booking of 2P reserves of 172PJ in March 2018 (COI share grossed up). Following the successful appraisal programme in 2017 and 2018, capped off by the >1 TJ /d Mira 6/2 short horizontal-vertical well which enabled a substantial increase in booked reserves, it is expected that the JV will discuss options for a full field development during 2018. The project is geographically very close to market with the southern end of the block only 35km north west of Jemena’s QGP and GLNG’s GTP high capacity pipelines. | Proposed | Central QLD | Comet Ridge Limited (40%), Santos Qld Pty Ltd (30%), APLNG (30%) | Santos during exploration, APLNG for development onwards. Currently COI operates the block as agent appointed by the exploration operator Santos. | Bowen | 2021 | Coal seam gas | Not yet designed | Not yet designed | The east coast domestic and export markets | Either to Jemena’s QGP or GLNG’s GTP, or to both | N/A | 2020
Mahalo North CSG Project (ATP 2048) Queensland | The Mahalo project is located in the Denison Trough in the Bowen Basin in central Queensland. It is one of the larger undeveloped gas projects in eastern Australia with gross 2P reserves of 265 PJ across the block based on the COI booking of 2P reserves of 106PJ in October 2019 (COI share grossed up). Applications for two Petroleum Leases, PLA 1082 (Humboldt) and PLA 1083 (Mahalo), across the Mahalo Gas Project were lodged with the Queensland government in September 2019 to enable this initial area within the Mahalo Asset to progress to FID. The project is geographically very close to market with the southern end of the block only 35km north west of Jemena’s QGP and GLNG’s GTP high capacity pipelines. | Proposed | Central QLD | Comet Ridge Limited (40%), Santos Qld Pty Ltd (30%), APLNG (30%) | APLNG is the development operator | Bowen | If a development is sanctioned in mid 2020, first gas flows would be expected by end 2021 | Coal Seam Gas | Not yet designed | Not yet designed | The east coast domestic and export markets | Either to Jemena’s QGP or GLNG’s GTP, or to both | N/A | 2020
Mereenie | On 1 September 2015, Central assumed Operatorship of the Mereenie Oil and Gas Field after acquiring a 50% interest from Santos in June 2015. Effective 1 January 2017 Macquarie Mereenie Pty Ltd, a subsidiary of Macquarie Group Limited, acquired Santos’ 50% interest in Mereenie and became a joint venture partner with Central. Central remains Operator. Oil and condensate are produced from the field, processed and trucked to Port Bonython for storage prior to export by tanker, normally to refineries in Singapore. Associated gas production is currently reinjected into the oil reservoir for pressure maintenance. Gas is sold to MacArthur River Mine, NTGD, and EDL per the GSA announced on 26 April 2017. | Production | NT | Macquarie Mereenie Pty Ltd – 50 % Central Petroleum – 50 % | Central Petroleum | Amadeus | 1984 | Conventional | Commercial in confidence | Mereenie Oil and Gas Field Production Facility. | NT and NGP into the East Coast | NGP | Commercial in confidence | 2020
Meridian SeamGas gas field (including Dawson Valley) | The Meridian SeamGas facility is located 160 Km west of Gladstone in QLD. The gas field and production facility is a joint venture between WestSide Corporation Limited (51 percent) and Mitsui E&P Australia Pty Ltd (49 percent). The Meridian SeamGas Field became Australia’s first commercial CSG producer in the late 1990s. The Mungi Gas field, with the same participants and shares outlined above, has its gas processed by the Meridian SeamGas facilities. Current export pipeline infrastructure has a capacity of 60 TJ per day to both the QGP and GLNG trunkline although QGP meter facility is limited to 33 TJ/d. Current compression facility name plate capacity is approximately 52 TJ per day, expanding to ~ 60 TJ/d in 2020. | Online | Moura, QLD | WestSide Corporation Limited (51 percent), Mitsui E&P Australia Pty Ltd (49 percent) | Westside Corporation Pty Ltd | Bowen Basin | Late 1990s | Coal Seam Gas | Nameplate - 52 TJ/d Compression (60 TJ/d February 2019) 60 TJ/d Pipeline to QGP and GLNG Interconnect (although QGP meter limited to 33 TJ/d) 100 TJ/d Interconnection to the GLNG trunkline. | Production facilities include three main compressor HUBs with associated moisture and H2S treatment facilities where appropriate. | The Meridian SeamGas field is able to supply gas directly to LNG export via the GLNG pipeline, to domestic gas customers in Gladstone or via the Wallumbilla hub to a range of potential customers both utilising the QGP. | QGP at Moura, GLNG GTP at Moura | Compression nameplate capacity was increased in 2019 to ~52 TJ/d. The Joint Venture has approved an additional 8 TJ/d of compression capacity and this is expected to be operational in 2020. The Joint Venture continues to contemplate further expansions. | 2020
Moranbah Gas Project | The project is located approximately 1 km from Moranbah. It has been producing coal seam gas since 2004. | Existing | QLD | Arrow (50%) and AGL Energy Limited (50%) | Arrow | Bowen | 2004 | Coal Seam Gas | 68 | Moranbah Gas Processing Facility | QLD | North Queensland Gas Pipeline | None Currently Planned | 2020
Narrabri CSG | The Narrabri CSG project is located in the Gunnedah Basin in north central NSW. In 2011, as a result of its acquisition of Eastern Star Gas, Santos gained ownership and became operator of the project, and sold a portion to EnergyAustralia. A key component of this transaction was the Narrabri coal seam gas acreage. Historically the field has produced small volumes of gas, much of which has been used for electricity generation at the local Wilga Park power station, also owned by the Joint Venture. Commercial potential of the project is still being appraised. If it proceeds, Santos has pledged the gas to the NSW domestic market. Santos has submitted the Narrabri Gas Project Development Application, including the Environmental Impact Statement (EIS), to the Government for assessment. | Proposed | North-west slopes and plains, NSW | Santos Limited 80%, EnergyAustralia 20% | Santos Limited | Gunnedah | Not provided. | Coal Seam Gas | Stage 1: 100 Stage 2: 150 | New facilities / facility expansion. | Domestic. | Under consideration | None to date | 2020
Palm Valley | The Palm Valley gas field was brought back online in late 2018, producing approximately 6TJ/d from 3 wells. The Palm Valley 13 ("PV13) well was drilled in 2018 and brought online in May 2019. With the addition of this well, Palm Valley is now capable of producing 13TJ/d sales gas with processing capacity up to 15TJ/d. | Production | NT | Central Petroleum – 100% | Central Petroleum | Amadeus | 1987 | Conventional | Commercial in confidence | Palm Valley gas field production facility | NT and from December 2018 into the East Coast via NGP | AGP and via NGP | Commercial in confidence | 2020
Project Atlas | Project Atlas is 58 km2 of development-ready coal seam gas acreage located south-west of Wandoan in Queensland’s Surat Basin. We expect to drill around 100 wells over the life of the project. All gas from the project will be sold to the domestic market. The acreage is capable of sustaining plateau production of >30TJ/day. | Senex has drilled 23 wells on Project Atlas, and commenced production from 16 wells. The remaining 7 wells will be brought online in late December 2019. A further 37 wells will be drilled during 2020 | 25kms south west of Wandoan. | 100% Senex Energy Ltd | Senex Energy Ltd | Surat Basin | 2019 | Coal Seam Gas | 40 | Senex contracted Jemena to build, own, operate and maintain a gas processing facility and export pipeline. That facility and pipeline have been constructed and are being commissioned in November 2019. | Senex has executed three contracts with C&I customers, with firm deliveries via the Wallumbilla Gas Hub commencing 1 January 2020. | The Atlas gas processing facility is connected via the Atlas export pipeline to the Darling Downs Pipeline, to enable Atlas gas to be transported to the Wallumbilla hub for sale to domestic customers. | - | 2020
QGC Surat Development | The QGC Surat Development involves the phased development of Shell operated Surat Basin tenements to produce CSG to meet domestic and LNG export demands. As of end of 2017 around 2,900 wells are online feeding the compression network. Sustaining wells are expected to be drilled at an average rate of around 200 wells per year to sustain production over the life of the field. | Initial Development : In production Charlie came onstream in August 2017. Project Ruby came on stream in May 2018 | QLD | Various (Shell, CNOOC, TG and APLNG) | Shell | Surat | 2005 | Coal Seam Gas | 848 | TKY Field compression station out of plan hence 24 instead of 25 FCS. | Domestic gas contracts Equity liftings Export LNG contracts | RBP, SWQP, QGP APA Wallumbilla to Gladstone pipeline to QGC LNG plant. Connection with APLNG for equity lifting | No current plans for expansion | 2020
Silver Springs Gas Project | The Silver Springs gas project is a collection of mature gas fields centred around the Silver Springs plant located approximately 100 km south of Roma. The development area is largely wholly-owned and operated by AGL. Petroleum products (gas, LPG, condensate and oil) are supplied to Queensland domestic customers. Gas is supplied via a dedicated (bi-directional) pipeline connecting the Silver Springs plant to Wallumbilla via the Wallumbilla gas plant fields. | Online | QLD | AGL | AGL | Surat | 1977 | Conventional | 30 | No Entry | Queensland domestic & South Australian Generation | Silver Springs to Wallumbilla pipeline (bi-directional) | N/A | 2020
Sole and Manta Gas Project | The Sole and Manta Gas Projects are located in the Gippsland Basin off the south coast of Victoria. | Sole – in construction; Manta – Pre FEED | Gippsland Basin | Cooper Energy Ltd 100% | Cooper Energy Ltd. | Gippsland | 2019 | Conventional | Initially ~68 TJ/d, upgrade to ~140 TJ/d if Manta gas developed | Orbost plant recently 100% owned and operated by APA Group | Energy Australia, Alinta, OI Group, AGL | EGP | Manta, Manta Deep, third parties | 2019
South West JV Gas (Santos JV) | The South West joint venture with Santos (Beach 40%, Santos 60% and Operator) includes PEL 513 and PRLs 131 to 134 in the southern-central portion of the Patchawarra Trough. PEL 513 also covers the highly prospective Wooloo-Allunga Trough directly southwest of the Moomba gas field and northeast of the Daralingie gas field. | Three wells are producing and two wells cased and suspended awaiting completion and connection. There has been limited activity in the SWJV since FY2015 while awaiting reprocessing of 3D seismic. | SA – Western Patchawarra | Beach 40%, Santos 60% | Santos QNT | Cooper | 2015 | N/A | N/A | None | Target markets are domestic gas and LNG feedstock | Connections to Moomba | None | 2019
Surat Gas Project | The proposed project involves the staged expansion of coal seam gas production in the Surat Basin which may involve interests held by other parties. The environmental impact statement for the project was approved by the State in October 2013 and Commonwealth approval was given in December 2013. An environmental authority for the first phase of the project was issued in 2015. In December 2017 Arrow entered into a gas supply agreement for the majority of its coal seam gas reserves in the Surat Basin. | Proposed | QLD | Arrow | Arrow | Surat | 2021 | Coal Seam Gas | 700 | Daandine Central Gas Processing Facility, Tipton West Central Gas Processing Facility | QLD | Braemar 1 Pipeline, Braemar 2 Pipeline, Roma Brisbane Pipeline | N/A | 2020
Tipton West Gas Field | The gas field is located approximately 40 km southwest of Dalby. It has been producing gas since September 2006. | Existing | QLD | Arrow | Arrow | Surat | 2006 | Coal Seam Gas | 33 | Tipton West Central Gas Processing Facility | QLD | Braemar 1 Pipeline | Proposed expansion to total of 80 TJ per day | 2020
Tuna | The Tuna development is located in the coastal waters of Bass Strait, in offshore south-east VIC. The project will produce conventional gas from the Gippsland basin and is part of the Gippsland Basin Joint Venture, comprising Exxon Mobil subsidiary Esso Australia (50%) and BHP Billiton (50 %). It has been developed in conjunction with the Kipper and Turrum fields, which when combined, is one of the largest domestic gas developments on the eastern seaboard. The Tuna reservoir, which has been producing oil since 1979, has been further developed to produce additional gas and associated liquids. This has been done by converting existing West Tuna facilities, and also using new pipelines to deliver production into the existing gas system. | Online | Coastal waters of Bass Strait, offshore south-east Victoria. | Esso Australia (Exxon Mobil subsidiary) (50 percent), BHP Billiton (50 percent) | Esso Australia (Exxon Mobil subsidiary) | Gippsland | 2013 | Conventional | Not provided. | Longford | East Coast Market | Longford gas plant | Not provided. | 2019
Turrum | The Turrum development is located in the coastal waters of Bass Strait, in offshore south-east VIC. The project produces conventional gas and oil from the Gippsland Basin and is part of the Gippsland Basin Joint Venture, comprising ExxonMobil subsidiary Esso Australia (50 %) and BHP Billiton (50 %). Development of the Turrum field was sanctioned in July 2008, with first gas production in 2017. Turrum was developed in conjunction with the Tuna and Kipper fields, which when combined, is one of the largest domestic gas developments on the eastern seaboard. | Online | Coastal waters of Bass Strait, offshore south-east Victoria. | Esso Australia (Exxon Mobil subsidiary)(50 percent), BHP Billiton (50 percent) | Esso Australia (Exxon Mobil subsidiary) | Gippsland | 2016 | Conventional | 212 TJ/d | Longford | East Coast Gas Market | Longford gas plant | Not provided. | 2019
Vanessa Conventional Gas Field | In the northern Cooper Basin, Senex is developing its Vanessa conventional gas field in joint venture with Beach Energy (formerly Drillsearch). | Vanessa gas field was brought online in July 2018 | About 100 km North of Moomba | Senex and Beach Energy | Senex Energy | Cooper Basin | July 2018 | Conventional gas and associated liquids | Not applicable | Processed via the Moomba facilities | Domestic market - SA | The Senex led project received a $5.82m SA Government PACE gas grant in July 2017 that joint venture participants matched. It was used to construct a new pipeline connecting the asset to the Moomba processing facilities which are connected to the Moomba-Adelaide Pipeline System. The gas will be supplied to a domestic customer. | There is further exploration / development potential but nothing forecast in FY19. | 2020
West Barracouta | West Barracouta gas discovery was made in 1969 and is offshore in the Gippsland Basin in VIC. The conventional gas resource is part of the Gippsland Basin Joint Venture between Exxon Mobil subsidiary Esso Australia (50 %) and BHP Billiton (50 %). GBJV is evaluating options to recover some “unswept” gas from the western part of the Barracouta field, likely via the drilling of a number of subsea wells tied-back to existing infrastructure. | Proposed | Offshore South-East VIC | Esso Australia (Exxon Mobil subsidiary)(50 percent), BHP Billiton (50 percent) | Esso Australia (ExxonMobil subsidiary) | Gippsland | Not provided. | Conventional | Not provided. | Gas from this field is relatively low in impurities and would be processed by the Longford Gas Plant. | Not provided. | Longford gas plant | Not provided. | 2019
Western Flank Gas | Western Flank Gas (previously known as Western Cooper Wet Gas) is located on the western flank of the Cooper Basin in SA. This area includes PRLs 129 and 130, PPLs 239 (Middleton/Brownlow) and 257 (Canunda/Coolawang), covering the majority of the area formerly known as PEL 106, as well as PRL 26 (Udacha), and PRLs 175 to 179 and PPL 212. By end FY18 there is anticipated to be 12 wells producing in the Western Flank Gas area Five exploration/appraisal wells are planned in the remainder of FY18 targeting Patchawarra gas from April to June 2018. An expansion to the production export capacity from 25 MMscfd to 40 MMscfd is expected to be completed within FY18. | Exploration and Production | SA – Western Patchawarra | PRL 129 and PRL 130: Beach Energy 100% PPL 239 and PPL 237: Beach Energy 100% PRL 26: Beach Energy 100%, PRLs 175 to 179: Beach Energy 100% PPL 212: Beach Energy 100% | Beach Energy | Cooper | 2012 | Not provided. | Planned up to 40 MMscfd | Middleton Gas Plant | domestic gas | Connection to Moomba | Compression was installed at the Middleton Gas Plant in FY17. Additional piping (a loop line) is being installed in FY18 with expected capacity increase from 25 to 40 MMscfd. | 2019
Western Surat Gas Project | The Western Surat Gas Project (the Project) involves the extraction of natural gas from coal seams over approximately 915 square kilometres of Senex permits | Senex commenced construction of the gas processing facility in November 2018, and reached mechanical completion in April 2019. Senex commenced deliveries of sales gas to the Comet Ridge Wallumbilla Pipeline shortly thereafter. The gas processing facility was then sold to Jemena in September 2019 for $50 million. Senex has drilled a further ten wells in the project so far this calendar year (to 29/11/19) | Surat Basin, north east of Roma, Queensland | 100% Senex Energy Ltd | Senex Energy | Surat Basin | 2017 | Coal Seam Gas | 16 | Senex designed, constructed, commissioned and operated the gas processing facility, prior to selling it to Jemena in September 2019. Senex put a long-term Gas Processing and Transportation Agreement in place with Jemena, and pays a tariff. | Senex commenced supply of sales gas under the HOA during 2019 | The gas processing facility is tied into the Comet Ridge to Wallumbilla Pipeline. Raw gas connections to the GLNG Roma Development gathering network have also been maintained. | There is the potential to expand the Western Surat Gas Project to include adjacent Don Juan acreage which is approximately 1,000 square kilometres (Senex 100% and operator). | 2020