## Introduction
Regional thresholds for WDRUs without real-time telemetry
This document fulfills the requirements set out in 3.2(a) of the WDR Guidelines regarding the monthly publication of Regional Thresholds that apply in each NEM region to WDRUs that are exempt from providing real-time telemetry under section 3 of the WDR Guidelines. The values for Errmax are also included in this document as required by 3.2(f) of the WDR Guidelines. Note: Errmax is referred to as the Dispatch Error Limit (MW) in the data tables provided.
Contents
Summary | Displays the latest regional thresholds for every region
NSW | Monthly historical regional thresholds and other key metrics for NSW
QLD | Monthly historical regional thresholds and other key metrics for QLD
VIC | Monthly historical regional thresholds and other key metrics for VIC
SA | Monthly historical regional thresholds and other key metrics for SA
TAS | Monthly historical regional thresholds and other key metrics for TAS
Definitions
WDRU | Wholesale demand response unit
Regional Threshold | A threshold for a region of the total quantity of WDR (for which no telemetry data is provided), in MW, that may be dispatched at one time, determined in accordance with section 3.2 of the WDR Guidelines
Qualifying Interval | A dispatch interval in which WDRUs in a region (for which no telemetry data is provided) are dispatched to a level that is at least 25 per cent of the current Regional Threshold for that region
Variables
Region | NEM region name
Date | Date of revision (usually first day of a month)
Revised | Indicator as to whether the threshold revision trigger conditions were met (as per section 3.2 of the WDR Guidelines) and the threshold was revised for the region
Regional Dispatch Threshold (MW) | The regional threshold (in MW) that limits the total quantity of WDR (for which no telemetry data is provided) in any given dispatch interval (see Regional Threshold definition above)
Dispatch Error Limit (MW) | The regional absolute dispatch error limit (in MW) that is prescribed for any given dispatch interval i.e., the value of Errmax as required by 3.2 (f) of the WDR Guidelines
Scaled Dispatch Error P99 (MW) | The 99th percentile of the absolute scaled dispatch error in the applicable sample of qualifying intervals; see 3.2 (g) of the WDR Guidelines for further details
QI since last revision | Number of qualifying intervals that have occurred since last threshold revision for the region
QI last 12 months | Number of qualifying intervals that have occurred over the last 12 months
QI total | Number of qualifying intervals that have occurred since the beginning
Application of regional thresholds as a dispatch constraint
A simplified hypothetical example is provided below to demonstrate how the regional thresholds will be applied as a dispatch constraint. Here, all 4 WDRUs (without real-time telemetry) have placed bids that are below the (pre-WDR) dispatch price and, absent any restrictions, should all be dispatched. However, the regional threshold permits only 10 MW to be dispatched without real-time telemetry, whereas the total bid amount is 15 MW. Therefore, the WDRUs with the most competitive bids will be prioritized for dispatch up until the cumulative bid amount reaches the regional threshold. Beyond this point, any other WDRUs will not be dispatched.
|  |  | Bid price | Dispatch price | Bid amount | Cumulative bid amount | Regional Threshold | Dispatched
|  | WDRU-01 | 400 | 600 | 4 | 4 | 10 | Yes
|  | WDRU-02 | 450 | 600 | 3 | 7 | 10 | Yes
|  | WDRU-03 | 500 | 600 | 3 | 10 | 10 | Yes
|  | WDRU-04 | 550 | 600 | 5 | 15 | 10 | No
Additional resources
WDR Guidelines

## Summary
Latest Thresholds as of 2024-04-01
Region | Regional Dispatch Threshold (MW) | Dispatch Error Limit (MW) | Scaled Dispatch Error P99 (MW)
NSW | 140 | 34
QLD | 100 | 32
VIC | 95 | 29
SA | 32 | 15
TAS | 17 | 8

## NSW
Region | Date | Revised | Regional Dispatch Threshold (MW) | Dispatch Error Limit (MW) | Scaled Dispatch Error P99 (MW) | QI since last revision | QI last 12 months | QI total
NSW | 2021-10-24 |  | 140 | 34 |  | 0 | 0 | 0
NSW | 2021-12-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2022-01-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2022-02-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2022-03-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2022-04-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2022-05-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2022-06-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2022-07-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2022-08-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2022-09-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2022-10-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2022-11-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2022-12-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2022-01-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2023-02-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2023-03-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2023-04-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2023-05-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2023-06-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2023-07-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2023-08-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2023-09-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2023-10-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2023-11-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2023-12-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2024-01-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2024-02-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2024-03-01 | FALSE | 140 | 34 |  | 0 | 0 | 0
NSW | 2024-04-01 | FALSE | 140 | 34 |  | 0 | 0 | 0

## QLD
Region | Date | Revised | Regional Dispatch Threshold (MW) | Dispatch Error Limit (MW) | Scaled Dispatch Error P99 (MW) | QI since last revision | QI last 12 months | QI total
QLD | 2021-10-24 |  | 100 | 32 |  | 0 | 0 | 0
QLD | 2021-12-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2022-01-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2022-02-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2022-03-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2022-04-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2022-05-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2022-06-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2022-07-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2022-08-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2022-09-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2022-10-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2022-11-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2022-12-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2022-01-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2023-02-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2023-03-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2023-04-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2023-05-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2023-06-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2023-07-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2023-08-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2023-09-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2023-10-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2023-11-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2023-12-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2024-01-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2024-02-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2024-03-01 | FALSE | 100 | 32 |  | 0 | 0 | 0
QLD | 2024-04-01 | FALSE | 100 | 32 |  | 0 | 0 | 0

## VIC
Region | Date | Revised | Regional Dispatch Threshold (MW) | Dispatch Error Limit (MW) | Scaled Dispatch Error P99 (MW) | QI since last revision | QI last 12 months | QI total
VIC | 2021-10-24 |  | 95 | 29 |  | 0 | 0 | 0
VIC | 2021-12-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2022-01-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2022-02-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2022-03-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2022-04-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2022-05-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2022-06-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2022-07-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2022-08-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2022-09-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2022-10-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2022-11-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2022-12-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2022-01-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2023-02-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2023-03-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2023-04-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2023-05-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2023-06-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2023-07-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2023-08-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2023-09-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2023-10-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2023-11-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2023-12-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2024-01-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2024-02-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2024-03-01 | FALSE | 95 | 29 |  | 0 | 0 | 0
VIC | 2024-04-01 | FALSE | 95 | 29 |  | 0 | 0 | 0

## SA
Region | Date | Revised | Regional Dispatch Threshold (MW) | Dispatch Error Limit (MW) | Scaled Dispatch Error P99 (MW) | QI since last revision | QI last 12 months | QI total
SA | 2021-10-24 |  | 32 | 15 |  | 0 | 0 | 0
SA | 2021-12-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2022-01-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2022-02-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2022-03-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2022-04-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2022-05-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2022-06-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2022-07-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2022-08-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2022-09-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2022-10-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2022-11-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2022-12-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2022-01-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2023-02-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2023-03-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2023-04-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2023-05-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2023-06-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2023-07-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2023-08-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2023-09-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2023-10-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2023-11-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2023-12-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2024-01-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2024-02-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2024-03-01 | FALSE | 32 | 15 |  | 0 | 0 | 0
SA | 2024-04-01 | FALSE | 32 | 15 |  | 0 | 0 | 0

## TAS
Region | Date | Revised | Regional Dispatch Threshold (MW) | Dispatch Error Limit (MW) | Scaled Dispatch Error P99 (MW) | QI since last revision | QI last 12 months | QI total
TAS | 2021-10-24 |  | 17 | 8 |  | 0 | 0 | 0
TAS | 2021-12-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2022-01-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2022-02-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2022-03-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2022-04-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2022-05-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2022-06-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2022-07-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2022-08-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2022-09-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2022-10-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2022-11-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2022-12-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2022-01-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2023-02-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2023-03-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2023-04-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2023-05-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2023-06-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2023-07-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2023-08-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2023-09-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2023-10-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2023-11-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2023-12-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2024-01-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2024-02-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2024-03-01 | FALSE | 17 | 8 |  | 0 | 0 | 0
TAS | 2024-04-01 | FALSE | 17 | 8 |  | 0 | 0 | 0