# Gas Wholesale Consultative Forum

| Paper 2: | NSW-Vic Flows on the Bulletin Board. |
| --- | --- |
| Agenda Item: | 5. |
| Date: | Tuesday 12 June 2018. |

# Agenda item 4 - Gas BB: NSW-Victoria Interconnect

- Before 6 October 2016 both Actual Flow and Forecast Pipeline Flow data, for all Bulletin Board (BB) pipelines, were reported as a net number as either positive or negative depending on the direction, based on a default flow “from” and “to”.

- From 6 October 2016, Actual Flow data for all Pipelines outside of the Declared Transmission System (DTS) changed to be on the basis of deliveries and receipts relative to the facility being reported on. There were no changes to the Actual Flow data for the three DTS pipelines; Longford to Melbourne Pipeline (LMP), South West Pipeline (SWP) and NSW-Victoria Interconnect (NSW-Vic) i.e. these pipelines continued to report based on a default flow direction, using a net (positive or negative) number.

- On the 27 June 2017 a further change was implemented:

  - Forecast Pipeline flows were adjusted such that positive quantities represent net flow from plant to zone, while negative quantities represent net flow from zone to plant;

  - Reporting of the NSW-Vic on the Gas Bulletin Board was adjusted such that:

    - Prior to 27 June 2017 a positive flow represented gas flowing from Victoria to New South Wales;

    - From 27 June a positive flow represents gas flowing from New South Wales to Victoria

  - There was no impact on the SWP or LMP as these pipelines already had a default flow to Melbourne, consistent with the approach that was implemented on 27 June 2017.

  - This change to NSW-Vic results in a data set that requires the user to know of this change and implement a work-around when analysing the data set across this date range. With all other pipelines outside of the DTS it is more apparent that a change in data has occurred due to the introduction of positive only numbers across deliveries and receipts.

- AEMO is proposing to change the sign of the data preceding 27 June 2017 to ensure a consistent data set in line with current reporting. AEMO seeks feedback from participants with regards to:

  - Whether this approach is supported?

  - Are there any significant system implications of adjusting the historical data?