## Intro
Emission Intensity values
Prepared for AEMO
2014-04-11
Notes:
Worksheets
Aux: Proposed changes to NTNDP auxiliary factors
Summary Scope 1 AG: Scope 1 emission intensity values (as generated basis)
Summary Scope 3 AG: Scope 3 emission intensity values (as generated basis)
Summary Scope 1&3 SO: Scope 1+3 emission intensity values (sent-out basis)
Summary EI: A completed summary of EI values (as generated and sent-out basis)
Emissions: Calculated aggregate emissions from nem scheduled generation for 2012-13 and comparison against CER
NonSched: Estimated parameters for non-scheduled generators and calculated Emission Intensities

## Aux
Changes to Auxiliary loads
Station | Original NTNDP Auxiliary load (%) | Revised NTNDP Auxiliary load (%) | Change
Angaston | 2.5% | 2.5% | 0%
Anglesea | 10% | 10% | 0%
Bairnsdale | 3% | 1% | -2%
Barcaldine | 3% | 1% | -2%
Barron Gorge | 1% | 1% | 0%
Bastyan | 1% | 1% | 0%
Bayswater | 6% | 6% | 0%
Bell Bay Three | 2.5% | 3% | 0.5%
Blowering | 1% | 1% | 0%
Boco Rock Wind Farm | 0% | 0% | 0%
Braemar | 2.5% | 1% | -1.5%
Braemar 2 | 2.5% | 1% | -1.5%
Callide B | 7% | 9% | 2%
Callide Power Plant | 4.8% | 6% | 1.2%
Canunda Wind Farm | 0% | 0% | 0%
Capital Wind Farm | 0% | 0% | 0%
Cathedral Rocks Wind Farm | 0% | 0% | 0%
Cethana | 1% | 1% | 0%
Challicum Hills Wind Farm | 0% | 0% | 0%
Clements Gap Wind Farm | 0% | 0% | 0%
Collinsville | 8% | 10% | 2%
Colongra GT | 3% | 1% | -2%
Condamine | 3% | 3% | 0%
Cullerin Range Wind Farm | 0% | 0% | 0%
Darling Downs | 6% | 6% | 0%
Dartmouth | 1% | 1% | 0%
Devils Gate | 1% | 1% | 0%
Dry Creek | 3% | 1% | -2%
Eildon | 1% | 1% | 0%
Energy Brix Complex | 15% | 15% | 0%
Eraring | 6.5% | 6% | -0.5%
Fisher | 1% | 1% | 0%
Gladstone | 5% | 8% | 3%
Gordon | 1% | 1% | 0%
Gullen Range | 0% | 0% | 0%
Gunning | 0% | 0% | 0%
Guthega | 1% | 1% | 0%
Hallett | 2.5% | 1% | -1.5%
Hallett 1 Wind Farm | 0% | 0% | 0%
Hallett 2 Wind Farm | 0% | 0% | 0%
Hallett 4 Wind Farm | 0% | 0% | 0%
Hallett 5 Wind Farm | 0% | 0% | 0%
Hazelwood | 10% | 10% | 0%
Hume (NSW) | 1% | 1% | 0%
Hume (VIC) | 1% | 1% | 0%
Hunter Valley | 3% | 1% | -2%
Jeeralang A | 3% | 3% | 0%
Jeeralang B | 3% | 3% | 0%
John Butters | 1% | 1% | 0%
Kareeya | 1% | 1% | 0%
Kogan Creek | 8% | 9% | 1%
Ladbroke Grove | 3% | 1% | -2%
Lake Bonney 2 Wind Farm | 0% | 0% | 0%
Lake Bonney 3 Wind Farm | 0% | 0% | 0%
Lake Bonney Wind Farm | 0% | 0% | 0%
Lake Echo | 1% | 1% | 0%
Laverton North | 2.5% | 3% | 0.5%
Lemonthyme_Wilmot | 1% | 1% | 0%
Liapootah_Wayatinah_Catagunya | 1% | 1% | 0%
Liddell | 5% | 5% | 0%
Loy Yang A | 9% | 9% | 0%
Loy Yang B | 7.5% | 8% | 0.5%
Macarthur | 0% | 0% | 0%
Mackay | 3% | 1% | -2%
Mackintosh | 1% | 1% | 0%
McKay Creek | 1% | 1% | 0%
Meadowbank | 1% | 1% | 0%
Millmerran | 4.5% | 6% | 1.5%
Mintaro | 3% | 1% | -2%
Mortlake | 3% | 1% | -2%
Mt Mercer | 0% | 0% | 0%
Mt Millar Wind Farm | 0% | 0% | 0%
Mt Piper | 5% | 5% | 0%
Mt Stuart | 3% | 1% | -2%
Munmorah | 7.3% | 7% | -0.3%
Murray 1 | 1% | 1% | 0%
Murray 2 | 1% | 1% | 0%
Musselroe Wind Farm | 0% | 0% | 0%
Newport | 5% | 5% | 0%
Northern | 5% | 10% | 5%
Oakey | 3% | 1% | -2%
Oaklands Hill | 0% | 0% | 0%
Osborne | 5% | 5% | 0%
Pelican Point | 2% | 2% | 0%
Playford | 8% | 10% | 2%
Poatina | 1% | 1% | 0%
Port Lincoln | 8% | 8% | 0%
Portland Wind Farm Stage 2 | 0% | 0% | 0%
Portland Wind Farm Stage 3 | 0% | 0% | 0%
Quarantine | 5% | 5% | 0%
Redbank | 8% | 8% | 0%
Reece | 1% | 1% | 0%
Roma | 3% | 1% | -2%
Shoalhaven | 1% | 1% | 0%
Smithfield | 5% | 5% | 0%
Snowtown 2 North | 0% | 0% | 0%
Snowtown 2 South | 0% | 0% | 0%
Snowtown Wind Farm | 0% | 0% | 0%
Snuggery | 3% | 3% | 0%
Somerton | 2.5% | 1% | -1.5%
SRPS, TRPS,RCWF, MCWF | 0% | 0% | 0%
Stanwell | 7% | 9% | 2%
Starfish Hill Wind Farm | 0% | 0% | 0%
Swanbank E | 3% | 3% | 0%
Tallawarra | 3% | 3% | 0%
Tamar Valley CCGT | 3% | 3% | 0%
Tamar Valley OCGT | 2.5% | 1% | -1.5%
Taralga Wind Farm | 0% | 0% | 0%
Tarong | 8% | 8% | 0%
Tarong North | 5% | 6% | 1%
Tarraleah | 1% | 1% | 0%
Torrens Island A | 5% | 5% | 0%
Torrens Island B | 5% | 5% | 0%
Townsville | 3% | 3% | 0%
Trevallyn | 1% | 1% | 0%
Tribute | 1% | 1% | 0%
Tumut 1 | 1% | 1% | 0%
Tumut 2 | 1% | 1% | 0%
Tumut 3 | 1% | 1% | 0%
Tungatinah | 1% | 1% | 0%
Uranquinty | 3% | 1% | -2%
Vales Point B | 4.6% | 5% | 0.4%
Valley Power | 3% | 1% | -2%
Wallerawang C | 7.3% | 7% | -0.3%
Waterloo | 0% | 0% | 0%
Wattle Point Wind Farm | 0% | 0% | 0%
Waubra Wind Farm | 0% | 0% | 0%
West Kiewa | 1% | 1% | 0%
Wivenhoe | 1% | 1% | 0%
Woodlawn Wind Farm | 0% | 0% | 0%
Woolnorth Bluff Point Wind Farm | 0% | 0% | 0%
Yallourn | 8.9% | 10% | 1.1%
Yambuk Wind Farm | 0% | 0% | 0%
Yarwun CoGen | 2% | 2% | 0%

## Summary Scope 1 AG
Scope 1 emission intensity (tonnes CO2-e/MWh as generated)
Brown coal
| Existing NTNDP value | CER Actual for 2012-13 | Suggested new NTNDP value | Change from previous NTNDP value | New value difference from CER 2012-13
Anglesea | 1.084 | 1.101 | 1.101 | 0.017027 | 0
Energy Brix Complex | 1.2623 | 2.9346 | 1.3963 | 0.13406 | -1.5383
Hazelwood | 1.3696 | 1.3963 | 1.3963 | 0.026673 | 0
Loy Yang A | 1.102 | 1.1598 | 1.1598 | 0.057758 | 0
Loy Yang B | 1.1393 | 1.1361 | 1.1361 | -0.0031815 | 0
Northern | 0.84481 | 1.0101 | 1.0101 | 0.16533 | 0
Playford | 1.3463 | #N/A | 1.3463 | 0 | #N/A
Yallourn | 1.2753 | 1.3367 | 1.3367 | 0.061422 | 0
Black coal
| Existing NTNDP value | CER Actual for 2012-13 | Suggested new NTNDP value | Change from previous NTNDP value | New value difference from CER 2012-13
Bayswater | 0.85024 | 0.86548 | 0.86548 | 0.015235 | 0
Callide B | 0.92049 | 0.90493 | 0.90493 | -0.015562 | 0
Callide Power Plant | 0.846 | 0.90123 | 0.86 | 0.014 | -0.041232
Collinsville | 1.0457 | 14.4699 | 1.0457 | 0 | -13.4242
Eraring | 0.85556 | 0.86234 | 0.86234 | 0.0067758 | 0
Gladstone | 0.96226 | 0.94402 | 0.94402 | -0.018239 | 0
Kogan Creek | 0.83167 | 0.81692 | 0.81692 | -0.014755 | 0
Liddell | 0.93898 | 0.91981 | 0.91981 | -0.019171 | 0
Millmerran | 0.83021 | 0.81683 | 0.81683 | -0.01338 | 0
Mt Piper | 0.80786 | 0.86226 | 0.86226 | 0.0544 | 0
Munmorah | 0.98157 | 0 | 0.98157 | 0 | 0.98157
Redbank | 1.0173 | 1.1873 | 1.1873 | 0.16992 | 0
Stanwell | 0.8136 | 0.86091 | 0.86091 | 0.047311 | 0
Tarong | 0.84264 | 0.85051 | 0.86 | 0.017361 | 0.0094896
Tarong North | 0.79507 | 0.85051 | 0.833 | 0.037933 | -0.01751
Vales Point B | 0.88589 | 0.87509 | 0.87509 | -0.010796 | 0
Wallerawang C | 0.88403 | 0.86489 | 0.86489 | -0.019147 | 0
Gas-fired CCGT/cogeneration
| Existing NTNDP value | CER Actual for 2012-13 | Suggested new NTNDP value | Change from previous NTNDP value | New value difference from CER 2012-13
Condamine | 0.37321 | 0.45433 | 0.45433 | 0.081119 | 0
Darling Downs | 0.37739 | 0.42019 | 0.42019 | 0.0428 | 0
Osborne | 0.41773 | 0.50276 | 0.50276 | 0.085027 | 0
Pelican Point | 0.37705 | 0.39724 | 0.39724 | 0.020184 | 0
Smithfield | 0.42375 | 0.48093 | 0.48093 | 0.057187 | 0
Swanbank E | 0.38115 | 0.3855 | 0.3855 | 0.0043561 | 0
Tallawarra | 0.35828 | 0.35817 | 0.35817 | -0.00011265 | 0
Tamar Valley CCGT | 0.37321 | 0.41038 | 0.41038 | 0.037172 | 0
Townsville | 0.38943 | 0.42579 | 0.42579 | 0.036359 | 0
Yarwun CoGen | 0.53231 | #N/A | 0.53231 | 0 | #N/A
Gas-fired OCGT
| Existing NTNDP value | CER Actual for 2012-13 | Suggested new NTNDP value | Change from previous NTNDP value | New value difference from CER 2012-13
Bairnsdale | 0.53774 | 0.52438 | 0.52438 | -0.013369 | 0
Barcaldine | 0.45708 | #N/A | 0.7 | 0.24292 | #N/A
Bell Bay Three | 0.61772 | #N/A | 0.61772 | 0 | #N/A
Braemar | 0.60944 | 0.57051 | 0.57051 | -0.038932 | 0
Braemar 2 | 0.59044 | 0.59181 | 0.59181 | 0.0013775 | 0
Colongra GT | 0.57135 | 0.65639 | 0.65639 | 0.085036 | 0
Dry Creek | 0.7032 | 1.272 | 0.8 | 0.096795 | -0.47205
Hallett | 0.7618 | 1.0188 | 0.85 | 0.088195 | -0.16878
Jeeralang A | 0.78227 | 0.8217 | 0.82 | 0.037731 | -0.0017026
Jeeralang B | 0.78227 | 0.8217 | 0.82 | 0.037731 | -0.0017026
Ladbroke Grove | 0.60944 | 0.55123 | 0.55123 | -0.058213 | 0
Laverton North | 0.58927 | 0.7454 | 0.7454 | 0.15613 | 0
Mackay | 0.88718 | 43.5429 | 0.88718 | 0 | -42.6557
Mintaro | 0.65298 | 0.85764 | 0.85764 | 0.20466 | 0
Mortlake | 0.57135 | 0.51378 | 0.51378 | -0.057574 | 0
Newport | 0.52686 | 0.52225 | 0.52225 | -0.0046118 | 0
Oakey | 0.56084 | 0.89775 | 0.89775 | 0.33691 | 0
Quarantine | 0.54827 | 0.68879 | 0.68879 | 0.14052 | 0
Roma | 0.60944 | 0.66381 | 0.66381 | 0.054368 | 0
Somerton | 0.7618 | 0.72848 | 0.72848 | -0.033328 | 0
Tamar Valley OCGT | 0.63046 | 0.41038 | 0.63046 | 0 | 0.22008
Torrens Island A | 0.63567 | 0.57335 | 0.62 | -0.015674 | 0.046649
Torrens Island B | 0.58482 | 0.57335 | 0.56 | -0.02482 | -0.013351
Uranquinty | 0.57135 | 0.5817 | 0.5817 | 0.010346 | 0
Valley Power | 0.76181 | 0.81361 | 0.81361 | 0.051806 | 0
Liquid fuelled OCGT
| Existing NTNDP value | CER Actual for 2012-13 | Suggested new NTNDP value | Change from previous NTNDP value | New value difference from CER 2012-13
Angaston | 0.91665 | #N/A | 0.91665 | 0 | #N/A
Hunter Valley | 0.88718 | 2.8158 | 0.88718 | 0 | -1.9287
Mackay | 0.88718 | 43.5429 | 0.88718 | 0 | -42.6557
Mt Stuart | 0.82804 | 0.95587 | 0.95587 | 0.12784 | 0
Port Lincoln | 0.86494 | 1.4723 | 0.86494 | 0 | -0.60739
Snuggery | 0.91195 | 1.2624 | 0.91195 | 0 | -0.35047
Hydro
| Existing NTNDP value | CER Actual for 2012-13 | Suggested new NTNDP value | Change from previous NTNDP value | New value difference from CER 2012-13
Barron Gorge | 0 | 0.0011415 | 0 | 0 | -0.0011415
Bastyan | 0 | 0 | 0 | 0 | 0
Blowering | 0 | 0 | 0 | 0 | 0
Cethana | 0 | 0 | 0 | 0 | 0
Dartmouth | 0 | 0 | 0 | 0 | 0
Devils Gate | 0 | 0 | 0 | 0 | 0
Eildon | 0 | 0.00026984 | 0 | 0 | -0.00026984
Fisher | 0 | 0 | 0 | 0 | 0
Gordon | 0 | 0 | 0 | 0 | 0
Guthega | 0 | 0 | 0 | 0 | 0
Hume (NSW) | 0 | 0 | 0 | 0 | 0
Hume (VIC) | 0 | 0 | 0 | 0 | 0
John Butters | 0 | 0 | 0 | 0 | 0
Kareeya | 0 | 0.00039017 | 0 | 0 | -0.00039017
Lake Echo | 0 | 0 | 0 | 0 | 0
Lemonthyme_Wilmot | 0 | 0 | 0 | 0 | 0
Liapootah_Wayatinah_Catagunya | 0 | 0 | 0 | 0 | 0
Mackintosh | 0 | 0 | 0 | 0 | 0
McKay Creek | 0 | 9.9247e-06 | 0 | 0 | -9.9247e-06
Meadowbank | 0 | 0 | 0 | 0 | 0
Murray 1 | 0 | 0 | 0 | 0 | 0
Murray 2 | 0 | 0 | 0 | 0 | 0
Poatina | 0 | 0 | 0 | 0 | 0
Reece | 0 | 0 | 0 | 0 | 0
Shoalhaven | 0 | 3.9763e-05 | 0 | 0 | -3.9763e-05
Tarraleah | 0 | 0 | 0 | 0 | 0
Trevallyn | 0 | 0 | 0 | 0 | 0
Tribute | 0 | 0 | 0 | 0 | 0
Tumut 1 | 0 | 0 | 0 | 0 | 0
Tumut 2 | 0 | 0 | 0 | 0 | 0
Tumut 3 | 0 | 0 | 0 | 0 | 0
Tungatinah | 0 | 0 | 0 | 0 | 0
West Kiewa | 0 | 0 | 0 | 0 | 0
Wivenhoe | 0 | 0.016941 | 0 | 0 | -0.016941
Wind
| Existing NTNDP value | CER Actual for 2012-13 | Suggested new NTNDP value | Change from previous NTNDP value | New value difference from CER 2012-13
Boco Rock Wind Farm | 0 | 0 | 0 | 0 | 0
Canunda Wind Farm | 0 | 0.00015013 | 0 | 0 | -0.00015013
Capital Wind Farm | 0 | 0.00036997 | 0 | 0 | -0.00036997
Cathedral Rocks Wind Farm | 0 | 0.00031529 | 0 | 0 | -0.00031529
Challicum Hills Wind Farm | 0 | 0.00019751 | 0 | 0 | -0.00019751
Clements Gap Wind Farm | 0 | 7.1e-05 | 0 | 0 | -7.1e-05
Cullerin Range Wind Farm | 0 | 0.00019083 | 0 | 0 | -0.00019083
Gullen Range | 0 | 0 | 0 | 0 | 0
Gunning | 0 | 0.00018139 | 0 | 0 | -0.00018139
Hallett 1 Wind Farm | 0 | 0.00025024 | 0 | 0 | -0.00025024
Hallett 2 Wind Farm | 0 | 0.00017953 | 0 | 0 | -0.00017953
Hallett 4 Wind Farm | 0 | 0.00026313 | 0 | 0 | -0.00026313
Hallett 5 Wind Farm | 0 | 0.00035277 | 0 | 0 | -0.00035277
Lake Bonney 2 Wind Farm | 0 | 0 | 0 | 0 | 0
Lake Bonney 3 Wind Farm | 0 | 0 | 0 | 0 | 0
Lake Bonney Wind Farm | 0 | 0 | 0 | 0 | 0
Macarthur | 0 | 0.0032305 | 0 | 0 | -0.0032305
Mt Mercer | 0 | 0 | 0 | 0 | 0
Mt Millar Wind Farm | 0 | 0 | 0 | 0 | 0
Musselroe Wind Farm | 0 | 0.19346 | 0 | 0 | -0.19346
Oaklands Hill | 0 | 0.00049417 | 0 | 0 | -0.00049417
Portland Wind Farm Stage 2 | 0 | 0 | 0 | 0 | 0
Portland Wind Farm Stage 3 | 0 | 0 | 0 | 0 | 0
Snowtown 2 North | 0 | 0 | 0 | 0 | 0
Snowtown 2 South | 0 | 0 | 0 | 0 | 0
Snowtown Wind Farm | 0 | 0 | 0 | 0 | 0
Starfish Hill Wind Farm | 0 | 0.00067464 | 0 | 0 | -0.00067464
Taralga Wind Farm | 0 | 0 | 0 | 0 | 0
Waterloo | 0 | 0.00051875 | 0 | 0 | -0.00051875
Wattle Point Wind Farm | 0 | 0.00027603 | 0 | 0 | -0.00027603
Waubra Wind Farm | 0 | 0.00014065 | 0 | 0 | -0.00014065
Woodlawn Wind Farm | 0 | 0.00014682 | 0 | 0 | -0.00014682
Woolnorth Bluff Point Wind Farm | 0 | 0.00045528 | 0 | 0 | -0.00045528
Yambuk Wind Farm | 0 | 0.0002658 | 0 | 0 | -0.0002658

## Summary Scope 3 AG
Scope 3 emission intensity (tonnes CO2-e/MWh as generated)
Brown coal
| Existing NTNDP value | Estimate based on NGA factors | Suggested new NTNDP value | Change from previous NTNDP value | New value difference from NGA factor
Anglesea | 0.0035735 | 0.0047647 | 0.0047647 | 0.0011912 | 0
Energy Brix Complex | 0.003825 | 0.0051 | 0.0051 | 0.001275 | 0
Hazelwood | 0.0044182 | 0.0058909 | 0.0058909 | 0.0014727 | 0
Loy Yang A | 0.0036132 | 0.0048176 | 0.0048176 | 0.0012044 | 0
Loy Yang B | 0.0037353 | 0.0049805 | 0.0049805 | 0.0012451 | 0
Northern | 0.0083553 | 0.0037135 | 0.0074269 | -0.00092837 | 0.0037135
Playford | 0.013315 | 0.0059178 | 0.011836 | -0.0014795 | 0.0059178
Yallourn | 0.0041362 | 0.0055149 | 0.0055149 | 0.0013787 | 0
Black coal
| Existing NTNDP value | Estimate based on NGA factors | Suggested new NTNDP value | Change from previous NTNDP value | New value difference from NGA factor
Bayswater | 0.082008 | 0.04336 | 0.086721 | 0.0047131 | 0.04336
Callide B | 0.019214 | 0.044192 | 0.022096 | 0.0028821 | -0.022096
Callide Power Plant | 0.017811 | 0.040964 | 0.020482 | 0.0026716 | -0.020482
Collinsville | 0.023394 | 0.053805 | 0.026903 | 0.003509 | -0.026903
Eraring | 0.083166 | 0.043973 | 0.087946 | 0.0047797 | 0.043973
Gladstone | 0.020896 | 0.048061 | 0.02403 | 0.0031344 | -0.02403
Kogan Creek | 0.018774 | 0.043179 | 0.043179 | 0.024406 | 0
Liddell | 0.08803 | 0.046544 | 0.093089 | 0.0050592 | 0.046544
Millmerran | 0.018048 | 0.04151 | 0.020755 | 0.0027072 | -0.020755
Mt Piper | 0.080416 | 0.042519 | 0.085038 | 0.0046216 | 0.042519
Munmorah | 0.09457 | 0.050003 | 0.10001 | 0.0054351 | 0.050003
Redbank | 0.098343 | 0.051997 | 0.10399 | 0.0056519 | 0.051997
Stanwell | 0.018 | 0.0414 | 0.0207 | 0.0027 | -0.0207
Tarong | 0.018298 | 0.042086 | 0.021043 | 0.0027448 | -0.021043
Tarong North | 0.017265 | 0.03971 | 0.019855 | 0.0025898 | -0.019855
Vales Point B | 0.094075 | 0.046135 | 0.09227 | -0.0018053 | 0.046135
Wallerawang C | 0.087999 | 0.046528 | 0.093056 | 0.0050574 | 0.046528
Gas-fired CCGT/cogeneration
| Existing NTNDP value | Estimate based on NGA factors | Suggested new NTNDP value | Change from previous NTNDP value | New value difference from NGA factor
Condamine | 0.01455 | 0.05529 | 0.05529 | 0.04074 | 0
Darling Downs | 0.014713 | 0.05591 | 0.05591 | 0.041197 | 0
Osborne | 0.15146 | 0.083057 | 0.083057 | -0.0684 | 0
Pelican Point | 0.13671 | 0.07497 | 0.07497 | -0.06174 | 0
Smithfield | 0.11845 | 0.11261 | 0.11261 | -0.005839 | 0
Swanbank E | 0.040121 | 0.056466 | 0.056466 | 0.016346 | 0
Tallawarra | 0.099173 | 0.094284 | 0.094284 | -0.0048888 | 0
Tamar Valley CCGT | 0.042195 | 0 | 0 | -0.042195 | 0
Townsville | 0.040993 | 0.057694 | 0.057694 | 0.016701 | 0
Yarwun CoGen | 0.056033 | 0.078861 | 0.078861 | 0.022828 | 0
Gas-fired OCGT
| Existing NTNDP value | Estimate based on NGA factors | Suggested new NTNDP value | Change from previous NTNDP value | New value difference from NGA factor
Bairnsdale | 0.060798 | 0.040881 | 0.040881 | -0.019916 | 0
Barcaldine | 0.048114 | 0.067716 | 0.067716 | 0.019602 | 0
Bell Bay Three | 0.06984 | 0 | 0 | -0.06984 | 0
Braemar | 0.064152 | 0.090288 | 0.090288 | 0.026136 | 0
Braemar 2 | 0.064152 | 0.090288 | 0.090288 | 0.026136 | 0
Colongra GT | 0.15815 | 0.15036 | 0.15036 | -0.0077963 | 0
Dry Creek | 0.25496 | 0.13982 | 0.13982 | -0.11514 | 0
Hallett | 0.27621 | 0.15147 | 0.15147 | -0.12474 | 0
Jeeralang A | 0.088444 | 0.059471 | 0.059471 | -0.028973 | 0
Jeeralang B | 0.088444 | 0.059471 | 0.059471 | -0.028973 | 0
Ladbroke Grove | 0.22097 | 0.12118 | 0.12118 | -0.099792 | 0
Laverton North | 0.066624 | 0.044799 | 0.044799 | -0.021825 | 0
Mackay | 0.067461 | 0.096737 | 0.096737 | 0.029276 | 0
Mintaro | 0.23675 | 0.12983 | 0.12983 | -0.10692 | 0
Mortlake | 0.064597 | 0.043436 | 0.043436 | -0.021161 | 0
Newport | 0.059568 | 0.040054 | 0.040054 | -0.019514 | 0
Oakey | 0.059036 | 0.083087 | 0.083087 | 0.024052 | 0
Quarantine | 0.19879 | 0.10901 | 0.10901 | -0.089775 | 0
Roma | 0.064152 | 0.090288 | 0.090288 | 0.026136 | 0
Somerton | 0.08613 | 0.057915 | 0.057915 | -0.028215 | 0
Tamar Valley OCGT | 0.07128 | 0 | 0 | -0.07128 | 0
Torrens Island A | 0.23048 | 0.12639 | 0.12639 | -0.10409 | 0
Torrens Island B | 0.21204 | 0.11628 | 0.11628 | -0.09576 | 0
Uranquinty | 0.15815 | 0.15036 | 0.15036 | -0.0077963 | 0
Valley Power | 0.08613 | 0.057915 | 0.057915 | -0.028215 | 0
Liquid fuelled OCGT
| Existing NTNDP value | Estimate based on NGA factors | Suggested new NTNDP value | Change from previous NTNDP value | New value difference from NGA factor
Angaston | 0.07155 | 0.07155 | 0.07155 | 0 | 0
Hunter Valley | 0.067461 | 0.067461 | 0.067461 | 0 | 0
Mackay | 0.067461 | 0.096737 | 0.096737 | 0.029276 | 0
Mt Stuart | 0.062964 | 0.062964 | 0.062964 | 0 | 0
Port Lincoln | 0.067514 | 0.067514 | 0.067514 | 0 | 0
Snuggery | 0.071183 | 0.071183 | 0.071183 | 0 | 0
Hydro
| Existing NTNDP value | Estimate based on NGA factors | Suggested new NTNDP value | Change from previous NTNDP value | New value difference from NGA factor
Barron Gorge | 0 | 0 | 0 | 0 | 0
Bastyan | 0 | 0 | 0 | 0 | 0
Blowering | 0 | 0 | 0 | 0 | 0
Cethana | 0 | 0 | 0 | 0 | 0
Dartmouth | 0 | 0 | 0 | 0 | 0
Devils Gate | 0 | 0 | 0 | 0 | 0
Eildon | 0 | 0 | 0 | 0 | 0
Fisher | 0 | 0 | 0 | 0 | 0
Gordon | 0 | 0 | 0 | 0 | 0
Guthega | 0 | 0 | 0 | 0 | 0
Hume (NSW) | 0 | 0 | 0 | 0 | 0
Hume (VIC) | 0 | 0 | 0 | 0 | 0
John Butters | 0 | 0 | 0 | 0 | 0
Kareeya | 0 | 0 | 0 | 0 | 0
Lake Echo | 0 | 0 | 0 | 0 | 0
Lemonthyme_Wilmot | 0 | 0 | 0 | 0 | 0
Liapootah_Wayatinah_Catagunya | 0 | 0 | 0 | 0 | 0
Mackintosh | 0 | 0 | 0 | 0 | 0
McKay Creek | 0 | 0 | 0 | 0 | 0
Meadowbank | 0 | 0 | 0 | 0 | 0
Murray 1 | 0 | 0 | 0 | 0 | 0
Murray 2 | 0 | 0 | 0 | 0 | 0
Poatina | 0 | 0 | 0 | 0 | 0
Reece | 0 | 0 | 0 | 0 | 0
Shoalhaven | 0 | 0 | 0 | 0 | 0
Tarraleah | 0 | 0 | 0 | 0 | 0
Trevallyn | 0 | 0 | 0 | 0 | 0
Tribute | 0 | 0 | 0 | 0 | 0
Tumut 1 | 0 | 0 | 0 | 0 | 0
Tumut 2 | 0 | 0 | 0 | 0 | 0
Tumut 3 | 0 | 0 | 0 | 0 | 0
Tungatinah | 0 | 0 | 0 | 0 | 0
West Kiewa | 0 | 0 | 0 | 0 | 0
Wivenhoe | 0 | 0 | 0 | 0 | 0
Wind
| Existing NTNDP value | Estimate based on NGA factors | Suggested new NTNDP value | Change from previous NTNDP value | New value difference from NGA factor
Boco Rock Wind Farm | 0 | 0 | 0 | 0 | 0
Canunda Wind Farm | 0 | 0 | 0 | 0 | 0
Capital Wind Farm | 0 | 0 | 0 | 0 | 0
Cathedral Rocks Wind Farm | 0 | 0 | 0 | 0 | 0
Challicum Hills Wind Farm | 0 | 0 | 0 | 0 | 0
Clements Gap Wind Farm | 0 | 0 | 0 | 0 | 0
Cullerin Range Wind Farm | 0 | 0 | 0 | 0 | 0
Gullen Range | 0 | 0 | 0 | 0 | 0
Gunning | 0 | 0 | 0 | 0 | 0
Hallett 1 Wind Farm | 0 | 0 | 0 | 0 | 0
Hallett 2 Wind Farm | 0 | 0 | 0 | 0 | 0
Hallett 4 Wind Farm | 0 | 0 | 0 | 0 | 0
Hallett 5 Wind Farm | 0 | 0 | 0 | 0 | 0
Lake Bonney 2 Wind Farm | 0 | 0 | 0 | 0 | 0
Lake Bonney 3 Wind Farm | 0 | 0 | 0 | 0 | 0
Lake Bonney Wind Farm | 0 | 0 | 0 | 0 | 0
Macarthur | 0 | 0 | 0 | 0 | 0
Mt Mercer | 0 | 0 | 0 | 0 | 0
Mt Millar Wind Farm | 0 | 0 | 0 | 0 | 0
Musselroe Wind Farm | 0 | 0 | 0 | 0 | 0
Oaklands Hill | 0 | 0 | 0 | 0 | 0
Portland Wind Farm Stage 2 | 0 | 0 | 0 | 0 | 0
Portland Wind Farm Stage 3 | 0 | 0 | 0 | 0 | 0
Snowtown 2 North | 0 | 0 | 0 | 0 | 0
Snowtown 2 South | 0 | 0 | 0 | 0 | 0
Snowtown Wind Farm | 0 | 0 | 0 | 0 | 0
Starfish Hill Wind Farm | 0 | 0 | 0 | 0 | 0
Taralga Wind Farm | 0 | 0 | 0 | 0 | 0
Waterloo | 0 | 0 | 0 | 0 | 0
Wattle Point Wind Farm | 0 | 0 | 0 | 0 | 0
Waubra Wind Farm | 0 | 0 | 0 | 0 | 0
Woodlawn Wind Farm | 0 | 0 | 0 | 0 | 0
Woolnorth Bluff Point Wind Farm | 0 | 0 | 0 | 0 | 0
Yambuk Wind Farm | 0 | 0 | 0 | 0 | 0

## Summary Scope 1&3 SO
Scope 1+3 emission intensity (tonnes CO2-e/MWh sent-out)
Brown coal
| Existing NTNDP value | Suggested new NTNDP value | Change from previous NTNDP value
Anglesea | 1.2084 | 1.2286 | 0.020243
Energy Brix Complex | 1.4895 | 1.6487 | 0.15922
Hazelwood | 1.5267 | 1.558 | 0.031273
Loy Yang A | 1.215 | 1.2798 | 0.064794
Loy Yang B | 1.2424 | 1.2403 | -0.0021048
Northern | 0.94797 | 1.1306 | 0.18267
Playford | 1.5107 | 1.509 | -0.0016438
Yallourn | 1.4216 | 1.4914 | 0.069779
Black coal
| Existing NTNDP value | Suggested new NTNDP value | Change from previous NTNDP value
Bayswater | 0.99175 | 1.013 | 0.021221
Callide B | 1.0326 | 1.0187 | -0.013934
Callide Power Plant | 0.91895 | 0.93668 | 0.017736
Collinsville | 1.1879 | 1.1918 | 0.0038989
Eraring | 0.99864 | 1.0109 | 0.012293
Gladstone | 1.0686 | 1.0522 | -0.016418
Kogan Creek | 0.93456 | 0.94516 | 0.010605
Liddell | 1.0811 | 1.0662 | -0.014854
Millmerran | 0.9024 | 0.89105 | -0.011354
Mt Piper | 0.93503 | 0.99716 | 0.062128
Munmorah | 1.1571 | 1.163 | 0.0058442
Redbank | 1.2127 | 1.4035 | 0.19084
Stanwell | 0.91385 | 0.9688 | 0.054957
Tarong | 0.9358 | 0.95766 | 0.021854
Tarong North | 0.86418 | 0.90729 | 0.043109
Vales Point B | 1.0315 | 1.0183 | -0.013265
Wallerawang C | 1.0452 | 1.03 | -0.015151
Gas-fired CCGT/cogeneration
| Existing NTNDP value | Suggested new NTNDP value | Change from previous NTNDP value
Condamine | 0.39975 | 0.52538 | 0.12563
Darling Downs | 0.41713 | 0.50649 | 0.089358
Osborne | 0.59914 | 0.61665 | 0.017502
Pelican Point | 0.52425 | 0.48185 | -0.042404
Smithfield | 0.57073 | 0.62478 | 0.05405
Swanbank E | 0.4343 | 0.45564 | 0.021342
Tallawarra | 0.4716 | 0.46644 | -0.0051561
Tamar Valley CCGT | 0.42825 | 0.42307 | -0.005178
Townsville | 0.44374 | 0.49844 | 0.054701
Yarwun CoGen | 0.60035 | 0.62365 | 0.023294
Gas-fired OCGT
| Existing NTNDP value | Suggested new NTNDP value | Change from previous NTNDP value
Bairnsdale | 0.60459 | 0.57097 | -0.033622
Barcaldine | 0.5103 | 0.77547 | 0.26517
Bell Bay Three | 0.70883 | 0.63683 | -0.072
Braemar | 0.6804 | 0.66748 | -0.012925
Braemar 2 | 0.6612 | 0.68899 | 0.027791
Colongra GT | 0.73687 | 0.8149 | 0.07802
Dry Creek | 0.96785 | 0.94931 | -0.018535
Hallett | 1.0485 | 1.0116 | -0.036914
Jeeralang A | 0.89764 | 0.90667 | 0.0090289
Jeeralang B | 0.89764 | 0.90667 | 0.0090289
Ladbroke Grove | 0.8388 | 0.6792 | -0.1596
Laverton North | 0.67618 | 0.81464 | 0.13845
Mackay | 0.96429 | 0.99386 | 0.029571
Mintaro | 0.89871 | 0.99744 | 0.098727
Mortlake | 0.64237 | 0.56284 | -0.07953
Newport | 0.6173 | 0.5919 | -0.025395
Oakey | 0.62613 | 0.99074 | 0.36461
Quarantine | 0.78638 | 0.83979 | 0.053419
Roma | 0.6804 | 0.76172 | 0.081317
Somerton | 0.8565 | 0.79434 | -0.062165
Tamar Valley OCGT | 0.70883 | 0.63683 | -0.072
Torrens Island A | 0.91174 | 0.78568 | -0.12606
Torrens Island B | 0.8388 | 0.71187 | -0.12693
Uranquinty | 0.73687 | 0.73945 | 0.0025751
Valley Power | 0.8565 | 0.88033 | 0.02383
Liquid fuelled OCGT
| Existing NTNDP value | Suggested new NTNDP value | Change from previous NTNDP value
Angaston | 1.0135 | 1.0135 | 0
Hunter Valley | 0.96429 | 0.96429 | 0
Mackay | 0.96429 | 0.99386 | 0.029571
Mt Stuart | 0.9 | 1.0291 | 0.12913
Port Lincoln | 1.0135 | 1.0135 | 0
Snuggery | 1.0135 | 1.0135 | 0
Hydro
| Existing NTNDP value | Suggested new NTNDP value | Change from previous NTNDP value
Barron Gorge | 0 | 0 | 0
Bastyan | 0 | 0 | 0
Blowering | 0 | 0 | 0
Cethana | 0 | 0 | 0
Dartmouth | 0 | 0 | 0
Devils Gate | 0 | 0 | 0
Eildon | 0 | 0 | 0
Fisher | 0 | 0 | 0
Gordon | 0 | 0 | 0
Guthega | 0 | 0 | 0
Hume (NSW) | 0 | 0 | 0
Hume (VIC) | 0 | 0 | 0
John Butters | 0 | 0 | 0
Kareeya | 0 | 0 | 0
Lake Echo | 0 | 0 | 0
Lemonthyme_Wilmot | 0 | 0 | 0
Liapootah_Wayatinah_Catagunya | 0 | 0 | 0
Mackintosh | 0 | 0 | 0
McKay Creek | 0 | 0 | 0
Meadowbank | 0 | 0 | 0
Murray 1 | 0 | 0 | 0
Murray 2 | 0 | 0 | 0
Poatina | 0 | 0 | 0
Reece | 0 | 0 | 0
Shoalhaven | 0 | 0 | 0
Tarraleah | 0 | 0 | 0
Trevallyn | 0 | 0 | 0
Tribute | 0 | 0 | 0
Tumut 1 | 0 | 0 | 0
Tumut 2 | 0 | 0 | 0
Tumut 3 | 0 | 0 | 0
Tungatinah | 0 | 0 | 0
West Kiewa | 0 | 0 | 0
Wivenhoe | 0 | 0 | 0
Wind
| Existing NTNDP value | Suggested new NTNDP value | Change from previous NTNDP value
Boco Rock Wind Farm | 0 | 0 | 0
Canunda Wind Farm | 0 | 0 | 0
Capital Wind Farm | 0 | 0 | 0
Cathedral Rocks Wind Farm | 0 | 0 | 0
Challicum Hills Wind Farm | 0 | 0 | 0
Clements Gap Wind Farm | 0 | 0 | 0
Cullerin Range Wind Farm | 0 | 0 | 0
Gullen Range | 0 | 0 | 0
Gunning | 0 | 0 | 0
Hallett 1 Wind Farm | 0 | 0 | 0
Hallett 2 Wind Farm | 0 | 0 | 0
Hallett 4 Wind Farm | 0 | 0 | 0
Hallett 5 Wind Farm | 0 | 0 | 0
Lake Bonney 2 Wind Farm | 0 | 0 | 0
Lake Bonney 3 Wind Farm | 0 | 0 | 0
Lake Bonney Wind Farm | 0 | 0 | 0
Macarthur | 0 | 0 | 0
Mt Mercer | 0 | 0 | 0
Mt Millar Wind Farm | 0 | 0 | 0
Musselroe Wind Farm | 0 | 0 | 0
Oaklands Hill | 0 | 0 | 0
Portland Wind Farm Stage 2 | 0 | 0 | 0
Portland Wind Farm Stage 3 | 0 | 0 | 0
Snowtown 2 North | 0 | 0 | 0
Snowtown 2 South | 0 | 0 | 0
Snowtown Wind Farm | 0 | 0 | 0
Starfish Hill Wind Farm | 0 | 0 | 0
Taralga Wind Farm | 0 | 0 | 0
Waterloo | 0 | 0 | 0
Wattle Point Wind Farm | 0 | 0 | 0
Waubra Wind Farm | 0 | 0 | 0
Woodlawn Wind Farm | 0 | 0 | 0
Woolnorth Bluff Point Wind Farm | 0 | 0 | 0
Yambuk Wind Farm | 0 | 0 | 0

## Summary EI
| Scope 1 emissions | [6 empty] | Scope 3 emissions | [6 empty] | Scope 1+3 emissions
Aux | Station | 2013 NTNDP Emission intensity (tonnes co2-e/MWh as generated) | Proposed new Emissions intensity (tonnes CO2-e/MWh as generated) | Change | 2013 NTNDP Emission intensity (tonnes co2-e/MWh sent-out) | Proposed new Emissions intensity (tonnes CO2-e/MWh sent-out) | Change | Station | 2013 NTNDP Emission intensity (tonnes co2-e/MWh as generated) | Proposed new Emissions intensity (tonnes CO2-e/MWh as generated) | Change | 2013 NTNDP Emission intensity (tonnes co2-e/MWh sent-out) | Proposed new Emissions intensity (tonnes CO2-e/MWh sent-out) | Change | Station | 2013 NTNDP Emission intensity (tonnes co2-e/MWh as generated) | Proposed new Emissions intensity (tonnes CO2-e/MWh as generated) | Change | 2013 NTNDP Emission intensity (tonnes co2-e/MWh sent-out) | Proposed new Emissions intensity (tonnes CO2-e/MWh sent-out) | Change |  | Change
2.5% | Angaston | 0.91665 | 0.91665 | 0 | 0.94015 | 0.94015 | 0 | Angaston | 0.07155 | 0.07155 | 0 | 0.073385 | 0.073385 | 0 | Angaston | 0.9882 | 0.9882 | 0 | 1.0135 | 1.0135 | 0 | Oakey | 0.36461
10% | Anglesea | 1.084 | 1.101 | 0.017027 | 1.2044 | 1.2233 | 0.018919 | Anglesea | 0.0035735 | 0.0047647 | 0.0011912 | 0.0039706 | 0.0052941 | 0.0013235 | Anglesea | 1.0875 | 1.1058 | 0.018218 | 1.2084 | 1.2286 | 0.020243 | Barcaldine | 0.26517
1% | Bairnsdale | 0.53774 | 0.52438 | -0.013369 | 0.54318 | 0.52967 | -0.013504 | Bairnsdale | 0.060798 | 0.040881 | -0.019916 | 0.061412 | 0.041294 | -0.020118 | Bairnsdale | 0.59854 | 0.56526 | -0.033286 | 0.60459 | 0.57097 | -0.033622 | Redbank | 0.19084
1% | Barcaldine | 0.45708 | 0.7 | 0.24292 | 0.4617 | 0.70707 | 0.24537 | Barcaldine | 0.048114 | 0.067716 | 0.019602 | 0.0486 | 0.0684 | 0.0198 | Barcaldine | 0.5052 | 0.76772 | 0.26252 | 0.5103 | 0.77547 | 0.26517 | Northern | 0.18267
1% | Barron Gorge | 0 | 0 | 0 | 0 | 0 | 0 | Barron Gorge | 0 | 0 | 0 | 0 | 0 | 0 | Barron Gorge | 0 | 0 | 0 | 0 | 0 | 0 | Energy Brix Complex | 0.15922
1% | Bastyan | 0 | 0 | 0 | 0 | 0 | 0 | Bastyan | 0 | 0 | 0 | 0 | 0 | 0 | Bastyan | 0 | 0 | 0 | 0 | 0 | 0 | Laverton North | 0.13845
6% | Bayswater | 0.85024 | 0.86548 | 0.015235 | 0.90451 | 0.92072 | 0.016208 | Bayswater | 0.082008 | 0.086721 | 0.0047131 | 0.087242 | 0.092256 | 0.0050139 | Bayswater | 0.93225 | 0.9522 | 0.019948 | 0.99175 | 1.013 | 0.021221 | Mt Stuart | 0.12913
3% | Bell Bay Three | 0.61772 | 0.61772 | 0 | 0.63683 | 0.63683 | 0 | Bell Bay Three | 0.06984 | 0 | -0.06984 | 0.072 | 0 | -0.072 | Bell Bay Three | 0.68756 | 0.61772 | -0.06984 | 0.70883 | 0.63683 | -0.072 | Condamine | 0.12563
1% | Blowering | 0 | 0 | 0 | 0 | 0 | 0 | Blowering | 0 | 0 | 0 | 0 | 0 | 0 | Blowering | 0 | 0 | 0 | 0 | 0 | 0 | Mintaro | 0.098727
0% | Boco Rock Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Boco Rock Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Boco Rock Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Darling Downs | 0.089358
1% | Braemar | 0.60944 | 0.57051 | -0.038932 | 0.6156 | 0.57628 | -0.039325 | Braemar | 0.064152 | 0.090288 | 0.026136 | 0.0648 | 0.0912 | 0.0264 | Braemar | 0.6736 | 0.6608 | -0.012796 | 0.6804 | 0.66748 | -0.012925 | Roma | 0.081317
1% | Braemar 2 | 0.59044 | 0.59181 | 0.0013775 | 0.5964 | 0.59779 | 0.0013915 | Braemar 2 | 0.064152 | 0.090288 | 0.026136 | 0.0648 | 0.0912 | 0.0264 | Braemar 2 | 0.65459 | 0.6821 | 0.027514 | 0.6612 | 0.68899 | 0.027791 | Colongra GT | 0.07802
9% | Callide B | 0.92049 | 0.90493 | -0.015562 | 1.0115 | 0.99443 | -0.017101 | Callide B | 0.019214 | 0.022096 | 0.0028821 | 0.021114 | 0.024282 | 0.0031672 | Callide B | 0.9397 | 0.92702 | -0.01268 | 1.0326 | 1.0187 | -0.013934 | Yallourn | 0.069779
6% | Callide Power Plant | 0.846 | 0.86 | 0.014 | 0.9 | 0.91489 | 0.014894 | Callide Power Plant | 0.017811 | 0.020482 | 0.0026716 | 0.018947 | 0.021789 | 0.0028421 | Callide Power Plant | 0.86381 | 0.88048 | 0.016672 | 0.91895 | 0.93668 | 0.017736 | Loy Yang A | 0.064794
0% | Canunda Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Canunda Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Canunda Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Mt Piper | 0.062128
0% | Capital Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Capital Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Capital Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Stanwell | 0.054957
0% | Cathedral Rocks Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Cathedral Rocks Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Cathedral Rocks Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Townsville | 0.054701
1% | Cethana | 0 | 0 | 0 | 0 | 0 | 0 | Cethana | 0 | 0 | 0 | 0 | 0 | 0 | Cethana | 0 | 0 | 0 | 0 | 0 | 0 | Smithfield | 0.05405
0% | Challicum Hills Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Challicum Hills Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Challicum Hills Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Quarantine | 0.053419
0% | Clements Gap Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Clements Gap Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Clements Gap Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Tarong North | 0.043109
10% | Collinsville | 1.0457 | 1.0457 | 0 | 1.1619 | 1.1619 | 0 | Collinsville | 0.023394 | 0.026903 | 0.003509 | 0.025993 | 0.029892 | 0.0038989 | Collinsville | 1.0691 | 1.0726 | 0.003509 | 1.1879 | 1.1918 | 0.0038989 | Hazelwood | 0.031273
1% | Colongra GT | 0.57135 | 0.65639 | 0.085036 | 0.57712 | 0.66302 | 0.085895 | Colongra GT | 0.15815 | 0.15036 | -0.0077963 | 0.15975 | 0.15188 | -0.007875 | Colongra GT | 0.72951 | 0.80675 | 0.07724 | 0.73687 | 0.8149 | 0.07802 | Mackay | 0.029571
3% | Condamine | 0.37321 | 0.45433 | 0.081119 | 0.38475 | 0.46838 | 0.083628 | Condamine | 0.01455 | 0.05529 | 0.04074 | 0.015 | 0.057 | 0.042 | Condamine | 0.38776 | 0.50962 | 0.12186 | 0.39975 | 0.52538 | 0.12563 | Braemar 2 | 0.027791
0% | Cullerin Range Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Cullerin Range Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Cullerin Range Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Valley Power | 0.02383
6% | Darling Downs | 0.37739 | 0.42019 | 0.0428 | 0.40148 | 0.44701 | 0.045532 | Darling Downs | 0.014713 | 0.05591 | 0.041197 | 0.015652 | 0.059478 | 0.043826 | Darling Downs | 0.3921 | 0.4761 | 0.083996 | 0.41713 | 0.50649 | 0.089358 | Yarwun CoGen | 0.023294
1% | Dartmouth | 0 | 0 | 0 | 0 | 0 | 0 | Dartmouth | 0 | 0 | 0 | 0 | 0 | 0 | Dartmouth | 0 | 0 | 0 | 0 | 0 | 0 | Tarong | 0.021854
1% | Devils Gate | 0 | 0 | 0 | 0 | 0 | 0 | Devils Gate | 0 | 0 | 0 | 0 | 0 | 0 | Devils Gate | 0 | 0 | 0 | 0 | 0 | 0 | Swanbank E | 0.021342
1% | Dry Creek | 0.7032 | 0.8 | 0.096795 | 0.71031 | 0.80808 | 0.097773 | Dry Creek | 0.25496 | 0.13982 | -0.11514 | 0.25754 | 0.14123 | -0.11631 | Dry Creek | 0.95817 | 0.93982 | -0.018349 | 0.96785 | 0.94931 | -0.018535 | Bayswater | 0.021221
1% | Eildon | 0 | 0 | 0 | 0 | 0 | 0 | Eildon | 0 | 0 | 0 | 0 | 0 | 0 | Eildon | 0 | 0 | 0 | 0 | 0 | 0 | Anglesea | 0.020243
15% | Energy Brix Complex | 1.2623 | 1.3963 | 0.13406 | 1.485 | 1.6427 | 0.15772 | Energy Brix Complex | 0.003825 | 0.0051 | 0.001275 | 0.0045 | 0.006 | 0.0015 | Energy Brix Complex | 1.2661 | 1.4014 | 0.13533 | 1.4895 | 1.6487 | 0.15922 | Callide Power Plant | 0.017736
6% | Eraring | 0.85556 | 0.86234 | 0.0067758 | 0.91017 | 0.91738 | 0.0072083 | Eraring | 0.083166 | 0.087946 | 0.0047797 | 0.088475 | 0.093559 | 0.0050847 | Eraring | 0.93873 | 0.95028 | 0.011555 | 0.99864 | 1.0109 | 0.012293 | Osborne | 0.017502
1% | Fisher | 0 | 0 | 0 | 0 | 0 | 0 | Fisher | 0 | 0 | 0 | 0 | 0 | 0 | Fisher | 0 | 0 | 0 | 0 | 0 | 0 | Eraring | 0.012293
8% | Gladstone | 0.96226 | 0.94402 | -0.018239 | 1.0459 | 1.0261 | -0.019825 | Gladstone | 0.020896 | 0.02403 | 0.0031344 | 0.022713 | 0.02612 | 0.0034069 | Gladstone | 0.98315 | 0.96805 | -0.015105 | 1.0686 | 1.0522 | -0.016418 | Kogan Creek | 0.010605
1% | Gordon | 0 | 0 | 0 | 0 | 0 | 0 | Gordon | 0 | 0 | 0 | 0 | 0 | 0 | Gordon | 0 | 0 | 0 | 0 | 0 | 0 | Jeeralang A | 0.0090289
0% | Gullen Range | 0 | 0 | 0 | 0 | 0 | 0 | Gullen Range | 0 | 0 | 0 | 0 | 0 | 0 | Gullen Range | 0 | 0 | 0 | 0 | 0 | 0 | Jeeralang B | 0.0090289
0% | Gunning | 0 | 0 | 0 | 0 | 0 | 0 | Gunning | 0 | 0 | 0 | 0 | 0 | 0 | Gunning | 0 | 0 | 0 | 0 | 0 | 0 | Munmorah | 0.0058442
1% | Guthega | 0 | 0 | 0 | 0 | 0 | 0 | Guthega | 0 | 0 | 0 | 0 | 0 | 0 | Guthega | 0 | 0 | 0 | 0 | 0 | 0 | Collinsville | 0.0038989
1% | Hallett | 0.7618 | 0.85 | 0.088195 | 0.7695 | 0.85859 | 0.089086 | Hallett | 0.27621 | 0.15147 | -0.12474 | 0.279 | 0.153 | -0.126 | Hallett | 1.038 | 1.0015 | -0.036545 | 1.0485 | 1.0116 | -0.036914 | Uranquinty | 0.0025751
0% | Hallett 1 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Hallett 1 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Hallett 1 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Playford | -0.0016438
0% | Hallett 2 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Hallett 2 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Hallett 2 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Loy Yang B | -0.0021048
0% | Hallett 4 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Hallett 4 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Hallett 4 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Tallawarra | -0.0051561
0% | Hallett 5 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Hallett 5 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Hallett 5 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Tamar Valley CCGT | -0.005178
10% | Hazelwood | 1.3696 | 1.3963 | 0.026673 | 1.5218 | 1.5515 | 0.029637 | Hazelwood | 0.0044182 | 0.0058909 | 0.0014727 | 0.0049091 | 0.0065455 | 0.0016364 | Hazelwood | 1.3741 | 1.4022 | 0.028146 | 1.5267 | 1.558 | 0.031273 | Millmerran | -0.011354
1% | Hume (NSW) | 0 | 0 | 0 | 0 | 0 | 0 | Hume (NSW) | 0 | 0 | 0 | 0 | 0 | 0 | Hume (NSW) | 0 | 0 | 0 | 0 | 0 | 0 | Braemar | -0.012925
1% | Hume (VIC) | 0 | 0 | 0 | 0 | 0 | 0 | Hume (VIC) | 0 | 0 | 0 | 0 | 0 | 0 | Hume (VIC) | 0 | 0 | 0 | 0 | 0 | 0 | Vales Point B | -0.013265
1% | Hunter Valley | 0.88718 | 0.88718 | 0 | 0.89614 | 0.89614 | 0 | Hunter Valley | 0.067461 | 0.067461 | 0 | 0.068143 | 0.068143 | 0 | Hunter Valley | 0.95464 | 0.95464 | 0 | 0.96429 | 0.96429 | 0 | Callide B | -0.013934
3% | Jeeralang A | 0.78227 | 0.82 | 0.037731 | 0.80646 | 0.84536 | 0.038898 | Jeeralang A | 0.088444 | 0.059471 | -0.028973 | 0.091179 | 0.06131 | -0.029869 | Jeeralang A | 0.87071 | 0.87947 | 0.0087581 | 0.89764 | 0.90667 | 0.0090289 | Liddell | -0.014854
3% | Jeeralang B | 0.78227 | 0.82 | 0.037731 | 0.80646 | 0.84536 | 0.038898 | Jeeralang B | 0.088444 | 0.059471 | -0.028973 | 0.091179 | 0.06131 | -0.029869 | Jeeralang B | 0.87071 | 0.87947 | 0.0087581 | 0.89764 | 0.90667 | 0.0090289 | Wallerawang C | -0.015151
1% | John Butters | 0 | 0 | 0 | 0 | 0 | 0 | John Butters | 0 | 0 | 0 | 0 | 0 | 0 | John Butters | 0 | 0 | 0 | 0 | 0 | 0 | Gladstone | -0.016418
1% | Kareeya | 0 | 0 | 0 | 0 | 0 | 0 | Kareeya | 0 | 0 | 0 | 0 | 0 | 0 | Kareeya | 0 | 0 | 0 | 0 | 0 | 0 | Dry Creek | -0.018535
9% | Kogan Creek | 0.83167 | 0.81692 | -0.014755 | 0.91393 | 0.89771 | -0.016214 | Kogan Creek | 0.018774 | 0.043179 | 0.024406 | 0.02063 | 0.04745 | 0.026819 | Kogan Creek | 0.85045 | 0.8601 | 0.009651 | 0.93456 | 0.94516 | 0.010605 | Newport | -0.025395
1% | Ladbroke Grove | 0.60944 | 0.55123 | -0.058213 | 0.6156 | 0.5568 | -0.058801 | Ladbroke Grove | 0.22097 | 0.12118 | -0.099792 | 0.2232 | 0.1224 | -0.1008 | Ladbroke Grove | 0.83041 | 0.67241 | -0.15801 | 0.8388 | 0.6792 | -0.1596 | Bairnsdale | -0.033622
0% | Lake Bonney 2 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Lake Bonney 2 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Lake Bonney 2 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Hallett | -0.036914
0% | Lake Bonney 3 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Lake Bonney 3 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Lake Bonney 3 Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Pelican Point | -0.042404
0% | Lake Bonney Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Lake Bonney Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Lake Bonney Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Somerton | -0.062165
1% | Lake Echo | 0 | 0 | 0 | 0 | 0 | 0 | Lake Echo | 0 | 0 | 0 | 0 | 0 | 0 | Lake Echo | 0 | 0 | 0 | 0 | 0 | 0 | Bell Bay Three | -0.072
3% | Laverton North | 0.58927 | 0.7454 | 0.15613 | 0.6075 | 0.76845 | 0.16095 | Laverton North | 0.066624 | 0.044799 | -0.021825 | 0.068684 | 0.046184 | -0.0225 | Laverton North | 0.6559 | 0.7902 | 0.1343 | 0.67618 | 0.81464 | 0.13845 | Tamar Valley OCGT | -0.072
1% | Lemonthyme_Wilmot | 0 | 0 | 0 | 0 | 0 | 0 | Lemonthyme_Wilmot | 0 | 0 | 0 | 0 | 0 | 0 | Lemonthyme_Wilmot | 0 | 0 | 0 | 0 | 0 | 0 | Mortlake | -0.07953
1% | Liapootah_Wayatinah_Catagunya | 0 | 0 | 0 | 0 | 0 | 0 | Liapootah_Wayatinah_Catagunya | 0 | 0 | 0 | 0 | 0 | 0 | Liapootah_Wayatinah_Catagunya | 0 | 0 | 0 | 0 | 0 | 0 | Torrens Island A | -0.12606
5% | Liddell | 0.93898 | 0.91981 | -0.019171 | 0.9884 | 0.96822 | -0.02018 | Liddell | 0.08803 | 0.093089 | 0.0050592 | 0.092663 | 0.097988 | 0.0053254 | Liddell | 1.027 | 1.0129 | -0.014111 | 1.0811 | 1.0662 | -0.014854 | Torrens Island B | -0.12693
9% | Loy Yang A | 1.102 | 1.1598 | 0.057758 | 1.211 | 1.2745 | 0.06347 | Loy Yang A | 0.0036132 | 0.0048176 | 0.0012044 | 0.0039706 | 0.0052941 | 0.0013235 | Loy Yang A | 1.1057 | 1.1646 | 0.058962 | 1.215 | 1.2798 | 0.064794 | Ladbroke Grove | -0.1596
8% | Loy Yang B | 1.1393 | 1.1361 | -0.0031815 | 1.2383 | 1.2349 | -0.0034582 | Loy Yang B | 0.0037353 | 0.0049805 | 0.0012451 | 0.0040602 | 0.0054135 | 0.0013534 | Loy Yang B | 1.143 | 1.1411 | -0.0019364 | 1.2424 | 1.2403 | -0.0021048
0% | Macarthur | 0 | 0 | 0 | 0 | 0 | 0 | Macarthur | 0 | 0 | 0 | 0 | 0 | 0 | Macarthur | 0 | 0 | 0 | 0 | 0 | 0
1% | Mackay | 0.88718 | 0.88718 | 0 | 0.89614 | 0.89614 | 0 | Mackay | 0.067461 | 0.096737 | 0.029276 | 0.068143 | 0.097714 | 0.029571 | Mackay | 0.95464 | 0.98392 | 0.029276 | 0.96429 | 0.99386 | 0.029571
1% | Mackintosh | 0 | 0 | 0 | 0 | 0 | 0 | Mackintosh | 0 | 0 | 0 | 0 | 0 | 0 | Mackintosh | 0 | 0 | 0 | 0 | 0 | 0
1% | McKay Creek | 0 | 0 | 0 | 0 | 0 | 0 | McKay Creek | 0 | 0 | 0 | 0 | 0 | 0 | McKay Creek | 0 | 0 | 0 | 0 | 0 | 0
1% | Meadowbank | 0 | 0 | 0 | 0 | 0 | 0 | Meadowbank | 0 | 0 | 0 | 0 | 0 | 0 | Meadowbank | 0 | 0 | 0 | 0 | 0 | 0
6% | Millmerran | 0.83021 | 0.81683 | -0.01338 | 0.8832 | 0.86897 | -0.014234 | Millmerran | 0.018048 | 0.020755 | 0.0027072 | 0.0192 | 0.02208 | 0.00288 | Millmerran | 0.84826 | 0.83758 | -0.010673 | 0.9024 | 0.89105 | -0.011354
1% | Mintaro | 0.65298 | 0.85764 | 0.20466 | 0.65957 | 0.8663 | 0.20673 | Mintaro | 0.23675 | 0.12983 | -0.10692 | 0.23914 | 0.13114 | -0.108 | Mintaro | 0.88973 | 0.98747 | 0.09774 | 0.89871 | 0.99744 | 0.098727
1% | Mortlake | 0.57135 | 0.51378 | -0.057574 | 0.57712 | 0.51897 | -0.058155 | Mortlake | 0.064597 | 0.043436 | -0.021161 | 0.06525 | 0.043875 | -0.021375 | Mortlake | 0.63595 | 0.55722 | -0.078735 | 0.64237 | 0.56284 | -0.07953
0% | Mt Mercer | 0 | 0 | 0 | 0 | 0 | 0 | Mt Mercer | 0 | 0 | 0 | 0 | 0 | 0 | Mt Mercer | 0 | 0 | 0 | 0 | 0 | 0
0% | Mt Millar Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Mt Millar Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Mt Millar Wind Farm | 0 | 0 | 0 | 0 | 0 | 0
5% | Mt Piper | 0.80786 | 0.86226 | 0.0544 | 0.85038 | 0.90764 | 0.057263 | Mt Piper | 0.080416 | 0.085038 | 0.0046216 | 0.084649 | 0.089514 | 0.0048649 | Mt Piper | 0.88828 | 0.9473 | 0.059022 | 0.93503 | 0.99716 | 0.062128
1% | Mt Stuart | 0.82804 | 0.95587 | 0.12784 | 0.8364 | 0.96553 | 0.12913 | Mt Stuart | 0.062964 | 0.062964 | 0 | 0.0636 | 0.0636 | 0 | Mt Stuart | 0.891 | 1.0188 | 0.12784 | 0.9 | 1.0291 | 0.12913
7% | Munmorah | 0.98157 | 0.98157 | 0 | 1.0555 | 1.0555 | 0 | Munmorah | 0.09457 | 0.10001 | 0.0054351 | 0.10169 | 0.10753 | 0.0058442 | Munmorah | 1.0761 | 1.0816 | 0.0054351 | 1.1571 | 1.163 | 0.0058442
1% | Murray 1 | 0 | 0 | 0 | 0 | 0 | 0 | Murray 1 | 0 | 0 | 0 | 0 | 0 | 0 | Murray 1 | 0 | 0 | 0 | 0 | 0 | 0
1% | Murray 2 | 0 | 0 | 0 | 0 | 0 | 0 | Murray 2 | 0 | 0 | 0 | 0 | 0 | 0 | Murray 2 | 0 | 0 | 0 | 0 | 0 | 0
0% | Musselroe Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Musselroe Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Musselroe Wind Farm | 0 | 0 | 0 | 0 | 0 | 0
5% | Newport | 0.52686 | 0.52225 | -0.0046118 | 0.55459 | 0.54974 | -0.0048545 | Newport | 0.059568 | 0.040054 | -0.019514 | 0.062703 | 0.042162 | -0.020541 | Newport | 0.58643 | 0.56231 | -0.024125 | 0.6173 | 0.5919 | -0.025395
10% | Northern | 0.84481 | 1.0101 | 0.16533 | 0.93868 | 1.1224 | 0.1837 | Northern | 0.0083553 | 0.0074269 | -0.00092837 | 0.0092837 | 0.0082521 | -0.0010315 | Northern | 0.85317 | 1.0176 | 0.1644 | 0.94797 | 1.1306 | 0.18267
1% | Oakey | 0.56084 | 0.89775 | 0.33691 | 0.5665 | 0.90682 | 0.34032 | Oakey | 0.059036 | 0.083087 | 0.024052 | 0.059632 | 0.083926 | 0.024294 | Oakey | 0.61987 | 0.98084 | 0.36096 | 0.62613 | 0.99074 | 0.36461
0% | Oaklands Hill | 0 | 0 | 0 | 0 | 0 | 0 | Oaklands Hill | 0 | 0 | 0 | 0 | 0 | 0 | Oaklands Hill | 0 | 0 | 0 | 0 | 0 | 0
5% | Osborne | 0.41773 | 0.50276 | 0.085027 | 0.43971 | 0.52922 | 0.089502 | Osborne | 0.15146 | 0.083057 | -0.0684 | 0.15943 | 0.087429 | -0.072 | Osborne | 0.56919 | 0.58581 | 0.016627 | 0.59914 | 0.61665 | 0.017502
2% | Pelican Point | 0.37705 | 0.39724 | 0.020184 | 0.38475 | 0.40535 | 0.020596 | Pelican Point | 0.13671 | 0.07497 | -0.06174 | 0.1395 | 0.0765 | -0.063 | Pelican Point | 0.51377 | 0.47221 | -0.041556 | 0.52425 | 0.48185 | -0.042404
10% | Playford | 1.3463 | 1.3463 | 0 | 1.4959 | 1.4959 | 0 | Playford | 0.013315 | 0.011836 | -0.0014795 | 0.014795 | 0.013151 | -0.0016438 | Playford | 1.3596 | 1.3581 | -0.0014795 | 1.5107 | 1.509 | -0.0016438
1% | Poatina | 0 | 0 | 0 | 0 | 0 | 0 | Poatina | 0 | 0 | 0 | 0 | 0 | 0 | Poatina | 0 | 0 | 0 | 0 | 0 | 0
8% | Port Lincoln | 0.86494 | 0.86494 | 0 | 0.94015 | 0.94015 | 0 | Port Lincoln | 0.067514 | 0.067514 | 0 | 0.073385 | 0.073385 | 0 | Port Lincoln | 0.93246 | 0.93246 | 0 | 1.0135 | 1.0135 | 0
0% | Portland Wind Farm Stage 2 | 0 | 0 | 0 | 0 | 0 | 0 | Portland Wind Farm Stage 2 | 0 | 0 | 0 | 0 | 0 | 0 | Portland Wind Farm Stage 2 | 0 | 0 | 0 | 0 | 0 | 0
0% | Portland Wind Farm Stage 3 | 0 | 0 | 0 | 0 | 0 | 0 | Portland Wind Farm Stage 3 | 0 | 0 | 0 | 0 | 0 | 0 | Portland Wind Farm Stage 3 | 0 | 0 | 0 | 0 | 0 | 0
5% | Quarantine | 0.54827 | 0.68879 | 0.14052 | 0.57712 | 0.72504 | 0.14792 | Quarantine | 0.19879 | 0.10901 | -0.089775 | 0.20925 | 0.11475 | -0.0945 | Quarantine | 0.74706 | 0.7978 | 0.050748 | 0.78638 | 0.83979 | 0.053419
8% | Redbank | 1.0173 | 1.1873 | 0.16992 | 1.1058 | 1.2905 | 0.18469 | Redbank | 0.098343 | 0.10399 | 0.0056519 | 0.10689 | 0.11304 | 0.0061433 | Redbank | 1.1157 | 1.2912 | 0.17557 | 1.2127 | 1.4035 | 0.19084
1% | Reece | 0 | 0 | 0 | 0 | 0 | 0 | Reece | 0 | 0 | 0 | 0 | 0 | 0 | Reece | 0 | 0 | 0 | 0 | 0 | 0
1% | Roma | 0.60944 | 0.66381 | 0.054368 | 0.6156 | 0.67052 | 0.054917 | Roma | 0.064152 | 0.090288 | 0.026136 | 0.0648 | 0.0912 | 0.0264 | Roma | 0.6736 | 0.7541 | 0.080504 | 0.6804 | 0.76172 | 0.081317
1% | Shoalhaven | 0 | 0 | 0 | 0 | 0 | 0 | Shoalhaven | 0 | 0 | 0 | 0 | 0 | 0 | Shoalhaven | 0 | 0 | 0 | 0 | 0 | 0
5% | Smithfield | 0.42375 | 0.48093 | 0.057187 | 0.44605 | 0.50625 | 0.060196 | Smithfield | 0.11845 | 0.11261 | -0.005839 | 0.12468 | 0.11854 | -0.0061463 | Smithfield | 0.5422 | 0.59354 | 0.051347 | 0.57073 | 0.62478 | 0.05405
0% | Snowtown 2 North | 0 | 0 | 0 | 0 | 0 | 0 | Snowtown 2 North | 0 | 0 | 0 | 0 | 0 | 0 | Snowtown 2 North | 0 | 0 | 0 | 0 | 0 | 0
0% | Snowtown 2 South | 0 | 0 | 0 | 0 | 0 | 0 | Snowtown 2 South | 0 | 0 | 0 | 0 | 0 | 0 | Snowtown 2 South | 0 | 0 | 0 | 0 | 0 | 0
0% | Snowtown Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Snowtown Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Snowtown Wind Farm | 0 | 0 | 0 | 0 | 0 | 0
3% | Snuggery | 0.91195 | 0.91195 | 0 | 0.94015 | 0.94015 | 0 | Snuggery | 0.071183 | 0.071183 | 0 | 0.073385 | 0.073385 | 0 | Snuggery | 0.98313 | 0.98313 | 0 | 1.0135 | 1.0135 | 0
1% | Somerton | 0.7618 | 0.72848 | -0.033328 | 0.7695 | 0.73584 | -0.033665 | Somerton | 0.08613 | 0.057915 | -0.028215 | 0.087 | 0.0585 | -0.0285 | Somerton | 0.84793 | 0.78639 | -0.061543 | 0.8565 | 0.79434 | -0.062165
0% | SRPS, TRPS,RCWF, MCWF | 0 | 0 | 0 | 0 | 0 | 0 | SRPS, TRPS,RCWF, MCWF | 0 | 0 | 0 | 0 | 0 | 0 | SRPS, TRPS,RCWF, MCWF | 0 | 0 | 0 | 0 | 0 | 0
9% | Stanwell | 0.8136 | 0.86091 | 0.047311 | 0.89407 | 0.94606 | 0.05199 | Stanwell | 0.018 | 0.0207 | 0.0027 | 0.01978 | 0.022747 | 0.002967 | Stanwell | 0.8316 | 0.88161 | 0.050011 | 0.91385 | 0.9688 | 0.054957
0% | Starfish Hill Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Starfish Hill Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Starfish Hill Wind Farm | 0 | 0 | 0 | 0 | 0 | 0
3% | Swanbank E | 0.38115 | 0.3855 | 0.0043561 | 0.39294 | 0.39743 | 0.0044908 | Swanbank E | 0.040121 | 0.056466 | 0.016346 | 0.041362 | 0.058213 | 0.016851 | Swanbank E | 0.42127 | 0.44197 | 0.020702 | 0.4343 | 0.45564 | 0.021342
3% | Tallawarra | 0.35828 | 0.35817 | -0.00011265 | 0.36936 | 0.36924 | -0.00011613 | Tallawarra | 0.099173 | 0.094284 | -0.0048888 | 0.10224 | 0.0972 | -0.00504 | Tallawarra | 0.45745 | 0.45245 | -0.0050014 | 0.4716 | 0.46644 | -0.0051561
3% | Tamar Valley CCGT | 0.37321 | 0.41038 | 0.037172 | 0.38475 | 0.42307 | 0.038322 | Tamar Valley CCGT | 0.042195 | 0 | -0.042195 | 0.0435 | 0 | -0.0435 | Tamar Valley CCGT | 0.4154 | 0.41038 | -0.0050226 | 0.42825 | 0.42307 | -0.005178
1% | Tamar Valley OCGT | 0.63046 | 0.63046 | 0 | 0.63683 | 0.63683 | 0 | Tamar Valley OCGT | 0.07128 | 0 | -0.07128 | 0.072 | 0 | -0.072 | Tamar Valley OCGT | 0.70174 | 0.63046 | -0.07128 | 0.70883 | 0.63683 | -0.072
0% | Taralga Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Taralga Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Taralga Wind Farm | 0 | 0 | 0 | 0 | 0 | 0
8% | Tarong | 0.84264 | 0.86 | 0.017361 | 0.91591 | 0.93478 | 0.018871 | Tarong | 0.018298 | 0.021043 | 0.0027448 | 0.01989 | 0.022873 | 0.0029834 | Tarong | 0.86094 | 0.88104 | 0.020106 | 0.9358 | 0.95766 | 0.021854
6% | Tarong North | 0.79507 | 0.833 | 0.037933 | 0.84582 | 0.88617 | 0.040354 | Tarong North | 0.017265 | 0.019855 | 0.0025898 | 0.018367 | 0.021122 | 0.0027551 | Tarong North | 0.81233 | 0.85286 | 0.040522 | 0.86418 | 0.90729 | 0.043109
1% | Tarraleah | 0 | 0 | 0 | 0 | 0 | 0 | Tarraleah | 0 | 0 | 0 | 0 | 0 | 0 | Tarraleah | 0 | 0 | 0 | 0 | 0 | 0
5% | Torrens Island A | 0.63567 | 0.62 | -0.015674 | 0.66913 | 0.65263 | -0.016499 | Torrens Island A | 0.23048 | 0.12639 | -0.10409 | 0.24261 | 0.13304 | -0.10957 | Torrens Island A | 0.86615 | 0.74639 | -0.11976 | 0.91174 | 0.78568 | -0.12606
5% | Torrens Island B | 0.58482 | 0.56 | -0.02482 | 0.6156 | 0.58947 | -0.026126 | Torrens Island B | 0.21204 | 0.11628 | -0.09576 | 0.2232 | 0.1224 | -0.1008 | Torrens Island B | 0.79686 | 0.67628 | -0.12058 | 0.8388 | 0.71187 | -0.12693
3% | Townsville | 0.38943 | 0.42579 | 0.036359 | 0.40148 | 0.43896 | 0.037484 | Townsville | 0.040993 | 0.057694 | 0.016701 | 0.042261 | 0.059478 | 0.017217 | Townsville | 0.43043 | 0.48349 | 0.05306 | 0.44374 | 0.49844 | 0.054701
1% | Trevallyn | 0 | 0 | 0 | 0 | 0 | 0 | Trevallyn | 0 | 0 | 0 | 0 | 0 | 0 | Trevallyn | 0 | 0 | 0 | 0 | 0 | 0
1% | Tribute | 0 | 0 | 0 | 0 | 0 | 0 | Tribute | 0 | 0 | 0 | 0 | 0 | 0 | Tribute | 0 | 0 | 0 | 0 | 0 | 0
1% | Tumut 1 | 0 | 0 | 0 | 0 | 0 | 0 | Tumut 1 | 0 | 0 | 0 | 0 | 0 | 0 | Tumut 1 | 0 | 0 | 0 | 0 | 0 | 0
1% | Tumut 2 | 0 | 0 | 0 | 0 | 0 | 0 | Tumut 2 | 0 | 0 | 0 | 0 | 0 | 0 | Tumut 2 | 0 | 0 | 0 | 0 | 0 | 0
1% | Tumut 3 | 0 | 0 | 0 | 0 | 0 | 0 | Tumut 3 | 0 | 0 | 0 | 0 | 0 | 0 | Tumut 3 | 0 | 0 | 0 | 0 | 0 | 0
1% | Tungatinah | 0 | 0 | 0 | 0 | 0 | 0 | Tungatinah | 0 | 0 | 0 | 0 | 0 | 0 | Tungatinah | 0 | 0 | 0 | 0 | 0 | 0
1% | Uranquinty | 0.57135 | 0.5817 | 0.010346 | 0.57712 | 0.58758 | 0.01045 | Uranquinty | 0.15815 | 0.15036 | -0.0077963 | 0.15975 | 0.15188 | -0.007875 | Uranquinty | 0.72951 | 0.73206 | 0.0025493 | 0.73687 | 0.73945 | 0.0025751
5% | Vales Point B | 0.88589 | 0.87509 | -0.010796 | 0.93252 | 0.92115 | -0.011365 | Vales Point B | 0.094075 | 0.09227 | -0.0018053 | 0.099026 | 0.097126 | -0.0019003 | Vales Point B | 0.97997 | 0.96736 | -0.012602 | 1.0315 | 1.0183 | -0.013265
1% | Valley Power | 0.76181 | 0.81361 | 0.051806 | 0.7695 | 0.82183 | 0.05233 | Valley Power | 0.08613 | 0.057915 | -0.028215 | 0.087 | 0.0585 | -0.0285 | Valley Power | 0.84793 | 0.87153 | 0.023591 | 0.8565 | 0.88033 | 0.02383
7% | Wallerawang C | 0.88403 | 0.86489 | -0.019147 | 0.95057 | 0.92999 | -0.020589 | Wallerawang C | 0.087999 | 0.093056 | 0.0050574 | 0.094622 | 0.10006 | 0.0054381 | Wallerawang C | 0.97203 | 0.95794 | -0.01409 | 1.0452 | 1.03 | -0.015151
0% | Waterloo | 0 | 0 | 0 | 0 | 0 | 0 | Waterloo | 0 | 0 | 0 | 0 | 0 | 0 | Waterloo | 0 | 0 | 0 | 0 | 0 | 0
0% | Wattle Point Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Wattle Point Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Wattle Point Wind Farm | 0 | 0 | 0 | 0 | 0 | 0
0% | Waubra Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Waubra Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Waubra Wind Farm | 0 | 0 | 0 | 0 | 0 | 0
1% | West Kiewa | 0 | 0 | 0 | 0 | 0 | 0 | West Kiewa | 0 | 0 | 0 | 0 | 0 | 0 | West Kiewa | 0 | 0 | 0 | 0 | 0 | 0
1% | Wivenhoe | 0 | 0 | 0 | 0 | 0 | 0 | Wivenhoe | 0 | 0 | 0 | 0 | 0 | 0 | Wivenhoe | 0 | 0 | 0 | 0 | 0 | 0
0% | Woodlawn Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Woodlawn Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Woodlawn Wind Farm | 0 | 0 | 0 | 0 | 0 | 0
0% | Woolnorth Bluff Point Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Woolnorth Bluff Point Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Woolnorth Bluff Point Wind Farm | 0 | 0 | 0 | 0 | 0 | 0
10% | Yallourn | 1.2753 | 1.3367 | 0.061422 | 1.417 | 1.4853 | 0.068247 | Yallourn | 0.0041362 | 0.0055149 | 0.0013787 | 0.0045957 | 0.0061277 | 0.0015319 | Yallourn | 1.2795 | 1.3423 | 0.062801 | 1.4216 | 1.4914 | 0.069779
0% | Yambuk Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Yambuk Wind Farm | 0 | 0 | 0 | 0 | 0 | 0 | Yambuk Wind Farm | 0 | 0 | 0 | 0 | 0 | 0
2% | Yarwun CoGen | 0.53231 | 0.53231 | 0 | 0.54318 | 0.54318 | 0 | Yarwun CoGen | 0.056033 | 0.078861 | 0.022828 | 0.057176 | 0.080471 | 0.023294 | Yarwun CoGen | 0.58835 | 0.61117 | 0.022828 | 0.60035 | 0.62365 | 0.023294

## Emissions
Scope 1 emission intensity comparison |  |  |  |  | Calculated Scope 1 emissions (Mt CO2-e)
Station | Dispatch 2012-13 GWh as generated | 2013 NTNDP emission intensity | CER emission intensity | New proposed emission intensity | Using 2013 NTNDP emission intensities | Using actual CER emission intensities | Using new proposed emission intensities
Angaston | 0 | 0.91665 | 0.91665 | 0.91665 | 155.2869 | 159.2276 | 158.7799
Anglesea | 1094.9436 | 1.084 | 1.101 | 1.101 | -2.475% |  | -0.2812%
Bairnsdale | 131.06 | 0.53774 | 0.52438 | 0.52438 | 0.79982 | 0.82012 | 0.81782
Barcaldine | 9.3138 | 0.45708 | 0.45708 | 0.7
Barron Gorge | 183.459 | 0 | 0.0011415 | 0
Bastyan | 323.5129 | 0 | 0 | 0
Bayswater | 16713.5314 | 0.85024 | 0.86548 | 0.86548
Bell Bay Three | 11.5541 | 0.61772 | 0.61772 | 0.61772
Blowering | 364.0712 | 0 | 0 | 0
Boco Rock Wind Farm | 0 | 0 | 0 | 0
Braemar | 1560.9863 | 0.60944 | 0.57051 | 0.57051
Braemar 2 | 1004.6856 | 0.59044 | 0.59181 | 0.59181
Callide B | 3878.0298 | 0.92049 | 0.90493 | 0.90493
Callide Power Plant | 4594.5218 | 0.846 | 0.90123 | 0.86
Canunda Wind Farm | 0 | 0 | 0.00015013 | 0
Capital Wind Farm | 0 | 0 | 0.00036997 | 0
Cathedral Rocks Wind Farm | 0 | 0 | 0.00031529 | 0
Cethana | 346.7048 | 0 | 0 | 0
Challicum Hills Wind Farm | 0 | 0 | 0.00019751 | 0
Clements Gap Wind Farm | 167.7107 | 0 | 7.1e-05 | 0
Collinsville | 0.27281 | 1.0457 | 14.4699 | 1.0457
Colongra GT | 19.3549 | 0.57135 | 0.65639 | 0.65639
Condamine | 606.9259 | 0.37321 | 0.45433 | 0.45433
Cullerin Range Wind Farm | 0 | 0 | 0.00019083 | 0
Darling Downs | 2891.8962 | 0.37739 | 0.42019 | 0.42019
Dartmouth | 178.4111 | 0 | 0 | 0
Devils Gate | 247.062 | 0 | 0 | 0
Dry Creek | 6.2412 | 0.7032 | 1.272 | 0.8
Eildon | 271.1663 | 0 | 0.00026984 | 0
Energy Brix Complex | 155.5512 | 1.2623 | 2.9346 | 1.3963
Eraring | 11459.9641 | 0.85556 | 0.86234 | 0.86234
Fisher | 207.3158 | 0 | 0 | 0
Gladstone | 6181.8319 | 0.96226 | 0.94402 | 0.94402
Gordon | 1831.3971 | 0 | 0 | 0
Gullen Range | 0 | 0 | 0 | 0
Gunning | 155.0624 | 0 | 0.00018139 | 0
Guthega | 128.2376 | 0 | 0 | 0
Hallett | 58.0525 | 0.7618 | 1.0188 | 0.85
Hallett 1 Wind Farm | 332.3256 | 0 | 0.00025024 | 0
Hallett 2 Wind Farm | 256.8251 | 0 | 0.00017953 | 0
Hallett 4 Wind Farm | 426.1219 | 0 | 0.00026313 | 0
Hallett 5 Wind Farm | 155.1763 | 0 | 0.00035277 | 0
Hazelwood | 11439.4319 | 1.3696 | 1.3963 | 1.3963
Hume (NSW) | 212.7409 | 0 | 0 | 0
Hume (VIC) | 20.6042 | 0 | 0 | 0
Hunter Valley | 0.46171 | 0.88718 | 2.8158 | 0.88718
Jeeralang A | 3.9489 | 0.78227 | 0.8217 | 0.82
Jeeralang B | 20.8237 | 0.78227 | 0.8217 | 0.82
John Butters | 580.3735 | 0 | 0 | 0
Kareeya | 489.5447 | 0 | 0.00039017 | 0
Kogan Creek | 5692.6635 | 0.83167 | 0.81692 | 0.81692
Ladbroke Grove | 92.2604 | 0.60944 | 0.55123 | 0.55123
Lake Bonney 2 Wind Farm | 382.6416 | 0 | 0 | 0
Lake Bonney 3 Wind Farm | 95.7593 | 0 | 0 | 0
Lake Bonney Wind Farm | 0 | 0 | 0 | 0
Lake Echo | 99.1063 | 0 | 0 | 0
Laverton North | 15.1552 | 0.58927 | 0.7454 | 0.7454
Lemonthyme_Wilmot | 360.8711 | 0 | 0 | 0
Liapootah_Wayatinah_Catagunya | 914.0486 | 0 | 0 | 0
Liddell | 6617.5387 | 0.93898 | 0.91981 | 0.91981
Loy Yang A | 16285.0019 | 1.102 | 1.1598 | 1.1598
Loy Yang B | 8584.9456 | 1.1393 | 1.1361 | 1.1361
Macarthur | 587.5659 | 0 | 0.0032305 | 0
Mackay | 0.098565 | 0.88718 | 43.5429 | 0.88718
Mackintosh | 317.3263 | 0 | 0 | 0
McKay Creek | 185.3624 | 0 | 9.9247e-06 | 0
Meadowbank | 161.8252 | 0 | 0 | 0
Millmerran | 7100.523 | 0.83021 | 0.81683 | 0.81683
Mintaro | 12.7695 | 0.65298 | 0.85764 | 0.85764
Mortlake | 1659.0451 | 0.57135 | 0.51378 | 0.51378
Mt Mercer | 0 | 0 | 0 | 0
Mt Millar Wind Farm | 0 | 0 | 0 | 0
Mt Piper | 9113.5191 | 0.80786 | 0.86226 | 0.86226
Mt Stuart | 57.6792 | 0.82804 | 0.95587 | 0.95587
Munmorah | 0 | 0.98157 | 0 | 0.98157
Murray 1 | 2341.8902 | 0 | 0 | 0
Murray 2 | 0 | 0 | 0 | 0
Musselroe Wind Farm | 9.3277 | 0 | 0.19346 | 0
Newport | 184.6494 | 0.52686 | 0.52225 | 0.52225
Northern | 2238.0605 | 0.84481 | 1.0101 | 1.0101
Oakey | 27.8347 | 0.56084 | 0.89775 | 0.89775
Oaklands Hill | 152.8284 | 0 | 0.00049417 | 0
Osborne | 1363.1612 | 0.41773 | 0.50276 | 0.50276
Pelican Point | 2975.8289 | 0.37705 | 0.39724 | 0.39724
Playford | 0 | 1.3463 | 1.3463 | 1.3463
Poatina | 2167.8811 | 0 | 0 | 0
Port Lincoln | 1.407 | 0.86494 | 1.4723 | 0.86494
Portland Wind Farm Stage 2 | 0 | 0 | 0 | 0
Portland Wind Farm Stage 3 | 0 | 0 | 0 | 0
Quarantine | 151.0603 | 0.54827 | 0.68879 | 0.68879
Redbank | 1072.4243 | 1.0173 | 1.1873 | 1.1873
Reece | 823.5545 | 0 | 0 | 0
Roma | 38.1439 | 0.60944 | 0.66381 | 0.66381
Shoalhaven | 75.4234 | 0 | 3.9763e-05 | 0
Smithfield | 1003.8235 | 0.42375 | 0.48093 | 0.48093
Snowtown 2 North | 0 | 0 | 0 | 0
Snowtown 2 South | 0 | 0 | 0 | 0
Snowtown Wind Farm | 375.3219 | 0 | 0 | 0
Snuggery | 0.26224 | 0.91195 | 1.2624 | 0.91195
Somerton | 16.2816 | 0.7618 | 0.72848 | 0.72848
SRPS, TRPS,RCWF, MCWF | 0 | 0 | 0 | 0
Stanwell | 8177.9797 | 0.8136 | 0.86091 | 0.86091
Starfish Hill Wind Farm | 0 | 0 | 0.00067464 | 0
Swanbank E | 1407.3676 | 0.38115 | 0.3855 | 0.3855
Tallawarra | 2857.1884 | 0.35828 | 0.35817 | 0.35817
Tamar Valley CCGT | 1661.6124 | 0.37321 | 0.41038 | 0.41038
Tamar Valley OCGT | 21.7552 | 0.63046 | 0.41038 | 0.63046
Taralga Wind Farm | 0 | 0 | 0 | 0
Tarong | 5377.2539 | 0.84264 | 0.85051 | 0.86
Tarong North | 2737.5631 | 0.79507 | 0.85051 | 0.833
Tarraleah | 617.8371 | 0 | 0 | 0
Torrens Island A | 443.4534 | 0.63567 | 0.57335 | 0.62
Torrens Island B | 1665.1574 | 0.58482 | 0.57335 | 0.56
Townsville | 611.0315 | 0.38943 | 0.42579 | 0.42579
Trevallyn | 524.8413 | 0 | 0 | 0
Tribute | 191.3472 | 0 | 0 | 0
Tumut 1 | 1784.9357 | 0 | 0 | 0
Tumut 2 | 561.51 | 0 | 0 | 0
Tumut 3 | 0.031665 | 0 | 0 | 0
Tungatinah | 524.2691 | 0 | 0 | 0
Uranquinty | 356.0818 | 0.57135 | 0.5817 | 0.5817
Vales Point B | 7530.3607 | 0.88589 | 0.87509 | 0.87509
Valley Power | 11.9469 | 0.76181 | 0.81361 | 0.81361
Wallerawang C | 4708.6376 | 0.88403 | 0.86489 | 0.86489
Waterloo | 312.963 | 0 | 0.00051875 | 0
Wattle Point Wind Farm | 0 | 0 | 0.00027603 | 0
Waubra Wind Farm | 0 | 0 | 0.00014065 | 0
West Kiewa | 117.0147 | 0 | 0 | 0
Wivenhoe | 23.8379 | 0 | 0.016941 | 0
Woodlawn Wind Farm | 146.0629 | 0 | 0.00014682 | 0
Woolnorth Bluff Point Wind Farm | 0 | 0 | 0.00045528 | 0
Yallourn | 8341.4364 | 1.2753 | 1.3367 | 1.3367
Yambuk Wind Farm | 0 | 0 | 0.0002658 | 0
Yarwun CoGen | 1361.6967 | 0.53231 | 0.53231 | 0.53231

## NonSched
Station Name | Region | Fuel Source - Descriptor | Thermal efficiency HHV (%) sent-out | Auxiliaries (%) | Thermal efficiency HHV (%) as generated | Scope 1 emission factors (kg CO2-e/GJ of fuel) | Scope 3 emission factors (kg CO2-e/GJ of fuel) | Scope 1 intensity (tonnes CO2-e/MWh sent-out) | Scope 3 intensity (tonnes CO2-e/MWh sent-out) | Scope 1+3 intensity (tonnes CO2-e/MWh sent-out)
Daandine Power Station | QLD1 | Coal Seam Methane | 36% | 2% | 36.73% | 51.3 | 7.6 | 0.513 | 0.076 | 0.589
Glennies Creek Power Station | NSW1 | Coal Seam Methane | 35% | 2% | 35.71% | 51.3 | 13.5 | 0.52766 | 0.13886 | 0.66651
Moranbah Generation Project | QLD1 | Coal Seam Methane | 33% | 2% | 33.67% | 51.3 | 7.6 | 0.55964 | 0.082909 | 0.64255
Oaky Creek Power Station | QLD1 | Coal Seam Methane | 33% | 2% | 33.67% | 51.3 | 7.6 | 0.55964 | 0.082909 | 0.64255
Teralba Power Station | NSW1 | Coal Seam Methane | 33% | 2% | 33.67% | 51.3 | 13.5 | 0.55964 | 0.14727 | 0.70691
Wilga Park Power Station | NSW1 | Coal Seam Methane | 33% | 2% | 33.67% | 51.3 | 13.5 | 0.55964 | 0.14727 | 0.70691
Amcor Glass, Gawler Plant | SA1 | Diesel | 30% | 2% | 30.61% | 69.7 | 5.3 | 0.8364 | 0.0636 | 0.9
Angaston Power Station | SA1 | Diesel | 35% | 2% | 35.71% | 69.7 | 5.3 | 0.71691 | 0.054514 | 0.77143
Bankstown Sports Club Plant Units | NSW1 | Diesel | 30% | 2% | 30.61% | 69.7 | 5.3 | 0.8364 | 0.0636 | 0.9
Blue Lake Milling Power Plant | SA1 | Diesel | 30% | 2% | 30.61% | 69.7 | 5.3 | 0.8364 | 0.0636 | 0.9
Eraring Power Station | NSW1 | Diesel | 30% | 2% | 30.61% | 69.7 | 5.3 | 0.8364 | 0.0636 | 0.9
Hunter Economic Zone | NSW1 | Diesel | 35% | 2% | 35.71% | 69.7 | 5.3 | 0.71691 | 0.054514 | 0.77143
Lonsdale Power Station | SA1 | Diesel | 30% | 2% | 30.61% | 69.7 | 5.3 | 0.8364 | 0.0636 | 0.9
Nine Network Willoughby Plant | NSW1 | Diesel | 30% | 2% | 30.61% | 69.7 | 5.3 | 0.8364 | 0.0636 | 0.9
Port Stanvac Power Station 1 | SA1 | Diesel | 30% | 2% | 30.61% | 69.7 | 5.3 | 0.8364 | 0.0636 | 0.9
Port Stanvac Power Station 2 | SA1 | Diesel | 30% | 2% | 30.61% | 69.7 | 5.3 | 0.8364 | 0.0636 | 0.9
Southbank Institute Of Technology Unit 1 Plant | QLD1 | Diesel | 30% | 2% | 30.61% | 69.7 | 5.3 | 0.8364 | 0.0636 | 0.9
St George Leagues Club Plant | NSW1 | Diesel | 30% | 2% | 30.61% | 69.7 | 5.3 | 0.8364 | 0.0636 | 0.9
Tatiara Bordertown Plant | SA1 | Diesel | 30% | 2% | 30.61% | 69.7 | 5.3 | 0.8364 | 0.0636 | 0.9
West Illawarra Leagues Club Plant | NSW1 | Diesel | 30% | 2% | 30.61% | 69.7 | 5.3 | 0.8364 | 0.0636 | 0.9
Western Suburbs League Club (Campbelltown) Plant | NSW1 | Diesel | 30% | 2% | 30.61% | 69.7 | 5.3 | 0.8364 | 0.0636 | 0.9
Eastern Creek Power Station | NSW1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Grange Avenue Power Station | NSW1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Lucas Heights 2 LFG Power Station | NSW1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Mornington Waste Disposal Facility | VIC1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Rochedale Renewable Energy Facility | QLD1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Veolia Ti Tree Bio Reactor | QLD1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
West Nowra Landfill Gas Power Generation Facility | NSW1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Whitwood Road Renewable Energy Facility | QLD1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Woodlawn Bioreactor Energy Generation Station | NSW1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Wyndham Waste Disposal Facility | VIC1 | Landfill Methane / Landfill Gas | 35% | 2% | 35.71% | 4.8 | 0 | 0.049371 | 0 | 0.049371
Ballarat Base Hospital Plant | VIC1 | Natural Gas | 30% | 2% | 30.61% | 51.3 | 3.9 | 0.6156 | 0.0468 | 0.6624
Shepparton Wastewater Treatment Facility | VIC1 | Sewerage/Waste Water | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Tatura Biomass Generator | VIC1 | Sewerage/Waste Water | 30% | 5% | 31.58% | 4.8 | 0 | 0.0576 | 0 | 0.0576
German Creek Power Station | QLD1 | Waste Coal Mine Gas | 35% | 3% | 36.08% | 55.63 | 0 | 0.57219 | 0 | 0.57219
Broken Hill Gas Turbines | NSW1 | Diesel | 30% | 2% | 30.61% | 69.7 | 5.3 | 0.8364 | 0.0636 | 0.9
Eastern Creek 2 Gas Utilisation Facility | NSW1 | Landfill Methane / Landfill Gas | 35% | 2% | 35.71% | 4.8 | 0 | 0.049371 | 0 | 0.049371
Remount Power Station | TAS1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Longford Plant | VIC1 | Natural Gas | 30% | 2% | 30.61% | 51.3 | 3.9 | 0.6156 | 0.0468 | 0.6624
Tarong Power Station | QLD1 | Natural Gas | 30% | 2% | 30.61% | 51.3 | 7.6 | 0.6156 | 0.0912 | 0.7068
Yarwun Power Station | QLD1 | Natural Gas | 34% | 2% | 34.69% | 51.3 | 7.6 | 0.54318 | 0.080471 | 0.62365
Brooklyn Landfill Gas Power Station | VIC1 | Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Claytons Landfill Gas Power Station | VIC1 | Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Appin Power Plant | NSW1 | Coal Seam Methane | 26% | 2% | 26.53% | 55.63 | 13.5 | 0.77026 | 0.18692 | 0.95718
Moranbah North Power Station | QLD1 | Coal Seam Methane | 35% | 2% | 35.71% | 55.63 | 7.6 | 0.57219 | 0.078171 | 0.65037
Tower Power Plant | NSW1 | Coal Seam Methane | 26% | 2% | 26.53% | 55.63 | 13.5 | 0.77026 | 0.18692 | 0.95718
Awaba Power Station | NSW1 | Landfill Methane / Landfill Gas | 30% | 5% | 31.58% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Berwick Power Plant | VIC1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Broadmeadows Power Plant | VIC1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Browns Plains Land Fill Gas Power Station | QLD1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Corio Landfill Gas Power Station | VIC1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Grange Avenue Landfill Gas Power Station | NSW1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Hallam Road Renewable Energy Facility | VIC1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Highbury Landfill Gas Power Station Unit 1 | SA1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Jacks Gully Landfill Gas Power Station | NSW1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Pedler Creek Landfill Gas Power Station Units 1-3 | SA1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Springvale Landfill Gas Power Station | VIC1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Tea Tree Gully Landfill Gas Power Station Unit 1 | SA1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Wingfield 1 Landfill Gas Power Station Units 1-4 | SA1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Wingfield 2 Landfill Gas Power Station Units 1-4 | SA1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Wollert Renewable Energy Facility | VIC1 | Landfill Methane / Landfill Gas | 30% | 2% | 30.61% | 4.8 | 0 | 0.0576 | 0 | 0.0576
Taralgon Network Support Station | VIC1 | Natural Gas | 30% | 2% | 30.61% | 51.3 | 3.9 | 0.6156 | 0.0468 | 0.6624
Broadwater Power Station Units 1 and 2 | NSW1 | Bagasse | 30% | 5% | 31.58% | 1.5 | 0 | 0.018 | 0 | 0.018
Condong Power Station Unit 1 | NSW1 | Bagasse | 30% | 5% | 31.58% | 1.5 | 0 | 0.018 | 0 | 0.018
Victoria Mill | QLD1 | Bagasse | 30% | 5% | 31.58% | 1.5 | 0 | 0.018 | 0 | 0.018
Invicta Sugar Mill | QLD1 | Bagasse | 30% | 5% | 31.58% | 1.5 | 0 | 0.018 | 0 | 0.018
ISIS Central Sugar Mill Co-generation Plant | QLD1 | Bagasse | 30% | 5% | 31.58% | 1.5 | 0 | 0.018 | 0 | 0.018
Pioneer Sugar Mill | QLD1 | Bagasse | 30% | 5% | 31.58% | 1.5 | 0 | 0.018 | 0 | 0.018
Racecourse Mill | QLD1 | Bagasse | 30% | 5% | 31.58% | 1.5 | 0 | 0.018 | 0 | 0.018
Rocky Point Cogeneration Plant | QLD1 | Bagasse | 30% | 5% | 31.58% | 1.8 | 0 | 0.0216 | 0 | 0.0216
Roghan Road LFG Power Plant | QLD1 | Bagasse | 30% | 5% | 31.58% | 1.5 | 0 | 0.018 | 0 | 0.018
Callide A Power Station | QLD1 | Black Coal | 27% | 7% | 29.03% | 95 | 4.6 | 1.2667 | 0.061333 | 1.328
Anglesea Power Station | VIC1 | Brown Coal | 27.2% | 10% | 30.22% | 92 | 0.4 | 1.2176 | 0.0052941 | 1.2229
Suncoast Gold Macadamias | QLD1 | Macadamia Nut Shells | 30% | 5% | 31.58% | 1.8 | 0 | 0.0216 | 0 | 0.0216
Midlands Power Station | TAS1 | Hydro | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Banimboola Power Station | VIC1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Brown Mountain | NSW1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Burrendong Hydro Power Station | NSW1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Burrinjuck Power Station | NSW1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Butlers Gorge Power Station | TAS1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Clover Power Station | VIC1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Cluny Power Station | TAS1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Copeton Hydro Power Station | NSW1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Glenbawn Hydro Power Station | NSW1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Jindabyne Small Hydro Power Station | NSW1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Jounama Small Hydro Power Station | NSW1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Keepit Power Station | NSW1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Paloona Power Station | TAS1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Pindari Hydro Power Station | NSW1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Repulse Power Station | TAS1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Rowallan Power Station | TAS1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Rubicon Mountain Streams Station | VIC1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
South East Water - Hallam Hydro Plant | VIC1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Terminal Storage Mini Hydro Power Station | SA1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Wyangala A Power Station | NSW1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Wyangala B Power Station | NSW1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Yarrawonga Hydro Power Station | VIC1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Capital East Solar Farm | NSW1 | Solar PV | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Eildon Pondage Hydro Power Station | VIC1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Glenmaggie Hydro Power Station | VIC1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Kareeya Power Station | QLD1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
The Drop Hydro Unit 1 | NSW1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
William Hovell Hydro Power Station | VIC1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Wivenhoe Small Hydro | QLD1 | Water | 100% | 1% | 101% | 0 | 0 | 0 | 0 | 0
Canunda Wind Farm | SA1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Capital Wind Farm | NSW1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Cathedral Rocks Wind Farm | SA1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Challicum Hills Wind Farm | VIC1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Codrington Wind Farm | VIC1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Cullerin Range Wind Farm | NSW1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Hepburn Wind Farm | VIC1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Lake Bonney Wind Farm | SA1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Mortons Lane Wind Farm | VIC1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Mt Millar Wind Farm | SA1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Portland Wind Farm | VIC1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Starfish Hill Wind Farm | SA1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Toora Wind Farm | VIC1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Wattle Point Wind Farm | SA1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Waubra Wind Farm | VIC1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Windy Hill Wind Farm | QLD1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Wonthaggi Wind Farm | VIC1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Woolnorth Studland Bay / Bluff Point Wind Farm | TAS1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0
Yambuk Wind Farm | VIC1 | Wind | 100% | 0% | 100% | 0 | 0 | 0 | 0 | 0